## Building Sheet
CIVIL/STRUCTURES VALUATION
S.No. | Block Name | Total Slabs/ Floors | Floor wise Height (ft.) | Year of construction | Type of construction (select from drop down) | Structure condition | Area (in sq. mtr.) | Area (sq. fts.) | RCC framed pillar beam column structure on RCC slab
FACTORY BUILDINGS
A | Colony
1 | Worker Colony | Single Storey | 12 |  | RB wall structure |  | 10643.39 | 114567.5786 | RB wall structure
2 | Worker Colony | Three Storey | 33 | 1997 | RB wall structure | Good | 107.64 | 1158.6585 | GI shed roof mounted on iron pillars, trusses frame structure
3 | Staff Colony | Single Storey | 12 |  | RB wall structure |  | 5584.74 | 60115.2583 | GI shed roof mounted on iron pillars, trusses frame structure resting on brick wall
4 | Staff Colony -II | Three Storey | 33 | 2005 | RB wall structure | Good | 151.75 | 1633.4674 | Glass facade on RCC steel frame
5 | Staff Colony-I | Three Storey | 33 | 1997 | RB wall structure | Good | 221.36 | 2382.7633 | AC sheet roofed building mounted on steel trusses resting on RCC column
6 | V.P Block | Double Storey | 22 | 1997 | RB wall structure | Good | 265.47 | 2857.5722 | RCC column beams stone masonry wails in cement, bricks, steel etc.
7 | E.D./M.D Block | Single Storey | 14 | 1997 | RB wall structure | Good | 371.91 | 4003.3136
8 | 36 Block | Double Storey | 22 | 2014 | RB wall structure | Very Good | 63.53 | 683.8496
9 | Jr Guest House | Single Storey | 14 |  | RB wall structure |  | 507.08 | 5458.3105
10 | Sr Guest House | Single Storey | 14 |  | RB wall structure |  | 397.81 | 4282.1064
11 | Bachelor Quarter | Double Storey | 25 | 1995 | RB wall structure | Good | 201.94 | 2173.7225
12 | Security Quarter | Single Storey | 10 | 2009 | GI shed roof mounted on iron pillars, trusses frame structure |  | 376 | 4047.3392
B | Sugar Plant
1 | Time Office | Single Storey | 12 | 2005 | RB wall structure | Good | 98.14 | 1056.3986
2 | Store Building | Single Storey | 16 |  | GI shed roof mounted on iron pillars, trusses frame structure | Good | 31.16 | 335.4125
3 | W/B Room (100 Ton & All CaneW/B) | Single Storey | 12 | 1997 | RB wall structure | Good | 108 | 1162.5336
4 | Engineering Office | Single Storey | 12 | 2014 | RB wall structure | Good | 14.16 | 152.4211
5 | Cane Office | Single Storey | 12 | 1995 | RB wall structure | Good | 51.8 | 557.5856
6 | Work Shop | Single Storey | 20 | 1995 | GI shed roof mounted on iron pillars, trusses frame structure |  | 78.91 | 849.403
7 | Maintenance Room | Single Storey | 10 | 2015 | GI shed roof mounted on iron pillars, trusses frame structure |  | 279.23 | 3005.6876
8 | Toilet | Single Storey | 10 | 2013 | RB wall structure |  | 55.76 | 600.2118
9 | Lime & Sulphur Godown- Store | Single Storey | 13 |  | GI shed roof mounted on iron pillars, trusses frame structure |  | 164.7 | 1772.8637
10 | Lime & Sulphur Godown-Spray pond | Single Storey | 14 | 2017 | GI shed roof mounted on iron pillars, trusses frame structure | Good | 93.75 | 1009.1438
11 | ETP Room | Double Storey | 21 | 1997 | RB wall structure | Good | 16.18 | 174.1648
12 | Gen ADM Building | Double Storey | 35 | 2015 | RCC framed pillar beam column structure on RCC slab | Very Good | 411.16 | 4425.8085
13 | Canteen | Single Storey | 12 | 2018 | GI shed roof mounted on iron pillars, trusses frame structure | Very Good | 204.77 | 2204.1852
14 | Mill House MCC | Double Storey | 26 | 2015 | RCC framed pillar beam column structure on RCC slab | Very Good | 306.35 | 3297.6127
15 | Old B H MCC-1 | Three Storey | 30 | 2015 | RCC framed pillar beam column structure on RCC slab | Very Good | 328.2 | 3532.8104
16 | Old B H MCC-2 | Double Storey | 21 | 2015 | RCC framed pillar beam column structure on RCC slab | Very Good | 108.05 | 1163.0718
17 | Raw House MCC | Three Storey | 40 | 2015 | RCC framed pillar beam column structure on RCC slab | Very Good | 283.68 | 3053.5883
18 | Ref. MCC/Store/Sale office | Double Storey | 33 | 2015 | RCC framed pillar beam column structure on RCC slab | Very Good | 203.96 | 2195.4662
C | Power Plant
1 | WTP | Single Storey | 20 | 2015 | GI shed roof mounted on iron pillars, trusses frame structure | Very Good | 361.76 | 3894.057
2 | D.G.Set | Single Storey | 30 | 2015 | GI shed roof mounted on iron pillars, trusses frame structure | Very Good | 295.2 | 3177.5918
3 | T.G Building 30.0 MW | Double Storey | 36 | 2015 | RCC framed pillar beam column structure on RCC slab | Very Good | 567.2 | 6105.4542
4 | T.G Building 30.0 MW | Double Storey | 56 | 2015 | RCC framed pillar beam column structure on RCC slab | Very Good | 619.45 | 6667.8837
D | Distillery Plant
1 | Distillery Security Office | Single Storey | 11 | 2017 | RB wall structure | Very Good | 21.85 | 235.1978
2 | Dist. Maintenance Room | Single Storey | 10 | 2017 | GI shed roof mounted on iron pillars, trusses frame structure | Very Good | 279.23 | 3005.6876
3 | Toilet Room | Single Storey | 10 | 2017 | RB wall structure | Very Good | 9 | 96.8778
4 | Fermentation Section MCC Room | Three Storey | 48 | 2017 | RCC framed pillar beam column structure on RCC slab | Very Good | 151.75 | 1633.4674
5 | Ferm. Section Compressor Room | Single Storey | 17 | 2017 | RCC framed pillar beam column structure on RCC slab | Very Good | 80.93 | 871.1467
6 | Distillery Excise & Admin Office | Single Storey | 11 | 2017 | RCC column beams stone masonry wails in cement, bricks, steel etc. | Very Good | 222.74 | 2397.6179
7 | 100 Tom W/B | Single Storey | 10 | 2017 | GI shed roof mounted on iron pillars, trusses frame structure | Very Good | 26.02 | 280.0845
8 | Distillery Store | Single Storey | 10 | 2017 | GI shed roof mounted on iron pillars, trusses frame structure | Very Good | 106.44 | 1145.7414
9 | R.S Reciever Building | Single Storey | 40 | 2017 | GI shed roof mounted on iron pillars, trusses frame structure | Very Good | 630.5 | 6786.8281
10 | T.G. Buld & Boiler Section | Single Storey | 17 | 2017 | RCC framed pillar beam column structure on RCC slab | Very Good | 517.49 | 5570.3659
11 | T.G. Buld | Double Storey | 33 | 2017 | RCC framed pillar beam column structure on RCC slab | Very Good | 48.97 | 527.1229
12 | T.G. Buld | Single Storey | 40 | 2017 | RCC framed pillar beam column structure on RCC slab | Very Good | 348.04 | 3746.3722
13 | CPU | Single Storey | 16 | 2017 | RCC framed pillar beam column structure on RCC slab | Very Good | 376.36 | 4051.2143
14 | Raw Water /Fire Water tank | Single Storey | 14 | 2017 | RCC framed pillar beam column structure on RCC slab | Very Good | 280.04 | 3014.4066

## Boundary Wall Length
BOUNDARY WALL DETAILS
Sr No | Des | RM | Height
1 | Staff Line Colony | 865.27 | 2.5
2 | Boundary Line Colony | 405.69 | 2.5
3 | Fitter Line Colony | 415.08 | 2.5
4 | Sugar & Power Plant | 1340.5 | 3
5 | Distillery Plant | 2200 | 3
6 | Distillery Plant Pre-cost Boundary | 1450 | 2
| Total | 6676.54

## Lenght or Area of Road
RCC ROAD DETAILS
Sr No | Des | R M T
1 | R C C ROAD | 2588
Sugar Mill , Power Plant & Distillery
| Total | 2588
LAND AREA DETAILS
Sr No | Des | Area in Acres
1 | Sugar Plant | 20.18
2 | Power Plant | 20.16
3 | Distillery Plant | 15.08
4 | Staff Colony | 6.95
5 | Worker Colony | 7.46
6 | Open Area | 48.1
| Total | 117.93

## Drainage length
Drainage Length in Running Meter
3060 Running Meter
Colony , Sugar Plant,Power Plant& distillery