## Summary
PROJECT : Minda Assembaly expention,Office Furniture,New Toilet work,Road work.
S No | SUMMARY | Basic Estimated Cost | Sourcing
A | Interior Work for Assembaly Expention
i) | Assembaly expention and existing toilet dismentelling Work | 0
ii) | Assembaly expention Office Furniture | 0
iii) | New associate toilet work | 0
iv) | Back side road work | 0
| TOTAL | 0
| GST @ 18 % | 0
| G.TOTAL | 0
Note following terms.
1 | GST 18% or as per the Govt. rule applicable will be paid extra.
2 | 20% advance payment will be made along with confirm order,
3 | Electricity, water and material storage space will be provided by us.
4 | Any extra work will be charged extra with mutual discussion & agreement.
5 | Validity of quotation period is 10 days.
6 | These quantity are tentetive and actual quantity will be measured after completing work.

## Assembaly expention interior wo
BOQ FOR INTERIOR WORKS
S No |  | Description of items | Unit | Quantity | Unit rate | Amount
1 | 1 | Dismental work
| 1.01 | Dismantelling of wall | Sqm | 40 |  | 0
| 1.02 | Dismantling of existing Toilet sanitatry ware like W.C.,Urinal etc | No. | 1 |  | 0
| 1.03 | Dismantling of Existing Tile/ Stone in wall & floor as per site layout | Sqm | 70 |  | 0
2 |  | Civil Work
| 2.1 | PCC Flooring : Providing & laying plain cement concrete 1:2:4 nominal mix (1 cement :2 coarse sand : 4 graded stone aggregate 25 mm nominal size) of approved quality with all lead & lift below/above the ground level as per drawing including the cost of cement, levelling of surface of concrete with al lead and lift, labour, material as per specifications and directed by Architect up to thickness of 50-60mm | Sqm | 250 |  | 0
| 2.2 | Floor Tiles : Providing and laying Floor Tiles of minimum thickness 8 mm of approved make and colour, laid to pattern as per drawing, set in rich cement mortar 1:4, min 20mm thk, including cement slurry complete with oxalic acid wash. Joints to run continuous horizontally and vertically. Kajaria/Johnson/equilent
|  | 600 x 600 mm ( Base cost Rs 60- /- per sft) | Sqm | 300 |  | 0
3
| 3.1 | False Ceiling
| i) | Lagyp Gypsum Board Standard for Suspended Ceiling : P/F at all height false ceiling of 12.5 mm thick boral / gypsum board including frame work made of special sections power pressed from M.S. sheet and galvanised in accordance with zinc coating consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 22 mm and 37 mm at 1200 mm c/c to centre one flange fixed to the ceiling with dash fastner 12.5 mm dia x 40 mm long with 6 mm dia. bolts to the angle hangers of 25 x 25 x 0.55 mm of required length, and other end of angle hanger being fixed with nut and bolts to G.I. channels 45 mm x 15 mm x 0.9 mm running at the rate of 1200 mm centre to centre to which the ceiling section 0.5 mm thick botton wedge of 80 mm with tapered flanges of 26 mm each having clips of 10.5 mm at 450 mm centre to centre shall be fixed in a direction perpendicular to G.I channel with connecting clips made out of 2.64 mm dia. x 230 mm long G.I. | Sqm | 100 |  | 0
| 3.2 | P/F of Tegular Edge , ceiling tiles \ glass-wool based acoustic ceiling in size 600 x 600 x 12mm having noise reduction co-efficient (NRC) of 0.50 (Average) Measurement of sound absorption coefficient in a reverberation room according to SS-EN 025259, light reflectance 83% and humidity resistance of 95% at 30oC. The weight of the system with the tile should be approx. 2.2 kg/m2 and the tiles should have class A absorption according to EN ISO 11654 (SS 025260). Fire classifications for the tiles should be according to latest European norms of Euro class A2-s1, d0. tiles to be laid on 15 mm/Omega Grid comprising of main runner of size 3000 mm, cross tee of 1200 mm and 600 mm of and wall angle of 3000 mm. | Sqm | 550 |  | 0
| 3.3 | Gypsum Partition
4 |  | Partition wall
| 4.1 | Supply and fixing of 50mm corrugated Puf panel for three side wall and 30/65mm corrugated Puf panel for ceiling, Sheet both side PPGI sheet and puf density ±2 40kg/m3. Jindal made | Sqm | 250 |  | 0
6 | 6.1 | Glazing and Glazed Openings
| 6.2 | Providing and fixing glass fixed panels with 6mm thick tempered / toughened float glass set within 15mm Aluminium C-Channels, without SS patch fittings for all glass; glass to be edge polished and finished in plumb with adjoining exposed glass (spans to be as large as possible depending on location) | Sqm | 45 |  | 0
7 | 7.1 | Doors / Shutters
| a | P/f Aluminium shutters using 5 mm thick glass incl stainless steel pivot with clamps at top, patch fittings, floor springs, stainless steel handles and locking mechanism (as per approved) , necessary floor / glass cutting, making holes etc complete as per design & detailed drawings. (Rate quoted with Ozone Hardware)
|  | DG (Single Leaf Glazed Door) 900 mm wide & 2400 mm ht. | No. | 8 |  | 0
| b | Providing and fixing of Solid doors shutters of 1.5" thick solid core shutters and door frames with 1mm thick laminate of approved make shade as per design , having high quality stainless steel door handle , locking mechanism, floor machine/hinges ,door closer, door stoper as per approved and beading, spirit polishing, etc. complete in all respects. The work includes fixing of door frames, fixing of bracers, necessary hardware , moulded beading & groovesetc. (melamine polished) as per requirement. (Rate quoted with Ozone Hardware)
|  | DS (Single Leaf Solid Door) 900mm wide & 2400 mm ht. | No. | 2 |  | 0
8 |  | Painting , Polishing & POP Work
| i) | Providing and applying 2 or more coats of Paint of Dulux/Asian or equilent make on walls or ceiling wherever advised . The surface shall be thoroughly cleaned and prepared by raking old paints (existing) by sand papering and applying putty to achieve smooth and truly levelled surface. Required number of coats and type of primer as prescribed by manufacture shall be applied before the application of finishing coat as recommended by manufactures' specifications
| ii) | Plastic Emulsion Paint | Sqm | 150 |  | 0
[5 empty] | Total | 0
[5 empty] | G.Total | 0

## Assembaly expention Furniture
BOQ FOR FURNITURE WORKS
S.No. | Description of items | Unit | Qty | Rate | Amount
Furniture Work
1 | Cabin Table :- size - 1650 x 750 x 750mm high working table top, 900 x 450 x 750mm high Side storage with Drawer & shutter, and 1650 x 450 x 750mm high Rear storage unit with all shutters & lock provision. | No. | 1 |  | 0
2 | Cubicle Table :- size - 1350 x 750 x 750mm high working table top, 900 x 450 x 750mm high Side storage with Drawer & shutter. | No. | 6 |  | 0
3 | Meeting Room 1 Table :- 750 mm Dia x 750 mm high table top. | No. | 1 |  | 0
4 | Meeting Room 2 Table:- 2100 mm x 750 x 750 mm high table top.with one flaup box for electric | No. | 1 |  | 0
5 | Workstation table(L Shape) :- 1350 x 1350 x 750mm high working table top.with flapup box for electric | No. | 36 |  | 0
6 | Workstation movable Drawer unit:- 525 x 375 x 675 mm high with 1 drawer and 1 shutter. | No. | 35 |  | 0
7 | Storage in Workstation area:- 2700 x 450 x 1200 mm high with Drawer & shutter. | No. | 1 |  | 0
8 | Storage in Workstation area:- 1875 x 450 x 1200 mm high with Drawer & shutter. | No. | 1 |  | 0
9 | Storage for cubicles:- size-1350 x 450 x 1200mm high with Drawer & shutter | No. | 4 |  | 0
10 | Storage outside cabin:- 1325 x 450 x 1200 mm high with Drawer & shutter. | No. | 1 |  | 0
11 | Printer Station:- 1325 x 525 x 750 mm high. | No. | 2 |  | 0
12 | Printer Station:- 825 x 525 x 750 mm high. | No. | 1 |  | 0
13 | Cabin chairs. | No. | 3 |  | 0
14 | Cubicle/Workstation area chairs | No. | 53 |  | 0
15 | Meeting Room chairs. | No. | 13 |  | 0
16 | Cubicle Partition :- 2925 mm wide x 1200 mm height.(54mm thick) | No. | 4 |  | 0
17 | Cubicle Partition :- 1650 mm wide x 1200 mm height.(54mm thick) | No. | 2 |  | 0
18 | Cubicle Partition :- 2250 mm wide x 1200 mm height.(54mm thick) | No. | 2 |  | 0
19 | Table tops:-545mm x 345 mm x 750 mm high | No. | 1 |  | 0
20 | Table tops:-505mm x 305 mm x 750 mm high | No. | 1 |  | 0
|  |  |  | Total | 0
|  |  |  | G.Total | 0

## New Toilet work
BOQ FOR TOILET WORKS
S No | Description of items | Unit | Qty | Rate | Amount
1 | Civil Work
1.01 | Neat Cement Flooring : Providing and laying 12 to 20 mm thk neat cement flooring 1:4 nominal mix ( 1 cement : 4 coarse sand ) with neat cement finish as per advised / specified complete with all lead and lift as directed by Architect. | Sqm | 85 |  | 0
1.02 | 9" thk Brick Masonary : Providing I- class Burnt Brick masonry with conventional type brick in cement mortar 1:3 in full brick (230mm thick) including mild steel longitudinal reinforcement of 2 bars of 6mm dia or hoop iron strip 200mm x 1.6mm at every third course properly bent and bonded at ends, scaffolding, raking out joints and curing etc. complete. | Cum | 42 |  | 0
1.03 | 4 1/2" thk Brick Masonary : Providing I- class Burnt Brick masonry with conventional type brick in cement mortar 1:3 in half brick (115mm thick) including mild steel longitudinal reinforcement of 2 bars of 6mm dia or hoop iron strip 100mm x 1.6mm at every third course properly bent and bonded at ends, scaffolding, raking out joints and curing etc. complete. | Sqm | 70 |  | 0
1.04 | PCC Flooring : Providing & laying plain cement concrete 1:2:4 nominal mix (1 cement :2 coarse sand : 4 graded stone aggregate 25 mm nominal size) of approved quality with all lead & lift below/above the ground level as per drawing including the cost of cement, levelling of surface of concrete with al lead and lift, labour, material as per specifications and directed by Architect up to thickness of 50-60mm | Sqm | 70 |  | 0
1.05 | RCC Counter : Providing and laying RCC (1:1-1/2:3) for Counter 50 mm to 75 mm thk. inclusive of all centering , shuttering , reinforcement and finishing work with complete required material to proper completion of work and to entire satisfaction of Architect. | Sqm | 5 |  | 0
1.06 | Cement Plaster: Providing and laying 12-15mm thick plaster in Cement mortar 1:6 (1cement : 2 coarse sand : 4 fine sand) to all types of RCC work (small or big) brick/stone work surfaces including parapet, wall tops, jambs and cills etc.at all levels, in line, level and plumb as shown in detailed drawings, as directed including providing necessary bands, drip moulds, tapak, grooves & wire mesh at all the junctions of walls and ceiling, walls and frames for doors or windows, around skirting/dado or at other places as directed, including raking out the joints or roughening the RCC surfaces, necessary curing, scaffolding etc., complete as directed and specified. ( qty for kachcha plaster will not include this item) | Sqft | 400 |  | 0
1.07 | Water proofing treatment (Tapecreate) : Providing and laying tapecreate water proofing treatment including preparation of surface as required for treatment etc.including applying of protective plaster 1:4 (1 cement : 4 Sand) as per advised by Architect. (In toilet and pantry area OR wherever required) | Sqft |  |  | 0
1.08 | Cinder Filling :- P/Laying of dry cinder for raised floor level in toilet & pantry | Sqft |  |  | 0
1.09 | Lintel : Providing and laying Lintel (5" x 8") (1:1-1/2:3) inclusive of all centering , shuttering , reinforcement and finishing work with complete required material to proper completion of work and to entire satisfaction of Architect. 4" thik | Rmt | 30 |  | 0
2 | Stone / Tile Work |  |  |  | 0
2.01 | Floor Tiles : Providing and laying Floor Tiles of minimum thickness 8 mm of approved make and colour, laid to pattern as per drawing, set in rich cement mortar 1:4, min 20mm thk, including cement slurry complete with oxalic acid wash. Joints to run continuous horizontally and vertically. Rate to include levelling of the existing floor if required.
0 | 300 x 300 mm ( Base cost Rs 30- /- per sft i/c taxes) | Sqm | 93 |  | 0
2.02 | Wall tiles : Providing and fixing Wall tiles of approved shade over a base of 20mm thick cement plaster 1:3 (1 cement : 3 coarse sand) including laying tiles to approved pattern with grooves setting the tiles in cement slurry joints filled and finished with neat white antifungal grout as per requirement.
| 300 x 300 mm ( Base cost Rs 30-/- per sft i/c taxes) | Sqft | 200 |  | 0
2.3 | Providing and fixing 19mm thick pre-polished Black Galaxy /Tan Brown Granite counters ,or fascias laid in 19mm thick bed of cement mortar 1:4 and jointed with cement slurry with pigment to match the shade of granite including rubbing mirror polishing, bevelling of edges etc complete at all levels having 300 mm jhalar . (allowing for necessary cutouts for fixing of wash basin, pipes, waste coupling etc.if & where required) Base Rate Rs 180/- per sft inclusive of all taxes (Above RCC Counter) | Sqm | 10 |  | 0
3 | False Ceiling |  |  |  | 0
3.01 | Lagyp Gypsum Board Standard for Suspended Ceiling : P/F at all height false ceiling of 12.5 mm thick boral / gypsum board including frame work made of special sections power pressed from M.S. sheet and galvanised in accordance with zinc coating consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 22 mm and 37 mm at 1200 mm c/c to centre one flange fixed to the ceiling with dash fastner 12.5 mm dia x 40 mm long with 6 mm dia. bolts to the angle hangers of 25 x 25 x | Sqm | 92 |  | 0
4 | Panelling and Cladding |  |  |  | 0
4.01 | Mirror Cladding : Providing & pasting 6 mm thk mirror on 12 mm thick HDF including cutting , edge polish & pasting complete as & where required as per detail drawing . | Sqft | 10 |  | 0
| Doors / Shutters |  |  |  | 0
4.02 | Providing and fixing of Solid doors shutters of 1.5" thick solid core shutters and door frames with 1mm thick laminate of approved make shade as per design , having high quality stainless steel door handle , locking mechanism, floor machine/hinges ,door closer, door stoper as per approved and beading, spirit polishing, etc. complete in all respects. The work includes fixing of door frames, fixing of bracers, necessary hardware , moulded beading & groovesetc. (melamine polished) as per requirement. (Rate quoted with Ozone Hardware) |  |  |  | 0
| DS (Single Leaf Solid Door) 900-1050 mm wide & 2400 mm ht. (with normal door closer) | nos | 2 |  | 0
4.03 | Door chaukhats: P/F of door chaukhats with one or two rebate with solid handwood fixing of bracers & necessary hardware complete complete as per details drawing/ advised |  |  |  | 0
| Size 6'' x 2.5''(Marantiwood) | rft | 40 |  | 0
5 | Painting , Polishing & POP Work |  |  |  | 0
5.01 | Providing and applying 2 or more coats of paint of DULUX make on walls or ceiling wherever advised . The surface shall be thoroughly cleaned and prepared by raking old paints (existing) by sand papering and applying putty to achieve smooth and truly levelled surface. Required number of coats and type of primer as prescribed by manufacture shall be applied before the application of finishing coat as recommended by manufactures' specifications |  |  |  | 0
5.02 | O.B.D. | Sqm | 1200 |  | 0
0
6 | Doors
6.01 | Providing and laying Single Leaf flush door with paint and M.S.Choukhat (Door frame) 750 mm wide & 2100 mm ht. | No. | 14 |  | 0
0
0
7 | Sanitary Fixture and Fitting
7.01 | UPVC B-Class Pipes: Supplying, laying and testing S&W uPVC-B Class pipe confirming to IS 13592-1992 for underground drainage and sewerage systems - pipes in trenches to required gradients, buried in ground level etc., complete. Rates to include excavation in all kinds / types of soils including hard laterites but except hard rock for laying pipes, forming bottom surface to required level, refilling selected excavated earth around the encasing, watering, consolidating and disposing off the surplus earth within the site or as directed by Architects / Consultants within a site etc., Rate to include pumping out water from the trenches using required nos of dewatering pumps with complete shoring arrangements wherever necessary. Works to include storm water drainage, pipes buried in ground level to required gradients etc., complete. |  |  |  | 0
7.02 | 200 mm dia ( with 6 Kg/cm2 Pressure ) | Rmt | 50 |  | 0
7.03 | 150 mm dia ( with 6 Kg/cm2 Pressure ) | Rmt | 50 |  | 0
7.04 | 110 mm dia ( with 6 Kg/cm2 Pressure ) | Rmt | 40 |  | 0
7.05 | 63 mm dia ( with 10 Kg/cm2 pressure ) | Rmt | 30 |  | 0
7.06 | 50 mm dia ( with 10 Kg/cm2 pressure ) | Rmt | 30 |  | 0
7.07 | 40 mm dia ( with 10 Kg/cm2 pressure ) | Rmt | 50 |  | 0
7.08 | CPVC Pipe: Supplying, fixing and testing of approved make cPVC pipe - SDR-11 grade-pipes and same fittings. Using Schedule-80 pipes are confirming to ASTM D-1785 and SDR-11 fittings are confirming to ASTM D-2467, Solvent cement is confirming to ASTM D 2564, for Domestic water supply, Flushing water supply, within the toilets areas, Drinking water supply in kitchen and pantry ares - Concealing in walls & ledge walls, with necessary fittings such as tee, elbow, union, nipple. including brass moulded fittings, brass male/female adapters etc.,.,including cutting and jointing using cPVC solvent cement as per manufacturer's recommendation ,chasing the wall and fixing the pipe with proper clamp supports, redoing the same, necessary areas and refilling the same. Testing:All water supply pipes undergo testing to withstand the necessary hydraulic pressure (7 kg/cm2) for 24 hr etc complete.
7.09 | 20 NB - SDR - 11 is taken | Rmt | 40 |  | 0
7.1 | 25 NB - SDR - 11 is taken | Rmt | 50 |  | 0
7.11 | 32 NB - SDR - 11 is taken | Rmt | 50 |  | 0
7.12 | 50 NB - SDR - 11 is taken | Rmt | 40 |  | 0
7.13 | P/f Vitreous china wall hung UDISA PAN with heavy duty polypropylene seat lid and cover with CP brass hinges and rubber buffers complete with CP bolts & nuts, for fixing including cutting and making good the walls and floors wherever required .(Hindware or eqvilant) | No. | 14 |  | 0
7.14 | Urinal Basin : P/f Vitreous china Urinal Basin floor mounted with 15mm dia CP spreader pipe, 32mm dia CP brass domical waste, 32 mm CP brass bottle trap,cast iron hangers for support complete in all respects incl cutting and making good the walls wherever required.(Hindware or eqvilant) | No. | 7 |  | 0
7.15 | Wash Basin : P/f Vitreous china wall mounted Wash Basin with proprietary CI brackets painted white, CP brass waste of standard pattern, 32mm dia CP brass bottle trap, copper pipes and union complete in all respects incl cutting and making good the walls wherever required .(Hindware or eqvilant) | No. | 7 |  | 0
7.16 | : P/f wall mounted Mixer for Pillor cock of following make and type: (Hindware or eqvilant) | No. | 22 |  | 0
7.17 | Angle Valve : P/f 15mm dia CP brass angle valve (Angular Stop Cock) with wall flange, 45cm long CP copper connection pipes, nuts etc of approved make 90 degree with 3/8" outlet and flange - (Hindware) | No. | 40 |  | 0
7.18 | Gate Valve : P/f gun metal Gate Valve of 15mm dia for Urinal auto flush system with screwed ends of approved make complete in all respects.(Hindware or eqvilant) | No. | 2 |  | 0
7.19 | Urinal Divider Glass : P/f Toughened 12 mm thk frosted glass urinal divider partitions with polished edges as per the standard size in drawing complete in all respect to fix at site (450 mm deep and 900 mm high).(Hindware or eqvilant) | No. | 11 |  | 0
7.2 | Providing and Fixing Bottle Trap(with Internal Partition)32 mm size and 250 mm and 190 mm long wall connection pipes and wall flange.(Hindware or eqvilant) | No. | 12 |  | 0
7.21 | Providing and fixing SS Floor Drain jali | No. | 20 |  | 0
7.22 | Providing and fixing 2 way bib tap in polished chrome. (Hindware or eqvilant) | No. | 10 |  | 0
7.23 | Providing and fixing Cistern for udisa pan. (Hindware or eqvilant) | No. | 14 |  | 0
|  |  |  | Total | 0
|  |  |  | G.Total | 0

## Back side road work
Cost Estimate of back side Road area.
Location - Minda, Sec-59,
S No | Description of items | Unit | Qty | Rate | Amount
1 | Dismantling of RCC/Cement Concrete including cutting and stacking of steel bars and disposal of unserviceable material outside the site premises. | 40 | Cum. | 4500
2 | Removing of old paver and stacking it properly. | 106 | Sqm. | 100
3 | Repairing of old drain. | 80 | Rmt. | 200
4 | Preparation of subgrade by excavating ordinary earth / debris / grass with proper dressing and compaction. | 560 | Sqm. | 250
5 | VAPORMAT®:- Supply and installation of single layer of Vapormat® brand HDS030 grade, 300 micron thick 100% virgin HDPE synthetic vapor barrier (6 mt width 50 mt length) as per the product technical specification. Vapormat® HDS030 shall be spread over the surface with an average overlap of 100mm and welded by hot air fusion welding machine. After laying the reinforcement, wherever damages are found, the same shall be repaired by patch welding using hand held hot air fusion welding machine before laying the concrete. | 950 | Sqm. | 150
6 | Supplying,Providing and laying in position M-25 grade reinforced cement concrete machine batched, machine mixed and machine vibrated design mix with minimum cement content of 340 kg per cum of concrete and water cement ratio not more than 0.5 for Vacuum de-watered flooring operation consisting of providing side shuttering with MS channels, angles to the required levels, Vibrating the concrete by using screed vibrator, de-watering flooring and finishing the top surface to required level and grade using skim floaters/discs/Ride-On Power Trowels. including provision of contraction, expansion, construction and longitudinal joints, joint filler, separation membrane, Rate shall include cost theProviding grooves of size 5 mm wide and 40mm deep on vacuum de-watering floor surface at every 20 Sqm area grooves made by groove cutting machine with diamond cutting wheel and filling of the grooves with polysulphide sealant r (sealent Fosroc ), debonding strip, admixtures as approved, curing compound, finishing to lines and grades as per drawing etc., complete at all levels and as directed Uneveness in floor finish shall - FM3 standard in one square metre area. Note : Excluding cost of steel | 950 | Sqm. | 1450
7 | Providing/ laying 50 mm thick well compacted bed of fine sand below pavor. | 6 | Cum. | 2000
8 | Fixing of old paver including 50 mm thick well compacted bed of fine sand, filling the joints with fine sand etc. all complete as per the direction | 106 | Sqm. | 200
9 | Providing, Fabricating & placing in position TMT/ tor steel reinforcement(Fe-500) for RCC work including cutting, bending, binding and cost of binding wire etc. including wastage and rolling margin complete. | 5500 | Kg. | 65
|  |  |  | Total | 0
|  |  |  | G.Total | 0

## List of approved Makes
LIST OF APPROVED MAKES / MANUFACTURER OF MATERIALS FOR CIVIL WORKS
S.NO. | MATERIAL | APPROVED MAKE
1 | CONCRETE RELATED WORKS:
1.01 | Cement 53 Grade or 43 Grade | Ultratech, Dalmia, Ramco, Coromandel,ACC or any other approved equilent.
1.02 | Ready Mix Concrete | Ashtech, Ultratech,ACC
1.03 | Admixture as retarder | Cico, Sika and Fosroc.
1.04 | Hardeners
2 | STEEL:
2.01 | Steel for Reinforcement - Fe 500 Grade | Rathi Steel, Kamdhenu Steel
2.02 | Structural steel Sections, Angles & Barbed wire | TISCO, Jindal
2.03 | Chain link | Wirenet or approved equivalent
3 | MASONRY WORKS:
3.01 | Aerocon Block / Panel | NA
3.02 | Gypsum Block | India Gypsum.
4 | FLOOR & FINISHES:
4.01 | Ceremic Tiles | Kajaria, johnson, nitco or equivalent
4.02 | Vitrified Ceramic tiles | Granamite, nitco, johnson, EURO or equivalent
4.03 | Cement based tiles | Ultra / Astiane / Eurocon / Boss
4.04 | Glazed mosiac tiles | Bissaza
4.05 | Marble, Granite & Kota stone | Best available and approved by client / Architect.
4.06 | Paint | Asian, Dulux
4.07 | Putty | J.K. or equivalent
5 | JOINERY WORKS:
5.01 | Sliding door / Gate | Indo Germa Products LTD, Gandhi Automations PVT ltd, S.V. Engineering works.
5.03 | Sectional over head door | Technocrafta"/"Avians" / Ditec
5.04 | Pressed steel door | Shakthi Met Doors / Godrej / Novair / scolder
5.05 | Steel doors (fire door) | Godrej, Shakti Met Doors, Novair/ Scolder system schroders or equivalent
5.06 | Steel windows | JINDAL / INDIA / Bhourkar
5.07 | Aluminium Rolling shutter | Diana
5.08 | Aluminum doors, windows, ventilators and partitions | Ajit India, ECIE, Architectures Incorporated, Sarathy Enterprises, Noble
5.09 | Aluminum sections | JINDAL / INDIA / Bhourkar
5.10 | Flush door | Durian, Greenlam, Century
5.11 | PVC door & Frame | Best available
5.12 | Stainless steel sections | Jindal
6 | HARDWARE / GLASS FITTINGS:
6.01 | Floor spring | Ozone, Dorset, Dorma
6.02 | Pivot hinges | Dorma / Haffle
6.03 | Door closer | Efficient Gadgets / Dyna / Everite / Dorma / Haffle
6.04 | Aluminium tower bolts | Jothi / ECIE / Haffle/Godrej
6.05 | Aluminum Flush type tower bolts | Jothi / ECIE / Haffle/Godrej
6.06 | Aluminum baby latch | Jothi / ECIE / Haffle/Godrej
6.07 | Aluminum ball catches | Efficient Gadgets / Haffle/Godrej