## Building Sheet
CIVIL/STRUCTURES VALUATION
S.No. | Building/ Block Name | Total Slabs/ Floors | Floor wise Height (Ft.) | Year of construction | Total Height (Ft.) | Type of construction (select from drop down) | Structure condition | Area (in sq. mtr.) | Area (sq. fts.) | RCC framed pillar beam column structure on RCC slab
FACTORY BUILDINGS | [9 empty] | RB wall structure
1 | RMS | 1 | 19.968 | 1991 | 20 | RCC framed pillar beam column structure on RCC slab | Very Good | 5950 | 64046.99 | GI shed roof mounted on iron pillars, trusses frame structure
2 | BANBURY & MIXING | 3 | 69.888 | 1991, 2004 | 69.888 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 7000 | 75349.4 | GI shed roof mounted on iron pillars, trusses frame structure with outer brick wall
3 | BANBURY & MIXING |  |  |  |  | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good
4 | THERMOPACK | 1 | 66 | 1991 | 66 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 243.67 | 2622.9126 | Glass facade on RCC steel frame
5 | STOCK PREPERATION | 1 | 20 | 1991 | 20 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 11747 | 126447.0574 | AC sheet roofed building mounted on steel trusses resting on RCC column
6 | TYRE BUILDING | 1 | 18.304 | 1991, 1998, 2004, 2006 | 18 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 16362 | 176123.8404
7 | GREEN TYRE STORAGE | 1 | 14.976 | 1991 | 15 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 3465 | 37297.953
8 | TYRE CURING & FINAL FINISH | 1 | 23.296 | 1991, 2004 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 13475 | 145047.595
9 | TYRE CURING & FINAL FINISH | 1 | 23.296 | 2006 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good
10 | FGWH ( INCLUDING Mezz. ) | 1 | 19.968 | 1991, 2004, 2006, 2011 | 20 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 16170 | 174057.114
11 | ANNEXE GROUND FLOOR | 1 | 11.648 | 1991 | 12 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 5365 | 57727.4
12 | TYRE REPAIR | 1 | 13.312 | 1998 | 13 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 233.24 | 2510.642
13 | TYRE TESTING | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 233.24 | 2510.642
14 | AHU & TIOLET | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 699.72 | 7531.926
15 | MOULD SHOP | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 233.24 | 2510.642
16 | SUB STATION & TRANSFORMER | 1 | 21.632 | 1991 | 22 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 233.24 | 2510.642
17 | ECS ROOM | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 348.6 | 3750.936
18 | TYRE CAFÉ | 1 | 11.648 | 2005 | 12 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 348.6 | 3750.936
19 | LABORATORY | 1 | 11.648 | 1991 | 12 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 233.24 | 2509.6624
20 | BU 2 OFFICE & CHANGING ROOM | 1 | 11.648 | 1991 | 12 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 348.6 | 3750.936
21 | ENTYR GATE | 1 | 11.648 | 1991 | 12 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 116.62 | 1254.8312
22 | EMMERGENCY STORE | 1 | 11.648 | 1991 | 12 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 233.24 | 2509.6624
23 | LINER REROLLING AREA | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 283.22 | 3048.6367
24 | WORK SHOP | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 516.46 | 5559.2787
25 | AC CONTROL ROOM & TRANSFORMER | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 783.72 | 8436.1188
26 | DC CONTROL ROOM | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 349.86 | 3765.963
27 | ANNEXE OFFICE | 1 | 10.6496 | 1991 | 11 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 1632.68 | 17574.4941
28 | BULK OIL | 1 | 10 | 1991 | 10 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 61.75 | 664.6893
29 | CARBON BLACK STORAGE | 1 | 18.304 | 1991 | 18 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 0 | 0
30 | Unloading area | 1 | 38.272 | 1991 | 38 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good |  | 0
31 | Blower room & control room | 1 | 13.312 | 1991 | 13 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good |  | 0
32 | Carbon storage | 1 | 18.304 | 1991 | 18 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good |  | 0
33 | ELASTO TANK | 1 | 16.64 | 1991 | 17 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 215.5 | 2319.6851
34 | 10 KL HSD TANK | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 40.88 | 440.0405
35 | CPH | 1 | 19.968 | 1991 | 20 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 190.63 | 2051.9794
36 | COOLING TOWER NO. 1 | 1 | 29.952 | 1991 | 30 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 273.62 | 2945.3004
37 | COMPRESSOR/CHILLER | 1 | 19.968 | 1991 | 20 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 1122.69 | 12084.8597
38 | GEN STORES | 1 | 28.288 | 1991 | 28 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 1082.93 | 11656.8751
39 | 6.6 KVA STATION | 1 | 19.968 | 1991 | 20 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 525.92 | 5661.1081
40 | MATERIAL HAND. W/SHOP | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 260.76 | 2806.8728
41 | BOILER HOUSE | 2 | 46.592 | 1991 | 47 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 588.09 | 6330.3184
42 | COOLING TOWER NO. 2 | 1 | 29.952 | 1991 | 30 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 273.62 | 2945.3004
43 | COOLING TOWER NO. 3 | 1 | 29.952 | 1991 | 30 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 273.62 | 2945.3004
44 | D.M.PLANT | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 392.58 | 4225.8096
45 | D.M.PLANT YARD | 1 | 23.296 | 1991 | 23 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 600.5 | 6463.9021
46 | PLANT GATE | 1 | 11.648 | 1991 | 12 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 445.15 | 4791.6836
47 | WEIGH BRIDGE | 1 | 8.32 | 1991 | 8 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 10.11 | 108.8261
48 | CHEMICAL HOUSE | 1 | 16.64 | 1991 | 17 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 110.25 | 1186.7531
49 | PUMP HOUSE | 1 | 36.608 | 1991 | 36.608 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 198.45 | 2136.1555
50 | CYCLE STAND | 1 | 10.3168 | 1991 | 10 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 612.45 | 6592.5343
51 | MAIN GATE | 1 | 8.4864 | 1991 | 9 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 8.36 | 89.9887
52 | TRAINING CENTRE | 1 | 11.648 | 1991 | 12 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 319.92 | 3443.6829
53 | CANTEEN | 1 | 14.6432 | 1991 | 15 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 654.96 | 7050.1204
54 | RESERVOIR TANK (2 NOS.) | 1 | 4.5 | 1991 | 14.976 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 1508 | 16232.4136
55 | CLARIFLACULATOR | 1 | 13.312 | 1991 | 13 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 240.4 | 2587.7137
56 | L.S/H.S. TANK | 1 | 15 | 1991 | 15 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 202.02 | 2174.5837
57 | 50 KL HSD TANK | 1 | 21.632 | 1991 | 21 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 116.73 | 1256.5051
58 | HEXANE ROOM | 1 | 14.976 | 1991 | 15 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 9 | 96.8778
59 | 132 KVA YARD | 1 | 13.312 | 1991 | 13 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 2217.46 | 23869.1829
60 | ASH SILO | 1 | 61.568 | 1991 | 100 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 105.06 | 1130.8869
61 | OH. TANK | 3 | 93.184 | 1991 | 93 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 8.65 | 93.1103
62 | BACK WASH TANK | 1 | 14.976 | 1991 | 15 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 22.46 | 241.7639
63 | COAL CRUSHER | 1 | 7 | 1991 | 23.296 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 45.55 | 490.3093
64 | SECURITY BARRAK | 1 | 11.3152 | 1991 | 11 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 265.16 | 2854.2353
65 | NEPTHA YARD (OPEN ) | 1 | 9.984 | 1991 | 10 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 743 | 7997.8006
66 | CHIMNEY NEAR THERMOPACK | 1 | 199.68 | 1991 | 200 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 7.18 | 77.287
67 | CHIMNEY NEAR 20 T BOILER | 1 | 199.68 | 1991 | 200 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 15.75 | 169.5361
68 | MEZANINE FLOORS IN PLANT | 1 | 13.312 | 1991 | 13 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 1540 | 16576.868
69 | NEW DG HOUSE | 1 | 34.944 | 1991 | 35 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 506 | 5446.6852
70 | COOLING TOWER NO.4 | 1 | 29.952 | 1991 | 30 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 300 | 3229.26
71 | NEW BOILER HOUSE 50 TON | 2 | 34.944 | 1991 | 34.944 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 1284 | 13821.2328
72 | CHIMNEY NEAR 50 T BOILER | 1 | 199.68 | 1991 | 200 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 20 | 215.284
73 | TURBINE | 2 | 53.248 | 1991 | 53 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 1044 | 11237.8248
74 | COOLING TOWER NO.5 | 1 | 24.96 | 1991 | 25 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 273.62 | 2945.3004
75 | WATER RESOVIOR | 1 | 13.312 | 1991 | 13 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 706.5 | 7604.9073
76 | WEIGH BRIDGE (2 NOS.) | 1 | 8.32 | 1991 | 8 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 20.22 | 217.6521
77 | HAZARDUS STORE (2 NOS.) | 1 | 8.6528 | 1998 | 9 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 84 | 904.1928
78 | PROJECT GODOWN | 1 | 9.984 | 2008 | 10 | AC sheet roofed building mounted on steel trusses resting on RCC column | Good | 414 | 4456.3788
79 | CONTRACTOR SHED | 1 | 13.312 | 1991 | 13 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 225 | 2421.945
80 | BUS PARKING SHED | 1 | 16.64 | 1991 | 17 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 300 | 3229.26
81 | E.T.PLANT | 1 | 14.976 | 1991 | 15 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 350 | 3767.47
82 | 32 TPH Boiler | 2 | 39.936 | 2019 | 40 | AC sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 2500 | 26910.5

## Building Sheet Revised 26.05.22
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11
CIVIL/STRUCTURES VALUATION -JK TYRE & INDUSTRIES LTD, BANMORE ..DISTT…MORENA
S.No. | Building/ Block Name | Total Slabs/ Floors | Roof Pattern | Floor wise Height (Ft.) | Year of construction | Total Height (Ft.) | Type of construction (select from drop down) | Structure condition | Area (in sq. mtr.) | Area (sq. fts.)
FACTORY BUILDINGS
1 | RMS UNLOADING PLATFORM | 1 | RCC ROOF SLAB | 20 | 1991 | 20 | RCC framed pillar beam column structure on RCC slab | Very Good | 660 | 7101.6 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
2 | RMS GODOWNS | 1 | GALVALUME ROOFING SHED | 29.952 | 1991 | 29.952 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 6340 | 68218.4 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
3 | BANBURY & MIXING # 1,2 & 3 BASEMENT | 1 | RCC ROOF SLAB | 20 | 1991 | 20 | RCC framed pillar beam column structure on RCC slab | Very Good | 3850 | 41426 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
4 | BANBURY & MIXING # 1,2 & 3 GROUND FLOOR | 1 | RCC ROOF SLAB | 20 | 1991 | 20 | RCC framed pillar beam column structure on RCC slab | Very Good | 2695 | 28998.2 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
5 | BANBURY & MIXING # 1,2 & 3 GROUND FLOOR | 1 | GALVALUME ROOFING SHED | 29.952 | 1991 | 29.952 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 1155 | 12427.8 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
6 | BANBURY & MIXING # 1,2 & 3, 1st FLOOR | 1 | GALVALUME ROOFING SHED | 26.624 | 1991 | 26.624 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 3080 | 33140.8 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
7 | BANBURY & MIXING # 1,2 & 3, 2nd FLOOR | 1 | GALVALUME ROOFING SHED | 16.64 | 1991 | 16.64 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 770 | 8285.2 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
8 | BANBURY & MIXING # 4 BASEMENT | 1 | RCC ROOF SLAB | 20 | 2004 | 20 | RCC framed pillar beam column structure on RCC slab | Very Good | 964.25 | 10375.33 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
9 | BANBURY & MIXING # 4 GROUND FLOOR | 1 | RCC ROOF SLAB | 20 | 2004 | 20 | RCC framed pillar beam column structure on RCC slab | Very Good | 1349.95 | 14525.462 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
10 | BANBURY & MIXING # 4 GROUND FLOOR | 1 | GALVALUME ROOFING SHED | 29.952 | 2004 | 29.952 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 577.5 | 6213.9 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
11 | BANBURY & MIXING # 4, 1st FLOOR | 1 | GALVALUME ROOFING SHED | 29.952 | 2004 | 29.952 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 1925 | 20713 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
12 | BANBURY & MIXING # 4, 2nd FLOOR | 1 | GALVALUME ROOFING SHED | 16.64 | 2004 | 16.64 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 385 | 4142.6 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
13 | DIP UNIT | 1 | GALVALUME ROOFING SHED | 79.872 | 1991 | 79.872 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 1925 | 20713 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
14 | THERMOPACK | 1 | GALVALUME ROOFING SHED | 66 | 1991 | 66 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 392 | 4217.92 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
15 | STOCK PREPARATION: 4-ROLL CALENDAR / DUAL EXTRUDER | 1 | RCC ROOF SLAB CAST IN SITU | 38.272 | 1991 | 38.272 | RCC framed pillar beam column structure on RCC slab, Cast in SITU | Very Good | 4900 | 52724 | RCC framed pillar beam column structure on RCC slab, Cast in SITU with RCC ROOF SLAB CAST IN SITU
16 | STOCK PREPERATION TRIPLEX EXTRUDER | 1 | RCC COFFERS ROOF SLAB | 29.952 | 1998 | 29.952 | RCC framed pillar beam column structure on RCC slab, Precast Coffer Slab | Very Good | 2695 | 28998.2 | RCC framed pillar beam column structure on RCC slab, Precast Coffer Slab with RCC COFFERS ROOF SLAB
17 | STOCK PREPERATION DUPLEX EXTRUDER | 1 | RCC DECK SLAB ROOF | 29.952 | 2004 | 29.952 | RCC framed pillar beam column structure on RCC slab | Very Good | 2695 | 28998.2 | RCC framed pillar beam column structure on RCC slab with RCC DECK SLAB ROOF
18 | TYRE BUILDING MACJINE (TBM) | 1 | RCC ROOF SLAB CAST IN SITU | 38.272 | 1991 | 38.272 | RCC framed pillar beam column structure on RCC slab, Cast in SITU |  |  |  | RCC framed pillar beam column structure on RCC slab, Cast in SITU with RCC ROOF SLAB CAST IN SITU
19 | TYRE BUILDING HALL # 1 ( Precast) | 1 | RCC ROOF SLAB | 18.304 | 1998 | 18.304 | RCC framed pillar beam column structure on RCC slab | Very Good | 3080 | 33140.8 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
20 | TYRE BUILDING HALL # 2 ( Precast) | 1 | RCC ROOF SLAB | 18.304 | 2004 | 18.304 | RCC framed pillar beam column structure on RCC slab | Very Good | 3080 | 33140.8 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
21 | TYRE BUILDING HALL # 3 | 1 | GALVALUME ROOFING SHED | 16.64 | 2006 | 16.64 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 3080 | 33140.8 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
22 | GREEN TYRE STORAGE | 1 | RCC COFFERS ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 3710 | 39919.6 | RCC framed pillar beam column structure on RCC slab with RCC COFFERS ROOF SLAB
23 | TYRE CURING # 1,2 & FINAL FINISH | 1 | RCC ROOF SLAB CAST IN SITU | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 5390 | 57996.4 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB CAST IN SITU
24 | TYRE CURING # 4 & FINAL FINISH, (PRECAST COFFER SLAB) | 1 | RCC COFFERS ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab, Precast Coffer Slab | Very Good | 2695 | 28998.2 | RCC framed pillar beam column structure on RCC slab, Precast Coffer Slab with RCC COFFERS ROOF SLAB
25 | TYRE CURING # 5 & FINAL FINISH, (PRECAST COFFER SLAB) | 1 | RCC COFFERS ROOF SLAB | 23.296 | 2004 | 23.296 | RCC framed pillar beam column structure on RCC slab, Precast Coffer Slab | Very Good | 2695 | 28998.2 | RCC framed pillar beam column structure on RCC slab, Precast Coffer Slab with RCC COFFERS ROOF SLAB
26 | TYRE CURING # 6 & FINAL FINISH | 1 | GALVALUME ROOFING SHED | 23.296 | 2006 | 23.296 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column | Very Good | 2695 | 28998.2 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column with GALVALUME ROOFING SHED
27 | TYRE INSPECTION (MEZZ. FLOOR) | 1 | GALVALUME ROOFING SHED | 23.296 | 2006 | 23.296 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall | Very Good | 5197.5 | 55925.1 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall with GALVALUME ROOFING SHED
28 | FGWH # 1,2 (GROUND FLOOR) | 1 | RCC DECK SLAB ROOF | 9.3184 | 1991 | 9.3184 | RCC framed pillar beam column structure on RCC slab | Very Good | 1155 | 12427.8 | RCC framed pillar beam column structure on RCC slab with RCC DECK SLAB ROOF
29 | FGWH # 1,2 (MEZZ. FLOOR), STRUCTURAL | 1 | GALVALUME ROOFING SHED | 29.952 | 1991 | 29.952 | Metallic framed pillar beam column structure on RCC slab | Very Good | 1925 | 20713 | Metallic framed pillar beam column structure on RCC slab with GALVALUME ROOFING SHED
30 | FGWH # 3 (GROUND FLOOR) | 1 | RCC DECK SLAB ROOF | 9.3184 | 2004 | 9.3184 | RCC framed pillar beam column structure on RCC slab | Very Good | 577.5 | 6213.9 | RCC framed pillar beam column structure on RCC slab with RCC DECK SLAB ROOF
31 | FGWH # 3 (MEZZ. FLOOR), RCC | 1 | GALVALUME ROOFING SHED | 29.952 | 2004 | 29.952 | Metallic framed pillar beam column structure on RCC slab | Very Good | 962.5 | 10356.5 | Metallic framed pillar beam column structure on RCC slab with GALVALUME ROOFING SHED
32 | FGWH # 4 (GROUND FLOOR) | 1 | RCC ROOF SLAB | 9.984 | 2006 | 9.984 | RCC framed pillar beam column structure on RCC slab | Very Good | 1540 | 16570.4 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
33 | FGWH # 4 (MEZZ. FLOOR), RCC | 1 | GALVALUME ROOFING SHED | 29.952 | 2006 | 29.952 | RCC framed pillar beam column structure on RCC slab | Very Good | 1540 | 16570.4 | RCC framed pillar beam column structure on RCC slab with GALVALUME ROOFING SHED
34 | FGWH # 5 | 1 | GALVALUME ROOFING SHED | 29.952 | 2011 | 29.952 | Galvalume roofed building mounted on PEB steel trusses resting on Metallic column | Very Good | 1347.5 | 14499.1 | Galvalume roofed building mounted on PEB steel trusses resting on Metallic column with GALVALUME ROOFING SHED
35 | ANNEXE GROUND FLOOR | 1 | RCC ROOF SLAB | 11.648 | 1991 | 11.648 | RCC framed pillar beam column structure on RCC slab | Very Good | 5365 | 57727.4 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
36 | TYRE REPAIR | 1 | RCC ROOF SLAB | 13.312 | 1998 | 13.312 | RCC framed pillar beam column structure on RCC slab | Very Good | 233.24 | 2509.6624 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
37 | TYRE TESTING | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 233.24 | 2509.6624 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
38 | AHU & TIOLET | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 699.72 | 7528.9872 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
39 | MOULD SHOP | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 233.24 | 2509.6624 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
40 | SUB STATION & TRANSFORMER (PCC# 3) | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 233.24 | 2509.6624 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
41 | ECS ROOM | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 348.6 | 3750.936 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
42 | TYRE CAFÉ (PRODUCT GALLERY) | 1 | RCC ROOF SLAB | 11.648 | 2005 | 11.648 | RCC framed pillar beam column structure on RCC slab | Very Good | 348.6 | 3750.936 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
43 | LABORATORY | 1 | RCC ROOF SLAB | 11.648 | 1991 | 11.648 | RCC framed pillar beam column structure on RCC slab | Very Good | 233.24 | 2509.6624 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
44 | BU 2 OFFICE & CHANGING ROOM | 1 | RCC ROOF SLAB | 11.648 | 1991 | 11.648 | RCC framed pillar beam column structure on RCC slab | Very Good | 348.6 | 3750.936 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
45 | ENTYR GATE | 1 | RCC ROOF SLAB | 11.648 | 1991 | 11.648 | RCC framed pillar beam column structure on RCC slab | Very Good | 116.62 | 1254.8312 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
46 | EMMERGENCY STORE / DOJO ROOM | 1 | RCC ROOF SLAB | 11.648 | 1991 | 11.648 | RCC framed pillar beam column structure on RCC slab | Very Good | 233.24 | 2509.6624 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
47 | LINER REROLLING AREA | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 283.22 | 3047.4472 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
48 | WORK SHOP | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 516.46 | 5557.1096 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
49 | AC CONTROL ROOM & TRANSFORMER ROOM | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 783.72 | 8432.8272 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
50 | DC CONTROL ROOM | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 349.86 | 3764.4936 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
51 | ANNEXE OFFICE | 1 | RCC ROOF SLAB | 13.312 | 1991 | 13.312 | RCC framed pillar beam column structure on RCC slab | Very Good | 1632.67 | 17567.5292 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
52 | BULK OIL | 1 | RCC ROOF SLAB | 10 | 1991 | 10 | RCC framed pillar beam column structure on RCC slab | Very Good | 61.75 | 664.43 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
53 | CARBON BLACK STORAGE | 1 | GALVALUME ROOFING SHED | 18.304 | 1991 | 18.304 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall | Very Good | 1229.2749 | 13226.9981 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall with GALVALUME ROOFING SHED
54 | CARBON BLACK STORAGE (MACHINE ROOM) | 1 | GALVALUME ROOFING SHED | 36.608 | 1991 | 36.608 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall | Very Good | 188.2666 | 2025.7492 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall with GALVALUME ROOFING SHED
55 | CARBON BLACK STORAGE (BLOWER & CONTROL ROOM) | 1 | RCC ROOF SLAB | 9.3184 | 1991 | 9.3184 | RCC framed pillar beam column structure on RCC slab | Very Good | 63 | 677.88 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
56 | ELASTO TANK | 0 | YARD | 0 | 1991 | 0 | Open Yard | Very Good | 215.5 | 2318.78 | Open Yard with YARD
57 | ELASTO TANK (CONTROL ROOM) | 1 | RCC ROOF SLAB | 13.312 | 1991 | 13.312 | RCC framed pillar beam column structure on RCC slab | Very Good | 44 | 473.44 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
58 | 10 KL HSD TANK | 0 | YARD | 0 | 1991 | 0 | Open Yard | Very Good | 40.88 | 439.8688 | Open Yard with YARD
59 | CPH (CEMENT HOUSE) | 1 | ASBESTOS ROOFING SHED | 19.968 | 1991 | 19.968 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall | Very Good | 190.63 | 2051.1788 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall with ASBESTOS ROOFING SHED
60 | COOLING TOWER NO. 1 | 0 | YARD | 0 | 1991 | 0 | Open Yard | Very Good | 273.62 | 2944.1512 | Open Yard with YARD
61 | COMPRESSOR/CHILLER | 1 | ASBESTOS ROOFING SHED | 19.968 | 1991 | 19.968 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall | Very Good | 1122.69 | 12080.1444 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall with ASBESTOS ROOFING SHED
62 | GENERAL STORES | 1 | ASBESTOS ROOFING SHED | 28.288 | 1991 | 28.288 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall | Good | 1082.93 | 11652.3268 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall with ASBESTOS ROOFING SHED
63 | 6.6 KVA STATION | 1 | RCC ROOF SLAB | 19.968 | 1991 | 19.968 | RCC framed pillar beam column structure on RCC slab | Very Good | 525.92 | 5658.8992 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
64 | MATERIAL HAND. WORKSHOP | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 260.76 | 2805.7776 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
65 | BOILER HOUSE 20 TPH (MEZZ. FLOOR) | 1 | RCC ROOF SLAB | 14.976 | 1991 | 14.976 | RCC framed pillar beam column structure on RCC slab | Very Good | 94.5 | 1016.82 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
66 | BOILER HOUSE 20 TPH (RCC SLAB) | 1 | RCC ROOF SLAB | 11.648 | 1991 | 11.648 | RCC framed pillar beam column structure on RCC slab | Very Good | 192.5 | 2071.3 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
67 | COOLING TOWER NO. 2 | 0 | YARD | 0 | 1991 | 0 | Open Yard | Very Good | 273.62 | 2944.1512 | Open Yard with YARD
68 | COOLING TOWER NO. 3 | 0 | YARD | 0 | 1991 | 0 | Open Yard | Very Good | 273.6 | 2943.936 | Open Yard with YARD
69 | D.M.PLANT | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Very Good | 392.58 | 4224.1608 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
70 | D.M.PLANT YARD | 1 | YARD | 0 | 1991 | 0 | Open Yard | Very Good | 600.5 | 6461.38 | Open Yard with YARD
71 | PLANT GATE | 1 | RCC ROOF SLAB | 11.648 | 1991 | 11.648 | RCC framed pillar beam column structure on RCC slab | Very Good | 445.15 | 4789.814 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
72 | WEIGH BRIDGE # 1 & 2 | 1 | RCC ROOF SLAB | 8.32 | 1991 | 8.32 | RCC framed pillar beam column structure on RCC slab | Very Good | 20.22 | 217.5672 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
73 | CHEMICAL HOUSE - 1 | 1 | ASBESTOS ROOFING SHED | 14.976 | 1991 | 14.976 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall | Good | 21 | 225.96 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall with ASBESTOS ROOFING SHED
74 | CHEMICAL HOUSE - 2 | 1 | ASBESTOS ROOFING SHED | 21.632 | 1991 | 21.632 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall | Good | 12 | 129.12 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall with ASBESTOS ROOFING SHED
75 | PUMP HOUSE | 1 | RCC ROOF SLAB | 36.608 | 1991 | 36.608 | RCC framed pillar beam column structure on RCC slab | Very Good | 198.45 | 2135.322 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
76 | CAR STAND | 1 | RCC ROOF SLAB | 10.3168 | 1991 | 10.3168 | RCC framed pillar beam column structure on RCC slab | Very Good | 612.45 | 6589.962 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
77 | MAIN GATE | 1 | RCC ROOF SLAB | 8.4864 | 1991 | 8.4864 | RCC framed pillar beam column structure on RCC slab | Very Good | 8.36 | 89.9536 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
78 | TRAINING CENTRE (HRD) | 1 | RCC ROOF SLAB | 11.648 | 1991 | 12 | RCC framed pillar beam column structure on RCC slab | Very Good | 319.92 | 3442.3392 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
79 | CANTEEN | 1 | RCC ROOF SLAB | 14.6432 | 1991 | 15 | RCC framed pillar beam column structure on RCC slab | Very Good | 654.96 | 7047.3696 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
80 | WATER RESERVOIR TANK, CAPACITY: 2500 CUM. | 1 | RCC ROOF SLAB | 4.5 | 1991 | 14.976 | RCC framed pillar beam column structure on RCC slab | Very Good | 754 | 8113.04 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
81 | WATER RESERVOIR TANK, CAPACITY: 2475 CUM. | 0 | GALVALUME ROOFING SHED | 4.5 | 1991 | 14.976 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column & Wall | Very Good | 754 | 8113.04 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column & Wall with GALVALUME ROOFING SHED
82 | WATER CLARIFLACULATOR, CAPACITY (630.0 CUM.) | 0 | YARD | 13.312 | 1991 | 13.312 | Open Yard | Very Good | 290 | 3120.4 | Open Yard with YARD
83 | L.S/H.S. TANK | 0 | YARD | 15 | 1991 | 15 | Open Yard | Very Good | 240.4 | 2586.704 | Open Yard with YARD
84 | 50 KL HSD TANK | 0 | YARD | 0 | 1991 | 0 | Open Yard | Very Good | 20.02 | 215.4152 | Open Yard with YARD
85 | SULPHUR ROOM | 1 | RCC ROOF SLAB | 16.64 | 1991 | 15 | RCC framed pillar beam column structure on RCC slab | Very Good | 55 | 591.8 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
86 | 132 KVA YARD SUB STATION | 0 | YARD | 0 | 1991 | 0 | Open Yard, Structure RC Flooring | Very Good | 2217.46 | 23859.8696 | Open Yard, Structure RC Flooring with YARD
87 | ASH SILO (20 TPH BOILER) | 0 | YARD | 61.568 | 1991 | 61.568 | Open Yard, Structure RC Flooring | Very Good | 105.06 | 1130.4456 | Open Yard, Structure RC Flooring with YARD
88 | ASH SILO (32 TPH BOILER) | 0 | YARD | 61.568 | 2019 | 61.568 | Open Yard, Structure RC Flooring | Very Good | 105.06 | 1130.4456 | Open Yard, Structure RC Flooring with YARD
89 | TWIN O.H. TANK, CAPACITY: 68.0 CUM. | 2 | YARD | 93.184 | 1991 | 93.184 | Open Yard, Structure RC Flooring | Very Good | 8.65 | 93.074 | Open Yard, Structure RC Flooring with YARD
90 | BACK WASH TANK, CAPACITY: 150.CUM. | 1 | YARD | 14.976 | 1991 | 14.976 | Open Yard, Structure RC Flooring | Very Good | 100 | 1076 | Open Yard, Structure RC Flooring with YARD
91 | COAL CRUSHER | 1 | YARD | 33.28 | 1991 | 33.28 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column & Wall | Very Good | 45.55 | 490.118 | Galvalume sheet roofed building mounted on steel trusses resting on RCC column & Wall with YARD
92 | SECURITY BARRAK | 1 | RCC ROOF SLAB | 11.648 | 1991 | 11.648 | RCC framed pillar beam column structure on RCC slab | Very Good | 265.16 | 2853.1216 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
93 | SECURITY BARRAK (R.S.O.) | 1 | ASBESTOS ROOFING SHED | 9.984 | 1991 | 9.984 | GI & Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Wall | Very Good | 76.95 | 827.982 | GI & Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Wall with ASBESTOS ROOFING SHED
94 | NEPTHA YARD (OPEN ) | 1 | YARD | 9.984 | 1991 | 9.984 | Open Yard | Very Good | 743 | 7994.68 | Open Yard with YARD
95 | CHIMNEY NEAR THERMOPACK | 1 | YARD | 199.68 | 1991 | 199.68 | Open Yard | Very Good | 7.18 | 77.2568 | Open Yard with YARD
96 | CHIMNEY NEAR 20 T BOILER | 1 | YARD | 199.68 | 1991 | 199.68 | Open Yard | Very Good | 15.75 | 169.47 | Open Yard with YARD
97 | MEZANINE FLOORS IN PLANT | 1 | RCC ROOF SLAB | 13.312 | 1991 | 13.312 | RCC framed pillar beam column structure on RCC slab | Very Good | 1540 | 16570.4 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
98 | NEW DG HOUSE - (PART-1) | 1 | RCC ROOF SLAB | 23.296 | 1991 | 23.296 | RCC framed pillar beam column structure on RCC slab | Good | 343 | 3690.68 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
99 | NEW DG HOUSE - (PART-2) | 1 | ASBESTOS ROOFING SHED | 46.592 | 1991 | 46.592 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall | Good | 686 | 7381.36 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall with ASBESTOS ROOFING SHED
100 | COOLING TOWER NO. # 4. | 0 | YARD | 29.952 | 1991 | 29.952 | Open Yard | Very Good | 300 | 3228 | Open Yard with YARD
101 | 50 TPH BOILER HOUSE (GROUND FLOOR), NOT IN USE | 1 | RCC ROOF SLAB | 14.976 | 1991 | 14.976 | RCC framed pillar beam column structure on RCC slab | Very Good | 105 | 1129.8 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
102 | 50 TPH BOILER HOUSE (MEZZ. FLOOR), NOT IN USE | 1 | RCC ROOF SLAB | 16.64 | 1991 | 16.64 | RCC framed pillar beam column structure on RCC slab | Very Good | 105 | 1129.8 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
103 | CHIMNEY NEAR 50 T BOILER | 0 | YARD | 199.68 | 1991 | 199.68 | Open Yard | Very Good | 20 | 215.2 | Open Yard with YARD
104 | TURBINE RCC ROOF,NOT IN USE | 2 | RCC ROOF SLAB | 53.248 | 1991 | 53.248 | RCC framed pillar beam column structure on RCC slab | Very Good | 1044 | 11233.44 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
105 | TURBINE (MEZZ. FLOOR), NOT IN USE | 1 | RCC ROOF SLAB | 24.96 | 1991 | 24.96 | RCC framed pillar beam column structure on RCC slab | Very Good | 912 | 9813.12 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
106 | COOLING TOWER NO. # 5 | 0 | YARD | 0 | 1991 | 0 | Open Yard | Very Good | 273.62 | 2944.1512 | Open Yard with YARD
107 | HAZARDUS STORE (2 NOS.) | 1 | ASBESTOS ROOFING SHED | 8.6528 | 1998 | 8.6528 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall | Very Good | 100 | 1076 | Asbestos sheet roofed building mounted on steel trusses resting on RCC column & Brick Wall with ASBESTOS ROOFING SHED
108 | PROJECT GODOWN | 1 | GI SHEET ROOFING SHED | 11.648 | 2008 | 11.648 | GI sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall | Very Good | 414 | 4454.64 | GI sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall with GI SHEET ROOFING SHED
109 | CONTRACTOR SHED | 1 | GI & ASBESTOS SHEET ROOFING SHED | 13.312 | 1991 | 13.312 | GI / Asbestos sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall | Good | 225 | 2421 | GI / Asbestos sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall with GI & ASBESTOS SHEET ROOFING SHED
110 | BUS PARKING SHED | 1 | ASBESTOS SHEET ROOFING SHED | 16.64 | 1991 | 16.64 | Asbestos sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall | Very Good | 300 | 3228 | Asbestos sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall with ASBESTOS SHEET ROOFING SHED
111 | BIKE / CYCLE PARKING SHED | 1 | GALVALUME SHEET ROOFING SHED | 13.312 | 2012 | 13.312 | Galvalume sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall | Very Good | 450 | 4842 | Galvalume sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall with GALVALUME SHEET ROOFING SHED
112 | E.T. PLANT (EFFLUENT TREATMENT PLANT) | 0 | YARD | 0 | 1991 | 0 | Open Yard, CAPACITY: 500.0 CUM/DAY | Very Good | 350 | 3766 | Open Yard, CAPACITY: 500.0 CUM/DAY with YARD
113 | S.T. PLANT (SEWER TREATMENT PLANT) | 0 | YARD | 0 | 2014 | 0 | Open Yard CAPACITY: 160 CUM./DAY | Very Good | 275 | 2959 | Open Yard CAPACITY: 160 CUM./DAY with YARD
114 | 32 TPH Boiler (MEZZ. FLOOR) | 1 | RCC ROOF SLAB | 13.312 | 2019 | 13.312 | RCC framed pillar beam column structure on RCC slab | Very Good | 150 | 1614 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
115 | 32 TPH Boiler (RCC ROOF SLAB) | 1 | RCC ROOF SLAB | 21.632 | 2019 | 21.632 | RCC framed pillar beam column structure on RCC slab | Very Good | 150 | 1614 | RCC framed pillar beam column structure on RCC slab with RCC ROOF SLAB
116 | BIO MASS SHED | 1 | GALVALUME ROOFING SHED | 28.288 | 2022 | 28.288 | Galvalume sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall | Very Good | 1800 | 19368 | Galvalume sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall with GALVALUME ROOFING SHED
117 | COAL STORAGE SHED | 1 | GALVALUME ROOFING SHED | 28.288 | 2008 | 28.288 | Galvalume sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall | Very Good | 546 | 5874.96 | Galvalume sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall with GALVALUME ROOFING SHED
118 | ELECTRICAL WORK SHOP | 1 | ASBESTOS SHEET ROOFING SHED | 29.952 | 1991 | 29.952 | Asbestos sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall | Good | 231 | 2485.56 | Asbestos sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall with ASBESTOS SHEET ROOFING SHED
119 | MOULD SHOP SHED | 1 | ASBESTOS SHEET ROOFING SHED | 29.952 | 1991 | 29.952 | Asbestos sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall | Good | 231 | 2485.56 | Asbestos sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall with ASBESTOS SHEET ROOFING SHED
120 | MECHANICAL WORK SHOP | 1 | GI SHEET ROOFING SHED | 13.312 | 2002 | 13.312 | GI sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall | Good | 252 | 2711.52 | GI sheet roofed building mounted on steel trusses resting on Metallic Column & Brick Wall with GI SHEET ROOFING SHED
[9 empty] | 115246.1016 | 1240048.0529

## Drainage length
Drainage Length in Running Meter