## PlantBuildings floor area & ht
Date : 01.05.2022
Details of Plant buildings Plan area & height , type of structure details of KTP
Sr No | Name of Building | Area | Height | Total Ht | Type of construction
1 | RMS Pl-I | 2058 | 4.5 | 4.5 | Stone Masonary walls with RCC Columns ,Steel truss roof & GI/AC Sheet roofing
2 | RMS Pl- III | 525 | 4.5 | 4.5
3 | CRL building | 930 | 4.5 | 4.5 | Framed RCC Structure with RCC Roof
4 | Banbury Plant- I - BB#1,2,3 GF | 3234 | 6 | 18
5 | ---- Do ---- F.F. | 3234 | 6
6 | ---- Do ---- S.F. | 3234 | 6 |  | Stone Masonary walls with RCC Columns ,Steel truss roof & GI/AC Sheet roofing
7 | Banbury Plant- III - BB#4&5 GF | 1050 | 6 | 18 | Framed RCC Structure with RCC Roof
8 | ---- Do ---- F.F. | 1050 | 6
9 | ---- Do ---- S.F. | 1050 | 6 |  | Stone Masonary walls with RCC Columns ,Steel truss roof & GI/AC Sheet roofing
10 | Dip Unit | 1029 | 10 | 10
Main Plant
11 | Pl-I from Axis 7 to 42 & C to Q | 20672.4 | 7.5 | 7.5 | Stone Masonary walls with RCC Columns ,Steel truss roof & GI/AC Sheet roofing
12 | Pl-II from Axis 7 to 42 & Q to T | 5266.1 | 7.5 | 7.5
13 | Tr Expansion area | 4045 | 7.5 | 7.5
14 | Pl-III Axis 7 to 42 | 6152.5 | 7.5 | 7.5
15 | Annexe building along Pl-III main hall | 2461 | 3.5 | 3.5 | Framed RCC Structure with RCC Roof
16 | FGWH Pl-I | 5911.5 | 7.5 | 7.5 | Stone Masonary walls with RCC Columns ,Steel truss roof & GI/AC Sheet roofing
17 | FGWH Pl-III | 1407.5 | 7.5 | 7.5
18 | Annexe building from axis 7 to 29 Pl-I | 1334 | 3.5 | 3.5
19 | Annexe building from axis 34 to 41 G.F. | 720.3 | 3.5 | 7 | Framed RCC Structure with RCC Roof
20 | ---- Do ----- F.F. Pl-I | 720.3 | 3.5
21 | Main Canteen Hall & Kitchen | 644 | 4 | 4 | Stone Masonary walls with RCC Columns part RCC & part Steel truss roof & GI/AC Sheet roofing
22 | Mould W/S | 226.1 | 4 | 4 | Stone Masonary walls with RCC Columns ,Steel truss roof & GI/AC Sheet roofing
23 | Engg W/Shop | 624.4 | 4 | 4
24 | General Stores | 1382.25 | 4 | 4
25 | HRD | 1200 | 4 | 4
26 | Compressor house | 1740 | 4 | 4
27 | DM Plant | 316.8 | 4 | 4
28 | old DM Plant | 216.6 | 4 | 4
29 | DG Set building | 505.75 | 5 | 5
30 | Boiler house G.F. | 1525 | 4 | 8 | Framed RCC Structure with RCC Roof
31 | Boiler house F.F. | 1525 | 4 |  | Stone Masonary walls with RCC Columns ,Steel truss roof & GI/AC Sheet roofing
32 | Cement House Pl-I | 133 | 4 | 4
33 | 4MW Dg set | 1261.6526 | 4 | 4
34 | Cement House Pl-III | 157.5 | 4 | 4
35 | RTD WH sheds | 3107 | 4.5 | 4.5
36 | New Admn Building G.F. | 625.75 | 3.5 | 11 | Framed RCC Structure with RCC Roof
37 | New Admn Building F.F. | 625.75 | 3.5
38 | New Admn Building S.F. | 97.75 | 3.5
39 | Security & gate building G.F. | 285 | 3 | 6 | Framed RCC Structure with RCC Roof
40 | Security & gate building F.F. | 64 | 3
41 | Time office Pl-III building | 111.625 | 3 | 3 | Framed RCC Structure with RCC Roof
42 | Semi Permanent WH Sheds | 1350 | 4.5 | 4.5 | Steel Columns ,Steel truss roof & GI/AC Sheet roofing
43 | Infront of Pl-III WH | 1400 | 4.5 | 4.5
44 | Along the Pl-III building | 800 | 4.5 | 4.5
45 | Driver Shed | 111.625 | 3 | 3 | Framed RCC Structure with RCC Roof
| Total | 86121.1526

## Township Building s
Date : 01.05.2022
Details of Township Buildings
Sr No | Name of building | Nos | Area of one unit | Total area | Height | NO of Storey | Type of Structure
1 | A - type | 3 | 178 | 534 | 3.5 | Single | Load Bearing Structure with RCC Roof
2 | AB Type | 8 | 169 | 1352 | 3.5 | Single
3 | A II type | 4 | 165 | 660 | 6 | Double
4 | B - Type | 24 | 140 | 3360 | 6 | Duplex
5 | BII type | 12 | 116 | 1392 | 6 | Double
6 | C- Type | 40 | 65 | 2600 | 6 | Double
7 | D - type | 40 | 47.5 | 1900 | 6 | Double
8 | DT- type | 54 | 49 | 2646 | 10 | Triple
9 | ET-type | 132 | 46.25 | 6105 | 10 | Triple
10 | E - Type | 45 | 37.12 | 1670.4 | 3 | Single
11 | F- Type | 74 | 21.6 | 1598.4 | 3 | Single
12 | Manoranjan Kendra | 1 | 344.075 | 344.075 | 4 | Single
13 | Co-operative building | 1 | 203 | 203 | 3.5 | Single
14 | Dispensary | 1 | 236.25 | 236.25 | 3.5 | Single
15 | Radial club | 1 | 415 | 415 | 4.4 | Single
16 | Trainee Hostel | 1 | 1034 | 1034 | 3.5 | Single
17 | Guest House | 1 | 662.8737 | 662.8737 | 3.5 | Single
18 | LPG Godown | 1 | 82.62 | 82.62 | 4 | Single
19 | Hasetri | 1 |  | 0 | 7 | Double
20 | Shiv Mandir | 1 | 36.677 | 36.677 | 12.8 | Single
21 | Pump House | 1 |  | 0 | 3.5 | Single
22 | SFRT godown | 1 | 150 | 150 | 4.5 | Single
|  |  | Total | 26982.2957