JAYPEE BINA THERMAL POWER PLANT

(A Division of Jaiprakash Power Ventures Limited)

Operational Performance Report for the Financial Year 2021-22

(As on 31st March, 2022)

- COD :

- 	Unit-I 		:	31st August, 2012

- 	Unit-II		:	     7th April, 2013

- General:

PLANT PERFORMANCE – (500 MW)

The performance of Power Plant during the current year for the period ended

31st March, 2022 is as under:

- 	Plant Availability Factor (PAF)	:   74.20%

- 	Plant Load Factor (PLF)		:   57.28%

- Energy Generation:–

Million units

| Period | Normative* | Generation Summary- Actual |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | @ 85% PLF | Gross | Adjustments (*) | Billed Qty. | Aux (%) | PLF (%) | PAF (%) |
| 250 MW |  |  |  |  |  |  |  |
| 2012-13** | 1086.32 | 441.84 | (18.78) | 415.07 | 10.30 | 34.57 | 67.62 |
| 500 MW |  |  |  |  |  |  |  |
| 2013-14 | 3692.41 | 1562.64 | 86.53 | 1329.94 | 9.35 | 36.31 | 94.86 |
| 2014-15 | 3723.00 | 2444.74 | (74.34) | 2311.29 | 8.50 | 55.36 | 92.47 |
| 2015-16 | 3733.20 | 1318.86 | 26.86 | 1181.93 | 8.35 | 30.03 | 99.79 |
| 2016-17 | 3723.00 | 812.83 | 1.24 | 737.00 | 9.02 | 18.56 | 87.75 |
| 2017-18 | 3723.00 | 2465.32 | 30.96 | 2234.52 | 8.11 | 56.29 | 83.42 |
| 2018-19 | 3723.00 | 2503.87 | 5.12 | 2295.85 | 8.52 | 57.17 | 84.80 |
| 2019-20 | 3733.20 | 2480.94 | 10.07 | 2259.99 | 8.60 | 56.49 | 84.91 |
| 2020-21 | 3723.00 | 1686.39 | (8.97) | 1553.15 | 8.43 | 38.50 | 94.75 |
| 2021-22 | 3723.00 | 2508.69 | (21.93) | 2314.87 | 8.60 | 57.28 | 74.20 |

(*) Adjustments on account of Transmission losses & unscheduled interchange charges.

>>>>>>>X<<<<<<<