Condition of Structure
## Building_Sheet
CIVIL/STRUCTURES VALUATION
S.No.	Block Name	Total Slabs/ Floors	Floor wise Height (ft.)	Year of construction	Type of construction (select from drop down)	Structure condition	Area (in sq. mtr.)	Area (sq. fts.)
1	Mill house Building	G Floor	62'-09"	2006	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure		3329.28	35823.05
2	D.G. Set	G Floor	18'-63"	2006	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure		500.00	5380.00
3	Boiler Panel Room G + 1	G Floor & G+1	33'-66"	2006	G+1 RCC Framed single storied with RCC roof and brick masonry wall		720.28	7750.16
4	Boiling House Building	G Floor	88'-24"	2006	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure		3780.80	40681.41
5	Sugar Godown	G Floor	32'-68"	2006	Colored corrugated GI sheet roof mounted on RCC pillars, trusses frame structure		16000.00	172160.00
6	Gunny Bag Godown	G Floor	16'-99"	2006	Colored corrugated GI sheet roof mounted on RCC pillars, trusses frame structure		672.00	7230.72
7	General Store	G Floor & G+1	26'-14"	2006	AC sheet roofed building mounted on steel trusses resting on RCC column		1200.00	12912.00
8	Cement Godown	G Floor	16'-34"	2006	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure		100	1076.00
9	Power House	G Floor	62'-09"	2006	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure		1500.8	16148.61
10	Drier House	G Floor	81'-70"	2006	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure		1792	19281.92
11	Dispensary	G Floor	9'-80"	2006	RCC framed pillar beam column structure on RCC slab		480.095	5165.82
12	MCC panel / Injection pump panel	G Floor	16'-34"	2006	RCC framed pillar beam column structure on RCC slab		520.11	5596.38
13	Technical Block G+4	G Floor & G+1 to G4	65'-36"	2006	G+4 RCC framed structure with RCC roof and brick masonry wall ,tiles flooring in entrance corridor and ist. Floor tiles and tiles flooring in offices and false ceiling, Conduit wiring.		1324.835	14255.22
14	Sulpher& Lime Godown	G Floor	16'-34"	2006	AC sheet roofed building mounted on steel trusses resting on RCC column		200	2152.00
15	Cane office	G Floor	11'-11"	2006	RCC framed pillar beam column structure on RCC slab		709.74	7636.80
16	Cane Token Room	G Floor	9'-80"	2006	RCC framed pillar beam column structure on RCC slab		10.88	117.07
17	Weigh bridge room	G Floor & G+1	10'-13"	2006	RCC framed pillar beam column structure on RCC slab		316.05	3400.70
18	Canteen	G Floor	7'-19"	2006	AC sheet roofed building mounted on steel trusses resting on RCC column		522.9	5626.40
19	Time office	G Floor	09'-80"	2005	RCC framed pillar beam column structure on RCC slab		102.82	1106.34
20	Administrative building Sugar G+1	G Floor & G+1	14'-71"	2006	RCC framed pillar beam column structure on RCC slab		1275.9668	13729.40
21	Administrative building ( Dist) G+1	G Floor & G+1	12'-42"	2006	RCC framed pillar beam column structure on RCC slab		432	4648.32
22	Security Barack	G Floor	35'-95"	2006	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure		401.115	4316.00
23	power house Panel Room	G Floor	13'-07"	2006	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure		672	7230.72
24	Guest House(Dormetory)	G Floor & G+1 to G2	9'-80"	2006	RCC framed pillar beam column structure on RCC slab		3421.63	36816.74
25	Residential Building ( Two Bed Room )	G Floor & G+1 to G2	10'-13"	2006	RCC framed pillar beam column structure on RCC slab		6900	74244.00
26	Residential Flat ( One Bed Room)	G Floor & G+1 to G2	10'-13"	2006	RCC framed pillar beam column structure on RCC slab		1560	16785.60
27	Building plant Distillery	G Floor & G+1 to G2	16'-34"	2006	RCC framed pillar beam column structure on RCC slab		768.375	8267.72
28	E.T.P	G Floor	13'-07"	2006	RCC framed pillar beam column structure on RCC slab		139.875	1505.06
29	Exise office and Sales office	G Floor	09'-80"	2006	RCC framed pillar beam column structure on RCC slab		100.205	1078.21
30	Storage Section	G Floor		2006	AC sheet roofed building & open area		1617	17398.92
31	Boundry wall length (meter)	G Floor	11'-44"	2006	RCC Pillar with brick masnory wall		2940	31634.40
32	Road (meter)	G Floor	9	2006	RCC		176625	176625.00
33	Drainage (meter)	G Floor	13'-07"	2006	brick masnory wall		4455	47935.80
34	Under Ground Tank	G Floor	13'-07"	2006	RCC framed pillar beam column structure on RCC slab		633.15	6812.69
35	Baggase Yard	G Floor		2006	RCC		23079	248330.04
36	Cane yard	G Floor		2006	BOE Soling		33157	356769.32

## Plant_Buildings
ANNEXURE-A: MARKET VALUE OF STRUCTURES OF M/S. BAJAJ HINDUSTHAN SUGAR LIMITED.| PROPERTY OF INDUSTRIAL PROPERTY | SITUATED AT: VILLAGE- GAGNAULI, DISTRICT- SAHARANPUR, U.P
Sr. No.	Floor	Block Name	Construction Category	Condition of Structure	Area / (in sq mtr)	Area / (in sq ft)	Height (in ft.)	Year of Construction	Year of Valuation	Total Life Consumed / (in yrs.)	Total Economical Life / (in yrs.)	Salvage value	Depreciation Rate	Plinth Area Rate / (in per sq.ft.)	Plinth Area Rate / (In per sq. mtr.)	Gross Replacement Value / (INR)	Total Deterioration / (INR)	Depreciated Value / (INR)	Premium (For additional aesthetics or renovation)	Depreciated Replacement Market Value / (INR)	Govt. Guideline rates / (per sq. mtr.)	Age Factor	Total Govt. Guideline value
1	G Floor	Mill house Building	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure	Good	3329.28	35823.05	62'-09"	2006	2022	16	40	0.05	0.024	₹ 1,000	₹ 10,763.90	₹ 3,58,36,037	₹ 1,36,17,694	₹ 2,22,18,343	0	₹ 2,22,18,343	₹ 800.00	0.99	₹ 26,36,790
2	G Floor	D.G. Set	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure	Good	500.00	5380.00	18'-63"	2006	2022	16	40	0.05	0.024	₹ 700	₹ 7,534.73	₹ 37,67,365	₹ 14,31,599	₹ 23,35,766	0	₹ 23,35,766	₹ 800.00	0.99	₹ 43,04,000
3	G Floor & G+1	Boiler Panel Room G + 1	G+1 RCC Framed single storied with RCC roof and brick masonry wall	Good	720.28	7750.16	33'-66"	2006	2022	16	60	0.05	0.016	₹ 1,400	₹ 15,069.46	₹ 1,08,54,155	₹ 27,49,719	₹ 81,04,436	0	₹ 81,04,436	₹ 800.00		₹ 62,00,127
4	G Floor	Boiling House Building	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure	Good	3780.80	40681.41	88'-24"	2006	2022	16	40	0.05	0.024	₹ 1,100	₹ 11,840.29	₹ 4,47,65,768	₹ 1,70,10,992	₹ 2,77,54,776	0	₹ 2,77,54,776	₹ 800.00		₹ 3,25,45,126
5	G Floor	Sugar Godown	Colored corrugated GI sheet roof mounted on RCC pillars, trusses frame structure	Good	16000.00	172160.00	32'-68"	2006	2022	16	40	0.05	0.024	₹ 750	₹ 8,072.93	₹ 12,91,66,800	₹ 4,90,83,384	₹ 8,00,83,416	0	₹ 8,00,83,416	₹ 800.00		₹ 13,77,28,000
6	G Floor	Gunny Bag Godown	Colored corrugated GI sheet roof mounted on RCC pillars, trusses frame structure	Good	672.00	7230.72	16'-99"	2006	2022	16	40	0.05	0.024	₹ 700	₹ 7,534.73	₹ 50,63,339	₹ 19,24,069	₹ 31,39,270	0	₹ 31,39,270
7	G Floor & G+1	General Store	AC sheet roofed building mounted on steel trusses resting on RCC column	Good	1200.00	12912.00	26'-14"	2006	2022	16	40	0.05	0.024	₹ 700	₹ 7,534.73	₹ 90,41,676	₹ 34,35,837	₹ 56,05,839	0	₹ 56,05,839
8	G Floor	Cement Godown	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure	Good	100	1076.00	16'-34"	2006	2022	16	40	0.05	0.024	₹ 700	₹ 7,534.73	₹ 7,53,473	₹ 2,86,320	₹ 4,67,153	0	₹ 4,67,153
9	G Floor	Power House	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure	Good	1500.8	16148.61	62'-09"	2006	2022	16	40	0.05	0.024	₹ 1,000	₹ 10,763.90	₹ 1,61,54,461	₹ 61,38,695	₹ 1,00,15,766	0	₹ 1,00,15,766
10	G Floor	Drier House	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure	Good	1792	19281.92	81'-70"	2006	2022	16	40	0.05	0.024	₹ 1,100	₹ 11,840.29	₹ 2,12,17,800	₹ 80,62,764	₹ 1,31,55,036	0	₹ 1,31,55,036
11	G Floor	Dispensary	RCC framed pillar beam column structure on RCC slab	Good	480.095	5165.82	9'-80"	2006	2022	16	40	0.05	0.024	₹ 1,300	₹ 13,993.07	₹ 67,18,003	₹ 25,52,841	₹ 41,65,162	0	₹ 41,65,162
12	G Floor	MCC panel / Injection pump panel	RCC framed pillar beam column structure on RCC slab	Good	520.11	5596.38	16'-34"	2006	2022	16	40	0.05	0.024	₹ 1,300	₹ 13,993.07	₹ 72,77,936	₹ 27,65,616	₹ 45,12,320	0	₹ 45,12,320
13	G Floor & G+1 to G4	Technical Block G+4	G+4 RCC framed structure with RCC roof and brick masonry wall ,tiles flooring in entrance corridor and ist. Floor tiles and tiles flooring in offices and false ceiling, Conduit wiring.	Good	1324.835	14255.22	65'-36"	2006	2022	16	40	0.05	0.024	₹ 1,400	₹ 15,069.46	₹ 1,99,64,548	₹ 75,86,528	₹ 1,23,78,020	0	₹ 1,23,78,020
14	G Floor	Sulpher& Lime Godown	AC sheet roofed building mounted on steel trusses resting on RCC column	Good	200	2152.00	16'-34"	2006	2022	16	40	0.05	0.024	₹ 700	₹ 7,534.73	₹ 15,06,946	₹ 5,72,639	₹ 9,34,307	0	₹ 9,34,307
15	G Floor	Cane office	RCC framed pillar beam column structure on RCC slab	Good	709.74	7636.80	11'-11"	2006	2022	16	40	0.05	0.024	₹ 1,300	₹ 13,993.07	₹ 99,31,442	₹ 37,73,948	₹ 61,57,494	0	₹ 61,57,494
16	G Floor	Cane Token Room	RCC framed pillar beam column structure on RCC slab	Good	10.88	117.07	9'-80"	2006	2022	16	40	0.05	0.024	₹ 1,300	₹ 13,993.07	₹ 1,52,245	₹ 57,853	₹ 94,392	0	₹ 94,392
17	G Floor & G+1	Weigh bridge room	RCC framed pillar beam column structure on RCC slab	Good	316.05	3400.70	10'-13"	2006	2022	16	40	0.05	0.024	₹ 1,100	₹ 11,840.29	₹ 37,42,124	₹ 14,22,007	₹ 23,20,117	0	₹ 23,20,117
18	G Floor	Canteen	AC sheet roofed building mounted on steel trusses resting on RCC column	Good	522.9	5626.40	7'-19"	2006	2022	16	40	0.05	0.024	₹ 650	₹ 6,996.54	₹ 36,58,488	₹ 13,90,225	₹ 22,68,263	0	₹ 22,68,263
19	G Floor	Time office	RCC framed pillar beam column structure on RCC slab	Good	102.82	1106.34	09'-80"	2005	2022	17	40	0.05	0.024	₹ 1,300	₹ 13,993.07	₹ 14,38,767	₹ 5,80,902	₹ 8,57,865	0	₹ 8,57,865
20	G Floor & G+1	Administrative building Sugar G+1	RCC framed pillar beam column structure on RCC slab	Good	1275.9668	13729.40	14'-71"	2006	2022	16	40	0.05	0.024	₹ 1,400	₹ 15,069.46	₹ 1,92,28,131	₹ 73,06,690	₹ 1,19,21,441	0	₹ 1,19,21,441
21	G Floor & G+1	Administrative building ( Dist) G+1	RCC framed pillar beam column structure on RCC slab	Good	432	4648.32	12'-42"	2006	2022	16	40	0.05	0.024	₹ 1,300	₹ 13,993.07	₹ 60,45,006	₹ 22,97,102	₹ 37,47,904	0	₹ 37,47,904
22	G Floor	Security Barack	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure	Good	401.115	4316.00	35'-95"	2006	2022	16	40	0.05	0.024	₹ 800	₹ 8,611.12	₹ 34,54,049	₹ 13,12,539	₹ 21,41,511	0	₹ 21,41,511
23	G Floor	power house Panel Room	,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure	Good	672	7230.72	13'-07"	2006	2022	16	40	0.05	0.024	₹ 700	₹ 7,534.73	₹ 50,63,339	₹ 19,24,069	₹ 31,39,270	0	₹ 31,39,270
24	G Floor & G+1 to G2	Guest House(Dormetory)	RCC framed pillar beam column structure on RCC slab	Good	3421.63	36816.74	9'-80"	2006	2022	16	40	0.05	0.024	₹ 1,400	₹ 15,069.46	₹ 5,15,62,116	₹ 1,95,93,604	₹ 3,19,68,512	0	₹ 3,19,68,512
25	G Floor & G+1 to G2	Residential Building ( Two Bed Room )	RCC framed pillar beam column structure on RCC slab	Good	6900	74244.00	10'-13"	2006	2022	16	40	0.05	0.024	₹ 1,400	₹ 15,069.46	₹ 10,39,79,274	₹ 3,95,12,124	₹ 6,44,67,150	0	₹ 6,44,67,150
26	G Floor & G+1 to G2	Residential Flat ( One Bed Room)	RCC framed pillar beam column structure on RCC slab	Good	1560	16785.60	10'-13"	2006	2022	16	40	0.05	0.024	₹ 1,400	₹ 15,069.46	₹ 2,35,08,358	₹ 89,33,176	₹ 1,45,75,182	0	₹ 1,45,75,182
27	G Floor & G+1 to G2	Building plant Distillery	RCC framed pillar beam column structure on RCC slab	Good	768.375	8267.72	16'-34"	2006	2022	16	40	0.05	0.024	₹ 1,400	₹ 15,069.46	₹ 1,15,78,996	₹ 44,00,019	₹ 71,78,978	0	₹ 71,78,978
28	G Floor	E.T.P	RCC framed pillar beam column structure on RCC slab	Good	139.875	1505.06	13'-07"	2006	2022	16	40	0.05	0.024	₹ 1,300	₹ 13,993.07	₹ 19,57,281	₹ 7,43,767	₹ 12,13,514	0	₹ 12,13,514
29	G Floor	Exise office and Sales office	RCC framed pillar beam column structure on RCC slab	Good	100.205	1078.21	09'-80"	2006	2022	16	40	0.05	0.024	₹ 1,400	₹ 15,069.46	₹ 15,10,035	₹ 5,73,813	₹ 9,36,222	0	₹ 9,36,222
30	G Floor	Storage Section	AC sheet roofed building & open area	Good	1617	17398.92		2006	2022	16	40	0.05	0.024	₹ 700	₹ 7,534.73	₹ 1,21,83,658	₹ 46,29,790	₹ 75,53,868	0	₹ 75,53,868
	TOTAL				51071	549521					₹ 57,10,81,616	₹ 21,56,70,325	₹ 35,54,11,291		₹ 35,54,11,291

## Roads_&_Drainage
ANNEXURE-B: VALUATION OF OTHER STRUCTURES MARKET VALUE OF STRUCTURES OF M/S. BAJAJ HINDUSTHAN SUGAR LIMITED.| PROPERTY OF INDUSTRIAL PROPERTY | SITUATED AT: VILLAGE- THANABHAWAN, DISTRICT- SHAMLI, U.P
S.No.	Description	Total Slabs/ Floors	Floor wise Height (ft.)	Year of construction	Type of construction	Structure condition	Area (in running mtr.)	Area (fts.)	Rates adopted	Depreciated Replacement Cost
1	Boundry wall length (meter)			2006	RCC Column,Brick Masonry work ,Plastering outer and inner Side etc	Good	2940.00	9408.00	₹ 1,800.00	₹ 52,92,000.00
2	Road (meter)			2006	RCC work etc.	Good	55195.31	176625	₹ 7,500.00	₹ 41,39,64,843.75
3	Drainage (meter)			2006	Brick Masonry work ,Plastering outer and inner Side and CC Flooring in bed etc	Good	4455.00	14256.00	₹ 2,100.00	₹ 93,55,500.00
4	Under Ground TANK			2006	RCC framed pillar beam column structure on RCC slab	Good	633.15	2026.08	₹ 900.00	₹ 18,23,472.00
5	Bagasse Yard			2006	RCC	Good	23079.00	73852.80	₹ 50.00	₹ 11,53,950.00
6	Cane Yard			2006	BOE Soling	Good	33157.00	106102.40	₹ 50.00	₹ 16,57,850.00
Total					62590.31	200289.00		₹ 43,32,47,615.75

					₹ 78,86,58,906.36

## Summary
BUILDING/ CIVIL STRUCTURE | BAJAJ HINDUSTHAN SUGAR LIMITED | GAGNAULI, SAHARANPUR, U.P
Sr. No.	Description		Annexure	Gross Block	Depreciated Fair Market Value
1	Plant Buildings		A	₹ 57,10,81,616	₹ 35,54,11,291
2	Other Structures		B	₹ 43,32,47,616	₹ 43,32,47,616
Total				₹ 1,00,43,29,231	₹ 78,86,58,906
Notes:
1. Buildings & Civil works only related to the BHSL, Gagnauli, Saharanpur, U.P Plant and associated facilities are considered in this report.
2. On our request, BHSL provided us the area measurement of Buildings. Hence we have believed on the area statement provided by the company in good faith. However, our team have cross-verified all the structure present within the boundary of the company.
3. Some sample verification has been done with the provided area which was found to be different as provided in the sheet.(Ex: Height of Sugar Godown, Area of Dispensary & cane office office, Labout Hutment,Guest House
4. For evaluation of the useful economic life for the calculation of depreciation, companies act 2013 and the general practical trend of same Buildings are taken into consideration.
5. The economic life of the Main Plant Building is taken as 25 years, for Industrial RCC structure is taken as 60 years, and others structure related to Sugar, Manufacturing Plant varies from 40 to 60 years.
6. For calculting reproduction cost of Civil & Structural Assets as on date, we have taken reference from open market and calculated depreciation on the same.