## Building sheet
CIVIL/STRUCTURES VALUATION
S.No. | Block Name | Total Slabs/ Floors | Floor wise Height (ft.) | Year of construction | Type of construction (select from drop down) | Structure condition | Area (in sq. mtr.) | Area (sq. fts.)
1 | Administrative Building | G.F. + 1 |  | 2005 | RCC column beams stone masonry wails in cement, bricks, steel etc. |  | 1178.4 | 12679.584
2 | Mill House |  | RCC roof height 4 meter & Ac Sheet roof height 18 meter | 2005 | RCC column beams stone masonry wails in cement, bricks, steel etc. |  | 2721.6 | 29284.416
3 | Panel Room Mill House | G.F. + 1 | 4 meter each floor | 2005 | RCC column beams stone masonry wails in cement, bricks, steel etc. |  | 340.4 | 3662.704
4 | Panel Room Fibrizer, Cane Preparation devices | G.F. | 4 meter | 2005 | GI shed roof mounted on iron pillars, trusses frame structure resting on brick wall |  | 92.8 | 998.528
5 | Work Shop |  | 18 meter | 2005 | AC sheet roofed building mounted on steel trusses resting . |  | 453.6 | 4880.736
6 | Power House | G.F. RCC & top AC Sheet | RCC roof height 4.5 meter & Ac Sheet roof height 18 meter | 2005 | AC sheet roofed building mounted on steel trusses resting on RCC column Brick Masonry wall in cement etc. |  | 1620 | 17431.2
7 | Boiling House | G.F. | 23 meter | 2005 | AC shed roof mounted on iron pillars, trusses frame structure resting |  | 2940 | 31634.4
8 | Gunny Bag Godown |  | 5 meter | 2005 | GI shed roof mounted on RCC Column Brick Masonry wall Resting on , trusses. |  | 800 | 8608
9 | Panel Room, Lab and Technical offices | G.F. + 1 | 4 meter each floor | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall etc. |  | 1001 | 10770.76
10 | Sugar Godown |  | 10 meter (15 mtr) | 2005 | GI shed roof mounted on RCC pillars Brick Masonry wall Resting on trusses and IPS flooring etc. |  | 16000 | 172160
11 | Main Store |  | RCC roof height 4.5 meter & Ac Sheet roof height 8 meter | 2005 | AC shed roof mounted on RCC Columns, Brick Masonry wall Resting on , trusses. |  | 1200 | 12912
12 | Boiler panel Room | G.F. + 1 | G.F.- 5.5 & F.F. - 4 meter | 2005 | RCC Roof mounted on RCC Column, Brick Masonry wall and Vitrified Flooring etc. |  | 413.2 | 4446.032
13 | Boiler DM Plant Lab | G.F. | 4 meter | 2005 | RCC Roof mounted on RCC Column, Brick Masonry wall and Vitrified Flooring etc. |  | 22 | 236.72
14 | Bore well | G.F. | 4 meter | 2005 | RCC Roof mounted, Brick Masonry wall and IPS flooring etc. |  | 35.64 | 383.4864
15 | Time office | G.F. | 3.4 meter | 2005 | AC shed roof mounted on RCC Columns, Brick Masonry wall etc |  | 46.9 | 504.644
16 | ETP Panel Room & Lab | G.F. | 4 meter | 2005 | RCC roof mounted on RCC Columns, Brick Masonry wall,IPS flooring etc |  | 80.4 | 865.104
17 | Workers Canteen |  | 5 meter | 2005 | AC shed roof mounted on RCC Columns, Brick Masonry wall Resting upon MS Purling , IPS Flooring etc |  | 160.6 | 1728.056
18 | Store (Cane Deptt.) |  | 5 meter | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall etc. |  | 404.2 | 4349.192
19 | Dispensary & Cane office | G.F. | 4 meter | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall etc. |  | 591.1/551 | #VALUE!
20 | Bank (SBI) & ATM | G.F. | 4 meter | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall etc. |  | 148.7 | 1600.012
21 | Security Office at Main Gate | G.F. + 1 | 4 meter each floor | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall etc. |  | 20.4 | 219.504
22 | Lime & Sulphure Godown |  | 5 meter | 2005 | Lime(AC Shed roof mounted on RCC Column,Brick masonry wall etc.)Sulphure Godown(AC Shed roof mounted on RCC Column,Brick masonry wall Truss etc) |  | 216 | 2324.16
23 | D.G. House |  | 5 meter | 2005 | AC Shed roof mounted, RCC Column,Brick masonry wall Resting upon trusses,MS Door Shutter etc. |  | 268.2 | 2885.832
24 | Labour Hutment |  | 3.4 meter | 2005 | AC shed roof mounted on RCC Columns, Brick Masonry wall Resting upon MS Purling , IPS Flooring etc |  | 210/ 520 | #VALUE!
25 | Guest House | G.F.+ F.F. | 3 meter each floor | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall etc. |  | 1428.8 (+28.8) | #VALUE!
26 | Officers Mess | G.F. | 3.4 meter | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall etc. |  | 153 | 1646.28
27 | Recreation Hall | G.F. | 3.4 meter | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall etc. |  | 153 | 1646.28
28 | D-Block Residential Flats | G.F.+ F.F.+ S.F. | 3.4 meter each floor | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall,Vitrified Flooring etc. |  | 1538.4 | 16553.184
29 | C-Block Residential Flats | G.F.+ F.F.+S.F. | 3.4 meter each floor | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall,Vitrified Flooring etc. |  | 3641.4 | 39181.464
30 | Type B Residential Bungalow | G.F. | 3.4 meter | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall,Vitrified Flooring etc. |  | 812.5 | 8742.5
31 | Type A Residential Bungalow | G.F. | 3.4 meter | 2005 | RCC Roof mounted on RCC Column Brick Masonry wall,Vitrified Flooring etc. |  | 1200 | 12912
32 | Water Tank | G.F. | 20.5 meter | 2005 | RCC Column Including RCC Wall etc. |  | 422.0625 | 4541.3925
0
|  |  | 2 meter | 2005 |  |  |  | 0
0
33 | Boundary wall (MTR) |  | 3 meter | 2005 | RCC Column,Brick Masonry work ,Plastering outer and inner Side etc |  | 2250 | 24210
34 | Drainage(MTR) |  |  | 2005 | Brick Masonry work ,Plastering outer and inner Side and CC Flooring in bed etc |  | 3679 | 39586.04
35 | Roads (SQM) |  |  | 2005 | RCC work etc. |  | 16596.38 | 178577.0488
36 | Baggase Yard |  |  | 2006 | RCC Flooring Work etc |  | 18180 | 195616.8
37 | Cane Yard |  |  | 2006 | CC Work ,Brick on edge soling etc. |  | 35070 | 377353.2

## Building working
ANNEXURE-A: MARKET VALUE OF STRUCTURES OF M/S. BAJAJ HINDUSTHAN SUGAR LIMITED.¦ PROPERTY OF INDUSTRIAL PROPERTY ¦ SITUATED AT: VILLAGE- THANABHAWAN, DISTRICT- SHAMLI, U.P
Sr. No. | Floor | Block Name | Construction Category | Condition of Structure | Area (in sq mtr) | Area (in sq ft) | Height | Year of Construction | Year of Valuation | Total Life Consumed (in yrs.) | Total Economical Life (in yrs.) | Salvage value | Depreciation Rate | Plinth Area Rate (in per sq.ft.) | Plinth Area Rate (In per sq. mtr.) | Gross Replacement Value (INR) | Total Deterioration (INR) | Depreciated Value (INR) | Premium (For additional aesthetics or renovation) | Depreciated Replacement Market Value (INR) | Govt. Guideline rates (per sq. mtr.) | Age Factor | Total Govt. Guideline value
1 | G.F. + 1 | Administrative Building | RCC column beams stone masonry wails in cement, bricks, steel etc. | Good | 1178.4 | 12679.584 | 3.8 mtr. | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 17757851.664 | 4779821.7396 | 12978029.9244 | 0 | 12978029.9244 | 800 | 0.99 | 933292.8
2 |  | Mill House | RCC column beams stone masonry wails in cement, bricks, steel etc. | Good | 2721.6 | 29284.416 | RCC roof height 4 meter & Ac Sheet roof height 18 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 41013042.336 | 11039343.8954 | 29973698.4406 | 0 | 29973698.4406 | 800 | 0.99 | 23427532.8
3 | G.F. + 1 | Panel Room Mill House | RCC column beams stone masonry wails in cement, bricks, steel etc. | Good | 340.4 | 3662.704 | 4 meter each floor | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 5129644.184 | 1380729.2262 | 3748914.9578 | 0 | 3748914.9578 | 800 |  | 2930163.2
4 | G.F. | Panel Room Fibrizer, Cane Preparation devices | GI shed roof mounted on iron pillars, trusses frame structure resting on brick wall | Good | 92.8 | 998.528 | 4 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 699222.944 | 282311.2636 | 416911.6804 | 0 | 416911.6804 | 800 |  | 798822.4
5 |  | Work Shop | AC sheet roofed building mounted on steel trusses resting . | Good | 453.6 | 4880.736 | 18 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 1100 | 11840.29 | 5370755.544 | 2168442.5509 | 3202312.9931 | 0 | 3202312.9931 | 800 |  | 3904588.8
6 | G.F. RCC & top AC Sheet | Power House | AC sheet roofed building mounted on steel trusses resting on RCC column Brick Masonry wall in cement etc. | Good | 1620 | 17431.2 | RCC roof height 4.5 meter & Ac Sheet roof height 18 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 1100 | 11840.29 | 19181269.8 | 7744437.6817 | 11436832.1182 | 0 | 11436832.1182
7 | G.F. | Boiling House | AC shed roof mounted on iron pillars, trusses frame structure resting | Good | 2940 | 31634.4 | 23 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 1200 | 12916.68 | 37975039.2 | 15332422.077 | 22642617.123 | 0 | 22642617.123
8 |  | Gunny Bag Godown | GI shed roof mounted on RCC Column Brick Masonry wall Resting on , trusses. | Good | 800 | 8608 | 5 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 6027784 | 2433717.79 | 3594066.21 | 0 | 3594066.21
9 | G.F. + 1 | Panel Room, Lab and Technical offices | RCC Roof mounted on RCC Column Brick Masonry wall etc. | Good | 1001 | 10770.76 | 4 meter each floor | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 15084529.46 | 4060252.513 | 11024276.947 | 0 | 11024276.947
10 |  | Sugar Godown | GI shed roof mounted on RCC pillars Brick Masonry wall Resting on trusses and IPS flooring etc. | Good | 16000 | 172160 | 10 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 850 | 9149.315 | 146389040 | 59104574.9 | 87284465.1 | 0 | 87284465.1
11 |  | Main Store | AC shed roof mounted on RCC Columns, Brick Masonry wall Resting on , trusses. | Good | 1200 | 12912 | RCC roof height 4.5 meter & Ac Sheet roof height 8 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 800 | 8611.12 | 10333344 | 4172087.64 | 6161256.36 | 0 | 6161256.36
12 | G.F. + 1 | Boiler panel Room | RCC Roof mounted on RCC Column, Brick Masonry wall and Vitrified Flooring etc. | Good | 413.2 | 4446.032 | G.F.- 5.5 & F.F. - 4 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 6226700.872 | 1676020.318 | 4550680.554 | 0 | 4550680.554
13 | G.F. | Boiler DM Plant Lab | RCC Roof mounted on RCC Column, Brick Masonry wall and Vitrified Flooring etc. | Good | 22 | 236.72 | 4 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 331528.12 | 89236.319 | 242291.801 | 0 | 242291.801
14 | G.F. | Bore well | RCC Roof mounted, Brick Masonry wall and IPS flooring etc. | Good | 35.64 | 383.4864 | 4 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 537075.5544 | 144562.8367 | 392512.7177 | 0 | 392512.7177
15 | G.F. | Time office | AC shed roof mounted on RCC Columns, Brick Masonry wall etc | Good | 46.9 | 504.644 | 3.4 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 353378.837 | 142676.7054 | 210702.1316 | 0 | 210702.1316
16 | G.F. | ETP Panel Room & Lab | RCC roof mounted on RCC Columns, Brick Masonry wall,IPS flooring etc | Good | 80.4 | 865.104 | 4 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 1211584.584 | 326118.1839 | 885466.4001 | 0 | 885466.4001
17 |  | Workers Canteen | AC shed roof mounted on RCC Columns, Brick Masonry wall Resting upon MS Purling , IPS Flooring etc | Good | 160.6 | 1728.056 | 5 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 1210077.638 | 488568.8463 | 721508.7917 | 0 | 721508.7917
18 |  | Store (Cane Deptt.) | RCC Roof mounted on RCC Column Brick Masonry wall etc. | Good | 404.2 | 4349.192 | 5 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 6091075.732 | 1639514.5512 | 4451561.1808 | 0 | 4451561.1808
19 | G.F. | Dispensary & Cane office | RCC Roof mounted on RCC Column Brick Masonry wall etc. | Good | 551 | 5928.76 | 4 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 8303272.46 | 2234964.1705 | 6068308.2895 | 0 | 6068308.2895
20 | G.F. | Bank (SBI) & ATM | RCC Roof mounted on RCC Column Brick Masonry wall etc. | Good | 148.7 | 1600.012 | 4 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 2240828.702 | 603156.3923 | 1637672.3097 | 0 | 1637672.3097
21 | G.F. + 1 | Security Office at Main Gate | RCC Roof mounted on RCC Column Brick Masonry wall etc. | Good | 20.4 | 219.504 | 4 meter each floor | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 307416.984 | 82746.4049 | 224670.5791 | 0 | 224670.5791
22 |  | Lime & Sulphure Godown | Lime(AC Shed roof mounted on RCC Column,Brick masonry wall etc.)Sulphure Godown(AC Shed roof mounted on RCC Column,Brick masonry wall Truss etc) | Good | 216 | 2324.16 | 5 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 1627501.68 | 657103.8033 | 970397.8767 | 0 | 970397.8767
23 |  | D.G. House | AC Shed roof mounted, RCC Column,Brick masonry wall Resting upon trusses,MS Door Shutter etc. | Good | 268.2 | 2885.832 | 5 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 2020814.586 | 815903.8891 | 1204910.6969 | 0 | 1204910.6969
24 |  | Labour Hutment | AC shed roof mounted on RCC Columns, Brick Masonry wall Resting upon MS Purling , IPS Flooring etc | Good | 520 | 5595.2 | 3.4 meter | 2005 | 2022 | 17 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 3918059.6 | 1581916.5635 | 2336143.0365 | 0 | 2336143.0365
25 | G.F.+ F.F. | Guest House | RCC Roof mounted on RCC Column Brick Masonry wall etc. | Good | 1457.6 | 15683.776 | 3 meter each floor | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 21965244.896 | 5912311.7512 | 16052933.1448 | 0 | 16052933.1448
26 | G.F. | Officers Mess | RCC Roof mounted on RCC Column Brick Masonry wall etc. | Good | 153 | 1646.28 | 3.4 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 2305627.38 | 620598.0364 | 1685029.3435 | 0 | 1685029.3435
27 | G.F. | Recreation Hall | RCC Roof mounted on RCC Column Brick Masonry wall etc. | Good | 153 | 1646.28 | 3.4 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 2305627.38 | 620598.0364 | 1685029.3435 | 0 | 1685029.3435
28 | G.F.+ F.F.+ S.F. | D-Block Residential Flats | RCC Roof mounted on RCC Column Brick Masonry wall,Vitrified Flooring etc. | Good | 1538.4 | 16553.184 | 3.4 meter each floor | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 23182857.264 | 6240052.4136 | 16942804.8504 | 0 | 16942804.8504
29 | G.F.+ F.F.+S.F. | C-Block Residential Flats | RCC Roof mounted on RCC Column Brick Masonry wall,Vitrified Flooring etc. | Good | 3641.4 | 39181.464 | 3.4 meter each floor | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 54873931.644 | 14770233.2675 | 40103698.3765 | 0 | 40103698.3765
30 | G.F. | Type B Residential Bungalow | RCC Roof mounted on RCC Column Brick Masonry wall,Vitrified Flooring etc. | Good | 812.5 | 8742.5 | 3.4 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 12243936.25 | 3295659.5073 | 8948276.7427 | 0 | 8948276.7427
31 | G.F. | Type A Residential Bungalow | RCC Roof mounted on RCC Column Brick Masonry wall,Vitrified Flooring etc. | Good | 1200 | 12912 | 3.4 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 18083352 | 4867435.58 | 13215916.42 | 0 | 13215916.42
32 | G.F. | Water Tank | RCC Column Including RCC Wall etc. | Good | 422.0625 | 4541.3925 | 20.5 meter | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 6360253.9612 | 1711968.3579 | 4648285.6033 | 0 | 4648285.6033
33 |  | Baggase Yard | RCC Flooring Work etc | Good | 18180 | 195616.8 |  | 2006 | 2022 | 16 | 60 | 0.05 | 0.015833 | 50 | 538.195 | 9784385.1 | 2478710.892 | 7305674.208 | 0 | 7305674.208
34 |  | Cane Yard | CC Work ,Brick on edge soling etc. | Good | 35070 | 377353.2 |  | 2006 | 2022 | 16 | 60 | 0.05 | 0.015833 | 50 | 538.195 | 18874498.65 | 4781539.658 | 14092958.992 | 0 | 14092958.992
| TOTAL |  |  |  | 93863.0025 | 1009965.9069 | [9 empty] | 509320553.0067 | 168279737.7619 | 341040815.2447 |  | 341040815.2447

## Road & Drains
ANNEXURE-B: VALUATION OF OTHER STRUCTURES MARKET VALUE OF STRUCTURES OF M/S. BAJAJ HINDUSTHAN SUGAR LIMITED.¦ PROPERTY OF INDUSTRIAL PROPERTY ¦ SITUATED AT: VILLAGE- THANABHAWAN, DISTRICT- SHAMLI, U.P
S.No. | Description | Total Slabs/ Floors | Floor wise Height (ft.) | Year of construction | Type of construction | Structure condition | Area (in running mtr.) | Area (fts.) | Rates adopted | Depreciated Replacement Cost
1 | Boundry wall length (meter) |  |  | 2005 | RCC Column,Brick Masonry work ,Plastering outer and inner Side etc | Average | 2250 | 24210 | 2200 | 4950000
2 | Road (meter) |  |  | 2005 | RCC work etc. | Average | 4149.1 | 44644.316 | 9000 | 37341900
3 | Drainage (meter) |  |  | 2005 | Brick Masonry work ,Plastering outer and inner Side and CC Flooring in bed etc | Average | 3679 | 39586.04 | 2500 | 9197500
Total | [6 empty] | 10078.1 | 108440.356 |  | 51489400

## summary
BUILDING/ CIVIL STRUCTURE ¦ BAJAJ HINDUSTHAN SUGAR LIMITED ¦ THANABHAWAN, SHAMLI
Sr. No. | Description | Annexure | Gross Block | Depreciated Fair Market Value
1 | Sugar & Co- Gen Plant | A | 509320553.0067 | 341040815.2447
2 | Other Structures | B | 51489400 | 51489400
Total |  |  | 560809953.0066 | 392530215.2447
Notes:
1. Buildings & Civil works only related to the BHSL, Thanabhawan, Shamli, U.P Plant and associated facilities are considered in this report.
2. On our request, BHSL provided us the area measurement of Buildings. Hence we have believed on the area statement provided by the company in good faith. However, our team have cross-verified all the structure present within the boundary of the company.
3. Some sample verification has been done with the provided area which was found to be different as provided in the sheet.(Ex: Height of Sugar Godown, Area of Dispensary & cane office office, Labout Hutment,Guest House
4. For evaluation of the useful economic life for the calculation of depreciation, companies act 2013 and the general practical trend of same Buildings are taken into consideration.
5. The economic life of the Main Plant Building is taken as 25 years, for Industrial RCC structure is taken as 60 years, and others structure related to Sugar, Manufacturing Plant varies from 40 to 60 years.
6. For calculting reproduction cost of Civil & Structural Assets as on date, we have taken reference from open market and calculated depreciation on the same.