## Building sheet
S.No. | Block Name | Total Slabs/ Floors | Floor wise Height (in ft.) | Year of construction | Type of construction
A | Distillery
1 | Offices | Ground Floor + 1 | 25 | 2003 | RCC Roof
2 | Still House (distillation house) | Ground Floor + 1 | 50 | 1991 | RCC Roof
3 | Ferti & Composting House | Ground floor | 40 | 2006 | ACC/GI Roof
4 | Denaturent STore. Room | Ground floor | 25 | 1986 | ACC/GI Roof
5 | Open Area | Ground floor | open | 2003 | Open Area/RCC Foundation
B | Offsites
1 | Dairy | Ground floor | 20 | 1986 | RCC/GI Roof
2 | Bagasse Yard | Ground floor | open | 2006 | Open Area/Bailing station/RCC Flooring/Brick Boundries
3 | Cane Carts etc Parking | Ground floor | open | 2011 | Open Area/Brick work
C | Sugar Plants
1 | Pump Room | Ground floor | 15 | 1986 | ACC/GI Roof
2 | Infront Sugar Godown | Ground floor | 15 | 1986 | ACC/GI Roof/RCC Flooring/Brick Wall
3 | Generator Room | Ground floor | 20 | 1996 | ACC/GI Roof
4 | Carpentory Blackks Smithy Building G Store | Ground floor | 12 | 1986 | ACC/GI Roof
5 | Truck Yard | Ground floor | open | 2011 | Open Area/Brick work
6 | Toilet Block Area | Ground floor | 8 | 1993 | Open Area/RCC Flooring/Brick soling
7 | Over Head Tank Area | Ground floor | 30 | 2007 | Open Area/RCC Flooring/Brick soling
D | Factory Building
1 | Adm.block | Ground floor + 1 | 30 | 2006 | RCC Roof
2 | Old Gen.office/civil office | Ground floor | 12 | 1986 | RB Roof
3 | Old Civil office | Ground floor | 12 | 1995 | RCC Roof
4 | Time office | Ground floor | 12 | 1986 | RCC Roof
5 | WT.Bridge Tr &w. | Ground floor | 10 | 1995 | RCC Roof
6 | Rural & Development Building | Ground floor + 1 | 25 | 1986 | RCC Roof
7 | Tech. Office Building | Ground floor + 1 | 30 | 1989 | RCC Roof
8 | Toilet Block | Ground floor | 8 | 1993 | RCC Roof
9 | Pump Room | Ground floor | 10 | 1986 | RCC Roof
10 | Work shop | Ground floor | 35 | 1986 | Brick Wall & ACC/GI Roof
11 | Stork cane carrier | Ground floor | 50 | 1986 | MS Column & Brick Wall
12 | CC BW Boiler house | Ground floor | 50 | 2017 | MS Column & Brick Wall
13 | BW Cane carrier | Ground floor | 50 | 1986 | MS Column & Brick Wall
14 | BW & Boiler House | Ground floor | 50 | 1986 | MS Column & Brick Wall
15 | Boiling House-1 | Ground floor | 50 | 1995 | MS Column & Brick Wall
16 | Boiling House-2 | Ground floor | 50 | 1995 | MS Column & Brick Wall
17 | Power house | Ground floor | 50 | 2007 | Brick Wall & ACC/GI Roof
18 | Sulpher House | Ground floor | 50 | 2000 | MS Column & Brick Wall
19 | Store | Ground floor | 40 | 1986 | Brick Wall & ACC/GI Roof
20 | Sugar Godown No. 1.2.4.5.7.9.10 | Ground floor | 40 | 1986 | Brick Wall & ACC/GI Roof
21 | Sugar Godown No. 11,12,15 | Ground floor | 40 | 2000 | Brick Wall & ACC/GI Roof
22 | Sugar Godown No. 14 | Ground floor | 40 | 1993 | Brick Wall & ACC/GI Roof
23 | Sugar Godown No. 13 | Ground floor | 40 | 1993 | Brick Wall & ACC/GI Roof
24 | Sugar Godown No. 16 | Ground floor | 40 | 1987 | Brick Wall & ACC/GI Roof
25 | Sugar Godown No. 18 | Ground floor | 40 | 1987 | Brick Wall & ACC/GI Roof
26 | Sugar Godown No. 3,6,8 | Ground floor | 40 | 1987 | Brick Wall & ACC/GI Roof
27 | Sugar Godown No. 19 | Ground floor | 40 | 1998 | Brick Wall & ACC/GI Roof
28 | Sugar Godown No. 17 | Ground floor | 40 | 1986 | Brick Wall & ACC/GI Roof
29 | Sugar Godown No. 20 | Ground floor | 40 | 1986 | Brick Wall & ACC/GI Roof
30 | Sugar Godown No. 21 | Ground floor | 40 | 2011 | Brick Wall & ACC/GI Roof
31 | Sugar Godown No. 22 | Ground floor | 40 | 1987 | Brick Wall & ACC/GI Roof
E | Residential Building
1 | A type 17 houses (2 Bed room set) | Ground floor | 12 | 1986 | RCC
2 | BG 1 to 9 (Bunglows) | Ground floor + 1 | 20 | 1986 | RCC
3 | B 1 to 12 (3 Bed room set) | Ground floor | 12 | 1986 | RCC
4 | B 13 to 21 (3 Bed room set) | Ground floor + 1 | 25 | 2005 | RCC
5 | C 7 to 18 (2 Bed room set) | Ground floor | 12 | 1986 | RCC/ACC Roof
6 | Res. Block D 1 to 6 (2 Bed room set) | Ground floor | 12 | 1986 | RCC
7 | Res. Block E 1 to 40 (2 Bed room set) | Ground floor | 12 | 1986 | RCC
8 | Res. Block F 7 to 37 (1 & 2 Bed room set) | Ground floor | 12 | 1986 | RCC/GI Roof
9 | Res. Block H 1 to 27 (2 Bed room set) | Ground floor | 12 | 1986 | RCC
10 | Res. Block I 1 to 18 (1 Bed room set) | Ground floor | 12 | 1986 | RCC
11 | Res. Block J 1 to 18 (1 Bed room set) | Ground floor | 12 | 1986 | RCC
12 | Res. Block K 1 to 5 (1 Bed room set) | Ground floor | 12 | 1986 | RCC
13 | Res. Block L 1 to 55 (2 Bed room set) | Ground floor | 12 | 1987 | RCC
14 | Res. Block M 1 to 60 (2 Bed room set) | Ground floor + 2 | 30 | 1992 | RCC
15 | Res. Block N 1 to 84 (2 Bed room set) | Ground floor | 12 | 1986 | RCC
16 | Res. Block O 1 to 6 (2 Bed room set) | Ground floor | 12 | 1986 | RCC
17 | Res. Block P 1 to 150 (2 Bed room set) | Ground floor | 12 | 1986 | ACC/GI Roof
18 | Res. Block Q 1 to 8 (1 room set) | Ground floor | 12 | 1986 | RCC
19 | Res. Block S 1 to 240 (1 Bed room set) | Ground floor + 2 | 36 | 1992 | RCC
20 | Res. Block T 1 to 52 (1 room set) | Ground floor | 12 | 1986 | ACC/GI Roof
21 | Res. Block U 1 to 24 (2 & 3 Bed room set) | Ground floor + 3 | 50 | 2005 | RCC
22 | Barracks 1 to 20 | Ground floor | 12 | 1986 | ACC Roof
F | Public Buildings
1 | Telephone Exchange | Ground Floor + 1 | 25 | 1992 | RCC
2 | VIP Guest House | Ground Floor + 1 | 30 | 2004 | RCC
3 | Canteen/Club | Ground Floor + 1 | 30 | 1986 | RCC
4 | Hanuman Temple | Ground Floor | 20 | 2015 | Brick/ Rcc
5 | Helipad | Ground Floor | open | 2010 | RCC
6 | Yagya Shala | Ground Floor | 15 | 2003 | RCC
7 | Barat Ghar | Ground Floor | 15 | 2006 | Bricks/ ACCc Sheet
8 | Scrap Yard | Ground Floor | open | 2009 | Brick soling
9 | SBI Building | Ground Floor + 1 | 30 | 1986 | RCC
10 | Cane Society | Ground Floor + 1 | 30 | 1986 | RCC
11 | School | Ground Floor + 1 | 30 | 1986 | RCC
12 | axmi NarayanTemple | Ground Floor | 30 | 1996 | Red Stone Construction
13 | Cycle Stand | Ground Floor | 35 | 1986 | ACC/GI Roof
14 | Hospital/Guest House | Ground Floor + 1 | 30 | 1987 | RCC
15 | Factory and colony Open Area | Ground Floor | open | 1986 to 2011 | RCC/ Bricks
Total

## Building working
ANNEXURE-A: MARKET VALUE OF STRUCTURES OF M/S. BAJAJ HINDUSTHAN SUGAR LIMITED.¦ PROPERTY OF INDUSTRIAL PROPERTY ¦ SITUATED AT: VILLAGE- GOLA, TEHSIL- GOKARANNATH, DISTRICT- LAKHIMPUR KHIRI, U.P
Sr. No. | Floor | Block Name |  | Construction Category | Condition of Structure | Area (in sq mtr) | Area (in sq ft) | Height (in ft.) | Year of Construction | Year of Valuation | Total Life Consumed (in yrs.) | Total Economical Life (in yrs.) | Salvage value | Depreciation Rate | Plinth Area Rate (in per sq.ft.) | Plinth Area Rate (In per sq. mtr.) | Gross Replacement Value (INR) | Total Deterioration (INR) | Depreciated Value (INR) | Premium (For additional aesthetics or renovation) | Depreciated Replacement Market Value (INR) | Govt. Guideline rates (per sq. mtr.) | Age Factor | Total Govt. Guideline value
DISTILLERY | [25 empty] | FMV | GCRC
1 | Ground Floor + 1 | Offices | RCC Roof | G+1 RCC Framed Single storied with RCC roof and brick masonry wall,factory made door frame, window with flush door and white wash, snowcem paint etc. | Average | 250.25 | 2692.69 | 25 | 2003 | 2022 | 19 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 4040498.9625 | 1215516.7712 | 2824982.1913 | 0 | 2824982.1913 | 800 | 0.99 | 198198
2 | Ground Floor + 1 | Still House (distillation house) | RCC Roof | G+1 RCC Framed Single storied with RCC roof and brick masonry wall,factory made door frame, window with flush door and white wash, snowcem paint etc. | Average | 253.51 | 2727.7676 | 50 | 1991 | 2022 | 31 | 60 | 0.05 | 0.015833 | 1800 | 19375.02 | 4911761.3202 | 2410856.1813 | 2500905.1389 | 0 | 2500905.1389 | 800 | 0.99 | 2182214.08
3 | Ground floor | Ferti & Composting House | ACC/GI Roof | ,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure | Average | 472.35 | 5082.486 | 40 | 2006 | 2022 | 16 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 4575895.3485 | 1738840.2324 | 2837055.1161 | 0 | 2837055.1161 | 800 |  | 4065988.8
4 | Ground floor | Denaturent STore. Room | ACC/GI Roof | ,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure | Average | 27.76 | 298.6976 | 25 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 800 | 8611.12 | 239044.6912 | 136255.474 | 102789.2172 | 0 | 102789.2172 | 800 |  | 238958.08
5 | Ground floor | Open Area | Open Area/RCC Foundation |  | Average | 4219.25 | 45399.13 | open | 2003 | 2022 | 19 | 60 | 0.05 | 0.015833 | 500 | 5381.95 | 22707792.5375 | 6831260.9217 | 15876531.6158 | 0 | 15876531.6158 | 800 |  | 36319304 | Total | 24142263.2792 | 36474992.8599
OFF SITES
6 | Ground floor | Dairy | RCC/GI Roof | GI Shed mounted on a RCC Brick wall | Average | 1470 | 15822.933 | 20 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 11076053.1 | 9470025.4005 | 1606027.6995 | 0 | 1606027.6995
7 | Ground floor | Bagasse Yard | Open Area/Bailing station/RCC Flooring/Brick Boundries | Open Area/Bailing station/RCC Flooring/Brick Boundries | Average | 30871 | 332292.3569 | open | 2006 | 2022 | 16 | 60 | 0.05 | 0.015833 | 500 | 5381.95 | 166146178.45 | 42090365.2073 | 124055813.2427 | 0 | 124055813.2427
8 | Ground floor | Cane Carts etc Parking | Open Area/Brick work | Open Area/Brick work | Average | 10400 | 111944.56 | open | 2011 | 2022 | 11 | 60 | 0.05 | 0.015833 | 500 | 5381.95 | 55972280 | 9748505.4333 | 46223774.5667 | 0 | 46223774.5667 |  |  |  | Total | 171885615.5088 | 233194511.55
SUGAR PLANTS
9 | 15 | Pump Room | ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,white wash, snowcem paint and factory made door shutter etc. | Average | 62.04 | 667.7924 | 15 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 467454.6492 | 399673.7251 | 67780.9241 | 0 | 67780.9241
10 | 15 | Infront Sugar Godown | ACC/GI Roof/RCC Flooring/Brick Wall | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,white wash, snowcem paint and factory made door shutter etc. | Average | 1004.4 | 10811.2612 | 15 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 7567882.812 | 6470539.8043 | 1097343.0077 | 0 | 1097343.0077
11 | 20 | Generator Room | ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 151.5 | 1630.7308 | 20 | 1996 | 2022 | 26 | 40 | 0.05 | 0.02375 | 800 | 8611.12 | 1304584.68 | 805581.0399 | 499003.6401 | 0 | 499003.6401
12 | 12 | Carpentory Blackks Smithy Building G Store | ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 377.33 | 4061.5424 | 12 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 2843079.6709 | 2430833.1186 | 412246.5523 | 0 | 412246.5523
13 | open | Truck Yard | Open Area/Brick work | Open Area/Brick work | Average | 708 | 7620.8412 | open | 2011 | 2022 | 11 | 60 | 0.05 | 0.015833 | 200 | 2152.78 | 1524168.24 | 265459.3018 | 1258708.9382 | 0 | 1258708.9382
14 | 8 | Toilet Block Area | Open Area/RCC Flooring/Brick soling | RCC Framed with RCC roof and brick masonry , Aluminium window and door and white wash ,snowcem etc. | Average | 1400 | 15069.46 | 8 | 1993 | 2022 | 29 | 60 | 0.05 | 0.015833 | 200 | 2152.78 | 3013892 | 1383878.7433 | 1630013.2567 | 0 | 1630013.2567
15 | 30 | Over Head Tank Area | Open Area/RCC Flooring/Brick soling | Open Area/RCC Flooring/Brick soling | Average | 400 | 4305.56 | 30 | 2007 | 2022 | 15 | 60 | 0.05 | 0.015833 | 200 | 2152.78 | 861112 | 204514.1 | 656597.9 | 0 | 656597.9 |  |  |  | Total | 5621694.2191 | 17582174.0521
FACTORY BUILDINGS
16 | Ground floor + 1 | Adm.block | RCC Roof | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 798 | 8589.5922 | 30 | 2006 | 2022 | 16 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 13743347.52 | 3481648.0384 | 10261699.4816 | 0 | 10261699.4816
17 | Ground floor | Old Gen.office/civil office | RB Roof | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 255.57 | 2750.9299 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 4126394.8845 | 2352045.0842 | 1774349.8003 | 0 | 1774349.8003
18 | Ground floor | Old Civil office | RCC Roof | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 227.69 | 2450.8324 | 12 | 1995 | 2022 | 27 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 3676248.5865 | 1571596.2707 | 2104652.3158 | 0 | 2104652.3158
19 | Ground floor | Time office | RCC Roof | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 604.61 | 6507.9616 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 9761942.3685 | 5564307.15 | 4197635.2185 | 0 | 4197635.2185
20 | Ground floor | WT.Bridge Tr &w. | RCC Roof | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 59.66 | 642.1743 | 10 | 1995 | 2022 | 27 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 963261.411 | 411794.2532 | 551467.1578 | 0 | 551467.1578
21 | Ground floor + 1 | Rural & Development Building | RCC Roof | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 475.89 | 5122.4324 | 25 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1550 | 16684.045 | 7939770.175 | 4525668.9998 | 3414101.1753 | 0 | 3414101.1753
22 | Ground floor + 1 | Tech. Office Building | RCC Roof | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 814.96 | 8772.1479 | 30 | 1989 | 2022 | 33 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 14035436.7104 | 7333515.6812 | 6701921.0292 | 0 | 6701921.0292
23 | Ground floor | Toilet Block | RCC Roof | RCC pillars with RCC roof and brick masonry wall , cement flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, door shutteretc. | Average | 58.66 | 631.4104 | 8 | 1993 | 2022 | 29 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 883974.5236 | 405891.6354 | 478082.8882 | 0 | 478082.8882
24 | Ground floor | Pump Room | RCC Roof | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 17.76 | 191.1669 | 10 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 267633.6096 | 152551.1575 | 115082.4521 | 0 | 115082.4521
25 | Ground floor | Work shop | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 1511.64 | 16271.1418 | 35 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 14644027.6164 | 12520643.612 | 2123384.0044 | 0 | 2123384.0044
26 | Ground floor | Stork cane carrier | MS Column & Brick Wall | MS Column & Brick Wall | Average | 851.1 | 9161.1553 | 50 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 1300 | 13993.07 | 11909501.877 | 10182624.1048 | 1726877.7722 | 0 | 1726877.7722
27 | Ground floor | CC BW Boiler house | MS Column & Brick Wall | MS Column & Brick Wall | Average | 2979.2 | 32067.8109 | 50 | 2017 | 2022 | 5 | 40 | 0.05 | 0.02375 | 1300 | 13993.07 | 41688154.144 | 4950468.3046 | 36737685.8394 | 0 | 36737685.8394
28 | Ground floor | BW Cane carrier | MS Column & Brick Wall | MS Column & Brick Wall | Average | 1274.4 | 13717.5142 | 50 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 1300 | 13993.07 | 17832768.408 | 15247016.9888 | 2585751.4192 | 0 | 2585751.4192
29 | Ground floor | BW & Boiler House | MS Column & Brick Wall | MS Column & Brick Wall | Average | 2056.74 | 22138.5437 | 50 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 1300 | 13993.07 | 28780106.7918 | 24606991.307 | 4173115.4848 | 0 | 4173115.4848
30 | Ground floor | Boiling House-1 | MS Column & Brick Wall | MS Column & Brick Wall | Average | 1430.16 | 15394.0992 | 50 | 1995 | 2022 | 27 | 40 | 0.05 | 0.02375 | 1300 | 13993.07 | 20012328.9912 | 12832905.9656 | 7179423.0256 | 0 | 7179423.0256
31 | Ground floor | Boiling House-2 | MS Column & Brick Wall | MS Column & Brick Wall | Average | 1725.77 | 18576.0157 | 50 | 1995 | 2022 | 27 | 40 | 0.05 | 0.02375 | 1300 | 13993.07 | 24148820.4139 | 15485431.0904 | 8663389.3235 | 0 | 8663389.3235
32 | Ground floor | Power house | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 658.6 | 7089.1045 | 50 | 2007 | 2022 | 15 | 40 | 0.05 | 0.02375 | 1300 | 13993.07 | 9215835.902 | 3283141.5401 | 5932694.3619 | 0 | 5932694.3619
33 | Ground floor | Sulpher House | MS Column & Brick Wall | MS Column & Brick Wall | Average | 136.42 | 1468.4112 | 50 | 2000 | 2022 | 22 | 40 | 0.05 | 0.02375 | 1300 | 13993.07 | 1908934.6094 | 997418.3334 | 911516.276 | 0 | 911516.276
34 | Ground floor | Store | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 1450.36 | 15611.53 | 40 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 14050377.0036 | 12013072.3381 | 2037304.6655 | 0 | 2037304.6655
35 | Ground floor | Sugar Godown No. 1.2.4.5.7.9.10 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 5876.73 | 63256.534 | 40 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 56930880.6423 | 48675902.9492 | 8254977.6931 | 0 | 8254977.6931
36 | Ground floor | Sugar Godown No. 11,12,15 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 1255.01 | 13508.8021 | 40 | 2000 | 2022 | 22 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 12157921.9251 | 6352514.2059 | 5805407.7192 | 0 | 5805407.7192
37 | Ground floor | Sugar Godown No. 14 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 334.89 | 3604.7225 | 40 | 1993 | 2022 | 29 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 3244250.2239 | 2234477.3417 | 1009772.8822 | 0 | 1009772.8822
38 | Ground floor | Sugar Godown No. 13 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 261.69 | 2816.805 | 40 | 1993 | 2022 | 29 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 2535124.4919 | 1746066.9938 | 789057.4981 | 0 | 789057.4981
39 | Ground floor | Sugar Godown No. 16 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 669.74 | 7209.0144 | 40 | 1987 | 2022 | 35 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 6488112.9474 | 5393243.8875 | 1094869.0599 | 0 | 1094869.0599
40 | Ground floor | Sugar Godown No. 18 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 905.74 | 9749.2948 | 40 | 1987 | 2022 | 35 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 8774365.3074 | 7293691.1618 | 1480674.1456 | 0 | 1480674.1456
41 | Ground floor | Sugar Godown No. 3,6,8 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 822.96 | 8858.2591 | 40 | 1987 | 2022 | 35 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 7972433.2296 | 6627085.1221 | 1345348.1075 | 0 | 1345348.1075
42 | Ground floor | Sugar Godown No. 19 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 2133 | 22959.3987 | 40 | 1998 | 2022 | 24 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 20663458.83 | 11778171.5331 | 8885287.2969 | 0 | 8885287.2969
43 | Ground floor | Sugar Godown No. 17 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 584.49 | 6291.3919 | 40 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 5662252.7199 | 4841226.0755 | 821026.6444 | 0 | 821026.6444
44 | Ground floor | Sugar Godown No. 20 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 2476.65 | 26658.4129 | 40 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 23992571.6415 | 20513648.7535 | 3478922.888 | 0 | 3478922.888
45 | Ground floor | Sugar Godown No. 21 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 1445.7 | 15561.3702 | 40 | 2011 | 2022 | 11 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 14005233.207 | 3658867.1753 | 10346366.0317 | 0 | 10346366.0317
46 | Ground floor | Sugar Godown No. 22 | Brick Wall & ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 1709 | 18395.5051 | 40 | 1987 | 2022 | 35 | 40 | 0.05 | 0.02375 | 900 | 9687.51 | 16555954.59 | 13762137.2529 | 2793817.3371 | 0 | 2793817.3371 |  |  |  | Total | 147775660.9949 | 418571425.3025
RESIDENTIAL BUILDINGS
47 | Ground floor | A type 17 houses (2 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 1400 | 15069.46 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 22604190 | 12884388.3 | 9719801.7 | 0 | 9719801.7
48 | Ground floor + 1 | BG 1 to 9 (Bunglows) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 4010.46 | 43168.1904 | 20 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 69069104.6304 | 39369389.6393 | 29699714.9911 | 0 | 29699714.9911
49 | Ground floor | B 1 to 12 (3 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 2325 | 25026.0675 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 37539101.25 | 21397287.7125 | 16141813.5375 | 0 | 16141813.5375
50 | Ground floor + 1 | B 13 to 21 (3 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 1340.07 | 14424.3795 | 25 | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1650 | 17760.435 | 23800226.1304 | 6406227.5334 | 17393998.597 | 0 | 17393998.597
51 | Ground floor | C 7 to 18 (2 Bed room set) | RCC/ACC Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 1341.07 | 14435.1434 | 12 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 1500 | 16145.85 | 21652715.0595 | 18513071.3759 | 3139643.6836 | 0 | 3139643.6836
52 | Ground floor | Res. Block D 1 to 6 (2 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 792 | 8525.0088 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 12787513.2 | 7288882.524 | 5498630.676 | 0 | 5498630.676
53 | Ground floor | Res. Block E 1 to 40 (2 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 2975.7 | 32030.1372 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 48045205.845 | 27385767.3316 | 20659438.5134 | 0 | 20659438.5134
54 | Ground floor | Res. Block F 7 to 37 (1 & 2 Bed room set) | RCC/GI Roof | RCC/GI Roof | Average | 1282.8 | 13807.9309 | 12 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 9665551.644 | 8264046.6556 | 1401504.9884 | 0 | 1401504.9884
55 | Ground floor | Res. Block H 1 to 27 (2 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 1820 | 19590.298 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 29385447 | 16749704.79 | 12635742.21 | 0 | 12635742.21
56 | Ground floor | Res. Block I 1 to 18 (1 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 814.14 | 8763.3215 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 13144982.319 | 7492639.9218 | 5652342.3972 | 0 | 5652342.3972
57 | Ground floor | Res. Block J 1 to 18 (1 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 753.84 | 8114.2584 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 12171387.564 | 6937690.9115 | 5233696.6525 | 0 | 5233696.6525
58 | Ground floor | Res. Block K 1 to 5 (1 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 403.5 | 4343.2337 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 6514850.475 | 3713464.7707 | 2801385.7042 | 0 | 2801385.7042
59 | Ground floor | Res. Block L 1 to 55 (2 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 3050.14 | 32831.4019 | 12 | 1987 | 2022 | 35 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 49247102.919 | 27291102.8676 | 21956000.0514 | 0 | 21956000.0514
60 | Ground floor + 2 | Res. Block M 1 to 60 (2 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 3066.9 | 33011.8049 | 30 | 1992 | 2022 | 30 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 52818887.856 | 25088971.7316 | 27729916.1244 | 0 | 27729916.1244
61 | Ground floor | Res. Block N 1 to 84 (2 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 4292.68 | 46205.9783 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 69308967.378 | 39506111.4055 | 29802855.9725 | 0 | 29802855.9725
62 | Ground floor | Res. Block O 1 to 6 (2 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 250.6 | 2697.4333 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 4046150.01 | 2306305.5057 | 1739844.5043 | 0 | 1739844.5043
63 | Ground floor | Res. Block P 1 to 150 (2 Bed room set) | ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 3968 | 42711.1552 | 12 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 800 | 8611.12 | 34168924.16 | 29214430.1568 | 4954494.0032 | 0 | 4954494.0032
64 | Ground floor | Res. Block Q 1 to 8 (1 room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 257.36 | 2770.1973 | 12 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 4155295.956 | 2368518.6949 | 1786777.2611 | 0 | 1786777.2611
65 | Ground floor + 2 | Res. Block S 1 to 240 (1 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 7360.59 | 79228.6547 | 36 | 1992 | 2022 | 30 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 126765847.5216 | 60213777.5728 | 66552069.9488 | 0 | 66552069.9488
66 | Ground floor | Res. Block T 1 to 52 (1 room set) | ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 483.27 | 5201.87 | 12 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 800 | 8611.12 | 4161495.9624 | 3558079.0479 | 603416.9145 | 0 | 603416.9145
67 | Ground floor + 3 | Res. Block U 1 to 24 (2 & 3 Bed room set) | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 230.06 | 2476.3428 | 50 | 2005 | 2022 | 17 | 60 | 0.05 | 0.015833 | 1800 | 19375.02 | 4457417.1012 | 1199788.1031 | 3257628.9981 | 0 | 3257628.9981
68 | Ground floor | Barracks 1 to 20 | ACC Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 418.21 | 4501.5706 | 12 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 800 | 8611.12 | 3601256.4952 | 3079074.3034 | 522182.1918 | 0 | 522182.1918 |  |  |  | Total | 288882899.6211 | 659111620.4767
PUBLIC BUILDINGS
69 | Ground Floor + 1 | Telephone Exchange | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 62.65 | 674.3583 | 25 | 1992 | 2022 | 30 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 1078973.336 | 512512.3346 | 566461.0014 | 0 | 566461.0014
70 | Ground Floor + 1 | VIP Guest House | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 553.29 | 5955.5582 | 30 | 2004 | 2022 | 18 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 9528893.1696 | 2715734.5533 | 6813158.6163 | 0 | 6813158.6163
71 | Ground Floor + 1 | Canteen/Club | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 787.22 | 8473.5574 | 30 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 13557691.7728 | 7727884.3105 | 5829807.4623 | 0 | 5829807.4623
72 | Ground Floor | Hanuman Temple | Brick/ Rcc | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 60 | 645.834 | 20 | 2015 | 2022 | 7 | 60 | 0.05 | 0.015833 | 1550 | 16684.045 | 1001042.7 | 110948.8992 | 890093.8007 | 0 | 890093.8007
73 | Ground Floor | Helipad | RCC |  | Average | 325 | 3498.2675 | open | 2010 | 2022 | 12 | 60 | 0.05 | 0.015833 | 600 | 6458.34 | 2098960.5 | 398802.495 | 1700158.005 | 0 | 1700158.005
74 | Ground Floor | Yagya Shala | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 30 | 322.917 | 15 | 2003 | 2022 | 19 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 484375.5 | 145716.2962 | 338659.2037 | 0 | 338659.2037
75 | Ground Floor | Barat Ghar | Bricks/ ACCc Sheet | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 150 | 1614.585 | 15 | 2006 | 2022 | 16 | 40 | 0.05 | 0.02375 | 1500 | 16145.85 | 2421877.5 | 920313.45 | 1501564.05 | 0 | 1501564.05
76 | Ground Floor | Scrap Yard | Brick soling |  | Average | 250 | 2690.975 | open | 2009 | 2022 | 13 | 40 | 0.05 | 0.02375 | 400 | 4305.56 | 1076390 | 332335.4125 | 744054.5875 | 0 | 744054.5875
77 | Ground Floor + 1 | SBI Building | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 792.12 | 8526.3005 | 30 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 13642080.7488 | 7775986.0268 | 5866094.722 | 0 | 5866094.722
78 | Ground Floor + 1 | Cane Society | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 1102.88 | 11871.29 | 30 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 18994064.0512 | 10826616.5092 | 8167447.542 | 0 | 8167447.542
79 | Ground Floor + 1 | School | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 1772.68 | 19080.9503 | 30 | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 30529520.4032 | 17401826.6298 | 13127693.7734 | 0 | 13127693.7734
80 | Ground Floor | Laxmi NarayanTemple | Red Stone Construction |  | Average | 129.48 | 1393.7098 | 30 | 1996 | 2022 | 26 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 2229935.6352 | 917990.1698 | 1311945.4654 | 0 | 1311945.4654
81 | Ground Floor | Cycle Stand | ACC/GI Roof | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Average | 705 | 7588.5495 | 35 | 1986 | 2022 | 36 | 40 | 0.05 | 0.02375 | 1000 | 10763.9 | 7588549.5 | 6488209.8225 | 1100339.6775 | 0 | 1100339.6775
82 | Ground Floor + 1 | Hospital/Guest House | RCC | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Average | 553.29 | 5955.5582 | 30 | 1987 | 2022 | 35 | 60 | 0.05 | 0.015833 | 1600 | 17222.24 | 9528893.1696 | 5280594.9648 | 4248298.2048 | 0 | 4248298.2048
83 | Ground Floor | Factory and colony Open Area | RCC/ Bricks |  | Average | 18475.6 | 198869.5108 | open | 1986 | 2022 | 36 | 60 | 0.05 | 0.015833 | 500 | 5381.95 | 99434755.42 | 56677810.5894 | 42756944.8306 | 0 | 42756944.8306 |  |  |  | Total | 94962720.9426 | 213196003.4064
| TOTAL | [15 empty] | 1578130727.6476 |  |  |  | 733270854.5658

## Road & Drains
ANNEXURE-B: VALUATION OF OTHER STRUCTURES SITUATED AT: VILLAGE- GOLA, TEHSIL- GOKARANNATH, DISTRICT- LAKHIMPUR KHIRI, U.P
S.No. | Description | Year of construction | Type of construction | Structure condition | Area (in running mtr.) | Area ( fts.) | Rates adopted | Depreciated Replacement Cost | Govt. Guidelines Rates (in sq. mtr.) | Govt. Guideline Value
1 | Roads and Paths Etc | 1986 to 2011 | RCC & Brick Soling (Open Area) | Average | 21600 | 69120 | 487.5 | 10530000 | 0 | 0
2 | Factory and Colony Boundries | 1989 to 1507 | 5835 running metre and 2.50 meter hight / Thikness 9 " | Average | 14587.5 | 46680 | 487.5 | 7111406.25 | 0 | 0
3 | Drains | 2011 | Running Meter (RMT) average 1 mter width | Average | 2778 | 8889.6 | 487.5 | 1354275 | 0 | 0
4 | Fish Pond | 1993 | Bricks | Average | 40 | 128 | 487.5 | 19500 | 0 | 0
5 | Fountain in Front Of Temple | 1500 | Bricks | Average | 50 | 160 | 487.5 | 24375
6 | Fountain For Adm. Bld. | 1986 | Bricks | Average | 50 | 160 | 487.5 | 24375
7 | Park Admin Building | 1506 | Open Area/Brick work | Average | 322 | 1030.4 | 487.5 | 156975
8 | Road Path Railway Track etc | 1982 | Open Area/RCC Flooring/Railway TrACCk | Average | 51500 | 164800 | 487.5 | 25106250
9 | Brick Boundry wall of Dairy Agriculture Field | 1507 | Open Area/Circumference 1256.68 * 2 mtr height/thickness 9"/Total Area is 125673 Sq. Metres | Average | 2513.36 | 8042.752 | 487.5 | 1225263
10 | Tube Well | 1509 | RCC | Average | 10 | 32 | 487.5 | 4875
11 | Cane Carts etc Parking | 2011 | Open Area/Brick work | Average | 10600 | 33920 | 487.5 | 5167500
| TOTAL |  |  |  | 104050.86 | 332962.752 |  | 50724794.25

## Summary
BUILDING/ CIVIL STRUCTURE ¦ BAJAJ HINDUSTHAN SUGAR LIMITED ¦ SITUATED AT: VILLAGE- GOLA, TEHSIL- GOKARANNATH, DISTRICT- LAKHIMPUR KHIRI, U.P
Sr. No. | Description | Annexure | Gross Block | Depreciated Fair Market Value
1 | Sugar & Distillery Unit | A | 1578130727.6476 | 733270854.5658
2 | Other Structures | B | 50724794.25 | 50724794.25
Total |  |  | 1628855521.8976 | 783995648.8158
Notes:
1. Buildings & Civil works only related to the BHSL, Gola, Tehsil- Gokarannath & District- Lakhimpur Khiri, U.P Plant and associated facilities are considered in this report.
2. On our request, BHSL provided us the area measurement of Buildings. Hence we have believed on the area statement provided by the company in good faith. However, our team have cross-verified all the structure present within the boundary of the company.
4. For evaluation of the useful economic life for the calculation of depreciation, companies act 2013 and the general practical trend of same Buildings are taken into consideration.
5. The economic life of the Main Plant Building is taken as 25 years, for Industrial RCC structure is taken as 60 years, and others structure related to Sugar, Manufacturing Plant varies from 40 to 60 years.
6. For calculting reproduction cost of Civil & Structural Assets as on date, we have taken reference from open market and calculated depreciation on the same.