## List
Buildings Details
S.No | Name of Building | Total plinth area in Sq.m. | GF area in Sq.m. | All floors area excl. GF in Sq.m | Bldg. HT. in Mt. | Type of Structure | Year of construction | Plant/Non-Plant BLDGS.
1 | Tech Building | 3336 | 1668 | 1668 | 7.2 | RCC framed structure rested on Pile fdn. | 01.08.92 | Non-Plant
2 | Lab Building | 1300 | 650 | 650 | 7.2 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery - Can not be used for any other purpose.
3 | Plant-1 control room | 1293 | 1293 | NIL | 6.1 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
4 | Operator cabins | 175 | 175 | NIL | 3.5 | RCC framed structure rested isolated footings with RCC roof. | 01.08.92 | Non-Plant
5 | Substation 2 | 1618 | 809 | 809 | 9 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
6 | Substation 3 | 1618 | 809 | 809 | 9 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
7 | Plant-2 control room | 1543 | 1043 | 500 | 11.1 | RCC framed structure rested isolated footings with RCC roof. | 19.03.98 | Part of Plant & Machinery
8 | Ammonia substation | 1644 | 822 | 822 | 9 | RCC framed structure rested on Pile fdn. | 19.03.98 | Part of Plant & Machinery
9 | Urea substation | 1644 | 822 | 822 | 9 | RCC framed structure rested on Pile fdn. | 19.03.98 | Part of Plant & Machinery
10 | Steam and power generation plant Including SUB STN.-1 | 3940 | 2500 | 1440 | 13.3 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
11 | GT-C & Substation-21 & Control room | 1820 | 1177 | 643 | 9.5/16.25 | RCC framed structure rested on Pile fdn. | 19.03.98 | Part of Plant & Machinery
12 | Urea silo | 10525 | 10525 |  | 23 | RCC framed structure rested on Pile fdn with RCC precast truss and with Prestressed tie beams.(Roof covered with RCC precast elements) | 01.08.92 | Part of Plant & Machinery. Urea Silo is having about 13000 Sq Mts of roof area made of precast elements with Bituminuous treatment over the precast slabs,which was done in 1992. The life of bituminous treatment is normally 5 - 10 years and now it is completely damaged causing leakages at many places in Urea silo. Localised repairs attemted many time but invain. Urea is highly hydroscopic and requires dry environment for storage. Investment is required to use to urea silo.
13 | Bagging Plant including loco shed | 24115 | 14962 | 9153 | 3.5/7.2/11.2/14/17.35/21/24/28.1/32/35.5 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery Concrete and Masonary structures at Bagging plant are getting deteriorated due to urea ingress as existing chemical treatment over surfaces, has lost its property in view of vitages. It requires huges capital expenditure to rectify damaged areas and re-doing chemical treament, which is not included in the essential expenditure estimated. Photos included.
14 | Bagg. Plant Platform | Shed-1 size 28.6m x 282mt ( Platform length 282mt. and width 19.15mt.), Shed-2 42.6mt.x 81m ( Platform length 81mt. and width 29mt.) Two sheds plinth area:11516sq.m. |  |  |  | RCC isolated footings with steel columns and Steel truss roof | 1999 | Part of Plant & Machinery
15 | AMF2 | 246 | 246 |  | 7.3 | RCC framed structure rested isolated footings with RCC roof. | 19.03.98 | Part of Plant & Machinery
16 | DM plant | 4134 | 4134 | NIL | 8/13.5 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
17 | DM MCC | 96 | 96 | NIL | 4.5 | RCC framed structure rested isolated footings with RCC roof. | 19.03.98 | Part of Plant & Machinery
18 | Cooling tower Control room and MCC | 280 | 280 | NIL | 4.5 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
19 | Clarifier water lift cum fire water pump house | 764 | 764 | NIL | 10.6 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
20 | Sludge sump and pump house | 210 | 210 | NIL | 8 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
21 | Filter water pump house | 762 | 762 | NIL | 10.6 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
22 | ETP | 572 | 572 | NIL | 4.5 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
23 | IG PLANT | 1467 | 1467 | NIL | 4.0/8.15/9.5 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
24 | MRSS | 2523 | 1105 | 1418 | 4.50/9.05/12.05/16.8 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
25 | SS4 | 1524 | 864 | 660 | 3.5/8.1 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
26 | SS5 | 1226 | 634 | 592 | 3.5/8.1 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
27 | Chemical house WTP | 1890 | 1120 | 770 | 11.30/6.50 | RCC framed structure rested on Pile fdn. | 01.08.92 | Part of Plant & Machinery
28 | Canteen bldg. | 1113 | 1113 | NIL | 4.3/7.0 | RCC framed structure rested on Pile fdn. | 01.08.92 | Non-Plant
29 | Devi canteen | 180 | 180 | NIL | 4 | RCC framed structure rested isolated footings with RCC roof. | 31.03.94 | Non-Plant
30 | H- Building | 1648 | 1648 | NIL | 3.6 | RCC framed structure rested on Raft fdn. | 01.08.92 | Non-Plant
31 | Project office and Snam building is same -constructed in 2 phases. | 1026 | 1026 | NIL | 4 | RCC framed structure rested on Raft fdn. With steel trusss and steel sheet roof | 19.03.98 | Non-Plant
32 | Fire & Safety building and fire tender garage | 528 | 528 | NIL | 4.5 | RCC framed structure rested on Pile fdn. | 01.08.92 | Non-Plant
33 | Dispensary and first aid centre | 420 | 420 | NIL | 4.5 | RCC framed structure rested on Pile fdn. | 01.08.92 | Non-Plant
34 | Workshop | 2752 | 2450 | 302 | 6/15 | RCC framed structure rested on Pile fdn. And roof with precast Rcc elements | 01.08.92 | Non-Plant Capitalized as non plant bulding. Actually, this can be considered as part of Plant & Machinery.
35 | Main store | 3342 | 3342 | NIL | 12 | RCC framed structure rested on Pile fdn. And roof with precast Rcc elements | 01.08.92 | Non-Plant
36 | Gate house | 432 | 432 | NIL | 4.5 | RCC framed structure rested on Pile fdn. | 01.08.92 | Non-Plant
37 | Weigh bridege | 33 | 33 | NIL | 4.5 | RCC framed structure rested on Pile fdn. | 01.08.92 | Non-Plant Capitalized as non plant bulding. Actually, this can be considered as part of Plant & Machinery.
38 | Yard toilet(near ws,mrss,igp,sp house and bagging) | 442 | 442 | NIL | 3.5 | RCC framed structure rested isolated footings with RCC roof. | 01.08.92 | Non-Plant
39 | Akshara school | 8009 | 4099 | 3910 | 3.5/7.5 | RCC framed structure rested on Pile fdn. | 01.08.92 | Non-Plant building constructed as part of CSR activities.
40 | Club house | 2360 | 2360 | NIL | 4.5 | RCC framed structure rested on slab beam raft FDN. with RCC roof. | 30.09.95 | Non-Plant
41 | Total Area | 92550
42 | Reservoir (38Acres) capacity : 440000 M³ | Reservoir Bund dimensions are 473 mt X 321 mt and original capacity of the tank is 440000 M3. However, over a period of time, wild growth developed on bund and created gaps leading leakages at many areas. In view of this, reservoir water holding capacity has come down significamtly. Due to excess uplift pressure of ground water table, LDPE film of resrovoir bottom has puctured at many places and groud water (Saline) is mixing with Godavari raw water. Because of these two issues, Reservoir is not being used. It requires huges capital expenditure, which is not included in the essential expenditure estimated. Photos attached. |  |  |  |  | 2006 | It is a part of green belt, company did not take APPCB permission for construction of the reservior. Repairs could not taken up due to requirement of APPCB permission.
43 | Compound wall | Length of of Compound wall is 6800 Rmt. and height 2.40 mt. There are a lot of localised damages to beams/columns and wall precast elements at many places. Sea being very close, due to saline atmosphere, reinforcement got exposed. It requires huges capital expenditure, to replace most of the precast element and repairing columns/beams, which is not included in the essential expenditure estimated. Photos attached. |  |  |  | RCC framed with Isolated footings and panels with RCC precast planks | 2012
44 | CT makeup pump house | 65 | 65 | Nil | 5.5 | RCC framed structure rested on Pile fdn. | 1998 | Part of Plant & Machinery
45 | Sub Stn. 6 | 640 | 320 | 320 | 3.5/8.0 | RCC framed structure rested on Pile fdn. | 1992 | Part of Plant & Machinery
46 | Director transit house | 264 | 264 | N | 3.5 | RCC framed with Continuous raft and Tiled roof with wooden rafters | 2004 | Non-Plant
47 | CF non plant Bldgs.-MCC,Admn &Toilet. | 320 | 320 | NIL | 3.5 | RCC framed structure with Isolated footings | 2011 | Non-Plant, Building is dilabitated and abandoned.
Bagging Plant Structure Damages
https://drive.google.com/drive/folders/18dr24crgxHDG0-AAFSJNPwKcNBdyimx5?usp=sharing
Concrete Damages in Compound Wall
https://drive.google.com/drive/folders/1c0xYbE4bd9JQBflJj-Dws6cj7jnP5ZKk?usp=sharing
Reservoir Bund Damages due to Vegetation
https://drive.google.com/drive/folders/1VuPNd_OuSyjT_FFosCri-H_BI64j1Lzp?usp=sharing