## Pumps (hidden)
UTTAM SUGAR MILL BARKATPUR BIJNOR
Magma/masscuite Pump Detail
1 | Type | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 30
| Motor Rpm | 1460
| Final Rpm | 36.5
Magma duty
| Masscuite Duty | B vert, Cvert, B m/cn.1, n.2 ,A1m/c , A m/c n.4
2 | Type | ROTO Pump 350X350
| Gearbox Type | Redicon U-1200 | 9810155006
| Gear Ratio | 40 | KARAN PADUKA
| Motor HP | 30
| Motor Rpm | 1460
| Final Rpm | 36.5
| Magma duty | A1mag,n.2
| Masscuite Duty | A1M/c n.1
3 | Type | ROTO Pump 400X400
| Gearbox Type | Redicon U-1200
| Gear Ratio | 40
| Motor HP | 40
| Motor Rpm | 1470
| Final Rpm | 36.75
Magma duty
| Masscuite Duty | A M/C n.1,n.2, n.3, C m/c n2
4 | Type | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 20
| Motor Rpm | 1460
| Final Rpm | 36.5
| Magma duty | CFWn.1,n.2,A1FW n.1, CAW n.1,n.2,BFW n.1, n.2
| Masscuite Duty | C M/C n.1
PUMP DUTY
1 | A M/C pump n.1
| TYPE | ROTO Pump 400X400
| Gearbox Type | Redicon U-1200
| Gear Ratio | 40
| Motor HP | 40
| Motor Rpm | 1470
| Final Rpm | 36.75
2 | A M/C pump n.2
| TYPE | ROTO Pump 400X400
| Gearbox Type | Redicon U-1200
| Gear Ratio | 40
| Motor HP | 40
| Motor Rpm | 1470
| Final Rpm | 36.75
3 | A M/C pump n.3
| TYPE | ROTO Pump 400X400
| Gearbox Type | Redicon U-1200
| Gear Ratio | 40
| Motor HP | 40
| Motor Rpm | 1470
| Final Rpm | 36.75
4 | A M/C pump n.4
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 30
| Motor Rpm | 1460
| Final Rpm | 36.5
5 | A1 M/C pump n.5
| TYPE | ROTO Pump 350X350
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 30
| Motor Rpm | 1460
| Final Rpm | 36.5
6 | B M/C pump n.6
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 30
| Motor Rpm | 1460
| Final Rpm | 36.5
7 | B M/C pump n.7
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 30
| Motor Rpm | 1460
| Final Rpm | 36.5
8 | A1 M/C pump n.8
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 30
| Motor Rpm | 1460
| Final Rpm | 36.5
9 | C M/C pump n.9
| TYPE | ROTO Pump 400X400
| Gearbox Type | Redicon U-1200
| Gear Ratio | 40
| Motor HP | 40
| Motor Rpm | 1470
| Final Rpm | 36.75
10 | C M/C pump n.10
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 20
| Motor Rpm | 1460
| Final Rpm | 36.5
11 | CFW magma pump n.11
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 20
| Motor Rpm | 1460
| Final Rpm | 36.5
12 | CFW magma pump n.12
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 20
| Motor Rpm | 1460
| Final Rpm | 36.5
13 | A1FW magma pump n.13
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 20
| Motor Rpm | 1460
| Final Rpm | 36.5
14 | CAW magma pump n.14
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 20
| Motor Rpm | 1460
| Final Rpm | 36.5
15 | CAW magma pump n.15
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 20
| Motor Rpm | 1460
| Final Rpm | 36.5
16 | BFW magma pump n.16
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 20
| Motor Rpm | 1460
| Final Rpm | 36.5
17 | BFW magma pump n.17
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 20
| Motor Rpm | 1460
| Final Rpm | 36.5
18 | A1FW magma pump n.18
| TYPE | ROTO Pump 350X350
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 30
| Motor Rpm | 1460
| Final Rpm | 36.5
19 | B vert. Liquidation pump n.19
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 30
| Motor Rpm | 1460
| Final Rpm | 36.5
20 | C vert. Liquidation pump n.20
| TYPE | ROTO Pump 300X300
| Gearbox Type | Redicon U-1000
| Gear Ratio | 40
| Motor HP | 30
| Motor Rpm | 1460
| Final Rpm | 36.5
1 | Injection Pump
| No | 1
| Make | Sintech
| type | Centrifugal
| Capacity(M3/Hr) | 1750
| head (Mtr) | 17
| Installed power (Kw) | 132
| Motor Type | Slipring
| Remark | OK
2 | Injection Pump
| No | 2
| Make | Sintech
| type | Centrifugal
| Capacity(M3/Hr) | 3000
| head (Mtr) | 17
| Installed power (Kw) | 200
| Motor Type | VFD
| Remark | Pump should be replaced
3 | Injection Pump | 3
| No | Sintech
| Make | Vertical
| type | 3000
| Capacity(M3/Hr) | 18
| head (Mtr) | 200
| Installed power (Kw) | Slipring
| Motor Type | OK
Remark
4 | Hot water Pump
| No | 1
| Make | Sintech
| type | Centrifugal
| Capacity(M3/Hr) | 1750
| head (mtr) | 12
| Installed power (Kw) | 93
| Motor Type | Slipring
| Remark | Change in to induction
5 | Hot water Pump
| No | 2
| Make | Sintech
| type | Centrifugal
| Capacity(M3/Hr) | 3000
| head (mtr) | 12
| Installed power (Kw) | 132
| Motor Type | Slipring
| Remark | Always trouble want to change in to VFD
6 | Hot water Pump | 3
| No | Sintech
| Make | Centrifugal
| type | 3000
| Capacity(M3/Hr) | 12
| head (mtr) | 132
| Installed power (Kw) | VFD
Motor Type
| Remark | OK
CENTRIFUGAL TYPE PUMP FOR MCS
DUTY
1 | T.MCS TANK
| CAPACITY M3/HR | 90
| HEAD MTR | 40
| MOTOR HP | 30
| RPM | 1440
2 | T.MCS TANK
| CAPACITY M3/HR | 90
| HEAD MTR | 40
| MOTOR HP | 30
| RPM | 1440
3 | UN T.MCS TANK
| CAPACITY M3/HR | 90
| HEAD MTR | 40
| MOTOR HP | 30
| RPM | 1440
4 | UN T.MCS TANK
| CAPACITY M3/HR | 90
| HEAD MTR | 40
| MOTOR HP | 30
| RPM | 1440
5 | SCUM TANK
| CAPACITY M3/HR | 30
| HEAD MTR | 30
| MOTOR HP | 15
| RPM | 1450
High Flow Pump Detail progressive cavity pump make Roto flow
Sr no. | Pump sr no.
1 | HE-246,247,248,250
| Duty | A1H,CL
| Code no | RMAB-561-R2CD1A
| capacity m3/hr | 10.8
| pressure in Bar | 3
| Motor Kw | 3.7
| Rpm | 533
| Pully Grooves | V type2no
| Housing Bearing | T.R 32208
| Rubber Belt Size | A-44
| Total pump | 4
| Oil Seal | 48x80x10, 38x55X7
2 | HE-619,252
| Duty | FM
| Code no | RMAB-581-R2CD3A
| capacity m3/hr | 18.75
| pressure in Bar | 3
| Motor Kw | 5.5
| Rpm | 566
| Pully Grooves | V type2no
| Housing Bearing | T.R 32208
| Rubber Belt Size | A-53
| Total pump | 4
| Oil Seal | 48x80x10, 38x55X7
3 | HE-550
| Duty | mingler
| Code no | RMAB-601R2CD1A
| capacity m3/hr | 25.63
| pressure in Bar | 3
| Motor Kw | 7.5
| Rpm | 443
| Pully Grooves | V type2no | 1
| Housing Bearing | T.R 32208
| Rubber Belt Size | B-66
| Total pump | 1
| Oil Seal | 48x80x10, 38x55X7
4 | NH112034
| Duty | MELTER
| Code no | RLAB-671-R2CD3D
| capacity m3/hr | 68.56
| pressure in Bar | 2
| Motor Kw | 15
| Rpm | 253
| Pully Grooves | Ctype 3no
| Housing Bearing | T.R30211,32211
| Rubber Belt Size | C-96
| Total pump | 1
| Oil Seal | 72x150x8,265x90x10
5 | HG-0991,0992
| Duty | A1 H
| Code no | RMAS-602-R2CD3A
| capacity m3/hr | 18
| pressure in Bar | 8
| Motor Kw | 15
| Rpm | 308
| Pully Grooves | V type2no
| Housing Bearing | T.R30211,32211
| Rubber Belt Size | B-85
| Total pump | 2
| Oil Seal | 72x150x8,265x90x10
6 | HF-528,1028
| Duty | AH
| Code no | RMAB-641R1CD3A
| capacity m3/hr | 46.15
| pressure in Bar | 3
| Motor Kw | 15
| Rpm | 282
| Pully Grooves | Ctype 3no
| Housing Bearing | T.R32211
| Rubber Belt Size | C-100
| Total pump | 2
| Oil Seal | 72x150x8,265x90x10
7 | HE-253,254
| Duty | AL
| Code no | RMAB-601R2CD3A
| capacity m3/hr | 25.63
| pressure in Bar | 3
| Motor Kw | 7.5
| Rpm | 443
| Pully Grooves | V type2no
| Housing Bearing | T.R 32208
| Rubber Belt Size | B-66
| Total pump | 2
| Oil Seal | 48x80x10, 38x55X7
8 | HE-255,256
| Duty | BH
| Code no | RLAB-631-R2CD3A
| capacity m3/hr | 33.5
| pressure in Bar | 3
| Motor Kw | 9.3
| Rpm | 296
| Pully Grooves | V type2no | 2
| Housing Bearing | T.R 32208
| Rubber Belt Size | B-73
| Total pump | 2
| Oil Seal | 48x80x10, 38x55X7
9 | HH-0893
| Duty | T.MELT
| Code no | RLAB-631R2CD3A
| capacity m3/hr | 33.5
| pressure in Bar | 3
| Motor Kw | 11
| Rpm | 292
| Pully Grooves | Ctype2no
| Housing Bearing | T.R 32208
| Rubber Belt Size | C-96
| Total pump | 1
| Oil Seal | 48x80x10, 38x55X7
10 | HH-0894
| Duty | SCUM TANK
| Code no | RLAB-631R2CD3A
| capacity m3/hr | 33.5
| pressure in Bar | 3
| Motor Kw | 11
| Rpm | 292
| Pully Grooves | V type2no
| Housing Bearing | T.R 32208
| Rubber Belt Size | B-85
| Total pump | 1
| Oil Seal | 48x80x10, 38x55X7
11 | NH141093,141094 |  |  | 2
| Duty | SCS PUMP
| Code no | RLAB671R2CD3D
| capacity m3/hr | 80
| pressure in Bar | 2.5
| Motor Kw | 18.17
| Rpm | 291
| Pully Grooves | Vtype3no
Housing Bearing
Rubber Belt Size
| Total pump | 2
Oil Seal
12 | GH150518
| Duty | NEW MELTER PUMP
| Code no | RLAB-671-R2CD3D
| capacity m3/hr | 80
| pressure in Bar | 2.5
| Motor Kw | 18.17
| Rpm | 291
Pully Grooves
Housing Bearing
Rubber Belt Size
| Total pump | 1
Oil Seal

## Barkatpur
[5 empty] | Area | [13 empty] | 2022 | 455195014.3179 | 146914383.5167 | 308280630.8012
MARKET VALUE OF STRUCTURES ¦ M/S. Uttam Sugar Mills LIMITED ¦ SITUATED AT VILLAGE- Barkatpur, Uttar Pradesh
Sr. No. | Unit | Description | Type of Structure | Height (in ft.) | Area (in sq ft) | Area (in sq mtr) | Year of Construction | Year of Valuation | Total Life Consumed (in yrs.) | Total Economical Life (in yrs.) | Salvage value | Depreciation Rate | Plinth Area Rate (in per sq.ft.) | Type | CPWD Rate 2021 in Rs./sqm | CPWD Rate 2022 in Rs./sqm | Rate in Rs./sqft |  | Rate Adopted | Gross Replacement Value (INR) | Depreciation Factor (INR) | Depreciated Value (INR) | Depreciated Replacement Market Value (INR)
1 | Sugar Mill | Godown-II | G.I. Shed with M.S. structure Brick work & Plaster | 40' | 133245 | 12378.7625 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 120098754.1806 | 43235551.505 | 76863202.6756 | 76863202.6756
2 | Sugar Mill | Godown-I | Without Roof, Brick work Plaster) | 40' | 66375.75 | 6166.4576 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 70154246.9168 | 18941646.6675 | 51212600.2493 | 51212600.2493
3 | Sugar Mill | Mill, Boiler Sugar, Pan & Power House etc. | G.I. Shed with M.S. Structure, brick work upto 18"-0") | 60' | 65156 | 6053.1401 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 58727565.2174 | 21141923.4783 | 37585641.7391 | 37585641.7391
4 | Distillery | Shed | G.I. Shed with M.S. Structure & M.S. Column | 35' | 18414 | 1710.7023 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 16597234.1137 | 5975004.2809 | 10622229.8328 | 10622229.8328
5 | Sugar Mill | Guest House | RCC Roof brick work Plaster & Marble Stone Flooring) | 12' | 14843.68 | 1379.0115 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 15688669.3088 | 4235940.7134 | 11452728.5954 | 11452728.5954
6 | Sugar Mill | Hall | RCC Roof Brick work Plaster & IPS Flooring | 17' | 13598 | 1263.285 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 14372077.8986 | 3880461.0326 | 10491616.8659 | 10491616.8659
7 | Sugar Mill | Hall | G.I. Shed & IPS Flooring) | 30' | 13598 | 1263.285 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 12256391.3043 | 4412300.8696 | 7844090.4348 | 7844090.4348
8 | Sugar Mill | Boiler Shed | RCC Roof Brick work Plaster & IPS Flooring | 85' | 11583 | 1076.087 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 12242372.2826 | 3305440.5163 | 8936931.7663 | 8936931.7663
9 | Sugar Mill | Hall | G.I. Shed & IPS Flooring) | 17' | 11583 | 1076.087 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 10440195.6522 | 3758470.4348 | 6681725.2174 | 6681725.2174
10 | Sugar Mill | Colony Tower-II Ground floor, First floor & Second floor | RCC Roof brick work Plaster & Marble Stone Flooring) | 12' | 10191.66 | 946.8283 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 10771829.051 | 2908393.8438 | 7863435.2072 | 7863435.2072
11 | Sugar Mill | Store | G.I. Shed with M.S. Structures | 18' | 8413 | 781.5868 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 7582954.8495 | 2729863.7458 | 4853091.1037 | 4853091.1037
12 | Distillery | Reciver House Shed | G.I. Shed Brick work Plaster & IPS Flooring | 22' | 7639.5 | 709.7269 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 6885770.0669 | 2478877.2241 | 4406892.8428 | 4406892.8428
13 | Distillery | Shed | G.I. Shed with M.S. Structure & M.S. Column | 60' | 6864 | 637.6812 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 6186782.6087 | 2227241.7391 | 3959540.8696 | 3959540.8696
14 | Sugar Mill | Colony Tower-I Ground floor, First floor & Second floor | RCC Roof brick work Plaster & Marble Stone Flooring) | 12' | 6636 | 616.4994 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 7013760.0334 | 1893715.209 | 5120044.8244 | 5120044.8244
15 | Sugar Mill | Colony Tower-III Ground floor, First floor & Second floor | RCC Roof brick work Plaster & Marble Stone Flooring) | 12' | 6636 | 616.4994 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 7013760.0334 | 1893715.209 | 5120044.8244 | 5120044.8244
16 | Sugar Mill | Shed | G.I. Shed with M.S. Structures | 85' | 5352.42 | 497.252 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 4824338.4281 | 1736761.8341 | 3087576.594 | 3087576.594
17 | Sugar Mill | Under Shed | RCC Roof Brick work Plaster & IPS Flooring | 17' | 5352.42 | 497.252 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 5657111.1329 | 1527420.0059 | 4129691.127 | 4129691.127
18 | Sugar Mill | Boiler Distillery | RCC Roof Brick work Plaster & IPS Flooring | 15' | 5200 | 483.0918 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 5496014.4928 | 1483923.913 | 4012090.5797 | 4012090.5797
19 | Sugar Mill | Colony (Ground & First floor) | RCC Roof brick work Plaster & Marble Stone Flooring) | 12' | 4432.08 | 411.7503 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 4684379.9833 | 1264782.5955 | 3419597.3878 | 3419597.3878
20 | Distillery | Turbine Shed | G.I. Shed Brick work Plaster & IPS Flooring | 50' | 4240 | 393.9056 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 3821672.2408 | 1375802.0067 | 2445870.2341 | 2445870.2341
21 | Distillery | Under Shed | RCC Roof, Brick work, Plaster & IPS Flooring | 15' | 4240 | 393.9056 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 4481365.6633 | 1209968.7291 | 3271396.9342 | 3271396.9342
22 | Sugar Mill | Sulphure Store | G.I. Shed with M.S. Structures | 14' | 3038.5 | 282.2835 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 2738714.8829 | 985937.3579 | 1752777.5251 | 1752777.5251
23 | Distillery | Gaushala | G.I. Shed with M.S. Structure & M.S. Column | 11' | 2861.5 | 265.8398 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 2579178.0936 | 928504.1137 | 1650673.9799 | 1650673.9799
24 | Sugar Mill | Cane yard | G.I. Shed with M.S. Structures | 10' | 2531.5 | 235.1821 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 2281736.6221 | 821425.1839 | 1460311.4381 | 1460311.4381
25 | Distillery | Colony G-02 & G-03 | ACC Roof, Brick work Plaster & IPS Flooring | 8' | 2490.13 | 231.3387 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 2244448.2776 | 808001.3799 | 1436446.8977 | 1436446.8977
26 | Sugar Mill | Verandah Ground floor, First floor & Second floor | RCC Roof brick work Plaster & Kota Stone Flooring) | 12' | 2466.75 | 229.1667 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 2607171.875 | 703936.4063 | 1903235.4688 | 1903235.4688
27 | Distillery | Machine Hall | G.I. Shed with M.S. Structure & M.S. Column | 60' | 2349 | 218.2274 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 2117242.4749 | 762207.291 | 1355035.1839 | 1355035.1839
28 | Sugar Mill | Office | RCC Roof Brick work Plaster & IPS Flooring | 12' | 2242 | 208.2869 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 2369627.7871 | 639799.5025 | 1729828.2846 | 1729828.2846
29 | Distillery | Pump House | RCC Roof, Brick work, Plaster & IPS Flooring | 20' | 1851.66 | 172.0234 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1957067.3453 | 528408.1832 | 1428659.1621 | 1428659.1621
30 | Sugar Mill | Lime & Sulphure Store & Panel Room | RCC Roof Brick work Plaster & IPS Flooring | 12' | 1777.41 | 165.1254 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1878590.5999 | 507219.462 | 1371371.1379 | 1371371.1379
31 | Distillery | Admin Block | RCC Roof, Brick work, Plaster & IPS Flooring | 12' | 1770.55 | 164.4881 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1871340.0885 | 505261.8239 | 1366078.2646 | 1366078.2646
32 | Sugar Mill | Pannel Room | RCC Roof Brick work Plaster & IPS Flooring | 12' | 1669.5 | 155.1003 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1764537.7299 | 476425.1871 | 1288112.5429 | 1288112.5429
33 | Sugar Mill | Electrical Store | RCC Roof Brick work Plaster & IPS Flooring | 12' | 1638 | 152.1739 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1731244.5652 | 467436.0326 | 1263808.5326 | 1263808.5326
34 | Distillery | Colony G-02 & Staff Room | RCC Roof, Brick work, Plaster & IPS Flooring | 10' | 1566 | 145.4849 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1655145.903 | 446889.3938 | 1208256.5092 | 1208256.5092
35 | Sugar Mill | Boiler Pannel Room | RCC Roof Brick work Plaster & IPS Flooring |  | 1493.1 | 138.7124 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1578096.0075 | 426085.922 | 1152010.0855 | 1152010.0855
36 | Sugar Mill | Boiler Pannel Room (First Floor) | RCC Roof Brick work Plaster & IPS Flooring |  | 1493.1 | 138.7124 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1578096.0075 | 426085.922 | 1152010.0855 | 1152010.0855
37 | Sugar Mill | Store office | RCC Roof Brick work Plaster & IPS Flooring | 10' | 1421.16 | 132.029 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1502060.7609 | 405556.4054 | 1096504.3554 | 1096504.3554
38 | Distillery | Shed Stgore | G.I. Shed Brick work with M.S. Structures & IPS Flooring | 10' | 1235.94 | 114.8216 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 1113999.4314 | 401039.7953 | 712959.6361 | 712959.6361
39 | Sugar Mill | Pannel Room | RCC Roof Brick work Plaster & IPS Flooring | 12' | 1218 | 113.155 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1287335.7023 | 347580.6396 | 939755.0627 | 939755.0627
40 | Sugar Mill | Carpenter Work Shed | G.I. Shed with M.S. Structures & Brick Soiling | 12' | 1044 | 96.99 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 940996.6555 | 338758.796 | 602237.8595 | 602237.8595
41 | Distillery | Labour Room | G.I. Shed with M.S. Structure & M.S. Column | 10' | 1000 | 92.9023 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 901337.7926 | 324481.6054 | 576856.1873 | 576856.1873
42 | Distillery | PCC & MCC Room | RCC Roof, Brick work, Plaster & IPS Flooring | 11' | 971.67 | 90.2703 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1026983.1543 | 277285.4517 | 749697.7026 | 749697.7026
43 | Distillery | Excise Office | RCC Roof, Brick work, Plaster & IPS Flooring | 10' | 854.45 | 79.3803 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 903090.3045 | 243834.3822 | 659255.9223 | 659255.9223
44 | Distillery | MCC Room | RCC Roof, Brick work, Plaster & IPS Flooring | 11' | 854.07 | 79.345 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 902688.6727 | 243725.9416 | 658962.731 | 658962.731
45 | Distillery | Air Compressor Room | RCC Roof, Brick work, Plaster & IPS Flooring | 10' | 832.86 | 77.3746 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 880271.2751 | 237673.2443 | 642598.0308 | 642598.0308
46 | Sugar Mill | Weigh Bridge Room | G.I. Shed Brick work Plaster & IPS Flooring | 9' | 800 | 74.3218 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 721070.2341 | 259585.2843 | 461484.9498 | 461484.9498
47 | Distillery | Rooms G-03 | ACC Roof, Brick work Plaster & IPS Flooring | 10' | 759.34 | 70.5444 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 684421.8395 | 246391.8622 | 438029.9773 | 438029.9773
48 | Distillery | Pannel Room | RCC Roof, Brick work, Plaster & IPS Flooring | 11' | 732 | 68.0045 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 773669.7324 | 208890.8278 | 564778.9047 | 564778.9047
49 | Sugar Mill | Medical Excise Office | RCC Roof Brick work Plaster & IPS Flooring | 12' | 727.81 | 67.6152 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 769241.2131 | 207695.1275 | 561546.0855 | 561546.0855
50 | Distillery | Shed Store | G.I. Shed Brick work Plaster & IPS Flooring | 16' | 681.02 | 63.2683 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 613829.0635 | 220978.4629 | 392850.6007 | 392850.6007
51 | Sugar Mill | Store Office | RCC Roof Brick work Plaster & IPS Flooring | 12' | 634.5 | 58.9465 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 670619.4607 | 181067.2544 | 489552.2063 | 489552.2063
52 | Sugar Mill | Parchi Section | G.I. Shed with M.S. Structures | 10' | 545.8 | 50.7061 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 491950.1672 | 177102.0602 | 314848.107 | 314848.107
53 | Sugar Mill | Toilets | G.I. Shed with M.S. Structures | 10' | 438 | 40.6912 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 394785.9532 | 142122.9431 | 252663.01 | 252663.01
54 | Distillery | Security Office | RCC Roof, Brick work, Plaster & IPS Flooring | 10' | 425.56 | 39.5355 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 449785.3707 | 121442.0501 | 328343.3206 | 328343.3206
55 | Sugar Mill | Toilets & Kitchen | RCC Roof Brick work Plaster & IPS Flooring | 8' | 406.89 | 37.801 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 430052.5648 | 116114.1925 | 313938.3723 | 313938.3723
56 | Sugar Mill | Rest Room | G.I. Shed with M.S. Structures | 10' | 379.75 | 35.2796 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 342283.0268 | 123221.8896 | 219061.1371 | 219061.1371
57 | Distillery | Cement Store | RCC Roof, Brick work, Plaster & IPS Flooring | 10' | 347.8 | 32.3114 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 367598.8155 | 99251.6802 | 268347.1353 | 268347.1353
58 | Sugar Mill | Boiler Pannel Room | RCC Roof Brick work Plaster & IPS Flooring | 15' | 345.24 | 32.0736 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 364893.0853 | 98521.133 | 266371.9523 | 266371.9523
59 | Distillery | Rooms | G.I. Shed with M.S. Structure & M.S. Column | 10' | 316.25 | 29.3803 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 285048.0769 | 102617.3077 | 182430.7692 | 182430.7692
60 | Sugar Mill | Gate Office | G.I. Shed with M.S. Structures | 10' | 300 | 27.8707 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 270401.3378 | 97344.4816 | 173056.8562 | 173056.8562
61 | Sugar Mill | Electrical Store | G.I. Shed with M.S. Structures | 12' | 297.25 | 27.6152 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 267922.6589 | 96452.1572 | 171470.5017 | 171470.5017
62 | Distillery | Pannel Room | RCC Roof, Brick work, Plaster & IPS Flooring | 11' | 270.3 | 25.1115 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 285687.061 | 77135.5065 | 208551.5546 | 208551.5546
63 | Sugar Mill | Store Room | RCC Roof Brick work Plaster & IPS Flooring | 10' | 264.5 | 24.5726 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 279556.891 | 75480.3606 | 204076.5304 | 204076.5304
64 | Sugar Mill | Power House Room | RCC Roof Brick work Plaster & IPS Flooring | 10' | 208.12 | 19.3348 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 219967.4108 | 59391.2009 | 160576.2099 | 160576.2099
65 | Sugar Mill | Juice Pump House | RCC Roof Brick work Plaster & IPS Flooring | 10' | 201.25 | 18.6966 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 212706.3301 | 57430.7091 | 155275.621 | 155275.621
66 | Sugar Mill | Pressure Room | G.I. Shed with M.S. Structures | 10' | 180 | 16.7224 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 162240.8027 | 58406.689 | 103834.1137 | 103834.1137
67 | Sugar Mill | Yard Office | Red Stone Roof, Brick work & IPS Flooring | 10' | 175.5 | 16.3043 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 185490.4891 | 50082.4321 | 135408.0571 | 135408.0571
68 | Sugar Mill | Weight Bridge Room | RCC Roof Brick work Plaster & IPS Flooring | 8' | 166.09 | 15.4301 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 175544.8168 | 47397.1005 | 128147.7162 | 128147.7162
69 | Sugar Mill | Shed | G.I. Shed with M.S. Structures | 10' | 146.62 | 13.6213 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 132154.1472 | 47575.493 | 84578.6542 | 84578.6542
70 | Sugar Mill | Security Room | RCC Roof with M.S. Structures | 10' | 136.5 | 12.6812 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 144270.3804 | 38953.0027 | 105317.3777 | 105317.3777
71 | Sugar Mill | Store | G.I. Shed with M.S. Structures | 10' | 101.6 | 9.4389 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 91575.9197 | 32967.3311 | 58608.5886 | 58608.5886
72 | Distillery | URG Tank |  |  | 2133.95 | 198.2488 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 0 | [6 empty] | 0 | 0 | 0 | 0

## Libberheri Land
Sugar | 220416
Distillery | 34726
Total | 255142 | 63.0447 |  |  | 250900 | 61.9965
23.01
2.68
|  | 25.69 | 256900
|  | 1.2105 | [11 empty] | 87578
|  | 0.7187 | [11 empty] | 74441.3
0.1125
0.1945
0.4446
2.6808
[10 empty] | Land Rate (in Rs. per sq. mtr.) |  |  |  | 4000
Khundi | 1 | 0.277 |  |  | Khundi | 10.41 |  | 10.41 | 104100 | 4000 | 416400000 | 47 | 4700000 | 48927000 | 16188000 |  |  | 4700000 | 10000 | 470
| 2 | 0.41 |  |  | Kulchandi | 12.1863 | 1.2105 | 13.3968 | 133968 | 3300 | 442094400 | 44 | 4400000 | 58945920
| 3 | 0.369 |  |  | Dahiyaki | 0.41 | 1.0257 | 1.4357 | 14357 | 3800 | 54556600 | 42 | 4200000 | 6029940
| 4 | 0.164 |  |  | Mundiyaki | 0.4446 |  | 0.4446 | 4446 | 3800 | 16894800 | 42 | 4200000 | 1867320
| 5 | 0.113 |  |  |  | 23.4509 |  | 25.6871 | 256871 |  | 929945800 |  |  | 115770180 | 1500000 | 7500000
| 6 | 0.369
| 7 | 0.226 | [10 empty] | 470 | 380418 | 2278 | 4000 | 9112000
| 8 | 0.184 | [10 empty] | 440 | 356136 | 14400 | 1500 | 21600000
| 9 | 0.42 | [10 empty] | 420 | 339948 | 40 | 1000000 | 40000000
| 10 | 0.348 | [6 empty] | 43561.908 | 5 | 8712.3816 |  | 420 | 339948 |  |  | 70712000
| 11 | 0.113
| 12 | 0.133 | [5 empty] | Land Valuation
| 13 | 0.215 | [5 empty] | acre | Bigha
| 14 | 0.594 | [5 empty] | 63.472 | 317.3598 | 317.36 | 1000000 | 317360000 |  | P&M
| 15 | 0.225 | [11 empty] | 1469285767
| 16 | 0.154 | [8 empty] | 1200000
| 17 | 0.225 | [8 empty] | 1320000 |  |  | 2202332077.6161 |  |  | 10000 | 4700000
| 18 | 0.246 | [14 empty] | 2.471 | 1902090
| 19 | 0.195 | [15 empty] | 380418
| 20 | 0.226 | [10 empty] | Land | 317360000
| 21 | 0.266 |  |  |  |  | 1 | Basic Rate | 700000 | Rs. per Bigha |  |  | Building | 415686310.6161
| 22 | 0.215 |  |  |  |  | 2 | Appreciation'Rate Adopted | 10% |  |  |  | Asthetic | 70712000
| 23 | 0.256 | [5 empty] | (1 x (1+2)) | 800000 | Rs. per Bigha |  |  | P&M | #REF!
| 24 | 0.379 | [11 empty] | #REF!
| 25 | 0.656 | [11 empty] | 217.8 |  |  |  |  | 2550 | 75000000 | 29411.7647
| 26 | 0.174 | [11 empty] | 185.13 |  |  |  |  | 3050 |  | 24590.1639
| 27 | 0.348 | [11 empty] | 152.46 | [6 empty] | 35000 | 40000 | 67920000
| 28 | 0.148 | [16 empty] | 1698 |  | 59430000
| 29 | 0.184
| 30 | 0.144
| 31 | 0.543
| 32 | 0.236
| 33 | 0.133
| 34 | 0.307
| 35 | 0.148
| 36 | 0.164
| 37 | 0.492
| 38 | 0.135
| 39 | 0.092
| 40 | 0.092
| 41 | 0.092
10.41
Kulchandi | 1 | 0.651
| 2 | 0.754
| 3 | 4.876
| 4 | 0.277
| 5 | 0.371
| 6 | 0.371
| 7 | 0.372
| 8 | 0.053
| 9 | 0.372
| 10 | 2.794
| 11 | 0.7163
| 12 | 0.579
12.1863
Dahiyaki | 1 | 0.41 | 23.0063 | 25.6871 | 256871 | 63.472

## Libberheri Sugar Building
MARKET VALUE OF STRUCTURES ¦ M/S. USML ¦ SITUATED AT VILLAGE-LIBBERHERI, TEHSIL-ROORKEE, DISTRICT-HARIDWAR, UTTARAKHAND
[5 empty] | Area | [11 empty] | 2022 |  | 607315796.703 | 200995311.6656 | 406320485.0374 | 406320485.0374
S. No. | Unit | Description | Specification | Height (in mtr) | Area (in sq ft) | Area (in sq mtr) | Year of Construction | Year of Valuation | Total Life Consumed (in yrs.) | Total Economical Life (in yrs.) | Salvage value | Depreciation Rate | Type | CPWD Rate 2021 in Rs./sqm | CPWD Rate 2022 in Rs./sqm | Rate in Rs./sqft | Adjustment | Plinth Area Rate Adopted (in per sq.ft.) | Gross Replacement Value (INR) | Depreciation Factor (INR) | Depreciated Value (INR) | Depreciated Replacement Market Value (INR)
1 | Main Building | Mill House | Steel Structure with RCC & Bricks Work | 20 | 24488.1 | 2275 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 39729690 | 14302688.4 | 25427001.6 | 25427001.6
2 | Main Building | Boiler | Steel Structure with RCC & Bricks Work | 27 | 17071.704 | 1586 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 18464846.4 | 6647344.704 | 11817501.696 | 11817501.696
2 | Main Building | Power House | Steel Structure with RCC & Bricks Work | 20 | 18837 | 1750 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 30561300 | 11002068 | 19559232 | 19559232
3 | Main Building | Evaporation House | Steel Structure with RCC & Bricks Work | 27 | 11302.2 | 1050 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 18336780 | 6601240.8 | 11735539.2 | 11735539.2 | Road
4 | Main Building | Clarification House | Steel Structure with RCC & Bricks Work | 27 | 11625.12 | 1080 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 18860688 | 6789847.68 | 12070840.32 | 12070840.32 | 660
5 | Main Building | Raw Pan House | Steel Structure with RCC & Bricks Work | 30 | 20150.208 | 1872 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 32691859.2 | 11769069.312 | 20922789.888 | 20922789.888 | 800
6 | Main Building | Sugar House | Steel Structure with RCC & Bricks Work | 30 | 8395.92 | 780 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 13621608 | 4903778.88 | 8717829.12 | 8717829.12 | 140
7 | Main Building | Refinery | Steel Structure with RCC & Bricks Work | 25 | 13455 | 1250 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 21829500 | 7858620 | 13970880 | 13970880 | 220
8 | Main Building | Mill House D.C. Panel Room | Brick Wall & RCC | 3 | 1937.52 | 180 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 2662159.5 | 718783.065 | 1943376.435 | 1943376.435 | 1820
9 | Main Building | Fibrizor Panel Room | Brick Wall & RCC | 4 | 490.8384 | 45.6 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 674413.74 | 182091.7098 | 492322.0302 | 492322.0302 | 14400 | 1500 | 21600000
10 | Main Building | Invert Syrup Store | Bricks Wall with RCC | 3.6 | 639.3816 | 59.4 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 878512.635 | 237198.4115 | 641314.2235 | 641314.2235 | 2248 | 4000 | 8992000
11 | Main Building | Chemist Office | Bricks Wall with RCC | 3.6 | 290.628 | 27 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 399323.925 | 107817.4598 | 291506.4653 | 291506.4653 | 40 | 1000000 | 40000000
12 | Main Building | Engineering Office | Bricks Wall with RCC | 3.6 | 139.5014 | 12.96 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 191675.484 | 51752.3807 | 139923.1033 | 139923.1033 |  |  | 70592000
13 | Main Building | HOD Engineering Office | Bricks Wall with RCC | 3 | 465.0048 | 43.2 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 638918.28 | 172507.9356 | 466410.3444 | 466410.3444
14 | Main Building | Instrument Office | Bricks Wall with RCC | 4 | 777.1608 | 72.2 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 1067821.755 | 288311.8739 | 779509.8812 | 779509.8812 | 145900
15 | Main Building | Boiler Control / VFD Room | Bricks Wall with RCC | 4 | 777.1608 | 72.2 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 1067821.755 | 288311.8739 | 779509.8812 | 779509.8812 | 36.0514
16 | Main Building | Boiling House Panel Room | Bricks Wall with RCC | 3 | 1162.512 | 108 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 1597295.7 | 431269.839 | 1166025.861 | 1166025.861
17 | Main Building | Branded Unit Scrap | Steel Structure with RCC & Bricks Work | 3 | 726.57 | 67.5 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 654885 | 235758.6 | 419126.4 | 419126.4
18 | Main Building | Branded Dmerera Room | Steel Structure with RCC & Bricks Work | 3 | 1307.826 | 121.5 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 1414551.6 | 509238.576 | 905313.024 | 905313.024
19 | Main Building | Store | Steel Structure with RCC | 6 | 3771.7056 | 350.4 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 55% | 991.4716 | 3739538.88 | 1346233.9968 | 2393304.8832 | 2393304.8832
20 | Main Building | Bagasse Yard | Steel Structure with RCC | 16 | 25801.308 | 2397 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 65% | 1171.7391 | 30232402.2 | 10883664.792 | 19348737.408 | 19348737.408
21 | Main Building | Kisan Shed | Brick Wall with G.I. Sheet Roof. | 3 | 1307.826 | 121.5 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 55% | 991.4716 | 1296672.3 | 466802.028 | 829870.272 | 829870.272
22 | Factory Building | Token Room No. 1 | Brick Wall with RCC Roof Slab | 2.5 | 139.932 | 13 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 60% | 1268.311 | 177477.3 | 47918.871 | 129558.429 | 129558.429
23 | Factory Building | Token Room No. 1 | Brick Wall with G.I. Sheet Roof. | 2.5 | 139.932 | 13 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 151351.2 | 54486.432 | 96864.768 | 96864.768
24 | Factory Building | Cane Enquire Office | Brick Wall with RCC Roof Slab | 2.5 | 215.28 | 20 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 295795.5 | 79864.785 | 215930.715 | 215930.715
25 | Factory Building | Cane Weighing Bridge Room Trolley | Brick Wall with RCC Roof Slab | 3 | 150.696 | 14 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 207056.85 | 55905.3495 | 151151.5005 | 151151.5005
26 | Factory Building | Cane Weighing Bridge Room Center | Brick Wall with RCC Roof Slab | 3 | 150.696 | 14 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 207056.85 | 55905.3495 | 151151.5005 | 151151.5005
27 | Factory Building | Cane Weighing Bridge Room Cart | Brick Wall with RCC Roof Slab | 3 | 150.696 | 14 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 207056.85 | 55905.3495 | 151151.5005 | 151151.5005
28 | Factory Building | Cane Supervisor Office | Brick Wall with RCC Roof Slab | 3 | 150.696 | 14 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 207056.85 | 55905.3495 | 151151.5005 | 151151.5005
29 | Factory Building | Lime Store | Brick Wall with RCC Roof Slab | 4 | 686.7432 | 63.8 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 943587.645 | 254768.6642 | 688818.9808 | 688818.9808
30 | Factory Building | Cement Store | Brick Wall with RCC Roof Slab | 4 | 686.7432 | 63.8 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 943587.645 | 254768.6642 | 688818.9808 | 688818.9808
31 | Sugar Godown | Sugar Godown No.-1 | Steel Structure with RCC & Bricks Work | 17 | 43594.2 | 4050 | 2004 | 2022 | 18 | 50 | 10% | 0.018 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 70727580 | 22915735.92 | 47811844.08 | 47811844.08
32 | Sugar Godown | Sugar Godown No.-2 | Steel Structure with RCC & Bricks Work | 17 | 53820 | 5000 | 2004 | 2022 | 18 | 50 | 10% | 0.018 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 87318000 | 28291032 | 59026968 | 59026968
33 | Sugar Godown | Sugar Godown No.-3 | Steel Structure with RCC & Bricks Work | 17 | 53820 | 5000 | 2004 | 2022 | 18 | 50 | 10% | 0.018 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 87318000 | 28291032 | 59026968 | 59026968
34 | Sugar Godown | Sugar Godown No.-4 | Steel Structure with RCC & Bricks Work | 11 | 13993.2 | 1300 | 2004 | 2022 | 18 | 50 | 10% | 0.018 | Shed | 17640 | 19404 | 1802.6756 | 90% | 1622.408 | 22702680 | 7355668.32 | 15347011.68 | 15347011.68
35 | Office Block | Techanical Block | Bricks Wall with RCC | 4 | 3659.76 | 340 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 70% | 1479.6962 | 5415333 | 1462139.91 | 3953193.09 | 3953193.09
36 | Office Block | Lab. | Bricks Wall with RCC | 3 | 1130.22 | 105 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 70% | 1479.6962 | 1672382.25 | 451543.2075 | 1220839.0425 | 1220839.0425
37 | Office Block | Micro Lab. | Bricks Wall with RCC | 3 | 705.2573 | 65.52 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 70% | 1479.6962 | 1043566.524 | 281762.9615 | 761803.5625 | 761803.5625
38 | Office Block | Toilet Tech. Block | Bricks Wall with RCC | 3 | 188.37 | 17.5 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 258821.0625 | 69881.6869 | 188939.3756 | 188939.3756
39 | Office Block | Ttime Office | Bricks Wall with RCC | 3 | 511.29 | 47.5 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 702514.3125 | 189678.8644 | 512835.4481 | 512835.4481
40 | Office Block | Toilet Time Office | Bricks Wall with RCC | 2 | 86.112 | 8 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 118318.2 | 31945.914 | 86372.286 | 86372.286
41 | Office Block | Account Office | Bricks Wall with RCC | 3.1 | 930.0096 | 86.4 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 70% | 1479.6962 | 1376131.68 | 371555.5536 | 1004576.1264 | 1004576.1264
42 | Office Block | Dispensary | Bricks Wall with RCC | 3 | 116.2512 | 10.8 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 159729.57 | 43126.9839 | 116602.5861 | 116602.5861
43 | Office Block | Cane Office | Bricks Wall with Cement Sheet | 3 | 2970.864 | 276 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 3213302.4 | 1156788.864 | 2056513.536 | 2056513.536
44 | Office Block | Toilet Cane Office | Bricks Wall with Cement Sheet | 3 | 172.224 | 16 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 186278.4 | 67060.224 | 119218.176 | 119218.176
45 | Office Block | Toilet Branded Unit | Bricks Wall with RCC | 3 | 193.752 | 18 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 266215.95 | 71878.3065 | 194337.6435 | 194337.6435
46 | Factory Building | Sales Office | Bricks Wall with Cement Sheet | 3 | 455.3172 | 42.3 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 492473.52 | 177290.4672 | 315183.0528 | 315183.0528
47 | Factory Building | Secuirty Office | Bricks Wall with Cement Sheet | 3 | 102.258 | 9.5 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 110602.8 | 39817.008 | 70785.792 | 70785.792
48 | Factory Building | Toilet Kisan | Bricks Wall with Cement Sheet | 3 | 80.73 | 7.5 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 87318 | 31434.48 | 55883.52 | 55883.52
49 | Factory Building | Dispensary | Bricks Wall with RCC | 3 | 116.2512 | 10.8 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 159729.57 | 43126.9839 | 116602.5861 | 116602.5861
50 | Factory Building | Canteen | Bricks Wall with Cement Sheet | 3.2 | 1278.7632 | 118.8 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 1383117.12 | 497922.1632 | 885194.9568 | 885194.9568
51 | Guest House | Guest House (VIP) | Bricks Wall with RCC & G.I. sheet | 3 | 2368.08 | 220 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 70% | 1261.8729 | 2988216 | 1075757.76 | 1912458.24 | 1912458.24
52 | Guest House | Guest House Officer | Bricks Wall with RCC & G.I. sheet | 3 | 2798.64 | 260 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 70% | 1261.8729 | 3531528 | 1271350.08 | 2260177.92 | 2260177.92
53 | Guest House | Officer Colony | Bricks Wall with RCC | 3 | 19375.2 | 1800 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 70% | 1479.6962 | 28669410 | 7740740.7 | 20928669.3 | 20928669.3
54 | Guest House | Guest House No.-2 | Bricks Wall with Cement sheet | 3 | 5812.56 | 540 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 6286896 | 2263282.56 | 4023613.44 | 4023613.44
55 | Guest House | Cow Sheed | Bricks Wall with Cement sheet | 3 | 12916.8 | 1200 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 13970880 | 5029516.8 | 8941363.2 | 8941363.2
56 | Guest House | Labour Colony ( 35 Room) | Bricks Wall with GI Sheet | 3 | 5166.72 | 480 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 55% | 991.4716 | 5122656 | 1844156.16 | 3278499.84 | 3278499.84
57 | ETP Building | Panel Room | Bricks Wall with RCC | 3 | 516.672 | 48 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 65% | 1374.0036 | 709909.2 | 191675.484 | 518233.716 | 518233.716
58 | ETP Building | Lagoon | Brick Work |  | 48438 | 4500 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 35% | 739.8481 | 35836762.5 | 9675925.875 | 26160836.625 | 26160836.625
59 | Sub. Station Building | Switch Yard | Steel Structure Bracading with Brick Work |  | 6867.432 | 638 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | Shed | 17640 | 19404 | 1802.6756 | 60% | 1081.6054 | 7427851.2 | 2674026.432 | 4753824.768 | 4753824.768
61 | Sub. Station Building | HT. Cable Trenches | Brick Work | 1.1 | 1291.68 | 120 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | RCC | 20685 | 22753.5 | 2113.8517 | 35% | 739.8481 | 955647 | 258024.69 | 697622.31 | 697622.31
[5 empty] | 425637.4075 | 41886.68 | [12 empty] | 607315796.703 | 200995311.6656 | 406320485.0374 | 406320485.0374
|  | Summary | [18 empty] | 607315796.703
| 1 | Sugar | 39542.68 | 425637.4075 | 425637.4075 |  |  |  | 607315796.703 | [9 empty] | 406320485.0374 |  | 9450402.885
| 2 | Distillery | 762.8675 | 8211.5058 | 8211.5058 |  |  |  | 9450402.885 | [9 empty] | 9365825.5787 |  | 70592000
|  | Total | 40305.5475 | 433848.9133 | 433848.9133 |  |  |  | 616766199.588 | [9 empty] | 415686310.6161 |  | 687358199.588
70592000
486278310.6161
254000000
415686310.6161
|  |  | 41886.68 | 450868.2235
|  |  | 762.8675 | 8211.5058
|  |  | 42649.5475 | 459079.7293

## Libberhedi Dist.- Building
S. No. | Unit | Description | Specification | Height (in mtr) | Area (in sq mtr) | Area (in sq ft) | Year of Construction | Year of Valuation | Total Life Consumed (in yrs.) | Total Economical Life (in yrs.) | Salvage value | Depreciation Rate | CPWD Rate 2021 in Rs./sqm | CPWD Rate 2022 in Rs./sqm | Adjustment | Plinth Area Rate Adopted (in per sq.ft.) | Gross Replacement Value (INR) | Depreciation Factor (INR) | Depreciated Replacement Market Value (INR)
1 | Distillery | Boiler | Steel Structure with RCC & Brick Work | 40 | 1602 | 17243.928 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 15542604 | 310852.08 | 15231751.92
2 |  | CPU | RCC & Steel Structure | 8 | 1261.5 | 13578.786 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 12239073 | 244781.46 | 11994291.54
3 |  | Potash Plant | RCC & Steel Structure | 8 | 702 | 7556.328 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 6810804 | 136216.08 | 6674587.92
4 |  | Fermentation Section | RCC & Brickwork | 11 | 620 | 6673.68 | 2021 | 2022 | 1 | 60 | 10% | 0.015 | 17640 | 19404 | 50% | 901.3378 | 6015240 | 90228.6 | 5925011.4
5 |  | Distillation Sectiom | Steel Structure with RCC & Brick Work | 30 | 531.975 | 5726.1789 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 5161221.45 | 103224.429 | 5057997.021
6 |  | Turbine | Steel Structure with RCC & Brick Work | 23 | 427.2 | 4598.3808 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 4144694.4 | 82893.888 | 4061800.512
7 |  | DM plant | RCC & Steel Structure | 7.2 | 353.08 | 3800.5531 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 3425582.16 | 68511.6432 | 3357070.5168
8 |  | Potash Storage | RCC & Steel Structure | 8 | 276.25 | 2973.555 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 2680177.5 | 53603.55 | 2626573.95
1 |  | Main Admin Building | RCC & Brickwork | 3.5 | 264 | 2841.696 | 2022 | 2022 | 0 | 60 | 10% | 0.015 | 17640 | 19404 | 90% | 1622.408 | 4610390.4 | 0 | 4610390.4
10 |  | Receiver Room | Steel Structure with RCC & Brick Work | 9 | 262.5 | 2825.55 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 2546775 | 50935.5 | 2495839.5
11 |  | CO2 Plant Area | RCC & Brickwork | 9 | 236.6 | 2546.7624 | 2021 | 2022 | 1 | 60 | 10% | 0.015 | 17640 | 19404 | 50% | 901.3378 | 2295493.2 | 34432.398 | 2261060.802
12 |  | Water Reservior | RCC & Steel Structure | 2.12 | 210 | 2260.44 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 2037420 | 40748.4 | 1996671.6
2 |  | Excise Office | RCC & Brickwork | 3.2 | 133.2 | 1433.7648 | 2021 | 2022 | 1 | 60 | 10% | 0.015 | 17640 | 19404 | 50% | 901.3378 | 1292306.4 | 19384.596 | 1272921.804
3 |  | LT PCC Room | Steel Structure with RCC & Brick Work | 3.5 | 90 | 968.76 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 873180 | 17463.6 | 855716.4
4 |  | Boiler Control Room | Steel Structure with RCC & Brick Work | 4.9 | 81.9 | 881.5716 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 794593.8 | 15891.876 | 778701.924
5 |  | Turbine Control Room | RCC & Brickwork | 4.9 | 81.9 | 881.5716 | 2021 | 2022 | 1 | 60 | 10% | 0.015 | 17640 | 19404 | 50% | 901.3378 | 794593.8 | 11918.907 | 782674.893
6 |  | Car Parking | Steel Structure with RCC & Brick Work | 2.8 | 75 | 807.3 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 727650 | 14553 | 713097
18 |  | Ethanol Loading Area | Steel Structure | 7.25 | 61.44 | 661.3402 | 2021 | 2022 | 1 | 45 | 10% | 0.02 | 17640 | 19404 | 50% | 901.3378 | 596090.88 | 11921.8176 | 584169.0624
7 |  | Weighment Bridge Room | RCC & Brickwork | 2.7 | 13.505 | 145.3678 | 2021 | 2022 | 1 | 60 | 10% | 0.015 | 17640 | 19404 | 50% | 901.3378 | 131025.51 | 1965.3827 | 129060.1273
8 |  | Time Office | RCC & Brickwork | 3 | 11.8125 | 127.1497 | 2021 | 2022 | 1 | 60 | 10% | 0.015 | 17640 | 19404 | 50% | 901.3378 | 114604.875 | 1719.0731 | 112885.8019
9 |  | Security Room | RCC & Brickwork | 3 | 11.55 | 124.3242 | 2021 | 2022 | 1 | 60 | 10% | 0.015 | 17640 | 19404 | 50% | 901.3378 | 112058.1 | 1680.8715 | 110377.2285
[5 empty] | 762.8675 | 8211.5058 | [10 empty] | 9450402.885 | 84577.3063 | 9365825.5787
253888000
415686310.6161
[17 empty] | 607315796.703 |  | 406320485.0374 | 70592000
[17 empty] | 9450402.885 |  | 9365825.5787 | 1560945051
[17 empty] | 616766199.588 |  | 415686310.6161 | 2301111361.6161
|  |  | 0 |  | 41886.68 | 425637.4075 | [13 empty] | 227
|  |  | 0 |  | 762.8675 | 8211.5058 | [12 empty] | 70592000 | 192.95
[5 empty] | 42649.5475 | 433848.9133 | [12 empty] | 486278310.6161 | 170.25
|  |  |  | 670 | 900
|  |  | = | 62.2445 | 83.612
[5 empty] | 900 | 2800 |  |  | 2520000
2142000
1890000

## Sheet2
as | df | gh | jg
Sugar Godown No.-2 | Steel Structure with RCC & Bricks Work | 17 | 53820
Sugar Godown No.-3 | Steel Structure with RCC & Bricks Work | 17 | 53820
Lagoon | Brick Work |  | 48438
Sugar Godown No.-1 | Steel Structure with RCC & Bricks Work | 17 | 43594.2
Bagasse Yard | Steel Structure with RCC | 16 | 25801.308
Mill House | Steel Structure with RCC & Bricks Work | 20 | 24488.1
Raw Pan House | Steel Structure with RCC & Bricks Work | 30 | 20150.208
Officer Colony | Bricks Wall with RCC | 3 | 19375.2
Power House | Steel Structure with RCC & Bricks Work | 20 | 18837
Boiler | Steel Structure with RCC & Bricks Work | 27 | 17071.704
Sugar Godown No.-4 | Steel Structure with RCC & Bricks Work | 11 | 13993.2
Refinery | Steel Structure with RCC & Bricks Work | 25 | 13455
Cow Sheed | Bricks Wall with Cement sheet | 3 | 12916.8
Clarification House | Steel Structure with RCC & Bricks Work | 27 | 11625.12
Evaporation House | Steel Structure with RCC & Bricks Work | 27 | 11302.2
Sugar House | Steel Structure with RCC & Bricks Work | 30 | 8395.92
Switch Yard | Steel Structure Bracading with Brick Work |  | 6867.432
Guest House No.-2 | Bricks Wall with Cement sheet | 3 | 5812.56
Labour Colony ( 35 Room) | Bricks Wall with GI Sheet | 3 | 5166.72
Store | Steel Structure with RCC | 6 | 3771.7056
Techanical Block | Bricks Wall with RCC | 4 | 3659.76
Cane Office | Bricks Wall with Cement Sheet | 3 | 2970.864
Guest House Officer | Bricks Wall with RCC & G.I. sheet | 3 | 2798.64
Guest House (VIP) | Bricks Wall with RCC & G.I. sheet | 3 | 2368.08
Mill House D.C. Panel Room | Brick Wall & RCC | 3 | 1937.52
Branded Dmerera Room | Steel Structure with RCC & Bricks Work | 3 | 1307.826
Kisan Shed | Brick Wall with G.I. Sheet Roof. | 3 | 1307.826
HT. Cable Trenches | Brick Work | 1.1 | 1291.68
Canteen | Bricks Wall with Cement Sheet | 3.2 | 1278.7632
Boiling House Panel Room | Bricks Wall with RCC | 3 | 1162.512
Lab. | Bricks Wall with RCC | 3 | 1130.22
Account Office | Bricks Wall with RCC | 3.1 | 930.0096
Instrument Office | Bricks Wall with RCC | 4 | 777.1608
Boiler Control / VFD Room | Bricks Wall with RCC | 4 | 777.1608
Branded Unit Scrap | Steel Structure with RCC & Bricks Work | 3 | 726.57
Micro Lab. | Bricks Wall with RCC | 3 | 705.2573
Lime Store | Brick Wall with RCC Roof Slab | 4 | 686.7432
Cement Store | Brick Wall with RCC Roof Slab | 4 | 686.7432
Invert Syrup Store | Bricks Wall with RCC | 3.6 | 639.3816
Panel Room | Bricks Wall with RCC | 3 | 516.672
Ttime Office | Bricks Wall with RCC | 3 | 511.29
Fibrizor Panel Room | Brick Wall & RCC | 4 | 490.8384
HOD Engineering Office | Bricks Wall with RCC | 3 | 465.0048
Sales Office | Bricks Wall with Cement Sheet | 3 | 455.3172
Chemist Office | Bricks Wall with RCC | 3.6 | 290.628
Cane Enquire Office | Brick Wall with RCC Roof Slab | 2.5 | 215.28
Toilet Branded Unit | Bricks Wall with RCC | 3 | 193.752
Toilet Tech. Block | Bricks Wall with RCC | 3 | 188.37
Toilet Cane Office | Bricks Wall with Cement Sheet | 3 | 172.224
Cane Weighing Bridge Room Trolley | Brick Wall with RCC Roof Slab | 3 | 150.696
Cane Weighing Bridge Room Center | Brick Wall with RCC Roof Slab | 3 | 150.696
Cane Weighing Bridge Room Cart | Brick Wall with RCC Roof Slab | 3 | 150.696
Cane Supervisor Office | Brick Wall with RCC Roof Slab | 3 | 150.696
Token Room No. 1 | Brick Wall with RCC Roof Slab | 2.5 | 139.932
Token Room No. 1 | Brick Wall with G.I. Sheet Roof. | 2.5 | 139.932
Engineering Office | Bricks Wall with RCC | 3.6 | 139.5014
Dispensary | Bricks Wall with RCC | 3 | 116.2512
Dispensary | Bricks Wall with RCC | 3 | 116.2512
Secuirty Office | Bricks Wall with Cement Sheet | 3 | 102.258
Toilet Time Office | Bricks Wall with RCC | 2 | 86.112
Toilet Kisan | Bricks Wall with Cement Sheet | 3 | 80.73

## PLF Libberhedi
Date | Total Gen | Cap Gen (MW) | PLF
2022-04-01 | 400000 | 23 | 72.46
2022-04-02 | 404000 | 23 | 73.19
2022-04-03 | 388400 | 23 | 70.36
2022-04-04 | 388900 | 23 | 70.45
2022-04-05 | 289400 | 23 | 54.06
2022-04-06 | 347300 | 23 | 62.92
2022-04-07 | 389300 | 23 | 70.53
2022-04-08 | 384200 | 23 | 69.6
2022-04-09 | 386000 | 23 | 69.93
2022-04-10 | 396000 | 23 | 71.74
2022-04-11 | 385000 | 23 | 69.75
2022-04-12 | 384000 | 23 | 69.57
2022-04-13 | 386000 | 23 | 69.93
2022-04-14 | 348000 | 23 | 63.04
2022-04-15 | 267000 | 23 | 48.37
|  | Average | 67.06

## Sheet1
MARKET VALUE OF STRUCTURES ¦ M/S. JSW ENERGY LIMITED ¦ SITUATED AT VILLAGE- VILLAGE TORANAGALLU, TALUK-SANDURU, DISTRICT-BELLARY, KARNATAKA
S. No. | Description | Built-up Area | Type of structure roofing and flooring | Total Life Consumed | Plinth Area Rate | Gross Replacement Value | Depreciation Factor | Depreciated Replacement Market Value

## Khaikheri
[5 empty] | Area | [12 empty] | 2022 |  | 324274179.3984 | 108347373.0579 | 215926806.3405
S. No. | Unit | Description | Specification | Height (in mtr) | Area (in sq ft) | Area (in sq mtr) | Year of Construction | Year of Valuation | Total Life Consumed (in yrs.) | Total Economical Life (in yrs.) | Salvage value | Depreciation Rate | Plinth Area Rate (in per sq.ft.) | Type | CPWD Rate 2021 in Rs./sqm | CPWD Rate 2022 in Rs./sqm | Rate in Rs./sqft |  | Rate Adopted | Gross Replacement Value (INR) | Depreciation Factor (INR) | Depreciated Value (INR) | Depreciated Replacement Market Value (INR)
1 | Main Building | Mill House | Steel Structure with RCC & Brick Work | 20 | 17437.68 | 1620 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 15717240 | 5658206.4 | 10059033.6 | 10059033.6
2 | Main Building | Evaporation House | Steel Structure with RCC & Brick Work | 20 | 10898.55 | 1012.5 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 9823275 | 3536379 | 6286896 | 6286896
3 | Main Building | Raw Pan House | Steel Structure with RCC & Brick Work | 20 | 29208.114 | 2713.5 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 26326377 | 9477495.72 | 16848881.28 | 16848881.28
4 | Main Building | Sugar House | Steel Structure with RCC & Brick Work | 20 | 13078.26 | 1215 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 11787930 | 4243654.8 | 7544275.2 | 7544275.2
5 | Main Building | Power House | Steel Structure with RCC & Brick Work | 20 | 9687.6 | 900 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 8731800 | 3143448 | 5588352 | 5588352
6 | Main Building | Boiler | Steel Structure with RCC & Brick Work | 35 | 6393.816 | 594 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 5762988 | 2074675.68 | 3688312.32 | 3688312.32
7 | Main Building | Refinery | Steel Structure with RCC & Brick Work | 10 | 6781.32 | 630 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 6112260 | 2200413.6 | 3911846.4 | 3911846.4
8 | Main Building | Clarification House | Steel Structure with RCC & Brick Work | 8 | 14834.1375 | 1378.125 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 13370568.75 | 4813404.75 | 8557164 | 8557164
9 | Main Building | Brown Sugar Packaging | Steel Structure with RCC & Brick Work | 5 | 4520.88 | 420 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 4074840 | 1466942.4 | 2607897.6 | 2607897.6
10 | Main Building | 1 Kg Branded Packaging | Steel Structure with RCC & Brick Work | 4.5 | 1243.242 | 115.5 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 1120581 | 403409.16 | 717171.84 | 717171.84
11 | Main Building | 1 Kg Branded Store | Steel Structure with RCC & Brick Work | 6 | 355.212 | 33 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 320166 | 115259.76 | 204906.24 | 204906.24
12 | Main Building | Workshop | Steel Structure with RCC & Brick Work | 5 | 753.48 | 70 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 679140 | 244490.4 | 434649.6 | 434649.6
13 | Main Building | Store | Steel Structure with RCC & Brick Work | 5 | 4520.88 | 420 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 4074840 | 1466942.4 | 2607897.6 | 2607897.6
14 | Main Building | Power House Panel Room | RCC & Brick Work | 5 | 3229.2 | 300 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 3413025 | 921516.75 | 2491508.25 | 2491508.25
15 | Main Building | Mill House Panel Room | RCC & Brick Work | 5 | 775.008 | 72 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 819126 | 221164.02 | 597961.98 | 597961.98
16 | Main Building | Clarification Panel Room | RCC & Brick Work | 5 | 1937.52 | 180 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 2047815 | 552910.05 | 1494904.95 | 1494904.95
17 | Main Building | Centrifugal Panel Room | RCC & Brick Work | 4 | 2389.608 | 222 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 2525638.5 | 681922.395 | 1843716.105 | 1843716.105
18 | Main Building | Refinery & Drier house panel room | RCC & Brick Work | 4 | 645.84 | 60 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 682605 | 184303.35 | 498301.65 | 498301.65
19 | Main Building | VFD Room | Brick Work with Steel Structure | 4 | 968.76 | 90 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 873180 | 314344.8 | 558835.2 | 558835.2
20 | Main Building | Instrumentation Work Shop | Brick Work with Steel Structure | 4 | 968.76 | 90 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 873180 | 314344.8 | 558835.2 | 558835.2
21 | Main Building | Production Office & Lab | Brick Work with Steel Structure | 4 | 1388.556 | 129 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 1251558 | 450560.88 | 800997.12 | 800997.12
22 | Main Building | Engg. Office Block | RCC & Brick Work | 4 | 1291.68 | 120 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1365210 | 368606.7 | 996603.3 | 996603.3
23 | Main Building | Cane Weighing Bridge Room Trolley | Brick Work with Steel Structure | 4 | 125.9388 | 11.7 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 113513.4 | 40864.824 | 72648.576 | 72648.576
24 | Main Building | Cane Weighing Bridge Room Center | Brick Work with Steel Structure | 4 | 125.9388 | 11.7 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 113513.4 | 40864.824 | 72648.576 | 72648.576
25 | Main Building | Cane Weighing Bridge Room Cart | Brick Work with Steel Structure | 4 | 125.9388 | 11.7 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 113513.4 | 40864.824 | 72648.576 | 72648.576
26 | Main Building | Sales Weighing Bridge | RCC & Brick Work | 3 | 258.336 | 24 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 273042 | 73721.34 | 199320.66 | 199320.66
27 | Main Building | Supervisor Room in Yard | Brick Work with Steel Structure | 4 | 258.336 | 24 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 232848 | 83825.28 | 149022.72 | 149022.72
28 | Main Building | Token Room No.1 | Brick Work with Steel Structure | 4 | 129.168 | 12 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 116424 | 41912.64 | 74511.36 | 74511.36
29 | Main Building | Token Room No.2 | Brick Work with Steel Structure | 4 | 129.168 | 12 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 116424 | 41912.64 | 74511.36 | 74511.36
30 | Main Building | Lime Store | Brick Work with Steel Structure | 6 | 770.5905 | 71.5896 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 694562.2992 | 250042.4277 | 444519.8715 | 444519.8715
31 | Main Building | Brown Sugar Store | Brick Work with Steel Structure | 6 | 770.5905 | 71.5896 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 694562.2992 | 250042.4277 | 444519.8715 | 444519.8715
32 | Main Building | Kissan Shed | Brick Work with Steel Structure | 7 | 1485.432 | 138 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 1338876 | 481995.36 | 856880.64 | 856880.64
33 | Godown | Godown No. 1 | Steel Structure with RCC & Brick Work | 17.5 | 58125.6 | 5400 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 52390800 | 18860688 | 33530112 | 33530112
34 | Godown | Godown No. 2 | Steel Structure with RCC & Brick Work | 17.5 | 58125.6 | 5400 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 52390800 | 18860688 | 33530112 | 33530112
35 | Office Block | V.P. Office | RCC & Brick Work | 4 | 16199.82 | 1505 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 17122008.75 | 4622942.3625 | 12499066.3875 | 12499066.3875
36 | Office Block | Time Office | Brick Work with Steel Structure | 3 | 1291.68 | 120 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 1164240 | 419126.4 | 745113.6 | 745113.6
37 | Office Block | Account Office | RCC & Brick Work | 7 | 258.336 | 24 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 273042 | 73721.34 | 199320.66 | 199320.66
38 | Office Block | Cane Office | Brick Work with Stone | 3 | 1076.4 | 100 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1137675 | 307172.25 | 830502.75 | 830502.75
39 | Office Block | Cane Account | Brick Work with Steel Structure | 3 | 322.92 | 30 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 291060 | 104781.6 | 186278.4 | 186278.4
40 | Office Block | Sales Office | RCC & Brick Work | 4 | 3355.677 | 311.75 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 3546701.8125 | 957609.4894 | 2589092.3231 | 2589092.3231
41 | Office Block | Security Office | RCC & Brick Work | 4 | 1808.352 | 168 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 1911294 | 516049.38 | 1395244.62 | 1395244.62
42 | Office Block | Security Check Post (Main Gate) | RCC & Brick Work | 4 | 129.168 | 12 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 136521 | 36860.67 | 99660.33 | 99660.33
43 | Office Block | Security Check Post (Plant Gate) | RCC & Brick Work | 4 | 129.168 | 12 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 136521 | 36860.67 | 99660.33 | 99660.33
44 | Office Block | Dispensary | Steel Structure with Brick Work & Stone | 3 | 215.28 | 20 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 194040 | 69854.4 | 124185.6 | 124185.6
45 | Office Block | Toilet Block | RCC & Brick Work | 3 | 251.8776 | 23.4 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 266215.95 | 71878.3065 | 194337.6435 | 194337.6435
46 | Office Block | Toilet Time Office | Brick Work | 2 | 193.752 | 18 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 204781.5 | 55291.005 | 149490.495 | 149490.495
47 | Office Block | Canteen | Brick Work with Steel Structure | 3 | 440.7858 | 40.95 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 397296.9 | 143026.884 | 254270.016 | 254270.016
48 | Guest House | Guest House (VIP) 4 Blocks | Steel Structure with Brick Work | 4 | 20004.894 | 1858.5 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 21143689.875 | 5708796.2663 | 15434893.6088 | 15434893.6088
49 | Guest House | Guest House General(Officers) 16 Room | Steel Structure with Brick Work & Stone | 3 | 4650.048 | 432 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 4914756 | 1326984.12 | 3587771.88 | 3587771.88
50 | Guest House | Cow Shed | Steel Structure with Brick Work | 5 | 3431.025 | 318.75 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 3626339.0625 | 979111.5469 | 2647227.5156 | 2647227.5156
51 | ETP Building | Lagoon | Brick Work |  | 21528 | 2000 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 22753500 | 6143445 | 16610055 | 16610055
52 | ETP Building | Panel Room | Brick Work | 3 | 150.696 | 14 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 159274.5 | 43004.115 | 116270.385 | 116270.385
53 | Sub Station Building | Switch Yard | Steel Structure Barcading with Brick Work |  | 10764 | 1000 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 9702000 | 3492720 | 6209280 | 6209280
54 | Sub Station Building | Meter Room | Steel Structure with Brick Work | 3 | 80.73 | 7.5 | 2004 | 2022 | 18 | 45 | 10% | 0.02 | 901.3378 | Shed | 17640 | 19404 | 1802.6756 | 50% | 901.3378 | 72765 | 26195.4 | 46569.6 | 46569.6
55 | Sub Station Building | HT Cable Trenches | Brick Work | 1.1 | 4520.88 | 420 | 2004 | 2022 | 18 | 60 | 10% | 0.015 | 1056.9259 | RCC | 20685 | 22753.5 | 2113.8517 | 50% | 1056.9259 | 4778235 | 1290123.45 | 3488111.55 | 3488111.55

## Shermau
Area
S. No. | Unit | Description | Specification | H (Mtr) | Sqft | sqm | YOC | Type | CPWD Rate 2021 in Rs./sqm | CPWD Rate 2022 in Rs./sqm | Rate in Rs./sqft | Rate Adopted | GCRC | Depre | DRC/FV
| Roof top area of building | Mill House + Boiling house |  |  |  | 8100
| Roof top area of building | Sugar godown |  |  |  | 150DC
| Roof top area of building | Boiler + Power house |  |  |  | 7409
| Roof top area of building | Work shop |  |  |  | 420
| Roof top area of building | Store |  |  |  | 420
| Roof top area of building | Gaust house |  |  |  | 3760
| Roof top area of building | Hut ment |  |  |  | 1170
| Roof top area of building | Cow sha,de + new rooms |  |  |  | 3360
| Roof top area of building | Time office + secur. |  |  |  | 80
| Roof top area of building | Canteen + cycle stand |  |  |  | 245
| Roof top area of building | Cane office |  |  |  | 880
| Roof top area of building | Sugar lab + soil lab |  |  |  | 180
| Roof top area of building | Engg. Office + cane account |  |  |  | 140
| Roof top area of building | Elec. Panels |  |  |  | 180
| Open Area | HOC |  |  |  | 1134
| Open Area | Donga |  |  |  | 2604
| Open Area | Out cane yard |  |  |  | 25000
| Open Area | Inside cane yard |  |  |  | 14260
| Open Area | ETP |  |  |  | 10921
| Open Area | Molasses tank |  |  |  | 2905
| Open Area | Switch yard |  |  |  | 1122
| Open Area | Press mud + temp. godown |  |  |  | 26550
| Open Area | lagoon |  |  |  | 8100
| Open Area | kaccha lagoon |  |  |  | 15000
| Open Area | Cooling tower |  |  |  | 1044
| Open Area | .ime + clearification |  |  |  | 1764
| Open Area | Bagasse yard |  |  |  | 6000
| Open Area | Back side of sugar godown |  |  |  | 4000
| Road | main road to cow shade |  |  |  | 27152
| Factory farm | Factory farm |  |  |  | 74900
| Garden & green belt | Garden & green belt |  |  |  | 30400