## Sheet1
EQUIPMENT AND MACHINERY LIST
| Item description | Capacity | Make | Model No. | Equipment Serial No.
1 | Electrical
| Transformer 1 | 1250 KVA | France- Transfo | Cast resin type | 755822-02
| Transformer 2 | 1250 KVA | France- Transfo | Cast resin type | 755822-01
| Transformer 3 | 1250 KVA | France- Transfo | Cast resin type | 755822-03
| Transformer 4 | 1500 KVA | Schneider | Dry type cast resin | MC101251
| DG set1 | 2125 KVA | MTU | 16V 4000G23 | 527107542
| DG set 1 Alternator | 2200 KVA | STAMFORD | P1734G1 | N10K21514
| DG set2 | 1500 KVA | Detroit | NA | 16E-0013616
| Alternator for above DG2 | 1500 KVA | Marathon | NA | 164326-2
| DG set3 | 1500 KVA | Detroit | NA | 16E-0013195
| Alternator for above DG3 | 1501 KVA | Leroy Somar | NA | I- 800-544-2444
| HT Panel incomer VCB | 11Kv ,1250A | Schneider | Evolis | HT-1100
| HT panel outgoing SF 6 Breaker 1 | 200A | Merlin Gerin | Ringmaster LS10 | RDO3A154C
| HT panel outgoing SF 6 Breaker 2 | 200A | Merlin Gerin | Ringmaster LS10 | SR3A03365
| HT panel outgoing SF 6 Breaker 3 | 200A | Merlin Gerin | Ringmaster LS10 | SR3A03438
| HT panel outgoing SF 6 Breaker 4 | 630A | Schneider | Ringmaster LEC | 100967577
| LT Panels of Hotel & Apartment with DG PLC synchronization included breakers |  | Tricolite | Custom made | S0/10-11/0363 ( Job number )
Air circuit Breakers details below
| LT panel ACB Mansion Light | 800A | Schneider | NW08 H1 | 6544008
| LT panel ACB Capacitor A | 800 A | Schneider | NW08 H1 | 6544006
| LT panel ACB TRF-1 | 3200 A | Schneider | NW32H1 | 6706550001
| LT panel ACB DG Incomer -1 | 3200A | Schneider | NW32H1 | 6934503002
| LT panel ACB Chiller Pump 4&5 | 800A | Schneider | NW08 H1 | 9750008
| LT panel ACB Bus Coupler 1&2 | 3200 A | Schneider | NW32H1 | 24150088
| LT panel ACB DG Incomer-2 | 3200 A | Schneider | NW32H1 | 1069348003001
| LT panel ACB TRF-2 | 3200 A | Schneider | NW32H1 | 106808445003
| LT panel ACB Capacitor -B | 800 A | Schneider | NW08 H1 | 6544007
| LT panel ACB CF Plant-2 | 1000A | Schneider | NW10H1 | 2700428
| LT panel ACB Main Kitchen Power | 1000A | Schneider | NW10H1 | 9750005
| LT panel ACB guest floor light | 1000 A | Schneider | NW10H1 | 8826018
| LT panel ACB Basement Light | 1000 A | Schneider | NW10H1 | 8826015
| LT panel ACB Vus coupler 2&3 | 3200 A | Schneider | NW32H1 | 6550002
| LT panel ACB TRF-3 | 3200A | Schneider | NW32H1 | 106706550003
| LT panel ACB DG Incomer -3 | 2500A | Schneider | NW25H1 | 106934503005
| LT panel ACB CF Plant -1 | 800 A | Schneider | NW08 H1 | 8826016
| LT panel ACB capacitor -C | 800 A | Schneider | NW08 H1 | 9750007
| LT panel ACB Bus coupler 3&4 | 3200 A | Schneider | NW32H1 | 2449910
| LT panel ACB TRF-4 | 3200A | Schneider | NW32H1 | 10680445004
| LT panel ACB Fire Pump | 1000 A | Schneider | NW10H1 | 8826014
| LT panel ACB Screw plant-1 | 1000A | Schneider | NW10H1 | 1401116
| LT panel ACB Screw Plant-2 | 1000 A | Schneider | NW10H1 | 42070004
| LT panel ACB Apartment Power | 2500A | Schneider | NW25H1 | 6550008
| LT panel ACB Apartment Capacitor | 1000A | Schneider | NW10H1 | 4807004
| LT panel ACB Chiller | 800 A | Schneider | NW08 H1 | 6544005
| LT panel ACB IBC-1 | 1000A | Schneider | NW10H1 | 1095019
| LT panel ACB Power for Lift & STP power | 1250 A | Schneider | NW12H1 | NA
| Incomer of Main panel Apartment | 2500 A | Schneider | NW25H1 | 1401117AA
| capacitor panel-1 | 500 kvar | Schneider Electric | Custom made | PLCA0676
| capacitor panel-2 | 500 kvar | Schneider Electric | Custom made | PLCA0677
| capacitor panel-3 | 500 kvar | Schneider Electric | Custom made | PLCA0675
2 | Boiler
| IBR Steam boiler | 2 TON | Heatex | HB-510 | D-2320
| Non IBR steam boiler 1 | 600 Kg/hr | Unidyne | 600/M | 91
| Non IBR steam boiler 2 | 600 Kg/hr | Unidyne | 600/M | 88
| Non IBR steam boiler 3 | 800 Kg/hr | Unidyne | 800/M | 2011/01
| Hot water boiler 1 | 600000K clories | Thermax | NA | NA
3 | Chillers
| Screw Chiller1 | 400 TR | TRANE | RTHDE3 | EKR1966
| Screw Chiller2 | 400 TR | TRANE | RTHDE3G2G1 | G10J01931
| Centrifugal Chiller 1 | 400 TR | TRANE | CVHE420 | L96B03841
| Centrifugal Chiller 2 | 400 TR | TRANE | CVHE420 | L96D03832
| VAM chiller | 600 TR | Kawasaki | CLB700E | 9N47902
| Apartment chiller | 300 TR | Trane | RTHD D1F1F2 | G101932
| VFD Apartment chiller | 300 HP | TRANE | TR200 | 007403H476
4 | Cooling towers
| Wooden Cooling tower1 | 300 TR | Paharpur | custom made | Custom made
| Wooden Cooling tower2 | 300 TR | Paharpur | custom made | Custom made
| Wooden Cooling tower3 | 300 TR | Paharpur | custom made | Custom made
| Wooden Cooling tower4 | 300 TR | Paharpur | custom made | Custom made
| Wooden Cooling tower5 | 300 TR | Paharpur | custom made | Custom made
| Wooden Cooling tower6 | 300 TR | Paharpur | custom made | Custom made
| Wooden Cooling tower7 | 300 TR | Paharpur | custom made | Custom made
| FRP cooling tower | 500 TR | Flowtech | custom made | Custom made
| Apartment cooling tower | 500 TR | Flowtech | custom made | Custom made
5 | Chiller Demand flow control
| VFD Secondary 1 | 75 HP | Danfoss | VLT HVAC Basic drive | 012502G463
| VFD Secondary 2 | 75 HP | Danfoss | VLT HVAC Basic drive | 012402G463
| VFD Secondary 3 | 75 HP | Danfoss | VLT HVAC Basic drive | 011702G463
| VFD Secondary 4 | 75 HP | Danfoss | VLT HVAC Basic drive | 012202G463
| VFD Secondary 5 | 75 HP | Danfoss | VLT HVAC Basic drive | 012302G463
| VFD Primary 1 CF | 20 HP | Siemens | SINAMICS V20, AE503265837 | SZVJ4YF7011336
| VFD Primary 2 CF | 20 HP | Siemens | SINAMICS V20, AE503265837 | SZVF6YF7005311
| VFD Primary 3 SC | 20 HP | Siemens | SINAMICS V20, AE503265837 | SZVJ4YF7011338
| VFD Primary 4 SC | 20 HP | Siemens | SINAMICS V20, AE503265837 | SZVJ4YF7011337
| VFD Condensor 1 | 100 HP | Siemens | SINAMICS Power Module230 | P-J40612000074
| VFD Condensor 2 | 100 HP | Siemens | SINAMICS Power Module230 | T-J42812000077
| VFD Condensor 3 | 100 HP | Siemens | SINAMICS Power Module230 | T-J42812000078
| VFD Condensor 4 | 100 HP | Siemens | SINAMICS Power Module230 | T-J40612000072
| VFD Condensor 5 | 100 HP | Siemens | SINAMICS Power Module230 | T-J40612000075
| VFD for CT-1 | 15 HP | Siemens | SINAMICS V20, A5E03262729 | SZVJ4YF8017423
| VFD for CT-2 | 15 HP | Siemens | SINAMICS V20, A5E03262729 | SZVJ4YF8017207
| VFD for CT-3 | 15 HP | Siemens | SINAMICS V20, A5E03262729 | SZVJ4YF8017233
| VFD for CT-4 | 15 HP | Siemens | SINAMICS V20, A5E03262729 | SZVJ4YF8017236
| VFD for CT-5 | 15 HP | Siemens | SINAMICS V20, A5E03262729 | SZVJ4YF8017234
| VFD for CT-6 | 15 HP | Siemens | SINAMICS V20, A5E03262729 | SZVJ4YF8017238
| VFD for CT-7 | 15 HP | Siemens | SINAMICS V20, A5E03262729 | SZVJ4YF8017209
| VFD for CT-8 | 10 HP | Siemens | SINAMICS V20, A5E03262728 | SZVJ4YF9022859
| VFD for CT-9 | 10 HP | Siemens | SINAMICS V20, A5E03262728 | SZVJ4YF9023096
| Condensor Pump 1 | 100 HP | Bell & Gosset/ ABB | NA | NA
| Condensor Pump 2 | 100 HP | Bell & Gosset/ ABB | NA | NA
| Condensor Pump 3 | 100 HP | Beacon & Kirloskar | NA | NA
| Condensor Pump 4 | 100 HP | Beacon & Kirloskar | NA | NA
| Condensor Pump 5 | 100 HP | Bell & Gosset/ ABB | NA | NA
| Secondary Pump 1 | 75 HP | Beacon & VOLTAS | NA | NA
| Secondary Pump 2 | 75 HP | Bell & Gosset/ ABB | NA | NA
| Secondary Pump 3 | 75 HP | Bell & Gosset/ ABB | NA | NA
| Secondary Pump 4 | 75 HP | Beacon & VOLTAS | NA | NA
| Secondary Pump 5 | 75 HP | Beacon & VOLTAS | NA | NA
| Primary pump 1 | 20 HP | Bell & Gosset | NA | NA
| Primary pump 2 | 20 HP | Bell & Gosset | NA | NA
| Primary pump 3 | 20 HP | Bell & Gosset | NA | NA
| Primary pump 4 | 20 HP | Bell & Gosset | NA | NA
| VAM Primary pump 5 | 25 HP | Bell & Gosset | NA | NA
| Apartment Condensor Pump 1 | Techo 30HP | Bell & Gosset | 1510-5G | NA
| Apartment Condensor Pump 2 | Techo 30HP | Bell & Gosset | 1510-5G | NA
| Apartment Secondary Pump 1 | Techo 20HP | Bell & Gosset | 1510-5G | NA
| Apartment Secondary Pump 2 | Techo 20HP | Bell & Gosset | 1510-5G | NA
| Apartment Primary pump 1 | Techo 15HP | Bell & Gosset | 1510-5G | NA
| Apartment Primary pump 2 | Techo 15HP | Bell & Gosset | 1510-5G | NA
| Apartment guest room Ch. Wa pump | Techo 40HP | Bell & Gosset | 1510-5G | NA
| Apartment guest room Ch. Wa pump | Techo 40HP | Bell & Gosset | 1510-5G | NA
| Cold room condensor Pump1 | 15 HP ITT` | Bell & Gosset | 1510-3G | NA
| Cold room condensor Pump2 | 16 HP ITT` | Bell & Gosset | 1510-3G | NA
6 | Water Treatment system
| HPN system for hotel water supply | 4 pumps X 22 KW | Grundfoss | CU-351O, 96161620-V05 | 3515
|  |  | Danfoss | VFD VLT-3, PS4284500 | 100420485
| Online monitoring system of STP | Measure TSS, Ph, BOD, COD | RTL Intertek IQ sensor.net | WTW C22.2#61010-1 | 19210023
| Air compressor for Botteling plant | 8KG/ Cm2 | Ingersollrand | IN-10-7 | 70278692
| Air Dryr for Botteling plant | NA | Ingersollrand | D 180 IN-A | 23691371
| Botteling plant | 600 bottles/ hr | Rifu Pacakaging machinery co . Ltd | custom made | custom made
| HPN system for Cooling tower | 2 pumps x 15 KW | Grunfoss | AE1260500 | 103101337
7 | Fire Protection system
| Jockey pump for Hotel | 7.5 Kw, 10 cuMt/hr | Grunfoss | A96501399P1823 | 1
| Jockey pump for Apartment | 5.5 Kw, 10 cuMt/hr | Grundfoss | A97793068P11101 | 1
| Sprinkler pump for hotel | 170 cu mtr/hr, 75 HP | Mather Platt | 5/6 EHLG UNI | 811527/F/3
| Sprinkler pump for Apartment | 171 cu mtr/hr, 90KW | Grundfoss/ Grundfoss | Y80-315/278 A1F2BE-SBAQUE | B97851660P111040002
| Hydrant pump for Hotel | 170 cu mtr/hr, 75 HP | Mather Platt | 5/6 EHLG UNI | 811525/F/1
| Hydrant pump for Apartment | 171 cu mtr/hr, 90KW | Grundfoss/ Grundfoss | Y80-315/278 A1F2BE-SBAQUE | B97851660P111040001
| Diesel Engine pump | 88BHP | Greaves | 44DXMK3 | 42320490199
8 | Fire Alarm system
| Fire panel EST | 5 loops | Edward System Technology | EST-3 | NA
| Fire panel Siemens | 13 loops | Siemens | Firefinder | NA
9 | Elevators
| Hotel Guest Elevator 1 | 18 passenger | Schindler | 300P | 1146588
| Hotel Guest Elevator 2 | 18 passenger | Schindler | 300P | 1146589
| Hotel Guest Elevator 3 | 18 passenger | Schindler | 300P | 1146590
| Hotel Guest Elevator 4 | 18 passenger | Schindler | 300P | 1146591
| Apartment Guest Elevator 1 | 18 passenger | Schindler | 300P | 10518729
| Apartment Guest Elevator 2 | 18 passenger | Schindler | 300P | 10519185
| Oval Guest Elevator | 12 Passenger | Schindler | 300P | 10640213
| Shopping arcade Elevator 1 | 6 Passenger | Schindler | 100P | 1147163
| Shopping arcade Elevator 2 | 6 Passenger | Schindler | 100P | 1147164
| Hotel Service Elevator 1 | 18 passenger | Schindler | 300P | 1147158
| Hotel Service Elevator 2 | 18 passenger | Schindler | 300P | 1147159
| Hotel Service Elevator 3 | 18 passenger | Schindler | 300P | 1147160
| Hotel Goods Elevator 1 | 22 Passenger | Schindler | 300P | 1147161
| Hotel Goods Elevator 2 | 22 Passenger | Schindler | 300P | 1147162
| Apartment Service Elevator 1 | 18 passenger | Schindler | 300P | 10518750
| Oval Service Elevator | 22 Passenger | Schindler | 300P | 10640215
| Elevator for Indusind Bank-1 | 18 passenger | Schindler | 300P | 10518743
| Elevator for Indusind Bank-2 | 18 passenger | Schindler | 300P | 10518435
| Elevator VIP Indusind Bank-3 | 12 passenger | Schindler | 300P | 10818754
10 | Laundry
| Washer extractor1 | 55 lbs | Milnor | 36021V5J | -
| Washer extractor2 | 450 lbs | Milnor | 60044WP2 | 10153839
| Washer extractor3 | 75 lbs | Milnor | 36021UST | 10163567
| Washer extractor4 | 450 lbs | Milnor | NA | NA
| Washer extractor5 | 200 lbs | Milnor | NA | NA
| Washer extractor6 | 200 lbs | Milnor | NA | NA
| Washer extractor7 | 80 Lbs | Alliance Wasing Machine | UCG080 | 1811050831
| Dry clean machine 1 | 18 Kg | Ital clean | PRM3600 | 12298
| Dry clean machine 2 | 25 Kg | Ital clean | PRM500 | 12643
| Dryer1 | 130 lb | Maxidry | NA | NA
| Dryer2 | 170 lbs | ADC | NA | NA
| Dryer3 | 170 lbs | ADC | ADS170F6 | 561711
| Dryer4 | 170 lbs | ADC | NA | NA
| Dryer5 | 170 lbs | ADC | NA | NA
| Dryer6 | 30 Lbs | ADC | AD30V | NA
| Folder | CA Rolling folder | Jensen | Caroline A-3 | 271242
| Flat Work ironer | CA Rolling folder | Jensen | EX8-2 roll ironer
| Shirt press unit | NA | Forenta | NA | NA
| Air compressor1 | 300 kg | Ingersolrand | 15T | 2039457
| Air compressor2 | 500 kg | Ingersolrand | 15T | 2089949
11 | Kitchen Equipment
| 1 Deck oven | 4 deck, 9.4 x 4 | MIWE | CO 1.1208 | 78100-001,002,003.004
| 2 Deck oven | 5 deck, 9.4 x 4 | MIWE | CO 1208 ( HERD 4 ) | 705110-001,002,003,004
| Rotary oven | 40.1KW | MIWI | RI 1.0606-TL | 405.673
| Proving Chamber | 2 KW | Salva | AR-22-G | 251168
| Pizza Oven | 66000btu / hr | Renato | ARS700W/G | 516011
| Combi steam Oven | 10KW | Rational | CM61E | E61DA97061001
| Combi steam Oven | 5.7KW | Convotherm | OES6.06mini | ES8GG4705
| Combi steam Oven | 67.3 KW | Convotherm | C4ED20.20ES | XS716021026
| Combi steam Oven | 11KW | Convotherm | C4ET6.10ES | XS1160156446
| Dish wash machine -1 | 56KW | Hobart | CS-E-A-D | 864300290
| Dish wash machine -2 | 58 KW | WinterHalter | MTR-3 | 1133862
| Dish wash machine -3 | 56KW | WinterHalter | MTR-2 | 542297
| Dish wash machine -4 | 38 KW | WinterHalter | STR-155 | NA
| Dish wash machine -5 | 56KW | WinterHalter | MTR-2 | 565682
| Dish wash machine -6 | 56KW | WinterHalter | MTR-2 | 1029527
| Dish wash machine -7 | 31KW | Washmatic | 904 | 20744
| Glass Washer | 3.9KW | Hobart | Ecomax, ECO-G404-12B | 86716087
| Glass Washer | 9.73KW | Meiko | Ecostar 530 F-M | E103810
| Dough sheeter | 0.75 KW | Sinmag | SM630E | 1808602
| Dough mixer1 | 0.37KW | Hobart | HL120 | 31-1500-402
| Dough mixer2 | .37 KW | Hobart | HL-200 | 31-1567-763
| Dough mixer4 | NA | Hobart | H600 | NA
| Coffee machine | 1.2 KW | Francis Francis | Illy, Type Y5 milk E & C | 60230-1808660120
Apartment Kitchen Equipment
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | 252030338611000237
| INDUCTION HOB | 7200W | SIEMENS | EH645BB17/01 | 333090362597000156
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404002614
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100149
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9208 D28249
| REFRIGERATOR | 274LIT. | SIEMENS | KI34SA21IE/04 | 252030338611000145
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | 332080360840001154
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404002881
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100145
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9208 D28246
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | 252030338611000251
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | 332080360840002953
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404003178
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100182
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9208 D28187
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34W02IE/01 | 2501003466550001126
| INDUCTION HOB | 7200W | SIEMENS | EH66ITA66J//01 | 33208036084000285
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404003161
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100182
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9208 D28184
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | 252030338611000275
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | 332080360840002847
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404002997
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100183
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9208 D28244
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | 252030338611000084
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | 332080360840002823
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | no stikker
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100180
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9610 E21259
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | 252030338611000077
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | 332080360840002908
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404002560
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100156
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9208 D28243
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | 252030338611000077
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | 332080360840002908
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404002560
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100156
| REFRIGERATOR | 274 Lit. | SIEMENS | KI38SA50IE/04 | 253020336219004732
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | 332080360840001499
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404002621
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100164
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9208 D28253
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | 252030338611000114
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | 332080360840002878
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404003109
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100171
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9208 D28190
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | 252030338611000367
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | 332080360840000249
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404003130
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100184
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9208 D28248
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | 252030338611000176
| INDUCTION HOB | 7200W | SIEMENS | EH66458817/01/01 | 333090362597000125
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | 402090361404003048
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | FD 9207 100165
| Microwave | 900w | SIEMENS | HF25M6L2 | FD 9208 D28221
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | NA
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | NA
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | NA
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | NA
| MICROWAVE | 900w | SIEMENS | HF25M6L2 | NA
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | NA
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | NA
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | NA
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | NA
| MICROWAVE | 900w | SIEMENS | HF25M6L2 | NA
| REFRIGERATOR | 274 Lit. | SIEMENS | KI34SA21IE/04 | NA
| INDUCTION HOB | 7200W | SIEMENS | EH651TA66J/01 | NA
| DISHWASHER | 2.4KW | SIEMENS | SN64D000EU/01 | NA
| OVEN | 2.85KW | SIEMENS | HB311EOJ/45 | NA
| MICROWAVE | 900w | SIEMENS | HF25M6L2 | NA
12 | UPS
| 120 KVA ups | 120 kva | Emerson | Libert Hi-pulse | 4124-2
| 60 kva1 O level | 60 kva | Emerson | Libert -7400 m | 4124-3
| 60 kva2 O level | 60 kva | Emerson | Libert -7400 m | 4124-4
| 60 kva3 Leving area | 60 kva | Emerson | Libert -7400 m | 4124-1
| 40 kva.1 Bottling plant | 40 Kva | DB power electronics | 40 KVA | U041208
| 40 kva.2 Bottleing Plant | 40 Kva | DB power electronics | 40 KVA | U041209
| 40 kva fitness center | 40 Kva | DB power electronics | 40KVA | 309US5100004
| 15 kva Behind F&B office O level | 15 Kva | DB power electronics | 15 KVA | S72428
13 | Telephone exchange
|  | 1800 Extentions | Alcatel LucentOmni PCX Enterprises | M3 | 2SRO1002601185
14 | GYM Machines |  | Techno Gym
| Treadmill | - | Technogym | RUN NOW 700 | DAK8EW12000875
| Treadmill | - | Technogym | RUN NOW 700 | DAK8EW12000899
| Treadmill | - | Technogym | RUN NOW 700 | DAK8EW12000896
| Treadmill | - | Technogym | RUN NOW 700 | DAK8EW12000898
| Treadmill | - | Technogym | RUN EXCITE 900 ACTWELL | D449E107000346
| Treadmill | - | Technogym | WAVE EXCITE 700 ACT WELL | D4983D08001323
| Cross trainer | - | Technogym | SYNCHRO EXCITE * | DE583U17001237
| Cross trainer | - | Technogym | SYNCHRO EXCITE | DA593V15001765
| Cross trainer | - | Technogym | SYNCHRO EXCITE | DA593V15001767
| RECLINE EXCITE | - | Technogym | RECLINE EXCITE + 700 * | DAD33Y14000445
| RECLINE EXCTIE 700 ACT WELL | - | Technogym | RECLINE EXCTIE 700 ACT WELL | D4D73DO8001367
| VARIO EXCITE 700 | - | Technogym | VARIO EXCITE 700 | DAF73CD9000734
| VARIO EXCITE 700 | - | Technogym | VARIO EXCITE 700 | DAF73W12000512
| CROSSOVER 700 | - | Technogym | CROSSOVER 700 | DAG73W12000260
| CROSSOVER 700 | - | Technogym | CROSSOVER 700 | DAG73W12000262
| CLIMB 1000 * | - | Technogym | CLIMB 1000 * | DEE83UTED00BTUK
| BIKE EXCITE | - | Technogym | BIKE EXCITE | DAC33Y14000495
| BIKE EXCITE * | - | Technogym | BIKE EXCITE * | DEC83U17001453
| KINESIS PERSONAL HERITAGE | - | Technogym | KINESIS PERSONAL HERITAGE | MDO5112000142
16 | Cold rooms and Deep freezers
| Vegetable chiller | 2.5 Ton | Rinak India Ltd. | MRW-ER-C5-03 | E17106T
| Garde manger 1 walk in | 2 Ton | Rinak India Ltd. | MRW-ER-C4-03 | E171071
| Garde manger walk in 2 | 2 Ton | Rinak India Ltd. | MRW-ER-C4-03 | E171072
| Garde manger 2 | 2 Ton | Rinak India Ltd. | MRW-ER-C4-03 | E171074
| Veg. Deep freezer | 2 Ton | Rinak India Ltd. | SEUN03ZP | E171065
| Meat Deep freezer | 2 Ton | Rinak India Ltd. | SEUN03ZP | E171066
| Fish walk in | 2 Ton | Rinak India Ltd. | MRW-ER-C4-03 | E171069
| Meat walk in1 | 2 Ton | Rinak India Ltd. | MRW-ER-C4-03 | E171068
| Meat walk in2 | 2 Ton | Rinak India Ltd. | MRW-ER-C4-03 | E171073
| B 1 walk in café 1 | 2 Ton | BOHN refrigeration co | LET160EG | D94B09763
| B 1 walk in café 2 | 2 Ton | HEATCRAFT INC. | LET160EG | D94B09766
| Genral store Egg. &cheese Walk in | 2 Ton | Emerson copeland | CR30KCM | WCA-015244B
| Dry store walk in | 1.5 Ton | Rinak India Ltd. | MRW-EQ-C3-03 | E18713
| Old fish deep freezer 1 | 2 Ton | HEATCRAFT INC. | WS0400L2 | A94C02816
| Old fish deep freezer 2 | 2 Ton | HEATCRAFT INC. | WS0400L3 | A94C02819
| Garbage walk in | 2 Ton | Emerson copeland | CR30K6M | WCA-0108328
| Bakery walk in | 2 Ton | PATTON | BM 44 | TS003U911709
| Bakery deep freezer1 | 2 ton | BOHN refrigeration co | LET160EG | D94B09764
| Bakery deep freezer2 | 2 Ton | BOHN refrigeration co | LET160EG | D94B09765
| Banquet walk in 1 | 2 Ton | BUFFELO TREND | T05-005 | 12730601002
| Banquet walk in 2 | 2 Ton | BUFFELO TREND | T06-907 | 13048904001
| TK'S Chiller walk in | 2 Ton | Emerson copeland | CR30K6M | WCA-0107007
| Beverage chiller walk in | 2 Ton | EDEN | FEM0660NS | 8F43098
| Café chiller hot kitchen walk in | 2 Ton | BITZER KUHLMASCHINENBAU GMEH | 2DC-2.2-40S | 1272600052
| Café chiller cold kitchen walk in | 2 Ton | BITZER KUHLMASCHINENBAU GMEH | 2DC-2.2-40S | 1272600050
| China kitchen chiller walk in | 2 Ton | GREEN HALGH | GEL030E | ZD44
| China kitchen duck chiller walk in | 1 Ton | GREEN HALGH | GEL01EE | ZD42
| Aangan chiller walk in | 2 Ton | SEA-BIRD | 2SB-38.1 | 21946
| La-Piazza chiller walk in | 2 Ton | KIRLOSKAR | CR22K6PFI | CCA-4235
17 | Security Equipment
| X-Ray Baggage Machine | NA | Smiths Detection | HS 7555i (SVC) | 80795
| X-Ray Baggage Machine | NA | Smiths Detection | HS 5030si | 148363
| ETD Machine | NA | Safran Morpho | (Mobile Trace) | 230488
| Crash Resistant Barriers | NA | Hom Automation PVT | CRB-5014 | 09AABCHS17OL32C