## Sheet1
Sr. No. | Asset Description | Specification | Quantity | Make | Model | Amount as per quotation | Purchased
1 | Air Compressor | 203 CFM @ 7.5 KG/CM2 | 1 | Atlas Copco | GA 30 – 7.5 FF | 1274000 | Purchased
2 | Air Handling Unit | EVAPORATIVE COOLING AIR HANDLING UNIT FOR KITCHEN VENTILATION | 2 | Infanite | INF/C-76/AHU/100/SISW/BACKWARD CURVE | 440000
|  | EXHAUST AIR BLOWER FOR PLANT VENTILATION: | 1 | Infanite | INF/C-85/100/SISW/BACKWARD CURVE | 150000
|  | EXHAUST AIR BLOWER FOR CALENDAR EXHAUST | 1 | Infanite | INF/C-58/100/SISW/BACKWARD CURVE | 85000
|  | UNIFORM AIR DISTRIBUTION (DUCTING) FOR AHU | 1 | Infanite | Square ducting 24g, with GI Flange Joints, Nitrile foam sheet of 9 mm thk. On Exposed Supply Air | 905000
Conditioned Ducts. Aluminum powder coated Double deflection grilles
with VCD for Uniform Air Distribution
3 | Boiler | OIL FIRED THERMIC FLUID HEATERS | 1 | Neotech | NT : 600 [FO] | 1500000
4 | Beta Ray Gauge | Scanning Frame | 1 | Jasch | X-ray Transmission Sensor (5 Watt, 4.9 KV Max.) | 2400000
|  | Software Package | 1 | Jasch | Display of Scanned thickness Profile in terms of Physical linear scale on the web
|  | Computer Control & Display Station | 1 | Jasch | · 21.5” Capacitive touch screen display,128 GB SSD Hard disc, Industrial Grade CPU, Intel core i3 processor,4 GB RAM
|  | Analog & Digital Input / Output | 1 | Jasch | Isolated 0-10V input for machine Speed, Isolated 0-10V / 4-20mA for control
5 | Chiller | 24TR Aircooled Scroll Chiller | 1 | VATANUCOOL | Air cooled Scroll Chiller | 646000
6 | Cooling Tower | 80 TR | 1 | Nirmal Cooling System | NCS-2020 HL-8 with basin | 150000
7 | Calender Machine | 250T~300T/Month @ thickness 250um | 1 | SHANGHAI XUANXIN | INV L-type 6-roll calendar machine | 31094700
8 | Offline Grinder | BODYSIZE:- 24", BLADESIZE:- 24", Production:- 500 TO 600Kg/H | 1 | Dharam Engineering Work | Motor:- ABB/CROMPTON / Bharat bijli. | 900000
9 | Slitting Machine | THE DIFFERENTIAL SHAFT REWINDING SYSTEM, THE CUTTING UNIT, UN-WINDER AND GUIDING SYSTEM, RE-WIND SHAFT, NIP UNIT | 1 | Gupta Enterprises | All pneumatics are SMC/ ZENETIC make, All motors are MARATHON / ABB make | 3000000
10 | DG SET | 600 kVA (BHP 723) | 1 | Koel Green | DV12TAG1 | 3631750 | Purchased (2 Sets of 200 kVA & 400 kVA) | 4425000
11 | EOT crane | 5 M.T | 1 | Motor:- CROMPTON / MARATHON / BBL, . GEAR BOX:- P.B.L {POWER BUILT LIMITED} ¦ I.C BAUER – GERMANY, . BRAKES:- MAGTECH, WIRE ROPE:- USHA MARTIN / MAHADEV, . LIMIT SWITCH:- CRANE CONTROL | DOUBLE GIRDER BOX TYPE E.O.T. CRANE | 1679600 | Purchased
12 | Core Cutting | Core Cutting with motor | 1 | Durga Industries | - | 175000
13 | Online Sheet Cutting | Line speed:- 20 to 40 pcs/ min, Maximum web width can be cut:- 1100 mm | 1 | EN PLAST | NSM 1200 | 1500000
14 | Corona Treatment | MAX. TREATMENT WIDTH:- 1100 mm, MATERIALS TO TREAT :- PVC RIGID FILM | 1 | IEEC | RFI/5-127-120SL-1HM-D | 865000
15 | Quality Assurance | HOT AIR CIRCULATING OVEN UNIT:- INNER CHAMBER SIZE: 18 X 18 X 18 inch | 1 | Deepak Poly Plast | REVERSION TEST APPLICATION | 48000
|  | DIGITAL WEIGHING BALANCE:- 300 gms capacity | 1 | Deepak Poly Plast | GSM WEIGHING SCALE | 21500
|  | TENSILE TESTING MACHINE | 1 | Deepak Poly Plast | DUTT – 101 | 279000
|  | TENSILE TESTING ACCESSORIES:- RECTANGULAR SIZE: 150 x 25 mm | 1 | Deepak Poly Plast | TEMPLATE FOR SPECIMEN PUNCHING, FOR TENSILE TEST | 4500
43995050