## Builtup Area Calculations
AREA STATEMENT
|  | Building A: Industrial Large & Medium | Building B: Industrial Small Size | Building C: Office Building | Building D: Fire Fighting, Police Chowki, Hospital, Gate | Basement (Parking) | TOTAL
|  | Deloitte | Deloitte | Deloitte | Deloitte | Deloitte | Deloitte
| FSI Area Sq.M. | 187084.5678 | 24637.3 | 45937.2186 | 221.4 | 0 | 257880.4864
| RERA Carpet Area Sq.Ft. | 2013778.2878 | 265195.8972 | 494468.221 | 2383.1496 | 0 | 2775825.5556
| Builtup Area Sq.M. | 248814.2048 | 42489.756 | 58552.032 | 890 | 135408.84 | 486154.8328
| Builtup Area Sq.Ft. | 2678236.1005 | 486011 | 630254.0724 | 9579.96 | 1457540.7538 | 5261621.8867
| Carpet Area Sq.M. | 181630.5513 | 22056.72 | 44299.332 | 0 | 0 | 247986.6033
| Carpet Area Sq.Ft. | 1955071.2542 | 237418.5341 | 476838.0096 | 0 | 0 | 2669327.7979
| Saleable Area Sq.M. | 215193.4315 | 28008.72 | 63291.279 | 0 | 0 | 306493.4305
| Saleable Area Sq.Ft. | 2316342.0969 | 301485.8621 | 681267.3267 | 0 | 0 | 3299095.2857
| Unit Type | FSI Carpet Area |  | FSI Carpet Area Sq.Ft. |  | No of Units |  | SALEABLE AREA WITH LOADING Sq.Ft. |  | FSI | Total | Industrial | Karkhana Office |  | Loading Industrial
|  | EY | Deloitte | EY | Deloitte | EY | Deloitte | EY | Deloitte | FSI Sq.M. | 257880.4864 | 211721.8678 | 46158.6186 |  | 1.2
| Karkhana Type 1 |  | 408.2478 |  | 4394.3793 |  | 190 |  | 5273.2552 | % | 100 | 82.1008 | 17.8992
| Karkhana Type 2 |  | 342.907 |  | 3691.0509 |  | 190 |  | 4429.2611 | [5 empty] | Loading Commercial
| Karkhana Type 3 |  | 274.8657 |  | 2958.6544 |  | 76 |  | 3550.3853 | Built Up | Total | Industrial | Karkhana Office |  | 1.4
| Karkhana Type 4 |  | 206.8244 |  | 2226.2578 |  | 76 |  | 2671.5094 | Built Up Sq.M. | 486154.8328 | 426712.8008 | 59442.032
| Karkhana Type 5 (small) |  | 48.1 |  | 517.7484 |  | 126 |  | 621.2981 | % | 100 | 87.773 | 12.227 |  | Plot Area | 86053 | Sq.M.
| Karkhana Type 6 (small) |  | 32 |  | 344.448 |  | 540 |  | 413.3376 | [5 empty] | Total FSI Sq.M. | 257880.4864 | Sq.M.
| Office Type 1 |  | 200.7572 |  | 2160.9505 |  | 124 |  | 3025.3307 | [5 empty] | FSI Utilized | 2.9968
| Office Type 2 |  | 163.8239 |  | 1763.4005 |  | 124 |  | 2468.7606
[5 empty] | TOTAL |  | 1446
| Building A: Industrial Large & Medium | [12 empty] | Excavation |  |  |  |  | RCC | [7 empty] | Reinforcement |  | Shuttering
|  | FSI Area Sq.M. | FSI Area Sq.Ft. | Builtup Area Sq.M. | Builtup Area Sq.Ft. | Carpet Area Sq.M. | Carpet Area Sq.Ft. | Saleable Area Sq.M. | Saleable Area Sq.Ft. | Nos | L | B | D | Total | 0-1.5 | 1.5-3 | 3-4.5 | 4.5 and above | Total | Grade | PCC | Grade | Foundation | Beam | Slab | Column | Factor | Qty | Total | Factor | Conventional | Factor | Aluminium
| Ground Floor | 7756.7082 | 83493.2071 | 19236.8582 | 207065.5417 | 7544.1647 | 81205.3888 | 0 | 0 | [10 empty] | M10 | 1923.6858 | M50 |  | 9618.4291 | 1923.6858
| 1st | 15513.4164 | 166986.4141 | 19237.8582 | 207076.3057 | 15088.3294 | 162410.7777 | 18616.0997 | 200383.697 | [14 empty] | 9618.9291 | 1923.7858
| 2nd | 15513.4164 | 166986.4141 | 19237.8582 | 207076.3057 | 15088.3294 | 162410.7777 | 18616.0997 | 200383.697 | [14 empty] | 9618.9291 | 1923.7858
| 3rd | 15513.4164 | 166986.4141 | 19237.8582 | 207076.3057 | 15088.3294 | 162410.7777 | 18616.0997 | 200383.697 | [14 empty] | 9618.9291 | 1923.7858
| 4th | 15513.4164 | 166986.4141 | 19237.8582 | 207076.3057 | 15088.3294 | 162410.7777 | 18616.0997 | 200383.697 | [14 empty] | 9618.9291 | 1923.7858
| 5th | 15513.4164 | 166986.4141 | 19237.8582 | 207076.3057 | 15088.3294 | 162410.7777 | 18616.0997 | 200383.697 | [14 empty] | 9618.9291 | 1923.7858
| 6th | 13030.466 | 140259.936 | 16630.7792 | 179013.7073 | 12651.9252 | 136185.3229 | 15636.5592 | 168311.9232 | [14 empty] | 8315.3896 | 1663.0779
| 7th | 13030.466 | 140259.936 | 16630.7792 | 179013.7073 | 12651.9252 | 136185.3229 | 15636.5592 | 168311.9232 | [14 empty] | 8315.3896 | 1663.0779
| 8th | 13030.466 | 140259.936 | 16630.7792 | 179013.7073 | 12651.9252 | 136185.3229 | 15636.5592 | 168311.9232 | [14 empty] | 8315.3896 | 1663.0779
| 9th | 13030.466 | 140259.936 | 16630.7792 | 179013.7073 | 12651.9252 | 136185.3229 | 15636.5592 | 168311.9232 | [14 empty] | 8315.3896 | 1663.0779
| 10th | 13030.466 | 140259.936 | 16630.7792 | 179013.7073 | 12651.9252 | 136185.3229 | 15636.5592 | 168311.9232 | [14 empty] | 8315.3896 | 1663.0779
| 11th | 10444.8966 | 112428.867 | 13915.953 | 149791.3181 | 10114.8286 | 108876.0151 | 12533.8759 | 134914.6404 | [14 empty] | 6957.9765 | 1391.5953
| 12th | 10444.8966 | 112428.867 | 13915.953 | 149791.3181 | 10114.8286 | 108876.0151 | 12533.8759 | 134914.6404 | [14 empty] | 6957.9765 | 1391.5953
| 13th | 7859.3272 | 84597.798 | 11201.1268 | 120568.9289 | 7577.7282 | 81566.6663 | 9431.1926 | 101517.3576 | [14 empty] | 5600.5634 | 1120.1127
| 14th | 7859.3272 | 84597.798 | 11201.1268 | 120568.9289 | 7577.7282 | 81566.6663 | 9431.1926 | 101517.3576 | [14 empty] | 5600.5634 | 1120.1127
| Total | 187084.5678 | 2013778.2878 | 248814.2048 | 2678236.1005 | 181630.5513 | 1955071.2542 | 215193.4315 | 2316342.0969 | 1 | 345 | 71 | 3 | 73485 | 36742.5 | 36742.5
Building B: Industrial Small Size
|  | FSI Area Sq.M. | FSI Area Sq.Ft. | Builtup Area Sq.M. | Builtup Area Sq.Ft. | Carpet Area Sq.M. | Carpet Area Sq.Ft. | Saleable Area Sq.M. | Saleable Area Sq.Ft.
| Ground Floor | 1296.7 | 13957.6788 | 4248.9756 | 45735.9734 | 1160.88 | 12495.7123 | 0 | 0 | [14 empty] | 2124.4878 | 424.8976
| 1st | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [14 empty] | 2124.4878 | 424.8976
| 2nd | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [14 empty] | 2124.4878 | 424.8976
| 3rd | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [14 empty] | 2124.4878 | 424.8976
| 4th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [14 empty] | 2124.4878 | 424.8976
| 5th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [14 empty] | 2124.4878 | 424.8976
| 6th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [14 empty] | 2124.4878 | 424.8976
| 7th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [14 empty] | 2124.4878 | 424.8976
| 8th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [14 empty] | 2124.4878 | 424.8976
| 9th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [14 empty] | 2124.4878 | 424.8976
|  | 24637.3 | 265195.8972 | 42489.756 | 457359.7336 | 22056.72 | 237418.5341 | 28008.72 | 301485.8621 | 1 | 137.67 | 51 | 3 | 21063.51 | 10531.755 | 10531.755
Building C: Office Building
|  | FSI Area Sq.M. | FSI Area Sq.Ft. | Builtup Area Sq.M. | Builtup Area Sq.Ft. | Carpet Area Sq.M. | Carpet Area Sq.Ft. | Saleable Area Sq.M. | Saleable Area Sq.Ft.
| Ground Floor | 729.1622 | 7848.7019 | 1829.751 | 19695.4398 | 703.164 | 7568.8573 | 0 | 0 | [14 empty] | 914.8755 | 182.9751
| 1st | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 2nd | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 3rd | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 4th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 5th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 6th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 7th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 8th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 9th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 10th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 11th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 12th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 13th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 14th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 15th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 16th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 17th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 18th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 19th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 20th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 21st | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 22nd | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 23rd | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 24th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 25th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 26th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 27th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 28th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 29th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 30th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| 31st | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [14 empty] | 914.8755 | 182.9751
| Total | 45937.2186 | 494468.221 | 58552.032 | 630254.0724 | 44299.332 | 476838.0096 | 63291.279 | 681267.3267 | 2 | 31 | 33 | 4.5 | 9207 | 3069 | 3069 | 3069
Building D: Fire Fighting, Police Chowki, Hospital, Gate
|  | FSI Area Sq.M. | FSI Area Sq.Ft. | Builtup Area Sq.M. | Builtup Area Sq.Ft. | Carpet Area Sq.M. | Carpet Area Sq.Ft. | Saleable Area Sq.M. | Saleable Area Sq.Ft.
| Fire | 0 | 0 | 230 | 2475.72 | 0 | 0 | 0 | 0 | [14 empty] | 115 | 23
| Police Chowki | 73.8 | 794.3832 | 85 | 914.94 | 0 | 0 | 0 | 0 | [14 empty] | 42.5 | 8.5
| Hospital | 147.6 | 1588.7664 | 155 | 1668.42 | 0 | 0 | 0 | 0 | [14 empty] | 77.5 | 15.5
| Gate 1 | 0 | 0 | 65 | 699.66 | 0 | 0 | 0 | 0
| Gate 2 | 0 | 0 | 65 | 699.66 | 0 | 0 | 0 | 0
| Gate 3 | 0 | 0 | 65 | 699.66 | 0 | 0 | 0 | 0
| Ped Gate 1 | 0 | 0 | 75 | 807.3 | 0 | 0 | 0 | 0
| Ped Gate 2 | 0 | 0 | 75 | 807.3 | 0 | 0 | 0 | 0
| Ped Gate 3 | 0 | 0 | 75 | 807.3 | 0 | 0 | 0 | 0
|  | 221.4 | 2383.1496 | 890 | 9579.96 | 0 | 0 | 0 | 0 | 1 | 31 | 31 | 3 | 2883 | 1441.5 | 1441.5
Parking
|  | FSI Area Sq.M. | FSI Area Sq.Ft. | Builtup Area Sq.M. | Builtup Area Sq.Ft. | Carpet Area Sq.M. | Carpet Area Sq.Ft. | Saleable Area Sq.M. | Saleable Area Sq.Ft.
| Floor 1 | 0 | 0 | 22568.14 | 242923.459 | 0 | 0 | 0 | 0 | [14 empty] | 11284.07 | 2256.814
| Floor 2 |  |  | 22568.14 | 242923.459 | [18 empty] | 11284.07 | 2256.814
| Floor 3 |  |  | 22568.14 | 242923.459 | [18 empty] | 11284.07 | 2256.814
| Floor 4 |  |  | 22568.14 | 242923.459 | [18 empty] | 11284.07 | 2256.814
| Floor 5 |  |  | 22568.14 | 242923.459 | [18 empty] | 11284.07 | 2256.814
| Floor 6 | 0 | 0 | 22568.14 | 242923.459 | 0 | 0 | 0 | 0 | [14 empty] | 11284.07 | 2256.814
|  | 0 | 0 | 135408.84 | 1457540.7538 | 0 | 0 | 0 | 0 | 1 | 31 | 221 | 102.1 | 20553 | 10276.5 | 10276.5
|  |  | Unit Type | FSI Area | Carpet Area | No of Unit on One floor | No of Floor | Total FSI Sq.M. | Total Carpet Sq.M.
|  |  | Karkhana Type 1 | 408.2478 | 397.0613 | 38 | 1 | 15513.4164 | 15088.3294
|  |  | Karkhana Type 2 | 342.907 | 332.9454 | 38 | 1 | 13030.466 | 12651.9252
|  |  | Karkhana Type 3 | 274.8657 | 266.1797 | 38 | 1 | 10444.8966 | 10114.8286
|  |  | Karkhana Type 4 | 206.8244 | 199.4139 | 38 | 1 | 7859.3272 | 7577.7282
|  |  | Small Karkhana 5 | 48.1 | 43.74 | 14 | 1 | 673.4 | 612.36
|  |  | Small Karkhana 6 | 32 | 28.49 | 60 | 1 | 1920 | 1709.4
|  |  | Office Type 1 | 200.7572 | 194.3444 | 4 | 1 | 803.0288 | 777.3776
|  |  | Office Type 2 | 163.8239 | 157.2376 | 4 | 1 | 655.2956 | 628.9504
Ratio 80:20
673.4
1920
2593.4
4248.9756
x`

## Abstract podium
INDIA JEWELLERY PARK MAHAPE
PRELIMINARY BUDGET ESTIMATE
ICONIC - RCC STRUCTURE - BACK UP SHEET
Sr. No. | Item | Details | UoM | A | B | C | Amenity building | Basement | Amenities for basement | Total
1 | Pile foundation | M30 | cum |  |  |  |  | 24661.56 | 299.1635 | 24960.7235
2 | Rubble Masonary |  | cum | [5 empty] | 3007.8759 | 3007.8759
3 | Tin sheets & I/H Beams |  | sqm | [5 empty] | 4951.236 | 4951.236
4 | Site grading |  | sqm | [5 empty] | 86053 | 86053
5 | Gate & Drain development |  | sqm | [5 empty] | 86053 | 86053
6 | Boring and excavation |  | cum | [5 empty] | 673.1179 | 673.1179
7 | Project Site office |  | sqft | [5 empty] | 500 | 500
8 | Sales office |  | sqft | [5 empty] | 2000 | 2000
9 | Boundary wall concrete | M30 | cum | [5 empty] | 2038.988 | 2038.988
10 | Boundary wall reinforcement |  | MT | [5 empty] | 299.7312 | 299.7312
11 | Excavation | 0-1.5 | cum |  |  |  |  | 66687.57 |  | 66687.57
12 |  | 1.5-3 | cum |  |  |  |  | 66687.57 |  | 66687.57
13 |  | 3-4.5 | cum | [6 empty] | 0
14 | PCC | M15 | cum |  |  |  |  | 4579.2131 |  | 4579.2131 | b
15 | Concrete | M15 | cum | [6 empty] | 0
16 | Subs tructure' | M50 | cum |  |  |  |  | 34344.0986 |  | 34344.0986
17 | Superstructure | M50 | cum | 137562.0995 | 24023.2163 | 31091.7365 | 276.61 | 30444.948 |  | 223398.6103
18 | [9 empty] | 0
19 | Reinforcement | TMT 500 | MT | 19258.6939 | 3363.2503 | 4352.8431 | 38.7254 | 9070.4665 |  | 36083.9792
20 | Shuttering | Standard | sqm | 634976.9676 | 95563.552 | 616808.2327 | 1008 | 67527.57 |  | 1415884.3223
21 |  | Aluminium | sqm |  |  | 11904 |  |  |  | 11904
22 | Brickwork | 500 mm | sqm | 149288.5229 | 25493.8536 | 7806.9376 | 282 |  |  | 182871.3141
23 | Windows in B block |  | Nos |  | 756 |  |  |  |  | 756
23 | Road |  | LS | [5 empty] | 2775825.5556 | 2775825.5556
24 | External electrical infrstructure |  | sqft | [5 empty] | 1457540.7538 | 1457540.7538
25 | Finishing | [8 empty] | 0
26 | Tiling |  | sqft |  |  | 97458.5304 | 517 |  |  | 97975.5304
27 | Kota stone / Granite |  | sqft | 18163.0551 | 2205.672 |  |  |  |  | 20368.7271
27 | Tiling - Tremix floor |  | sqft | 181630.5513 | 22056.72 |  |  |  |  | 203687.2713
28 | Painting |  | sqft | 2678236.1005 | 457359.7336 | 189076.2217 | 5059.08 |  |  | 3329731.1358
29 | Labor |  | mandays | 267824 | 45736 | 63026 | 958 | 145755 | 72878 | 596177
30 | Façade - lobby |  | sqft | [6 empty] | 0
31 | Glass panelling |  | sqm | 4528 | [5 empty] | 4528
32 | Plumbing |  | sqft | 2678236.1005 | 457359.7336 | 630254.0724 | 5059.08 |  |  | 3770908.9865
33 | Piping cost |  | sqft | 2678236.1005 | 457359.7336 |  |  |  |  | 3135595.8341
34 | Fire Fighting |  | sqft | 2678236.1005 | 457359.7336 | 630254.0724 | 5059.08 | 1457540.7538 |  | 5228449.7403
26 | Windows and finshing |  | sqm | 1040 | 309 |  | 24 |  |  | 1373
29 | Electrical |  | sqft | 2678236.1005 | 457359.7336 | 630254.0724 | 5059.08 |  |  | 3770908.9865
30 | Electrical (parking) |  | sqft |  |  |  |  | 1457540.7538 |  | 1457540.7538
31 | Doors & gates |  | sqft | 2678236.1005 | 486011 | 630254.0724 | 9579.96 |  |  | 3804081.1329
32 | HVAC |  | sqft |  |  | 630254.0724 |  |  |  | 630254.0724
33 | HVAC (A &B) - evaporative cooling - common area / jet fans |  | sqft | 267823.61 | 48601.1 |  |  |  |  | 316424.71
33 | HVAC - basement (mechanical ventilation) |  | sqft |  |  |  |  | 1456990.1 |  | 1456990.1
34 | HVAC - amenity building |  | sqft |  |  |  | 5059.08 |  |  | 5059.08
30 | Gas bank room and support system |  | Nos | 295 | 51 |  |  |  |  | 346
31 |  |  | Nos | 99 | 17 |  |  |  |  | 116
32 | Mechanical parking system | [6 empty] | 1500 |  | 1500
32 | Rain water harvesting tanks and pipes |  | Nos | [5 empty] | 15 | 15
33 | Lifts C (Passenger) |  | Nos |  |  | 6 |  |  |  | 6
34 | Lifts A (Passenger & Freight) |  | Nos | 38 | [5 empty] | 38
35 | Lifts B (Passenger & Freight) |  | Nos |  | 8 |  |  |  |  | 8
36 | Lifts - amenity |  | Nos |  |  |  | 1 |  |  | 1
37 | Landscaping |  | sqft | [5 empty] | 416668.626 | 416668.626
38 | Façade |  | sqft |  |  | 16083.2 |  |  |  | 16083.2
39 | STP |  | MLD | [5 empty] | 6 | 6
40 | ETP |  | MLD | [5 empty] | 5 | 5
41 | Water tank (OHWT) |  | ltr | [5 empty] | 3600000 | 3600000
42 | WTP |  | MLD | [6 empty] | 0
43 | Equipment & machinary |  | sqft |  |  |  |  | 4062307 |  | 4062307
|  |  |  | 26.7824 | 4.8601 | 6.3025 | 0.0958

## Volume calculations
[11 empty] | FSI | Total | Industrial | Karkhana Office |  | Loading Industrial
[11 empty] | FSI Sq.M. | 257880.4864 | 211721.8678 | 46158.6186 |  | 1.2
[11 empty] | % | 100 | 82.1008 | 17.8992
Loading Commercial
[11 empty] | Built Up | Total | Industrial | Karkhana Office |  | 1.4
[11 empty] | Built Up Sq.M. | 486154.8328 | 426712.8008 | 59442.032
[11 empty] | % | 100 | 87.773 | 12.227 |  | Plot Area | 86053 | Sq.M.
[16 empty] | Total FSI Sq.M. | 257880.4864 | Sq.M.
[16 empty] | FSI Utilized | 2.9968
[9 empty] | Columns | 0.4 | 0.6 |  |  |  | Slab & Beam | Piling | PCC | Foundation | Shuttering |  |  |  |  | Single floor parking
|  | UoM | Built up Area | Height | Length | Width | Floors | No of units | No | Volume |  |  | Height | [10 empty] | Concrete | Reinforcement | Shuttering | Area change
| Building A: Industrial Large & Medium | Sq.ft. |  | 58.8 | 255 | 71 | 14 | 1930210
| 1st to 5th floor | Sq.ft. | 4394 |  |  |  | 5 | 190 | 228 |  | 6 | 4 | 21 | 30 x 14 m plot |  |  |  |  | 7660.8 | 408.3643 | 38473.7164 | 13.6
| 6th to 10th floor | Sq.ft. | 3691 |  |  |  | 5 | 190 | 228 |  | 6 | 3 | 42 | 30 x 12 m plot |  |  |  |  | 15321.6 | 343.0297 |  | 11.4343
| 11th to 12th floor | Sq.ft. | 2959 |  |  |  | 2 | 76 | 228 |  | 6 | 2 | 50.4 | 30 x 10 m plot |  |  |  |  | 18385.92 | 275 |  | 9.1667
| 13th to 14th floor | Sq.ft. | 2226 |  |  |  | 2 | 76 | 228 |  | 6 | 1 | 58.8 | 30 x 7 m plot |  |  |  |  | 21450.24 | 206.8773 |  | 6.8959
| Total | [7 empty] | 912 | 9422.784 |  |  |  |  | 128139.3155 |  |  |  | 497628.4096
| Building B: Industrial Small Size | Sq.ft. |  |  | 137 | 51 | 9
| Type 5 | sqm | 48.1413 | [5 empty] | 108 |  | 9 | 12 | 37.8 | 6m width for 7 shops = 42 m & 2 columns in each shop x 6 spans | [5 empty] | 378
| Type 6 | sqm | 31.9703 | [5 empty] | 128 |  | 32 | 4 | 37.8 | 20 shops on each side 8m by 4 m shop each | [5 empty] | 360
[9 empty] | 236 | 2140.992 |  |  |  |  | 21882.2243 |  |  |  |  | 738
| Building C: Office Building | Sq.ft. |  | 125.65 | 31 | 66 | 31
| Type 1 | sqm | 281.1338 | [5 empty] | 24 |  | 4 | 3 | 93 | 20 x 14 m plot
| Type 2 | sqm | 229.461 | [5 empty] | 18 |  | 4 | 3 | 93 | 20 x 11.5 m plot
|  |  | 2042.3792 | [5 empty] | 42 | 937.44 |  |  |  |  | 30154.2965
| Building D: Fire Fighting, Police Chowki, Hospital, Gate | Sq.ft. |  |  | 31 | 31 | 2
| Parking | Sq.ft. |  |  | 221 | 102 | 6
| Phase 1 | sqm | 252 | 77 |  |  |  |  | 816 |  | 51 | 16 | 8.4 | 2 basement of 3 m height across area | [9 empty] | 4.2
| Phase 2 | sqm | 150.93 | 166 |  |  |  |  | 1054 |  | 31 | 34 | 8.4 | [10 empty] | 4.2
| Piling | [7 empty] | 1870 | 3769.92 |  |  |  |  | 26675.028 | 15693.72 | 4445.838 | 33343.785 | 17952 | 67527.57 |  |  |  | 28559.988
| Total | Sq.ft. | [7 empty] | 16271.136 |  |  |  |  | 206850.8643 |  | 4445.838 | 33343.785 | [5 empty] | 24452.109
| Wastages | 3% | [7 empty] | 488.1341 |  |  |  |  | 6205.5259 |  | 133.3751 | 1000.3136 | [5 empty] | 54602.4599 | 7644.3444 | 49744.218
| Reinforcement | 3% | [7 empty] | 16759.2701 |  |  |  |  | 213056.3902 |  | 4579.2131 | 34344.0986
| Excavation | 133375.14 | [7 empty] | M50 |  |  |  |  | M50 | M30 | M50 | M50 | [5 empty] | #REF!
| Piles |  | 51 | 16 | 816 | 0.6 | 7 | 24661.56 |  | 7500 |  |  |  |  | 7500 |  | 7500 | 7500
|  |  | 31 | 34 | 1054
[9 empty] | 129873.2 | [16 empty] | 0.4 | 0.1 |  |  | 0.14
| Building A: Industrial Large & Medium | [13 empty] | Excavation | [5 empty] | RCC | [8 empty] | Reinforcement |  | Shuttering |  |  |  | Blockwork |  | Labor |  | Column Pile |  |  | 10% |  | 3 | Lifts |  | Windows | Tiling
|  | FSI Area Sq.M. | FSI Area Sq.Ft. | Builtup Area Sq.M. | Builtup Area Sq.Ft. | Carpet Area Sq.M. | Carpet Area Sq.Ft. | Saleable Area Sq.M. | Saleable Area Sq.Ft. |  | Nos | L | B | D | Total | 0-1.5 | 1.5-3 | 3-4.5 | 4.5 and above |  | Total | Grade | PCC | Grade | Foundation | Beam | Slab | Column |  | Factor | Qty | Total | Conventional | Factor | Aluminium | 40% |  |  |  | 5 |  | 10000 | Additional | Compressor units | Compressor reservoir tank |  |  |  | 10%
| Ground Floor | 7756.7082 | 83493.2071 | 19236.8582 | 207065.5417 | 7544.1647 | 81205.3888 | 0 | 0 | [12 empty] | M10 | 1923.6858 | M50 |  | 7694.7433 | 1923.6858 | 1520 | 408 |  |  |  | 48592.9164 |  |  | 7694.7433 |  |  |  |  | 207065.5417 | 21 | 3 |  | 8 | Total halts | 14 |  | 7544.1647
| 1st | 15513.4164 | 166986.4141 | 19237.8582 | 207076.3057 | 15088.3294 | 162410.7777 | 18616.0997 | 200383.697 | [16 empty] | 7695.1433 | 1923.7858 |  | 343 | [6 empty] | 7695.1433 |  |  |  |  | 207076.3057 | 21 | 3 |  | 8 |  |  |  | 15088.3294
| 2nd | 15513.4164 | 166986.4141 | 19237.8582 | 207076.3057 | 15088.3294 | 162410.7777 | 18616.0997 | 200383.697 | [16 empty] | 7695.1433 | 1923.7858 |  | 275 | [6 empty] | 7695.1433 |  |  |  |  | 207076.3057 | 21 | 3 |  | 8 |  |  |  | 15088.3294
| 3rd | 15513.4164 | 166986.4141 | 19237.8582 | 207076.3057 | 15088.3294 | 162410.7777 | 18616.0997 | 200383.697 | [16 empty] | 7695.1433 | 1923.7858 |  | 207 | [6 empty] | 7695.1433 |  |  |  |  | 207076.3057 | 21 | 3 |  | 8 |  |  |  | 15088.3294
| 4th | 15513.4164 | 166986.4141 | 19237.8582 | 207076.3057 | 15088.3294 | 162410.7777 | 18616.0997 | 200383.697 | [16 empty] | 7695.1433 | 1923.7858 |  | 190 | [6 empty] | 7695.1433 |  |  |  |  | 207076.3057 | 21 | 3 |  | 8 |  |  |  | 15088.3294
| 5th | 15513.4164 | 166986.4141 | 19237.8582 | 207076.3057 | 15088.3294 | 162410.7777 | 18616.0997 | 200383.697 | [16 empty] | 7695.1433 | 1923.7858 |  | 40 | [6 empty] | 7695.1433 |  |  |  |  | 207076.3057 | 21 | 3 |  | 8 |  |  |  | 15088.3294
| 6th | 13030.466 | 140259.936 | 16630.7792 | 179013.7073 | 12651.9252 | 136185.3229 | 15636.5592 | 168311.9232 | [16 empty] | 6652.3117 | 1663.0779 |  | 10 | [6 empty] | 6652.3117 |  |  |  |  | 179013.7073 | 18 | 2 |  | 7 |  |  |  | 12651.9252
| 7th | 13030.466 | 140259.936 | 16630.7792 | 179013.7073 | 12651.9252 | 136185.3229 | 15636.5592 | 168311.9232 | [16 empty] | 6652.3117 | 1663.0779 | 1330 | 35 |  |  |  | 41773.5584 |  |  | 6652.3117 |  |  |  |  | 179013.7073 | 18 | 2 |  | 7 |  |  |  | 12651.9252
| 8th | 13030.466 | 140259.936 | 16630.7792 | 179013.7073 | 12651.9252 | 136185.3229 | 15636.5592 | 168311.9232 | [16 empty] | 6652.3117 | 1663.0779 |  | 28 | [6 empty] | 6652.3117 |  |  |  |  | 179013.7073 | 18 | 2 |  | 7 |  |  |  | 12651.9252
| 9th | 13030.466 | 140259.936 | 16630.7792 | 179013.7073 | 12651.9252 | 136185.3229 | 15636.5592 | 168311.9232 | [16 empty] | 6652.3117 | 1663.0779 |  | 21 | [6 empty] | 6652.3117 |  |  |  |  | 179013.7073 | 18 | 2 |  | 7 |  |  |  | 12651.9252
| 10th | 13030.466 | 140259.936 | 16630.7792 | 179013.7073 | 12651.9252 | 136185.3229 | 15636.5592 | 168311.9232 | [16 empty] | 6652.3117 | 1663.0779 |  | 95 | [6 empty] | 6652.3117 |  |  |  |  | 179013.7073 | 18 | 2 |  | 7 |  |  |  | 12651.9252
| 11th | 10444.8966 | 112428.867 | 13915.953 | 149791.3181 | 10114.8286 | 108876.0151 | 12533.8759 | 134914.6404 | [16 empty] | 5566.3812 | 1391.5953 | 1140 | 8 |  |  |  | 35127.906 |  |  | 5566.3812 |  |  |  | 0.6 | 149791.3181 | 15 | 2 |  | 6 |  |  |  | 10114.8286
| 12th | 10444.8966 | 112428.867 | 13915.953 | 149791.3181 | 10114.8286 | 108876.0151 | 12533.8759 | 134914.6404 | [16 empty] | 5566.3812 | 1391.5953 |  | 2 | [6 empty] | 5566.3812 |  |  |  | 7 | 149791.3181 | 15 | 2 |  | 6 |  |  |  | 10114.8286
| 13th | 7859.3272 | 84597.798 | 11201.1268 | 120568.9289 | 7577.7282 | 81566.6663 | 9431.1926 | 101517.3576 | [16 empty] | 4480.4507 | 1120.1127 | 950 | 7 |  |  |  | 28482.2536 |  |  | 4480.4507 | 2022-04-11 | 2024-02-12 |  | 15 | 120568.9289 | 13 | 2 |  | 5 |  |  |  | 7577.7282
| 14th | 7859.3272 | 84597.798 | 11201.1268 | 120568.9289 | 7577.7282 | 81566.6663 | 9431.1926 | 101517.3576 | [16 empty] | 4480.4507 | 1120.1127 |  | 6 | [6 empty] | 4480.4507 |  | 672 |  | 51 | 120568.9289 | 13 | 2 |  | 5 |  |  |  | 7577.7282
| Total | 187084.5678 | 2013778.2878 | 248814.2048 | 2678236.1005 | 181630.5513 | 1955071.2542 | 215193.4315 | 2316342.0969 |  | 1 | 345 | 71 | 3 | 73485 | 36742.5 | 36742.5 |  |  |  | 255 | 71 | 2 |  | 36210 | 102511.4524 | 25627.8631 | 13862.4 | 5 | 0.14 | 26197.1222 |  | 634976.9676 |  |  | 99525.6819 | 267823.61 | 398.547 | 267824 | 10088.82 | 2678236.1005 | 268 | 27 | 272 | 99 |  |  | 31080 | 181630.5513
486011
Building B: Industrial Small Size
|  | FSI Area Sq.M. | FSI Area Sq.Ft. | Builtup Area Sq.M. | Builtup Area Sq.Ft. | Carpet Area Sq.M. | Carpet Area Sq.Ft. | Saleable Area Sq.M. | Saleable Area Sq.Ft.
| Ground Floor | 1296.7 | 13957.6788 | 4248.9756 | 45735.9734 | 1160.88 | 12495.7123 | 0 | 0 | [13 empty] | 424.8976 |  |  | 1699.5902 | 424.8976 | 122 | 27.6 |  |  |  | 9505.1552 |  |  | 1699.5902 |  |  |  |  | 45735.9734 | 5 | 1 |  | 2 |  |  |  | 1160.88
| 1st | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [16 empty] | 1699.5902 | 424.8976 |  | 10.2 | [6 empty] | 1699.5902 |  |  |  |  | 45735.9734 | 5 | 1 |  | 2 |  |  |  | 2321.76
| 2nd | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [16 empty] | 1699.5902 | 424.8976 |  | 28 | [6 empty] | 1699.5902 |  |  |  |  | 45735.9734 | 5 | 1 |  | 2 |  |  |  | 2321.76
| 3rd | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [16 empty] | 1699.5902 | 424.8976 |  | 11 | [6 empty] | 1699.5902 |  |  |  |  | 45735.9734 | 5 | 1 |  | 2 |  |  |  | 2321.76
| 4th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [16 empty] | 1699.5902 | 424.8976 | [8 empty] | 1699.5902 |  |  |  |  | 45735.9734 | 5 | 1 |  | 2 |  |  |  | 2321.76
| 5th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [16 empty] | 1699.5902 | 424.8976 | [8 empty] | 1699.5902 |  |  |  |  | 45735.9734 | 5 | 1 |  | 2 |  |  |  | 2321.76
| 6th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [16 empty] | 1699.5902 | 424.8976 | [8 empty] | 1699.5902 |  |  |  | 0.6 | 45735.9734 | 5 | 1 |  | 2 |  |  |  | 2321.76
| 7th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [16 empty] | 1699.5902 | 424.8976 | [8 empty] | 1699.5902 |  |  |  | 7 | 45735.9734 | 5 | 1 |  | 2 |  |  |  | 2321.76
| 8th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [16 empty] | 1699.5902 | 424.8976 | [8 empty] | 1699.5902 | 2022-08-16 | 2023-07-31 |  | 11 | 45735.9734 | 5 | 1 |  | 2 |  |  |  | 2321.76
| 9th | 2593.4 | 27915.3576 | 4248.9756 | 45735.9734 | 2321.76 | 24991.4246 | 3112.08 | 33498.4291 | [16 empty] | 1699.5902 | 424.8976 | [8 empty] | 1699.5902 |  | 349 |  | 28 | 45735.9734 | 5 | 1 |  | 2 |  |  |  | 2321.76
|  | 24637.3 | 265195.8972 | 42489.756 | 457359.7336 | 22056.72 | 237418.5341 | 28008.72 | 301485.8621 |  | 1 | 137.67 | 51 | 3 | 21063.51 | 10531.755 | 10531.755 |  |  |  | 137.67 | 51 | 2 |  | 14042.34 | 17505.7795 | 4376.4449 | 780.8 |  | 0.14 | 5395.6886 |  | 95563.552 |  |  | 16995.9024 | 45735.9734 | 131.0486 | 45736 | 4061.904 | 457359.7336 | 46 | 5 |  | 17 |  |  | 3773.4 | 22056.72
Building C: Office Building
|  | FSI Area Sq.M. | FSI Area Sq.Ft. | Builtup Area Sq.M. | Builtup Area Sq.Ft. | Carpet Area Sq.M. | Carpet Area Sq.Ft. | Saleable Area Sq.M. | Saleable Area Sq.Ft.
| Ground Floor | 729.1622 | 7848.7019 | 1829.751 | 19695.4398 | 703.164 | 7568.8573 | 0 | 0 | [13 empty] | 182.9751 |  |  | 731.9004 | 182.9751 | 72 | [6 empty] | 192 | 243.9668 | [12 empty] | 773.4804
| 1st | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | 180 | [7 empty] | 243.9668 | [12 empty] | 1546.9608
| 2nd | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 3rd | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 4th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 5th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 6th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 7th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 8th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 9th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 10th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 11th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 12th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 13th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 14th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 15th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 16th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 17th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 18th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 19th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 20th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 21st | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 22nd | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 23rd | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 24th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 25th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 26th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 27th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | [12 empty] | 1546.9608
| 28th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 |  |  |  | 0.6 | [8 empty] | 1546.9608
| 29th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 |  |  |  | 7 | [8 empty] | 1546.9608
| 30th | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 | 2022-08-16 | 2023-07-31 |  | 7 | [8 empty] | 1546.9608
| 31st | 1458.3244 | 15697.4038 | 1829.751 | 19695.4398 | 1406.328 | 15137.7146 | 2041.6542 | 21976.3654 | [16 empty] | 731.9004 | 182.9751 | [8 empty] | 243.9668 |  | 349 |  | 7 | [8 empty] | 1546.9608
| Total | 45937.2186 | 494468.221 | 58552.032 | 630254.0724 | 44299.332 | 476838.0096 | 63291.279 | 681267.3267 |  | 2 | 31 | 33 | 4.5 | 9207 | 3069 | 3069 | 3069 |  |  | 31 | 33 | 3.5 |  | 7161 | 24123.4372 | 6030.8593 | 4453.92 |  | 0.14 | 6140.0748 |  | 616808.2327 |  | 11904 | 7806.9376 | 63025.4072 | 180.5886 | 63026 | 646.212 | [8 empty] | 48729.2652
97458.5304
Building D: Fire Fighting, Police Chowki, Hospital, Gate
|  | FSI Area Sq.M. | FSI Area Sq.Ft. | Builtup Area Sq.M. | Builtup Area Sq.Ft. | Carpet Area Sq.M. | Carpet Area Sq.Ft. | Saleable Area Sq.M. | Saleable Area Sq.Ft.
| Fire | 0 | 0 | 230 | 2475.72 | 0 | 0 | 0 | 0 | [13 empty] | 23 |  |  | 92 | 23 | 54 | [7 empty] | 92 | [11 empty] | 252 | 253
| Police Chowki | 73.8 | 794.3832 | 85 | 914.94 | 0 | 0 | 0 | 0 | [13 empty] | 8.5 |  |  | 34 | 8.5 | [8 empty] | 34 | [12 empty] | 93.5
| Hospital | 147.6 | 1588.7664 | 155 | 1668.42 | 0 | 0 | 0 | 0 | [13 empty] | 15.5 |  |  | 62 | 15.5 | [8 empty] | 62 | [12 empty] | 170.5
| Gate 1 | 0 | 0 | 65 | 699.66 | 0 | 0 | 0 | 0
| Gate 2 | 0 | 0 | 65 | 699.66 | 0 | 0 | 0 | 0
| Gate 3 | 0 | 0 | 65 | 699.66 | 0 | 0 | 0 | 0 | [30 empty] | 0.6
| Ped Gate 1 | 0 | 0 | 75 | 807.3 | 0 | 0 | 0 | 0 | [30 empty] | 7
| Ped Gate 2 | 0 | 0 | 75 | 807.3 | 0 | 0 | 0 | 0 | [30 empty] | 5
| Ped Gate 3 | 0 | 0 | 75 | 807.3 | 0 | 0 | 0 | 0 | [20 empty] | kg /cum | [9 empty] | 5
|  | 221.4 | 2383.1496 | 890 | 9579.96 | 0 | 0 | 0 | 0 |  | 1 | 31 | 31 | 3 | 2883 | 1441.5 | 1441.5 |  |  |  | 21 | 21 | 1 |  | 441 | 193.64 | 48.41 | 34.56 |  | 0.14 | 105.4887 |  | 1008 |  |  | 188 | 957.996 |  | 958 | 105 | [8 empty] | 517
Parking
|  | FSI Area Sq.M. | FSI Area Sq.Ft. | Builtup Area Sq.M. | Builtup Area Sq.Ft. | Carpet Area Sq.M. | Carpet Area Sq.Ft. | Saleable Area Sq.M. | Saleable Area Sq.Ft.
| Floor 1 | 0 | 0 | 22568.14 | 242923.459 | 0 | 0 | 0 | 0 | [13 empty] | 2256.814 |  |  | 9027.256 | 2256.814 | 45 | [7 empty] | 9027.256
| Floor 2 |  |  | 22568.14 | 242923.459 | [20 empty] | 9027.256 | 2256.814 | 21 | [7 empty] | 9027.256
| Floor 3 |  |  | 22568.14 | 242923.459 | [20 empty] | 9027.256 | 2256.814 | [8 empty] | 9027.256 |  |  |  | 0.6
| Floor 4 |  |  | 22568.14 | 242923.459 | [20 empty] | 9027.256 | 2256.814 | [8 empty] | 9027.256 |  |  |  | 7
| Floor 5 |  |  | 22568.14 | 242923.459 | [20 empty] | 9027.256 | 2256.814 | [8 empty] | 9027.256 |  |  |  | 21
| Floor 6 | 0 | 0 | 22568.14 | 242923.459 | 0 | 0 | 0 | 0 | [16 empty] | 9027.256 | 2256.814 | [8 empty] | 9027.256 |  |  |  | 45
|  | 0 | 0 | 135408.84 | 1457540.7538 | 0 | 0 | 0 | 0 |  | 1 | 31 | 221 | 102.1 | 20553 | 10276.5 | 10276.5 |  |  |  | 221 | 102.1 | 2 |  | 45128.2 | 55788.4421 | 13947.1105 | 453.6 |  | 0.14 | 16951.6508 |  | 46526.4 |  |  | 54163.536 | 145754.0754 |  | 145755 | 3969
| Sr. No. | Item | UoM | Nos | L | B | H | Qty | Assumptions | Remarks
| Column Piers - Boundary Wall | [8 empty] | Dia of pier: 0.5 mtr Depth: 2.5 mtr Spacing: 5 mtr c/c
| i | BW Side 1 |  | 77 | 381.59 |  |  |  | 5 | Every 5 mtr
| ii | BW Side 2 |  | 22 | 107.36 |  |  |  | 5 | Every 5 mtr
| iii | BW Side 3 |  | 45 | 224.95 |  |  |  | 5 | Every 5 mtr
| iv | BW Side 4 |  | 73 | 365 |  |  |  | 5 | Every 5 mtr
| v | BW Side 5 |  | 5 | 24.52 |  |  |  | 5 | Every 5 mtr
| vi | BW Side 6 |  | 75 | 370.59 |  |  |  | 5 | Every 5 mtr
|  | Total = |  | 296 | 1474.01
| 1 | Concrete M20 | cum | 296 |  | 0.5 | 5 | 299.1635
|  | Plinth beam | cum | 1474.01
| 2 | Reinforcement | MT |  |  |  |  | 29.9164 | 10% | 10% of Concrete volume
| 3 | Excavation | cum |  |  |  |  | 673.1179 | 125% | Additional 20% with respect to RMC
| 4 | Beams | kg |  |  |  |  | 455280 |  | HB 150 | 560 | 30
| Rubble Masonry - Boundary Wall | [8 empty] | Width: 0.45 mtr Height: 1.2 mtr (4')
| i | Volume of work | cum | 1 | 14853.708 | 0.45 | 0.45 | 3007.8759 | [5 empty] | 2.2222
| 1 | Rubble stones | cum |  |  |  |  | 3759.8448 | 25% | Additional 25% of volume of work
| 2 | CM | cum |  |  |  |  | 1112.9141 | 37% | 37% of volume of work
| Tin Sheets - Boundary Wall | [8 empty] | Height: 2.4 mtr (8')
| 1 | Tin Sheets | sqm | 1 | 2063.015 |  | 2.4 | 4951.236
| Concrete | Boundary wall |  | 1400 | 0.3535 | 4 | 1 | 2038.988
Roads
| CC Road - 30 m | [5 empty] | cum
| M10 | 301 |  | 30 | 0.3 |  |  | 2709
| M30 | 301 |  | 30 | 0.5 |  |  | 4515
CC Road - 18 m
| M10 | 598 |  | 18 | 0.1 |  |  | 1076.4
| M30 | 598 |  | 18 | 0.3 |  |  | 3229.2
CC Road - 15 m
| M10 | 100 |  | 15 | 0.1 |  |  | 150
| M30 | 100 |  | 15 | 0.3 |  |  | 450
| Solar Panel |  | 70%
| Building A | 11201.1268 | 7840
| Building B | 4248.9756 | 2974
| Building C | 1829.751 | 1280
| Amenity | 470
Land cost
| A | 0.73242
| B | 0.088943
| C | 0.17864 | 1
| Road work |  | Spec | Rate | Qty | Wastage | Revised Qty | Amount
| GSB | cum | 200 mm | 1600
| WMM | cum | 200 mm | 1600 |  | 0 |  | 0
| Tack cost | sqm | 0.225 kg /sqm
| Seal coat | sqm | 0.75 kg /sqm
| Primer coat | sqm | 0.75 kg /sqm
| SDBC | cum | VG 30 @ 5% v/v
| Kerb stone | m |  | 400
|  |  |  | 15 | 5261621.8867 | 7.8924
|  |  |  | 28.4327 | 2775825.5556
|  |  |  | 25 |  | 6.9396
| RCC walls |  |  |  | 11 | 0.4 |  | 3% |  | 0.14
30 | A Block |  | No of floors | L | W | Qty |  | Wastage | Qty after Deduction |  | Windows | 4 | Total count | wastages | 5%
14 | 1st - 5th | 30 x 14 m plot | 5 | 140 | 660 | 36960 | 14 | 38068.8 |  |  | 8 | Each side having 1 window every 4 m | 440
12 | 6th - 10th | 30 x 12 m plot | 5 | 120 | 660 | 31680 | 12 | 32630.4 |  |  | 6 |  | 330
10 | 11th - 12th | 30 x 10 m plot | 2 | 40 | 660 | 10560 | 10 | 10876.8 |  |  | 6 |  | 132
7 | 13th - 14th | 30 x 7 m plot | 2 | 28 | 660 | 7392 | 7 | 7613.76 |  |  | 4 |  | 88
[8 empty] | 89189.76 | 79766.976 | 11167.3766 |  |  | 990 | 50 | 1040
478601.856
| B Block |  |  | Addition factor | 0.2
| 1st - 7th |  | 7 | 360 | 432 | 432 |  | 444.96 |  |  | 42 |  | 294 | 15 | 309
|  |  |  | 160 | 192 | 192 |  | 197.76
[9 empty] | 642.72 | 89.9808
| Amennity Building | [7 empty] | 3856.32
| Fire | 230 |  | 23 | 10 | [5 empty] | 6 | 3
| Police Chowki | 85 |  | 9 | 10 | [5 empty] | 3 | 3
| Hospital | 155 |  | 16 | 10 | [5 empty] | 4 | 3
[8 empty] | 10% |  |  |  |  | 22 | 2 | 24
| Glass panelling | L | Width | Height | CSA | Floors |  | Wastage
| A | 35 | 6 | 4.2 | 294 | 14 | 4116 | 4528
| Façade | [5 empty] | 10000
| A | 74088 | 74088 |  |  |  | 74.088 | Considered façade only on the front and back side of the building
| C | 16083.2 | 16083.2 |  |  |  | 16.0832 | Considered façade only on all sides of the building
|  |  | Unit Type | FSI Area | Carpet Area | No of Unit on One floor | No of Floor | Total FSI Sq.M. | Total Carpet Sq.M.
|  |  | Karkhana Type 1 | 408.2478 | 397.0613 | 38 | 1 | 15513.4164 | 15088.3294
|  |  | Karkhana Type 2 | 342.907 | 332.9454 | 38 | 1 | 13030.466 | 12651.9252
|  |  | Karkhana Type 3 | 274.8657 | 266.1797 | 38 | 1 | 10444.8966 | 10114.8286
|  |  | Karkhana Type 4 | 206.8244 | 199.4139 | 38 | 1 | 7859.3272 | 7577.7282
|  |  | Small Karkhana 5 | 48.1 | 43.74 | 14 | 1 | 673.4 | 612.36
|  |  | Small Karkhana 6 | 32 | 28.49 | 60 | 1 | 1920 | 1709.4
|  |  | Office Type 1 | 200.7572 | 194.3444 | 4 | 1 | 803.0288 | 777.3776
|  |  | Office Type 2 | 163.8239 | 157.2376 | 4 | 1 | 655.2956 | 628.9504
834115.2 | 2320000000
118578.242
183.9554
30.7521
17.2926
Ratio 80:20
1.3699
673.4
1920
2593.4
4248.9756
1.9264
Note on F162: Mistry, Dhruv: 20mtr Gate
Note on E164: Mistry, Dhruv: 1 deducted due to overlapping of last column
Note on F172: Mistry, Dhruv: Deuction of Column-Pier length out of total perimeter

## Work Specs
Sr. No. | Item | Details | UoM | A | B | C | Amenity building | Basement | Amenities for basement | Total | Base Rate | Project Reference | Specifications
1 | Pile foundation | M30 | cum |  |  |  |  | 0 | 0 | 0 | 6500
2 | Rubble Masonary |  | cum | [5 empty] | 455280 | 455280 | 1200 |  | 450 mm height and 450 mm width of rubble masonry wall across plot boundary 2 steel gates of 5 m width each
3 | Tin sheets & I/H Beams |  | sqm | [5 empty] | 1112.9141 | 1112.9141 | 2500
4 | Site grading |  | sqm | [5 empty] | 0 | 0 | 120 |  | Topography survey for scope of works Levelling of land through compacting and backfilling to achieve MDD 95% for strata levels up to 10 feet height at certain locations and levelled at other locations during 15-Nov-21 visit
5 | Gate & Drain development |  | sqm | [5 empty] | 0 | 0 | 150 |  | Storm water drain development across plot boundary External entry gate development as per design X 3 nos (Quantities for concrete and reinforcement works for gates considered under Boundary wall CC & Boundary wall reinforcement)
6 | Boring and excavation |  | cum | [5 empty] | 0 | 0 | 1400 |  | Excavation works for boundary wall and piles for boundary wall construction Width = 0.45 m +0.3 m = 0.75m Height = 0.1 m
7 | Project Site office |  | sqft | [5 empty] | 500 | 500 | 3500 |  | Project site office construcetd in RCC for 500 sq.ft. space with two 2T AC, sitting space for 6 people with desks / conference table, toilet facility
8 | Sales office |  | sqft | [5 empty] | 2000 | 2000 | 3500 |  | Project sales office construcetd in RCC for 2500 sq.ft. space with four 2T AC, sitting space for 8 people with desks / conference table, toilet facility, induction room, 2 number of sofa sets (5 seater), 1 number of 55" TV
9 | Boundary wall concrete | M30 | cum | [5 empty] | 4951.236 | 4951.236 | 6500 |  | M 30 grade of concrete
10 | Boundary wall reinforcement |  | MT | [5 empty] | 0 | 0 | 77000 |  | FE 500 reinforcement steel
11 | Excavation | 0-1.5 | cum |  |  |  |  | 0.015 |  | 0.015 | 350 |  | Step cutting for 0 to 1.5 m depth in soil strata Since the the excavated muck is being stored as debris hence soil strata is considered
12 |  | 1.5-3 | cum |  |  |  |  | 0.015 |  | 0.015 | 500 |  | Step cutting for 1.5 to 3.0 m depth in soil strata Since the the excavated muck is being stored as debris hence soil strata is considered
13 |  | 3-4.5 | cum | [6 empty] | 0 | 1100
14 | PCC | M15 | cum |  |  |  |  | 4445.838 |  | 4445.838 | 5000 |  | M 15 grade of concrete
15 | Concrete | M15 | cum | [6 empty] | 0 | 3800
16 | Subs tructure' | M50 | cum |  |  |  |  | 33343.785 |  | 33343.785 | 7500 |  | M 50 grade of concrete
17 | Superstructure | M50 | cum | 58.4 | 58.8 | 100 | 0 | 75.4 |  | 292.6 | 7500 |  | M 50 grade of concrete including pumping charges of ₹ 150 / cum
18 | [9 empty] | 0 |  |  | M 50 grade of concrete including pumping charges of ₹ 150 / cum
19 | Reinforcement | TMT 500 | MT | 8.176 | 8.232 | 14 | 0 | 4678.6859 |  | 4709.0939 | 77000 |  | FE 500 reinforcement steel
20 | Shuttering | Standard | sqm | 28482.2536 | 0 | 0 | 0 | 0 |  | 28482.2536 | 160 |  | Commercial ply 18 mm with nails, considered at 7 repetitions per ply
21 |  | Aluminium | sqm |  |  | 0 |  |  |  | 0
22 | Brickwork | 500 mm | sqm | 6720.6761 | 2549.3854 | 243.9668 | 0 |  |  | 9514.0282 | 350 |  | Brickwork with 230 x 100 x 75 mm bricks and 1:4 ratio for cement mortar
23 | Windows in B block |  | Nos |  | 756 |  |  |  |  | 756 | 5000
23 | Road |  | LS | [5 empty] | Deloitte | 0 | 25 |  | BT road (WMM (graded stone aggregate and granular material conforming to MORT&H specifications (Table 400-II)) + Tack Cost (bitumen emulsion as per IS: 8887 and approved quality @ 0.225 kg/sqm) + Seal Cost (Bitumen emulsion as per IS :8887 and approved quality @ 0.75 kg/sqm) + SDBC (25-30 mm compacted thickness (Grade-2) using Bitumen VG-grade 30 @ 5%))
24 | External electrical infrstructure |  | sqft | [5 empty] | 0 | 0 | 30 |  | Recessed uplight fixture (Adhoc) + 250 W compact general purpose flood light with high pressure lamp + 200 W LED Flood Light Wipro REVO complete with driver and mounting accessories
25 | Finishing | [8 empty] | 0
26 | Tiling |  | sqft |  |  | 1546.9608 | 0 |  |  | 1546.9608 | 250 |  | Ceramic tiles flooring as approved by Architect laid over 30 mm average thick bed of cement mortar 1:6 (1 cement : 6 crush sand),cement floating and cement grouted with paper thin joints , grouting the joints with white cement and pigment
27 | Kota stone / Granite |  | sqft | 757.7728 | 232.176 |  |  |  |  | 989.9488 | 250 |  | Granite flooring of 20mm thick in required sizes as per detail in drawing, patterns , profile . It shall be fixed with rich white cement slurry on backing/bedding of average 25mm thick cement mortar of 1:6 (1 Cement : 6 crush sand).
27 | Tiling - Tremix floor |  | sqft | 7577.7282 | 2321.76 |  |  |  |  | 9899.4882 | 160 |  | 75mm thick vacuum dewatered (Tremix) concrete of grade M20 of trap metal
28 | Painting |  | sqft | 120568.9289 | 45735.9734 | 5908.6319 | 2475.72 |  |  | 174689.2542 | 110 |  | Internal = Base preparataion + Primer + 2 coats (OBD/ Plastic / Emulsion paint) External = Base preparataion + Primer + 3 coats (Exterior paints)
29 | Labor |  | mandays | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500
30 | Façade - lobby |  | sqft | [6 empty] | 0
31 | Glass panelling |  | sqm | 0.1 | [5 empty] | 0.1
32 | Mechanical parking system | [6 empty] | 1500 |  | 1500 | 85130 |  | PLC based Hydraulic parking system 230 V - Mild steel material Weight - 970 kg
32 | Plumbing |  | sqft | 120568.9289 | 45735.9734 | 19695.4398 | 2475.72 |  |  | 188476.062 | 225 |  | GI pipes (C / A class) or HDPE pipes - If ISI marked or not Urinals - European / Indian / Brands
33 | Piping cost |  | sqft
34 | Fire Fighting |  | sqft | 120568.9289 | 45735.9734 | 19695.4398 | 2475.72 | 242923.459 |  | 431399.521 | 60 | 29.13 | Centrifugal pump, suitable for operation on 415 volts ± 6%, 3 phase, 50 HZ A.C supply. The installation shall be complete with Flexible coupling and coupling guard, complete with flow = 180 LPM and Head = 70 m High pressure, single centrifugal Fire pump, suitable for operation on 415 volts ± 10 %, 3 phase, 50 HZ A.C supply with flow = 75 LPS and Head = 140 m terrace fire booster pump comprising of Horizontal mono-block centrifugal pump, suitable for operation on 415 volts ± 6%, 3 phase, 50 HZ A.C supply with flow = 900 LPM and Head = 40 m
26 | Windows and finshing |  | sqm | 0 | 0 |  | 0 |  |  | 0 | 10000
29 | Electrical |  | sqft | 120568.9289 | 45735.9734 | 19695.4398 | 2475.72 |  |  | 188476.062 | 225
30 | Electrical (parking) |  | sqft |  |  |  |  | 242923.459 |  | 242923.459 | 85
31 | Doors & gates |  | sqft | 2013778.2878 | 265195.8972 | 494468.221 | 2383.1496 |  |  | 2775825.5556 | 30 |  | Factory fabricated ducts with smoke and fire dampers, diffusers, supply air and return air grilles in common areas
32 | HVAC |  | sqft |  |  | 19695.4398 |  |  |  | 19695.4398 | 100 |  | Mechanical air fans, smoke and fire dampers, diffusers (powder coated)
33 | HVAC (A &B) - evaporative cooling - common area / jet fans |  | sqft | 201377.8288 | 26519.5897 |  |  |  |  | 227897.4185 | 100 |  | Mechanical air fans, smoke and fire dampers, diffusers (powder coated)
33 | HVAC - basement (mechanical ventilation) |  | sqft |  |  |  |  | #REF! |  | #REF! | 20 |  | Mechanical air fans, smoke and fire dampers
34 | HVAC - amenity building |  | sqft |  |  |  | 2475.72 |  |  | 2475.72 | 200 |  | Mechanical air fans, smoke and fire dampers, diffusers (powder coated), Air conditioning for medical room
30 | Gas bank room and support system |  | Nos | 15 | 6 |  |  |  |  | 21 | 160000
31 |  |  | Nos | 5 | 2 |  |  |  |  | 7
32 | Mechanical parking system | [11 empty] | PLC based hydraulic type car parking system of mild steel with electromechanical locking system
33 | Rain water harvesting tanks and pipes |  | Nos | [5 empty] | 15 | 15 | 1500000
34 | Lifts C (Passenger) |  | Nos |  |  | 8 |  |  |  | 8 | 8000000 |  | Passenger Elevator having capacity of (1632 kgs capacity) with 2 panel center opening 1 hr fire rated doors, with Machine room with all safety features, car interior finishes as per technical specifications
35 | Lifts A (Passenger & Freight) |  | Nos | 38 | [5 empty] | 38 | 4000000 |  | Freight Elevator having capacity 2500 kgs capacity with 1 mps speed, travel of 60 mtrs. Multipanel Centreopening door 1 hr fire rated doors, with Machine room with all safety features, car interior finishes as per technical specifications to serve G+16 storey building blocks
36 | Lifts B (Passenger & Freight) |  | Nos |  | 12 |  |  |  |  | 12 | 3000000 |  | Freight Elevator having capacity 2500 kgs capacity with 1 mps speed, travel of 45 mtrs. Multipanel Centreopening door 1 hr fire rated doors, with Machine room with all safety features, car interior finishes as per technical specifications to serve G+11 storey building blocks
37 | Lifts - amenity |  | Nos |  |  |  | 2 |  |  | 2 | 2000000 |  | Passenger Elevator having capacity of (1632 kgs capacity) with 2 panel center opening 1 hr fire rated doors, with Machine room with all safety features, car interior finishes as per technical specifications for G+1 storey
38 | Landscaping |  | sqft | [5 empty] | 0 | 0 | 200
39 | Façade |  | sqft |  |  | 74088 |  |  |  | 74088 | 10000 |  | System -Spider Glazing with Full Glass fin Description - Single floor height Spider Glazing with Full Glass fin Glass Fin - GL-1.1 (Refer Specification) Location - Ground floor Reference: Refer to corresponding Technical Specification and Tender drawings.
40 | STP |  | MLD | [5 empty] | 6 | 6 | 15000000 |  | Sequential Batch reactor technology Components: Screen Chamber Sewage equalization tank/sump Anoxic tank (As per requirement) Sequential batch reactor (SBR) tank Secondary Clarifier tank Flocculator Tertiary Clarifier Tank Sludge holding tank Air Blowers, Pumps & equipment Screw Pump & Filter Press Piping, valves etc Multigrade sand filters, Activated carbon filters and Softners Electrical Panel & Cabling Flushing / Irrigation, Soft water storage tank Common plant room
41 | ETP |  | MLD | [5 empty] | 5 | 5 | 25000000
42 | Water tank (OHWT) |  | ltr | [5 empty] | 3600000 | 3600000 | 25
43 | Equipment & machinary |  | sqft |  |  |  |  | #REF! |  | #REF! | 30 |  | 6 nos 11 kv DG sets with acoustic / insulation including Breaker control switch and multifunction meter Earthing installations HT cables and LT control cables Exhaust piping, Cables and cable trays

## Calculations summary
|  |  | sqm | sqft
| Project | Item | Area |  | Quantity
| Palacio | Excavation | 671.85 | 7229.106 | 2281.65 |  |  | 0.31562
|  | RCC | 345.76 | 3720.3776 | 6070.42 |  |  | 0.95
|  |  | 21 | 381 | 18.1429
|  |  | 21 | 255 | 12.1429
|  |  | 1 | 70
|  |  |  | Excavation | 3 |  |  | 70 | 12 | 2520 | 21 | 52920
|  |  |  | Excavation | 3
|  | L | B | D | Nos | Qty | UoM | Volume | Rate | Amount
| Excavation | [6 empty] | 103755.51
| Building A | 345 | 71 | 3 | 1 |  |  | 73485
| Building B | 137.67 | 51 | 3 | 1 |  |  | 21063.51
| Building C | 31 | 33 | 4.5 | 2 |  |  | 9207
| Amenity | 31 | 31 | 3 | 1 |  |  | 2883 |  |  |  | 39.98 | 29.52
| RCC Sub structure | [6 empty] | 57413.34
| Building A | 255 | 71 | 2 | 1 |  |  | 36210
| Building B | 137.67 | 51 | 2 | 1 |  |  | 14042.34
| Building C | 31 | 33 | 3.5 | 2 |  |  | 7161
| Amenity | 21 | 21 | 1 | 1 |  |  | 441
| PCC | 2116.0544 | 467.3873 | 201.2726 | 51.7 |  |  |  |  | 2836.4143 | [24 empty] | Parking
| RCC Super structure - Beam & Slab | [6 empty] | 220119.659 | Podium | [7 empty] | Beam | Slab | Columns |  |  |  |  | Beam | Slab | Columns |  |  |  | Beam | Slab | Columns |  |  | Beam | Slab | Columns
179322 | Building A | 179322 |  |  | 0.81 |  |  | 145250.82 | #REF! | #REF! |  | 1 cum / sqm |  |  |  |  | 0.5 | 0.1 | 4 |  | 190 | 95 |  | 0.5 | 0.1 | 4 |  |  |  | 0.5 | 0.1 | 4 | 128 |  | 0.5 | 0.1 | 3
[34 empty] | 7522.7133 | 3761.3567 | 752.2713 |  | 61.3299 | 12.266
[34 empty] | 7522.7133 | 3761.3567 | 752.2713
27609.6654 | Building B | 27609.6654 |  |  | 0.81 |  |  | 22363.829 | #REF! | #REF! |  | 1 cum / sqm |  | 420 | 620 | 19236.8582 | 9618.4291 | 1923.6858 | 1520 | 408 | 40 | 8 | 4248.9756 | 2124.4878 | 424.8976 | 122 | 27.6 | 28 | 1829.751 | 914.8755 | 182.9751 |  |  | 7522.7133 | 3761.3567 | 752.2713
63860 | Building C | 63860 |  |  | 0.81 |  |  | 51726.6 | #REF! | #REF! |  | 1 cum / sqm |  |  |  | 19237.8582 | 9618.9291 | 1923.7858 |  |  | 10 | 2 | 4248.9756 | 2124.4878 | 424.8976 |  | 10.2 | 11 | 1829.751 | 914.8755 | 182.9751 |  |  | 7522.7133 | 3761.3567 | 752.2713
#VALUE! | Amenity | 961 |  |  | 0.81 |  |  | 778.41 | 329 | 1107.41 |  | 1 cum / sqm |  |  |  | 19237.8582 | 9618.9291 | 1923.7858 |  | 343 | 35 | 7 | 4248.9756 | 2124.4878 | 424.8976 |  |  |  | 1829.751 | 914.8755 | 182.9751 |  |  | 7522.7133 | 3761.3567 | 752.2713 | 20736
[16 empty] | 19237.8582 | 9618.9291 | 1923.7858 |  | 275 | 28 | 6 | 4248.9756 | 2124.4878 | 424.8976 |  |  |  | 1829.751 | 914.8755 | 182.9751 |  |  | 7522.7133 | 3761.3567 | 752.2713
| Reinforcement | [6 empty] | 38916.3599 | [7 empty] | 19237.8582 | 9618.9291 | 1923.7858 |  | 207 | 21 | 5 | 4248.9756 | 2124.4878 | 424.8976 |  |  |  | 1829.751 | 914.8755 | 182.9751
| Building A |  |  |  | 14% | 181460.82 |  | 25404.5148 | [7 empty] | 19237.8582 | 9618.9291 | 1923.7858 |  |  |  |  | 4248.9756 | 2124.4878 | 424.8976 |  |  |  | 1829.751 | 914.8755 | 182.9751
| Building B |  |  |  | 14% | 36406.169 |  | 5096.8637 | [7 empty] | 16630.7792 | 8315.3896 | 1663.0779 | 1330 |  |  |  | 4248.9756 | 2124.4878 | 424.8976 |  |  |  | 1829.751 | 914.8755 | 182.9751
| Building C |  |  |  | 14% | 58887.6 |  | 8244.264 | [7 empty] | 16630.7792 | 8315.3896 | 1663.0779 |  |  |  |  | 4248.9756 | 2124.4878 | 424.8976 |  |  |  | 1829.751 | 914.8755 | 182.9751 |  |  |  | 22568.14 | 4513.628 | 20736
| Amenity |  |  |  | 14% | 1219.41 |  | 170.7174 | [7 empty] | 16630.7792 | 8315.3896 | 1663.0779 |  |  |  |  | 4248.9756 | 2124.4878 | 424.8976 |  |  |  | 1829.751 | 914.8755 | 182.9751
| Parking |  |  |  | 14% | 82161.8666
[16 empty] | 16630.7792 | 8315.3896 | 1663.0779 |  |  |  |  | 4248.9756 | 2124.4878 | 424.8976 |  |  |  | 1829.751 | 914.8755 | 182.9751
| Shuttering | [14 empty] | 16630.7792 | 8315.3896 | 1663.0779 | [10 empty] | 1829.751 | 914.8755 | 182.9751
| Building A | [5 empty] | sqm | #REF! | [7 empty] | 13915.953 | 6957.9765 | 1391.5953 | 1140 | [9 empty] | 1829.751 | 914.8755 | 182.9751
| Building B | [5 empty] | sqm | #REF! | [7 empty] | 13915.953 | 6957.9765 | 1391.5953 | [10 empty] | 1829.751 | 914.8755 | 182.9751
| Building C | 1829.751 |  |  |  |  | sqm | 28362 | [7 empty] | 11201.1268 | 5600.5634 | 1120.1127 | 950 | [9 empty] | 1829.751 | 914.8755 | 182.9751
| Amenity | [5 empty] | sqm | 6644.46 | [7 empty] | 11201.1268 | 5600.5634 | 1120.1127 | [10 empty] | 1829.751 | 914.8755 | 182.9751
| Parking | [5 empty] | sqm | 286906.608
[17 empty] | 124407.1024 | 24881.4205 | 36784 |  |  |  |  | 21244.878 | 4248.9756 | 1952 |  |  | 1829.751 | 914.8755 | 182.9751
| Finishing | [14 empty] | Variation | 143068.1678 | 28613.6336 | 36784 | [9 empty] | 1829.751 | 914.8755 | 182.9751
| Blockwork 230 mm | [16 empty] | 186072.5229 | [6 empty] | 27445.8536 |  |  |  | 1829.751 | 914.8755 | 182.9751
| Building A | 18105 |  |  | 40% |  | sqm | 7242 |  |  |  | External Façade, blockwork only for internal walls | [5 empty] | 40821.7029 | [6 empty] | 5082.0246 |  |  |  | 1829.751 | 914.8755 | 182.9751
| Building B | 7021.17 |  |  | 40% |  | sqm | 2808.468 | [20 empty] | 1829.751 | 914.8755 | 182.9751
| Building C | 1023 |  |  | 20% |  | sqm | 204.6 | [20 empty] | 1829.751 | 914.8755 | 182.9751
| Amenity | 441 |  |  | 40% |  | sqm | 176.4 | [20 empty] | 1829.751 | 914.8755 | 182.9751
[29 empty] | 1829.751 | 914.8755 | 182.9751
| Column Piers | [10 empty] | 10 m distance between columns | [16 empty] | 1829.751 | 914.8755 | 182.9751
| Building A | [27 empty] | 1829.751 | 914.8755 | 182.9751
| Building B | [27 empty] | 1829.751 | 914.8755 | 182.9751
| Building C | [27 empty] | 1829.751 | 914.8755 | 182.9751
| Amenity | [27 empty] | 1829.751 | 914.8755 | 182.9751
[29 empty] | 1829.751 | 914.8755 | 182.9751
[29 empty] | 1829.751 | 914.8755 | 182.9751
[7 empty] | sqm | [21 empty] | 1829.751 | 914.8755 | 182.9751
[7 empty] | sqm | [21 empty] | 1829.751 | 914.8755 | 182.9751
[7 empty] | sqm | [22 empty] | 29276.016 | 5855.2032 | #REF!
[7 empty] | sqm | [22 empty] | 35131.2192 | 7026.2438 | #REF!
| Labor |  | 0.1
| Building A | 2678236.1005 | 26782361.0047 | 500 | 53564.722 |  | mandays | 53565 | 107.13 |  | A | 2022-04-11 | 2024-02-12 | 672 | 71991.36
| Building B | 457359.7336 | 4573597.3358 | 250 | 18294.3893 |  | mandays | 18295 | 73.18 |  | B | 2022-08-16 | 2023-07-31 | 349 | 25539.82
| Building C | 630254.0724 | 6302540.7245 | 300 | 21008.4691 |  | mandays | 21009 | 70.03 |  | C | 2022-08-16 | 2023-07-31 | 349 | 24440.47
| Amenity | 5059.08 | 50590.8 | 50 | 1011.816 |  | mandays | 1012 | 20.24
Steel structure calculations
Concrete
| Building A | 248906.7008 | 0.7 |  |  |  | cum | 174234.6906
| Building B | 42505.5514 | 0.7 |  |  |  | cum | 29753.886
| Building C | 58573.7986 | 0.7 |  |  |  | cum | 41001.659
Column piers
| Building A |  | 0.6 | 7 | 136 |  |  | 571.2
| Building B |  | 0.6 | 7 | 64 |  |  | 268.8
| Building C |  | 0.6 | 7 | 22 |  |  | 92.4
| Amenity |  | 0.6 | 7 | 16 |  |  | 67.2
| CC wall | 1400 | 0.23 | 3 | 1 |  |  | 966
Air compressor
|  |  |  | 10% |  | 3
| Building A |  | 10000 | Additional | Compressor units | Compressor reservoir tank
| Ground Floor | 207065.5417 | 21 | 3 |  | 8
| 1st | 207076.3057 | 21 | 3 |  | 8
| 2nd | 207076.3057 | 21 | 3 |  | 8
| 3rd | 207076.3057 | 21 | 3 |  | 8
| 4th | 207076.3057 | 21 | 3 |  | 8
| 5th | 207076.3057 | 21 | 3 |  | 8
| 6th | 179013.7073 | 18 | 2 |  | 7
| 7th | 179013.7073 | 18 | 2 |  | 7
| 8th | 179013.7073 | 18 | 2 |  | 7
| 9th | 179013.7073 | 18 | 2 |  | 7
| 10th | 179013.7073 | 18 | 2 |  | 7
| 11th | 149791.3181 | 15 | 2 |  | 6
| 12th | 149791.3181 | 15 | 2 |  | 6
| 13th | 120568.9289 | 13 | 2 |  | 5
| 14th | 120568.9289 | 13 | 2 |  | 5
| Total | 2678236.1005 | 272 | 28 | 272 | 105
Building B
| Ground Floor | 45735.9734 | 5 | 1 |  | 2
| 1st | 45735.9734 | 5 | 1 |  | 2
| 2nd | 45735.9734 | 5 | 1 |  | 2
| 3rd | 45735.9734 | 5 | 1 |  | 2
| 4th | 45735.9734 | 5 | 1 |  | 2
| 5th | 45735.9734 | 5 | 1 |  | 2
| 6th | 45735.9734 | 5 | 1 |  | 2
| 7th | 45735.9734 | 5 | 1 |  | 2
| 8th | 45735.9734 | 5 | 1 |  | 2
| 9th | 45735.9734 | 5 | 1 |  | 2
| Total | 457359.7336 | 50 | 5 | 50 | 20
| Lits | No of stops
| A | 17 |  |  |  | 42.5
| B | 10 |  |  |  | 25
| C | 34 |  |  |  | 85

## RCC (hidden)
GEMS AND JEWELLERY PARK MAHAPE
PRELIMINARY BUDGET ESTIMATE
ICONIC - RCC STRUCTURE - BACK UP SHEET
Sr. No. | Item | UoM | Amount | Remarks
1 | Construction Cost | ₹ per sqft | #REF!
2 | Indirect cost | ₹ in crores | #REF! | 15%
3 | Green building certification | ₹ in crores | #REF! | 7%
4 | Exigency cost | ₹ in crores | #REF! | 15%
5 | Land cost | ₹ in crores | 232
6 | Total Cost | ₹ in crores | #REF!
7 | Total area | sqft | 3770908.9865 | Built up area for 3 blocks & amenity building
8 | Cost per unit area | ₹ per sqft | #REF!
If Optional Substation is developed
Sr. No. | Item | UoM | Amount | Remarks
1 | Total Cost | ₹ in crores | #REF!
2 | Additional Cost | ₹ in crores | 189.0762
3 | Revised total cost | ₹ in crores | #REF!
4 | Cost per unit area | ₹ per sqft | #REF!
|  | Sr. No. | Item | UoM | A | B | C | Amenity | Support Structures | Total
|  | 1 | Cost per sqt | ₹ per sqft | #REF! | #REF! | #REF! | 7800.4387 |  | #REF!
|  | 2 | Total cost | ₹ in crores | #REF! | #REF! | #REF! | 3.9463 | 55.8525 | #REF!
|  | 3 | Built up area | sqft | 2678236.1005 | 457359.7336 | 630254.0724 | 5059.08 |  | 3765849.9065
|  | 4 | Carpet area | sqft | 1955071.2542 | 237418.5341 | 476838.0096 |  |  | 2669327.7979
|  | 5 | Saleable area | sqft
Sr. No. | Item | Details | UoM | A | B | C | Amenity | Support structures | Total | Rate | Amount (₹ in lakhs)
1 | Column Piers | M30 | cum | 571.2 | 268.8 | 92.4 | 67.2 | 299.1635 | 1298.7635 | 6500 | 84.4196 |  |  |  | 0.04368
2 | Rubble Masonary |  | cum |  |  |  |  | 3007.8759 | 3007.8759 | 350 | 10.5276 |  |  |  | 0
3 | Tin sheets |  | sqm |  |  |  |  | 4951.236 | 4951.236 | 250 | 12.3781 |  |  |  | 0
4 | Site grading |  | sqm |  |  |  |  | 88000 | 88000 | 120 | 105.6 |  |  |  | 0
5 | Gate & Drain development |  | sqm |  |  |  |  | 88000 | 88000 | 150 | 132 |  |  |  | 0
6 | Boring and excavation |  | cum |  |  |  |  | 673.1179 | 673.1179 | 1400 | 9.4237 |  |  |  | 0
7 | Project Site office |  | sqft |  |  |  |  | 500 | 500 | 3500 | 17.5 |  |  |  | 0
8 | Sales office |  | sqft |  |  |  |  | 2000 | 2000 | 3500 | 70 |  |  |  | 0
9 | Boundary wall concrete | M30 | cum |  |  |  |  | 1062.6 | 1062.6 | 6500 | 69.069 |  |  |  | 0
10 | Boundary wall reinforcement |  | MT |  |  |  |  | 127.512 | 127.512 | 50000 | 63.756 |  |  |  | 0
11 | Excavation | 0-1.5 | cum | 36742.5 | 10531.755 | 3069 | 1441.5 |  | 51784.755 | 150 | 77.6771 | 0.55114 | 0.15798 | 0.046035 | 0.021622
12 |  | 1.5-3 | cum | 36742.5 | 10531.755 | 3069 | 1441.5 |  | 51784.755 | 300 | 155.3543 | 1.1023 | 0.31595 | 0.09207 | 0.043245
13 |  | 3-4.5 | cum |  |  | 3069 |  |  | 3069 | 500 | 15.345 | 0 | 0 | 0.15345 | 0
14 |  |  |  | 73485 | 21063.51 | 9207 | 2883 |  | 106638.51 | [5 empty] | 0
15 | PCC | M15 | cum | 2116.0544 | 467.3873 | 201.2726 | 51.7 |  | 2836.4143 | 5000 | 141.8207 | 1.058 | 0.23369 | 0.10064 | 0.02585
16 | Concrete | M15 | cum | [5 empty] | 0 | 3800 | 0 | 0 | 0 | 0 | 0
17 | Subs tructure' | M50 | cum | 36210 | 14042.34 | 7161 | 441 |  | 57854.34 | 7500 | 4339.0755 | 27.1575 | 10.5318 | 5.3708 | 0.33075
18 | Superstructure | M50 | cum | #REF! | #REF! | #REF! | 1107.41 |  | #REF! | 7500 | #REF! | #REF! | #REF! | #REF! | 0.83056
19 | [14 empty] | 0
20 | Reinforcement | TMT 500 | MT | 25404.5148 | 5096.8637 | 8244.264 | 170.7174 |  | 38916.3599 | 50000 | 19458.1799 | 127.0226 | 25.4843 | 41.2213 | 0.85359
21 | Shuttering | Standard | sqm | #REF! | #REF! |  | 6644.46 |  | #REF! | 160 | #REF! | #REF! | #REF! | 0 | 0.10631 | #REF!
22 |  | Aluminium | sqm |  |  | 28362 |  |  | 28362 | 650 | 184.353 |  |  | 1.8435 | 0
23 | Blockwork | 230 mm | sqm | 7242 | 2808.468 | 204.6 | 176.4 |  | 10431.468 | 150 | 15.6472 | 0.10863 | 0.042127 | 0.003069 | 0.002646
24 | Road | M10 | cum |  |  |  |  | 3935.4 | 3935.4 | 3500 | 137.739 |  |  |  | 0
25 |  | M30 | cum |  |  |  |  | 8194.2 | 8194.2 | 6500 | 532.623
26 | External electrical infrstructure |  | sqft |  |  |  |  | 88000 | 88000 | 100 | 88
27 | Finishing
28 | Windows and finshing |  | sqm | 248814.2048 | 42489.756 |  | 470 |  | 291773.9608 | 430.4 | 1255.7951
29 | Labor |  | mandays | 71991.36 | 25539.82 | 24440.47 | 1012 |  | 122983.65 | 700 | 860.8855 | 5.0394 | 1.7878 | 1.7108 | 0.07084
30 | Tiling |  | sqft |  |  | 24440.47 | 1012 |  | 25452.47 | 800 | 203.6198 | 0 | 0 | 1.9552 | 0.08096
31 | Tiling - Tremix floor |  | sqft | 2678236.1005 | 457359.7336 |  |  |  | 3135595.8341 | 160 | 5016.9533 | 42.8518 | 7.3178 | 0 | 0
32 | Painting |  | sqft | 2678236.1005 | 457359.7336 | 630254.0724 | 5059.08 |  | 3770908.9865 | 110 | 4147.9999 | 29.4606 | 5.031 | 6.9328 | 0.05565
33 | Electrical |  | sqft | 2678236.1005 | 457359.7336 | 630254.0724 | 5059.08 |  | 3770908.9865 | 200 | 7541.818 | 53.5647 | 9.1472 | 12.6051 | 0.10118
34 | Air compressor system |  | Nos | 272 | 50 |  |  |  | 322 | 100000 | 322 | 2.72 | 0.5 | 0 | 0
35 | Air reservoir tank |  | Nos | 105 | 20 |  |  |  | 125 | 150000 | 187.5 | 1.575 | 0.3 | 0 | 0
36 | Rain water harvesting tanks and pipes |  | Nos | 10 | 2 | 2 |  |  | 14 | 3000000 | 420 | 3 | 0.6 | 0.6 | 0 |  | 1500
37 | Rain water harvesting tanks and pipes - amenity |  | Nos |  |  |  | 2 | 1 | 3 | 1000000 | 30
38 | Centralized BMS system |  |  | 2678236.1005 | 457359.7336 | 630254.0724 |  |  | 3765849.9065 | 150 | 5648.7749 | 40.1735 | 6.8604 | 9.4538 | 0
39 | Plumbing |  | sqft | 2678236.1005 | 457359.7336 | 630254.0724 | 5059.08 |  | 3770908.9865 | 150 | 5656.3635 | 40.1735 | 6.8604 | 9.4538 | 0.075886
40 | Piping cost |  | sqft | 2678236.1005 | 457359.7336 | 630254.0724 | 5059.08 |  | 3770908.9865 | 200 | 7541.818 | 53.5647 | 9.1472 | 12.6051 | 0.10118
41 | Fire Fighting |  | sqft | 2678236.1005 | 457359.7336 | 630254.0724 | 5059.08 |  | 3770908.9865 | 100 | 3770.909 | 26.7824 | 4.5736 | 6.3025 | 0.050591
42 | HVAC |  | sqft |  |  | 630254.0724 |  |  | 630254.0724 | 350 | 2205.8893 | 0 | 0 | 22.0589 | 0
43 | HVAC - A & B |  | sqft | 2678236.1005 | 457359.7336 |  |  |  | 3135595.8341 | 200 | 6271.1917 | 53.5647 | 9.1472 | 0 | 0
44 | HVAC - amenity |  | sqft |  |  |  | 5059.08 |  | 5059.08 | 200 | 10.1182 | 0 | 0 | 0 | 0.10118
45 | Lifts C |  | Nos |  |  | 8 |  |  | 8 | 8000000 | 640 | 0 | 0 | 6.4 | 0
46 | Lifts A |  | Nos | 44 |  |  |  |  | 44 | 4000000 | 1760
47 | Lifts B |  | Nos |  | 12 |  |  |  | 12 | 3000000 | 360
48 | Lifts - amenity | [5 empty] | 4 |  | 4 | 2000000 | 80 | 0 | 0 | 0 | 0.8
49 | Landscaping |  | sqft |  |  |  |  | 426096 | 426096 | 200 | 852.192 | 0 | 0 | 0 | 0
50 | Façade |  | sqft |  |  | 630254.0724 |  |  | 630254.0724 | 1301.1152 | 8200.3318 | 0 | 0 | 82.0033 | 0
51 | Solar Panels |  | nos | 7840 | 2974 | 1280 | 0 |  | 12094 | 8000 | 967.52 | 6.272 | 2.3792 | 1.024 | 0
52 | STP |  | MLD |  |  |  |  | 6 | 6 | 23000000 | 1380 | 0 | 0 | 0 | 0
53 | ETP |  | MLD |  |  |  |  | 5 | 5 | 20000000 | 1000 | 0 | 0 | 0 | 0
54 | Water tank |  | cum |  |  |  |  | 500000 | 500000 | 15 | 75 | 0 | 0 | 0 | 0
55 | WTP |  | MLD |  |  |  |  | 10 | 10 | 10000000 | 1000 | 0 | 0 | 0 | 0
56 | Equipment & machinary |  | sqft | 2678236.1005 | 457359.7336 | 630254.0724 | 5059.08 |  | 3770908.9865 | 60 | 2262.5454 | 16.0694 | 2.7442 | 3.7815 | 0.030354
Optional | [14 empty] | 3.7261
1 | Electrical sub station cost |  | KV | 0 | 0 | 6302.5407 |  | 0 | 6302.5407 | 300000 | 18907.6222

## Project Costs - IJPM
Sr No | Costs | INR Crores | UoM | Quantity | Cost per sq.ft. | Remarks
1 | Levelling & compaction works | 1.0326 | sqm | 86053 | 120
2 | Boundary wall works | 5.232 | cum | 2038.988 | 25659.9 | Developed in two parts; Part 1: Intitial boundary wall before commencement of works Part 2: Final boundary wall after completion of works and includes cost of foundation, excavation and supplementary installations
3 | Project Office | 0.175 | sqft | 500 | 3500
4 | Sales Office | 0.7 | sqft | 2000 | 3500
5 | Excavation | 5.6684 | cum | 133375.14 | 425
6 | Piling | 16.2245 | cum | 24960.7235 | 6500
7 | Concrete | 109.6192 | cum | 69368.2597 | 15802.5 | This includes cost of concrete, reinforcement steel, shuttering required for construction of sub-structure and parking in the building
8 | Civil Works | 371.4763 | cum | 192953.6623 | 19252.1 | This includes cost of concrete, reinforcement steel, shuttering required for construction of the building
9 | Plumbing & Electrical | 193.3962 | sqft | 8999358.7268 | 214.9
10 | Brickwork & Plaster | 6.3914 | sqm | 182871.3141 | 349.5
11 | Fixture Installation (Bathroom, Doors, Windows) | 11.8212 | sqft | 3135595.8341 | 37.7
12 | Painting, Finishing & Tiling in Common area | 77.4539 | sqft | 3651762.6646 | 212.1
13 | Façade | 16.0832 | sqft | 16083.2 | 10000
14 | STP | 9 | MLD | 6 | 15000000
15 | ETP | 12.5 | MLD | 5 | 25000000
16 | Amenity buildings | 1.4521 | sqft | 9579.96 | 1515.8
17 | Landscaping works | 30.7835 | sqft | 416668.626 | 738.8
18 | Road works | 6.9396 | LS | 2775825.5556 | 25
19 | Labor | 29.8088 | mandays | 596177 | 500
20 | MEP and machinary installations | 48.9914 | sqft | 4062307 | 120.6
21 | EPC Tier I Premium | 96.9191 | sqft | 5261621.8867 | 184.2
22 | Escalation in rates | 98.6554 | sqft | 5261621.8867 | 187.5
23 | PMC | 10.418 | sqft | 5261621.8867 | 19.8
24 | Architect | 28.8863 | sqft | 5261621.8867 | 54.9
25 | Cost consultant | 5.7878 | sqft | 5261621.8867 | 11
| Total Construction Costs | 1195.416