## Project Cost 2
4%
S.No. | Type | Item | Qty | UoM | Basic | Disc | Nett Price/ Cost to be vetted (in Rs.) | Primary TPT Rate % | Primary Tptn | Sec Tpt | Unloading | Insuranse | Civil Work | Installation | Comm | Cables | Accessories | Other-1 | Total | Avg. Price as per RKA (in Rs.)
1 | GBT | Supply and Commissioning Cost | [18 empty] | Remarks
1.1 | Supply-GBT | Supply and Erection of 40 Meter GBT | 1 | Nos | 999900 | 0% | 999900 | 10000 | 40000 | 0 | 10000 | 39996 | 400000 | 125000 | 10000 | 0 | 0 | 0 | 1614896
1.2 | Supply-GBT | Supply and Erection of 20 Meter GBT | 1 | Nos | 495000 | 0% | 495000 | 4500 | 18000 | 0 | 10000 | 19800 | 250000 | 75000 | 10000 | 0 | 0 | 0 | 867800
1.3 | Supply-GBT | Site development and Fencing | 1 | Nos | 155000 | 0% | 155000 | 2000 | 6000 | 0 | 2000 | 6200 | 200000 | 0 | 0 | 0 | 0 | 0 | 367200
1.4 | Supply-GBT | Earting | 1 | Nos | 40000 | 0% | 40000 | 5000 | 5000 | 0 | 1000 | 1600 | 40000 | 0 | 0 | 0 | 0 | 0 | 86600
| Item-01 | GBT Site- 40 Mtr (Cost per Site) |  |  | 1194900 |  | 1194900 | [11 empty] | 2068696 | 1200000
| Item-01 | GBT Site- 20 Mtr (Cost per Site) |  |  | 690000 |  | 690000 | [11 empty] | 1321600 | 800000
2 | Infra-Part A | Supply and Commissioning Cost
2.1 | Supply | Civil work for making plinth for installation of BBU, Batteries and CCU/Power plants | 1 | Nos | 40000 | 0% | 40000 |  | 0 | 0 |  | 1600 | 0 | 0 | 0 | 0 | 0 | 0 | 41600 | 40000 | Details required
2.2 | Supply | Lithium Ion Batteries 800 AH (Including replacement of the batteries after 4 years) | 1 | Nos | 768000 | 0% | 768000 |  | 4000 | 0 |  | 30720 | 0 | 5000 | 1000 | 2000 | 6750 | 0 | 817470 | 750000 | NA
2.3 | Supply | Supply and installation of 10Kwp Solar Power Panels | 1 | Nos | 520510 | 20% | 416408 |  | 12000 | 0 |  | 16656.32 | 0 | 20000 | 0 | 8000 | 0 | 0 | 473064.32 | 450000
2.4 | Supply | Supply and installation of Hybrid Charging Control Unit | 1 | Nos | 253561 | 10% | 228204.9 |  | 3000 | 0 |  | 9128.196 | 0 | 0 | 0 | 0 | 0 | 0 | 240333.096 | 236000
2.5 | Supply | 2 CCTV Cameras at each site with License | 2 | Nos | 18000 | 10% | 32400 |  | 500 | 0 |  | 1296 | 0 | 0 | 2000 | 0 | 0 | 0 | 36196 | 30000
2.5 | Supply | Supply of Power Plant (SMPS) | 30% | Nos | 54400 | 0% | 16320 |  | 0 | 0 |  | 652.8 | 0 | 0 | 0 | 0 | 0 | 0 | 16972.8 | 16500
2.6 | Supply | SMPS - Rectifier | 1.5 | Nos | 10500 | 0% | 15750 |  | 0 | 0 |  | 630 | 0 | 0 | 0 | 0 | 0 | 0 | 16380 | 16800
2.7 | Supply | Supply of Engine Alternator (12.5 KVA or 10 KW) | 30% | Nos | 282000 | 0% | 84600 |  | 0 | 0 |  | 3384 | 0 | 0 | 0 | 0 | 0 | 0 | 87984 | 73800
| TOTAL | [5 empty] | 1601682.9 |  |  |  |  | 64067.316 | [7 empty] | 1613100
[7 empty] | 5325902.9 | [12 empty] | 5475900
2.8 | I&C | ACDB (AMF) | 30% | Nos | 45000 | 0% | 13500 |  | 0 | 0 |  | 540 | 0 | 0 | 0 | 0 | 0 | 0 | 14040
2.9 | I&C | LT Panel (at electric site) | 1 | Nos | 15000 | 0% | 15000 |  | 0 | 0 |  | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 15600
2.10 | I&C | Alarm Panel | 1 | Nos | 10000 | 0% | 10000 |  | 0 | 0 |  | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 10400
2.11 | I&C | Fire extinguisher | 1 | Nos | 4500 | 0% | 4500 |  | 0 | 0 |  | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 4680
2.12 | I&C | Surge Arrestors | 1 | Nos | 4500 | 0% | 4500 |  | 0 | 0 |  | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 4680
2.13 | I&C | Energy meter | 1 | Nos | 5000 | 0% | 5000 |  | 0 | 0 |  | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 5200
2.14 | I&C | Cost of Electric Connection (CAPEX) | 70% | Nos | 400000 | 0% | 280000 |  | 0 | 0 |  | 11200 | 0 | 0 | 0 | 0 | 0 | 0 | 291200
| Item-02 | Total Cost Infra Supply and Commissioning Cost |  |  | 2430971 |  | 8861768.7 |  |  |  |  | 354470.748 | [6 empty] | 2075800.216
3 | Infra-Part B | Supply and Commissioning Cost (After 4 Years)
3.1 | Supply | Lithium Ion Batteries 800 AH (Including replacement of the batteries after 4 years) | 1 | Nos | 768000 | 0% | 768000 |  | 4000 | 0 |  | 30720 | 0 | 5000 | 1000 | 2000 | 6750 | 0 | 817470
| Item-03 | Total Cost Supply after 4 years | [16 empty] | 817470
4 | O&M | O&M of Site and OFC
3.1 | O&M | Cost of O&M/Security/CT | 1 | Nos | 4500 | 0% | 4500 |  | 0 | 0 |  | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 4680
3.2 | O&M | Cost of Energy - EB Bill | 1 | Nos | 496800 | 0% | 496800 |  | 0 | 0 |  | 19872 | 0 | 0 | 0 | 0 | 0 | 0 | 516672
3.3 | O&M | Cost of Diesel - For DG Sites | 30% | Nos | 2160000 | 0% | 648000 |  | 0 | 0 |  | 25920 | 0 | 0 | 0 | 0 | 0 | 0 | 673920
3.4 | O&M | Repairing of Rectifier | 1 | Nos | 2052 | 0% | 2052 |  | 0 | 0 |  | 82.08 | 0 | 0 | 0 | 0 | 0 | 0 | 2134.08
3.5 | O&M | Replacement of Rectifier | 1 | Nos | 15120 | 0% | 15120 |  | 0 | 0 |  | 604.8 | 0 | 0 | 0 | 0 | 0 | 0 | 15724.8
3.6 | O&M | SMPS/CCU /Power plant repairing | 1 | Nos | 14400 | 0% | 14400 |  | 0 | 0 |  | 576 | 0 | 0 | 0 | 0 | 0 | 0 | 14976
3.7 | O&M | DG repairing/Servicing | 30% | Nos | 57600 | 0% | 17280 |  | 0 | 0 |  | 691.2 | 0 | 0 | 0 | 0 | 0 | 0 | 17971.2
3.8 | O&M | Earthing/Repairing | 1 | Nos | 7200 | 0% | 7200 |  | 0 | 0 |  | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 7488
3.9 | O&M | El Misc Cost | 1 | Nos | 14400 | 0% | 14400 |  | 0 | 0 |  | 576 | 0 | 0 | 0 | 0 | 0 | 0 | 14976
3.10 | O&M | Diesel Filling Charges | 30% | Nos | 59400 | 0% | 17820 |  | 0 | 0 |  | 712.8 | 0 | 0 | 0 | 0 | 0 | 0 | 18532.8
3.11 | O&M | Operation & Maintenance of OF cable | 1 | KM/Year | 150000 | 0% | 150000 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150000
| Item-03 | Total Cost O&M | [16 empty] | 1437074.88
|  | Grand Total Infra Cost | [16 empty] | 4330345.096
4180345.096
4180345
0.096

## Project Cost 1
Scope of work
Type of exp | Sub Head | Items | No of Sites |  | Buy Rate/Cost to be vetted (in Rs.) | Avg. Price as per RKA (in Rs.) | Rs in crore |  |  | Rs in crore |  |  |  |  | GST
|  |  | Zone-1 | Zone-2 | in Rs |  | Zone-1 | Zone-2 | # Total Sites | Total Cost | GST | Total Cost (incl. GST) |  | 251.9 | 45.34
Supply | Lithium ion Battery | Supply of Lithium ion Battery- 2 x 600Ah alongwith BMS | 1418 | 764 | 1139920 | 1150000 | 1616406560 | 870898880 | 2182 | 2487305440 | 447714979.2 | 2935020419.2 |  | 2.08 | 0.38 | Details required
Supply | SMPS Power plant | Supply of SMPS P/P 50(4+1)A - Indoor | 0 | 195 | 106900 | 100000 | 0 | 208455 | 195 | 20845500 | 3752190 | 24597690 |  | 5.46 | 0.98 | Details required
Supply | Charging Control Unit (CCU) | Supply of CCU | 1418 | 569 | 27500 | 27800 | 389950 | 156475 | 1987 | 54642500 | 9835650 | 64478150 |  | 46.69 | 8.41 | Details required
Supply | Solar Panel | Upgradation of Solar Panel with minimum 10 KW capacity alongwith fixures/stands | 1418 | 569 | 235000 | 300000 | 3332300 | 1337150 | 1987 | 466945000 | 84050100 | 550995100 |  | 6.34 | 1.14 | Upgradation details required
Supply | Engine Alternator | Supply of E/A – 15 KVA alongwith proper mounting stands | 0 | 195 | 325000 | 280000 | 0 | 633750 | 195 | 63375000 | 11407500 | 74782500 |  | 1.17 | 0.21 | Details required
Supply | CCTV Camera | Supply of 2 CCTV Camera alonwithwith fixtures | 1418 | 925 | 5000 | 5000 | 70900 | 46250 | 2343 | 11715000 | 2108700 | 13823700 |  | 313.64 | 56.46 | Details required
TOTAL |  |  |  |  | 1839320 | 1862800 | 1620199710 | 873280960 |  | 3104828440 | 558869119.2 | 3663697559.2 | 43.74%
| Remarks | Considering the Buy Rate & Nett Rate
I&C | Lithium ion Battery | I&C of Lithium ion Battery- 600Ah alongwith proper mounting stands | 1418 | 764 | 10000 |  | 141800 | 76400 | 2182 | 21820000 | 3927600 | 25747600
I&C | SMPS Power plant | Installation & Commissioning of SMPS P/P 50(4+1)A – Indoor | 0 | 195 | 4000 |  | 0 | 7800 | 195 | 780000 | 140400 | 920400
I&C | Charging Control Unit (CCU) | Installation & Commissioning of CCU | 1418 | 569 | 2500 |  | 35450 | 14225 | 1987 | 4967500 | 894150 | 5861650
I&C | Solar Panel | Installation & Commissioning of Solar Panel | 1418 | 569 | 55000 |  | 779900 | 312950 | 1987 | 109285000 | 19671300 | 128956300
I&C | Engine Alternator | Installation & Commissioning of E/A | 0 | 195 | 15000 |  | 0 | 29250 | 195 | 2925000 | 526500 | 3451500
I&C | CCTV Camera | Installation & Commissioning of CCTV Camera | 1418 | 925 | 3000 |  | 42540 | 27750 | 2343 | 7029000 | 1265220 | 8294220
|  | Total Cost of Commissioning |  |  |  |  | 999690 | 468375 |  | 146806500 | 26425170 | 173231670 | 2.068%
3768140
O&M Cost | O&M of the site | Operation & Maintenance of the 4G sites | 1418 | 764 | 324000 |  | 4594320 | 2475360 | 2182 | 706968000 | 127254240 | 834222240
O&M Cost | O&M of the site | Operation & Maintenance of the 4G sites at IP Locations | 0 | 161 | 300000 |  | 0 | 483000 | 161 | 48300000 | 8694000 | 56994000
O&M Cost | O&M of the site | Operation & Maintenance of OF cable per km for 5 years | 2836 | 1850 | 122500 |  | 3474100 | 2266250 | 4686 | 574035000 | 103326300 | 677361300
|  | Total O&M Cost |  |  |  |  | 8068420 | 5224610 |  | 1329303000 | 239274540 | 1568577540 | 18.73%
Supply | After 4 years (replacement) | Supply of Lithium ion Battery- 2 x 600Ah alongwith BMS | 1418 | 764 | 1139920 |  | 16164065.6 | 8708988.8 | 2182 | 2487305440 | 447714979.2 | 2935020419.2
I&C | After 4 years (replacement) | I&C of Lithium ion Battery- 600Ah alongwith proper mounting stands | 1418 | 764 | 14000 |  | 198520 | 106960 | 2182 | 30548000 | 5498640 | 36046640
|  | Total Cost of Supply (after 4 Years) |  |  |  |  | 16362585.6 | 8815948.8 |  | 2517853440 | 453213619.2 | 2971067059.2 | 35.47%
|  | Total cost (capex + O&M) | [7 empty] | 7098791380 | 1277782448.4 | 8376573828.4
[10 empty] | 4580937940 | 824568829.2 | 5405506769.2
[10 empty] | 3251634940 | 585294289.2 | 3836929229.2
[10 empty] | 1329303000 | 239274540 | 1568577540

## Quotations
Sr. No. | Item | Supplier | Quantity | Rate | Value | Including GST 18% + Other
1 | Battery Bank 48V 1200 Ah | Pratap Digital Comm. | 2182 | 1154484 | 2519084088 | 2975491743
2 | CCTV Camera | Aditya Infotech | 22712 | 25600 | 581427200 | 744226816
3 | Solar Module | Insolation Green Energy Pvt Ltd | 11000 | 24000 | 264000000 | 295944000
4 | PT-NPZS2204IW-DP3 + Wall mount : PT-BKC94-PT + 256 GB SD Card: PT-SDXS/256G | Prama Hikvision India Pvt. Ltd. | 35000 | 22000 | 770000000 | 908600000
| VMS Software | Prama Hikvision India Pvt. Ltd. | 60000 | 2000 | 120000000 | 141600000
5 | PTZ Dome Camera with SD Card and VMS | Sparsh | 46004 | multiple | 2399568640 | 2831490995.2 | 2916078550 | 3440972689
6 | Tower | Madhav Udyog |  | 92000/ton
7 | 100 Ah Li-ion Battery | Vrinda Nano Technologies |  | 76800
7897353554.2

## Sheet1
References
S.No. |  | Rate
1 | 30 mtr. 50 nos. GBT | 77560000 | https://www.tendersontime.com/india/details/fabricating-supplying-and-erection-30-mtr-50-nos-self-supporting-ground-based-towers-including-fou-3edd564/
| 30 mtr. 1 no. GBT | 1551200
Fabricating, supply & erection
Secunderabad, Hyderabad (RAILTEL CORP.)
| 40 mtr. GBT | 1218120
Dismantling, Trptn, Erection
| 40 mtr. GBT | 200480
Erection including earthing
Trivandram (BSNL)