## Chemical
DAURALA SUGAR WORKS
CHEMICAL PLANT
FLOOR WISE AREA FOR VARIOUS BLOCKS | [10 empty] | 17040.8 | 183427.1712 |  |  | 2023 |  | 102883926.6 | 52623805.7397 | 50260120.8603
BLOCKS | S NO. | PLANT / BUILDING /SHED | BUILDING MATERIAL | Year of Installation | YoC | G. FLOOR AREA (sqr.mtr) | 1ST FLOOR (sqr.mtr.) | 2ND FLOOR ( sqr.mtr.) | 3RD FLOOR ( sqr.mtr.) | 4TH FLOOR (sqr.mtr.) | BUA (sqm) | BUA (sqft) | Eco. Life | Rate Rs./sqft | Age | SV | GCRC | Dep. | DRC
A | 1 | ADMINISTRATION BLOCK | RCC/BRICK | GF-1971 & 1ST FF-1992 | 1971 | 147 | 252 |  |  |  | 399 | 4294.836 | 60 | 1000 | 52 | 95% | 4294836 | 3536081.64 | 758754.36
A | 2 | R & D LAB | RCC/BRICK | GF-1992, FF-2022 | 1992 | 168 | 168 |  |  |  | 336 | 3616.704 | 60 | 1000 | 31 | 95% | 3616704 | 1775198.88 | 1841505.12
A | 3 | PROCESS LAB | RCC/BRICK | 1972 | 1972 | 105 |  |  |  |  | 105 | 1130.22 | 60 | 1000 | 51 | 95% | 1130220 | 912652.65 | 217567.35
A | 4 | PILOT PLANT | RCC/BRICK | 1992 | 1992 | 84 |  |  |  |  | 84 | 904.176 | 60 | 800 | 31 | 95% | 723340.8 | 355039.776 | 368301.024
B | 5 | PAA/OCBA PLANT | MS STRUCTURE | 1971 | 1971 | 186.3 | 186.3 | 186.3 | 186.3 | 186.3 | 931.5 | 10026.666 | 45 | 400 | 52 | 95% | 4010666.4 | 3810133.08 | 200533.32
B | 6 | PAA STORAGE SHED | MS STRUCTURE | 2016 | 2016 | 55.2 |  |  |  |  | 55.2 | 594.1728 | 45 | 400 | 7 | 95% | 237669.12 | 35122.2144 | 202546.9056
B | 7 | NEW BCL PLANT | MS STRUCTURE | 2018 | 2018 | 86 | 86 | 86 | 86 | 86 | 430 | 4628.52 | 45 | 400 | 5 | 95% | 1851408 | 195426.4 | 1655981.6
B | 8 | NEW BCL TANK AREA | RCC/BRICK | 2020 | 2020 | 96.25 |  |  |  |  | 96.25 | 1036.035 | 60 | 500 | 3 | 95% | 518017.5 | 24605.8312 | 493411.6687
B | 9 | AVIRAL-1(CONT.BCHO) | MS STRUCTURE | 2021 | 2021 | 385 | 385 | 385 | 385 | 385 | 1925 | 20720.7 | 45 | 400 | 2 | 95% | 8288280 | 349949.6 | 7938330.4
B | 10 | BOH DISTILLATION AREA | MS STRUCTURE | 2005 | 2005 | 168 |  |  |  |  | 168 | 1808.352 | 45 | 400 | 18 | 95% | 723340.8 | 274869.504 | 448471.296
C | 11 | BCHO PLANT | MS STRUCTURE | 2011 | 2011 | 577 | 577 | 577 | 577 |  | 2308 | 24843.312 | 45 | 400 | 12 | 95% | 9937324.8 | 2517455.616 | 7419869.184
C | 12 | BCHO TANK AREA | RCC/BRICK | 2005 | 2005 | 539 |  |  |  |  | 539 | 5801.796 | 60 | 500 | 18 | 95% | 2900898 | 826755.93 | 2074142.07
C | 13 | PROCESS CHLORINE | MS STRUCTURE | 1980 | 1980 | 436 |  |  |  |  | 436 | 4693.104 | 45 | 400 | 43 | 95% | 1877241.6 | 1704118.208 | 173123.392
C | 14 | STORAGE CHLORINE | MS STRUCTURE | 1980 | 1980 | 415 |  |  |  |  | 415 | 4467.06 | 45 | 400 | 43 | 95% | 1786824 | 1622039.12 | 164784.88
C | 15 | AVIRAL-2(CONT.SLC) | MS STRUCTURE | 2020 | 2020 | 68.25 | 68.25 | 68.25 | 68.25 |  | 273 | 2938.572 | 45 | 400 | 3 | 95% | 1175428.8 | 74443.824 | 1100984.976
D | 16 | BCN PLANT | MS STRUCTURE | 1971 | 1971 | 174.1 | 152.1 | 152.1 | 152.1 |  | 630.4 | 6785.6256 | 45 | 400 | 52 | 95% | 2714250.24 | 2578537.728 | 135712.512
D | 17 | BCN TANK FARM AREA | RCC/BRICK | 1972 | 1972 | 80 |  |  |  |  | 80 | 861.12 | 60 | 500 | 51 | 95% | 430560 | 347677.2 | 82882.8
D | 18 | KPA/BOH PLANT AREA | MS STRUCTURE | 2000 | 2000 | 242 |  |  |  |  | 242 | 2604.888 | 45 | 400 | 23 | 95% | 1041955.2 | 505927.136 | 536028.064
D | 19 | ETP AREA | RCC/BRICK | 2015 | 2015 | 425 |  |  |  |  | 425 | 4574.7 | 60 | 1000 | 8 | 95% | 4574700 | 579462 | 3995238
D | 20 | ANFD AREA | RCC/BRICK | 2020 | 2020 | 83.25 |  |  |  |  | 83.25 | 896.103 | 60 | 500 | 3 | 95% | 448051.5 | 21282.4462 | 426769.0538
D | 21 | BCN ELECTRIC PANEL ROOM | RCC/BRICK | 1971 | 1971 | 27 |  |  |  |  | 27 | 290.628 | 60 | 1000 | 52 | 95% | 290628 | 239283.72 | 51344.28
E | 22 | R PLANT AREA | RCC/BRICK | 1972 | 1972 | 117 |  |  |  |  | 117 | 1259.388 | 60 | 500 | 51 | 95% | 629694 | 508477.905 | 121216.095
E | 23 | UTILITY AREA | RCC/BRICK | 1972 | 1972 | 580 |  |  |  |  | 580 | 6243.12 | 60 | 800 | 51 | 95% | 4994496 | 4033055.52 | 961440.48
E | 24 | MECHANICAL STORE | RCC/BRICK | 2012 | 2012 | 220.5 |  |  |  |  | 220.5 | 2373.462 | 60 | 1000 | 11 | 95% | 2373462 | 413377.965 | 1960084.035
E | 25 | CYANIDE GODOWN | RCC/BRICK | 1972 | 1972 | 137.5 |  |  |  |  | 137.5 | 1480.05 | 60 | 1000 | 51 | 95% | 1480050 | 1195140.375 | 284909.625
E | 26 | PAA/OCBA/BCL ELECTRIC PANEL ROOM | RCC/BRICK | 2018 | 2018 | 33.6 |  |  |  |  | 33.6 | 361.6704 | 60 | 1000 | 5 | 95% | 361670.4 | 28632.24 | 333038.16
F | 27 | SODIUM BENZOATE AREA | MS STRUCTURE | 1971 | 1971 | 98 |  |  |  |  | 98 | 1054.872 | 45 | 400 | 52 | 95% | 421948.8 | 400851.36 | 21097.44
F | 28 | DRUM DRYER AREA | RCC/BRICK | 2010 | 2010 | 108.8 |  |  |  |  | 108.8 | 1171.1232 | 60 | 1000 | 13 | 95% | 1171123.2 | 241056.192 | 930067.008
F | 29 | FITTER SHOP | RCC/BRICK | 2010 | 2010 | 32.5 |  |  |  |  | 32.5 | 349.83 | 60 | 1000 | 13 | 95% | 349830 | 72006.675 | 277823.325
F | 30 | BCHO ELECTRIC PANEL ROOM | RCC/BRICK | 2010 | 2010 | 50.4 |  |  |  |  | 50.4 | 542.5056 | 60 | 1000 | 13 | 95% | 542505.6 | 111665.736 | 430839.864
F | 31 | T.E.A GODOWN | RCC/BRICK | 2020 | 2020 | 48 |  |  |  |  | 48 | 516.672 | 60 | 1000 | 3 | 95% | 516672 | 24541.92 | 492130.08
G | 32 | NEW EQUIPMENTS ARRIVAL AREA | RCC/BRICK | 2020 | 2020 | 300 |  |  |  |  | 300 | 3229.2 | 60 | 600 | 3 | 95% | 1937520 | 92032.2 | 1845487.8
G | 33 | TOLUENE AREA | RCC/BRICK | 1972 | 1972 | 970 |  |  |  |  | 970 | 10441.08 | 60 | 600 | 51 | 95% | 6264648 | 5058703.26 | 1205944.74
G | 34 | DIESEL PUMP AREA | RCC/BRICK | 1972 | 1972 | 33 |  |  |  |  | 33 | 355.212 | 60 | 700 | 51 | 95% | 248648.4 | 200783.583 | 47864.817
G | 35 | PAINTER AREA | RCC/BRICK | 1972 | 1972 | 136 |  |  |  |  | 136 | 1463.904 | 60 | 800 | 51 | 95% | 1171123.2 | 945681.984 | 225441.216
H | 36 | CARBON CANDY AREA | RCC/BRICK | 1989 | 1989 | 256 |  |  |  |  | 256 | 2755.584 | 60 | 600 | 34 | 95% | 1653350.4 | 890053.632 | 763296.768
H | 37 | HCL TANK AREA | RCC/BRICK | 1989 | 1989 | 416 |  |  |  |  | 416 | 4477.824 | 60 | 400 | 34 | 95% | 1791129.6 | 964224.768 | 826904.832
H | 38 | VENTURY AREA | RCC/BRICK | 2012 | 2012 | 168 |  |  |  |  | 168 | 1808.352 | 60 | 400 | 11 | 95% | 723340.8 | 125981.856 | 597358.944
H | 39 | SULPHURIC ACID TANK AREA | RCC/BRICK | 1989 | 1989 | 192.5 |  |  |  |  | 192.5 | 2072.07 | 60 | 400 | 34 | 95% | 828828 | 446185.74 | 382642.26
H | 40 | SCRAPE AREA | MS STRUCTURE SHED | 2015 | 2015 | 166.2 |  |  |  |  | 166.2 | 1788.9768 | 45 | 400 | 8 | 95% | 715590.72 | 120855.3216 | 594735.3984
H | 41 | OCT STORAGE AREA | MS STRUCTURE SHED | 2012 | 2012 | 236.2 |  |  |  |  | 236.2 | 2542.4568 | 45 | 400 | 11 | 95% | 1016982.72 | 236165.9872 | 780816.7328
H | 42 | HAZARDS WASTE STORAGE | MS STRUCTURE SHED | 2012 | 2012 | 253.5 |  |  |  |  | 253.5 | 2728.674 | 45 | 400 | 11 | 95% | 1091469.6 | 253463.496 | 838006.104
H | 43 | BIN AREA | MS STRUCTURE SHED | 2012 | 2012 | 236.25 |  |  |  |  | 236.25 | 2542.995 | 45 | 400 | 11 | 95% | 1017198 | 236215.98 | 780982.02
I | 44 | PAA STORAGE GODOWN | RCC/BRICK | 1972 | 1972 | 180 |  |  |  |  | 180 | 1937.52 | 60 | 1000 | 51 | 95% | 1937520 | 1564547.4 | 372972.6
I | 45 | LIQUID STORAGE GODOWN | RCC/BRICK | 1972 | 1972 | 330 |  |  |  |  | 330 | 3552.12 | 60 | 1000 | 51 | 95% | 3552120 | 2868336.9 | 683783.1
I | 46 | NITROGEN PLANT | MS STRUCTURE SHED | 2016 | 2016 | 63 |  |  |  |  | 63 | 678.132 | 45 | 400 | 7 | 95% | 271252.8 | 40085.136 | 231167.664
I | 47 | NEW COOLING TOWER | RCC/BRICK | 1972 | 1972 | 210 |  |  |  |  | 210 | 2260.44 | 60 | 1000 | 51 | 95% | 2260440 | 1825305.3 | 435134.7
I | 48 | MECHANICAL STORAGE AREA | RCC/BRICK | 1972 | 1972 | 55 |  |  |  |  | 55 | 592.02 | 60 | 1000 | 51 | 95% | 592020 | 478056.15 | 113963.85
I | 49 | CYLINDER STORAGE AREA | MS STRUCTURE SHED | 1989 | 1989 | 16 |  |  |  |  | 16 | 172.224 | 45 | 400 | 34 | 95% | 68889.6 | 49447.424 | 19442.176
I | 50 | GODOWN | MS STRUCTURE SHED | 1971 | 1971 | 106.25 |  |  |  |  | 106.25 | 1143.675 | 45 | 800 | 52 | 95% | 914940 | 869193 | 45747
I | 51 | USED ITEM MECHNAICAL STORE | MS STRUCTURE SHED | 2018 | 2018 | 60 |  |  |  |  | 60 | 645.84 | 45 | 700 | 5 | 95% | 452088 | 47720.4 | 404367.6
J | 52 | CONTRACTOR SHED | MS STRUCTURE SHED | 1989 | 1989 | 770 |  |  |  |  | 770 | 8288.28 | 45 | 700 | 34 | 95% | 5801796 | 4164400.24 | 1637395.76
J | 53 | LUNCH ROOM AREA | RCC/BRICK | 1992 | 1992 | 77 |  |  |  |  | 77 | 828.828 | 60 | 1000 | 31 | 95% | 828828 | 406816.41 | 422011.59
J | 54 | EMPTY DRUM AREA | MS STRUCTURE SHED | 2015 | 2015 | 95 |  |  |  |  | 95 | 1022.58 | 45 | 700 | 8 | 95% | 715806 | 120891.68 | 594914.32
K | 55 | SUGAR CONDENSATE TANKS | RCC/BRICK | 1972 | 1972 | 300 |  |  |  |  | 300 | 3229.2 | 60 | 500 | 51 | 95% | 1614600 | 1303789.5 | 310810.5

## Sheet2
Row Labels | Sum of Total BUA2
Non Plant BUA | 185872.752
Process Plant BUA | 248271.66
Storage BUA | 23982.192
Utility BUA | 28363.14
Grand Total | 486489.744

## Organic
[11 empty] | Sqm | Sqft
[11 empty] | 45196 | 486489.744 |  | per sqft |  | 2023 |  | 350948379.6 | 207106007.667 | 143842371.933
S. No. | Name | Location | Type of Structure | G Floor | 1st Floor | 2nd Floor | 3rd Floor | 4th Floor | 5th Floor | TF | Total BUA | Total BUA | YoC | Rate | Eco. Life | Age | SV | GCRC | Depreciation | DRC
1 | Cl2 shed & tank farm | Non Plant BUA | Shed | 350 | [6 empty] | 350 | 3767.4 | 1992 | 300 | 45 | 31 | 95% | 1130220 | 739666.2 | 390553.8
2 | chemicaldrum shed | Non Plant BUA | Shed | 400 | [6 empty] | 400 | 4305.6 | 1992 | 500 | 45 | 31 | 95% | 2152800 | 1408888 | 743912
3 | chemical tank farm area | Non Plant BUA | Shed | 9000 | [6 empty] | 9000 | 96876 | 1992 | 300 | 45 | 31 | 95% | 29062800 | 19019988 | 10042812
4 | occupational health center | Non Plant BUA | RCC | 90 | [6 empty] | 90 | 968.76 | 1992 | 1000 | 60 | 31 | 95% | 968760 | 475499.7 | 493260.3
5 | fermentation room | Non Plant BUA | RCC | 40 | [6 empty] | 40 | 430.56 | 1992 | 800 | 60 | 31 | 95% | 344448 | 169066.56 | 175381.44
6 | transformer | Non Plant BUA | Shed | 100 | [6 empty] | 100 | 1076.4 | 1992 | 600 | 45 | 31 | 95% | 645840 | 422666.4 | 223173.6
7 | electric work shop | Non Plant BUA | RCC | 30 | [6 empty] | 30 | 322.92 | 1992 | 900 | 60 | 31 | 95% | 290628 | 142649.91 | 147978.09
8 | ADM | Non Plant BUA | RCC | 548 | [6 empty] | 548 | 5898.672 | 1992 | 1300 | 60 | 31 | 95% | 7668273.6 | 3763844.292 | 3904429.308
9 | canteen | Non Plant BUA | RCC | 240 | [6 empty] | 240 | 2583.36 | 1992 | 1000 | 60 | 31 | 95% | 2583360 | 1267999.2 | 1315360.8
10 | R&D | Non Plant BUA | RCC | 365 | 160 | [5 empty] | 525 | 5651.1 | 1992 | 1200 | 60 | 31 | 95% | 6781320 | 3328497.9 | 3452822.1
11 | Rest hall & security office | Non Plant BUA | RCC | 280 | [6 empty] | 280 | 3013.92 | 1992 | 800 | 60 | 31 | 95% | 2411136 | 1183465.92 | 1227670.08
12 | civil office/instrument office | Non Plant BUA | RCC | 65 | [6 empty] | 65 | 699.66 | 1992 | 1000 | 60 | 31 | 95% | 699660 | 343416.45 | 356243.55
13 | cycle Shed | Non Plant BUA | Shed | 300 | [6 empty] | 300 | 3229.2 | 1992 | 500 | 45 | 31 | 95% | 1614600 | 1056666 | 557934
14 | lime shed | Non Plant BUA | Shed | 100 | [6 empty] | 100 | 1076.4 | 1992 | 500 | 45 | 31 | 95% | 538200 | 352222 | 185978
15 | cement storage area | Non Plant BUA | Shed | 50 | [6 empty] | 50 | 538.2 | 1992 | 500 | 45 | 31 | 95% | 269100 | 176111 | 92989
16 | PCC +DG room | Non Plant BUA | RCC+Shed | 385 | [6 empty] | 385 | 4144.14 | 1992 | 1000 | 45 | 31 | 95% | 4144140 | 2712109.4 | 1432030.6
17 | MCC Room (Near PG) | Non Plant BUA | RCC+Shed | 200 | [6 empty] | 200 | 2152.8 | 1992 | 1000 | 45 | 31 | 95% | 2152800 | 1408888 | 743912
18 | ETP | Non Plant BUA | RCC | 4500 | [6 empty] | 4500 | 48438 | 1992 | 1300 | 60 | 31 | 95% | 62969400 | 30907480.5 | 32061919.5
19 | Weight Bridge | Non Plant BUA | RCC | 65 | [6 empty] | 65 | 699.66 | 1992 | 700 | 60 | 31 | 95% | 489762 | 240391.515 | 249370.485
20 | Utility with MCC | Utility BUA | RCC+Shed | 910 | 120 | 320 |  |  |  |  | 1350 | 14531.4 | 1992 | 800 | 45 | 31 | 95% | 11625120 | 7607995.2 | 4017124.8
21 | WTP Plant | Utility BUA | RCC | 320 | [6 empty] | 320 | 3444.48 | 1992 | 1000 | 60 | 31 | 95% | 3444480 | 1690665.6 | 1753814.4
22 | RW Plant | Utility BUA | RCC | 390 | [6 empty] | 390 | 4197.96 | 1992 | 1000 | 60 | 31 | 95% | 4197960 | 2060498.7 | 2137461.3
23 | Cooling Tower-1 | Utility BUA | RCC | 250 | [6 empty] | 250 | 2691 | 1992 | 1000 | 60 | 31 | 95% | 2691000 | 1320832.5 | 1370167.5
24 | Cooling Tower-2 | Utility BUA | RCC | 175 | [6 empty] | 175 | 1883.7 | 1992 | 1000 | 60 | 31 | 95% | 1883700 | 924582.75 | 959117.25
25 | Cooling Tower-3 | Utility BUA | RCC | 100 | [6 empty] | 100 | 1076.4 | 1992 | 1000 | 60 | 31 | 95% | 1076400 | 528333 | 548067
26 | Cooling Tower-4 | Utility BUA | RCC | 50 | [6 empty] | 50 | 538.2 | 1992 | 1000 | 60 | 31 | 95% | 538200 | 264166.5 | 274033.5
27 | Storage | Storage BUA | RCC+ACC Shed | 1838 | [6 empty] | 1838 | 19784.232 | 1992 | 1000 | 45 | 31 | 95% | 19784232 | 12947680.72 | 6836551.28
28 | New Godown | Storage BUA | RCC | 180 | [6 empty] | 180 | 1937.52 | 1992 | 1000 | 60 | 31 | 95% | 1937520 | 950999.4 | 986520.6
29 | Packing Godown | Storage BUA | RCC | 100 | [6 empty] | 100 | 1076.4 | 1992 | 1000 | 60 | 31 | 95% | 1076400 | 528333 | 548067
30 | PCI3 Drum Storage | Storage BUA | RCC+Shed | 110 | [6 empty] | 110 | 1184.04 | 1992 | 700 | 45 | 31 | 95% | 828828 | 542421.88 | 286406.12
31 | Ammonium Sulphaste Recovery Plant | Process Plant BUA | RCC+Shed | 190 | 100 | 100 | 0 |  |  | 200 | 590 | 6350.76 | 1992 | 700 | 45 | 31 | 95% | 4445532 | 2909353.72 | 1536178.28
32 | PHPGME Plant | Process Plant BUA | RCC+Shed | 885 | 410 | 410 | 0 |  |  | 300 | 2005 | 21581.82 | 1992 | 700 | 45 | 31 | 95% | 15107274 | 9886871.54 | 5220402.46
33 | OCPG plant | Process Plant BUA | RCC+Shed | 315 | 240 | 240 | 0 |  |  | 220 | 1015 | 10925.46 | 1992 | 700 | 45 | 31 | 95% | 7647822 | 5005074.62 | 2642747.38
34 | DLPHPG +Salt Recovery Phase-I Plant | Process Plant BUA | RCC | 620 | 505 | 500 | 0 |  |  | 200 | 1825 | 19644.3 | 1992 | 800 | 60 | 31 | 95% | 15715440 | 7713661.8 | 8001778.2
35 | DLPHPG-A Plant | Process Plant BUA | RCC+Shed | 400 | 240 | 240 | 100 |  |  | 150 | 1130 | 12163.32 | 1992 | 700 | 45 | 31 | 95% | 8514324 | 5572152.04 | 2942171.96
36 | Cynide Treatment Plant | Process Plant BUA | RCC | 0 | 0 | 0 | 0 |  |  | 200 | 200 | 2152.8 | 1992 | 700 | 60 | 31 | 95% | 1506960 | 739666.2 | 767293.8
37 | SIPA | Process Plant BUA | Shed | 700 | 520 | 430 | 315 |  |  | 200 | 2165 | 23304.06 | 1992 | 600 | 45 | 31 | 95% | 13982436 | 9150727.56 | 4831708.44
38 | Pilot Plant/RSVB2 Plant | Process Plant BUA | RCC+Shed | 350 | 150 | 130 | 0 |  |  | 200 | 830 | 8934.12 | 1992 | 800 | 45 | 31 | 95% | 7147296 | 4677508.16 | 2469787.84
39 | DLPG(P) plant | Process Plant BUA | RCC+Shed | 250 | 200 | 200 | 50 |  |  | 625 | 1325 | 14262.3 | 1992 | 700 | 45 | 31 | 95% | 9983610 | 6533718.1 | 3449891.9
40 | DLPG(C) Plant | Process Plant BUA | RCC+Shed | 175 | 150 | 150 | 0 |  |  | 100 | 575 | 6189.3 | 1992 | 700 | 45 | 31 | 95% | 4332510 | 2835387.1 | 1497122.9
41 | PG plant | Process Plant BUA | RCC+Shed | 415 | 370 | 370 | 270 | 50 |  | 100 | 1575 | 16953.3 | 1992 | 700 | 45 | 31 | 95% | 11867310 | 7766495.1 | 4100814.9
42 | PGCL plant | Process Plant BUA | RCC+Shed | 420 | 420 | 420 | 420 | 70 | 70 | 250 | 2070 | 22281.48 | 1992 | 700 | 45 | 31 | 95% | 15597036 | 10207393.56 | 5389642.44
43 | SPHA plant | Process Plant BUA | Shed | 400 | 205 | 205 | 0 |  |  | 250 | 1060 | 11409.84 | 1992 | 500 | 45 | 31 | 95% | 5704920 | 3733553.2 | 1971366.8
44 | Nitrogen plant | Process Plant BUA | Shed | 160 | 0 | 0 | 0 |  |  | 25 | 185 | 1991.34 | 1992 | 500 | 45 | 31 | 95% | 995670 | 651610.7 | 344059.3
45 | PPA /SPA/DLPHPG plant | Process Plant BUA | Shed | 215 | 165 | 145 | 0 |  |  | 50 | 575 | 6189.3 | 1992 | 500 | 45 | 31 | 95% | 3094650 | 2025276.5 | 1069373.5
46 | PHPGDS plant | Process Plant BUA | RCC+Shed | 300 | 195 | 170 | 170 |  |  | 200 | 1035 | 11140.74 | 1992 | 800 | 45 | 31 | 95% | 8912592 | 5832796.32 | 3079795.68
47 | PG Dane salt plant | Process Plant BUA | Shed | 300 | 190 | 75 | 0 |  |  | 155 | 720 | 7750.08 | 1992 | 600 | 45 | 31 | 95% | 4650048 | 3043198.08 | 1606849.92
48 | PHPG-II Plant | Process Plant BUA | RCC | 400 | 400 | 360 | 310 | 165 |  | 100 | 1735 | 18675.54 | 1992 | 1000 | 60 | 31 | 95% | 18675540 | 9166577.55 | 9508962.45
49 | PHPG-IIA Plant | Process Plant BUA | RCC+Shed | 365 | 350 | 290 | 0 |  |  | 150 | 1155 | 12432.42 | 1992 | 700 | 45 | 31 | 95% | 8702694 | 5695429.74 | 3007264.26
50 | Salt Recovery Phase-II Plant | Process Plant BUA | Shed | 100 | 80 | 80 | 80 |  |  | 75 | 415 | 4467.06 | 1992 | 600 | 45 | 31 | 95% | 2680236 | 1754065.56 | 926170.44
51 | G.A. Plant | Process Plant BUA | Shed | 240 | 240 | 240 | 0 |  |  | 160 | 880 | 9472.32 | 1992 | 600 | 45 | 31 | 95% | 5683392 | 3719464.32 | 1963927.68
|  |  |  | 28731 | 5410 | 5075 | 1715 | 285 | 70 | 3910

## Land
| sqm | Ha | Acre | [7 empty] | Circle Rate | Circle Value | Rate |  | 5% | Deveopment | FMV
Organic | 71489.5995 | 7.149 | 17.6655 | 2.471 | 12000000 |  | 211986437.4 | 222585759.27 | 88.3277 | 71489.5995 | 5200 | 371745917.5421 | 2000000 | 176655364.5 | 8832768.225 | 44163841.125 | 229651973.85 | 2500000
Chemical | 24034.8654 | 2.4035 | 5.9392 | 2.471 | 15000000 | 15000000 | 89087530.125 | 93541906.6313 | 29.6958 | 24034.8654 | 8500 | 204296355.5663 | 2500000 | 74239608.4375 | 3711980.4219 | 14847921.6875 | 92799510.5469 | 2500000
|  | 9.5525 | 23.6047 |  |  |  | 301073967.525 | 316127665.9013 | 118.0235 | 95524.4649 |  | 576042273.1083 |  | 250894972.9375 |  |  | 322451484.3969
105%
|  |  | 29.6958 |  | 2500000
|  |  | 30 | 40
|  |  | 3000000 | 4000000 | Per Bigha
|  |  | 5 | 5
|  |  | 15000000 | 20000000 | Per Acre
11250000
265552932.6563
|  |  | 278830579.2891 |  |  |  | 2550 | sqyd | 17000 | per sqyd | 43350000
|  |  |  | 32.04 |  |  | 2132.125 | sqm | 20331.8286 | per sqm | 43350000
|  |  |  | 340412800 |  |  | 0.52686 | acre | 82279657.1496 |  | 43350000
10624619.226
|  |  |  | 29°06'41.8"N 77°41'17.6"E | 7500000 | per Acre
[5 empty] | 3 | acre
22500000

## Sheet1
Chemical
Organic

## Summary
| Land | Building
Organic | 229651973.85 | 143842371.933 | 373494345.783
Chemical | 92799510.5469 | 50260120.8603 | 143059631.4072
| 322451484.3969 | 194102492.7933 | 516553977.1902
516500000
439025000
387375000
102883926.6
350948379.6
453832306.2