|  | ANNEXURE-1 (ADANI POWER (JHARKHAND) LIMITED, GODDA) |  |  |
| --- | --- | --- | --- |
| SL NO | NAME OF BUILDINGS | QTY. | Floors Details |
|  | MAIN POWER BLOCK |  |  |
| 1 | TG BUILDING | 2 | G+8 |
| 2 | BOILER UNITS | 2 | G+10 |
| 3 | ELECTROSTATIC PRECIPITATOR | 2 | G+1 |
| 4 | INDUCED DRAFT FAN | 4 | G |
| 5 | CHIMNEY | 1 | G |
| 6 | CENTRAL CONTROL ROOM | 1 | G+3 |
| 7 | ESP SWITCHGEAR ROOM | 2 | G+1 |
| 8 | CONDENSATE TANK | 1 | NA |
| 9 | MILL BAY | 2 | G+2 |
| 10 | EMERGENCY DG BUILDING | 3 | G |
| 11 | PLANT AIR COMPRESSOR HOUSE/AHP COMPRESSOR HOUSE | 1 | G |
| 12 | AQUEOUS AMMONIA STORAGE DYKE | 1 | G |
| 13 | CONTROL ROOM AND MCC CHAMBER OF AQUEOUS AMMONIA AREA | 1 | G |
| 14 | PA FAN & FD FAN STRUCTURE | 2 | G |
| 15 | EMERGENCY OIL SEPARATING POND | 1 | UG |
| 16 | VACUUM SG ROOM | 1 | G |
| 17 | AHP CONTROL ROOM | 1 | G+1 |
|  | ELECTRICAL FACILITY |  |  |
| 18 | TRANSFORMER YARD | 2 | G |
| 19 | 400KV SWITCH YARD | 1 | NA |
| 20 | SWITCH YARD CONTROL ROOM | 1 | G+3 |
| 21 | SWITCHGEAR ROOM FOR COOLING TOWER | 1 | G+1 |
| 22 | CONSTRUCTION POWER SUBSTATION | 1 | NA |
| 23 | 66 KV GIS INTAKE PUMP HOUSE | 1 | G+1 |
|  | HYDRAULIC FACILITY |  |  |
| 24 | COOLING TOWER | 4 | G |
| 25 | C.W. PUMP HOUSE CUM CT MCC/LCR ROOM | 1 | G |
| 26 | C.W. TREATMENT AND SSF | 1 | G |
| 27 | WT PLANT INCLUDING RAW/POTABLE WATER CHLORINATION | 1 | G |
| 28 | ACID AND ALKALI STORAGE AREA | 1 | G |
| 29 | S.T.P. | 2 | UG |
| 30 | E.T.P./CMB | 1 | NA |
| 31 | CW. CHLORINATION | 1 | G |
| 32 | DM PLANT & DM WATER STORAGE TANKS/CW BLOW DOWN RECYCLE PLANT | 1 | NA |
| 33 | UNIT DRAIN TANK | 2 | UG |
| 34 | Electrical room and Chemical lab | 1 | G+1 |
| 35 | INTAKE CHLORINATION BUILDING | 1 | G+1 |
|  | FGD FACILITY |  |  |
| 36 | LIMESTONE UNLOADING AREA | 1 | G |
| 37 | LIMESTONE SILO BUILDING | 1 | G+2 |
| 38 | GYPSUM PROCESSING BUILDING | 1 | G+3 |
| 39 | GYPSUM STORAGE YARD | 1 | G |
| 40 | ABSORBER Tower | 2 | G |
| 41 | SLURRY CIRCULATION PUMP ROOM | 2 | G |
| 42 | FGD CONTROL ROOM | 2 | G+2 |
|  | COAL & ASH FACILITY |  |  |
| 43 | WAGON TRIPPLERS | 2 | G-5 |
| 44 | HYDRAULIC ROOM | 2 | G |
| 45 | T1 TRANSFER STATION | 1 | G-2 |
| 46 | CRUSHER HOUSE | 1 | G+4 |
| 47 | T2 TRANSFER STATION | 1 | G+2 |
| 48 | T3 TRANSFER STATION | 1 | G+3 |
| 49 | C1AB CONVEYOR | 1 | UG |
| 50 | C2AB CONVEYOR | 1 | UG / AG |
| 51 | C3AB CONVEYOR | 1 | AG |
| 52 | C4AB CONVEYOR | 1 | G |
| 53 | C5AB CONVEYOR | 1 | UG / AG |
| 54 | C6AB CONVEYOR | 1 | AG |
| 55 | COAL STOCK PILE / Yard | 1 | G |
| 56 | CHP MAIN CONTROL ROOM | 1 | G+1 |
| 57 | ELECTRICAL ROOM NEAR WAGON TIPPLER | 1 | G |
| 58 | COAL SLURRY SETTLING POND | 1 | UG |
| 59 | CHP PUMP HOUSE AND COAL PILE /RUN OFF TREATMENT | 1 | G |
| 60 | PENT HOUSE-1 | 1 | G |
| 61 | DOZER SHED | 1 | G |
| 62 | DRIVE HOUSE | 1 | G |
| 63 | MILL REJECT SILO | 2 | G |
| 64 | ASH WATER PUMP HOUSE & ASH WATER TANK | 1 | G |
| 65 | BOTTOM ASH SLURRY PUMP HOUSE | 1 | G |
| 66 | HYDROBINS | 1 | G |
| 67 | HCSD PUMP HOUSE | 1 | G |
| 68 | HCSD FLY ASH SILO | 1 | G+2 |
| 69 | MAIN FLY ASH SILOS AREA | 3 | G+2 |
| 70 | SILO UTILITY BUILDING | 1 | G |
| 71 | SAMPLING HOUSE (AS FIRED) | 1 | G |
| 72 | DEFERRIZATION HOUSE | 1 | G |
| 73 | DRIVE HOUSE CONV 6AB | 1 | G |
| 74 | ASH WATER TREATMENT FACILITY | 1 | G |
| 75 | BOTTOM ASH UNLOADING ROOM | 1 | G+1 |
| 76 | HCSD CONTROL ROOM | 1 | G |
| 77 | ELECTRICAL ROOM -ASH WATER PUMP HOUSE | 1 | G |
| 78 | AHP SETTLING TANK | 1 | G |
| 79 | AHP SURGE TANK | 1 | G |
| 80 | AHP SEAL WATER TANK | 1 | G |
| 81 | AHP SLUDGE SUMP | 1 | G |
| 82 | BA 2ND STAGE CRUSHER HOUSE | 1 | G+2 |
| 83 | BA CONVEYOR (2A/2B) | 1 | AG |
|  | AUXILIARY FACILITY |  |  |
| 84 | FIRE STATION | 1 | G |
| 85 | AUX. BOILER | 1 | G |
| 86 | FUEL OIL TANK FARM AREA | 1 | G |
| 87 | F.O.P.H. CUM LOCAL CONTROL ROOM | 1 | G |
| 88 | HYDROGEN GENERATING PLANT | 1 | G |
| 89 | HYDROGN CONTAINER ROOM | 1 | G |
|  | ACCESSORY FACILITY |  |  |
| 90 | SECURITY OFFICE & TIME OFFICE | 1 | G |
| 91 | ADMINISTRATION OFFICE BUILDING | 1 | G+1 |
| 92 | SERVICE BUILDING | 1 | G+4 |
| 93 | SECURITY BARRACK | 1 | G |
| 94 | CONTRACTOR OFFICE | 1 | G |
| 95 | PLANT MATERIAL GATE | 1 | G |
| 96 | WEIGH BRIDGE 100 TON at Main Gate | 1 | G |
| 97 | WEIGH BRIDGE 60 TON | 2 | G |
| 98 | CANTEEN | 1 | G |
| 99 | WORKSHOP | 1 | G |
| 100 | STORE | 1 | G |
| 101 | OWNER OFFICE | 1 | G |
| 102 | DINING HALL/CANTEEN | 1 | G |
| 103 | LOCO SHED | 1 | G |
| 104 | EXCHANGE YARD BUILDING | 1 | G+1 |
| 105 | RAW WATER PUMP HOUSE | 1 | G+1 |

NOTE: This Annexure-1 is valid for Certificate No.

KKE/Stat/2022/Stability/12/9877 Dated. 15/12/2022

Signature:

K.K. Engineering

Competent Person