|  |  |  |  |
| --- | --- | --- | --- |
| **ID NUMBER** | **EQUIPMENT/**  **INSTRUMENT NAME** | **MAKE** | **LOCATION** |
| MB/QC/004 | Electronic Balance | Shimadzu | Instrumentation area 1st |
| MB/QC/007 | Polarimeter | Multitech Instrument | Chemical testing Lab |
| MB/QC/008 | Hot air Oven | Multitech Instrument | Hot zone area |
| MB/QC/009 | Hot air Oven | Multitech Instrument | Hot zone area |
| MB/QC/010 | Disintegration Test Apparatus | Veego | IPQC |
| MB/QC/011 | Magnetic Stirer with Hot Plate | Multitech Instrument | Chemical testing Lab |
| MB/QC/012 | Magnetic Stirer with Hot Plate | Multitech Instrument | Chemical testing Lab |
| MB/QC/013 | Muffle Furnance | Multitech Instrument | Out of Service |
| MB/QC/014 | Water Bath | Multitech Instrument | Chemical testing Lab |
| MB/QC/016 | Melting Point Apparatus | Veego | Chemical testing Lab |
| MB/QC/017 | Tap Density Apparatus | Veego | Chemical testing Lab |
| MB/QC/018 | Laminar Air Flow | Multitech Instrument | Micro lab |
| MB/QC/019 | Vertical Autoclave | Multitech Instrument | Micro lab |
| MB/QC/020 | Bacteriological Incubator | Multitech Instrument | Micro lab |
| MB/QC/021 | BOD Incubator | Multitech Instrument | Micro lab |
| MB/QC/022 | Colony Counter | Multitech Instrument | Micro lab |
| MB/QC/023 | Microscope | MetzerOpticals | Micro lab |
| MB/QC/024 | Leak Test Apparatus | Multitech Instrument | IPQC |
| MB/QC/025 | Vaccum Oven | Multitech Instrument | Hot Zone area |
| MB/QC/026 | Friability Test Apparatus | Veego | IPQC |
| MB/QC/027 | Disintegration Test Apparatus | Multitech Instrument | IPQC |
| MB/QC/030 | Micro pipette 100-1000µl | Loba life | Micro |
| MB/QC/031 | Micro pipette 10-100µl | Riviera+ | Micro |
| MB/QC/032 | Balance | Shimadzu | IPQC |
| MB/QC/035 | Hardness Tester | Veego | IPQC |
| MB/QC/037 | Balance | Dhona | Micro lab |
| MB/QC/038 | Friability test Apparatus | Multitech Instrument | IPQC |
| MB/QC/039 | Stability Chamber | Multitech Instrument | MICRO |
| MB/QC/040 | Stability Chamber | Multitech Instrument | Micro Lab |
| MB/QC/046 | Refrigerator | LG | Micro |
| MB/QC/048 | Karl fischerTitrator | Lab India | Instrumentation area 1st |
| MB/QC/052 | High Performance Liquid Chromatography | Agilent Technologies | Instrumentation area 2nd |
| MB/QC/053 | Dissolution Test Apparatus | Lab India | Instrumentation area 1st |
| MB/QC/058 | Muffle Furnance | VL Scientific | Hot zone QC |
| MB/QC/059 | Humidity meter | Acurite |  |
| MB/QC/123 | Sonicator | Sarthak | Chemical testing lab |
| MB/QC/130 | TACHOMETER | KUSAM-MECO | Instrumentation room |
| MB/QC/131 | Oven | VL Scientific | Micro Lab |
| MB/QC/138 | pH meter | SARTHAK | QC |
| MB/QC/142 | Spectrophotometer  (UV / VISIBLE) | Shimadzu | Instrumentation area 2nd |
| MB/QC/153 | Dissolution Apparatus | Lab India | Instrumentation area 1st |
| MB/QC/159 | Conductivity Meter | Globe Instrument | Chemical testing lab |
| MB/QC/160 | Shimadzu Balance  Model No. BL 220H  Sr. No. D432913333 | Shimadzu | Chemical testing lab |