## Dashboard-Input&Output
3578 | KW Solar Plant Under |  |  | REC (BOO/Captive)
8750
REC (BOO)
REC (BOO/Captive)
|  |  | (Rs in Crore) | [8 empty] | Capital Subsidy
INPUTS
Assumptions for Financial Model |  |  |  | Over Heads |  |  | OUTPUT
Project Capacity in KW |  |  | 3578 | Office OH in Base year |  | 0.02 | PROJECT |  | Debt Service Ratio (DSCR)
Power Generated per Annum (Year 1) | 000 units |  | 5558.4882 | Maintainence Exp (per MW) |  | 0.045 | IRR | 12.19% | Year 1 | 2.0582
(See Tech Summary Sheet) |  |  |  | Insurance |  | 0.2% | Discounted Cash Flow | -1.1517 | Year 2 | 1.2971
Injection /Drawing Voltage (kV) - Loss | 33/11 |  | 1.5% | Escalation of Exp per year |  | 1% |  |  | Year 3 | 1.3323
[7 empty] | EQUITY |  | Year 4 | 1.3703
TARIFF RATES |  |  |  | CAPEX Cost |  |  | IRR | 18.96% | Year 5 | 1.4113
Type of tariff applicable |  | Fixed Escalation |  | Land |  |  | Discounted Cash Flow | 2.0196 | Year 6 | 1.2271
Client Tarrif | Rs per kWh |  | 4.05 | Transmission Line Cost |  |  |  |  | Year 7 | 1.2804
Escalation, If any | per annum |  | 0% | EPC Cost |  | 15.0276 |  |  | Year 8 | 1.3397
2012 - 2017 | 1 | 5 | 6 | Total |  | 15.0276 |  |  | Year 9 | 1.4058
2018 - 2022 | 6 | 10 | 7 | Capital Subsidy |  | 0 |  |  | Year 10 | 1.4801
2023 - 2027 | 11 | 15 | 8 | Net Depreciable Assets |  | 15.0276 |  |  | Average DSCR | 1.4202
2028 - 2032 | 16 | 20 | 9 | Total CAPEX |  | 15.0276
2033 - 2037 | 21 | 25 | 10
EB Tariff |  |  | 3 | Income Tax |  |  | NPV at Year end @ | 12% | (INR in Cr)
Escalation, If any |  |  | 5% | For years 1-10 |  | 0%
Percentage of EB Grid Sale |  |  | 0% | For years 11-25 |  | 25% | 1 | 6.2873 | 11 | 0
[7 empty] | 2 | 5.9088 | 12 | 0
Capital Structure |  |  |  | Depreciation |  |  | 3 | 6.1383 | 13 | 0
Equity | 25% |  | 3.7569 | Accelerated Dep. |  | 40% | 4 | 6.3563 | 14 | 0
Term Loan | 75% |  | 11.2707 | For years 1-10 |  | 4% | 5 | 6.561 | 15 | 0
|  |  |  | For years 11-25 |  | 4% | 6 | 6.7505 | 16 | 0
Term Loan |  |  |  | Depreciable Assets |  | 95% | 7 | 7.1833 | 17 | 0
Interest Rate |  |  | 9.5% |  |  |  | 8 | 7.6017 | 18 | 0
Tenure Years |  |  | 15 | Assumptions |  |  | 9 | 8.0036 | 19 | 0
Morirotium in years |  |  | 1 | Accelerated Dep? | No |  | 10 | 8.3865 | 20 | 0
Interest & Principal Payable | Quarterly |  | 4
|  |  |  | Model | REC (BOO/Captive) |  | Hybrid Tariff Years | 25 |  | Date : | 2023-08-23
Transmission and Wheeling Charge
|  |  |  | Transmission Charge (Rs./MW/day) |  | 6483
|  |  |  | Wheeling Charges (Rs./Unit) |  | 0.2317
|  |  |  | Scheduling charges (Rs./day) |  | 181.8182
|  |  |  | Escalation in charges |  | 5%

## Tech Summary
TECHNICAL SUMMARY
3578 | KW Solar Plant Under |  | REC (BOO/Captive)
Basic Input (Zynergy) |  |  | Factor Losses
Installed Plant Capacity | 3578 | KWp | Factor |  | % | Remarks
Modules Size | 465 | Wp(crystalline) | Horizon | estimated | 0% | As per meteonorm horizon file or as per actual sie visit
Number of Panels required | 7694.6237 | nos | Near shading | estimated | 0% | As per actual site visit with SUN SOLMETRIC equipment
Area of Each Panel | 2.1 | Sq Mt | Mutual shading | PVSyst | 5% | From Pvsyst for mutual shading between the arrays at dawn and dusk
Total Area of Installed Modules | 16158.7097 | Sq Mt | Soiling | estimated | 1.5% | As per the site conditions
Efficiency of Panel | 21.2 | % | IAM | PVSyst | 2% | Incident Angle Modifier loss, corrected in PV syst by Ashrae Parametrization
Total Losses | 25.5% | % | Irradiance | PVSyst | 1% | Loss of irradiance value because of non availability of STC
Basic Input (From PVsyst) |  |  | Temperature | PVSyst | 2% | High temperature coefficient leading to loss of module overall efficiency
Global Horizontal Irradiation | 2064 | KWh/Sqm/Year | Module quality | estimated | 0% | Considered zero because of positive and negative tolerances provided by manufacturer
Global Irradiation on the tilted and oriented plane | 2178 | KWh/Sqm/Year | Mistmach | estimated | 2% | Module mismatch as per the actual site conditions, avg figure considered
Inclination Gain | 12.6808 | % | Ohmic (DC) | estimated | 3% | Calculated as per the DC Cabling losses
Mean Temperature (year) |  | as per meteonorm | Inverter | Pvsyst | 2% | As per Pvsyst input details of inverters
Azimuth (PVSyst) | 0 | Southern Hemisphere | Transformer | estimated | 1% | As per transformer manufacturer
Tilt | 25 | Deg | Ohmic (AC) | estimated | 2% | As per the AC cabling and other losses
Installed Capacity | 3578 | KWp | System availability | estimated | 2% | Because of downtime of system due to O&M activities
|  |  | Grid availability | estimated | 2% | As per the actual grid availability at the Project Location
Final Results |  |  | Total Losses |  | 25.5%
Yield Factor | 1553.5182 | KWh/KWp
Net Energy (Complete Plant) | 5558488.1889 | KWh/Year |  |  |  | 1502.4436
Net Energy (Per MW) | 1553518.2194 | KWh/Year/MW |  | Inputs
Performance Ratio (PR) | 74.5 | % |  | Outputs
Capacity Utilisation Factor (CUF/PLF) | 23.5616 | %
Performance Ratio | = | Energy Produced (kWh)
Irradiation on Inclined Plane (kWh/sqm) x Total area of Installed Modules (sqm) x Efficiency of Modules

## Energy Assessment
ENERGY ASSESSMENT
3578 | KW Solar Plant Under |  |  | REC (BOO/Captive)
Month | Global Horizonal Irradiation(GHI) KWh/Sqm/Year | Irradiation on Inclined Plane (GInc) KWh/Sqm/Year | % gain over Horizontal Irradiation | Energy Production without Loses into consideration (KWh) | Energy Production with Losses into consideration (KWh)
January | 175 | 191 | 1.0914 | 654298.4723 | 487452.3618
February | 180 | 189 | 1.05 | 647447.1794 | 482348.1486
March | 210 | 222 | 1.0571 | 760493.5123 | 566567.6666
April | 205 | 212 | 1.0341 | 726237.0477 | 541046.6006
May | 200 | 208 | 1.04 | 712534.4619 | 530838.1741
June | 155 | 167 | 1.0774 | 572082.9574 | 426201.8033
July | 124 | 131 | 1.0565 | 448759.6852 | 334325.9654
August | 123 | 134 | 1.0894 | 459036.6245 | 341982.2853
September | 165 | 171 | 1.0364 | 585785.5432 | 436410.2297
October | 183 | 191 | 1.0437 | 654298.4723 | 487452.3618
November | 172 | 181 | 1.0523 | 620042.0077 | 461931.2958
December | 172 | 181 | 1.0523 | 620042.0077 | 461931.2958
Total (For 1 Year) | 2064 | 2178 | 12.6808 | 7461057.9716 | 5558488.1889
Year | Performance Ratio % | Performance Degradation Factor | Energy Production KWh
1 | 74.5 | 0.008 | 5558488.1889
2 | 73.308 | 0.016 | 5514020.2833
3 | 72.712 | 0.024 | 5469908.1211
4 | 72.116 | 0.032 | 5426148.8561
5 | 71.52 | 0.04 | 5382739.6653
6 | 70.924 | 0.048 | 5339677.7479
7 | 70.328 | 0.056 | 5296960.326
8 | 69.732 | 0.064 | 5254584.6433
9 | 69.136 | 0.072 | 5212547.9662
10 | 68.54 | 0.08 | 5170847.5825
11 | 67.944 | 0.088 | 5129480.8018
12 | 67.348 | 0.096 | 5088444.9554
13 | 66.752 | 0.104 | 5047737.3957
14 | 66.156 | 0.112 | 5007355.4966
15 | 65.56 | 0.12 | 4967296.6526
16 | 64.964 | 0.128 | 4927558.2794
17 | 64.368 | 0.136 | 4888137.8132
18 | 63.772 | 0.144 | 4849032.7106
19 | 63.176 | 0.152 | 4810240.449
20 | 62.58 | 0.16 | 4771758.5254
21 | 61.984 | 0.168 | 4733584.4572
22 | 61.388 | 0.176 | 4695715.7815
23 | 60.792 | 0.184 | 4658150.0553
24 | 60.196 | 0.192 | 4620884.8548
25 | 59.6 | 0.2 | 4583917.776

## P&L
| 3578 | KW Solar Power Plant - Projected P&L Under | [11 empty] | REC (BOO/Captive)
Rs Crore
Year Count | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Power Generated
No. of units per year (MUs) | 5.5585 | 5.514 | 5.4699 | 5.4261 | 5.3827 | 5.3397 | 5.297 | 5.2546 | 5.2125 | 5.1708 | 5.1295 | 5.0884 | 5.0477 | 5.0074 | 4.9673 | 4.9276 | 4.8881 | 4.849 | 4.8102 | 4.7718 | 4.7336 | 4.6957 | 4.6582 | 4.6209 | 4.5839
Revenue Generated
Client Power Tariff | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.65
EB Power Tariff | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.743
Wheeling Charges (Rs./Unit) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8379
Revenue from Power Tariff | 2.2512 | 2.2332 | 2.2153 | 2.1976 | 2.18 | 2.1626 | 2.1453 | 2.1281 | 2.1111 | 2.0942 | 2.0774 | 2.0608 | 2.0443 | 2.028 | 2.0118 | 1.9957 | 1.9797 | 1.9639 | 1.9481 | 1.9326 | 1.9171 | 1.9018 | 1.8866 | 1.8715 | 1.8565 | 4.9346
Capital Subsidy | [25 empty] | 5.0333
Revenue from Interest on Cash Accru. |  | 0.067984 | 0.072063 | 0.076386 | 0.08097 | 0.085828 | 0.090977 | 0.096436 | 0.10222 | 0.10836 | 0.11486 | 0.12175 | 0.12905 | 0.1368 | 0.145 | 0.1537 | 0.16293 | 0.1727 | 0.18306 | 0.19405 | 0.20569 | 0.21803 | 0.23111 | 0.24498 | 0.25968 | 5.134
Total Income | 2.2512 | 2.3012 | 2.2874 | 2.274 | 2.261 | 2.2484 | 2.2362 | 2.2245 | 2.2133 | 2.2025 | 2.1923 | 2.1826 | 2.1734 | 2.1648 | 2.1568 | 2.1494 | 2.1426 | 2.1366 | 2.1312 | 2.1266 | 2.1228 | 2.1198 | 2.1177 | 2.1164 | 2.1162 | 5.2367
Operating Expenses | [25 empty] | 5.3414
Office Overheads | 0.02 | 0.0202 | 0.020402 | 0.020606 | 0.020812 | 0.02102 | 0.02123 | 0.021443 | 0.021657 | 0.021874 | 0.022092 | 0.022313 | 0.022537 | 0.022762 | 0.022989 | 0.023219 | 0.023452 | 0.023686 | 0.023923 | 0.024162 | 0.024404 | 0.024648 | 0.024894 | 0.025143 | 0.025395 | 5.4482
Transmission Charges | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5572
Scheduling & system operation charges (Rs./day) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.6683
Total maintenance exp Crs |  | 0.16101 | 0.16262 | 0.16425 | 0.16589 | 0.16755 | 0.16922 | 0.17092 | 0.17262 | 0.17435 | 0.17609 | 0.17786 | 0.17963 | 0.18143 | 0.18324 | 0.18508 | 0.18693 | 0.1888 | 0.19068 | 0.19259 | 0.19452 | 0.19646 | 0.19843 | 0.20041 | 0.20242 | 5.7817
Insurance | 0.02741 | 0.026268 | 0.025126 | 0.023984 | 0.022842 | 0.0217 | 0.020558 | 0.019416 | 0.018274 | 0.017131 | 0.015989 | 0.014847 | 0.013705 | 0.012563 | 0.011421 | 0.010279 | 0.0091368 | 0.0079947 | 0.0068526 | 0.0057105 | 0.0045684 | 0.0034263 | 0.0022842 | 0.0011421 | 6.6613e-18 | 5.8973
Total Opex | 0.04741 | 0.20748 | 0.20815 | 0.20884 | 0.20954 | 0.21027 | 0.21101 | 0.21177 | 0.21256 | 0.21336 | 0.21418 | 0.21502 | 0.21588 | 0.21676 | 0.21765 | 0.21858 | 0.21952 | 0.22048 | 0.22146 | 0.22246 | 0.22349 | 0.22454 | 0.22561 | 0.2267 | 0.22781 | 6.0153
EBITDA | 2.2038 | 2.0937 | 2.0792 | 2.0651 | 2.0514 | 2.0381 | 2.0252 | 2.0128 | 2.0007 | 1.9892 | 1.9781 | 1.9676 | 1.9575 | 1.948 | 1.9391 | 1.9308 | 1.9231 | 1.9161 | 1.9098 | 1.9041 | 1.8993 | 1.8953 | 1.8921 | 1.8897 | 1.8884 | 6.1356
Interest | 1.0707 | 1.0506 | 0.9971 | 0.94357 | 0.89003 | 0.82686 | 0.74763 | 0.66839 | 0.58916 | 0.50993 | 0.42588 | 0.3338 | 0.24171 | 0.14963 | 0.057551 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.2583
Profit Available before Depreciation | 1.1331 | 1.043 | 1.0821 | 1.1216 | 1.1614 | 1.2113 | 1.2776 | 1.3444 | 1.4116 | 1.4793 | 1.5522 | 1.6338 | 1.7158 | 1.7984 | 1.8816 | 1.9308 | 1.9231 | 1.9161 | 1.9098 | 1.9041 | 1.8993 | 1.8953 | 1.8921 | 1.8897 | 1.8884 | 6.3835
Depreciation | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 6.5111
PBT | 0.56201 | 0.47199 | 0.51107 | 0.55052 | 0.59035 | 0.64022 | 0.70656 | 0.77333 | 0.84054 | 0.90822 | 0.98119 | 1.0627 | 1.1447 | 1.2273 | 1.3105 | 1.3597 | 1.3521 | 1.345 | 1.3387 | 1.3331 | 1.3283 | 1.3242 | 1.321 | 1.3187 | 1.3173 | 6.6413
Tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.7742
MAT Refund | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.9097
PAT | 0.56201 | 0.47199 | 0.51107 | 0.55052 | 0.59035 | 0.64022 | 0.70656 | 0.77333 | 0.84054 | 0.90822 | 0.98119 | 1.0627 | 1.1447 | 1.2273 | 1.3105 | 1.3597 | 1.3521 | 1.345 | 1.3387 | 1.3331 | 1.3283 | 1.3242 | 1.321 | 1.3187 | 1.3173 | 7.0478
Cash Flow | [25 empty] | 7.1888
Operating Cash flow | 2.2038 | 2.0937 | 2.0792 | 2.0651 | 2.0514 | 2.0381 | 2.0252 | 2.0128 | 2.0007 | 1.9892 | 1.9781 | 1.9676 | 1.9575 | 1.948 | 1.9391 | 1.9308 | 1.9231 | 1.9161 | 1.9098 | 1.9041 | 1.8993 | 1.8953 | 1.8921 | 1.8897 | 1.8884 | 7.3326
Principal Payments | 0 | 0.56354 | 0.56354 | 0.56354 | 0.56354 | 0.83403 | 0.83403 | 0.83403 | 0.83403 | 0.83403 | 0.96928 | 0.96928 | 0.96928 | 0.96928 | 0.96928 | 0 | [9 empty] | 7.4792
Interest | 1.0707 | 1.0506 | 0.9971 | 0.94357 | 0.89003 | 0.82686 | 0.74763 | 0.66839 | 0.58916 | 0.50993 | 0.42588 | 0.3338 | 0.24171 | 0.14963 | 0.057551 | 0
Net Cash | 1.1331 | 0.47951 | 0.51859 | 0.55804 | 0.59787 | 0.37724 | 0.44358 | 0.51034 | 0.57756 | 0.64523 | 0.58296 | 0.66448 | 0.74652 | 0.82911 | 0.91227 | 1.9308 | 1.9231 | 1.9161 | 1.9098 | 1.9041 | 1.8993 | 1.8953 | 1.8921 | 1.8897 | 1.8884
Cumulative Cash | 1.1331 | 1.6126 | 2.1312 | 2.6892 | 3.2871 | 3.6643 | 4.1079 | 4.6182 | 5.1958 | 5.841 | 6.424 | 7.0884 | 7.835 | 8.6641 | 9.5763 | 11.5071 | 13.4302 | 15.3463 | 17.2561 | 19.1602 | 21.0595 | 22.9548 | 24.8468 | 26.7366 | 28.6249
NPV of Future Cash Flow | 6.2873 | 5.9088 | 6.1383 | 6.3563 | 6.561 | 6.7505 | 7.1833 | 7.6017 | 8.0036 | 8.3865
12%
Debt Service Coverage Ratio (DSCR)
Interest + Principal | 1.0707 | 1.6142 | 1.5606 | 1.5071 | 1.4536 | 1.6609 | 1.5817 | 1.5024 | 1.4232 | 1.344 | 1.3952 | 1.3031 | 1.211 | 1.1189 | 1.0268
Debt Service Coverage Ratio (DSCR) | 2.0582 | 1.2971 | 1.3323 | 1.3703 | 1.4113 | 1.2271 | 1.2804 | 1.3397 | 1.4058 | 1.4801 | 1.4178 | 1.5099 | 1.6164 | 1.741 | 1.8884

## Working Capital (hidden)
WORKING CAPITAL
Instruccions:
To calculate the invesment in working capital you can use 3 alternatives:
1. If you have tax information, inventories, accounts receivable & accounts payable, incorporate this inforamtion in table 1 (blue numbers), and then write down 1 in the "used method" square
2. If you do not have this information, you can estimate the working capital as a porcentage of the revenues for each period , and the write down 2 in the "used metgod" square . In the following sheet you can find some reference information for USA market in 2003 (Bloomberg) for TI sector
3. If you already have calcualted this values, please incoporate them in table 3, and the write down 3 in the "used method" square.
Table 1
ITEM | 0 Y | 1Y | 2 Y | 3 Y | 4 Y | 5Y
Taxes invesments | 0 | 0 | 0 | 0 | 0 | 0
Inventario | 0 | 0 | 0 | 0 | 0 | 0
Accounts Receivable | 0 | 14.87 | 24.45 | 46.5 | 66.83 | 86.02
Accounts Payable | 0 | 7.985 | 9.2918 | 10.3246 | 10.8332 | 11.3641
WORKING CAPITAL | 0 | 6.885 | 15.1582 | 36.1754 | 55.9968 | 74.6559
WORKING CAPITAL INVESMENT | 0 | 6.885 | 8.2732 | 21.0172 | 19.8213 | 18.6591
Table 2
ITEM | 0 Y | 1Y | 2 Y | 3 Y | 4 Y | 5 Y | 6 Y | 7 Y | 8 Y | 9 Y | 10 Y | 11 Y | 12 Y | 13 Y | 14 Y | 15 Y | 16 Y | 17 Y | 18 Y | 19 Y | 20 Y
Revenues | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
% in working capital | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
WORKING CAPITAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WORKING CAPITAL INVESMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Table 3
ITEM | 0 Y | 1Y | 2 Y | 3 Y | 4 Y | 5Y
WORKING CAPITAL INVESMENT | 5 | 5 | 5 | 5 | 5 | 5
USED METHOD | 0 Y: 2
WORKING CAPITAL INVESMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## IRR
| 3578 | KW Solar Plant Projected IRR under | [7 empty] | REC (BOO/Captive)
Rs Crore
Year Count | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Power Generated
No. of units per year (MUs) | 5.5585 | 5.514 | 5.4699 | 5.4261 | 5.3827 | 5.3397 | 5.297 | 5.2546 | 5.2125 | 5.1708 | 5.1295 | 5.0884 | 5.0477 | 5.0074 | 4.9673 | 4.9276 | 4.8881 | 4.849 | 4.8102 | 4.7718 | 4.7336 | 4.6957 | 4.6582 | 4.6209 | 4.5839
Revenue Generated
Client Power Tariff | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05 | 4.05
EB Power Tariff | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wheeling Charges (Rs./Unit) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue from Power Tariff | 2.2512 | 2.2332 | 2.2153 | 2.1976 | 2.18 | 2.1626 | 2.1453 | 2.1281 | 2.1111 | 2.0942 | 2.0774 | 2.0608 | 2.0443 | 2.028 | 2.0118 | 1.9957 | 1.9797 | 1.9639 | 1.9481 | 1.9326 | 1.9171 | 1.9018 | 1.8866 | 1.8715 | 1.8565
Revenue from REC | 0 | 0.067984 | 0.072063 | 0.076386 | 0.08097 | 0.085828 | 0.090977 | 0.096436 | 0.10222 | 0.10836 | 0.11486 | 0.12175 | 0.12905 | 0.1368 | 0.145 | 0.1537 | 0.16293 | 0.1727 | 0.18306 | 0.19405 | 0.20569 | 0.21803 | 0.23111 | 0.24498 | 0.25968
Total Income | 2.2512 | 2.3012 | 2.2874 | 2.274 | 2.261 | 2.2484 | 2.2362 | 2.2245 | 2.2133 | 2.2025 | 2.1923 | 2.1826 | 2.1734 | 2.1648 | 2.1568 | 2.1494 | 2.1426 | 2.1366 | 2.1312 | 2.1266 | 2.1228 | 2.1198 | 2.1177 | 2.1164 | 2.1162
Operating Expenses
Office Overheads | 0.02 | 0.0202 | 0.020402 | 0.020606 | 0.020812 | 0.02102 | 0.02123 | 0.021443 | 0.021657 | 0.021874 | 0.022092 | 0.022313 | 0.022537 | 0.022762 | 0.022989 | 0.023219 | 0.023452 | 0.023686 | 0.023923 | 0.024162 | 0.024404 | 0.024648 | 0.024894 | 0.025143 | 0.025395
Transmission Charges | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scheduling & system operation charges (Rs./day) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total maintenance exp Crs | 0 | 0.16101 | 0.16262 | 0.16425 | 0.16589 | 0.16755 | 0.16922 | 0.17092 | 0.17262 | 0.17435 | 0.17609 | 0.17786 | 0.17963 | 0.18143 | 0.18324 | 0.18508 | 0.18693 | 0.1888 | 0.19068 | 0.19259 | 0.19452 | 0.19646 | 0.19843 | 0.20041 | 0.20242
Insurance | 0.02741 | 0.026268 | 0.025126 | 0.023984 | 0.022842 | 0.0217 | 0.020558 | 0.019416 | 0.018274 | 0.017131 | 0.015989 | 0.014847 | 0.013705 | 0.012563 | 0.011421 | 0.010279 | 0.0091368 | 0.0079947 | 0.0068526 | 0.0057105 | 0.0045684 | 0.0034263 | 0.0022842 | 0.0011421 | 6.6613e-18
Total Opex | 0.04741 | 0.20748 | 0.20815 | 0.20884 | 0.20954 | 0.21027 | 0.21101 | 0.21177 | 0.21256 | 0.21336 | 0.21418 | 0.21502 | 0.21588 | 0.21676 | 0.21765 | 0.21858 | 0.21952 | 0.22048 | 0.22146 | 0.22246 | 0.22349 | 0.22454 | 0.22561 | 0.2267 | 0.22781
EBITDA | 2.2038 | 2.0937 | 2.0792 | 2.0651 | 2.0514 | 2.0381 | 2.0252 | 2.0128 | 2.0007 | 1.9892 | 1.9781 | 1.9676 | 1.9575 | 1.948 | 1.9391 | 1.9308 | 1.9231 | 1.9161 | 1.9098 | 1.9041 | 1.8993 | 1.8953 | 1.8921 | 1.8897 | 1.8884
Depreciation | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105
PBT | 1.6327 | 1.5226 | 1.5082 | 1.4941 | 1.4804 | 1.4671 | 1.4542 | 1.4417 | 1.4297 | 1.4181 | 1.4071 | 1.3965 | 1.3865 | 1.377 | 1.3681 | 1.3597 | 1.3521 | 1.345 | 1.3387 | 1.3331 | 1.3283 | 1.3242 | 1.321 | 1.3187 | 1.3173
Tax | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.35177 | 0.34913 | 0.34662 | 0.34424 | 0.34201 | 0.33994 | 0.33801 | 0.33626 | 0.33468 | 0.33327 | 0.33206 | 0.33105 | 0.33025 | 0.32967 | 0.32933
MAT Refund | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PAT | 1.6327 | 1.5226 | 1.5082 | 1.4941 | 1.4804 | 1.4671 | 1.4542 | 1.4417 | 1.4297 | 1.4181 | 1.0553 | 1.0474 | 1.0398 | 1.0327 | 1.026 | 1.0198 | 1.014 | 1.0088 | 1.004 | 0.99982 | 0.99619 | 0.99316 | 0.99076 | 0.98902 | 0.98798
Yr | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Project Cash Flow | -15.0276 | 2.2038 | 2.0937 | 2.0792 | 2.0651 | 2.0514 | 2.0381 | 2.0252 | 2.0128 | 2.0007 | 1.9892 | 1.6264 | 1.6184 | 1.6109 | 1.6038 | 1.5971 | 1.5909 | 1.5851 | 1.5798 | 1.5751 | 1.5709 | 1.5672 | 1.5642 | 1.5618 | 1.5601 | 1.559
Project IRR | 12.19%
Disc Value | 1 | 0.88106 | 0.77626 | 0.68393 | 0.60258 | 0.53091 | 0.46776 | 0.41213 | 0.36311 | 0.31992 | 0.28187 | 0.24834 | 0.2188 | 0.19278 | 0.16985 | 0.14964 | 0.13185 | 0.11616 | 0.10235 | 0.090173 | 0.079448 | 0.069998 | 0.061672 | 0.054337 | 0.047874 | 0.04218
Present Value of CF | -15.0276 | 1.9417 | 1.6252 | 1.422 | 1.2444 | 1.0891 | 0.95336 | 0.83465 | 0.73085 | 0.64007 | 0.56068 | 0.40389 | 0.35411 | 0.31054 | 0.2724 | 0.239 | 0.20975 | 0.18413 | 0.16169 | 0.14203 | 0.1248 | 0.1097 | 0.096468 | 0.084864 | 0.074687 | 0.065759
Project Net Cash Flow | -1.1517
Equity Cash Flow | -3.7569 | 1.1331 | 0.47951 | 0.51859 | 0.55804 | 0.59787 | 0.37724 | 0.44358 | 0.51034 | 0.57756 | 0.64523 | 0.58296 | 0.66448 | 0.74652 | 0.82911 | 0.91227 | 1.9308 | 1.9231 | 1.9161 | 1.9098 | 1.9041 | 1.8993 | 1.8953 | 1.8921 | 1.8897 | 1.8884
Equity IRR | 18.96%
Disc Value | 1 | 0.90498 | 0.81464 | 0.72982 | 0.65132 | 0.57937 | 0.51394 | 0.45392 | 0.39977 | 0.35119 | 0.30777 | 0.26913 | 0.2188 | 0.19278 | 0.16985 | 0.16164 | 0.13185 | 0.11616 | 0.10235 | 0.096282 | 0.079448 | 0.069998 | 0.061672 | 0.057008 | 0.047874 | 0.04218
Present Value of CF | -3.7569 | 1.0254 | 0.39063 | 0.37848 | 0.36346 | 0.34639 | 0.19388 | 0.20135 | 0.20402 | 0.20283 | 0.19858 | 0.15689 | 0.14539 | 0.14391 | 0.14082 | 0.14746 | 0.25457 | 0.2234 | 0.19611 | 0.18387 | 0.15128 | 0.13295 | 0.11689 | 0.10786 | 0.090469 | 0.07965
Equity Net Cash Flow | 2.0196

## Depreciation
Depreciation Calculation
3578 | KW Solar Power Plant - Depreciation
Year Count | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Rs Crore
Capital Expenditure | 15.0276
Value to be depreciated | 14.2762
Allowable depreciation | 40% | 40% | 40% | 40% | 40%
AD Benefit available | 5.7105 | 3.4263 | 2.0558 | 1.2335 | 0.74008
WDV | 8.5657 | 5.1394 | 3.0837 | 1.8502 | 1.1101
Depreciation for Book keeping | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105 | 0.57105
Book value of asset at year end | 13.7052 | 13.1341 | 12.5631 | 11.992 | 11.421 | 10.8499 | 10.2789 | 9.7078 | 9.1368 | 8.5657 | 7.9947 | 7.4236 | 6.8526 | 6.2815 | 5.7105 | 5.1394 | 4.5684 | 3.9973 | 3.4263 | 2.8552 | 2.2842 | 1.7131 | 1.1421 | 0.57105 | 3.3307e-15
Insurance on book assets | 0.02741 | 0.026268 | 0.025126 | 0.023984 | 0.022842 | 0.0217 | 0.020558 | 0.019416 | 0.018274 | 0.017131 | 0.015989 | 0.014847 | 0.013705 | 0.012563 | 0.011421 | 0.010279 | 0.0091368 | 0.0079947 | 0.0068526 | 0.0057105 | 0.0045684 | 0.0034263 | 0.0022842 | 0.0011421 | 6.6613e-18

## WACC
WACC Calculation
3578 | KW Solar Power Plant - WACC Under | [9 empty] | REC (BOO/Captive)
β | 1
Risk Free | 7.5%
Risk Premium | 6%
Expected Return | 13.5%
Cost of Equity | 13.5%
Interest rate | 9.5%
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Debt | 11.2707 | 11.2707 | 10.7072 | 10.1436 | 9.5801 | 9.0166 | 8.1825 | 7.3485 | 6.5145 | 5.6804 | 4.8464 | 0 | 0 | 0 | 3.8771 | 0 | 0 | 0 | 2.9078 | 0 | 0 | 0 | 1.9386 | 0 | 0
Capital | 3.7569 | 5.3896 | 6.9123 | 8.4204 | 9.9145 | 11.3949 | 12.862 | 14.3162 | 15.7579 | 17.1876 | 18.6058 | 19.6611 | 20.7084 | 21.7483 | 22.781 | 23.8071 | 24.8269 | 25.8409 | 26.8497 | 27.8537 | 28.8535 | 29.8497 | 30.8429 | 31.8336 | 32.8227
WACC | 10.5% | 10.79% | 11.07% | 11.31% | 11.53% | 11.73% | 11.94% | 12.14% | 12.33% | 12.51% | 12.67% | 13.5% | 13.5% | 13.5% | 12.92% | 13.5% | 13.5% | 13.5% | 13.11% | 13.5% | 13.5% | 13.5% | 13.26% | 13.5% | 13.5%

## Reference information (hidden)
Industry Name | Number of Firms | Accounts Receivable/Sales | Inventory/Sales | Accounts Payable/Sales | CT/Ingresos
Biotechnology | 84 | 11.52% | 9.733% | 4.701% | 16.55%
Computer Software/Svcs | 387 | 21.66% | 0.8483% | 7.572% | 14.93%
Computers/Peripherals | 148 | 17.7% | 5.387% | 10.45% | 12.64%
E-Commerce | 41 | 14.76% | 0.941% | 4.354% | 11.35%
Educational Services | 34 | 10.32% | 0.9229% | 4.08% | 7.167%
Electronics | 181 | 15.53% | 12.17% | 9.455% | 18.24%
Entertainment Tech | 32 | 8.759% | 6.098% | 9.771% | 5.086%
Information Services | 29 | 20.61% | 1.797% | 13.81% | 8.596%

## Debt
3578 | KW Solar Power Plant - Debt Service Under | [6 empty] | REC (BOO/Captive)
Rs Crore
Quarter Count |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
Year Count |  | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 3 | 3 | 3 | 3 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 6 | 6 | 6 | 6 | 7 | 7 | 7 | 7 | 8 | 8 | 8 | 8 | 9 | 9 | 9 | 9 | 10 | 10 | 10 | 10 | 11 | 11 | 11 | 11 | 12 | 12 | 12 | 12 | 13 | 13 | 13 | 13 | 14 | 14 | 14 | 14 | 15 | 15 | 15 | 15
Total Loan | 11.2707
Quarterly Int Rate | 2.375%
Principal Repayment | 0.20126
Debt Service (Quarterly) | [5 empty] | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.25% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 1.85% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15% | 2.15%
Repayment of Principal |  | 0 | 0 | 0 | 0 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.14088 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.20851 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232 | 0.24232
Outstanding Principal |  | 11.2707 | 11.2707 | 11.2707 | 11.2707 | 11.1298 | 10.9889 | 10.848 | 10.7072 | 10.5663 | 10.4254 | 10.2845 | 10.1436 | 10.0027 | 9.8619 | 9.721 | 9.5801 | 9.4392 | 9.2983 | 9.1574 | 9.0166 | 8.8081 | 8.5995 | 8.391 | 8.1825 | 7.974 | 7.7655 | 7.557 | 7.3485 | 7.14 | 6.9315 | 6.723 | 6.5145 | 6.306 | 6.0974 | 5.8889 | 5.6804 | 5.4719 | 5.2634 | 5.0549 | 4.8464 | 4.6041 | 4.3618 | 4.1194 | 3.8771 | 3.6348 | 3.3925 | 3.1502 | 2.9078 | 2.6655 | 2.4232 | 2.1809 | 1.9386 | 1.6962 | 1.4539 | 1.2116 | 0.96928 | 0.72696 | 0.48464 | 0.24232 | 0
Interest Payments |  | 0.26768 | 0.26768 | 0.26768 | 0.26768 | 0.26768 | 0.26433 | 0.26099 | 0.25764 | 0.2543 | 0.25095 | 0.2476 | 0.24426 | 0.24091 | 0.23757 | 0.23422 | 0.23087 | 0.22753 | 0.22418 | 0.22084 | 0.21749 | 0.21414 | 0.20919 | 0.20424 | 0.19929 | 0.19434 | 0.18938 | 0.18443 | 0.17948 | 0.17453 | 0.16957 | 0.16462 | 0.15967 | 0.15472 | 0.14977 | 0.14481 | 0.13986 | 0.13491 | 0.12996 | 0.12501 | 0.12005 | 0.1151 | 0.10935 | 0.10359 | 0.097837 | 0.092082 | 0.086327 | 0.080571 | 0.074816 | 0.069061 | 0.063306 | 0.057551 | 0.051796 | 0.046041 | 0.040286 | 0.034531 | 0.028776 | 0.02302 | 0.017265 | 0.01151 | 0.0057551
Debt Service (Annual)
Repayment of Principal |  | 4: 0; 8: 0.56354; 12: 0.56354; 16: 0.56354; 20: 0.56354; 24: 0.83403; 28: 0.83403; 32: 0.83403; 36: 0.83403; 40: 0.83403; 44: 0.96928; 48: 0.96928; 52: 0.96928; 56: 0.96928; 60: 0.96928
Interest Payments |  | 4: 1.0707; 8: 1.0506; 12: 0.9971; 16: 0.94357; 20: 0.89003; 24: 0.82686; 28: 0.74763; 32: 0.66839; 36: 0.58916; 40: 0.50993; 44: 0.42588; 48: 0.3338; 52: 0.24171; 56: 0.14963; 60: 0.057551
Outstanding Amount |  | 4: 11.2707; 8: 10.7072; 12: 10.1436; 16: 9.5801; 20: 9.0166; 24: 8.1825; 28: 7.3485; 32: 6.5145; 36: 5.6804; 40: 4.8464; 44: 3.8771; 48: 2.9078; 52: 1.9386; 56: 0.96928; 60: -1.5543e-15

## Transmission chg
11/11
Plant Size (MWp) | 1 | Injection Voltage (kV) | Drawing Voltage (kV) | Input/Output | Total (%) | 33/11
Units Generated/Year (kWh) in mU | 1.6 | 11 | 11 | 11/11 | 3% | 110/11
Total Units Generated/Year by plant (kWh) in mU | 1.6 | 33 | 11 | 33/11 | 1.5%
Injection Voltage (kV)/Drawing Voltage (kV) | 110/33 | 110 | 11 | 110/11 | 1.5% | 110/33
Loss due to injection/drawing voltage | 1.5% | 110 | 33 | 110/33 | 1.5% | 110/110
|  | 110 | 110 | 110/110 | 1.5% | 230/11
|  | 230 | 11 | 230/11 | 0.95% | 230/33
|  | 230 | 33 | 230/33 | 0.95% | 230/110
|  | 230 | 110 | 230/110 | 0.95% | 230/230
|  | 230 | 230 | 230/230 | 0.95%