## Sheet5
| Supplier | Description of Material | Qty Billed | Qty Found | UOM | Unit rate | Net Basic Amount | Ref. PO No.
1 | Cross Air & Company | liquid mixing tank (100 ltr.) | 1 | 1 | No. | 184500 | 184500 | 3
2 | Cross Air & Company | HVAC ducting - 24 Gauge | 45006 | 21000 | sqft | 115 | 2415000 | 4
3 | Cross Air & Company | HVAC ducting - 22 Gauge | 13102 | 6500 | sqft | 128 | 832000 | 4
4 | Cross Air & Company | MS work for support of ducts indor & outdoor units | 3691 | 2000 | Kg | 144 | 288000 | 4
5 | Cross Air & Company | HVAC duct insulation 13 mm for supply air | 29813 | 13500 | sqft | 80 | 1080000 | 4
6 | Cross Air & Company | HVAC duct insulation 09 mm for supply air | 30966 | 14500 | sqft | 70 | 1015000 | 4
7 | Cross Air & Company | HVAC duct insulation rolls (10 nos.) | 5560 | 5560 | sqft | 32 | 177920 | 4
8 | Cross Air & Company | Silicone sealent (for sealing of duct corners) | 41000 | 25000 | sqft | 15 | 375000 | 4
9 | Cross Air & Company | HEPA terminal modules (635x635x450 mm) without HEPA filter and grill) | 100 | 100 | Nos. | 12278 | 1227800 | 4
10 | Cross Air & Company | HEPA terminal modules (320x320x450 mm) without HEPA filter and grill) | 35 | 35 | Nos. | 6166 | 215810 | 4
11 | Cross Air & Company | Windows of assorted sizes | 178 | 139 | Nos. | 11606 | 1613234 | 5
(1200x1200x255)
(1220x1220x150)
(1090x1600x260)
(1020x1600x80)
12 | Cross Air & Company | Wall/Windows panels | 131 | 142 | Sqm | 3119 | 408589 | 5
13 | Cross Air & Company | Partition wall/plain panels | 1466 | 250 | Sqm | 3119 | 779750 | 5
14 | Cross Air & Company | ceiling panels | 3691 | 330 | Sqm | 3119 | 1029270 | 5
15 | Cross Air & Company | riser panel | 970 | 500 | Sqm | 4869 | 2434500 | 5
16 | Cross Air & Company | corner panel (360x200x380mm) | 61 | 61 | Sqm | 3119 | 190259 | 5
17 | Cross Air & Company | bhim cover | 101 | 101 | Sqm | 1529 | 154429 | 5
18 | Cross Air & Company | door (1000x2100mm) | 3 | 3 | Nos. | 24456 | 73368 | 5
19 | Cross Air & Company | door (1500x2100mm) | 3 | 3 | Nos. | 33206 | 99618 | 5
20 | Cross Air & Company | single door (2100x1000mm) | 2 | 2 | Nos. | 24456 | 48912 | 5
21 | Cross Air & Company | single door (2100x750mm) | 20 | 20 | Nos. | 22056 | 441120 | 5
22 | Cross Air & Company | single door (2050x750mm) | 2 | 2 | Nos. | 22056 | 44112 | 5
23 | Cross Air & Company | single door (2100x900mm) | 3 | 3 | Nos. | 22056 | 66168 | 5
24 | Cross Air & Company | single door (2100x720mm) | 1 | 1 | No. | 22056 | 22056 | 5
25 | Cross Air & Company | single door (2100x1000mm) | 11 | 11 | Nos. | 24456 | 269016 | 5
26 | Cross Air & Company | single door (2100x900mm) | 1 | 1 | No. | 22056 | 22056 | 5
27 | Cross Air & Company | Double door (2070x1200mm) | 1 | 1 | No. | 33206 | 33206 | 5
28 | Cross Air & Company | Double door (2100x1140mm) | 1 | 1 | No. | 33206 | 33206 | 5
29 | Cross Air & Company | Double door (2100x1800mm) | 4 | 4 | Nos. | 33206 | 132824 | 5
30 | Cross Air & Company | Double door (1730x1210mm) | 1 | 1 | No. | 33026 | 33026 | 5
| Cross Air Industries | compressed air line (3/4",SS304) | 1 lot (1797 ft) | 500 | Ft. | 1282 | 641000 | 8
| Cross Air Industries | DM water line | 1 lot (1475 ft) | 560 | Ft. | 2406 | 1347360 | 8
| Cross Air Industries | portable water line | 1 lot (1870 ft) | 550 | Ft. | 572 | 314600 | 8
| Cross Air Industries | liquid manufacturing line |  | 0 |  | 0 | 0 | 9
| Cross Air Industries | A) Sugar manufacturing tank (jacked, 2000 ltrs) |  | 1 | No. | 655000 | 655000 | 9
| Cross Air Industries | B) Syrup manufacturing tank (jacked, 2500 ltrs) |  | 1 | No. | 955000 | 955000 | 9
| Cross Air Industries | C) storage tank (2000 ltrs) |  | 1 | No. | 655000 | 655000 | 9
| Cross Air Industries | D) basket filter (supplied by other supplier) |  | 0 | No. | 300000 | 0 | 9
| Cross Air Industries | E) 5 HP inline homonizer |  | 0 | No. | 600000 | 0 | 9
| Cross Air Industries | F) transfer pump 3 HP (supplied by other suppier) | 1 | 0 | No. | 300000 | 0 | 9
| Cross Air Industries | G) 12x8 filter press |  | 0 | No. | 250000 | 0 | 9
| Cross Air Industries | H) control panel with PLC |  | 1 | No. | 650000 | 650000 | 9
| Cross Air Industries | I) platform |  | 1 | No. | 135000 | 0 | 9
| Cross Air Industries | pipeline with installation and Commissioning |  | 0 | No. | 750000 | 0 | 9
[7 empty] | 20957709 |  | 20659047
298662

## Annexure-1_Cross Air & Company
S.No | Vendor Name | Invoice No. | Bill Date | PO No | Item | Billed Qty | Billed Unit | Billed Price | Billed Net Taxable Amt | Billed GST | Total Billed Amt | Atual Qty Recd. | Difference in Qty if any | Actual Unit | Agreed Price in PO | Difference in Price if any | Correct Net Taxable Amt | Correct GST | Actual Amt. which should be Billed | Difference Net Taxable Amt | Difference in GST Charged | Difference in Total Billed Amt | Reason of Differencs
1 | Cross Air & Co. | CAC/22-23/13 | 2022-06-28 | PO No 4 | G.I.Sheet 24 Gauge | 35000 | SQFT | 115 | 4025000 | 724500 | 4749500 | 18400 | 16600 | SQFT | 115 | 0 | 2116000 | 380880 | 2496880 | 1909000 | 343620 | 2252620 | Material Short Received
2 | Cross Air & Co. | CAC/22-23/13 | 2022-06-28 | PO No 4 | G.I.Sheet 24 Gauge | 6000 | SQFT | 128 | 768000 | 138240 | 906240 | 6000 | 0 | SQFT | 128 | 0 | 768000 | 138240 | 906240 | 0 | 0 | 0 | NA
3 | Cross Air & Co. | CAC/22-23/13 | 2022-06-28 | PO No 4 | Insulation 9 mm | 22000 | SQFT | 70 | 1540000 | 277200 | 1817200 | 11000 | 11000 | SQFT | 70 | 0 | 770000 | 138600 | 908600 | 770000 | 138600 | 908600 | Material Short Received
4 | Cross Air & Co. | CAC/22-23/13 | 2022-06-28 | PO No 4 | Insulation 13 mm | 20000 | SQFT | 80 | 1600000 | 288000 | 1888000 | 6000 | 14000 | SQFT | 80 | 0 | 480000 | 86400 | 566400 | 1120000 | 201600 | 1321600 | Material Short Received
5 | Cross Air & Co. | CAC/22-23/13 | 2022-06-28 | PO No 4 | MS Work | 3000 | KGS | 144 | 432000 | 77760 | 509760 | 2000 | 1000 | KGS | 144 | 0 | 288000 | 51840 | 339840 | 144000 | 25920 | 169920 | Material Short Received
6 | Cross Air & Co. | CAC/22-23/13 | 2022-06-28 | PO No 4 | Silicone Selant | 41000 | SQFT | 15 | 615000 | 110700 | 725700 | 30000 | 11000 | SQFT | 15 | 0 | 450000 | 81000 | 531000 | 165000 | 29700 | 194700 | Material Short Received
7 | Cross Air & Co. | CAC/22-23/26 | 2022-09-22 | PO No 5 | Window (1200 x 1200 x 255 ) | 30 | Nos | 11606 | 348180 | 62672.4 | 410852.4 | 30 | 0 | Nos | 11606 | 0 | 348180 | 62672.4 | 410852.4 | 0 | 0 | 0 | NA
8 | Cross Air & Co. | CAC/22-23/27 | 2022-09-27 | PO No 5 | Window (1200 x 1200 x 255 ) | 37 | Nos | 11606 | 429422 | 77295.96 | 506717.96 | 37 | 0 | Nos | 11606 | 0 | 429422 | 77295.96 | 506717.96 | 0 | 0 | 0 | NA
9 | Cross Air & Co. | CAC/22-23/29 | 2022-10-04 | PO No 5 | Window (1200 x 1200 x 255 ) | 23 | Nos | 11606 | 266938 | 48048.84 | 314986.84 | 23 | 0 | Nos | 11606 | 0 | 266938 | 48048.84 | 314986.84 | 0 | 0 | 0 | NA
10 | Cross Air & Co. | CAC/22-23/30 | 2022-10-04 | PO No 5 | Plain Panel 80mm | 1188 | SQMT | 3119 | 3705372 | 666966.96 | 4372338.96 | 150 | 1038 | SQMT | 3119 | 0 | 467850 | 84213 | 552063 | 3237522 | 582753.96 | 3820275.96 | Material Short Received
11 | Cross Air & Co. | CAC/22-23/38 | 2022-11-25 | PO No 5 | Window (1220 x 1220 x 150 ) | 35 | Nos | 11606 | 406210 | 73117.8 | 479327.8 | 35 | 0 | Nos | 11606 | 0 | 406210 | 73117.8 | 479327.8 | 0 | 0 | 0 | NA
12 | Cross Air & Co. | CAC/22-23/39 | 2022-12-30 | PO No 5 | Celing Panel | 1900 | SQMT | 3119 | 5926100 | 1066698 | 6992798 | 200 | 1700 | SQMT | 3119 | 0 | 623800 | 112284 | 736084 | 5302300 | 954414 | 6256714 | Material Short Received
13 | Cross Air & Co. | CAC/22-23/39 | 2022-12-30 | PO No 5 | Riser Panel | 494 | SQFT | 4869 | 2405286 | 432951.48 | 2838237.48 | 48 | 446 | SQFT | 4869 | 0 | 233712 | 42068.16 | 275780.16 | 2171574 | 390883.32 | 2562457.32 | Material Short Received
14 | Cross Air & Co. | CAC/22-23/41 | 2023-01-23 | PO No 4 | Insulation 13 mm | 7747 | SQFT | 80 | 619760 | 111556.8 | 731316.8 | 7747 | 0 | SQFT | 80 | 0 | 619760 | 111556.8 | 731316.8 | 0 | 0 | 0 | NA
15 | Cross Air & Co. | CAC/22-23/45 | 2023-02-24 | PO No 5 | Riser Panel (1200 x 2380 x 80 ) mm | 28.79 | SQMT | 4869 | 140178.51 | 25232.13 | 165410.64 | 28.79 | 0 | SQMT | 4869 | 0 | 140178.51 | 25232.13 | 165410.64 | 0 | 0 | 0 | NA
16 | Cross Air & Co. | CAC/22-23/45 | 2023-02-24 | PO No 5 | Corner Panel (360 x 200 x 380 ) mm | 53.32 | SQMT | 3119 | 166305.08 | 29934.91 | 196239.99 | 53.32 | 0 | SQMT | 3119 | 0 | 166305.08 | 29934.91 | 196239.99 | 0 | 0 | 0 | NA
17 | Cross Air & Co. | CAC/22-23/45 | 2023-02-24 | PO No 5 | Window Panel (1200 x 2380 x 80) mm | 86.37 | SQMT | 3119 | 269388.03 | 48489.85 | 317877.88 | 86.37 | 0 | SQMT | 3119 | 0 | 269388.03 | 48489.85 | 317877.88 | 0 | 0 | 0 | NA
18 | Cross Air & Co. | CAC/22-23/45 | 2023-02-24 | PO No 5 | Window 80 mm | 30 | Nos | 11606 | 348180 | 62672.4 | 410852.4 | 0 | 30 | Nos | 11606 | 0 | 0 | 0 | 0 | 348180 | 62672.4 | 410852.4 | Material Short Received
19 | Cross Air & Co. | CAC/22-23/46 | 2023-03-10 | PO No 4 | Insulation 9 mm | 12201.84 | SQFT | 70 | 854128.8 | 153743.18 | 1007871.98 | 0 | 12201.84 | SQFT | 70 | 0 | 0 | 0 | 0 | 854128.8 | 153743.18 | 1007871.98 | Material Not Received
20 | Cross Air & Co. | CAC/22-23/46 | 2023-03-10 | PO No 4 | Insulation 13 mm | 2065.92 | SQFT | 80 | 165273.6 | 29749.25 | 195022.85 | 0 | 2065.92 | SQFT | 80 | 0 | 0 | 0 | 0 | 165273.6 | 29749.25 | 195022.85 | Material Not Received
21 | Cross Air & Co. | CAC/22-23/46 | 2023-03-10 | PO No 4 | MS Work | 691 | KGS | 144 | 99504 | 17910.72 | 117414.72 | 0 | 691 | KGS | 144 | 0 | 0 | 0 | 0 | 99504 | 17910.72 | 117414.72 | Material Not Received
22 | Cross Air & Co. | CAC/22-23/46 | 2023-03-10 | PO No 4 | GI Sheet 24 Gauge (2500 x 1200) mm | 8406.25 | SQFT | 115 | 966718.75 | 174009.38 | 1140728.13 | 0 | 8406.25 | SQFT | 115 | 0 | 0 | 0 | 0 | 966718.75 | 174009.38 | 1140728.13 | Material Not Received
23 | Cross Air & Co. | CAC/22-23/46 | 2023-03-10 | PO No 4 | GI Sheet 22 Gauge (2500 x 1200 x 0.5) mm | 7101.6 | SQFT | 128 | 909004.8 | 163620.86 | 1072625.66 | 0 | 7101.6 | SQFT | 128 | 0 | 0 | 0 | 0 | 909004.8 | 163620.86 | 1072625.66 | Material Not Received
24 | Cross Air & Co. | CAC/22-23/46 | 2023-03-10 | PO No 4 | GI Housing ( 635 x 635 x 450 ) mm | 100 | Nos | 24556 | 2455600 | 442008 | 2897608 | 0 | 100 | Nos | 3000 | 21556 | 0 | 0 | 0 | 2455600 | 442008 | 2897608 | Material Not Received
25 | Cross Air & Co. | CAC/22-23/46 | 2023-03-10 | PO No 4 | GI Housing ( 320 x 320 x 450 ) mm | 35 | Nos | 12331 | 431585 | 77685.3 | 509270.3 | 0 | 35 | Nos | 2300 | 10031 | 0 | 0 | 0 | 431585 | 77685.3 | 509270.3 | Material Not Received
26 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 4 | Fastner 10mm | 200 | Pcs | 8 | 1600 | 288 | 1888 | 0 | 200 | Pcs | 8 | 0 | 0 | 0 | 0 | 1600 | 288 | 1888 | Material Not Received
27 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 4 | Tie Rod | 1020 | Rmt | 150 | 153000 | 27540 | 180540 | 0 | 1020 | Rmt | 150 | 0 | 0 | 0 | 0 | 153000 | 27540 | 180540 | Material Not Received
28 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 4 | Tie Rod 10mm | 240 | Rmt | 175 | 42000 | 7560 | 49560 | 0 | 240 | Rmt | 175 | 0 | 0 | 0 | 0 | 42000 | 7560 | 49560 | Material Not Received
29 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 4 | Nut 8mm | 5 | Kgs | 95 | 475 | 85.5 | 560.5 | 0 | 5 | Kgs | 95 | 0 | 0 | 0 | 0 | 475 | 85.5 | 560.5 | Material Not Received
30 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 4 | Nut 10mm | 5 | Kgs | 95 | 475 | 85.5 | 560.5 | 0 | 5 | Kgs | 95 | 0 | 0 | 0 | 0 | 475 | 85.5 | 560.5 | Material Not Received
31 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 4 | Fastner 6mm | 1000 | Pcs | 6 | 6000 | 1080 | 7080 | 0 | 1000 | Pcs | 6 | 0 | 0 | 0 | 0 | 6000 | 1080 | 7080 | Material Not Received
32 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 4 | Thread Bar 8mm | 840 | Rmt | 150 | 126000 | 22680 | 148680 | 0 | 840 | Rmt | 150 | 0 | 0 | 0 | 0 | 126000 | 22680 | 148680 | Material Not Received
33 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 4 | 8 mm GI Washer | 5.5 | Kgs | 120 | 660 | 118.8 | 778.8 | 0 | 5.5 | Kgs | 120 | 0 | 0 | 0 | 0 | 660 | 118.8 | 778.8 | Material Not Received
34 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 4 | Screw 4.2 x 12mm | 2.5 | Nos | 5000 | 12500 | 2250 | 14750 | 0 | 2.5 | Nos | 5000 | 0 | 0 | 0 | 0 | 12500 | 2250 | 14750 | Material Not Received
35 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 5 | GI Channel (2500 x 80 x 80 x 30 ) mm | 440 | Rmt | 95 | 41800 | 7524 | 49324 | 0 | 440 | Rmt | 95 | 0 | 0 | 0 | 0 | 41800 | 7524 | 49324 | Material Not Received
36 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 5 | C- Channel (45 x 20 x 2500 ) mm | 500 | Rmt | 95 | 47500 | 8550 | 56050 | 0 | 500 | Rmt | 95 | 0 | 0 | 0 | 0 | 47500 | 8550 | 56050 | Material Not Received
37 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 5 | Nut Bolt 8 mm | 6 | Kgs | 95 | 570 | 102.6 | 672.6 | 0 | 6 | Kgs | 95 | 0 | 0 | 0 | 0 | 570 | 102.6 | 672.6 | Material Not Received
38 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 5 | 6" C Clamp | 250 | Nos | 46 | 11500 | 2070 | 13570 | 0 | 250 | Nos | 46 | 0 | 0 | 0 | 0 | 11500 | 2070 | 13570 | Material Not Received
39 | Cross Air & Co. | CAC/22-23/48 | 2023-03-10 | PO No 5 | 8" C Clamp | 100 | Nos | 56 | 5600 | 1008 | 6608 | 0 | 100 | Nos | 56 | 0 | 0 | 0 | 0 | 5600 | 1008 | 6608 | Material Not Received
40 | Cross Air & Co. | CAC/22-23/49 | 2023-03-11 | PO No 5 | Window Panel | 10 | Nos | 11606 | 116060 | 20890.8 | 136950.8 | 10 | 0 | Nos | 9856 | 1750 | 98560 | 17740.8 | 116300.8 | 17500 | 3150 | 20650 | Price Diff
41 | Cross Air & Co. | CAC/22-23/49 | 2023-03-11 | PO No 5 | Riser Panel | 376.2 | SQMT | 4869 | 1831717.8 | 329709.2 | 2161427 | 376.2 | 0 | SQMT | 4869 | 0 | 1831717.8 | 329709.2 | 2161427 | 0 | 0 | 0 | NA
42 | Cross Air & Co. | CAC/22-23/49 | 2023-03-11 | PO No 5 | Corner Panel | 8.05 | SQMT | 3119 | 25107.95 | 4519.43 | 29627.38 | 8.05 | 0 | SQMT | 3119 | 0 | 25107.95 | 4519.43 | 29627.38 | 0 | 0 | 0 | NA
43 | Cross Air & Co. | CAC/22-23/49 | 2023-03-11 | PO No 5 | Plain Panel | 159.93 | SQMT | 3119 | 498821.67 | 89787.9 | 588609.57 | 159.93 | 0 | SQMT | 3119 | 0 | 498821.67 | 89787.9 | 588609.57 | 0 | 0 | 0 | NA
44 | Cross Air & Co. | CAC/22-23/50 | 2023-03-12 | PO No 8 | SS 304 Electro Polish Pipe 1" | 100 | MTR | 500 | 50000 | 9000 | 59000 | 0 | 100 | MTR | 500 | 0 | 0 | 0 | 0 | 50000 | 9000 | 59000 | Duplicate Bill/Double Billing (Already Included at Ref :CAI/22-23/05 Dated : 11-03-23)
45 | Cross Air & Co. | CAC/22-23/50 | 2023-03-12 | PO No 8 | SS 316 L Electro Polish Pipe 1.5" | 150 | MTR | 1500 | 225000 | 40500 | 265500 | 0 | 150 | MTR | 1500 | 0 | 0 | 0 | 0 | 225000 | 40500 | 265500 | Duplicate Bill/Double Billing (Already Included at Ref :CAI/22-23/05 Dated : 11-03-23)
46 | Cross Air & Co. | CAC/22-23/50 | 2023-03-12 | PO No 8 | SS 304 Holding Clamp 1" | 50 | Nos | 80 | 4000 | 720 | 4720 | 0 | 50 | Nos | 80 | 0 | 0 | 0 | 0 | 4000 | 720 | 4720 | Duplicate Bill/Double Billing (Already Included at Ref :CAI/22-23/05 Dated : 11-03-23)
47 | Cross Air & Co. | CAC/22-23/50 | 2023-03-12 | PO No 8 | SS 304 Holding Clamp 1.5" | 80 | Nos | 120 | 9600 | 1728 | 11328 | 0 | 80 | Nos | 120 | 0 | 0 | 0 | 0 | 9600 | 1728 | 11328 | Duplicate Bill /Double Billing (Already Included at Ref :CAI/22-23/05 Dated : 11-03-23)
48 | Cross Air & Co. | CAC/22-23/50 | 2023-03-12 | PO No 9 | Liquid Plant Platform 2500 L | 1 | Nos | 110000 | 110000 | 19800 | 129800 | 0 | 1 | Nos | 110000 | 0 | 0 | 0 | 0 | 110000 | 19800 | 129800 | Duplicate Bill /Double Billing (Already Included at Ref :CAI/22-23/05 Dated : 10-03-23)
49 | Cross Air & Co. | CAC/22-23/50 | 2023-03-12 | PO No 9 | SS 304 Ladder | 1 | Nos | 25500 | 25500 | 4590 | 30090 | 0 | 1 | Nos | 25500 | 0 | 0 | 0 | 0 | 25500 | 4590 | 30090 | Duplicate Bill /Double Billing (Already Included at Ref :CAI/22-23/05 Dated : 10-03-23)
50 | Cross Air & Co. | CAC/22-23/50 | 2023-03-12 | PO No 9 | Safety Railing SS 304 | 1 | Nos | 30000 | 30000 | 5400 | 35400 | 0 | 1 | Nos | 30000 | 0 | 0 | 0 | 0 | 30000 | 5400 | 35400 | Duplicate Bill /Double Billing (Already Included at Ref :CAI/22-23/05 Dated : 10-03-23)
51 | Cross Air & Co. | CAC/23-24/01 | 2023-04-10 | PO No 5 | Door (1000 x 2100 ) mm | 3 | Nos | 24456 | 73368 | 13206.24 | 86574.24 | 3 | 0 | Nos | 24456 | 0 | 73368 | 13206.24 | 86574.24 | 0 | 0 | 0 | NA
52 | Cross Air & Co. | CAC/23-24/01 | 2023-04-10 | PO No 5 | Door (1500 x 2100 ) mm | 3 | Nos | 33206 | 99618 | 17931.24 | 117549.24 | 3 | 0 | Nos | 33206 | 0 | 99618 | 17931.24 | 117549.24 | 0 | 0 | 0 | NA
53 | Cross Air & Co. | CAC/23-24/01 | 2023-04-10 | PO No 3 | SS Tank 100 lits | 1 | Nos | 225000 | 225000 | 40500 | 265500 | 1 | 0 | Nos | 187500 | 37500 | 187500 | 33750 | 221250 | 37500 | 6750 | 44250 | Price Diff
54 | Cross Air & Co. | CAC/23-24/02 | 2023-04-12 | PO No 5 | 1200 x 1200 Celing Panel | 103 | SQMT | 3119 | 321257 | 57826.26 | 379083.26 | 103 | 0 | SQMT | 3119 | 0 | 321257 | 57826.26 | 379083.26 | 0 | 0 | 0 | NA
55 | Cross Air & Co. | CAC/23-24/03 | 2023-04-21 | PO No 5 | Plain Panel | 80.32 | SQMT | 3119 | 250518.08 | 45093.25 | 295611.33 | 80.32 | 0 | SQMT | 3119 | 0 | 250518.08 | 45093.25 | 295611.33 | 0 | 0 | 0 | NA
56 | Cross Air & Co. | CAC/23-24/03 | 2023-04-21 | PO No 5 | Riser Panel | 53.64 | SQMT | 4869 | 261173.16 | 47011.17 | 308184.33 | 53.64 | 0 | SQMT | 4869 | 0 | 261173.16 | 47011.17 | 308184.33 | 0 | 0 | 0 | NA
57 | Cross Air & Co. | CAC/23-24/03 | 2023-04-21 | PO No 5 | Window Panel | 19.66 | SQMT | 3119 | 61319.54 | 11037.52 | 72357.06 | 19.66 | 0 | SQMT | 3119 | 0 | 61319.54 | 11037.52 | 72357.06 | 0 | 0 | 0 | NA
58 | Cross Air & Co. | CAC/23-24/03 | 2023-04-21 | PO No 5 | Window 1020 x 1600 x 80 | 9 | Nos | 11606 | 104454 | 18801.72 | 123255.72 | 0 | 9 | Nos | 11606 | 0 | 0 | 0 | 0 | 104454 | 18801.72 | 123255.72 | Material Short Received
59 | Cross Air & Co. | CAC/23-24/03 | 2023-04-21 | PO No 5 | Window 1090 x 1600 x 260 | 9 | Nos | 11606 | 104454 | 18801.72 | 123255.72 | 9 | 0 | Nos | 11606 | 0 | 104454 | 18801.72 | 123255.72 | 0 | 0 | 0 | NA
60 | Cross Air & Co. | CAC/23-24/03 | 2023-04-21 | PO No 5 | Window 1120 x 1000 x 260 | 3 | Nos | 11606 | 34818 | 6267.24 | 41085.24 | 3 | 0 | Nos | 11606 | 0 | 34818 | 6267.24 | 41085.24 | 0 | 0 | 0 | NA
61 | Cross Air & Co. | CAC/23-24/05 | 2023-05-08 | PO No 5 | Plain Panel | 19.82 | SQMT | 3119 | 61818.58 | 11127.34 | 72945.92 | 19.82 | 0 | SQMT | 3119 | 0 | 61818.58 | 11127.34 | 72945.92 | 0 | 0 | 0 | NA
62 | Cross Air & Co. | CAC/23-24/05 | 2023-05-08 | PO No 5 | Riser Panel | 8.64 | SQMT | 4869 | 42068.16 | 7572.27 | 49640.43 | 8.64 | 0 | SQMT | 4869 | 0 | 42068.16 | 7572.27 | 49640.43 | 0 | 0 | 0 | NA
63 | Cross Air & Co. | CAC/23-24/06 | 2023-05-11 | PO No 5 | Bhim Cover | 81 | SQMT | 1529 | 123849 | 22292.82 | 146141.82 | 81 | 0 | SQMT | 1529 | 0 | 123849 | 22292.82 | 146141.82 | 0 | 0 | 0 | NA
64 | Cross Air & Co. | CAC/23-24/07 | 2023-05-13 | PO No 5 | Celing Panel | 1469.65 | SQMT | 3119 | 4583838.35 | 825090.9 | 5408929.25 | 146.95 | 1322.7 | SQMT | 3119 | 0 | 458337.05 | 82500.67 | 540837.72 | 4125501.3 | 742590.23 | 4868091.53 | Material Short Received
65 | Cross Air & Co. | CAC/23-24/07 | 2023-05-13 | PO No 5 | Plain Panel | 12.41 | SQMT | 3119 | 38706.79 | 6967.22 | 45674.01 | 12.41 | 0 | SQMT | 3119 | 0 | 38706.79 | 6967.22 | 45674.01 | 0 | 0 | 0 | NA
66 | Cross Air & Co. | CAC/23-24/07 | 2023-05-13 | PO No 5 | Riser Panel | 2.66 | SQMT | 4869 | 12951.54 | 2331.28 | 15282.82 | 2.66 | 0 | SQMT | 4869 | 0 | 12951.54 | 2331.28 | 15282.82 | 0 | 0 | 0 | NA
67 | Cross Air & Co. | CAC/23-24/07 | 2023-05-13 | PO No 5 | Window Panel | 2.86 | SQMT | 3119 | 8920.34 | 1605.66 | 10526 | 2.86 | 0 | SQMT | 3119 | 0 | 8920.34 | 1605.66 | 10526 | 0 | 0 | 0 | NA
68 | Cross Air & Co. | CAC/23-24/07 | 2023-05-13 | PO No 5 | Window | 1 | Nos | 11606 | 11606 | 2089.08 | 13695.08 | 1 | 0 | Nos | 11606 | 0 | 11606 | 2089.08 | 13695.08 | 0 | 0 | 0 | NA
69 | Cross Air & Co. | CAC/23-24/08 | 2023-05-17 | PO No 5 | Celing Panel | 87.55 | SQMT | 3119 | 273068.45 | 49152.32 | 322220.77 | 87.55 | 0 | SQMT | 3119 | 0 | 273068.45 | 49152.32 | 322220.77 | 0 | 0 | 0 | NA
70 | Cross Air & Co. | CAC/23-24/08 | 2023-05-17 | PO No 5 | Window (1220 x 1220 x 150 ) mm | 1 | Nos | 11606 | 11606 | 2089.08 | 13695.08 | 1 | 0 | Nos | 11606 | 0 | 11606 | 2089.08 | 13695.08 | 0 | 0 | 0 | NA
71 | Cross Air & Co. | CAC/23-24/10 | 2023-05-19 | PO No 5 | Tee | 5 | Nos | 400 | 2000 | 360 | 2360 | 0 | 5 | Nos | 400 | 0 | 0 | 0 | 0 | 2000 | 360 | 2360 | These are fittings and should not not to billed sepertaly
72 | Cross Air & Co. | CAC/23-24/10 | 2023-05-19 | PO No 5 | 30 x 30 x 2100 L- Angle | 100 | Nos | 150 | 15000 | 2700 | 17700 | 0 | 100 | Nos | 150 | 0 | 0 | 0 | 0 | 15000 | 2700 | 17700 | These are fittings and should not not to billed sepertaly
73 | Cross Air & Co. | CAC/23-24/10 | 2023-05-19 | PO No 4 | Insulation 9mm | 2324 | SQMT | 70 | 162680 | 29282.4 | 191962.4 | 2324 | 0 | SQMT | 70 | 0 | 162680 | 29282.4 | 191962.4 | 0 | 0 | 0 | NA
74 | Cross Air & Co. | CAC/23-24/10 | 2023-05-19 | PO No 5 | Celing Panel | 55.38 | SQMT | 3119 | 172730.22 | 31091.44 | 203821.66 | 55.38 | 0 | SQMT | 3119 | 0 | 172730.22 | 31091.44 | 203821.66 | 0 | 0 | 0 | NA
75 | Cross Air & Co. | CAC/23-24/14 | 2023-05-26 | PO No 10 | Ointment Mfg Plant 500 kgs | 1 | Nos | 2600000 | 2600000 | 468000 | 3068000 | 0 | 1 | Nos | 2600000 | 0 | 0 | 0 | 0 | 2600000 | 468000 | 3068000 | No PO Given & Sub standard/Low Quality Material
76 | Cross Air & Co. | CAC/23-24/12 | 2023-05-25 | PO No 5 | Single Door (2100 x 1000) mm | 2 | Nos | 24456 | 48912 | 8804.16 | 57716.16 | 2 | 0 | Nos | 24456 | 0 | 48912 | 8804.16 | 57716.16 | 0 | 0 | 0 | NA
77 | Cross Air & Co. | CAC/23-24/12 | 2023-05-25 | PO No 5 | Single Door (2100 x 750) mm | 20 | Nos | 22056 | 441120 | 79401.6 | 520521.6 | 20 | 0 | Nos | 22056 | 0 | 441120 | 79401.6 | 520521.6 | 0 | 0 | 0 | NA
78 | Cross Air & Co. | CAC/23-24/12 | 2023-05-25 | PO No 5 | Single Door (2050 x 750) mm | 2 | Nos | 22056 | 44112 | 7940.16 | 52052.16 | 2 | 0 | Nos | 22056 | 0 | 44112 | 7940.16 | 52052.16 | 0 | 0 | 0 | NA
79 | Cross Air & Co. | CAC/23-24/12 | 2023-05-25 | PO No 5 | Single Door (2100 x 900) mm | 3 | Nos | 22056 | 66168 | 11910.24 | 78078.24 | 3 | 0 | Nos | 22056 | 0 | 66168 | 11910.24 | 78078.24 | 0 | 0 | 0 | NA
80 | Cross Air & Co. | CAC/23-24/12 | 2023-05-25 | PO No 5 | Single Door (2050 x 720) mm | 1 | Nos | 22056 | 22056 | 3970.08 | 26026.08 | 1 | 0 | Nos | 22056 | 0 | 22056 | 3970.08 | 26026.08 | 0 | 0 | 0 | NA
81 | Cross Air & Co. | CAC/23-24/12 | 2023-05-25 | PO No 5 | Double Door ( 2070 x 1200 )mm | 1 | Nos | 33206 | 33206 | 5977.08 | 39183.08 | 1 | 0 | Nos | 33206 | 0 | 33206 | 5977.08 | 39183.08 | 0 | 0 | 0 | NA
82 | Cross Air & Co. | CAC/23-24/12 | 2023-05-25 | PO No 5 | Double Door ( 2100 x 1140 )mm | 1 | Nos | 33206 | 33206 | 5977.08 | 39183.08 | 1 | 0 | Nos | 33206 | 0 | 33206 | 5977.08 | 39183.08 | 0 | 0 | 0 | NA
83 | Cross Air & Co. | CAC/23-24/12 | 2023-05-25 | PO No 5 | Double Door ( 2100 x 1800 )mm | 4 | Nos | 33206 | 132824 | 23908.32 | 156732.32 | 4 | 0 | Nos | 33206 | 0 | 132824 | 23908.32 | 156732.32 | 0 | 0 | 0 | NA
84 | Cross Air & Co. | CAC/23-24/15 | 2023-05-29 | PO No 5 | Single Door (2100 x 1000) mm | 11 | Nos | 24456 | 269016 | 48422.88 | 317438.88 | 11 | 0 | Nos | 24456 | 0 | 269016 | 48422.88 | 317438.88 | 0 | 0 | 0 | NA
85 | Cross Air & Co. | CAC/23-24/15 | 2023-05-29 | PO No 5 | Single Door (2100 x 900) mm | 1 | Nos | 22056 | 22056 | 3970.08 | 26026.08 | 1 | 0 | Nos | 22056 | 0 | 22056 | 3970.08 | 26026.08 | 0 | 0 | 0 | NA
86 | Cross Air & Co. | CAC/23-24/15 | 2023-05-29 | PO No 5 | Double Door ( 1730 x 1210 )mm | 1 | Nos | 33206 | 33206 | 5977.08 | 39183.08 | 1 | 0 | Nos | 33206 | 0 | 33206 | 5977.08 | 39183.08 | 0 | 0 | 0 | NA
87 | Cross Air & Co. | CAC/23-24/15 | 2023-05-29 | PO No 5 | Bhim Cover | 20.09 | Sqmt | 1529 | 30717.61 | 5529.17 | 36246.78 | 20.09 | 0 | Sqmt | 1529 | 0 | 30717.61 | 5529.17 | 36246.78 | 0 | 0 | 0 | NA
88 | Cross Air & Co. | CAC/23-24/17 | 2023-05-31 | PO No 4 | 24 Gauge Duct (50 Pcs) | 1600 | Sqft | 115 | 184000 | 33120 | 217120 | 1600 | 0 | Sqft | 115 | 0 | 184000 | 33120 | 217120 | 0 | 0 | 0 | NA
89 | Cross Air & Co. | CAC/23-24/17 | 2023-05-31 | PO No 5 | Ceiling Panel | 75.16 | Sqmt | 3119 | 234424.04 | 42196.33 | 276620.37 | 75.16 | 0 | Sqmt | 3119 | 0 | 234424.04 | 42196.33 | 276620.37 | 0 | 0 | 0 | NA
90 | Cross Air & Co. | CAC/23-24/17 | 2023-05-31 | PO No 5 | Plain Panel | 5.2 | SQMT | 3119 | 16218.8 | 2919.38 | 19138.18 | 5.2 | 0 | SQMT | 3119 | 0 | 16218.8 | 2919.38 | 19138.18 | 0 | 0 | 0 | NA
91 | Cross Air & Co. | CAC/23-24/17 | 2023-05-31 | PO No 5 | Window Panel | 7.71 | Sqmt | 3119 | 24047.49 | 4328.55 | 28376.04 | 7.71 | 0 | Sqmt | 3119 | 0 | 24047.49 | 4328.55 | 28376.04 | 0 | 0 | 0 | NA
92 | Cross Air & Co. | CAC/23-24/17 | 2023-05-31 | PO No 5 | Raiser Panel | 5.71 | Sqmt | 4869 | 27801.99 | 5004.36 | 32806.35 | 5.71 | 0 | Sqmt | 4869 | 0 | 27801.99 | 5004.36 | 32806.35 | 0 | 0 | 0 | NA
Total Bill Amount including GST | [10 empty] | 52614473.8 | Total Supply & Amount Accpetable By Agnize Life Science Private Limitd | [6 empty] | 18565424.84 | Excess Billing/ Difference |  | 34049048.98
[11 empty] | 13646137.02 | [7 empty] | 7029136.45
66260610.82

## Annexure-2_Cross Air Industries
S.No | Vendor Name | Invoice No. | Bill Date | PO No | Item | Billed Qty | Billed Unit | Billed Price | Billed Net Taxable Amt | Discoun Given in Bill | Billed GST@ 18% | Total Billed Amt | Qty Recd. | Diff. In Qty | Agreed Price in PO | Admisiable Taxable Amount | Admissbale Discount | Admissiable GST being a compostion dealer | Admissiable Bill Amount | Difference Net Taxable Amt | Difference in Discount | Difference in GST Charged | Difference in Total Billed Amt | Reason of Differencs
1 | Cross Air Industries | CAI/22-23/05 | 2022-03-11 | PO No 8 | Compressed Air Line | 1 | LOT | 2304046 | 2304046 | 115202.3 | 393991.87 | 2582835.57 | 0.5 | 0.5 | 2304046 | 1152023 | 57601.15 | 0 | 1094421.85 | 1152023 | 57601.15 | 393991.87 | 1488413.72 | 50% material supplied as per Offer No CAI/21-22/050 & GST wrongly Charged
2 | Cross Air Industries | CAI/22-23/05 | 2022-03-11 | PO No 8 | DM Water Line | 1 | LOT | 3549091 | 3549091 | 177454.55 | 606894.56 | 3978531.01 | 0.5 | 0.5 | 3549091 | 1774545.5 | 88727.28 | 0 | 1685818.23 | 1774545.5 | 88727.28 | 606894.56 | 2292712.79 | 50% material supplied as per Offer No CAI/21-22/050 & GST wrongly Charged
3 | Cross Air Industries | CAI/22-23/05 | 2022-03-11 | PO No 8 | Potable Water Line | 1 | LOT | 1070045 | 1070045 | 53502.25 | 182977.7 | 1199520.45 | 0.5 | 0.5 | 1070045 | 535022.5 | 26751.13 | 0 | 508271.38 | 535022.5 | 26751.13 | 182977.7 | 691249.07 | 50% material supplied as per Offer No CAI/21-22/050 & GST wrongly Charged
4 | Cross Air Industries | CAI/22-23/04 | 2022-03-10 | PO No 9 | Liquid Manufacturing Plant, Liquid Processing Tank 2000 L , Syrup Mfg Vessel 2500 L, Storage Tank 2500 L | 1 | LOT | 5250000 | 5250000 | 262500 | 897750 | 5885250 | 0.75 | 0.25 | 5250000 | 3937500 | 196875 | 0 | 3740625 | 1312500 | 65625 | 897750 | 2144625 | Following Items not received as per offer CAI/21-22/31, 1. Basket Filter, 2.Inline Homonizer, 3. Transfer Pump, 4. 12x8 Filter Press & GST wrongly Charged
Total Bill Amount including GST | [11 empty] | 13646137.02 | Total Supply & Amount Accpetable By Agnize Life Science Private Limitd | [5 empty] | 7029136.45 | Excess Billing/ Difference |  |  | 6617000.58

## Sheet1
131
262
2096