## Electrical Goods
S.No. | ADDRESS | Quotation No. | Date | Description of Goods | Unit | Quantity | Price (Rs./ unit) | Amount shown by company excluding tax (Rs.) | Total | Amount shown by company including taxes (Rs.) | Price as per RKA(Rs. / unit) | GST | Amount as per RKA (Rs.) | Link
1 |  |  |  | P/F of 6 mm2 CU Arm. Cable | Mtrs. | 500 | 495 | 247500 | 247995 | 292050 | 300 | 18% | 177000 | https://www.indiamart.com/proddetail/kei-4-core-copper-armoured-cable-6-sq-mm-11188473712.html
2 |  |  |  | P/F of DB with MCB | Set | 1 | 48500 | 48500 | 97000 | 57230 | 42000 | 18% | 49560 | https://www.indiamart.com/proddetail/mcb-distribution-boards-25952473391.html?pos=8
3 |  |  |  | Steel Support Work | Kgs. | 300 | 120 | 36000 | 36120 | 42480 | 132 | 18% | 46728 | https://www.indiamart.com/proddetail/structural-steel-work-services-25188734430.html
4 |  |  |  | P/F of 80W LED light | Nos. | 15 | 9350 | 140250 | 149600 | 165495 | 8400 | Tax included | 126000 | https://tapetum.in/products/solar-street-light-80-watt-led-chip-owl-series-motion-sensor-ttaslm80w
5 |  |  |  | P/F of 2X2 LED light | Nos. | 30 | 4200 | 126000 | 130200 | 148680 | 3708 | 18% | 131263.2 | https://www.indiamart.com/proddetail/led-panel-light-2x2-40w-neutral-white-4000k-14289860388.html
6 |  |  |  | Point wiring for lights | Nos. | 55 | 1125 | 61875 | 63000 | 73012.5 | 850 | Tax included | 46750 | https://civillane.com/cost/electrical-work/
7 |  |  |  | P/F of Ceiling fans | Nos. | 30 | 2050 | 61500 | 63550 | 72570 | 1739 | Tax included | 52170 | https://www.amazon.in/Crompton-SUREBREEZE-HILLBRIZ-Ceiling-efficient/dp/B0BTSKSHNC/ref=sr_1_6?adgrpid=60617718684&ext_vrnc=hi&hvadid=499074102667&hvdev=c&hvlocphy=9302611&hvnetw=g&hvqmt=e&hvrand=1677842689532459754&hvtargid=kwd-11201261&hydadcr=1226_2373953&keywords=ceiling+fans&qid=1697100970&sr=8-6
8 |  |  |  | P/F 0f Cat6 Cable | Mtrs. | 780 | 47 | 36660 | 36707 | 43258.8 | 24.4 | Tax included | 19032 | https://www.amazon.in/Weatherproof-Resistant-1000mbps-Ethernet-Installations/dp/B0B5LKHLBV/ref=sr_1_1_sspa?keywords=CAT%2B6%2BCable&qid=1697101079&sr=8-1-spons&sp_csd=d2lkZ2V0TmFtZT1zcF9hdGY&th=1
9 |  |  |  | P/F of switch cabinet | Nos. | 8 | 3450 | 27600 | 31050 | 32568 | 1738 | Tax included | 13904 | https://www.flipkart.com/mme-electric-main-switch-box-three-phase-switches-32-amp-415-volts-32-two-way-electrical/p/itm9b42863020e8f
10 |  |  |  | P/F of Piping Work | Mtrs. | 180 | 1205 | 216900 | 218105 | 255942 | 120 | 18% | 25488 | https://www.indiamart.com/proddetail/galvanized-iron-pipes-10545873991.html?pos=1&pla=n
11 |  |  |  | P/F of Pump for Fire Fighting | Nos. | 2 | 31500 | 63000 | 94500 | 74340 | 31200 | 18% | 73632 | https://www.indiamart.com/proddetail/fire-fighting-pumps-2849910297788.html
12 |  |  |  | P/F of Fire Hydrant with hose rill & box | Sets | 7 | 21300 | 149100 | 170400 | 175938 | 5040 | 18% | 41630.4 | https://www.indiamart.com/proddetail/fire-hose-reel-drum-15727248812.html
13 |  |  |  | Steel support for shade work | Kgs. | 600 | 120 | 72000 | 72120 | 84960 | 90 | 18% | 63720 | According to market research
14 |  |  |  | P/F of CCTV | Nos. | 10 | 5900 | 59000 | 64900 | 69620 | 4117 | Tax included | 41170 | https://www.moglix.com/ezviz-c8c-full-hd-1080p-ip65-white-outdoor-pan-tilt-camera-with-color-night-vision-cs-c8c/mp/msnq94p7mzmnk0
Total | [7 empty] | 1345885 | 1475247 | 1588144.3 |  |  | 908047.6
[8 empty] | 4117.2 |  |  | 3708 |  | 1738.8
1737.6
479766186.9
455940000
402300000

## Sheet1
|  |  | 3645885 |  | 3055714
[6 empty] | mtr. | kg.
[5 empty] | GI Strip | 50 | 770
70
120
kg | 4.6452 | 1 |  | 4.6452 |  | 50
| 1 | 0.21528 |  |  |  | 160
| 5000 | 1076.39 |  |  |  | 450 | 770 | 247500 | 73150 | 320650
450
484375.5
[5 empty] | Supply of Power Cable | mtr.
60
90
[6 empty] | 150 | 155850
[5 empty] | Supply of Power Cable for Machines | mtr.
50
250
400
50
50
[6 empty] | 800 | 286400
442250

## Civil Work
SL. NO. | Description/Particulars | No. | L | B | Area(sq. ft) | Height(ft) | Rate from CPWD(Rs. per sq. ft) | Rate Adopted after applicable discount(Rs. per sq. ft) | Amount (in Rs.) | Remarks/Reference
1 | Toilets (First Floor) | 5 | 25 | 5 | 625 | 8 | 2430.3459 | 1944.2767 | 1215172.9392 | CPWD Plinth Rate
2 | Toilets (Ground Floor) | 1 | 6 | 5 | 30 | 8 | 2430.3459 | 1944.2767 | 58328.3011 | CPWD Plinth Rate
3 | Toilets (Ground Floor) | 1 | 4 | 5 | 20 | 8 | 2430.3459 | 1944.2767 | 38885.5341 | CPWD Plinth Rate
4 | Chiller Room | 1 | 15 | 15 | 225 | 8 | 800 | 800 | 180000 | Current Market Rate Applicable
5 | Maintenance Room | 1 | 44 | 14 | 616 | 10 | 800 | 800 | 492800 | Current Market Rate Applicable
6 | Scrap yard | 1 | 10 | 15 | 150 | 10 | 800 | 800 | 120000 | Current Market Rate Applicable
TOTAL | [8 empty] | 2105186.7743
Note and Remarks:
1.Rate adopted are tallied from the market standards and CPWD both and applicable discount is applied , considering the quality mentioned in the specifications and the quality observed on site.
2. The following rates are referred from CPWD is inclusive of the appilicable taxes.

## Sheet2
Particulars | Original As per client (Rs.) | Revised Amount As per RKA (Rs.)
Civil Work | 2300000 | 2105186.7743
Electrical Goods Installed | 1588144.3 | 908047.6