## Sheet1
Query : Current operational data of the plant (PLF, Auxiliary Consumption, Tariff Rate, etc.)
Annexure F to mail to SBI dated – 08.01.2024 – details submitted for valuation
5 MW SOLAR POWER PLANT
Generation details
Month | Units Produced during the year 2020- 21 | Units Produced during the year 2021- 22 | Units Produced during the year 2022- 23 | Units Produced during the year 2023- 24
APRIL | 488790 | 409590 | 330030 | 238860
MAY | 215280 | 351720 | 383130 | 226170
JUNE | 389880 | 281160 | 339120 | 243540
JULY | 240660 | 293760 | 315990 | 237690
AUGUST | 102240 | 293670 | 332460 | 251910
SEPTEMBER | 12780 | 392490 | 337410 | 241110
OCTOBER | 70830 | 298800 | 278820 | 182430
NOVEMBER | 28800 | 172890 | 253890 | 147960
DECEMBER | 0 | 263430 | 238320 | 98910
JANUARY | 0 | 284040 | 208350
FEBRUARY | 0 | 313380 | 218790
MARCH | 89460 | 403830 | 244710
TOTAL | 1638720 | 3758760 | 3481020 | 1868580
Ø Maximum Generation to Grid as per Agreement: 91,98,000 Units in a year.
Ø Minimum Generation to Grid as per Agreement, to avoid penality : 52,56,000 Units in a year.
Ø PLF - 0.178
Ø Auxillary consumption - around 24000 units per month
Ø Tarrif rate - From NVVN at Rs. 12.70 per unit