## Sheet2
MSP STEEL & POWER LIMITED
DETAILS OF MISCELLANEOUS FIXED ASSETS AS ON 31ST MARCH 2023
50835.5292
Division | Particulars | Technical Specifications | Quantity (Nos.) | Gross Block | Date of Capitalisation | Year
Sponge Iron Plant | Crusher & Vibrating Screen | Roll Crusher for Iron Ore - 30 TPH | 2 | 9.8416 | 2005-12-01 | 2005
Sponge Iron Plant | Crusher & Vibrating Screen | Double Roll Screw Crusher for Coal - 125 TPH |  | 81.8547 | 2005-12-01 | 2005
Sponge Iron Plant | Crusher & Vibrating Screen | Toothed Roll Crusher for Coal - 75 TPH | 2 | 36.8198 | 2005-12-01 | 2005
Sponge Iron Plant | Crusher & Vibrating Screen | Vibrating Screen for Iron Ore - 100 TPH |  | 13.375 | 2005-12-01 | 2005
Sponge Iron Plant | Crusher & Vibrating Screen | Vibrating Screen for Coal -120 TPH, Size - 1600 * 4000 |  | 10.8067 | 2005-12-01 | 2005
Sponge Iron Plant | Crusher & Vibrating Screen | Vibrating Screen for Coal -120 TPH, Size - 2000 * 4000 |  | 15.5466 | 2005-12-01 | 2005
Sponge Iron Plant | Crusher & Vibrating Screen | Triple Deck Vibrating Screen for Sponge Iron/ Char Coal - 50 TPH |  | 15.0291 | 2005-12-01 | 2005
Sponge Iron Plant | Vibrating Feeder & Magnetic Separator | Vibrating Feeder & Magnetic Separator |  | 20 | 2005-12-01 | 2005
Sponge Iron Plant | Vibrating Feeder & Magnetic Separator | Vibrating Feeder for Iron Ore - 100 TPH | 2 | 17.7404 | 2005-12-01 | 2005
Sponge Iron Plant | Vibrating Feeder & Magnetic Separator | Vibrating Feeder for Coal - 150 TPH | 2 | 13.0788 | 2005-12-01 | 2005
Sponge Iron Plant | Vibrating Feeder & Magnetic Separator | Tramp Iron Separator - 150 TPM | 2 | 3.984 | 2005-12-01 | 2005
Sponge Iron Plant | Vibrating Feeder & Magnetic Separator | Triple Drum Magnetic Separator for Sponge Iron/Char - 15 TPH | 6 | 24.6014 | 2005-12-01 | 2005
Sponge Iron Plant | Vibrating Feeder & Magnetic Separator | Bar Megnet | 4 | 1.1315 | 2005-12-01 | 2005
Sponge Iron Plant | Vibrating Feeder & Magnetic Separator | Air Receiver Tank - 2000 Ltrs. with Motor | 2 Nos. | 1.2788 | 2005-12-01 | 2005
Sponge Iron Plant | Screw Compressor | Capacity - 200 CFM, Working Pressure - 7 Bar | 4 Nos. | 28.4524 | 2005-12-01 | 2005
Sponge Iron Plant | Volumetric Feeders | 500 mm wide, 3750 c/c | 14 | 24.2893 | 2005-12-01 | 2005
Sponge Iron Plant | Volumetric Feeders | 650 mm wide, 3750 c/c | 2 | 11.4477 | 2005-12-01 | 2005
Sponge Iron Plant | Belt Conveyor for Raw Material & Finished Goods | Equipment for 500 mm wide belt, mtr | 2000 | 144.288 | 2005-12-01 | 2005
Sponge Iron Plant | Belt Conveyor for Raw Material & Finished Goods | Equipment for 650 mm wide belt mtr | 800 | 117.9072 | 2005-12-01 | 2005
Sponge Iron Plant | Wet Scrapper | Conveyor for Coal/Ash/Char | 2 | 11.048 | 2005-12-01 | 2005
Sponge Iron Plant | Wet Scrapper | Drive for Wet Scrubber | 2 | 1.327 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 75 KW - 100 HP - 1440 RPM | 4 | 4.7157 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 22 KW - 30 HP - 1440 RPM | 2 | 0.50186 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 37 KW - 50 HP - 1440 RPM | 2 | 0.87343 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 7.5 KW - 10 HP - 1440 RPM | 12 | 1.011 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 11 KW - 15 HP - 2900 RPM | 10 | 1.4815 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 18.5 KW - 25 HP - 1440 RPM | 8 | 1.8916 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 22 KW - 30 HP - 2900 RPM | 4 | 1.0544 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 15 KW - 20 HP - 2900 RPM | 20 | 3.6868 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 15 KW - 20 HP - 1440 RPM | 10 | 1.6745 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 132 KW - 180 HP - 1440 RPM | 4 | 7.3867 | 2005-12-01 | 2005
Sponge Iron Plant | Electric Motors for Kiln and Other Equipments | 45 KW - 60 HP - 1440 RPM | 2 | 1.0592 | 2005-12-01 | 2005
Sponge Iron Plant | Roots Blower | 2000m^3/hr and Pressure -0.8 Bar | 4 | 15.0291 | 2005-12-01 | 2005
Sponge Iron Plant | Variable Speed Drive | Variable Speed Drive | 2 Sets | 73.3229 | 2005-12-01 | 2005
Sponge Iron Plant | Bucket Elevator - 20 TPH | Material - Sponge Iron + Char | 2 | 8.1178 | 2005-12-01 | 2005
Sponge Iron Plant | Bucket Elevator - 20 TPH | Drive for Bucket Elevator | 2 | 1.327 | 2005-12-01 | 2005
Sponge Iron Plant | Bucket Elevator - 20 TPH | Machine Control Circuit | 4 | 34.27 | 2005-12-01 | 2005
Sponge Iron Plant | Bucket Elevator - 20 TPH | Power Control Circuit | 4 | 13.03 | 2005-12-01 | 2005
Sponge Iron Plant | Bucket Elevator - 20 TPH | Electrical Slip Ring | 2 Sets | 12.92 | 2005-12-01 | 2005
Sponge Iron Plant | Bucket Elevator - 20 TPH | Transformer - 3000 KVA with 11KV / 440 V | 1 | 20.3878 | 2005-12-01 | 2005
Sponge Iron Plant | H.T. switch gear/L.T.switch gear | H.T. switch gear/L.T.switch gear/change over switch/main bus bar/PVC around cables Aluminium 31/2 coir of different sizes, Electrical lighting system, Air control room. it's lay out socluting, connection etc. |  | 18.23 | 2005-12-01 | 2005
Sponge Iron Plant | Consumable stores | PASLC - 60 M | 600 MT | 148.9104 | 2005-12-01 | 2005
Sponge Iron Plant | Consumable stores | PASLC - 45 M | 430 MT | 74.844 | 2005-12-01 | 2005
Sponge Iron Plant | Consumable stores | PASHEAT 'C' | 800 MT | 75.1456 | 2005-12-01 | 2005
Sponge Iron Plant | Consumable stores | i) Escorts JCB 430Z Articulated | 2 | 114.0992 | 2005-12-01 | 2005
Sponge Iron Plant | Pollution Equipment- Bag Filter Unit | For Coal Circuit | 2 | 9.2169 | 2005-12-01 | 2005
Sponge Iron Plant | Pollution Equipment- Bag Filter Unit | For Cooler Discharge Circuit | 2 | 8.7585 | 2005-12-01 | 2005
Sponge Iron Plant | Pollution Equipment- Bag Filter Unit | For Stock House Circuit | 2 | 7.5762 | 2005-12-01 | 2005
Sponge Iron Plant | Pollution Equipment- Bag Filter Unit | For Product House Circuit | 2 | 8.7585 | 2005-12-01 | 2005
Sponge Iron Plant | Pollution Equipment- Centrifugal Fan without Motor | For Coal Circuit | 2 | 1.5683 | 2005-12-01 | 2005
Sponge Iron Plant | Pollution Equipment- Centrifugal Fan without Motor | For Cooler Discharge Circuit | 2 | 1.5683 | 2005-12-01 | 2005
Sponge Iron Plant | Pollution Equipment- Centrifugal Fan without Motor | For Stock House Circuit | 2 | 1.134 | 2005-12-01 | 2005
Sponge Iron Plant | Pollution Equipment- Centrifugal Fan without Motor | For Product House Circuit | 2 | 1.5683 | 2005-12-01 | 2005
Sponge Iron Plant | Pollution Equipment- Centrifugal Fan without Motor | Civil, Fabrication Items, Installation etc. |  | 86.06 | 2005-12-01 | 2005
Sponge Iron Plant | Laboratory Equipments | Laboratory Equipments | 1 Set | 8.107 | 2005-12-01 | 2005
Sponge Iron Plant | D.G. Set | 1000 KVA, 415 Volts |  | 77.8359 | 2005-12-01 | 2005
Sponge Iron Plant | Tools & Tackles | Tools & Tackles (Hydraulic jack chain block jack screwet.) |  | 5.6 | 2005-12-01 | 2005
Sponge Iron Plant | Furniture, Fixture & Office Equipments | Furniture, Fixture & Office Equipments |  | 5 | 2005-12-01 | 2005
Sponge Iron Plant | Service connection & security | Service connection & security deposit payable to ACB |  | 25 | 2005-12-01 | 2005
Sponge Iron Plant | Water Pump, Motor,cooling Tower & Pipe lines | 20 Mtrs Head | 4 | 2.6624 | 2005-12-01 | 2005
Sponge Iron Plant | Water Pump, Motor,cooling Tower & Pipe lines | 100 Mtrs Head | 4 | 0.97552 | 2005-12-01 | 2005
Sponge Iron Plant | Water Pump, Motor,cooling Tower & Pipe lines | Base Frame for 20 Mtrs Head | 4 | 0.312 | 2005-12-01 | 2005
Sponge Iron Plant | Water Pump, Motor,cooling Tower & Pipe lines | Base Frame for 100 Mtrs Head | 4 | 0.1872 | 2005-12-01 | 2005
Sponge Iron Plant | Water Pump, Motor,cooling Tower & Pipe lines | Deep tube bell boring |  | 3 | 2005-12-01 | 2005
Sponge Iron Plant | Weigh Bridge of 50 Ton capacity | Weigh Bridge of 50 Ton capacity | 2 | 33.2035 | 2005-12-01 | 2005
Sponge Iron Plant | Water Spray Nozzles | 1000 ltrs/hr. Angle 80^o | 40 nos. | 0.48256 | 2005-12-01 | 2005
Sponge Iron Plant | Water Spray Nozzles | Socket for above | 40 nos. | 0.28954 | 2005-12-01 | 2005
Sponge Iron Plant | Water Spray Nozzles | 15.5Type Angle 60^o/80^o | 4 nos. | 0.028954 | 2005-12-01 | 2005
Sponge Iron Plant | Water Spray Nozzles | 24.0Type Angle 60^o/80^o | 4 nos. | 0.033779 | 2005-12-01 | 2005
Sponge Iron Plant | Water Spray Nozzles | 30.0Type Angle 60^o/80^o | 4 nos. | 0.038605 | 2005-12-01 | 2005
Sponge Iron Plant | Water Spray Nozzles | 40.0Type Angle 60^o/80^o | 4 nos. | 0.038605 | 2005-12-01 | 2005
Sponge Iron Plant | Water Spray Nozzles | 50.0Type Angle 60^o/80^o | 4 nos. | 0.038605 | 2005-12-01 | 2005
Sponge Iron Plant | Water Spray Nozzles | 60.0Type Angle 60^o/80^o | 4 nos. | 0.048256 | 2005-12-01 | 2005
Sponge Iron Plant | Water Spray Nozzles | Socket for above | 24 nos. | 0.17372 | 2005-12-01 | 2005
Sponge Iron Plant | PLC + Scada | PLC + Scada | 2 Sets | 33.9536 | 2005-12-01 | 2005
Sponge Iron Plant | PLC + Scada | Weigh Feeder | 20 nos. | 53.256 | 2005-12-01 | 2005
Sponge Iron Plant | PLC + Scada | Remote Totaliser | 2 nos. | 0.48256 | 2005-12-01 | 2005
Sponge Iron Plant | Grease Pump | Grease Pump (Electric Operated) | 8 nos. | 12.064 | 2005-12-01 | 2005
Re-Rolling Mill | Quality Control laboratory Equipments | 60 ton U. testing machine, hardness tester, carbon sulpher appratus, common balances, muffle furnaces, chemical laboratory and glass waxes etc. |  | 6.0039 | 2006-03-31 | 2006
Re-Rolling Mill | Complete transformer with all accessories | 5000 KVA 11/0 440V | 1 | 60.0011 | 2006-03-31 | 2006
Re-Rolling Mill | Vaccum Circuit Breaker | Vaccum Circuit Breaker | 1 | 23.6323 | 2006-03-31 | 2006
Re-Rolling Mill | Furnace oil tank | Furnace oil tank |  | 8.0039 | 2006-03-31 | 2006
Re-Rolling Mill | D. G. Set | 125 KVA |  | 8.2827 | 2006-03-31 | 2006
Re-Rolling Mill | Liquid Starter | Liquid Starter |  | 2.0026 | 2006-03-31 | 2006
Re-Rolling Mill | Water pump | Re-circulation of water alongwith water pipes, fittings |  | 10.9984 | 2006-03-31 | 2006
Re-Rolling Mill | Weighbridge | 50 Ton |  | 4.343 | 2006-03-31 | 2006
Re-Rolling Mill | Electrical, LT, HT, Busher, Cables & Earthings, XLPE point Boxes & Cables | Electrical, LT, HT, Busher, Cables & Earthings, XLPE point Boxes & Cables | L.S. | 67.9061 | 2006-03-31 | 2006
Billet Plant | Auxiliary transformer, double copper wound, oil immersed. | 1000 KVA, 11 KV/415V | 1 | 4.8256 | 2005-12-01 | 2005
Billet Plant | LT Panel, switch gear, cabling, electrification including indoor substation. | LT Panel, switch gear, cabling, electrification including indoor substation. |  | 39.5579 | 2005-12-01 | 2005
Billet Plant | H. T. Sub-Station & Cables for Power line | H. T. Sub-Station & Cables for Power line |  | 59.4031 | 2005-12-01 | 2005
Billet Plant | Furniture & office equipments | Furniture & office equipments |  | 2.4972 | 2005-12-01 | 2005
Billet Plant | Fire fighting equipments | Fire fighting equipments | 1 Set | 1.9906 | 2005-12-01 | 2005
Billet Plant | Tools, Gas Cutting, Welding Sets | Tools, Gas Cutting, Welding Sets |  | 6.1647 | 2005-12-01 | 2005
Billet Plant | Transformers | 7200 KVA Transformer for IF | 1 | 30.2425 | 2005-12-01 | 2005
Billet Plant | Transformers | 3000 KVA Transformer for LRF | 1 | 61.6947 | 2005-12-01 | 2005
Billet Plant | Transformers | 3000 KVA Transformer | 1 | 20.3834 | 2005-12-01 | 2005
Billet Plant | VCB for LRF | VCB for LRF | 1 | 12.097 | 2005-12-01 | 2005
Billet Plant | Sintering / Holding Panel Transformer | 750, KVA ,33 KV/433 V | 1 | 10.8873 | 2005-12-01 | 2005
Billet Plant | Cooling Tower | Cooling Tower | 5 | 26.6134 | 2005-12-01 | 2005
Billet Plant | Softner | Capacity- 50Cubic meter/hour | 1 | 3.3267 | 2005-12-01 | 2005
Billet Plant | Pumps | Pumps |  | 6.0485 | 2005-12-01 | 2005
Billet Plant | Motors | Motors |  | 12.097 | 2005-12-01 | 2005
Billet Plant | Electriclal substation | Outdoor & Indoor | Set | 72.582 | 2005-12-01 | 2005
Billet Plant | Cables | HT & LT Cables | Lot | 48.388 | 2005-12-01 | 2005
Billet Plant | Air Compressors | Air Compressors |  | 21.8835 | 2005-12-01 | 2005
Billet Plant | Fuel oil strorage & Distribution system | Fuel oil strorage & Distribution system |  | 10.2825 | 2005-12-01 | 2005
Billet Plant | Chemical Laboratory equipment (Temperature recorder) | Temperature recorder | 1 Set | 3.3267 | 2005-12-01 | 2005
Billet Plant | 22 Channel Spectrometer complete with cut off & Polishing Machine having Oxygen & Nitrogen Channel | 22 Channel Spectrometer complete with cut off & Polishing Machine having Oxygen & Nitrogen Channel | 1 Set | 36.291 | 2005-12-01 | 2005
Billet Plant | Miscellaneous tools & Tackles | Miscellaneous tools & Tackles | L.S. | 2.4194 | 2005-12-01 | 2005
Billet Plant | Slag Pot & Box | Slag Pot & Box | 10 | 18.1455 | 2005-12-01 | 2005
Billet Plant | Misc and Spares | Misc and Spares | L.S. | 22.5 | 2005-12-01 | 2005
Billet Plant | Weigtbridge | 50 MT |  | 15 | 2005-12-01 | 2005
Captive Power Plant | DM plant ,Cooling tower, Fire fighting system, Air conditioning/ ventilation , Raw water storage system and misc. equipment etc. | DM plant ,Cooling tower, Fire fighting system, Air conditioning/ ventilation and Raw water storage system. |  | 208.224 | 2006-06-01 | 2006
Captive Power Plant | DM plant ,Cooling tower, Fire fighting system, Air conditioning/ ventilation , Raw water storage system and misc. equipment etc. | Misc Equipment |  | 2.56 | 2006-06-01 | 2006
Captive Power Plant | HT & LT switchgear , substation, switchyard consisting of complete electricals. Illumanation of CPP and BOP | Misc Equipment |  | 2.24 | 2006-06-01 | 2006
Captive Power Plant | HT & LT switchgear , substation, switchyard consisting of complete electricals. Illumanation of CPP and BOP | HT & LT switchgear , substation, switchyard consisting of complete electricals. Illumanation of CPP and BOP |  | 262.78 | 2006-06-01 | 2006
Pellet Plant | Electricals ,Automation and instrumentation PMCC /MCC panels | PMCC /MCC Panels |  | 372.682 | 2009-01-01 | 2009
Pellet Plant | Electricals ,Automation and instrumentation PMCC /MCC panels | Motors |  | 223.4592 | 2009-01-01 | 2009
Pellet Plant | Electricals ,Automation and instrumentation PMCC /MCC panels | PLC Systems |  | 58.3891 | 2009-01-01 | 2009
Pellet Plant | Electricals ,Automation and instrumentation PMCC /MCC panels | VVVF Drives /Softstarters |  | 42.3405 | 2009-01-01 | 2009
Pellet Plant | Electricals ,Automation and instrumentation PMCC /MCC panels | Cables |  | 166.216 | 2009-01-01 | 2009
Pellet Plant | Electricals ,Automation and instrumentation PMCC /MCC panels | Distributions Transformers |  | 134.1255 | 2009-01-01 | 2009
Pellet Plant | Electricals ,Automation and instrumentation PMCC /MCC panels | HT equipment for feeders of 6.6 KV line |  | 121.7782 | 2009-01-01 | 2009
Pellet Plant | Utility System | Utility System |  | 357.432 | 2009-01-01 | 2009
Pellet Plant | Mechnical works | Water pipe Line up to battery limits |  | 6.0486 | 2009-01-01 | 2009
Pellet Plant | Mechnical works | Workshop equipment - Drilling machine ,welding machines |  | 25.1459 | 2009-01-01 | 2009
Pellet Plant | Mechnical works | Fire protection system -25 Nos |  | 4.8389 | 2009-01-01 | 2009
Pellet Plant | Mechnical works | Laboratory Equipment |  | 7.2584 | 2009-01-01 | 2009
Pellet Plant | Mechnical works | Store weighing system |  | 2.4195 | 2009-01-01 | 2009
Pellet Plant | Electricals | Temperarary connections for construction -415 volts |  | 6.236 | 2009-01-01 | 2009
Pellet Plant | Electricals | Permanent connections -11 KV line Deposit |  | 50.5 | 2009-01-01 | 2009
Pellet Plant | Electricals | Plant & Non Plant Lighting ,street lighting |  | 41.235 | 2009-01-01 | 2009
Pellet Plant | Electricals | Air Conditioning for office /control rooms |  | 6 | 2009-01-01 | 2009
Pellet Plant | Electricals | HT Side equipment /substation |  | 325.45 | 2009-01-01 | 2009
Pellet Plant | Electricals | DG sets |  | 50.4 | 2009-01-01 | 2009
Pellet Plant | Electricals | Communication /Telephone systems |  | 8.5 | 2009-01-01 | 2009
Pellet Plant | Material Handling | Tippers & Escavator |  | 57.3405 | 2009-01-01 | 2009
Pellet Plant | Material Handling | Weigh bridge 60 tons |  | 13.307 | 2009-01-01 | 2009
Pellet Plant | Miscellaneous | Various lisoning exitures |  | 15.25 | 2009-01-01 | 2009
Pellet Plant | Miscellaneous | Spares |  | 52.365 | 2009-01-01 | 2009
Coal Washery (Old) | Motor, MCC, Electricals & Control panel | Motor, MCC, Electricals & Control panel | Lot | 89.1936 | 2006-01-01 | 2006
Coal Washery (Old) | Earthing Equipments | Earthing Equipments | Lot | 3.8002 | 2006-01-01 | 2006
Coal Washery (Old) | Weighbridge | 30 MT Capacity |  | 7 | 2006-01-01 | 2006
Coal Washery (Old) | Office Equipment | Office Equipment |  | 1.5 | 2006-01-01 | 2006
Coal Washery (Old) | Furniture & Fixture | Furniture & Fixture |  | 0.5 | 2006-01-01 | 2006
Coal Washery (Old) | D.G.Sets | 200 KVA |  | 15 | 2006-01-01 | 2006
DRI Plant | LABORATORY ITEMS | ALL LABORATORY EQUIPMENTS | 1 | 31.6685 | 2011-01-31 | 2011
DRI Plant | UTILITY SYSTEM | AIR COMPRESSOR | 1 | 12.1201 | 2011-01-31 | 2011
DRI Plant | UTILITY SYSTEM | AIR RECIEVER | 1 | 1.212 | 2011-01-31 | 2011
DRI Plant | UTILITY SYSTEM | UTILITY PUMPS | 1 | 1.3332 | 2011-01-31 | 2011
DRI Plant | UTILITY SYSTEM | HOT WELL PUMP | 2 | 3.636 | 2011-01-31 | 2011
DRI Plant | UTILITY SYSTEM | COLD WELL PUMP | 2 | 3.636 | 2011-01-31 | 2011
DRI Plant | UTILITY SYSTEM | A.B.C.PUMP | 2 | 1.9392 | 2011-01-31 | 2011
DRI Plant | UTILITY SYSTEM | G.C.T WATER PUMP | 2 | 7.2721 | 2011-01-31 | 2011
DRI Plant | UTILITY SYSTEM | COOLING TOWER (2 CELLS) | 1 | 12.1694 | 2011-01-31 | 2011
DRI Plant | UTILITY SYSTEM | DE-WATERING PUMPS | 2 | 1.2169 | 2011-01-31 | 2011
DRI Plant | UTILITY SYSTEM | NUT, BOLT, PIPING, LUBRICANTS,VALVES | 1 | 60.6005 | 2011-01-31 | 2011
DRI Plant | MISCELLANEOUS EQUIPMENTS | WEIGH BRIDGE- 100 MT | 1 | 29.0882 | 2011-01-31 | 2011
DRI Plant | MISCELLANEOUS EQUIPMENTS | PAYLOADER (BUCKET 1.7 CU.M) | 2 | 121.201 | 2011-01-31 | 2011
DRI Plant | MISCELLANEOUS EQUIPMENTS | TIPPERS | 4 | 116.353 | 2011-01-31 | 2011
DRI Plant | POLLUTION CONTROL EQUIPMENT | ELECTRO-STATIC PRECIPITATOR (E.S.P.) WITH GAS CONDITIONING TOWER (GCT) | 1 | 363.6031 | 2011-01-31 | 2011
DRI Plant | POLLUTION CONTROL EQUIPMENT | BAG FILTER PRODUCT HOPPER INCLUDING FAN | 1 | 29.0882 | 2011-01-31 | 2011
DRI Plant | POLLUTION CONTROL EQUIPMENT | BAG FILTER FOR C.D BUILDING INCLUDING FAN | 1 | 19.3922 | 2011-01-31 | 2011
DRI Plant | POLLUTION CONTROL EQUIPMENT | BAG FILTER FOR COAL CIRCUIT INCLUDING FAN | 1 | 29.0882 | 2011-01-31 | 2011
DRI Plant | POLLUTION CONTROL EQUIPMENT | BAG FILTER FOR IRON ORE CIRCUIT INCLNG FAN | 1 | 29.0882 | 2011-01-31 | 2011
DRI Plant | POLLUTION CONTROL EQUIPMENT | BAG FILTER FOR INJ COAL CIRCUIT WITH FAN | 1 | 12.1201 | 2011-01-31 | 2011
DRI Plant | POLLUTION CONTROL EQUIPMENT | I.D.FAN | 1 | 48.4804 | 2011-01-31 | 2011
DRI Plant | POLLUTION CONTROL EQUIPMENT | WET SCRAPPER BELOW DSC | 1 | 36.3603 | 2011-01-31 | 2011
DRI Plant | POLLUTION CONTROL EQUIPMENT | WET SCRAPPER BELOW GCT | 1 | 20.6042 | 2011-01-31 | 2011
DRI Plant | POLLUTION CONTROL EQUIPMENT | ASH HANDLING SYSTEM | 1 | 121.201 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | TRANSFORMERS | 1 | 84.8407 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | DG SET | 1 | 436.3237 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | IRON ORE | 1 | 14.7217 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | FEED COAL WITH VIBRO HOPPER | 2 | 29.2066 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | GRADED COAL WITH VIBRO HOPPER | 1 | 14.7217 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | FINE COAL WITH VIBRO HOPPER | 1 | 14.7217 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | DOLOMITE | 1 | 13.4949 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | HT + LT CABLES | 1.5 | 272.7023 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | PCC PANEL | 1.5 | 199.9817 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | PLC/DCS | 1 | 60.6005 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | INSTRUMENTATION | 1 | 48.4804 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | LIGHTING | 1 | 60.6005 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | MOTORS | 1.5 | 126.2252 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | DC AND AC DRIVES | 1 | 48.0858 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | LT CAPACITOR PANNEL | 1 | 24.2402 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | UPS7.5 KVA | 1 | 12.1201 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | GLANDS, LUGD, EARTHING ETC | 1 | 24.2402 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | SUB STATION | 1 | 78.9245 | 2011-01-31 | 2011
DRI Plant | ELECTRICAL | INSTALLATION AND ERRECTION | 1 | 59.1934 | 2011-01-31 | 2011
18 MW Power Plant | ELECTRICALS | CPP 11KV Switch Gear |  | 95.4682 | 2011-01-31 | 2011
18 MW Power Plant | ELECTRICALS | 2 x 2.5 MVA CPP Auxiliary Transformers, 110 V DC System, LT Power Control Centers, Motor Control Centers, Local Control Stations, Junction Boxes etc. as required. | 2 | 80.0248 | 2011-01-31 | 2011
18 MW Power Plant | ELECTRICALS | 110V DC System with Battery Charger and DC Board |  | 36.5025 | 2011-01-31 | 2011
18 MW Power Plant | ELECTRICALS | 1 x 500 KVA DG Set for Safe Emergency Shut Down of CPP | 1 | 84.2366 | 2011-01-31 | 2011
18 MW Power Plant | ELECTRICALS | 20KVA, 110V, 1 phase 50Hz AC Uninterrupted Power Supply System |  | 42.1183 | 2011-01-31 | 2011
18 MW Power Plant | ELECTRICALS | Cabling (both 11 / 11KV & LT Power, Control, Instrumentation / Signal Cables), Cable trays etc. |  | 140.3944 | 2011-01-31 | 2011
18 MW Power Plant | ELECTRICALS | Control - Instrumentation Iincluding Control Desks, Digital Control System and Special Cables |  | 210.5915 | 2011-01-31 | 2011
18 MW Power Plant | ELECTRICALS | Illumination (Both Normal and Emergency) |  | 42.1183 | 2011-01-31 | 2011
18 MW Power Plant | ELECTRICALS | Earthing Materials |  | 22.42 | 2011-01-31 | 2011
18 MW Power Plant | ELECTRICALS | Lightning Materials |  | 12.6786 | 2011-01-31 | 2011
Coal Washery (New) | Misc Fixed Assets | Valves | Lot | 18.4268 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Pipes |  | 57.5838 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Classifying Cyclone | 1 | 4.6067 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Compressor | 1 | 19.1946 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | HM Cyclone | 2 | 11.5168 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Belt Com | Lot | 104.4186 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Misc Items | Lot | 15.3557 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Dust Supression |  | 23.4482 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Erection & Commissioning |  | 51.6171 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Design and Engineering |  | 25.8086 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Tiles and Tilling |  | 39.0804 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Electricals |  | 117.2411 | 2012-03-01 | 2012
Coal Washery (New) | Misc Fixed Assets | Conveyors |  | 382.0312 | 2012-03-01 | 2012
Coal Washery (New) | Coal shed with travelling trapper, EOT Crane ,Grab Bucket for Middling shed | Belt Com | 150 Mtr | 65.8118 | 2012-03-01 | 2012
Coal Washery (New) | Coal shed with travelling trapper, EOT Crane ,Grab Bucket for Middling shed | Travelling trapper | 1 No | 28.3894 | 2012-03-01 | 2012
Coal Washery (New) | Coal shed with travelling trapper, EOT Crane ,Grab Bucket for Middling shed | Overhead crane with G. Bucket | 1 Set | 58.0693 | 2012-03-01 | 2012
Coal Washery (New) | Coal shed with travelling trapper, EOT Crane ,Grab Bucket for Middling shed | Movable Hopper with O.M Feeder | 1 Set | 7.7426 | 2012-03-01 | 2012
Coal Washery (New) | Coal shed with travelling trapper, EOT Crane ,Grab Bucket for Middling shed | Electrical | L.S | 25.8086 | 2012-03-01 | 2012
Coal Washery (New) | Coal shed with travelling trapper, EOT Crane ,Grab Bucket for Middling shed | Erection Commissioning | L.S | 12.9043 | 2012-03-01 | 2012
Coal Washery (New) | Coal shed with travelling trapper, EOT Crane ,Grab Bucket for Middling shed | Tax and duties |  | 38.7128 | 2012-03-01 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | Transformers, 6300 KVA, 33/1 1 KV, Transformer 3600 KVA, 33/430/KV & Transformer 4600KVA, 33/430 KV |  | 256.3905 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | HT Switch Gear Substation and accessories |  | 102.5562 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | PCC |  | 153.8343 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | MCC |  | 307.6686 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | HT switch gear |  | 71.7893 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | VWF drive |  | 153.8343 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | Soft Starters |  | 30.7669 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | Instruments and control |  | 102.5562 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | DCS |  | 153.8343 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | Cables |  | 1025.5619 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | Bus Ducts |  | 51.2781 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | LCS, Earthing, Jointin Kit and cable trayes |  | 205.1124 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | Construction power distribution system |  | 13.3323 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | Misc Motors not in OEM scope |  | 20.5112 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | Plant & non plant lighting, street lighting |  | 71.7893 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | Air conditioning office / control room |  | 72.4662 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | DG sets |  | 123.0674 | 2012-06-30 | 2012
Pellet Plant (New) | Electrification, Automation and Instrumentation | Communication / Telephone system |  | 41.0225 | 2012-06-30 | 2012
Pellet Plant (New) | Utility Services | Compress Air and Pipe Line upto units |  | 12.3067 | 2012-06-30 | 2012
Pellet Plant (New) | Utility Services | Work shop equipments |  | 41.0225 | 2012-06-30 | 2012
Pellet Plant (New) | Utility Services | Fire protection system |  | 15.3834 | 2012-06-30 | 2012
Pellet Plant (New) | Utility Services | Laboratory equipments |  | 41.0225 | 2012-06-30 | 2012
Pellet Plant (New) | Utility Services | Weighing system and storage and prevention |  | 20.5112 | 2012-06-30 | 2012
Pellet Plant (New) | Material Handling | Mobile earth moving equipments |  | 102.5562 | 2012-06-30 | 2012
Pellet Plant (New) | Material Handling | Weigh bridge |  | 27.5671 | 2012-06-30 | 2012
Pellet Plant (New) | Material Handling | Stores, yard development, preservation |  | 41.0225 | 2012-06-30 | 2012
Pellet Plant (New) | Miscellaneous | Office Furnitures |  | 33.1754 | 2012-06-30 | 2012
Pellet Plant (New) | Miscellaneous | Vehicles |  | 49.7631 | 2012-06-30 | 2012
Pellet Plant (New) | Miscellaneous | Spares and consumables |  | 414.6922 | 2012-06-30 | 2012
34 MW Power Plant | Generator / System Transformer | 48 MVA 132 / 11 KV Generator / System Transformer | 1 | 838.2755 | 2012-06-30 | 2012
34 MW Power Plant | Generator / System Transformer Bay including, Circuit Breaker, CT, Isolators, Lightning Arrestors, Structures | 132KV | 1 | 195.5976 | 2012-06-30 | 2012
34 MW Power Plant | Switch Gear | CPP 11KV |  | 111.7701 | 2012-06-30 | 2012
34 MW Power Plant | LT Power Control Centers | LT Power Control Centers, Motor Control Centers, Local Control Stations & Junction Boxes |  | 139.7126 | 2012-06-30 | 2012
34 MW Power Plant | Auxiliary Transformers | 4.5 MVA CPP | 2 | 139.7126 | 2012-06-30 | 2012
34 MW Power Plant | DG Set for Safe Emergency Shut Down of CPP | 3500 KVA | 1 | 279.4252 | 2012-06-30 | 2012
34 MW Power Plant | Uninterrupted Power Supply System | 25KVA, 110V, 1 phase 50Hz AC |  | 69.8563 | 2012-06-30 | 2012
34 MW Power Plant | Cabling | 11 / 11KV & LT Power, Control, Instrumentation / Signal Cables, Cable trays |  | 209.5689 | 2012-06-30 | 2012
34 MW Power Plant | Instrumentation Control | including Control Desks, Digital Control System and Special Cables |  | 279.4252 | 2012-06-30 | 2012
34 MW Power Plant | Illumination | Both Normal and Emergency |  | 69.8563 | 2012-06-30 | 2012
34 MW Power Plant | Earthing & Lightning Materials | Earthing & Lightning Materials |  | 41.9138 | 2012-06-30 | 2012
34 MW Power Plant | Water line system with pump house | Intake well 3 kms from River Side |  | 1117.7007 | 2012-06-30 | 2012
Water Distribution System | KOORNALA PROJECT | Supply erection testing and commissioning |  | 564.4875 | 2013-11-01 | 2013
Water Distribution System | WATER RESERVOIR | Supply erection testing and commissioning |  | 259.5 | 2013-11-01 | 2013
Water Distribution System | BRIDGE AT NALA NEAR GATE NO.2 | Supply erection testing and commissioning |  | 19.06 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | One no.furnace crucibles of 15Mt capacity with Assecories - Electrotherm Make | 1 Set | 284.2259 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | 30/10 Ton (liquid mat. Handling ) EOT Crane, 15/5 Ton * 21 Mtr. EOT Crane ` 19 meter height of lift, 15/5 Ton * 21 Mtr. EOT Crane ` 10 meter height of lift |  | 328.5564 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Circular lifting magnet, |  | 47.2542 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Cooling Tower, Concast, Concast Cooling System, Hydrolic Pump/Moulds, 10 Ton capacity span Crane for Billet Handling |  | 342.0075 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Rect.Lifting Magnet for billet |  | 16.0635 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | INDUCTION FURNACE CAP. 15MT WITH ACCESSORIES SET |  | 490.615 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Ladle Refining Furnace 18 to 30 ton capacity With 5000 KVA Transformer, water cooled Roof and ladle car with auxiliary systems |  | 753.7642 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Magnetic Crane for slag bay 10 ton capacity |  | 67.264 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Automatic feeding system of Sponge Iron |  | 312.4782 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | 20 ton ladle with slide gate hanger |  | 88.6657 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Charging bins,tools etc. |  | 24.6294 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Refractories for ladle & LRF |  | 189.8293 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Temperature recorder system |  | 18.2063 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | 1000 KVA, 11 KV/415V, Auxiliary transformer, double copper wound, oil immersed. |  | 68.3942 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Laboratory Equipments |  | 7.943 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Pollution Control Equipments 44 KW/4 pole TEFC motor and manual star delta starter.Ducting, Chimney, Swivelling hood etc. Civil foundation, Mechanical erection, electrical cabling. |  | 160.7938 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Electrical Cable, Plate Heat Exchange |  | 425.4393 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Water Distributions System including Pumps, Softning & D. M. Plant |  | 87.0434 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Air Compressor - 200 CFM |  | 9.9482 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | LT Panel, switch gear, cabling, electrification including indoor substation, H. T. Sub-Station & H. T. Power line Exp. |  | 300.9365 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Furniture & office equipments |  | 1.6079 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Fire fighting equipments |  | 21.0877 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Charging Skips, Tendis, Spoons, Laddel etc. |  | 130.5707 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Copper Mould Tubes |  | 118.1404 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Tools, Gas Cutting, Welding Sets |  | 28.6889 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Lean-to-shed for slag crushing |  | 16.1368 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Billet bay |  | 69.1291 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Furnace Room with platform, Billet Caster foundations, Pump Room and Cooling Tower basins, Electric Control Room |  | 203.6592 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Misc. Buildings |  | 8.3973 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Slag Crushing Unit |  | 2.6819 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | 3500 KW, 8000 Kg medium ( 24 puls) frequency induction melting furnace comprising of Two no.furnace crucibles of 8000 kg capacity, |  | 260.0235 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | 30/10 Ton (liquid mat. Handling ) EOT Crane, 15/5 Ton * 21 Mtr. EOT Crane ` 10 meter height of lift, 15/5 Ton * 21 Mtr. EOT Crane ` 19 meter height of lift |  | 34.2074 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Circular lifting magnet |  | 14.9224 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Cooling Tower |  | 21.14 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Concast Cooling System, Hydrolic Pump/Moulds |  | 24.8706 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | 10 Ton capacity span Crane for Billet Handling |  | 30.7867 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Rect.Lifting Magnet for billet |  | 13.6788 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Magnetic Crane for slag bay 10 ton capacity |  | 37.3059 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Automatic feeding system of Sponge Iron |  | 221.9273 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | 20 ton ladle with slide gate hanger |  | 49.7412 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Charging bins,tools etc. |  | 43.4806 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Temperature recorder system, Refractories for ladle & LRF |  | 12.4353 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | 4200 KVA, 11 KV/4 x 500V, Auxiliary transformer, double copper wound, oil immersed. ,Laboratory Equipments |  | 62.1765 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Pollution Control Equipments 44 KW/4 pole TEFC motor and manual star delta starter.Ducting, Chimney, Swivelling hood etc. Civil foundation, Mechanical erection, electrical cabling. |  | 12.4353 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Electrical Cable, Plate Heat Exchange, |  | 181.0803 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Water Distributions System including Pumps, Softning & D. M. Plant, Air Compressor - 200 CFM, |  | 92.6658 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | LT Panel, switch gear, cabling, electrification including indoor substation, H. T. Sub-Station & H. T. Power line Exp, Furniture & office equipments, Fire fighting equipments, Charging Skips, Tendis, Spoons, Laddel etc. |  | 209.1985 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Copper Mould Tubes, Tools, Gas Cutting, Welding Sets |  | 62.1765 | 2013-11-01 | 2013
SMS Billet Plant | INFRASTRUCTURE UPGRADATION | Electric Connection - Tranferline from CPP to SMS |  | 202.9584 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Civil for Straightening machine, Hot Saw |  | 113.4958 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Recuperator for fuel saving, Product handling Bay with Goliath Crane |  | 12.2753 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Coal Shed for gasifier - Civil , Coal Shed for gasifier - Steel |  | 55.9452 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Straightening Machine,Charging Table For Above, Product Discharge Table, Heavy Duty Hot Saw Machine For Cutting Upto 500 Mm Structures & 160 Mm Dia Round Along With One No. Extra Blade 1550 mm teeth Grinding Machine, Design, Manufacturing, Supply & Supervision Of Erection & Commissioning Of Recuperator For 25 Tph Pg Fired Billet Reheating Furnance. |  | 322.6578 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Billet Conveyor From Sms Shop To Rolling Mill, Product Handling Bay With Goliath Crane |  | 332.8272 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Goliath |  | 109.0931 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Crane |  | 26.3672 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Electrials, Motors etc for Straightening machine |  | 57.4767 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Rolls for the Straightening machine |  | 435.1188 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Electrials and light for HOT SAW MACHINE, Burners set+ Block for uasge of high temp. gas |  | 106.4418 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Rolls (9-10 sets) |  | 1107.5445 | 2013-11-01 | 2013
Structural Rolling Mill | INFRASTRUCTURE UPGRADATION | Weigh bridge |  | 44.5129 | 2013-11-01 | 2013
Diversion of 132 KV Line | INFRASTRUCTURE UPGRADATION | Supply of towers, conductor, groound wire, insulators, accessories and hardware etc., Rebate on account of material returnable to Store after dismentaling of 132 KV line, Store incidental charges , Line Electrical Work, Line Dismental Work, Supervision Charges, Building and other construction welfare cess |  | 211.2421 | 2013-11-01 | 2013
Producer Gas Plant | INFRASTRUCTURE UPGRADATION | Design & Engineering Gas Plant Lot , Design & Engineering (Structural and Civil), Proprietary Items , Fabrication at site, Erection |  | 1292.5042 | 2013-11-01 | 2013
Producer Gas Plant | INFRASTRUCTURE UPGRADATION | Complete Automation of gasifier Including Electrical & Instrumentation |  | 554.5749 | 2013-11-01 | 2013
Producer Gas Plant | INFRASTRUCTURE UPGRADATION | Coal crushing and Material Handling System |  | 728.455 | 2013-11-01 | 2013
Producer Gas Plant | INFRASTRUCTURE UPGRADATION | Steel Material , C.G.I. Sheets |  | 508.5415 | 2013-11-01 | 2013
Producer Gas Plant | INFRASTRUCTURE UPGRADATION | Refractory Material |  | 73.4737 | 2013-11-01 | 2013
Producer Gas Plant | INFRASTRUCTURE UPGRADATION | insulation Material , Commissioning |  | 7.8031 | 2013-11-01 | 2013
Structure Rolling Mill | INFRASTRUCTURE UPGRADATION | Hot Charging System including Reheating Furnace in Structure Rolling Mill |  | 615.323 | 2014-08-31 | 2014
Rolling Mill | INFRASTRUCTURE UPGRADATION | Expansion TMT Rolling Mill and Hot Charging System |  | 1450.9313 | 2014-08-31 | 2014
Sponge Iron Plant | INFRASTRUCTURE UPGRADATION | Slag Crushing Plant, Pollution Control Equipment,Coal Dryer, Modernization of Refectory and Product Conveyor in Sponge Iron & DRI |  | 1549.1788 | 2014-08-31 | 2014
Pellet Plant | INFRASTRUCTURE UPGRADATION | Product Conveyor, Atomization of Fuel Feeding System and Reservoir and Settling Tank in Pellet Plant |  | 1924.6379 | 2014-08-31 | 2014
Power Plant | INFRASTRUCTURE UPGRADATION | Dust Supersession System in Power Plant |  | 357.5411 | 2014-08-31 | 2014
SMS Plant | INFRASTRUCTURE UPGRADATION | ILF Expansion- 15 Mt SMS Plant |  | 2791.5293 | 2014-08-31 | 2014
SMS Plant | INFRASTRUCTURE UPGRADATION | Induction Furnace alongwith Accessories - EMT Make in SMS Plant |  | 29.15 | 2016-07-01 | 2016
INFRA | INFRASTRUCTURE UPGRADATION | Fly Ash Brick Making Plant |  | 276.2106 | 2014-08-31 | 2014
INFRA | INFRASTRUCTURE UPGRADATION | Internal Water Distribution |  | 1245 | 2015-03-01 | 2015
INFRA | INFRASTRUCTURE UPGRADATION | Energy Saving Device |  | 50 | 2015-03-01 | 2015
INFRA | INFRASTRUCTURE UPGRADATION | Upgradation of Internal Load |  | 1215.73 | 2015-03-01 | 2015
INFRA | INFRASTRUCTURE UPGRADATION | Light Rolling Mill |  | 3470.0449 | 2015-03-01 | 2015
Power Plant | INFRASTRUCTURE UPGRADATION | Ash Silo and Piping System in Power Plant | set | 393.7443 | 2015-03-01 | 2015
Sponge Iron | INFRASTRUCTURE UPGRADATION | Cooler Shell Tyres in Sponge Iron Plant | set | 106.2943 | 2015-03-01 | 2015
Sponge Iron | INFRASTRUCTURE UPGRADATION | Support Roller in Sponge Iron Plant | set | 562.591 | 2015-03-01 | 2015
Pellet Plant | INFRASTRUCTURE UPGRADATION | ZHONGDA BRIGHT FILTER PRESS for benefication Plant | set | 2622.5396 | 2015-03-01 | 2015
Pellet Plant | INFRASTRUCTURE UPGRADATION | Cooler Shell Section & Bearings | set | 200.8017 | 2015-03-01 | 2015
Power Plant | INFRASTRUCTURE UPGRADATION | Economizer in Power Plant | set | 150.6013 | 2015-03-01 | 2015
Power Plant | INFRASTRUCTURE UPGRADATION | Refractories in Power Plant | set | 100.4009 | 2015-03-01 | 2015
Power Plant | INFRASTRUCTURE UPGRADATION | Coal & Ash Handling system in Power Plant | set | 844.8324 | 2015-03-01 | 2015
Common Facilities | INFRASTRUCTURE UPGRADATION | Pipelines | set | 338.1538 | 2015-03-01 | 2015
Billet Plant | INFRASTRUCTURE UPGRADATION | COIL ASSEMBLY FOR FURNACE 20MT | 5 | 38.8 | 2021-03-01 | 2021
Power Plant | INFRASTRUCTURE UPGRADATION | TURBINE PARTS | 5 | 378.12 | 2021-03-01 | 2021