## Building Sheet
CIVIL/STRUCTURES VALUATION
S.No. | Block Name | Total Slabs/ Floors | Floor wise Height (ft.) | Year of construction | Type of construction (select from drop down) | Structure condition | Area (in sq. mtr.) | Area (sq. fts.) | RCC framed pillar beam column structure on RCC slab
FACTORY BUILDINGS
1 | Furnace Building (Ground+3Floors) | 1 | 20 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 3564.21 | 38364.8
2 | Crane Bay | 1 | 13 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 3696 | 39783.3744
3 | Finish Product Bay | 1 | 13 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 3200 | 34444.48
4 | Day Bin Bunker House(1&2) | 2 | 18 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 1364 | 14681.9596
5 | Compressor Shed | 1 | 7.5 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 132 | 1420.8348
6 | Pump House- 1 | 1 | 6 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 196 | 2109.7244
7 | Pump House- 2 | 1 | 6 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 196 | 2109.7244
8 | L.T. Room 1 | 1 | 6 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 224 | 2411.1136
9 | L.T. Room 2 | 1 | 6 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 136 | 1463.8904
10 | D.G room | 1 | 6 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 80 | 861.112
11 | Coke & Coal Shed -1 | 1 | 8.5 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 2632.5 | 28335.9667
12 | Coke & Coal Shed -2 | 1 | 8.5 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 2632.5 | 28335.9667
13 | Sinter Plant with MCC Room | 2 | 14 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 1288 | 13863.9032
14 | Auto Workshop Shed | 1 | 7.5 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 215 | 2314.2385
15 | Transformer Shed | 1 | 7.5 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 212.5 | 2287.3288
16 | Canteen | 1 | 5 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 90 | 968.751
17 | Admin Office, OHC & Store | 1 | 6 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 462 | 4972.9218
18 | Store Shed near jigging plant | 1 | 6.5 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 404.25 | 4351.3066
19 | Plant Office | 1 | 8 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 180 | 1937.502
20 | Q & C Laboratory | 1 | 8 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 180 | 1937.502
21 | Electrical Workshop | 1 | 8 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 180 | 1937.502
22 | Mechanical Workshop | 1 | 8 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 255 | 2744.7945
23 | Central Store Building | 1 | 8 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 615 | 6619.7985
24 | Mechanical Sub-store | 1 | 8 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 144 | 1550.0016
25 | 132/33KV Substation with Control Room | 1 | 6 | 2010-11 | RCC framed pillar beam column structure on RCC slab | Good | 210 | 2260.419