## Building sheet
CIVIL/STRUCTURES VALUATION
S.No. | Block Name | Total Slabs/ Floors | Floor wise Height (ft.) | Year of construction | Type of construction (select from drop down) | Structure condition | Area (in sq. mtr.) | Area (sq. fts.)
1 | Mill House | G+1 | 59'-0" | 2005 | ,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure |  | 2348 | 25273.6
2 | Power House | G+1 | 59'-0" | 2005 | ,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure |  | 1642 | 17674.3
3 | D.G. Set | G Floor | 16'-4" | 2005 | ,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure |  | 274.7 | 2956.8
4 | Boiler Panel Room | G+1 | 30'-2" | 2005 | G+1 RCC Framed single storied with RCC roof and brick masonry wall |  | 322.76 | 3474.15
5 | Boiling House Building | G Floor | 75'-4" | 2005 | Asbestos cement sheet shed roof mounted on iron pillars ,trusses frame structure,and brick masonry wall |  | 2940 | 31645.89
6 | Sugar Godown | G Floor | 32'-8" | 2005-2006 | Colored corrugated GI sheet roof mounted on RCC pillars and brick masonry wall ,trusses frame structure |  | 8000 | 86111.28
7 | Gunny Bag Godown | G Floor | 16'-4" | 2005 | Colored corrugated GI sheet roof mounted on RCC pillars and brick masonry wall ,trusses frame structure |  | 860 | 9253.96
8 | General Store | G+1 | 26'-3" | 2005 | Asbestos cement sheet shed roof mounted on RCC pillars ,and RCC framed single storied RCC roof,,and brick masonry wall,trusses frame structure,and factory made door frame,window with flush door and white wash, snowcem etc. |  | 659.4 | 7095.144
10 | Workshop , | G Floor | 59'-0" | 2005-2006 | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,white wash, snowcem paint and factory made door shutter etc. |  | 604.8 | 6507.648
11 | Tech Block | G+1 | 22'-11" | 2005 | G+1 RCC Framed Single storied with RCC roof and brick masonry wall,factory made door frame, window with flush door and white wash, snowcem paint etc. |  | 1050 | 11298
12 | Sulpher& lime godown | G Floor | 15'-7" | 2006 | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. |  | 288 | 3098.88
13 | Cane office & Hospital | G Floor | 12'-0" | 2006 | RCC framed with RCC roof and brick masonry wall,kota stone flooring, factory made door frame & window with flush door and conduit wiring , white wash, snowcem paint etc. |  | 2024 | 21778.24
14 | Canteen | G Floor | 16'-4" | 2006 | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,white wash, snowcem paint ,kota stone flooring and factory made door frame etc. |  | 228 | 2453.28
15 | Time office | G Floor | 7'-10" | 2005 | RCC Framed with RCC roof and brick masonry , Aluminium window and door and white wash ,snowcem etc. |  | 48.17 | 518.3092
16 | Administrative building , | G+1 | 26'-3" | 2007 | G+1 RCC framed single storied structure with RCC roof and brick masonry wall ,marble ,tiles flooring in entrance corridor and ist. Floor marble and tiles flooring in offices and false ceiling Air cooling ducts, Dholphur stone facing, Porch for vechile parking, Conduit wiring. |  | 3144.94 | 33839.5544
17 | Bank Building , | G Floor | 13'-2" | 2007 | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. |  | 400 | 4304
18 | Security Barack | G Floor | 13'-2" | 2005 | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door frame, window and flush door and white wash, snowcem paint etc. |  | 416.91 | 4485.9516
19 | Electrical Panel Room (near door and cooling tower) , (2 NOS) | G Floor | 10'-0" | 2005 | RCC pillars with RCC roof and brick masonry wall , cement flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. |  | 460.34 | 4953.2584
20 | Guest House, | G+1 | 19'-8" | 2005 | G+1 RCC framed Single storied structure with RCC roof, brick masonry wall , kota stone, tiles flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. |  | 3633.12 | 39092.3712
21 | Residential Building | G+2 | 33'-3" | 2005-2009 | G+2,RCC framed three storied structure with RCC roof, brick masonry wall , kota stone, tiles flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door with commercial sanitary fittings, etc. |  | 8158.56 | 87786.1056
22 | Banglow (6 NOS) | G+1 | 20.6" | 2005-2010 | ,RCC framed structure with RCC roof, brick masonry wall , kota stone and marble, tiles flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door with commercial sanitary fittings, etc. |  | 2450.27 | 26364.9052
23 | G+3 (1 BED ROOM FLATS) (148 NOS) | G+3 | 40'-0" | 2006-2007 | G+3,RCC framed four storied structure with RCC roof, brick masonry wall , kota stone, tiles flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door with commercial sanitary fittings, etc. |  | 9792.1 | 105362.996
24 | E.T.P | G Floor | 11'-6" | 2005 | RCC pillars with RCC roof and brick masonry wall , cement flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, door shutteretc. |  | 180 | 1936.8
25 | Store Building 2 | G Floor | 13'-0" | 2008 | Asbestos cement sheet shed roof & iron column mounted and trusses frame structure |  | 216 | 2324.16
26 | Boundry wall length (meter) |  | 9'-0" | 2005 | RCC Pillar with brick masnory wall |  | 2379.9 | 25607.724
27 | Road (meter) |  |  | 2005 | RCC |  | 21072 | 226734.72
28 | Drainage (meter) |  |  | 2005 | RCC |  | 5185.7 | 55798.132
29 | Reservoir (meter) |  |  | 2005 | RCC |  | 25 X 25 X 4

## Building working
ANNEXURE-A: MARKET VALUE OF STRUCTURES OF M/S. BAJAJ HINDUSTHAN SUGAR LIMITED.¦ PROPERTY OF INDUSTRIAL PROPERTY ¦ SITUATED AT: VILLAGE- THANABHAWAN, DISTRICT- SHAMLI, U.P
Sr. No. | Floor | Block Name | Construction Category | Condition of Structure | Area (in sq mtr) | Area (in sq ft) | Height (in ft.) | Year of Construction | Year of Valuation | Total Life Consumed (in yrs.) | Total Economical Life (in yrs.) | Salvage value | Depreciation Rate | Plinth Area Rate (in per sq.ft.) | Plinth Area Rate (In per sq. mtr.) | Gross Replacement Value (INR) | Total Deterioration (INR) | Depreciated Value (INR) | Premium (For additional aesthetics or renovation) | Depreciated Replacement Market Value (INR) | Govt. Guideline rates (per sq. mtr.) | Age Factor | Total Govt. Guideline value
1 | G+1 | Mill House | ,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure | Good | 2348 | 25264.48 | 59'-0" | 2005 | 2024 | 19 | 40 | 0.05 | 0.02375 | 1100 | 11840.29 | 27801000.92 | 12545201.6651 | 15255799.2548 | 0 | 15255799.2548 | 800 | 0.99 | 1859616
2 | G+1 | Power House | ,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure | Good | 1642 | 17674.3238 | 59'-0" | 2005 | 2024 | 19 | 40 | 0.05 | 0.02375 | 1100 | 11840.29 | 19441756.18 | 8773092.4762 | 10668663.7038 | 0 | 10668663.7038 | 800 | 0.99 | 14139459.04
3 | G Floor | D.G. Set | ,Asbestos cement sheet shed roof mounted and brick masonry wall ,trusses frame structure | Good | 274.7 | 2956.8433 | 16'-4" | 2005 | 2024 | 19 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 2069790.331 | 933992.8869 | 1135797.4441 | 0 | 1135797.4441 | 800 |  | 2365474.664
4 | G+1 | Boiler Panel Room | G+1 RCC Framed single storied with RCC roof and brick masonry wall | Good | 322.76 | 3474.1564 | 30'-2" | 2005 | 2024 | 19 | 60 | 0.05 | 0.015833 | 1200 | 12916.68 | 4168987.6368 | 1254170.4474 | 2914817.1894 | 0 | 2914817.1894 | 800 |  | 2779325.0912
5 | G Floor | Boiling House Building | Asbestos cement sheet shed roof mounted on iron pillars ,trusses frame structure,and brick masonry wall | Good | 2940 | 31645.866 | 75'-4" | 2005 | 2024 | 19 | 40 | 0.05 | 0.02375 | 1150 | 12378.485 | 36392745.9 | 16422226.5874 | 19970519.3126 | 0 | 19970519.3126 | 800 |  | 25316692.8
6 | G Floor | Sugar Godown | Colored corrugated GI sheet roof mounted on RCC pillars and brick masonry wall ,trusses frame structure | Good | 8000 | 86111.2 | 32'-8" | 2005 | 2024 | 19 | 40 | 0.05 | 0.02375 | 850 | 9149.315 | 73194520 | 33029027.15 | 40165492.85 | 0 | 40165492.85
7 | G Floor | Gunny Bag Godown | Colored corrugated GI sheet roof mounted on RCC pillars and brick masonry wall ,trusses frame structure | Good | 860 | 9256.954 | 16'-4" | 2005 | 2024 | 19 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 6479867.8 | 2924040.3448 | 3555827.4552 | 0 | 3555827.4552
8 | G+1 | General Store | Asbestos cement sheet shed roof mounted on RCC pillars ,and RCC framed single storied RCC roof,,and brick masonry wall,trusses frame structure,and factory made door frame,window with flush door and white wash, snowcem etc. | Good | 659.4 | 7097.7157 | 26'-3" | 2005 | 2024 | 19 | 40 | 0.05 | 0.02375 | 750 | 8072.925 | 5323286.745 | 2402133.1437 | 2921153.6013 | 0 | 2921153.6013
9 | G Floor | Workshop , | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,white wash, snowcem paint and factory made door shutter etc. | Good | 604.8 | 6510.0067 | 59'-0" | 2005 | 2024 | 19 | 40 | 0.05 | 0.02375 | 1100 | 11840.29 | 7161007.392 | 3231404.5856 | 3929602.8064 | 0 | 3929602.8064
10 | G+1 | Tech Block | G+1 RCC Framed Single storied with RCC roof and brick masonry wall,factory made door frame, window with flush door and white wash, snowcem paint etc. | Good | 1050 | 11302.095 | 22'-11" | 2005 | 2024 | 19 | 60 | 0.05 | 0.015833 | 1300 | 13993.07 | 14692723.5 | 4420060.9862 | 10272662.5138 | 0 | 10272662.5138
11 | G Floor | Sulpher& lime godown | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door shutter and white wash, snowcem paint etc. | Good | 288 | 3100.0032 | 15'-7" | 2006 | 2024 | 18 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 2170002.24 | 927675.9576 | 1242326.2824 | 0 | 1242326.2824
12 | G Floor | Cane office & Hospital | RCC framed with RCC roof and brick masonry wall,kota stone flooring, factory made door frame & window with flush door and conduit wiring , white wash, snowcem paint etc. | Good | 2024 | 21786.1336 | 12'-0" | 2006 | 2024 | 18 | 60 | 0.05 | 0.015833 | 1200 | 12916.68 | 26143360.32 | 7450857.6912 | 18692502.6288 | 0 | 18692502.6288
13 | G Floor | Canteen | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,white wash, snowcem paint ,kota stone flooring and factory made door frame etc. | Good | 228 | 2454.1692 | 16'-4" | 2006 | 2024 | 18 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 1717918.44 | 734410.1331 | 983508.3069 | 0 | 983508.3069
14 | G Floor | Time office | RCC Framed with RCC roof and brick masonry , Aluminium window and door and white wash ,snowcem etc. | Good | 48.17 | 518.4971 | 7'-10" | 2005 | 2024 | 19 | 60 | 0.05 | 0.015833 | 1200 | 12916.68 | 622196.4756 | 187177.4397 | 435019.0359 | 0 | 435019.0359
15 | G+1 | Administrative building , | G+1 RCC framed single storied structure with RCC roof and brick masonry wall ,marble ,tiles flooring in entrance corridor and ist. Floor marble and tiles flooring in offices and false ceiling Air cooling ducts, Dholphur stone facing, Porch for vechile parking, Conduit wiring. | Good | 3144.94 | 33851.8197 | 26'-3" | 2007 | 2024 | 17 | 60 | 0.05 | 0.015833 | 1500 | 16145.85 | 50777729.499 | 13667672.1901 | 37110057.3089 | 0 | 37110057.3089
16 | G Floor | Bank Building , | RCC pillars with RCC roof and brick masonry wall , kota stone flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Good | 400 | 4305.56 | 13'-2" | 2007 | 2024 | 17 | 60 | 0.05 | 0.015833 | 1300 | 13993.07 | 5597228 | 1506587.2033 | 4090640.7967 | 0 | 4090640.7967
17 | G Floor | Security Barack | Asbestos cement sheet shed roof mounted on RCC pillars ,trusses frame structure, brick masonry wall,factory made door frame, window and flush door and white wash, snowcem paint etc. | Good | 416.91 | 4487.5775 | 13'-2" | 2005 | 2024 | 19 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 3141304.2843 | 1417513.5583 | 1723790.726 | 0 | 1723790.726
18 | G Floor | Electrical Panel Room (near door and cooling tower) , (2 NOS) | RCC pillars with RCC roof and brick masonry wall , cement flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Good | 460.34 | 4955.0537 | 10'-0" | 2005 | 2024 | 19 | 60 | 0.05 | 0.015833 | 1100 | 11840.29 | 5450559.0986 | 1639709.8622 | 3810849.2364 | 0 | 3810849.2364
19 | G+1 | Guest House, | G+1 RCC framed Single storied structure with RCC roof, brick masonry wall , kota stone, tiles flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, etc. | Good | 3633.12 | 39106.5404 | 19'-8" | 2005 | 2024 | 19 | 60 | 0.05 | 0.015833 | 1300 | 13993.07 | 50838502.4784 | 15293916.1623 | 35544586.3161 | 0 | 35544586.3161
20 | G+2 | Residential Building | G+2,RCC framed three storied structure with RCC roof, brick masonry wall , kota stone, tiles flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door with commercial sanitary fittings, etc. | Good | 8158.56 | 87817.924 | 33'-3" | 2005 | 2024 | 19 | 60 | 0.05 | 0.015833 | 1300 | 13993.07 | 114163301.1792 | 34344126.4381 | 79819174.7411 | 0 | 79819174.7411
21 | G+1 | Banglow (6 NOS) | ,RCC framed structure with RCC roof, brick masonry wall , kota stone and marble, tiles flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door with commercial sanitary fittings, etc. | Good | 2450.27 | 26374.4613 | 20.6" | 2005 | 2024 | 19 | 60 | 0.05 | 0.015833 | 1400 | 15069.46 | 36924245.7542 | 11108043.9311 | 25816201.8231 | 0 | 25816201.8231
22 | G+3 | G+3 (1 BED ROOM FLATS) (148 NOS) | G+3,RCC framed four storied structure with RCC roof, brick masonry wall , kota stone, tiles flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door with commercial sanitary fittings, etc. | Good | 9792.1 | 105401.1852 | 40'-0" | 2006 | 2024 | 18 | 60 | 0.05 | 0.015833 | 1100 | 11840.29 | 115941303.709 | 33043271.5571 | 82898032.1519 | 0 | 82898032.1519
23 | G Floor | E.T.P | RCC pillars with RCC roof and brick masonry wall , cement flooring, conduit wiring, whitewash, snowcem paint and factory made door frame, window and flush door, door shutteretc. | Good | 180 | 1937.502 | 11'-6" | 2005 | 2024 | 19 | 60 | 0.05 | 0.015833 | 1200 | 12916.68 | 2325002.4 | 699438.222 | 1625564.178 | 0 | 1625564.178
24 | G Floor | Store Building 2 | Asbestos cement sheet shed roof & iron column mounted and trusses frame structure | Good | 216 | 2325.0024 | 13'-0" | 2008 | 2024 | 16 | 40 | 0.05 | 0.02375 | 700 | 7534.73 | 1627501.68 | 618450.6384 | 1009051.0416 | 0 | 1009051.0416
| TOTAL |  |  |  | 50142.07 | 539715.0701 | [9 empty] | 614165841.9631 | 208574201.2578 | 405591640.7053 |  | 405591640.7053

## Road & Drains
ANNEXURE-B: VALUATION OF OTHER STRUCTURES
S.No. | Description | Year of construction | Type of construction | Structure condition | Area (in running mtr.) | Area ( fts.) | Rates adopted | Depreciated Replacement Cost | Govt. Guidelines Rates (in sq. mtr.) | Govt. Guideline Value
1 | Boundry wall length (meter) | 2005 | RCC Pillar with brick masnory wall | Average | 2379.9 | 7615.68 | 2400 | 5711760 | 0 | 0
2 | Road (meter) | 2005 | RCC | Average | 2379.9 | 7615.68 | 9000 | 21419100 | 0 | 0
3 | Drainage (meter) | 2005 | RCC | Average | 5185.7 | 16594.24 | 2500 | 12964250 | 0 | 0
4 | Reservoir (meter) | 2005 | RCC | Average | 2500 | 8000 | 600 | 4800000 | 0 | 0
Total |  |  |  |  | 9945.5 |  |  | 40095110
600

## Summary
BUILDING/ CIVIL STRUCTURE ¦ BAJAJ HINDUSTHAN SUGAR LIMITED ¦ BILAI, TEHSIL & DISTRICT- BIJNOUR, U.P
Sr. No. | Description | Annexure | Gross Block | Depreciated Fair Market Value
1 | Sugar & Co- Gen Plant | A | 614165841.9631 | 405591640.7053
2 | Other Structures | B | 40095110 | 40095110
Total |  |  | 654260951.9631 | 445686750.7053
Notes:
1.The covered area statement of the subject project has been taken on the basis of information/ data provided by the company.
2. The condition of the structure is average and maintained by the company.
3. The Valuation of the building/ civil structures has been done on the basis of 'Depreciated Replacement cost approach'