**REPORT FORMAT:** V-L2 (Large with P&M - SBI) | Version: 12.0\_Nov.2022

**CASE NO.: VIS (2024-25)-PL046-044-058 Dated: 17.05.2024**

**VALUATION REPORT**

**OF**

|  |  |
| --- | --- |
| **NATURE OF ASSETS** | **LAND & BUILDING, PLANT & MACHINERY & OTHER MISCELLANEOUS FIXED ASSET** |
| **CATEGORY OF ASSETS** | **INDUSTRIAL** |
| **TYPE OF ASSETS** | **MANUFACTURING UNIT** |

**SITUATED AT**

**PLOT NO. 1037/1046, SARORA, URLA INDUSTRIAL COMPLEX, RING ROAD, RAIPUR, CHHATTISGARH 493221**

**REPORT PREPARED FOR**

**STATE BANK OF INDIA, COMMERCIAL BRANCH, HORNIMAN CIRCLE, FORT, MUMBAI**

***\*\*Important - In case of any query/ issue or escalation you may please contact Incident Manager***

***at valuers@rkassociates.org. We will appreciate your feedback in order to improve our services.***

***NOTE: As per IBA & Bank’s Guidelines please provide your feedback on the report within 15 days of its submission after which report will be considered to be correct.***

***Valuation Terms of Services & Valuer’s Important Remarks are available at*** [***www.rkassociates.org***](http://www.rkassociates.org) ***for reference.***

|  |  |
| --- | --- |
| **PART A** | **SNAPSHOT OF THE ASSET/ PROPERTY UNDER VALUATION** |



**SITUATED AT**

**PLOT NO. 1037/1046, SARORA, URLA INDUSTRIAL COMPLEX, RING ROAD, RAIPUR, CHHATTISGARH 493221**

|  |  |
| --- | --- |
| **PART B** | **SBI FORMAT OF OPINION REPORT ON VALUATION** |

|  |  |
| --- | --- |
| **Name & Address of Branch** | State Bank Of India, Commercial Branch, Horniman Circle, Fort, Mumbai |
| **Name of Customer (s)/ Borrower Unit** | M/s. Jyoti Structure Limited |
| **Work Order No. & Date** | Dated 22nd February, 2024 |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **S.NO.** | **CONTENTS** | **DESCRIPTION** | | |
|  | **INTRODUCTION** | | | |
|  | Name of Property Owner | M/s. Jyoti Structure Limited *(as per copy of documents provided to us)* | | |
| Address & Phone Number of the Owner | Address: Plot No. 1037/1046, Sarora, Urla Industrial Complex, Ring Road, Raipur, Chhattisgarh 493221 | | |
|  | Purpose of the Valuation | For Periodic Re-valuation of the mortgaged property | | |
|  | Date of Inspection of the Property | Dated 03.05.2024 | | |
| Property Shown By | **Name** | **Relationship with Owner** | **Contact Number** |
| Mr. Sanjay Paranjpe | Representative | +91- 9975998889 |
|  | Date of Valuation Report | Dated 17.05.2024 | | |
|  | Name of the Developer of the Property | Owners themselves | | |
| Type of Developer | Property built by owner's themselves | | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | **PHYSICAL CHARACTERISTICS OF THE PROPERTY** | | | | | | | | | | | | | |
|  | **BRIEF DESCRIPTION OF THE PROPERTY UNDER VALUATION**    This opinion on valuation report is prepared for the industrial plant situated on a Lease hold land at the aforesaid address having total land area admeasuring 7.56 Acres / 30,575.6 sq. mtr. as mentioned in the copy of TIR (Lease deed) provided to us the period of 99 years.  At the time of site visit it is observed that the subject property is locked and not operational since March 2018 and the same has been told by the representative of the owner. The plant was in very bad condition and machines condition was also very bad and rusted.  The subject property comprises of the structures, the details of the building structures as per our physical measurement during the time of site visit is attached below:   |  |  |  |  |  | | --- | --- | --- | --- | --- | | **SR. No.** | **Particular** | **Floor** | **Type of Structure** | **Area  *(in sq. ft.)*** | | 1 | Staircase | GF | RCC | 196 | | 2 | Galvanizing Office | GF | RCC | 323 | | 3 | Chemical Store | GF | RCC | 675 | | 4 | General Store | GF | RCC | 564 | | 5 | Accounts | GF | RCC | 212 | | 6 | Accounts & Realisation | GF | RCC | 423 | | 7 | Reception & Upstairs | GF | RCC | 423 | | 8 | Toilet | GF | RCC | 194 | | 9 | HOD Production | FF | RCC | 145 | | 10 | Production Office | GF | RCC | 423 | | 11 | Passage & Upstairs | GF | RCC | 212 | | 12 | HOD Personnel & Maintenance | GF | RCC | 212 | | 13 | Staff Toilet | GF | GI Shed | 145 | | 14 | Worker Toilet | GF | RCC | 315 | | 15 | Passage | GF | RCC | 145 | | 16 | QA Lab | GF | RCC | 423 | | 17 | Quality Office | GF | RCC | 212 | | 18 | Electric Room | GF | RCC | 212 | | 19 | QA Testing Room | GF | RCC | 97 | | 20 | QA Testing Room | GF | RCC | 97 | | 21 | Fabrication Office | GF | RCC | 423 | | 22 | Steel Store Office | GF | RCC | 423 | | 23 | Staff Lunch Room | GF | RCC | 469 | | 24 | Drinking Water Area | GF | RCC | 65 | | 25 | Supervisor (Fabrication Shop) | GF | RCC | 121 | | 26 | Maintenance Office | GF | RCC | 194 | | 27 | Maintenance Shop | GF | RCC | 846 | | 28 | Tools Room | GF | RCC | 423 | | 29 | Gas Cylinder Godown | GF | RCC | 423 | | 30 | Occupational Health Centre | GF | RCC | 423 | | 31 | Up-stairs area | FF | RCC | 3,885 | | 32 | Toilet | FF | RCC | 145 | | 33 | Conference Room | FF | RCC | 317 | | 34 | Unit Head Cabin | FF | RCC | 218 | | 35 | Waiting +27A, V.P. Cabin | FF | RCC | 557 | | 36 | staircase | FF | RCC | 207 | | 37 | Planning | FF | RCC | 710 | | 38 | Sr. Manager Material & Planning | FF | RCC | 129 | | 39 | Computer | FF | RCC | 317 | | 40 | Record Room | FF | RCC | 97 | | 41 | Urinal | FF | RCC | 215 | | 42 | Engineering Section | FF | RCC | 807 | | 43 | Fabrication Shop | GF | RCC | 24,154 | | 44 | Galvanizing Shop | GF | RCC | 27,231 | | 45 | Straightening | GF | RCC | 172 | | 46 | Drilling & Welding Shed | GF | RCC | 2,225 | | 47 | Security Cabin 2 | GF | RCC | 97 | | 48 | Time Office | GF | RCC | 145 | | 49 | Canteen/Pantry | GF | RCC | 388 | | 50 | Lunch Room | GF | RCC | 1,808 | | 51 | Civil Store | GF | RCC | 581 | | 52 | Car Parking | GF | RCC | 1,805 | | 53 | DG Set Room | GF | RCC | 580 | | 54 | Transformer Meter | GF | RCC | 867 | | 55 | Pump House | GF | RCC | 96 | | 56 | Security Cabin 1 | GF | RCC | 97 | | 57 | Fabrication Shop | FF | Asbestos Shed | 24,160 | | 58 | CNC Fabrication Shop | FF | Asbestos Shed | 19,016 | | 59 | Galvanizing shed | FF | Asbestos Shed | 27,231 | | 60 | Cycle Stand | FF | Asbestos Shed | 4,520 | | 61 | New Drill Shed | FF | Asbestos Shed | 981 |   The subject plant was Galvanizing & Fabrication unit which produces the transmission line towers under the name of Jyoti Structures.  This report only contains general assessment & opinion on the Guideline Value and the indicative, estimated Market Value of the property of which Bank/ customer asked us to conduct the Valuation for the property found on as-is-where basis as shown on the site by the Bank/ customer of which photographs is also attached with the report. No legal aspects in terms of ownership or any other legal aspect is taken into consideration. Even if any such information is mentioned in the report it is only referred from the information provided for which we do not assume any responsibility. Due care has been given while doing valuation assessment, but it doesn’t contain any due-diligence or audit or verification of any kind other than the valuation computation of the property shown to us on site. Information/ data/ documents given to us by Bank/ client have been relied upon in good faith. This report doesn’t contain any other recommendations of any sort.  In case of discrepancy in the address/ property number mentioned in the property documents and the property shown to us at the site due to change in zoning or administrative level at the site or the client misled the valuer by providing the fabricated/ incorrect document or information, the valuation should be considered of the property shown to us at the site by the client of which the photographs are also attached. In case of any doubt, best would be to contact the concerned authority/ district administration/ tehsil level for the identification of the property if the property depicted in the photographs in this report is same with the documents pledged. | | | | | | | | | | | | | |
|  | **Location attribute of the property** | | | | | | | | | | | | | |
|  | Nearby Landmark | | Arihant Industries | | | | | | | | | | | |
|  | Postal Address of the Property | | Address: Plot No. 1037/1046, Sarora, Urla Industrial Complex, Ring Road, Raipur, Chhattisgarh 493221 | | | | | | | | | | | |
|  | Type of Land | | Solid Land/ on road level | | | | | | | | | | | |
|  | Independent access/ approach to the property | | Clear independent access is available | | | | | | | | | | | |
|  | Google Map Location of the Property with a neighborhood layout map | | Enclosed with the Report | | | | | | | | | | | |
| Coordinates or URL: 21°16'54.2"N 81°36'17.1"E | | | | | | | | | | | |
|  | Details of the roads abutting the property | | | | | | | | | | | | | |
|  | 1. Main Road Name & Width | | Ring Road Number 2 | | | | | | | | Approx. 100 ft. wide | | | |
|  | 1. Front Road Name & width | | Internal Road | | | | | | | | Approx. 20 ft. wide | | | |
|  | 1. Type of Approach Road | | Bituminous Road | | | | | | | | | | | |
|  | 1. Distance from the Main Road | | ~ 700 mtr. | | | | | | | | | | | |
|  | Description of adjoining property | | Notified Industrial area so all adjacent land use is Industrial | | | | | | | | | | | |
|  | Plot No. / Survey No. | | Plot no. 1037,1038,1045 & 1046 | | | | | | | | | | | |
|  | Zone/ Block | | Industrial Zone | | | | | | | |  | | | |
|  | Sub registrar | | Chhattisgarh | | | | | | | | | | | |
|  | District | | Chhattisgarh | | | | | | | | | | | |
|  | Any other aspect | | Valuation is done for the property found as per the information given in the copy of documents provided to us and/ or confirmed by the owner/ owner representative to us at site.  Getting cizra map or coordination with revenue officers for site identification is a separate activity and is not covered in this Valuation services. | | | | | | | | | | | |
| 1. List of documents produced for perusal *(Documents has been referred only for reference purpose as provided. Authenticity to be ascertained by legal practitioner)* | | **Documents Requested** | | | **Documents Provided** | | | | | | | **Documents Reference No.** | |
| Total **08** documents requested. | | | Total **07** documents provided | | | | | | | --- | |
| Property Title document | | | Lease Deed | | | | | | | Dated: - 02/12/1992  &  Dated:- 15/05/1992 | |
| Copy of TIR | | | Copy of TIR | | | | | | | Dated: 10/11/2021 | |
| Approved Map | | | Map | | | | | | | Dated: 22/12/2012 | |
| Pollution Control Board NOC’s | | | NOC | | | | | | | Not Provided | |
| Last paid Electricity Bill | | | Last paid Electricity Bill | | | | | | | Not Provided | |
| Last paid Municipal Tax Receipt | | | Property Tax Reciept | | | | | | | Not Provided | |
| 1. Documents provided by | | **Bank** | | | | | | | | | | | |
| **Name** | | | **Relationship with Owner** | | | | | | | **Contact Number** | |
| Mr. Abhinay Singh | | | Banker | | | | | | | +91- 9374757373 | |
| 1. Identification procedure followed of the property | | ☐ | Identified by the owner | | | | | | | | | | |
|  | Identified by owner’s representative | | | | | | | | | | |
|  | Done from the name plate displayed on the property | | | | | | | | | | |
| ☐ | Cross checked from boundaries or address of the property mentioned in the deed | | | | | | | | | | |
| ☐ | Enquired from local residents/ public | | | | | | | | | | |
| ☐ | Identification of the property could not be done properly | | | | | | | | | | |
| ☐ | Survey was not done | | | | | | | | | | |
| 1. Type of Survey | | Full survey (inside-out with approximate measurements & photographs). | | | | | | | | | | | |
| 1. Is property clearly demarcated by permanent/ temporary boundary on site | | Yes demarcated properly. | | | | | | | | | | | |
| 1. Is the property merged or colluded with any other property | | No. It is an independent single bounded property | | | | | | | | | | | |
| 1. City Categorization | | Scale-B City | | | | | | | | Urban developing | | | |
| 1. Characteristics of the locality | | Ordinary | | | | | | | | Within well developed notified Industrial Area | | | |
| 1. Property location classification | | Road Facing | | | | | Average location within locality | | | | | | Near to Highway |
| 1. Property Facing | | North Facing | | | | | | | | | | | |
|  | **Area description of the Property**  *Also please refer to Part-B Area description of the property. Area measurements considered in the Valuation Report is adopted from relevant approved documents or actual site measurement whichever is less, unless otherwise mentioned. Verification of the area measurement of the property is done only based on sample random checking.* | | **Land** | | | | | | **Construction** | | | | | |
| Covered Area | | | | | |
| ~ 7.56 Acres / 30,575.6 sq. mtr. | | | | | | 13,804 sq. ft. / 14,234 sq. mtr. | | | | | |
|  | **Boundaries schedule of the Property** | | | | | | | | | | | | | |
|  | Are Boundaries matched | | No, boundaries are not mentioned in the documents. | | | | | | | | | | | |
|  | **Directions** | **As per documents** | | | | | **Actual found at Site** | | | | | | | |
| East | Different for different deeds | | | | | Sanvi Fuels | | | | | | | |
| West | Different for different deeds | | | | | Aakash Ispat | | | | | | | |
| North | Different for different deeds | | | | | CSIDC Approach Road | | | | | | | |
| South | Different for different deeds | | | | | Nani Bhai Patel Property | | | | | | | |
|  | **TOWN PLANNING/ ZONING PARAMETERS** | | | | | | | | | | | | | |
|  | Master Plan provisions related to property in terms of Land use | | | | Industrial | | | | | | | | | |
| 1. Any conversion of land use done | | | | Not Applicable | | | | | | | | | |
| 1. Current activity done in the property | | | | Used for Industrial purpose | | | | | | | | | |
| 1. Is property usage as per applicable zoning | | | | Yes, used as Industrial as per zoning | | | | | | | | | |
| 1. Any notification on change of zoning regulation | | | | No information available | | | | | | | | | |
| 1. Street Notification | | | | Industrial | | | | | | | | | |
|  | Provision of Building by-laws as applicable | | | | **PERMITTED** | | | | | | **CONSUMED** | | | |
| 1. FAR/FSI | | | | Not available | | | | | | ---- | | | |
| 1. Ground coverage | | | | Not available | | | | | | Please refer to the building sheet attached below | | | |
| 1. Number of floors | | | | Not available | | | | | | Please refer to the building sheet attached below | | | |
| 1. Height restrictions | | | | Not available | | | | | | ---- | | | |
| 1. Front/ Back/Side Setback | | | | No information available | | | | | | ---- | | | |
|  | 1. Status of Completion/ Occupational certificate | | | | At the time of site visit we get to know that subject industry was in operation till 2018 so it is assumed that OC might have been obtained. But currently the industry was locked since March 2018. | | | | | | | | | |
|  | Comment on unauthorized construction if any | | | | No comments as approved map is not legible. | | | | | | | | | |
|  | Comment on Transferability of developmental rights | | | | Lease hold, have to take NOC in order to transfer | | | | | | | | | |
|  | 1. Planning Area/ Zone | | | | Urla Industrial Complex | | | | | | | | | |
| 1. Master Plan Currently in Force | | | | Raipur Master Plan 2021 | | | | | | | | | |
| 1. Municipal Limits | | | | CSIDC | | | | | | | | | |
|  | Developmental controls/ Authority | | | | CSIDC | | | | | | | | | |
|  | Zoning regulations | | | | Industrial | | | | | | | | | |
|  | Comment on the surrounding land uses & adjoining properties in terms of uses | | | | Notified Industrial area so all adjacent land use is Industrial | | | | | | | | | |
|  | Comment of Demolition proceedings if any | | | | Nothing as such | | | | | | | | | |
|  | Comment on Compounding/ Regularization proceedings | | | | Nothing observed as per the approved map provided. | | | | | | | | | |
|  | Any other aspect | | | | | | | | | | | | | |
| 1. Any information on encroachment | | | | No | | | | | | | | | |
| 1. Is the area part of unauthorized area/ colony | | | | No (As per general information available) | | | | | | | | | |
|  | **DOCUMENT DETAILS AND LEGAL ASPECTS OF THE PROPERTY** | | | | | | | | | | | | | |
|  | Ownership documents provided | | | | Copy of TIR | | | Lease Deed | | | | | | None |
|  | Names of the Legal Owner/s | | | | M/s. Jyoti Structures Limited. | | | | | | | | | |
|  | Constitution of the Property | | | | Lease hold, have to take NOC in order to transfer | | | | | | | | | |
|  | Agreement of easement if any | | | | Not required | | | | | | | | | |
|  | Notice of acquisition if any and area under acquisition | | | | No such information came in front of us and neither found on public domain | | | | | | | | | |
|  | Notification of road widening if any and area under acquisition | | | | No such information came in front of us and neither found on public domain | | | | | | | | | |
|  | Heritage restrictions, if any | | | | No | | | | | | | | | |
|  | Comment on Transferability of the property ownership | | | | Lease hold, have to take NOC in order to transfer | | | | | | | | | |
|  | Comment on existing mortgages/ charges/ encumbrances on the property, if any | | | | Yes | | | | | | State Bank of India | | | |
|  | Comment on whether the owners of the property have issued any guarantee *(personal or corporate)* as the case may be | | | | Not known to us | | | | | | NA | | | |
|  | Building plan sanction: | | | | | | | | | | | | | |
| 1. Is Building Plan sanctioned | | | | Sanctioned by competent authority as per copy of Map provided to us | | | | | | | | | |
| 1. Authority approving the plan | | | | Chief Inspector of Factories, Raipur, Chhattisgarh-- | | | | | | | | | |
| 1. Any violation from the approved Building Plan | | | | Can’t say clearly since map is not legible | | | | | | | | | |
| 1. Details of alterations/ deviations/ illegal construction/ encroachment noticed in the structure from the original approved plan | | | | Permissible Alterations | | | | | | | --- | | |
| Not permitted alteration | | | | | | | --- | | |
|  | Whether Property is Agricultural Land if yes, any conversion is contemplated | | | | No not an agricultural property | | | | | | | | | |
|  | Whether the property SARFAESI complaint | | | | Yes | | | | | | | | | |
|  | 1. Information regarding municipal taxes *(property tax, water tax, electricity bill)* | | | | Property Tax | | | | | No relevant document provided | | | | |
| Water Tax | | | | | No relevant document provided | | | | |
| Electricity Bill | | | | | No relevant document provided | | | | |
| 1. Observation on Dispute or Dues if any in payment of bills/ taxes | | | | No such information came to knowledge on site | | | | | | | | | |
| 1. Is property tax been paid for this property | | | | Yes | | | | | | | | | |
| 1. Property or Tax Id No. | | | | No relevant document provided | | | | | | | | | |
|  | Whether entire piece of land on which the unit is set up / property is situated has been mortgaged or to be mortgaged | | | | Yes, as informed by owner/ owner representative. | | | | | | | | | |
|  | Qualification in TIR/Mitigation suggested if any | | | | Can't comment since not a legal expert | | | | | | | | | |
|  | Any other aspect | | | | This is just an opinion report on Valuation based on the copy of the documents/ information provided to us by the client and has been relied upon in good faith of the property found as per the information given in the documents provided to us and/ or confirmed by the owner/ owner representative to us on site.  Legal aspects, Title verification, Verification of authenticity of documents from originals or cross checking from any Govt. deptt. of the property have to be taken care by legal expert/ Advocate. | | | | | | | | | |
| 1. Property presently occupied/ possessed by | | | | Lessee | | | | | | | | | |

*\*NOTE: Please see point 6 of Enclosure: VIII – Valuer’s Important Remarks*

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | **ECONOMIC ASPECTS OF THE PROPERTY** | | | | | | | | | | | | | | | |
|  | Reasonable letting value/ Expected market monthly rental | | | | | | | NA | | | | | | | | |
|  | Is property presently on rent | | | | | | | No | | | | | | | | |
| 1. Number of tenants | | | | | | | NA | | | | | | | | |
| 1. Since how long lease is in place | | | | | | | NA | | | | | | | | |
| 1. Status of tenancy right | | | | | | | NA | | | | | | | | |
| 1. Amount of monthly rent received | | | | | | | NA | | | | | | | | |
|  | Taxes and other outgoing | | | | | | | No information available | | | | | | | | |
|  | Property Insurance details | | | | | | | No information available | | | | | | | | |
|  | Monthly maintenance charges payable | | | | | | | No information available | | | | | | | | |
|  | Security charges, etc. | | | | | | | No information available | | | | | | | | |
|  | Any other aspect | | | | | | | NA | | | | | | | | |
|  | **SOCIO - CULTURAL ASPECTS OF THE PROPERTY** | | | | | | | | | | | | | | | |
|  | Descriptive account of the location of the property in terms of social structure of the area in terms of population, social stratification, regional origin, age groups, economic levels, location of slums/squatter settlements nearby, etc. | | | | | | | Industrial area | | | | | | | | |
|  | Whether property belongs to social infrastructure like hospital, school, old age homes etc. | | | | | | | No | | | | | | | | |
|  | **FUNCTIONAL AND UTILITARIAN SERVICES, FACILITIES & AMENITIES** | | | | | | | | | | | | | | | |
|  | Description of the functionality & utility of the property in terms of: | | | | | | | | | | | | | | | |
|  | 1. Space allocation | | | | | | | Yes | | | | | | | | |
| 1. Storage spaces | | | | | | | Yes | | | | | | | | |
| 1. Utility of spaces provided within the building | | | | | | | Yes | | | | | | | | |
| 1. Car parking facilities | | | | | | | Yes, On GF within the compound. | | | | | | | | |
| 1. Balconies | | | | | | | No | | | | | | | | |
|  | Any other aspect | | | | | | | | | | | | | | | |
|  | 1. Drainage arrangements | | | | | | | Yes | | | | | | | | |
| 1. Water Treatment Plant | | | | | | | No | | | | | | | | |
| 1. Power Supply arrangements | | | | Permanent | | | Yes | | | | | | | | |
| Auxiliary | | | No | | | | | | | | |
| 1. HVAC system | | | | | | | No | | | | | | | | |
| 1. Security provisions | | | | | | | Yes/ Private security guards | | | | | | | | |
| 1. Lift/ Elevators | | | | | | | No | | | | | | | | |
| 1. Compound wall/ Main Gate | | | | | | | Yes | | | | | | | | |
| 1. Whether gated society | | | | | | | No | | | | | | | | |
| Internal development | | | | | | | | | | | | | | | |
| Garden/ Park/ Landscaping | | Water bodies | | | Internal roads | | | | Pavements | | | | Boundary Wall | | |
| No | | No | | | Yes | | | | Yes | | | | Yes | | |
|  | **INFRASTRUCTURE AVAILABILITY** | | | | | | | | | | | | | | | |
|  | Description of Aqua Infrastructure availability in terms of: | | | | | | | | | | | | | | | |
|  | 1. Water Supply | | | | | | | Yes from municipal connection/ Submersible | | | | | | | | |
| 1. Sewerage/ sanitation system | | | | | | | Underground | | | | | | | | |
| 1. Storm water drainage | | | | | | | Yes | | | | | | | | |
|  | Description of other Physical Infrastructure facilities in terms of: | | | | | | | | | | | | | | | |
|  | 1. Solid waste management | | | | | | | Yes, by the local Authority | | | | | | | | |
| 1. Electricity | | | | | | | Yes | | | | | | | | |
| 1. Road and Public Transport connectivity | | | | | | | Yes | | | | | | | | |
| 1. Availability of other public utilities nearby | | | | | | | Transport, Market, Hospital etc. available in close vicinity | | | | | | | | |
|  | Proximity & availability of civic amenities & social infrastructure | | | | | | | | | | | | | | | |
|  | School | Hospital | | Market | | | Bus Stop | | Railway Station | | | Metro | | | | Airport |
| ~2 km. | ~3 km. | | ~2 km. | | | ~4 km. | | ~6.4 km. | | | -- | | | | ~21 km. |
|  | Availability of recreation facilities (parks, open spaces etc.) | | | | | | No, Since it is a notified industrial area, so recreational facilities are not available in nearby vicinity. | | | | | | | | | |
|  | **MARKETABILITY ASPECTS OF THE PROPERTY** | | | | | | | | | | | | | | | |
|  | Marketability of the property in terms of | | | | | | | | | | | | | | | |
|  | 1. Location attribute of the subject property | | | | | | | Good | | | | | | | | |
| 1. Scarcity | | | | | | | Similar kind of properties are easily available in this area. | | | | | | | | |
| 1. Demand and supply of the kind of the subject property in the locality | | | | | | | Good demand of such properties in the market. | | | | | | | | |
| 1. Comparable Sale Prices in the locality | | | | | | | Please refer to Part D: Procedure of Valuation Assessment | | | | | | | | |
|  | Any other aspect which has relevance on the value or marketability of the property | | | | | | | No | | | | | | | | |
|  | 1. Any New Development in surrounding area | | | | | | | No | | | | | NA | | | |
| 1. Any negativity/ defect/ disadvantages in the property/ location | | | | | | | Property was locked since March 2018 and is in very bad condition lots of wild vegetation found all over the property. | | | | | NA | | | |
|  | **ENGINEERING AND TECHNOLOGY ASPECTS OF THE PROPERTY** | | | | | | | | | | | | | | | |
|  | Type of construction | | | | | | | **Structure** | | | **Slab** | | | | **Walls** | |
| Please refer to the building sheet attached | | | | | | | | |
|  | Material & Technology used | | | | | | | **Material Used** | | | | | **Technology used** | | | |
| Please refer to the building sheet attached | | | | | | | | |
|  | Specifications | | | | | | | | | | | | | | | |
| 1. Roof | | | | | | | **Floors/ Blocks** | | | | | **Type of Roof** | | | |
| Please refer to the building sheet attached | | | | | Please refer to the building sheet attached | | | |
| 1. Floor height | | | | | | | Please refer to the building sheet attached | | | | | | | | |
| 1. Type of flooring | | | | | | | Please refer to the building sheet attached | | | | | | | | |
| 1. Doors/ Windows | | | | | | | Wooden frame & panel doors, Aluminum framed windows. | | | | | | | | |
| 1. Class of construction/ Appearance/ Condition of structures | | | | | | | Internal - Class C construction (Simple/ Average) | | | | | | | | |
| External - Class C construction (Simple/ Average) | | | | | | | | |
| 1. Interior Finishing & Design | | | | | | | Ordinary regular architecture, Poor finishing, Simple Plastered Walls | | | | | | | | |
| 1. Exterior Finishing & Design | | | | | | | Ordinary regular architecture, Simple/ Average finishing, Simple Plastered Walls | | | | | | | | |
| 1. Interior decoration/ Special architectural or decorative feature | | | | | | | No interior decoration | | | | | | | | |
| 1. Class of electrical fittings | | | | | | | Internal / Ordinary quality fittings used | | | | | | | | |
| 1. Class of sanitary & water supply fittings | | | | | | | Internal / Ordinary quality fittings used | | | | | | | | |
|  | Maintenance issues | | | | | | | Yes there are some maintenance issues in the building structure which needs to be rectified | | | | | | | | |
|  | Age of building/ Year of construction | | | | | | | Please refer to the building sheet attached | | | | | | | | |
|  | Total life of the structure/ Remaining life expected | | | | | | | Please refer to the building sheet attached | | | | | | | | |
|  | Extent of deterioration in the structure | | | | | | | Normal deterioration in the structures are observed. | | | | | | | | |
|  | Structural safety | | | | | | | Structure built on RCC technique so it can be assumed as structurally stable. However no structural stability certificate is available | | | | | | | | |
|  | Protection against natural disasters viz. earthquakes etc. | | | | | | | Since this is a RCC structure so should be able to withstand moderate intensity earthquakes. Comments are been made only based on visual observation and not any technical testing. | | | | | | | | |
|  | Visible damage in the building if any | | | | | | | Some damages are seen in the structure | | | | | | | | |
|  | System of air conditioning | | | | | | | Partially covered with window/ split ACs | | | | | | | | |
|  | Provision of firefighting | | | | | | | Fire Extinguishers available & Sand Bucket | | | | | | | | |
|  | Copies of the plan and elevation of the building to be included | | | | | | | Not Available | | | | | | | | |
|  | **ENVIRONMENTAL FACTORS** | | | | | | | | | | | | | | | |
|  | Use of environment friendly building materials like fly ash brick, other Green building techniques if any | | | | | | | No, regular building techniques of RCC and burnt clay bricks are used | | | | | | | | |
|  | Provision of rainwater harvesting | | | | | | | No | | | | | | | | |
|  | Use of solar heating and lighting systems, etc. | | | | | | | No | | | | | | | | |
|  | Presence of environmental pollution in the vicinity of the property in terms of industries, heavy traffic, etc. if any | | | | | | | Yes, regular vehicular pollution present | | | | | | | | |
|  | **ARCHITECTURAL AND AESTHETIC QUALITY OF THE PROPERTY** | | | | | | | | | | | | | | | |
|  | Descriptive account on whether the building is modern, old fashioned, etc., plain looking or with decorative elements, heritage value if applicable, presence of landscape elements,  etc. | | | | | | | Plain looking simple structure | | | | | | | | |
|  | **VALUATION** | | | | | | | | | | | | | | | |
|  | Methodology of Valuation – Procedures adopted for arriving at the Valuation | | | | | | | Please refer to ***Part D: Procedure of Valuation Assessment*** of the report. | | | | | | | | |
|  | Prevailing Market Rate/ Price trend of the Property in the locality/ city from property search sites | | | | | | | Please refer to ***Part D: Procedure of Valuation Assessment*** of the report and the screenshot annexure in the report, if available. | | | | | | | | |
|  | Guideline Rate obtained from Registrar’s office/ State Govt. gazette/ Income Tax Notification | | | | | | | Please refer to ***Point 3 of Part D: Procedure of Valuation Assessment*** of the report and the screenshot annexure in the report, if available. | | | | | | | | |
|  | **Summary of Valuation** | | | | | | | For detailed Valuation calculation please refer to ***Part D: Procedure of Valuation Assessment*** of the report. | | | | | | | | |
| 1. **Guideline Value** | | | | | | | **Rs.6,21,32,822/-** | | | | | | | | |
| 1. **Land** | | | | | | | **Rs.6,21,32,822/-** | | | | | | | | |
| 1. **Building** | | | | | | |
| 1. **Indicative Prospective Estimated Fair Market Value** | | | | | | | **Rs.13,98,00,000/-** | | | | | | | | |
| 1. **Expected Estimated Realizable Value** | | | | | | | **Rs.11,88,30,000/-** | | | | | | | | |
| 1. **Expected Forced/ Distress Sale Value** | | | | | | | **Rs.10,48,50,000/-** | | | | | | | | |
| 1. **Valuation of structure for Insurance purpose** | | | | | | | **~Rs.12,00,00,000/-** | | | | | | | | |
|  | 1. Justification for more than 20% difference in Market & Circle Rate | | | | | | | Circle rates are determined by the District administration as per their own theoretical internal policy for fixing the minimum valuation of the property for property registration tax collection purpose and Market rates are adopted based on prevailing market dynamics found as per the discrete market enquiries which is explained clearly in Valuation assessment factors. | | | | | | | | |
| 1. Details of last two transactions in the locality/ area to be provided, if available | | | | | | | No authentic last two transactions details could be known. However prospective transaction details as per information available on public domain and gathered during site survey is mentioned in ***Part D: Procedure of Valuation Assessment*** of the report and the screenshots of the references are annexed in the report for reference. | | | | | | | | |
|  | **Declaration** | | 1. The information provided by us is true and correct to the best of our knowledge and belief. 2. The analysis and conclusions are limited by the reported assumptions, limiting conditions, remarks. 3. Firm have read the Handbook on Policy, Standards and Procedures for Real Estate Valuation by Banks and HFIs in India, 2009 issued by IBA and NHB, fully understood the provisions of the same and followed the provisions of the same to the best of our ability and this report is in conformity to the Standards of Reporting enshrined in the above Handbook as much as practically possible in the limited time available. 4. Procedures and standards adopted in carrying out the valuation and is mentioned in Part-D of the report which may have certain departures to the said IBA and IVS standards in order to provide better, just & fair valuation. 5. No employee or member of R.K Associates has any direct/ indirect interest in the property. 6. Our authorized surveyor **Anit Bhanji** has visited the subject property on **3/5/2024 &** in the presence of the owner's representative with the permission of owner. 7. Firm is an approved Valuer of the Bank. 8. We have not been depanelled or removed from any Bank/Financial Institution/Government Organization at any point of time in the past. 9. We have submitted the Valuation Report directly to the Bank. | | | | | | | | | | | | | |
|  | **ENCLOSED DOCUMENTS** | | | | | | | | | | | | | | | |
|  | Layout plan sketch of the area in which the property is located with latitude and longitude | | | | | | | Google Map enclosed with coordinates | | | | | | | | |
|  | Building Plan | | | | | | | Not provided by the owner/ client | | | | | | | | |
|  | Floor Plan | | | | | | | Not provided by the owner/ client | | | | | | | | |
|  | Photograph of the property (including geo-stamping with date) and owner (in case of housing loans, if borrower is available) including a “Selfie’ of the Valuer at the site | | | | | | | Enclosed with the report along with other property photographs | | | | | | | | |
|  | Certified copy of the approved / sanctioned plan wherever applicable from the concerned office | | | | | | | Only site plan is provided. | | | | | | | | |
|  | Google Map location of the property | | | | | | | Enclosed with the Report | | | | | | | | |
|  | Price trend of the property in the locality/city from property search sites viz Magickbricks.com, 99Acres.com, Makan.com etc. | | | | | | | No specific price trends available for this location on property search sites or public domain. | | | | | | | | |
|  | Any other relevant documents/extracts  *(All enclosures & annexures to remain integral part & parcel of the main report)* | | | | | | | 1. *Enclosure: I- Google Map* 2. *Enclosure: II- References on price trend of the similar related properties available on public domain, if available* 3. *Enclosure: III- Photographs of the property* 4. *Enclosure: IV- Copy of Circle Rate* 5. *Enclosure: V- Important property documents exhibit* 6. *Enclosure: VI- SBI Annexure: VI - Declaration-Cum-Undertaking* 7. *Enclosure: VII- SBI Annexure: VII - Model Code of Conduct for Valuers* 8. *Enclosure: VIII- Part E: Valuer’s Important Remarks* | | | | | | | | |
|  | **Total Number of Pages in the Report with enclosures** | | | | | | | **55** | | | | | | | | |

|  |  |
| --- | --- |
| **PART C** | **AREA DESCRIPTION OF THE PROPERTY** |

|  |  |  |  |
| --- | --- | --- | --- |
|  | Land Area considered for Valuation | 7.56 Acres / 30,575.6 sq. mtr. | |
| Area adopted on the basis of | Property documents & site survey both | |
| Remarks & observations, if any | The land area has been taken as per the documents provided to us and has been cross checked via satellite measurement tools. | |
|  | Constructed Area considered for Valuation  (As per IS 3861-1966) | **Covered Area** | 1,53,216 sq. ft. / 14,234 sq. mtr. |
| Area adopted on the basis of | Property documents & site survey both | |
| Remarks & observations, if any | The covered area is considered from the documents provided to us and the sample measurement basis. | |

**Note:**

1. *Area measurements considered in the Valuation Report pertaining to Land & Building is adopted from relevant approved documents or actual site measurement whichever is less. All area measurements are on approximate basis only.*
2. *Verification of the area measurement of the property is done based on sample random checking only.*
3. *Area of the large land parcels of more than 2500 sq. mtr or of uneven shape, is taken as per property documents verified with digital survey through Google which has been relied upon.*
4. *Drawing Map, design & detailed estimation of the property/ building is out of scope of the Valuation services.*

|  |  |
| --- | --- |
| **PART D** | **PROCEDURE OF VALUATION ASSESSMENT** |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | **GENERAL INFORMATION** | | | | | |
|  | Important Dates | **Date of Appointment** | | **Date of Inspection of the Property** | **Date of Valuation Assessment** | **Date of Valuation Report** |
| 22 February 2024 | | 3 May 2024 | 17 May 2024 | 17 May 2024 |
|  | Client | State Bank Of India, Commercial Branch, Horniman Circle, Fort, Mumbai | | | | |
|  | Intended User | State Bank Of India, Commercial Branch, Horniman Circle, Fort, Mumbai | | | | |
|  | Intended Use | To know the general idea on the market valuation trend of the property as per free market transaction. This report is not intended to cover any other internal mechanism, criteria, considerations of any organization as per their own need, use & purpose. | | | | |
|  | Purpose of Valuation | For Periodic Re-valuation of the mortgaged property | | | | |
|  | Scope of the Assessment | Non binding opinion on the assessment of Plain Physical Asset Valuation of the property identified to us by the owner or through his representative. | | | | |
|  | Restrictions | This report should not be referred for any other purpose, by any other user and for any other date other then as specified above. This report is not a certification of ownership or survey number/ property number/ Khasra number which are merely referred from the copy of the documents provided to us. | | | | |
|  | Manner in which the proper is identified |  | Identified by the owner | | | |
|  | Identified by owner’s representative | | | |
|  | Done from the name plate displayed on the property | | | |
|  | Cross checked from boundaries or address of the property mentioned in the deed | | | |
|  | Enquired from local residents/ public | | | |
|  | Identification of the property could not be done properly | | | |
|  | Survey was not done | | | |
|  | Is property number/ survey number displayed on the property for proper identification? | Yes. | | | | |
|  | Type of Survey conducted | Full survey (inside-out with approximate sample random measurements verification & photographs). | | | | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | **ASSESSMENT FACTORS** | | | | | | | | | | | |
|  | Valuation Standards considered | Mix of standards such as IVS and others issued by Indian authorities & institutions and improvised by the RKA internal research team as and where it is felt necessary to derive at a reasonable, logical & scientific approach. In this regard proper basis, approach, working, definitions considered is defined below which may have certain departures to IVS. | | | | | | | | | | |
|  | Nature of the Valuation | Fixed Assets Valuation | | | | | | | | | | |
|  | Nature/ Category/ Type/ Classification of Asset under Valuation | **Nature** | | | | | **Category** | | | | **Type** | |
| LAND & BUILDING, PLANT & MACHINERY & OTHER MISCELLANEOUS FIXED ASSET | | | | | INDUSTRIAL | | | | INDUSTRIAL PLANT | |
| **Classification** | | | | | Income/ Revenue Generating Asset | | | | | |
|  | Type of Valuation *(Basis of Valuation as per IVS)* | Primary Basis | | | | Market Value & Govt. Guideline Value | | | | | | |
| Secondary Basis | | | | On-going concern basis | | | | | | |
|  | Present market state of the Asset assumed *(Premise of Value as per IVS)* | Under Normal Marketable State | | | | | | | | | | |
| **Reason:** Asset under free market transaction state | | | | | | | | | | |
|  | Property Use factor | **Current/ Existing Use** | | | | | **Highest & Best Use**  *(in consonance to surrounding use, zoning and statutory norms)* | | | | **Considered for Valuation purpose** | |
| Industrial | | | | | Industrial | | | | Industrial | |
|  | Legality Aspect Factor | Assumed to be fine as per copy of the documents & information produced to us.  However Legal aspects of the property of any nature are out-of-scope of the Valuation Services. In terms of the legality, we have only gone by the documents provided to us in good faith.  Verification of authenticity of documents from originals or cross checking from any Govt. deptt. have to be taken care by Legal expert/ Advocate. | | | | | | | | | | |
|  | Class/ Category of the locality | Middle Class (Ordinary) | | | | | | | | | | |
|  | Property Physical Factors | **Shape** | | | | | **Size** | | | | **Layout** | |
| Irregular | | | | | Medium | | | | Normal Layout | |
|  | Property Location Category Factor | **City Categorization** | | | **Locality Characteristics** | | | | **Property location characteristics** | | | **Floor Level** |
| Scale-C City | | | Ordinary | | | | Near to Highway | | | Refer to the building sheet |
| Urban developed | | | Normal | | | | Road Facing | | |
| Within good urban developed area | | | | None | | |
| **Property Facing** | | | | | | | | | | |
| North Facing | | | | | | | | | | |
|  | Physical Infrastructure availability factors of the locality | **Water Supply** | | | **Sewerage/ sanitation system** | | | | **Electricity** | | | **Road and Public Transport connectivity** |
| Yes from borewell/ submersible | | | Underground | | | | Yes | | | Easily available |
| **Availability of other public utilities nearby** | | | | | | | **Availability of communication facilities** | | | |
| Transport, Market, Hospital etc. are available in close vicinity | | | | | | | Major Telecommunication Service Provider & ISP connections are available | | | |
|  | Social structure of the area (in terms of population, social stratification, regional origin, age groups, economic levels, location of slums/ squatter settlements nearby, etc.) | Industrial area | | | | | | | | | | |
|  | Neighbourhood amenities | Good | | | | | | | | | | |
|  | Any New Development in surrounding area | No | | | | | | | | | | |
| 1. o | Any specific advantage in the property | Property situated nearby the Rig Road 2. | | | | | | | | | | |
|  | Any specific drawback in the property | None | | | | | | | | | | |
|  | Property overall usability/ utility Factor | Good | | | | | | | | | | |
|  | Do property has any alternate use? | No | | | | | | | | | | |
|  | Is property clearly demarcated by permanent/ temporary boundary on site | Demarcated with permanent boundary | | | | | | | | | | |
|  | Is the property merged or colluded with any other property | No, it is an independent singly bounded property | | | | | | | | | | |
| Comments: --- | | | | | | | | | | |
|  | Is independent access available to the property | Clear independent access is available | | | | | | | | | | |
|  | Is property clearly possessable upon sale | Yes | | | | | | | | | | |
|  | Best Sale procedure to realize maximum Value *(in respect to Present market state or premise of the Asset as per point (iv) above)* | Fair Market Value | | | | | | | | | | |
| Free market transaction at arm's length wherein the parties, after full market survey each acted knowledgeably, prudently and without any compulsion. | | | | | | | | | | |
|  | Hypothetical Sale transaction method assumed for the computation of valuation | Fair Market Value | | | | | | | | | | |
| Free market transaction at arm's length wherein the parties, after full market survey each acted knowledgeably, prudently and without any compulsion. | | | | | | | | | | |
|  | Approach & Method of Valuation Used | **Land** | | **Approach of Valuation** | | | | | **Method of Valuation** | | | |
| **Market Approach** | | | | | **Assessment of Premium charges on transfer of Lease hold rights methodology** | | | |
| **Building** | | **Cost Approach** | | | | | **Depreciated Replacement Cost Method** | | | |
|  | Type of Source of Information | Level 3 Input (Tertiary) | | | | | | | | | | |
|  | **Market Comparable** | | | | | | | | | | | |
| References on prevailing market Rate/ Price trend of the property and Details of the sources from where the information is gathered *(from property search sites & local information)* | **1.** | Name: | | | | | | | Mr. Bansod Realtors | | |
| Contact No.: | | | | | | | +91- 8889050007 | | |
| Nature of reference: | | | | | | | Property Consultant | | |
| Size of the Property: | | | | | | | Not specified | | |
| Location: | | | | | | | Similar vicinity | | |
| Rates/ Price informed: | | | | | | | Around Rs.2000-2500/- per sq. mtr. | | |
| Any other details/ Discussion held: | | | | | | | As per the discussion with the property dealer of the subject locality, we came to know that the rates for the land parcel near the subject land is as mentioned above. | | |
| **2.** | Name: | | | | | | | M/s. Bajaj Real Estate | | |
| Contact No.: | | | | | | | +91- 9035526750 | | |
| Nature of reference: | | | | | | | Property Consultant | | |
| Size of the Property: | | | | | | | Not specified | | |
| Location: | | | | | | | Similar vicinity | | |
| Rates/ Price informed: | | | | | | | Around Rs.2300-3000/-per sq. mtr. | | |
| Any other details/ Discussion held: | | | | | | | As per the discussion with the property dealer of the subject locality, we came to know that the rates for resale of the industrial land near the subject land is as mentioned above. | | |
| *NOTE: The given information above can be independently verified to know its authenticity.* | | | | | | | | | | |
|  | Adopted Rates Justification | As per our discussion with the property dealers and habitants of the subject location we have gathered the following information:   1. There is availability of vacant land similar as our subject property in Sarora Industrial Complex, Raipur. 2. The land in similar vicinity as our subject property will be around Rs.2,000-3,000/- per sq. mtr. 3. Allotment rates for Gogaon, Raipur is Rs.84,00,000/- per Hectare.     Based on the above information and keeping in mind the availability of plots in subject locality we are of the view to adopt a rate of **Rs.2,700/- per sq. mtr.** for the purpose of this valuation assessment. | | | | | | | | | | |
| ***NOTE:*** *We have taken due care to take the information from reliable sources. The given information above can be independently verified from the provided numbers to know its authenticity. However due to the nature of the information most of the market information came to knowledge is only through verbal discussion with market participants which we have to rely upon where generally there is no written record.*  *Related postings for similar properties on sale are also annexed with the Report wherever available.* | | | | | | | | | | | |
|  | **Other Market Factors** | | | | | | | | | | | |
| Current Market condition | Normal | | | | | | | | | | |
| **Remarks:** --- | | | | | | | | | | |
| **Adjustments (-/+):** 0% | | | | | | | | | | |
| Comment on Property Salability Outlook | Sellability of this property is related to its current use only and therefore limited only to the selected type of buyers involved in such kind of activities. | | | | | | | | | | |
| **Adjustments (-/+): -5%** | | | | | | | | | | |
| Comment on Demand & Supply in the Market | **Demand** | | | | | | **Supply** | | | | |
| Good | | | | | | Adequately available | | | | |
| **Remarks:** Will be little hard to sell the subject property due to maintenance issues in the building. | | | | | | | | | | |
| **Adjustments (-/+): -5%** | | | | | | | | | | |
|  | Any other special consideration | **Reason: Subject property is a large land parcel as compared to the references available.** | | | | | | | | | | |
| **Adjustments (-/+): -5%** | | | | | | | | | | |
|  | Any other aspect which has relevance on the value or marketability of the property | NA  Valuation of the same asset/ property can fetch different values under different circumstances & situations. For eg. Valuation of a running/ operational shop/ hotel/ factory will fetch better value and in case of closed shop/ hotel/ factory it will fetch considerably lower value. Similarly, an asset sold directly by an owner in the open market through free market arm’s length transaction then it will fetch better value and if the same asset/ property is sold by any financer or court decree or Govt. enforcement agency due to any kind of encumbrance on it then it will fetch lower value. Hence before financing, Lender/ FI should take into consideration all such future risks while financing.  This Valuation report is prepared based on the facts of the property & market situation on the date of the survey. It is a well-known fact that the market value of any asset varies with time & socio-economic conditions prevailing in the region/ country. In future property market may go down, property conditions may change or may go worse, property reputation may differ, property vicinity conditions may go down or become worse, property market may change due to impact of Govt. policies or effect of domestic/ world economy, usability prospects of the property may change, etc. Hence before financing, Banker/ FI should take into consideration all such future risk while financing. | | | | | | | | | | |
| **Adjustments (-/+):** 0% | | | | | | | | | | |
|  | **Final adjusted & weighted Rates considered for the subject property** | **Rs.2,295/- per sq. mtr.** | | | | | | | | | | |
|  | Considered Rates Justification | As per the thorough property & market factors analysis as described above, the considered estimated market rates appears to be reasonable in our opinion. | | | | | | | | | | |
|  | **Basis of computation & working** | | | | | | | | | | | |
| * *Valuation of the asset is done as found on as-is-where basis on the site as identified to us by client/ owner/ owner representative during site inspection by our engineer/s unless otherwise mentioned in the report.* * *Analysis and conclusions adopted in the report are limited to the reported assumptions, conditions and information came to our knowledge during the course of the work and based on the Standard Operating Procedures, Best Practices, Caveats, Limitations, Conditions, Remarks, Important Notes, Valuation TOR and definition of different nature of values.* * *For knowing comparable market rates, significant discreet local enquiries have been made from our side based on the hypothetical/ virtual representation of ourselves as both buyer and seller for the similar type of properties in the subject location and thereafter based on this information and various factors of the property, rate has been judiciously taken considering the factors of the subject property, market scenario and weighted adjusted comparison with the comparable properties unless otherwise stated.* * *References regarding the prevailing market rates and comparable are based on the verbal/ informal/ secondary/ tertiary information which are collected by our team from the local people/ property consultants/ recent deals/ demand-supply/ internet postings are relied upon as may be available or can be fetched within the limited time & resources of the assignment during market survey in the subject location. No written record is generally available for such market information and analysis has to be derived mostly based on the verbal information which has to be relied upon.* * *Market Rates are rationally adopted based on the facts of the property which came to our knowledge during the course of the assessment considering many factors like nature of the property, size, location, approach, market situation and trends and comparative analysis with the similar assets. During comparative analysis, valuation metrics is prepared and necessary adjustments are made on the subject asset.* * *The indicative value has been suggested based on the prevailing market rates that came to our knowledge during secondary & tertiary market research and is not split into formal & informal payment arrangements. Most of the deals takes place which includes both formal & informal payment components. Deals which takes place in complete formal payment component may realize relatively less actual transaction value due to inherent added tax, stamp registration liabilities on the buyer.* * *Secondary/ Tertiary costs related to asset transaction like Stamp Duty, Registration charges, Brokerage, Commission, Bank interest, Selling cost, Marketing cost, etc. pertaining to the sale/ purchase of this property are not considered while assessing the indicative estimated Market Value.* * *This report includes both, Govt. Guideline Value and Indicative Estimated Prospective Market Value as described above. As per the current market practice, in most of the cases, formal transaction takes place for an amount less than the actual transaction amount and rest of the payment is normally done informally.* * *Area measurements considered in the Valuation Report pertaining to asset/ property is adopted from relevant approved documents or sample site measurement whichever is less unless otherwise mentioned. All area measurements are on approximate basis only.* * *Verification of the area measurement of the property is done based on sample random checking only.* * *Area of the large land parcels of more than 2500 sq.mtr or of uneven shape in which there can be practical difficulty in sample measurement, is taken as per property documents which has been relied upon unless otherwise stated.* * *Drawing, Map, design & detailed estimation of the property/ building is out of scope of the Valuation services.* * *Construction rates are adopted based on the present market replacement cost of construction and calculating applicable depreciation & deterioration factor as per its age, existing condition & specifications based on visual observation only of the structure. No structural, physical tests have been carried out in respect of it. No responsibility is assumed for latent defects of any nature whatsoever, which may affect value, or for any expertise required to disclose such conditions.* * *Construction rates are adopted based on the plinth area rates prevailing in the market for the structure as a whole and not based on item wise estimation or Bills of Quantity method unless otherwise stated.* * *The condition assessment and the estimation of the residual economic life of the structure are only based on the visual observations and appearance found during the site survey. We have not carried out any structural design or stability study; nor carried out any physical tests to assess structural integrity & strength.* * *Any kind of unpaid statutory, utilities, lease, interest or any other pecuniary dues on the asset or on its owners has not been factored in the Valuation.* * *This Valuation is conducted based on the macro analysis of the asset/ property considering it in totality and not based on the micro, component or item wise analysis. Analysis done is a general assessment and is neither investigative in nature nor an audit activity.* * *Valuation is done for the asset found on as-is-where basis which owner/ owner representative/ client/ bank has shown to us on site of which some reference has been taken from the information/ data given in the copy of documents provided to us which have been relied upon in good faith and we have assumed that it to be true and correct.* | | | | | | | | | | | |
|  | **ASSUMPTIONS** | | | | | | | | | | | |
| 1. *Documents/ Information/ Data provided by the client/ property owner or his representative both written & verbally is true and correct without any fabrication and has been relied upon in good faith.* 2. *Local verbal enquiries during micro market research came to our knowledge are assumed to be taken on record as true & factual.* 3. *The assets and interests therein have been valued free and clear of any liens or encumbrances unless stated otherwise. No hidden or apparent conditions regarding the subject assets or their ownership are assumed to exist. No opinion of title is rendered in this report and a good title is assumed unless stated otherwise.* 4. *It is assumed that the concerned Lender/ Financial Institution has asked for the valuation of that property after satisfying the authenticity of the documents given to us and for which the legal verification has been already taken and cleared by the competent Advocate before requesting for the Valuation report. I/ We assume no responsibility for the legal matters including, but not limited to, legal or title concerns.* 5. *Payment condition during transaction in the Valuation has been considered on all cash bases which includes both formal & informal payment components as per market trend.* 6. *Sale transaction method of the asset is assumed as Free market transaction without any compulsion unless otherwise mentioned while assessing Indicative & Estimated Fair Prospective Market Value of the asset unless otherwise stated.* 7. *If this Valuation Report is prepared for the Flat/ dwelling unit situated in a Group Housing Society or Integrated Township then approvals, maps of the complete group housing society/ township is out of scope of this report. This valuation report is prepared for the specific unit based on the assumption that complete Group Housing Society/ Integrated Township is approved and complied with all relevant laws and the subject unit is also approved within the Group Housing Society/ Township.* | | | | | | | | | | | |
|  | **SPECIAL ASSUMPTIONS** | | | | | | | | | | | |
| None | | | | | | | | | | | |
|  | **LIMITATIONS** | | | | | | | | | | | |
| None | | | | | | | | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
|  | **VALUATION OF LAND** | | |
|  | **Particulars** | **Govt. Circle/ Guideline Value** | **Indicative & Estimated Prospective Fair Market Value** |
|  | Prevailing Rate range | Refer to the sheet attached | Rs.2,000/- to Rs.3,000/- per sq. mtr. |
|  | Rate adopted considering all characteristics of the property | Refer to the sheet attached | Rs.2,295/ per sq. mtr.  *(after 15% discount for the large land)* |
|  | Total Land Area considered *(documents vs site survey whichever is less)* | Refer to the sheet attached | 7.56 Acres / 30,575.6 sq. mtr. |
|  | **Total Value of land (A)** | Refer to the sheet attached | 30,575.6 sq. mtr. X Rs.2,295/ per sq. mtr. |
| Refer to the sheet attached | **Rs.7,01,71,002/-** |

|  |  |
| --- | --- |
|  | **VALUATION COMPUTATION OF BUILDING & CIVIL WORKS** |

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **BUILDING VALUATION OF M/S JYOTI STRUCTURES LIMITED** | | | | | | | | | | | | |
| **SR. No.** | **Particular** | **Floor** | **Type of Structure** | **Area *(in sq.ft)*** | **Height per floor (in ft.)** | **Year of Construction** | **Year of Valuation** | **Total Life Consumed  *(in years)*** | **Total Economical Life *(in years)*** | **Plinth Area Rate  *(in per sq.ft)*** | **Gross Replacement Value (INR)** | **Depreciated Replacement Market Value (INR)** |
| 1 | Staircase | GF | RCC | 196 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,35,732 | 95,707 |
| 2 | Galvanizing Office | GF | RCC | 323 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 3,87,504 | 1,57,327 |
| 3 | Chemical Store | GF | RCC | 675 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 8,10,529 | 3,29,075 |
| 4 | General Store | GF | RCC | 564 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 6,76,840 | 2,74,797 |
| 5 | Accounts | GF | RCC | 212 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,53,815 | 1,03,049 |
| 6 | Accounts & Realisation | GF | RCC | 423 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 5,07,630 | 2,06,098 |
| 7 | Reception & Upsatirs | GF | RCC | 423 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 5,07,630 | 2,06,098 |
| 8 | Toilet | GF | RCC | 194 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,32,502 | 94,396 |
| 9 | HOD Production | FF | RCC | 145 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 1,74,377 | 70,797 |
| 10 | Production Office | GF | RCC | 423 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 5,07,630 | 2,06,098 |
| 11 | Passage & Upstairs | GF | RCC | 212 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,53,815 | 1,03,049 |
| 12 | HOD Personnel & Maintenance | GF | RCC | 212 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,53,815 | 1,03,049 |
| 13 | Staff Toilet | GF | RCC | 145 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 1,74,377 | 70,797 |
| 14 | Worker Toilet | GF | RCC | 315 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 3,77,816 | 1,53,393 |
| 15 | Passage | GF | RCC | 145 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 1,74,377 | 70,797 |
| 16 | QA Lab | GF | RCC | 423 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 5,07,630 | 2,06,098 |
| 17 | Quality Office | GF | RCC | 212 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,53,815 | 1,03,049 |
| 18 | Electric Room | GF | RCC | 212 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,53,815 | 1,03,049 |
| 19 | QA Testing Room | GF | RCC | 97 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 1,16,251 | 47,198 |
| 20 | QA Testing Room | GF | RCC | 97 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 1,16,251 | 47,198 |
| 21 | Fabrication Office | GF | RCC | 423 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 5,07,630 | 2,06,098 |
| 22 | Steel Store Office | GF | RCC | 423 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 5,07,630 | 2,06,098 |
| 23 | Staff Lunch Room | GF | RCC | 469 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 5,62,527 | 2,28,386 |
| 24 | Drinking Water Area | GF | RCC | 65 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 77,501 | 31,465 |
| 25 | Supervisor (Fabrictaion Shop) | GF | RCC | 121 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 1,45,314 | 58,997 |
| 26 | Maintenance Office | GF | RCC | 194 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,32,502 | 94,396 |
| 27 | Maintenance Shop | GF | RCC | 846 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 10,15,260 | 4,12,196 |
| 28 | Tools Room | GF | RCC | 423 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 5,07,630 | 2,06,098 |
| 29 | Gas Cylinder Godown | GF | RCC | 423 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 5,07,630 | 2,06,098 |
| 30 | Occupational Health Center | GF | RCC | 423 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 5,07,630 | 2,06,098 |
| 31 | Up-stairs area | FF | RCC | 3,885 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 46,62,448 | 18,92,954 |
| 32 | Toilet | FF | RCC | 145 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 1,74,377 | 70,797 |
| 33 | Conference Room | FF | RCC | 317 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 3,80,723 | 1,54,573 |
| 34 | Unit Head Cabin | FF | RCC | 218 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,61,565 | 1,06,195 |
| 35 | Waiting +27A, V.P. Cabin | FF | RCC | 557 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 6,68,444 | 2,71,388 |
| 36 | staircase | FF | RCC | 207 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,48,648 | 1,00,951 |
| 37 | Planning | FF | RCC | 710 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 8,52,509 | 3,46,119 |
| 38 | Sr. Manager Material & Planning | FF | RCC | 129 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 1,55,002 | 62,931 |
| 39 | Computer | FF | RCC | 317 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 3,80,658 | 1,54,547 |
| 40 | Record Room | FF | RCC | 97 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 1,16,251 | 47,198 |
| 41 | Urinal | FF | RCC | 215 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 2,58,336 | 1,04,884 |
| 42 | Engineering Section | FF | RCC | 807 | 10 | 1996 | 2024 | 28 | 60 | 1,200 | 9,68,760 | 3,93,317 |
| 43 | Fabrication Shop | GF | Asbestos Shed | 24,154 | 36 | 1996 | 2024 | 28 | 40 | 1,100 | 2,65,69,858 | 68,81,593 |
| 44 | Galvanizing Shop | GF | Asbestos Shed | 27,231 | 36 | 1996 | 2024 | 28 | 40 | 1,100 | 2,99,53,844 | 77,58,046 |
| 45 | Straightening | GF | Asbestos Shed | 172 | 10 | 1996 | 2024 | 28 | 40 | 800 | 1,37,779 | 35,685 |
| 46 | Drilling & Welding Shed | GF | Asbestos Shed | 2,225 | 10 | 1996 | 2024 | 28 | 40 | 800 | 17,80,038 | 4,61,030 |
| 47 | Security Cabin 2 | GF | Asbestos Shed | 97 | 10 | 1996 | 2024 | 28 | 40 | 800 | 77,501 | 20,073 |
| 48 | Time Office | GF | Asbestos Shed | 145 | 10 | 1996 | 2024 | 28 | 40 | 800 | 1,16,251 | 30,109 |
| 49 | Canteen/Pantry | GF | Asbestos Shed | 388 | 10 | 1996 | 2024 | 28 | 40 | 800 | 3,10,201 | 80,342 |
| 50 | Lunch Room | GF | Asbestos Shed | 1,808 | 10 | 1996 | 2024 | 28 | 40 | 800 | 14,46,682 | 3,74,691 |
| 51 | Civil Store | GF | Asbestos Shed | 581 | 10 | 1996 | 2024 | 28 | 40 | 800 | 4,65,005 | 1,20,436 |
| 52 | Car Parking | GF | Asbestos Shed | 1,805 | 10 | 1996 | 2024 | 28 | 40 | 800 | 14,43,629 | 3,73,900 |
| 53 | DG Set Room | GF | Asbestos Shed | 580 | 10 | 1996 | 2024 | 28 | 40 | 800 | 4,63,898 | 1,20,150 |
| 54 | Transformer Meter | GF | Asbestos Shed | 867 | 12 | 1996 | 2024 | 28 | 40 | 800 | 6,93,258 | 1,79,554 |
| 55 | Pump House | GF | Asbestos Shed | 96 | 12 | 1996 | 2024 | 28 | 40 | 800 | 76,726 | 19,872 |
| 56 | Security Cabin 1 | GF | Asbestos Shed | 97 | 10 | 1996 | 2024 | 28 | 40 | 800 | 77,501 | 20,073 |
| 57 | Fabrication Shop | FF | Asbestos Shed | 24,160 | 10 | 1996 | 2024 | 28 | 40 | 800 | 1,93,27,838 | 50,05,910 |
| 58 | CNC Fabrication Shop | FF | Asbestos Shed | 19,016 | 10 | 1996 | 2024 | 28 | 40 | 800 | 1,52,12,890 | 39,40,139 |
| 59 | Galvanizing shed | FF | Asbestos Shed | 27,231 | 36 | 1996 | 2024 | 28 | 40 | 1,100 | 2,99,53,844 | 77,58,046 |
| 60 | Cycle Stand | FF | Asbestos Shed | 4,520 | 12 | 1996 | 2024 | 28 | 40 | 800 | 36,16,058 | 9,36,559 |
| 61 | New Drill Shed | FF | Asbestos Shed | 981 | 36 | 1996 | 2024 | 28 | 40 | 1,100 | 10,79,312 | 2,79,542 |
| **TOTAL** | | | |  | | | | | | | **15,32,77,243** | **4,27,08,650** |
| ***Remarks:*** | | | | | | | | | | | | |
| *1.* ***All the details pertaining to the building area statement such as area, floor, etc. has been taken from site measurement as no other document provided to us.*** | | | | | | | | | | | | |
| *2. All the structure that has been taken in the area statement belonging to M/S. Jyoti Structure Limited.* | | | | | | | | | | | | |
| *3. Age of the building has been taken from the information received from client during site survey* | | | | | | | | | | | | |
| *4. The valuation is done by considering the depreciated replacement cost approach.* | | | | | | | | | | | | |

|  |  |  |  |
| --- | --- | --- | --- |
|  | **VALUATION OF ADDITIONAL AESTHETIC/ INTERIOR WORKS IN THE PROPERTY** | | |
| **S. No.** | **Particulars** | **Specifications** | **Depreciated Replacement Value** |
|  | Add extra for Architectural aesthetic developments, improvements  *(add lump sum cost)* | ---- | ---- |
|  | Add extra for fittings & fixtures  *(Doors, windows, wood work, cupboards, modular kitchen, electrical/ sanitary fittings)* | ---- | ---- |
|  | Add extra for services  *(Water, Electricity, Sewerage, Main gate, Boundary, Lift, Auxiliary power, AC, HVAC, Firefighting etc.)* | For Boundary Wall | **Rs. 14,00,000/- (L.S.)** |
|  | Add extra for internal & external development  *(Internal roads, Landscaping, Pavements, Street lights, Green area development, External area landscaping, Land development, Approach road, etc.)* | ---- | ---- |
|  | **Depreciated Replacement Value (B)** | **NA** | **Rs. 14,00,000/-** |
|  | ***Note:***   * *Value for Additional Building & Site Aesthetic Works is considered only if it is having exclusive/ super fine work specification above ordinary/ normal work. Ordinary/ normal work value is already covered under basic rates above.* * *Value of common facilities of society are not included in the valuation of Flat/ Built-up unit.* | | |

|  |  |
| --- | --- |
| **PART E** | **CHARACTERISTICS DESCRIPTION OF PLANT/ MACHINERY** |

|  |  |  |
| --- | --- | --- |
| **S.NO.** | **CONTENTS** | **DESCRIPTION** |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **TECHNICAL DESCRIPTION OF THE PLANT/ MACHINERY** | | | |
|  | Nature of Plant & Machinery | Manufacturing,Fabrication & Engineering | | |
|  | Size of the Plant | 1. Medium scale Plant | | |
|  | Type of the Plant | 1. Semi Automatic | | |
|  | Year of Installation/ Commissioning/ COD (Commercial Operation Date) | 1. 17/05/1993 | | |
|  | Production Capacity | 45000 Tonnes /Annum. | | |
|  | Capacity at which Plant was running at the time of Survey | NA, as plant is closed since March 2018 | | |
|  | Number of Production Lines | Manual- 4 Lines  CNC- 4 Lines | | |
|  | Condition of Machines | Rusted & sulpharised all over. | | |
|  | Status of the Plant | Fully operational | | |
|  | Products Manufactured in this Plant | Transmission Line Towers | | |
|  | Recent maintenance carried out on | NA, as plant is closed since March 2018 | | |
|  | Recent upgradation, improvements if done any | No | | |
|  | Total Gross Block & Net Block of Assets | **Gross Block** | | **Net Block** |
| As on 2023-2024 | | |
| Rs.20,18,53,563/- | | Rs.98,855/- |
|  | Any other Details if any | In the FAR provided by the company guest house is mentioned but as per the site there is no guest house available at subject property hence we have not considered the guest house in our valuation assessment. | | |
|  | **MANUFACTURING PROCESS** | | | |
|  | Flow Chart not provided. | | | |
|  | **TECHNOLOGY TYPE/ GENERATION USED AND TECHNOLOGICAL COLLABORATIONS IF ANY** | | | |
|  | 1. Technology Type/ Generation Used in this Plant | | Computer numerical control | |
|  | Technological Collaborations If Any | | 1. No | |
|  | Current Technology used for this Industry in Market | | NA, as Plant is closed since March 2018 | |
|  | **RAW MATERIALS REQUIRED & AVAILABILITY** | | | |
|  | Type of Raw Material | | MS Steel & Stainless Steel | |
| Availability | | Adequately available. | |
|  | **AVAILABILITY & STATUS OF UTILITIES** | | | |
|  | Power/ Electricity | | Available | |
| Water | | Available | |
| Road/ Transport | | Available | |
|  | **COMMENT ON AVAILABILITY OF LABOUR** | | | |
|  | Availability | | Appears to be easily & adequately available and no labour issues came to our knowledge during site inspection. | |
| Number of Labours working in the Factory | | ~218 in 2018 (on contract & company payroll) | |
|  | **SALES TRANSACTIONAL PROSPECTS OF SUCH PLANTS/ MACHINERY** | | | |
|  | Scrap Lot Sale | | | |
| **Reason:** The subject Industry is not functional from last few years and due to the poor condition of the machines, chances of revival is also very less therefore it is best suited to sell it in auction as scrap sale in lot due to voluminous nature of machines. | | | |
|  | **DEMAND OF SUCH PLANT & MACHINERY IN THE MARKET** | | | |
|  | Appears to be moderate as per general information available in public domain. | | | |
|  | **SURVEY DETAILS** | | | |
|  | Plant has been surveyed by our Engineering Team on 03/05/2024 | | | |
|  | Site inspection was done in the presence of Owner's representative Mr. Sanjay Paranjpe who was available from the company to furnish any specific detail about the Plant & Machinery. | | | |
|  | Our team examined & verified the machines and utilities from the FAR provided by the Company. | | | |
|  | Photographs have also been taken of all the machines and its accessories installed there. | | | |
|  | Plant was found to be non-operational condition and machines were Rusted & Sulpharised at the time of survey. | | | |
|  | Details have been cross checked as per the documents provided to us by the company and what was observed at the site. | | | |
|  | Condition of the machines is checked through visual observation only. No technical/ mechanical/ operational testing has been carried out to ascertain the condition and efficiency of machines. | | | |
|  | Only machines which were physically found at the time of site visit is considered for the valuation assessment | | | |
|  | As per the overall site visit summary, the plant was in very bad condition as it is locked since March 2018 | | | |

|  |  |
| --- | --- |
| **PART F** | **PROCEDURE OF VALUATION ASSESMENT – PLANT & MACHINERY** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | **GENERAL INFORMATION** | | | | |
|  | Important Dates | **Date of Inspection of the Property** | | **Date of Valuation Assessment** | **Date of Valuation Report** |
| 22 February 2024 | | 17 May 2024 | 17 May 2024 |
|  | Client | State Bank Of India, Commercial Branch, Horniman Circle, Fort, Mumbai | | | |
|  | Intended User | State Bank Of India, Commercial Branch, Horniman Circle, Fort, Mumbai | | | |
|  | Intended Use | To know the general idea on the market valuation trend of the property as per free market transaction. This report is not intended to cover any other internal mechanism, criteria, and considerations of any organization as per their own need, use & purpose. | | | |
|  | Purpose of Valuation | For Periodic Re-valuation of the mortgaged property | | | |
|  | Scope of the Assessment | Non binding opinion on the assessment of Plain Physical Asset Valuation of the property identified to us by the owner or through his representative. | | | |
|  | Restrictions | This report should not be referred for any other purpose, by any other user and for any other date other then as specified above. | | | |
|  | Identification of the Assets |  | Cross checked from the name of the machines mentioned in the FAR/ Inventory list name plate displayed on the machine | | |
|  | Identified by the company's representative | | |
|  | Identified from the available Invoices | | |
|  | Identification of the machines could not be done properly | | |
|  | Due to large number of machines/ inventories, only major production lines & machines have been checked | | |
|  | Physical inspection of the machines could not be done | | |
|  | Type of Survey conducted | Full survey (verification of machinery & photographs). | | | |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | **ASSESSMENT FACTORS** | | | | | | | |
|  | Nature of the Valuation | Fixed Assets Valuation | | | | | | |
|  | Nature/ Category/ Type/ Classification of Asset under Valuation | **Nature** | | | **Category** | | **Type** | |
| PLANT & MACHINERY | | | INDUSTRIAL | | INDUSTRIAL PLANT & MACHINERY | |
| **Classification** | | | Income/ Revenue Generating Asset | | | |
|  | Type of Valuation (Basis of Valuation as per IVS) | Primary Basis | | Fair Market Value & Govt. Guideline Value | | | | |
| Secondary Basis | | On-going concern basis | | | | |
|  | Present market state of the Asset assumed (Premise of Value as per IVS) | Under Normal Marketable State | | | | | | |
| Reason: Asset under free market transaction state | | | | | | |
|  | Physical Infrastructure availability factors of the locality | **Water Supply** | **Sewerage/ Sanitation system** | | | **Electricity** | | **Road and Public Transport connectivity** |
| Yes from municipal connection | Underground | | | Yes | | Easily available |
| **Availability of other public utilities nearby** | | | | **Availability of communication facilities** | | |
| Transport, Market, Hospital etc. are available in close vicinity | | | | Major Telecommunication Service Provider & ISP connections are available | | |
|  | Neighborhood amenities | Good | | | | | | |
|  | Any New Development in surrounding area | None | | | | | | |
|  | Any specific advantage/ drawback in the plant and machines | ---- | | | | | | |
|  | Machines overall usability/ utility Factor | Normal | | | | | | |
|  | Best Sale procedure to realize maximum Value (in respect to Present market state or premise of the Asset as per point (iv) above) | Fair Market Value | | | | | | |
| Free market transaction at arm's length wherein the parties, after full market survey each acted knowledgeably, prudently and without any compulsion. | | | | | | |
|  | Hypothetical Sale transaction method assumed for the computation of valuation | Fair Market Value | | | | | | |
| Free market transaction at arm's length wherein the parties, after full market survey each acted knowledgeably, prudently and without any compulsion. | | | | | | |
|  | Approach & Method of Valuation Used | **Approach of Valuation** | | | | **Method of Valuation** | | |
| **Cost Approach** | | | | **Depreciated Replacement Cost Method** | | |
|  | Type of Source of Information | Level 3 Input (Tertiary) | | | | | | |

|  |  |  |
| --- | --- | --- |
|  | Any other aspect which has relevance on the value or marketability of the machines | The marketability for the machines depends upon the industry outlook, make, market condition, raw material, maintenance, raw material, usability, capacity.  This Valuation report is prepared based on the facts of the assets & market situation on the date of the survey. It is a well-known fact that the market value of any asset varies with time & socio-economic conditions prevailing in the region/ country. In future assets market may go down, asset conditions may change or may go worse, plant vicinity conditions may go down or become worse, plant market may change due to impact of Govt. policies or effect of domestic/ world economy, usability prospects of the Plant may change, etc. Hence before financing, Banker/ FI should take into consideration all such future risk while financing. |
|  | **Basis of computation & working** | |
|  | ***Main Basis:***   1. *Basic Methodology: For arriving at fair market value of P&M & other fixed assets our engineering team has rationally applied the mixture of ‘sales comparison approach (market approach)’ and the ‘cost approach (depreciated replacement cost)’. The fair market value of Plant & Machinery on the date of valuation is its cost of reproduction & commissioning on that date less the depreciation & other deterioration deductions (Technological, Economic, Functional obsolescence) or additions for good maintenance from the date of commissioning of the machinery to the date of its valuation.* 2. *Core P&M Asset Valuation is done keeping in mind various factors like technology used, machines availability, its condition, average age, maintenance & service and parts replacement availability of the machines and more importantly demand in the market.* 3. *Main Machinery of this Plant are specific purpose machines.* 4. *The main data point for the Valuation of Plant & Machinery is the Fixed Asset Register maintained by the company. Plant & Machinery FAR has been provided by the company which has been relied upon in good faith. Provided FAR included assets in different heads like Land, Building, Plant & Machinery, Electrical equipment’s, Furniture & fittings, Office equipment, etc. Assets under different heads are segregated and are evaluated separately. From the Fixed Asset Register List two key inputs, Date of Capitalization and Cost of capitalization are taken which play vital role in evaluating used Plant & Machinery valuation.* 5. *Provided Capitalization cost in FAR doesn't include any kind of soft cost like pre-operative, finance, IDC expenses, etc. incurred during establishment of the Project.* 6. *For calculating Replacement Cost of the machines as on date, Whole Sale Price Index (WPI) is used issued by Department Economic Advisor, Govt. of India.* 7. *For evaluating depreciation, Chart of Companies Act-2013, Central Electricity Commission Guidelines & Industry & institutional standards are used for ascertaining useful life of different types of machines are followed.* 8. *Market & Industry scenario is also explored for demand of such Plants.* 9. *On the Depreciated Replacement Cost (DRC) deduction for obsolescence/ deterioration or addition for good maintenance has been taken to arrive at the estimated Prospective Fair Market Value of the machines.* 10. *Underline assumption for the evaluation of this Plant & Machinery is that it will be sold as an Integrated Plant and not as discrete/ piecemeal machinery basis.* 11. *Valuation of the asset is done as found on as-is-where basis on the site as identified to us by client/ owner/ owner representative during site inspection by our engineer/s unless otherwise mentioned in the report.* 12. *The valuation of the Plant/ Machinery has been done considering the plant as a whole. The indivisual cost for machines shown is for illustration purpose, and may vary from market rates since the valuation is done using cost approach method and finally cross verified from market approach as a whole plant and not individual machine.* 13. *Consolidated valuation sheet of Plant & Machinery and other asset items are mentioned below with depreciated current market value as per different category of the machines/assets cumulated together. Our engineering team has separated the Cost of Equipment’s in the different sections of the plant. The cost of equipment considered from P&M List doesn't includes Pre-operative, Finance, and IDC Charges etc. The capitalized/ purchase cost of machinery considered from P&M List consists of final commissioning of machines which includes freight, taxes, insurance, etc.*   ***Other Basis:***   1. *Analysis and conclusions adopted in the report are limited to the reported assumptions, conditions and information came to our knowledge during the course of the work and based on the Standard Operating Procedures, Best Practices, Caveats, Limitations, Conditions, Remarks, Important Notes, Valuation TOR and definition of different nature of values.* 2. *The indicative value has been suggested based on the prevailing market rates that came to our knowledge during secondary & tertiary market research and is not split into formal & informal payment arrangements. Most of the deals takes place which includes both formal & informal payment components. Deals which take place in complete formal payment component may realize relatively less actual transaction value due to inherent added tax, stamp registration liabilities on the buyer.* 3. *Secondary/ Tertiary costs related to asset transaction like Installation, maintenance and Logistics costs pertaining to the sale/ purchase of the assets are not considered separately while assessing the indicative estimated Market Value and is assumed to be included in the Cost of capitalization provided by the client.* 4. *The condition assessment and the estimation of the residual economic life of the machinery and assets are only based on the visual observations and appearance found during the site survey. We have not carried out any physical tests to assess the working and efficiency of the machines and assets.* 5. *Any kind of unpaid statutory, utilities, lease, interest or any other pecuniary dues on the asset or on its owners has not been factored in the Valuation.* 6. *Valuation is done for the asset found on as-is-where basis which owner/ owner representative/ client/ bank has shown to us on site of which some reference has been taken from the information/ data given in the copy of documents provided to us which have been relied upon in good faith and we have assumed that it to be true and correct.* 7. *This is just the fixed asset valuation of the project based on the cost & market approach methodologies considering the utility of the asset for the business & the company as on-ongoing concern basis. This Valuation shall not be construed as the transactional value of the Project which may be determined through Enterprise/ Business Valuation based on Income approach methodologies* | |
|  | **ASSUMPTIONS** | |
|  | 1. *Documents/ Information/ Data provided by the client/ property owner or his representative both written & verbally is true and correct without any fabrication and has been relied upon in good faith.* 2. *The assets and interests therein have been valued free and clear of any liens or encumbrances unless stated otherwise. No hidden or apparent conditions regarding the subject assets or their ownership are assumed to exist. No opinion of title is rendered in this report and a good title is assumed unless stated otherwise.* 3. *It is assumed that the concerned Lender/ Financial Institution has asked for the valuation of that property after satisfying the authenticity of the documents given to us and for which the legal verification has been already taken and cleared by the competent Advocate before requesting for the Valuation report. I/ We assume no responsibility for the legal matters including, but not limited to, legal or title concerns.* 4. *Payment condition during transaction in the Valuation has been considered on all cash basis which includes both formal & informal payment components as per market trend.* 5. *Sale transaction method of the asset is assumed as Free market transaction without any compulsion unless otherwise mentioned while assessing Indicative & Estimated Fair Prospective Market Value of the asset unless otherwise stated.* | |
|  | **SPECIAL ASSUMPTIONS** | |
| None | |
|  | **LIMITATIONS** | |
| None | |

|  |  |  |  |
| --- | --- | --- | --- |
|  | **CONSOLIDATED VALUATION ASSESSMENT OF THE ASSET** | | |
| **S. No.** | **Particulars** | **Govt. Circle/ Guideline Value** | **Indicative & Estimated Prospective Fair Market Value** |
|  | Land Value (A) | **Rs.6,21,32,822/-** | **Rs.7,01,71,002/-** |
|  | Total Building & Civil Works (B) | **Rs.4,27,08,650/-** |
|  | Additional Aesthetic Works Value (C) | **---** | **Rs.14,00,000/-** |
|  | Plant & Machinery Value (D) |  | **Rs.2,55,64,046/-** |
|  | **Total Add** (A+B+C+D) | **Rs.6,21,32,822/-** | **Rs.13,98,43,698/-** |
|  | Additional Premium if any | **---** | **---** |
| Details/ Justification | **---** | **---** |
|  | Deductions charged if any | **---** | **---** |
| Details/ Justification | **---** | **---** |
|  | **Total Indicative & Estimated Prospective** **Fair Market Value** | **---** | **Rs.13,98,43,698/-** |
|  | **Rounded Off** | **---** | **Rs.13,98,00,000/-** |
|  | **Indicative & Estimated Prospective** **Fair Market Value in words** | **---** | **Rupees Thirteen Crore Ninety-Eight Lakh Only** |
|  | **Expected Realizable Value (@ ~15% less)** | **---** | **Rs.11,88,30,000/-** |
|  | **Expected Distress Sale Value (@ ~25% less)** | **---** | **Rs.10,48,50,000/-** |
|  | **Percentage difference between Circle Rate and Fair Market Value** | More than 20% | |
|  | **Concluding Comments/ Disclosures if any** | | |
| 1. We are independent of client/ company and do not have any direct/ indirect interest in the property. 2. This valuation has been conducted by R.K Associates Valuers & Techno Engineering Consultants (P) Ltd. and its team of experts. 3. This Valuation is done for the property found on as-is-where basis as shown on the site by the Bank/ customer of which photographs is also attached with the report. 4. Reference of the property is also taken from the copies of the documents/ information which interested organization or customer could provide to us out of the standard checklist of documents sought from them and further based on our assumptions and limiting conditions. All such information provided to us has been relied upon in good faith and we have assumed that it is true and correct. However, we do not vouch the absolute correctness of the property identification, exact address, physical conditions, etc. based on the documents provided to us since property shown to us may differ on site Vs as mentioned in the documents or incorrect/ fabricated documents may have been provided to us. 5. Legal aspects for eg. investigation of title, ownership rights, lien, charge, mortgage, lease, verification of documents from originals or from any Govt. department, etc. has to be taken care by legal experts/ Advocates and same has not been done at our end. 6. The valuation of an asset is an estimate of the worth of that asset which is arrived at by the Valuer in his expert opinion after factoring in multiple parameters and externalities. This may not be the actual price of that asset and the market may discover a different price for that asset. 7. This report only contains opinion based on technical & market information which came to our knowledge during the course of the assignment. It doesn’t contain any recommendations. 8. This report is prepared following our Standard Operating Procedures & Best Practices and will be subject to Limitations, Conditions, Valuer’s Remarks, Important Notes, Valuation TOS and basis of computation & working as described above. 9. The use of this report will become valid only after payment of full fees as per the Payment Terms. Using this report or any part content created in this report without payment of charges will be seen as misuse and unauthorized use of the report. | | |
|  | **IMPORTANT KEY DEFINITIONS** | | |
| ***Fair Value*** *suggested by the competent Valuer is that prospective estimated amount in his expert & prudent opinion of the subject asset/ property without any prejudice after he has carefully & exhaustively evaluated the facts & information came in front of him or which he could reasonably collect during the course of the assessment related to the subject asset on an as-is, where-is basis in its existing conditions, with all its existing advantages & disadvantages and its potential possibilities which is just & equitable at which the subject asset/ property should be exchanged between a willing buyer and willing seller at an arm’s length transaction in an open & unrestricted market, in an orderly transaction after proper marketing, wherein the parties, each acted knowledgeably, prudently without any compulsion on the date of the Valuation.*  *Fair Value without using the term “Market” in it describes that the value suggested by the Valuer may not mandatorily follow or may not be in complete consonance to the established Market in his expert opinion. It may or may not follow market dynamics. But if the suggested value by the valuer is not within the prevailing Market range or is assessed for an asset is located in an un-established Market then the valuer will give reasonable justification & reasoning that for what reasons the value suggested by him doesn’t follow the prevailing market dynamics.* | | |
| ***Fair Market Value*** *suggested by the competent Valuer is that prospective estimated amount in his expert & prudent opinion of the subject asset/ property without any prejudice in consonance to the Market dynamics after he has carefully & exhaustively evaluated the facts & information came in front of him or which he could reasonably collect during the course of assessment related to the subject asset on an as-is, where-is basis in its existing conditions, with all its existing advantages & disadvantages and its potential possibilities which is just & equitable at which the subject asset/ property should be exchanged between a willing buyer and willing seller at an arm’s length transaction in an open & unrestricted market, in an orderly transaction after proper marketing, wherein the parties, each acted knowledgeably, prudently without any compulsion on the date of the Valuation.*  *Here the words “in consonance to the established Market” means that the Valuer will give opinion within the realms & dynamics of the prevailing market rates after exhaustively doing the micro market research. However due to the element of “Fair” in it, valuer will always look for the factors if the value should be better than the market realms which is just & equitable backed by strong justification and reasoning.* | | |
| ***Market Value*** *suggested by the competent Valuer is that prospective estimated amount which is average price of the similar comparable assets prevailing in an open & established market during the near period of the date of valuation at which the subject asset/ property should be exchanged between a willing buyer and willing seller on an as-is, where-is basis in its existing conditions, with all its existing advantages & disadvantages and its potential possibilities at an arm’s length transaction in an open, established & unrestricted market, in an orderly transaction, wherein the parties, each acted without any compulsion on the date of the Valuation.*  *Using the term “Market Value” without “Fair” omits the elements of proper marketing, acting knowledgeably & prudently.*  *Market and market participants can be sentimental, inclined towards the transaction without the element of complete knowledge & prudence about facts or due diligence of the asset therefore “each acted knowledgeably, prudently” has been removed from the marker Value definition.* | | |
| ***Realizable Value*** *is that minimum prospective estimated value of the asset/ property which it may be able to fetch at the time of actual property transaction factoring in the element of discount due to the prospects of deep negotiations between the buyer & seller when the parties in-principally find Fair Market Value reasonable and sits together to close the deal and the transaction across the table. Discount percentage on the Fair Market Value due to negotiation will depend on the nature, size, various salability prospects of the subject asset, the needs of the buyer & the seller and kind of payment terms. In some of the cases Realizable and Fair Market Value may also be equal.* | | |
| ***Distress Sale Value\**** *is that value when the property is attached with any process such as mortgaged financing, financial or operational dues which is under any stress condition or situation and the stakeholders are under process of finding resolution towards it to save the property from being attached to a formal recovery process. In this type of sale, minimum fetch value assessed will always be less than the estimated Fair Market Value where the discount of percentage will depend upon various circumstances and factors such as nature, size, salability prospects of the property and kind of encumbrance on the property. In this type of sale, negotiation power of the buyer is always more than the seller and eagerness & pressure of selling the property will be more on the seller than the buyer.* | | |
| ***Liquidation Value*** *is the amount that would be realized when an asset or group of assets are sold due to any compulsion or constraints such as in a recovery process guided by statute, law or legal process, clearance sale or any such condition or situation thereof where the pressure of selling the asset/ property is very high to realize whatever maximum amount can be from the sale of the assets in a limited time for clearance of dues or due to closure of business. In other words, this kind of value is also called as forced sale value.* | | |
| ***Difference between Cost, Price & Value:*** *Generally, these words are used and understood synonymously. However, in reality each of these has a completely different meaning, premise and also having different definitions in professional & legal terms. Therefore, it is our professional responsibility to describe the definitions of these words to avoid ambiguity & confusion in the minds of the user of this report.*  *The* ***Cost*** *of an asset represents the actual amount spend in the construction/ actual creation of the asset.*  *The* ***Price*** *is the amount paid for the procurement of the same asset.*  *The* ***Value*** *is defined as the present worth of future rights in the property/ asset and is a hypothetical or notional price that buyers and sellers are most likely to conclude for a good or service. Value is not a fact, but an estimate of the likely price to be paid for a good or service at a given time in accordance with a particular definition of value.*  *Therefore, in actual for the same asset/ property, cost, price & value remain different since these terms have different usage & meaning.* | | |
|  | ***Enclosures with the Report:***   * *Enclosure: I- Google Map* * *Enclosure: II- References on price trend of the similar related properties available on public domain, if available* * *Enclosure: III- Photographs of the property* * *Enclosure: IV- Copy of Circle Rate* * *Enclosure: V- Important property documents exhibit* * *Enclosure: VI- SBI Annexure: VI - Declaration-Cum-Undertaking* * *Enclosure: VII- SBI Annexure: VII - Model Code of Conduct for Valuers* * *Enclosure: VIII- Part E: Valuer’s Important Remarks* | | |

**IMPORTANT NOTES**

***DEFECT LIABILITY PERIOD****- In case of any query/ issue or escalation you may please contact Incident Manager by writing at valuers@rkassociates.org. We try our level best to ensure maximum accuracy in the Calculations done, Rates adopted and various other data points & information mentioned in the report but still can’t rule out typing, human errors, assessment or any other mistakes. In case you find any mistake, variation, discrepancy or inaccuracy in any data point mentioned in the report, please help us by bringing all such points into our notice in writing at* [*valuers@rkassociates.org*](mailto:valuers@rkassociates.org) *within 30 days of the report delivery, to get these rectified timely, failing which R.K Associates shouldn’t be held responsible for any inaccuracy in any manner. Also, if we do not hear back anything from you within 30 days, we will assume that the report is correct in all respect and no further claim of any sort will be entertained thereafter. We would welcome and appreciate your feedback & suggestions in order to improve our services.*

*Our* ***DATA RETENTION POLICY*** *is of* ***ONE YEAR****. After this period we remove all the concerned records related to the assignment from our repository. No clarification or query can be answered after this period due to unavailability of the data.*

***COPYRIGHT FORMAT*** *- This report is prepared on the copyright format of R.K Associates to serve our clients in the best possible way. Legally no one can copy or distribute this format without prior approval from R.K Associates. It is meant only for the organization as mentioned on the cover page of this report. Distribution or use of this format or any content of this report wholly or partially other than R.K Associates will be seen as unlawful act and necessary legal action can be taken against the defaulters.*

***IF REPORT IS USED FOR BANK/ FIs***


***NOTE:*** *As per IBA Guidelines in case the valuation report submitted by the valuer is not in order, the banks / FIs shall bring the same to the notice of the valuer within 15 days of submission for rectification and resubmission. In case no such communication is received, it shall be presumed that the valuation report has been accepted.*


***At our end we have not verified the authenticity of any documents provided to us. Bank is advised to verify the genuineness of the property documents before taking any credit decision.***

***Valuation Terms of Services & Valuer’s Important Remarks are available at*** [***www.rkassociates.org***](http://www.rkassociates.org) ***for reference.***


|  |  |  |
| --- | --- | --- |
| **SURVEY ANALYST** | **VALUATION ENGINEER** | **L1/ L2 REVIEWER** |
| Anit Bhanji | Amit Jaiswal | L&B: Rajani Gupta  P&M: Abhinav Chaturvedi |
|  |  |  |

**ENCLOSURE: I – GOOGLE MAP LOCATION**

****

****

**ENCLOSURE: II -** **REFERENCES ON PRICE TREND OF THE SIMILAR RELATED PROPERTIES AVAILABLE ON PUBLIC DOMAIN**


****

***References not available at public domain.***

**ENCLOSURE: III – PHOTOGRAPHS OF THE PROPERTY**


|  |  |
| --- | --- |
| **Z:\In Progress Files\Amit Jaiswal\VIS(2024-25)-PL046-044-058_Jyoti_Structure_Raipur\SiteImage\c_TimePhoto_20240503_101401.jpg** | **Z:\In Progress Files\Amit Jaiswal\VIS(2024-25)-PL046-044-058_Jyoti_Structure_Raipur\SiteImage\c_TimePhoto_20240503_101725.jpg** |
|  |  |
|  |  |
|  |  |
|  |  |
|  | Z:\In Progress Files\Amit Jaiswal\VIS(2024-25)-PL046-044-058_Jyoti_Structure_Raipur\SiteImage\c_TimePhoto_20240503_101553.jpg |


**ENCLOSURE: IV – COPY OF CIRCLE RATE**

****


**ENCLOSURE V:** **IMPORTANT PROPERTY DOCUMENTS EXHIBIT**


**LEASE DEED**


****

****

**TIR:**

****

****

****

**ENCLOSURE VI:** **ANNEXURE: DECLARATION-CUM-UNDERTAKING**

1. Persons worked on this report are citizen of India.
2. No employee or member of R.K Associates has any direct/ indirect interest in the property or become so interested at any time during a period of three years prior to our appointment as valuer or three years after the valuation of assets was conducted by us.
3. The information furnished in our valuation report dated 17/5/2024 is true and correct to the best of our knowledge and belief and we have made an impartial and true valuation of the property.
4. Our authorized Engineer/ surveyor Mr. Anit Bhanji have personally inspected the property on 3/5/2024 the work is not subcontracted to any other valuation firm and is carried out by us.
5. We have not been depanelled/ delisted by any other bank and in case any such depanelment by other banks during my empanelment with you, we will inform you within 3 days of such depanelment.
6. We have not been removed/ dismissed from service/employment earlier.
7. We have not been convicted of any offence and sentenced to a term of imprisonment.
8. Company is not found guilty of misconduct in professional capacity.
9. Persons worked on this report are not declared to be unsound mind.
10. Company is not undischarged bankrupt or has not applied to be adjudicated as a bankrupt.
11. Company is not an undischarged insolvent.
12. No penalty is levied under section 271J of Income-tax Act, 1961 (43 of 1961) and time limit for filing appeal before Commissioner of Income tax (Appeals) or Income-tax Appellate Tribunal, as the case may be has expired, or such penalty has been confirmed by Income-tax Appellate Tribunal, and five years have not elapsed after levy of such penalty.
13. Company is not been convicted of an offence connected with any proceeding under the Income Tax Act 1961, Wealth Tax Act 1957 or Gift Tax Act 1958 and
14. Our PAN Card number/ GST number as applicable is **AAHCR0845G/ 09AAHCR0845G1ZP.**
15. We undertake to keep you informed of any events or happenings which would make us ineligible for empanelment as a valuer.
16. We have not concealed or suppressed any material information, facts and records and we have made a complete and full disclosure.
17. We have read the Handbook on Policy, Standards and procedure for Real Estate Valuation, 2009 of the IBA and has tried to apply the “Standards” enshrined for valuation in the Part-B of the above handbook to the best of our ability as much as practically possible in the limited time available.
18. We have read the International Valuation Standards (IVS) and the report submitted to the Bank for the respective asset class and has tried to apply the “Standards” as enshrined for valuation in the IVS in “General Standards” and “Asset Standards” as applicable to the best of our ability as much as practically possible in the limited time available.
19. Procedures and standards adopted in carrying out the valuation and is mentioned in Part-D of the report which may have certain departures to the said IBA and IVS standards in order to provide better, just & fair valuation.
20. We abide by the Model Code of Conduct for empanelment of valuer in the Bank.
21. The authorized Engineers of the company who has worked on the assignment has signed this valuation report.
22. The work is taken on the instructions of the Bank.
23. Further, we hereby provide the following information**.**

|  |  |  |  |
| --- | --- | --- | --- |
| **S. No.** | **Particulars** | **Valuer comment** | |
|  | Background information of the asset being valued | This is an industrial unit located at aforesaid address having total land area admeasuring 7.56 Acres as found on as-is-where basis which owner/ owner representative/ client/ bank has shown/ identified to us on the site physically unless otherwise mentioned in the report of which some reference has been taken from the information/ data given in the copy of documents provided to us and informed verbally or in writing. | |
|  | Purpose of valuation and appointing authority | Please refer to Part-D of the Report. | |
|  | Identity of the experts involved in the valuation | **Survey Analyst:** Anit Bhanji  **Valuation Engineer:** Amit Jaiswal  **L1/ L2 Reviewer:** Rajani Gupta & Abhinav Chaturvedi | |
|  | Disclosure of valuer interest or conflict, if any | No relationship with the borrower and no conflict of interest. | |
|  | Date of appointment, valuation date and date of report | **Date of Appointment:** | **22/2/2024** |
| **Date of Survey:** | **3/5/2024** |
| **Valuation Date:** | **17/5/2024** |
| **Date of Report:** | **17/5/2024** |
|  | Inspections and/ or investigations undertaken | Yes, by our authorized Survey Engineer Anit Bhanji on3/5/2024. Property was shown and identified by **Mr. Sanjay Paranjpe** (🕿+91- 9975998889). | |
|  | Nature and sources of the information used or relied upon | Please refer to Part-D of the Report. Level 3 Input (Tertiary) has been relied upon. | |
|  | Procedures adopted in carrying out the valuation and valuation standards followed | Please refer to Part-D of the Report. | |
|  | Restrictions on use of the report, if any | Value varies with the Purpose/ Date/ Market & Asset Condition & Situation prevailing in the market. We recommend not to refer the indicative & estimated prospective Value of the asset given in this report if any of these points are different from the one mentioned aforesaid in the Report.  This report has been prepared for the purposes stated in the report and should not be relied upon for any other purpose. Our client is the only authorized user of this report and is restricted for the purpose indicated in this report. I/we do not take any responsibility for the unauthorized use of this report.  During the course of the assignment, we have relied upon various information, data, documents in good faith provided by Bank/ client both verbally and in writing. If at any point of time in future it comes to knowledge that the information given to us is untrue, fabricated, misrepresented then the use of this report at very moment will become null & void.  This report only contains general assessment & opinion on the indicative, estimated Market Value of the property for which Bank has asked to conduct the Valuation for the asset as found on as-is-where basis which owner/ owner representative/ client/ bank has shown/ identified to us on the site unless otherwise mentioned in the report of which some reference has been taken from the information/ data given in the copy of documents provided to us and informed verbally or in writing which has been relied upon in good faith. It doesn’t contain any other recommendations of any sort including but not limited to express of any opinion on the suitability or otherwise of entering into any transaction with the borrower.  This report is not a certification of ownership or survey number/ property number/ Khasra number which are merely referred from the copy of the documents provided to us. | |
|  | Major factors that were taken into account during the valuation | Please refer to Part A, B & C of the Report. | |
|  | Major factors that were not taken into account during the valuation | Please refer to Part A, B & C of the Report. | |
|  | Caveats, limitations and disclaimers to the extent they explain or elucidate the limitations faced by valuer, which shall not be for the purpose of limiting his responsibility for the valuation report. | Please refer to Part E of the Report and Valuer’s Important Remarks enclosed herewith. | |

**Date: 17/5/2024**

**Place:** Noida

**Signature**

**(Authorized Person of R.K Associates Valuers & Techno Engg. Consultants (P) Ltd.)**

**ENCLOSURE VII:** **ANNEXURE: MODEL CODE OF CONDUCT FOR VALUERS**

**Integrity and Fairness**

1. A valuer shall, in the conduct of his/its business, follow high standards of integrity and fairness in all his/its dealings with his/its clients and other valuers.
2. A valuer shall maintain integrity by being honest, straightforward, and forthright in all professional relationships.
3. A valuer shall endeavor to ensure that he/it provides true and adequate information and shall not misrepresent any facts or situations.
4. A valuer shall refrain from being involved in any action that would bring disrepute to the profession.
5. A valuer shall keep public interest foremost while delivering his services.

**Professional Competence and Due Care**

1. A valuer shall render at all times high standards of service, exercise due diligence, ensure proper care and exercise independent professional judgment.
2. A valuer shall carry out professional services in accordance with the relevant technical and professional standards that may be specified from time to time.
3. A valuer shall continuously maintain professional knowledge and skill to provide competent professional service based on up-to-date developments in practice, prevailing regulations/guidelines and techniques.
4. In the preparation of a valuation report, the valuer shall not disclaim liability for his/its expertise or deny his/its duty of care, except to the extent that the assumptions are based on statements of fact provided by the company or its auditors or consultants or information available in public domain and not generated by the valuer.
5. A valuer shall not carry out any instruction of the client in so far as they are incompatible with the requirements of integrity, objectivity and independence.
6. A valuer shall clearly state to his client the services that he would be competent to provide and the services for which he would be relying on other valuers or professionals or for which the client can have a separate arrangement with other valuers.

**Independence and Disclosure of Interest**

1. A valuer shall act with objectivity in his/its professional dealings by ensuring that his/its decisions are made without the presence of any bias, conflict of interest, coercion, or undue influence of any party, whether directly connected to the valuation assignment or not.
2. A valuer shall not take up an assignment if he/it or any of his/its relatives or associates is not independent in terms of association to the company.
3. A valuer shall maintain complete independence in his/its professional relationships and shall conduct the valuation independent of external influences.
4. A valuer shall wherever necessary disclose to the clients, possible sources of conflicts of duties and interests, while providing unbiased services.
5. A valuer shall not deal in securities of any subject company after any time when he/it first becomes aware of the possibility of his/its association with the valuation, and in accordance with the Securities and Exchange Board of India (Prohibition of Insider Trading) Regulations, 2015 or till the time the valuation report becomes public, whichever is earlier.
6. A valuer shall not indulge in “mandate snatching or offering” convenience valuations” in order to cater to a company or client’s needs.
7. As an independent valuer, the valuer shall not charge success fee.
8. In any fairness opinion or independent expert opinion submitted by a valuer, if there has been a prior engagement in an unconnected transaction, the valuer shall declare the association with the company during the last five years.

**Confidentiality**

1. A valuer shall not use or divulge to other clients or any other party any confidential information about the subject company, which has come to his/its knowledge without proper and specific authority or unless there is a legal or professional right or duty to disclose.

**Information Management**

1. A valuer shall ensure that he/ it maintains written contemporaneous records for any decision taken, the reasons for taking the decision, and the information and evidence in support of such decision. This shall be maintained so as to sufficiently enable a reasonable person to take a view on the appropriateness of his/its decisions and actions.
2. A valuer shall appear, co-operate and be available for inspections and investigations carried out by the authority, any person authorised by the authority, the registered valuers organization with which he/it is registered or any other statutory regulatory body.
3. A valuer shall provide all information and records as may be required by the authority, the Tribunal, Appellate Tribunal, the registered valuers organization with which he/it is registered, or any other statutory regulatory body.
4. A valuer while respecting the confidentiality of information acquired during the course of performing professional services, shall maintain proper working papers for a period of three years or such longer period as required in its contract for a specific valuation, for production before a regulatory authority or for a peer review. In the event of a pending case before the Tribunal or Appellate Tribunal, the record shall be maintained till the disposal of the case.

**Gifts and hospitality.**

1. A valuer or his/its relative shall not accept gifts or hospitality which undermines or affects his independence as a valuer.

Explanation: For the purposes of this code the term ‘relative’ shall have the same meaning as defined in clause (77) of Section 2 of the Companies Act, 2013 (18 of 2013).

1. A valuer shall not offer gifts or hospitality or a financial or any other advantage to a public servant or any other person with a view to obtain or retain work for himself/ itself, or to obtain or retain an advantage in the conduct of profession for himself/ itself.

**Remuneration and Costs.**

1. A valuer shall provide services for remuneration which is charged in a transparent manner, is a reasonable reflection of the work necessarily and properly undertaken, and is not inconsistent with the applicable rules.
2. A valuer shall not accept any fees or charges other than those which are disclosed in a written contract with the person to whom he would be rendering service.

**Occupation, employability and restrictions.**

1. A valuer shall refrain from accepting too many assignments, if he/it is unlikely to be able to devote adequate time to each of his/ its assignments.
2. A valuer shall not conduct business which in the opinion of the authority or the registered valuer organisation discredits the profession.

**Miscellaneous**

1. A valuer shall refrain from undertaking to review the work of another valuer of the same client except under written orders from the bank or housing finance institutions and with knowledge of the concerned valuer.
2. A valuer shall follow this code as amended or revised from time to time

Signature of the Authorized Person: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name of the Valuation company: R.K Associates Valuers & Techno Engg. Consultants (P) Ltd.

Address of the Valuer: D-39, Sector-2, Noida-201301

Date: 17/5/2024

Place: Noida

|  |  |
| --- | --- |
| **PART E** | **ENCLOSURE: VIII - VALUER’S IMPORTANT REMARKS** |

|  |  |
| --- | --- |
|  | Valuation is done for the asset found on as-is-where basis which owner/ owner representative/ client/ bank has shown/ identified to us on the site unless otherwise mentioned in the report of which some reference has been taken from the information/ data given in the copy of documents provided to us and informed verbally or in writing out of the standard checklist of documents sought from the client & its customer which they could provide within the reasonable expected time out of the standard checklist of documents sought from them and further based on certain assumptions and limiting conditions. The information, facts, documents, data which has become primary basis of the report has been supplied by the client which has been relied upon in good faith and is not generated by the Valuer. |
|  | The client/ owner and its management/ representatives warranted to us that the information they have supplied was complete, accurate and true and correct to the best of their knowledge. All such information provided to us either verbally, in writing or through documents has been relied upon in good faith and we have assumed that it is true & correct without any fabrication or misrepresentation. I/We shall not be held liable for any loss, damages, cost or expenses arising from fraudulent acts, misrepresentations, or willful default on part of the owner, company, its directors, employee, representative or agents. |
|  | Legal aspects for eg. Investigation of title, ownership rights, lien, charge, mortgage, lease, sanctioned maps, verification of documents provided to us such as title documents, Map, etc. from any concerned Govt. office etc. have to be taken care by legal expert/ Advocate and same is not done at our end. It is assumed that the concerned Lender/ Financial Institution has asked for the valuation of that property after satisfying the authenticity of the documents given to us for which the legal verification has been already taken and cleared by the competent Advocate before requesting for the Valuation report. I/ We assume no responsibility for the legal matters including, but not limited to, legal or title concerns. |
|  | In the course of the valuation, we were provided with both written and verbal information. We have however, evaluated the information provided to us through broad inquiry, analysis and review but have not carried out a due diligence or audit of the information provided for the purpose of this engagement. Our conclusions are based on the assumptions and other information provided to us by the client during the course of the assessment. |
|  | Getting cizra map or coordination with revenue officers for site identification is a separate activity and is not part of the Valuation services and same has not been done in this report unless otherwise stated. |
|  | Wherever any details are mentioned in the report in relation to any legal aspect of the property such as name of the owner, leases, etc. is only for illustration purpose and should not be construed as a professional opinion. Legal aspects are out of scope of this report. Details mentioned related to legal aspect are only based on the copy of the documents provided to us and whatever we can interpret as a non-legally trained person. This should be cross validated with a legal expert. We do not vouch any responsibility regarding the same. |
|  | We have made certain assumptions in relation to facts, conditions & situations affecting the subject of, or approach to this exercise that has not been verified as part of the engagement rather, treated as “a supposition taken to be true”. If any of these assumptions prove to be incorrect then our estimate on value will need to be reviewed. |
|  | This is just an opinion report based on technical & market information having general assessment & opinion on the indicative, estimated Market Value of the property for which Bank has asked to conduct the Valuation. It doesn’t contain any other recommendations of any sort including but not limited to express of any opinion on the suitability or otherwise of entering into any transaction with the borrower. |
|  | We have relied on the data from third party, external sources & information available on public domain to conclude the valuation. These sources are believed to be reliable and therefore, we assume no liability for the truth or accuracy of any data, opinions or estimates furnished by others that have been used in this analysis. Where we have relied on the data, opinions or estimates from external sources, reasonable care has been taken to ensure that such data is extracted from authentic sources, however we still can’t vouch its authenticity, correctness, or accuracy. |
|  | Analysis and conclusions adopted in the report are limited to the reported assumptions, conditions and information came to our knowledge during the course of the work and based on the Standard Operating Procedures, Best Practices, Caveats, Limitations, Conditions, Remarks, Important Notes, Valuation TOR and definition of different nature of values. |
|  | Value varies with the Purpose/ Date/ Asset Condition & situation/ Market condition, demand & supply, asset utility prevailing on a particular date/ Mode of sale. The indicative & estimated prospective Value of the asset given in this report is restricted only for the purpose and other points mentioned above prevailing on a particular date as mentioned in the report. If any of these points are different from the one mentioned aforesaid in the Report then this report should not be referred. |
|  | Our report is meant ONLY for the purpose mentioned in the report and should not be used for any other purpose. The Report should not be copied or reproduced for any purpose other than the purpose for which it is prepared for. I/we do not take any responsibility for the unauthorized use of this report. |
|  | We owe responsibility only to the authority/client that has appointed us as per the scope of work mentioned in the report. We will not be liable for any losses, claims, damages or liabilities arising out of the actions taken, omissions or advice given by any other person. In no event shall we be liable for any loss, damages, cost or expenses arising in any way from fraudulent acts, misrepresentations or willful default on part of the client or companies, their directors, employees or agents. |
|  | This report is having limited scope as per its fields & format to provide only the general basic idea of the value of the property prevailing in the market based on the site inspection and documents/ data/ information provided by the client. The suggested indicative prospective estimated value should be considered only if transaction is happened as free market transaction. |
|  | The sale of the subject property is assumed to be on an all cash basis. Financial arrangements would affect the price at which the property may sell for if placed on the market. |
|  | The actual realizable value that is likely to be fetched upon sale of the asset under consideration shall entirely depend on the demand and supply of the same in the market at the time of sale. |
|  | While our work has involved an analysis & computation of valuation, it does not include detailed estimation, design/ technical/ engineering/ financial/ structural/ environmental/ architectural/ compliance survey/ safety audit & works in accordance with generally accepted standards of audit & other such works. The report in this work in not investigative in nature. It is mere an opinion on the likely estimated valuation based on the facts & details presented to us by the client and third party market information came in front of us within the limited time of this assignment, which may vary from situation to situation. |
|  | Where a sketched plan is attached to this report, it does not purport to represent accurate architectural plans. Sketch plans and photographs are provided as general illustrations only. |
|  | Documents, information, data including title deeds provided to us during the course of this assessment by the client is reviewed only upto the extent required in relation to the scope of the work. No document has been reviewed beyond the scope of the work. These are not reviewed in terms of legal rights for which we do not have expertise. Wherever any information mentioned in this report is mentioned from the documents like owners name, etc., it is only for illustration purpose and may not necessary represent accuracy. |
|  | The report assumes that the borrower/company/business/asset complies fully with relevant laws and regulations applicable in its area of operations and usage unless otherwise stated, and that the companies/business/assets is managed in a competent and responsible manner. Further, as specifically stated to the contrary, this report has given no consideration to matters of a legal nature, including issues of legal title and compliance with relevant laws, and litigations and other contingent liabilities that are not recorded/reflected in the documents/ details/ information/ data provided to us. |
|  | This valuation report is not a qualification for accuracy of land boundaries, schedule (in physical terms), dimensions & identification. For this land/ property survey report can be sought from a qualified private or Govt. surveyor. |
|  | This Valuation report is prepared based on the facts of the property on the date of the survey. Due to possible changes in market forces, socio-economic conditions, property conditions and circumstances, this valuation report can only be regarded as relevant as at the valuation date. Hence before financing, Banker/ FI should take into consideration all such future risk and should loan conservatively to keep the advanced money safe in case of the downward trend of the property value. |
|  | Valuation of the same asset/ property can fetch different values under different circumstances & situations. For eg. Valuation of a running/ operational shop/ hotel/ factory will fetch better value and in case of closed shop/ hotel/ factory it will have considerable lower value. Similarly, an asset sold directly by an owner in the open market through free market transaction then it will fetch better value and if the same asset/ property is sold by any financer due to encumbrance on it, will fetch lower value. Hence before financing, Lender/ FI should take into consideration all such future risks while financing and take decision accordingly. |
|  | Valuation is done for the property identified to us by the owner/ owner representative. At our end we have just visually matched the land boundaries, schedule (in physical terms) & dimensions of the property with reference to the documents produced for perusal. Method by which identification of the property is carried out is also mentioned in the report clearly. Responsibility of identifying the correct property to the Valuer/ its authorized surveyor is solely of the client/ owner for which Valuation has to be carried out. It is requested from the Bank to cross check from their own records/ information if this is the same property for which Valuation has to be carried out to ensure that owner has not misled the Valuer company or misrepresented the property due to any vested interest. Where there is a doubt about the precision position of the boundaries, schedule, dimensions of site & structures, it is recommended that a Licensed Surveyor be contacted. |
|  | In India more than 70% of the geographical area is lying under rural/ remote/ non municipal/ unplanned area where the subject property is surrounded by vacant lands having no physical demarcation or having any display of property survey or municipal number / name plate on the property clearly. Even in old locations of towns, small cities & districts where property number is either not assigned or not displayed on the properties clearly and also due to the presence of multiple/ parallel departments due to which ownership/ rights/ illegal possession/ encroachment issues are rampant across India and due to these limitations at many occasions it becomes tough to identify the property with 100% surety from the available documents, information & site whereabouts and thus chances of error, misrepresentation by the borrower and margin of chances of error always persists in such cases. To avoid any such chances of error it is advised to the Bank to engage municipal/ revenue department officials to get the confirmation of the property to ensure that the property shown to Valuer/ Banker is the same as for which documents are provided. |
|  | If this Valuation Report is prepared for the Flat/ dwelling unit situated in a Group Housing Society or Integrated Township then approvals, maps of the complete group housing society/ township is out of scope of this report and this report will be made for the specific unit based on the assumption that complete Group Housing Society/ Integrated Township and the subject unit must be approved in all respect. |
|  | Due to fragmented & frequent change in building/ urban planning laws/ guidelines from time to time, different laws/ guidelines between regions/ states and no strict enforceability of Building Bye-Laws in India specially in non-metro and scale b & c cities & Industrial areas, property owners many times extend or make changes in the covered area/ layout from the approved/ applicable limits. There are also situations where properties are decades old when there was no formal Building Bye-Laws applicable the time when the construction must have been done. Due to such discrete/ unplanned development in many regions sometimes it becomes tough for the Valuer to determine the exact lawful situation on ground. Unless otherwise mentioned in the report, the covered area present on the site as per site survey will be considered in the Valuation. |
|  | Area of the large land parcels of more than 2500 sq.mtr or of uneven shape in which there can be practical difficulty in sample measurement, is taken as per property documents which has been relied upon unless otherwise stated. |
|  | Drawing Map, design & detailed estimation of the property/ building is out of scope of the Valuation services. |
|  | Valuation is a subjective field and opinion may differ from consultant to consultant. To check the right opinion, it is important to evaluate the methodology adopted and various data point/ information/ factors/ assumption considered by the consultant which became the basis for the Valuation report before reaching to any conclusion. |
|  | Although every scientific method has been employed in systematically arriving at the value, there is, therefore, no indisputable single value and the estimate of the value is normally expressed as falling within a likely range. |
|  | Value analysis of any asset cannot be regarded as an exact science and the conclusions arrived at in many cases will, of necessity, be subjective and dependent on the exercise of individual judgment. Given the same set of facts and using the same assumptions, expert opinions may differ due to the number of separate judgment decisions, which have to be made. Therefore, there can be no standard formula to establish an indisputable exchange ratio. In the event of a transaction, the actual transaction value achieved may be higher or lower than our indicative analysis of value depending upon the circumstances of the transaction. The knowledge, negotiability and motivations of the buyers and sellers, demand & supply prevailing in the market and the applicability of a discount or premium for control will also affect actual price achieved. Accordingly, our indicative analysis of value will not necessarily be the price at which any agreement proceeds. The final transaction price is something on which the parties themselves have to agree. However, our Valuation analysis can definitely help the stakeholders to take informed and wise decision about the Value of the asset and can help in facilitating the arm’s length transaction. |
|  | This Valuation is conducted based on the macro analysis of the asset/ property considering it in totality and not based on the micro, component, or item wise analysis. Analysis done is a general assessment and is not investigative in nature. |
|  | This report is prepared on the RKA V-L1 (Basic) Valuation format as per the client requirement and scope of work. This report is having limited scope as per its fields & format to provide only the general estimated & indicative basic idea of the value of the property prevailing in the market based on the information provided by the client. No detailed analysis, audit or verification has been carried out of the subject property. There may be matters, other than those noted in this report, which might be relevant in the context of the transaction and which a wider scope might uncover. |
|  | This is just an opinion report and doesn’t hold any binding on anyone. It is requested from the concerned Client/ Bank/ Financial Institution which is using this report for mortgaging the property that they should consider all the different associated relevant & related factors & risks before taking any business decision based on the content of this report. |
|  | All Pages of the report including annexures are signed and stamped from our office. In case any paper in the report is without stamp & signature then this should not be considered a valid paper issued from this office. |
|  | As per IBA Guidelines & Bank Policy, in case the valuation report submitted by the valuer is not in order, the banks / FIs shall bring the same to the notice of the valuer within 15 days of submission for rectification and resubmission. In case no such communication is received, it shall be presumed that the valuation report has been accepted. |
|  | **Defect Liability Period is 15 DAYS.** We request the concerned authorized reader of this report to check the contents, data, information, and calculations in the report within this period and intimate us in writing at [**valuers@rkassociates.org**](mailto:valuers@rkassociates.org) within 15 days of report delivery, if any corrections are required or in case of any other concern with the contents or opinion mentioned in the report. If no intimation is received within 15 (Fifteen) days in writing from the date of issuance of the report, then it shall be considered that the report is complete in all respect and has been accepted by the client up to their satisfaction & use and further to which R.K Associates shall not be held responsible in any manner. After this period no concern/ complaint/ proceedings in connection with the Valuation Services will be entertained due to possible change in situation and condition of the property. |
|  | Though adequate care has been taken while preparing this report as per its scope, but still we can’t rule out typing, human errors, over sightedness of any information or any other mistakes. Therefore, the concerned organization is advised to satisfy themselves that the report is complete & satisfactory in all respect. Intimation regarding any discrepancy shall be brought into our notice immediately. If no intimation is received within 15 (Fifteen) days in writing from the date of issuance of the report, to rectify these timely, then it shall be considered that the report is complete in all respect and has been accepted by the client upto their satisfaction & use and further to which R.K Associates shall not be held responsible in any manner. |
|  | Our Data retention policy is of **ONE YEAR**. After this period we remove all the concerned records related to the assignment from our repository. No clarification or query can be answered after this period due to unavailability of the data. |
|  | This Valuation report is governed by our (1) Internal Policies, Processes & Standard Operating Procedures, (2) R.K Associates Quality Policy, (3) Valuation & Survey Best Practices Guidelines formulated by management of R.K Associates, (4) Information input given to us by the customer and (4) Information/ Data/ Facts given to us by our field/ office technical team. Management of R.K Associates never gives acceptance to any unethical or unprofessional practice which may affect fair, correct & impartial assessment and which is against any prevailing law. In case of any indication of any negligence, default, incorrect, misleading, misrepresentation or distortion of facts in the report then we request the user of this report to immediately or at least within the defect liability period to bring all such act into notice of R.K Associates management so that corrective measures can be taken instantly. |
|  | R.K Associates never releases any report doing alterations or modifications by pen. In case any information/ figure of this report is found altered with pen then this report will automatically become null & void. |
|  | We are fully aware that based on the opinion of value expressed in this report, we may be required to give testimony or attend court / judicial proceedings with regard to the subject assets, although it is out of scope of the assignment, unless specific arrangements to do so have been made in advance, or as otherwise required by law. In such event, the party seeking our evidence in the proceedings shall bear the cost/professional fee of attending court / judicial proceedings and my / our tendering evidence before such authority shall be under the applicable laws. |
|  | The final copy of the report shall be considered valid only if it is in hard copy on the company’s original letter head with proper stamp and sign on it of the authorized official upon payment of the agreed fees. User shall not use the content of the report for the purpose it is prepared for only on draft report, scanned copy, email copy of the report and without payment of the agreed fees. In such a case the report shall be considered as unauthorized and misused. |