**REPORT FORMAT:** CE – VL1 (Construction) | Version: 1.0\_Aug.2024

# FILE No.: VIS (2024-25)-PL239-203-264 Date: 29-08-2024

**COST VETTING ASSESSMENT**

**OF**

**SOBTI SAPPHIRE**

**SITUATED AT**

**GATA NUMBER 66 MIN, 67 MIN, 106 MIN, 108 MIN, 113 MIN, 114 MIN, 115 MIN, 116 MIN 117 MIN 140 MIN, 142 MIN, & 143 MIN, VILLAGE DIBDIBA, TEHSIL BILASPUR, DISTRICT RAMPUR, UTTARPRADESH**

**REPORT PREPARED FOR**

**PUNJAB NATIONAL BANK 9/90, P BLOCK, CONNAUGHT PLACE**

**NEW DELHI**

***\*\*Important - In case of any query/ issue or escalation you may please contact Incident Manager***

***at valuers@rkassociates.org. We will appreciate your feedback in order to improve our services.***

***NOTE: As per IBA & Bank’s Guidelines please provide your feedback on the report within 15 days of its submission after which report will be considered to be correct.***

***Valuation Terms of Services & Valuer’s Important Remarks are available at*** [***www.rkassociates.org***](http://www.rkassociates.org) ***for reference.***

**IMPORTANT NOTICE**

***COPYRIGHT FORMAT:*** *This report is prepared on the copyright format of R.K Associates to serve our clients with the best possible information and analysis to facilitate them to take rational business decisions. Legally no one can copy or distribute this format without prior approval from R.K Associates. It is meant only for the advisory/ reference purpose for the organization/s as mentioned on the cover page of this report. Distribution or use of this format by any organization or individual other than R.K Associates will be seen as an unlawful act and necessary legal action can be taken against the defaulters.*

*This report is intended for the sole use of the intended recipient/s and contains material that is STRICTLY CONFIDENTIAL AND PRIVATE.*

***DEFECT LIABILITY PERIOD:*** *- In case of any query/ issue or escalation you may please contact Incident Manager at le@rkassociates.org. We try to ensure maximum accuracy in the calculations done, rates adopted, assumptions taken and various other data points & information mentioned in the report but even still can’t rule out typing, human errors or any other bonafide mistakes. In case you find any such mistake or inaccuracy in any data point of the report, please help us by bringing all such points into our notice immediately or within 15 days of the r0eport delivery in writing, to rectify these timely failing after which R.K Associates won’t be held responsible for any such inaccuracy in any manner. We would highly appreciate your feedback in order to improve our services.*

|  |  |
| --- | --- |
| **PART A** | **REPORT SUMMARY** |

* **DOCUMENT NAME:** Cost Vetting Assessment
* **ADDRESS OF THE ASSET:** Gata Number 66 Min, 67 Min, 106 Min, 108 Min, 113 Min, 114 Min, 115 Min, 116 Min 117 Min 140 Min, 142 Min, & 143 Min, Village Dibdiba, Tehsil Bilaspur, District Rampur, Uttar Pradesh
* **PREPARED FOR ORGANIZATION*:*** Punjab National Bank 9/90, P Block, Connaught Place New Delhi.
* **BORROWER/COMPANY’S NAME*:***M/s Sobti Buildwell Ltd.
* **ASSET TYPE***:* Group Housing Project

|  |  |  |
| --- | --- | --- |
| **S. NO.**  | **PARTICULARS**  | **DESCRIPTION**  |
|  | Date of Survey  | 23-07-2024 |
|  | Date of Document | 06-08-2024 |
|  | Documents provided for perusal | 1. Sanctioned Map
2. Cost estimate provided by Architect Nagpal Architect and Interior Designer with reference number CA/2019/113964
 |
|  | Work Order Number | Through email dated 10/07/2024 |
|  | Customer Name | Punjab National Bank, Connaught place, New Delhi |
|  | Coordinating Person Name and Number | **Name** | **Designation** | **Phone No.** |
| Sudeb Panda | Owner’s representative | 9760691119 |
|  | Submitted to Bank | Punjab National Bank 9/90, P Block, Connaught Place New Delhi |
|  | Dealing Officer from Bank | **Name** | **Designation** | **Phone No.** |
| Mukesh Kumar | Manager | 9667965179 |
|  | Scope of the Work | Vetting of Cost Estimate as per CPWD/ PWD/ Market norms of Tower B & C of the Group Housing Society Project Sobti Sapphire being developed by Sobti Buildwell Ltd. as prepared by the Architect Nagpal Architect and Interior Designer with reference number CA/2019/113964 |
|  | Purpose of the Assessment | For Bank internal assessment |
|  | Type of Asset | Group Housing Project |
|  | Type of Assessment  | Cost vetting assessment |
|  | Current Status of the Building  | Construction of Basement is under progress for Tower B & C |
|  | Total Proposed Building Cost  | **₹ 67,88,40,400.29** |
|  | R.K Associates Opinion on the proposed Estimate | Overall the cost estimated by Architect Nagpal Architect and Interior Designer with reference number CA/2019/113964 appears to be in line with the market standard and within CPWD/ PWD range.For detail working, kindly refer Part-C Cost Vetting Assessment. |
|  | Total number of Pages | 10 |
|  | Enclosures | 1. Copy of Cost Estimate Sheet
 |

|  |  |
| --- | --- |
| **PART B** | **PROJECT TECHNICAL DETAILS** |

1. **COST ESTIMATE:** We have been provided cost estimate ofTower B & C of the Group Housing Society Project Sobti Sapphire being developed by Sobti Buildwell Ltd. as prepared by the Architect Nagpal Architect and Interior Designer with reference number CA/2019/113964. Cost estimate given by the Architect is tabled below for reference:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sl. No** | **SUBHEAD** | **DESCRIPTION** | **AMOUNT AS PER SOBTI BUILWELL LTD.** | **COST/SQ.FT. ON BUILT UP AREAAS PER SOBTI** |
| 1 | STRUCTURE | Inclusive of Earthwork, Anti-Termite Treatment, PCC Work, Concrete work, Steel & Shuttering | 41,27,20,459 | 1,120.00 |
| 2 | MASONRY WORK | Providing and applying in single coat including grooving, bands, drip course, waterproofing, curing and scaffolding  | 0.00 | 0.00 |
| 3 | PLASTER WORK | Providing and applying in single coat including grooving, bands, drip course, water proofing, curing and scaffolding | 0.00 | 0.00 |
| 4 | JOINARY WORK | Providing and applying in single coat including grooving, bands, drip course, water | 2,02,67,522 | 55 |
| 5 | ELECTRICAL WORK |   | 2,67,16,279 | 72.5 |
| 6 | PLUMBING WORK |   | 2,78,21,780 | 75.5 |
| 7 | HVAC WORK |   | 3,18,75,285.47 | 86.5 |
| 8 | FIRE FIGHTING SYSTEM |   | 2,32,15,525.83 | 63 |
| 9 | WATER PROOFING | Providing and applying in single coat including grooving, bands, drip course, water proofing, curing and scaffolding | 93,96,760.46 | 25.5 |
| 10 | PAINTING WORKS | Providing and applying in single coat including grooving, bands, drip course, water proofing, curing and scaffolding | 1,31,18,614.60 | 35.6 |
| 11 | FLOORING | Inclusive of all Flooring, Wall Finishes, Doors & Windows, Ceiling Treatment, Cladding, External facade Treatment, Railings, Kitchens, Toilets & Wardrobe | 3,33,49,287 | 90.5 |
| 12 | WALL CLADDING(Internal) |  | 1,42,42,540 | 38.65 |
| 13 | FALSE CEILING |   | 2,21,10,024 | 60 |
| 14 | FABRICATION | Inclusive of all Flooring, Wall Finishes, Doors & WIndows, Ceiling Treatment,Cladding, External facade Treatment, Railings, Kitchens, | 1,23,44,763 | 33.5 |
| 15 | FACADE WORK | Inclusive of all Flooring, Wall Finishes, Doors &Windows, Ceiling Treatment, Cladding, External facade | 1,96,85,291 | 53.42 |
| 16 | LIFTS | Supplying & Installation of Passenger & Fire Lifts | 1,19,76,263 | 32.5 |
| 17 | MODULAR WORK | Supplying & Installation of Modular Kitchen & Wardrobes with Machine Pressed Finishing | 0.00 | 0.00 |
| 18 | LANDSCAPE & HORTICULTURE | Inclusive of all Flooring, Wall Finishes, Doors & Windows, Ceiling Treatment, Cladding, External facade Treatment, Railings, Kitchens, Toilets & Wardrobe | 0.00 | 0.00 |
| 19 | BOUNDARY WALL & ENTRY GATE | Inclusive of landscaping, soft-soaping, horticulture, site lighting, signage’s , | 0.00 | 0.00 |
| 20 | BASEMENT | Civil Cost + basic finsihes | 0.00 | 0.00 |
| 21 | CLUB & COMMERCIAL | Club Spa, Gym, Commercial & Amenities | 0.00 | 0.00 |
|   |  |  | **67,88,40,400** | **1,842** |

***Source: Cost Sheet provided by Nagpal Architects and Interior Design with reference number CA/2019/113964***

1. **BUILDING AREA DETAILS:** Sobti Sapphire is proposed to have 3 towers and 51 villas. However the current scope of work is limited only to 2 Towers, i.e Tower B & C and also includes Club House.

|  |  |  |  |
| --- | --- | --- | --- |
| **Land Area** | **Towers** | **Floors** | **Total Built-up Area** |
| **32,907Sq.mtr** | **2 Nos.** | **13 floors in Each Tower** | **3,68,500.41 sq.ft** |

**Notes:**

1. The above area includes Tower B & C Built-up area, Club Area and the proportionate Basement Area of 90,431.41 Sq.ft.

|  |  |
| --- | --- |
| **PART C** | **COST VETTING ASSESSMENT** |

1. **METHODOLOGY & APPROACH ADOPTED:** Plinth Area Rate basis on cumulative basis

and not on item wise basis.

1. **COST ASSESSMENT:**

|  |  |  |
| --- | --- | --- |
| **S.No.** | **Particulars** | **Details** |
|  | **Total Number of Towers** | 02 |
|  | **Number of Floors** | 13 in each Tower |
|  | **Type of Construction** | R.C.C Framed Structure with brick filler walls, raft foundation using conventional form & shuttering. |
|  | **Total Area** | 3,68,500.41 sq.ft. |
|  | **Estimated Value by Architect** | Rs. 67,88,40,400 |
|  | **Plinth Area Rate** | Rs. 1,842 |
|  | **RKA Assessment** | Overall estimated cost for the building works with the items shown in the estimate appears to be in line with market rates considering the location of the Project as Scale-B city. Please see notes below for additional details. |

**NOTES:**

1. Analysis is done based on the copy of Estimation sheet of Tower B & C and approved building Plan provided by the borrower company/Bank.
2. Estimate analysis is done on the basis of standard RCC construction with brick filler walls, raft foundation using conventional form & shuttering with Class – A construction.
3. Super Class-A, exclusive luxurious finishing or newer technologies such as Mivan technique is not considered while analysing the cost.
4. Fittings and fixtures are not considered in this estimate evaluation.
5. Since in some of the items in the estimate complete specifications was not given, therefore analysis is done on cumulative plinth area rates basis which is found to be satisfactory.
6. In this assessment, there can be some difference in the cost of some of the items due to difference in the specification proposed by the company.
7. The current assessment is true for the current date. The rate may vary at the time of actual construction due to change in price of materials and labours in that location.
8. Estimated price may vary in comparison to CPWD plinth area rates 2023, DSR rate 2021 due to specification standards considered in CPWD Vs market standards in private sector and also due to location factor of scale-b city.

**Disclaimer:**

* 1. This cost vetting is done only on the basis of Cost Estimate provided to us by the company/Bank and we don’t recommend any sort of recommendation in our Certificate.
	2. The estimated cost verification of item to item can’t exactly match as per our vetting due to several market consideration. In some of the items it is lower while in some of the items price comes to be higher but on an average the price as per list provided to us falls in the range as confirmed by us.
	3. There can be variation in the estimated price if the specification & make of any items procured is different from the list provided to us during assessment.
	4. The estimated cost verification is made based on the third-party information which has been replied upon in good faith.
	5. The estimated price may vary at the time of actual procurement because of change in prices in the market for such kind of items for which we will not have any control. The cost vetting is only limited to the date of Certificate issued. We do not assume any responsibility in change of prices of the said items after this date.
	6. Ownership and other legal point of view in respect of the asset is not considered in this report as same is out of scope of this certificate.
	7. This assessment is done on the request of the Bank.

**IMPORTANT NOTES**

***DEFECT LIABILITY PERIOD****- In case of any query/ issue or escalation you may please contact Incident Manager by writing at valuers@rkassociates.org. We try our level best to ensure maximum accuracy in the Calculations done, Rates adopted and various other data points & information mentioned in the report but still can’t rule out typing, human errors, assessment or any other mistakes. In case you find any mistake, variation, discrepancy or inaccuracy in any data point mentioned in the report, please help us by bringing all such points into our notice in writing at* *valuers@rkassociates.org* *within 30 days of the report delivery, to get these rectified timely, failing which R.K Associates shouldn’t be held responsible for any inaccuracy in any manner. Also, if we do not hear back anything from you within 30 days, we will assume that the report is correct in all respect and no further claim of any sort will be entertained thereafter. We would welcome and appreciate your feedback & suggestions in order to improve our services.*

*Our* ***DATA RETENTION POLICY*** *is of* ***ONE YEAR****. After this period we remove all the concerned records related to the assignment from our repository. No clarification or query can be answered after this period due to unavailability of the data.*

***COPYRIGHT FORMAT*** *- This report is prepared on the copyright format of R.K Associates to serve our clients in the best possible way. Legally no one can copy or distribute this format without prior approval from R.K Associates. It is meant only for the organization as mentioned on the cover page of this report. Distribution or use of this format or any content of this report wholly or partially other than R.K Associates will be seen as unlawful act and necessary legal action can be taken against the defaulters.*

***IF REPORT IS USED FOR BANK/ FIs***

***NOTE:*** *As per IBA Guidelines in case the valuation report submitted by the valuer is not in order, the banks / FIs shall bring the same to the notice of the valuer within 15 days of submission for rectification and resubmission. In case no such communication is received, it shall be presumed that the valuation report has been accepted.*

***At our end we have not verified the authenticity of any documents provided to us. Bank is advised to verify the genuineness of the property documents before taking any credit decision.***

***Valuation Terms of Services & Valuer’s Important Remarks are available at*** [***www.rkassociates.org***](http://www.rkassociates.org) ***for reference.***

|  |  |  |
| --- | --- | --- |
| **SURVEY ANALYST** | **ESTIMATION ENGINEER** |  **L1/ L2 REVIEWER** |
| Ashil Baby | Ashil Baby | Sr. V.P. Projects |
|  |  |  |

**ENCLOSURE: I – COPY OF COST ESTIMATION SHEET PREPARED BY THE ARCHITECT**

****