File No.: VIS (2024-25)-PL361-314-427		       	                          Dated: 04.09.2024

TECHNO-ECONOMIC VIABILITY

STUDY REPORT

OF

THREE-STAR CATEGORY HOTEL

(42 ROOMS WITH ONE BANQUET HALL, ONE RESTAURANT, ONE BAR & DISCO & THREE MULTI-PURPOSE HALLS)

SETUP BY

M/S SOMPTUEUX STAYS PRIVATE LIMITED

REPORT PREPARED FOR

SBI SME BRANCH, INDUSTRIAL ESTATE, MATHURA - 281001

**Important - In case of any query/ issue or escalation you may please contact Incident Manager Valuers@rkassociates.org. We will appreciate your feedback in order to improve our services.

NOTE: As per IBA Guidelines please provide your feedback on the report within 15 days of its submission after which report will be considered to be correct.

IMPORTANT NOTICE

COPYRIGHT FORMAT: This report is prepared on the copyright format of R. K. Associates Valuers & Techno Engineering Consultants (P) Ltd. (R. K. Associates) to serve our clients with the best possible information and analysis to facilitate them to take rational business decisions. Legally no one can copy or distribute this format without prior approval from R. K. Associates. It is meant only for the advisory/ reference purpose for the organization/s as mentioned on the cover page of this report. Distribution or use of this format or report or any of its content/ information/ data by any organization or individual other than R.K Associates will be seen as an unlawful act and necessary legal action can be taken against the defaulters.

This report is intended for the sole use of the intended recipient/s and contains material that is STRICTLY CONFIDENTIAL AND PRIVATE.

DEFECT LIABILITY PERIOD: In case of any query/ issue or escalation you may please contact Incident Manager at valuers@rkassociates.org. Though adequate care has been taken while preparing this report as per its scope, but still we can’t rule out typing, human errors, over sightedness of any information or any other mistakes. Therefore, the concerned organization is advised to satisfy themselves that the report is complete & satisfactory in all respect. Intimation regarding any discrepancy shall be brought into our notice immediately. If no intimation is received within 15 (Fifteen) days in writing from the date of issuance of the report, to rectify these timely, then it will be considered that the report is complete in all respect and has been accepted by the client up to their satisfaction & use and further to which R.K Associates shall not be held responsible in any manner.

Part O: R. K. Associates Important Disclaimer and Remarks are integral part of this report and Feasibility assessment is subject to this section. Reader of the report is advised to read all the points mentioned in these sections carefully.

| TABLE OF CONTENTS |  |  |
| --- | --- | --- |
| SECTIONS | PARTICULARS | PAGE NO. |
| Part A | Report Summary | 4 |
| Part B | INTRODUCTION |  |
|  | - About the Report | 6 |
|  | - Executive summary | 6 |
|  | - Purpose of the Report | 7 |
|  | - Scope of the Report | 7 |
|  | - Methodology/ Model Adopted | 8 |
|  | - Data Information received from | 8 |
|  | - Documents/ Data Referred | 8 |
| Part C | Company Profile |  |
|  | - Company Overview | 10 |
|  | - Promoters/Directors Profile | 11 |
| Part D | Proposed Infrastructure Details |  |
|  | - Proposed Location | 13 |
|  | - Google Map Location | 13 |
|  | - Google Map Layout | 13 |
|  | - Land & Building Details | 14 |
|  | - Site pictures | 18 |
|  | - Civil Works | 20 |
|  | - Utilities | 21 |
| Part E | Project Technical details |  |
|  | - Capacity of Proposed Hotel | 22 |
|  | - Technical Specification of the Proposed Hotel | 22 |
|  | - Manpower | 23 |
| Part F | Service Profile |  |
|  | - Introduction | 24 |
|  | - Service Category | 24 |
|  | - Marketing Plan | 25 |
| Part G | Industry Overview & Analysis | 26 |
| Part H | SWOT Analysis | 32 |
| Part I | Project Cost and Means of Finance | 33 |
| Part J | Project Schedule | 34 |
| Part K | Statutory Approvals ¦ Licences ¦ NOC | 36 |
| Part L | Company’s Financial Feasibility | 38 |
| Part M | Conclusion | 56 |
| Part N | Disclaimer ¦ Remarks | 58 |

| PART A | REPORT SUMMARY |
| --- | --- |

| S. No. | PARTICULAR | DESCRIPTION |
| --- | --- | --- |
|  | Name of the Company: | M/s Somptueux Stays Private Limited |
|  | Registered Address: | C/o Raj Kumar Agrawal, Jaisingpura, Kalyan Karoti, Mathura, Uttar Pradesh - 281001 |
|  | Project Name | THE AIRAN PARADISE |
|  | Project Location: | Khasra No.3, Mauja Allehpur, Chhatikara Mathura, Uttar Pradesh - 281001 |
|  | Project Type: | Three-Star Category Hotel |
|  | Project Industry: | Hotels |
|  | Product Type / Deliverables: | Hotel Services |
|  | Report Prepared for Organization: | SBI SME Branch, Industrial Estate, Mathura - 281001 |
|  | TEV Consultant Firm: | M/s. R.K Associates Valuers & Techno Engineering Consultants (P) Ltd. |
|  | Report type: | Techno-Economic Viability Report |
|  | Purpose of the Report: | To assess Technical & Economic Viability for the purpose of seeking external financial assistance to start a green field Project. |
|  | Scope of the Report: | To assess, evaluate & comment on Technical, Economical & Commercial Viability of the Project as per data information provided by the client, independent Industry research and data/ information available on public domain. |
|  | Date of Report: | 4th September, 2024 |
|  | Documents referred for the Project: | - PROJECT INITIATION DOCUMENTS: - Project Report - Financial Projections of the Project - Project proposed Schedule - Statutory Approval Details - Building Layout Plan - PROCUREMENT DOCUMENTS: - High level breakup of Building & Civil works - Lease deed of the site - STATUTORY APPROVALS, LICENCES & NOCs - Registration Certificate (Department of Tourism) - Memorandum of Understanding - Fire NOC - Nagar Nigam NOC - Tehsil NOC - Pollution NOC |
|  | Means of Finance: | Equity & Debt (D/E Ratio 2.97) |
|  | Key Financial Indicators: | Key Indicators; Value. Average DSCR; 2.64. Average EBITDA Margin; 37.94%. Avg. PAT Margin; 17.25%. NPV & IRR; INR 13.45 Cr. & 24.62%. Payback Period; 6.29 years. |

Note: Above financial indicators are based on the financial projections of the proposed project provided by the firm and assessment and analysis of the same done by us.

| PART B | INTRODUCTION |
| --- | --- |

- ABOUT THE REPORT:

This is a Techno-Economic Viability Study Report of the proposed Three-Star Category Hotel at Khasra No.3, Mauja Allehpur, Chhatikara, Mathura, Uttar Pradesh - 281001, setup by M/s Somptueux Stays Private Limited.

- EXECUTIVE SUMMARY:

M/s Somptueux Stays Private Limited was incorporated on 26th May 2023 under the Company’s Act, 2013 as per the certificate of incorporation shared by the client to carry on the business of business of hotels and motels, inns, and resorts providing short-term lodging facilities includes accommodation in houseboats.

The promoters of the company are Mr. Raj Kumar Agarwal, Mrs. Ragini Agrawal and Mr. Harsh Agrawal.

M/s Somptueux Stays Private Limited has proposed to set up this Greenfield project at Mathura in Uttar Pradesh. The hotel is proposed to be setup with total investment of INR 1,608.36 lakhs.

The cost of the proposed project is being estimated as INR 1,608.36 lakhs, which is proposed to be funded through promoter’s equity of INR 100.00 lakhs, unsecured promoter loan of INR 518.36 lakhs and bank loan of INR 990.00 lakhs.

As per the lease deed shared by the client executed on 06th June 2023, promoters have taken land on lease at Khasra No.3, Mauja Allehpur, Chhatikara, Mathura, Uttar Pradesh - 281001 for next 30 years (from 01st June 2023 to 31st May 2053) on the monthly rent of Rs. 50,000. Owners of the Land are Mrs. Dayawati W/o Mr. Ramesh Chand Agarwal and Mrs. Sangeeta Agarwal W/o Mr. Dinesh Chand Agarwal. Total area of the land is 2369.94 Sq. Meter as per Approved Map.

The projected cost for setting up hotel including building, guard room, sanitary works, electrical installations, furniture, other interior work, lift elevators, infrastructure, MGPS system, firefighting works, kitchen equipment & utensils, lease expense during construction etc. has been estimated at INR 1,499.02 lakhs.

The proposed hotel will have construction area of 4476.38 Sq. Meter consisting of six floors including basement and ground floor. It will have capacity of total 42 rooms with one banquet hall, one restaurant, one bar & disco & three multi-purpose halls. (Kindly refer Section D of the report).

As per data/information provided to us, the company has obtained some Statutory Approvals/NOC’s such as Registration Certificate, Fire NOC, Nagar Nigam NOC, Tehsil NOC, Pollution NOC, etc. from the respective authorities (Refer the section Statutory Approval in the later part of the report).

During the site visit, we found that the basement work has been completed and ground floor work is set to begin. (Kindly refer the site pictures captured during the survey attached in the later section of the report).

At present, the company is in discussion with bank to fund the project through a term loan of INR 990 lakhs. In this regard State Bank of India, SME Branch, Industrial Estate, Mathura has appointed R.K. associates to assess the Techno-Economic Viability of the proposed Hotel at Khasra No.3, Mauja Allehpur, Chhatikara, Mathura, Uttar Pradesh - 281001. The company plans to achieve the financial closure by September 2024 (expected).

- PURPOSE OF THE REPORT: To assess Project’s Technical and Financial Feasibility for lender’s requirement.

- SCOPE OF THE REPORT: To only assess, evaluate & comment on Technical & Financial Feasibility of the proposed Hotel being set up by M/s Somptueux Stays Private Limited as per the information provided by the Company.

NOTES:

- Project status is taken as per the Site inspection carried out by our survey team.

- Scrutiny about the company, background check, and credibility, credit worthiness of the company or its promoters is out-of-scope of this report.

- Any verification of the documents/ information from originals/ source is out-of-scope of this report.

- This report is only an opinion in respect to Technical and Financial Feasibility of the project as per the future Projections provided by the firm and independent analysis done by us and doesn’t contains any recommendations including taking decision on the loan or any other financial exposure.

- This is not an audit activity of any kind. We have relied upon the data/ information shared by the company in good faith.

- Any review of the existing business of the promoters is out of scope of this report.

- Detailed cost estimation or detailed cost vetting is out of scope of the project.

- This is not a Detailed Project Report or a detailed design or architecture document. Land and property details mentioned in the report is only for illustration purpose as per the information provided to us by the client. The same doesn’t tantamount for taking any responsibility regarding its legality, ownership and conforming to statutory norms.

- METHODOLOGY/ MODEL ADOPTED:

- Data/ Information collection.

- Review of Data/ Information collected related to TEV study.

- Independent review & assessment of technology used and financial projections provided by the company.

- Projections of Revenue, P&L, Balance Sheet, Working Capital Schedule, Depreciation Schedule, Loan Schedule as per the inputs given by the company and assessed by us.

- Calculation of key financial indicators and ratio analysis including DSCR, NPV & IRR and payback period of the project.

- Report compilation and Final conclusion.

- DATA/ INFORMATION RECEIVED FROM: All the data/Information has been received from Mr. Nitin Agarwal (Chartered Accountant) and the required details about him shown in the below table:

| Particulars | Details |
| --- | --- |
| Designation | Chartered Accountant |
| Company | M/s Somptueux Stays Private Limited |
| Email Address | nitinereturn@gmail.com |
| Contact No. | +91-9410855556 |

- DOCUMENTS / DATA REFFERED:

- Financial Projections of the proposed project up to FY 2037.

- Information memorandum and description of the company (DPR).

- Promoter’s Details.

- Proposed Total project cost.

- Lease deed.

- Breakup of Building & Civil Works.

- Layout Plan.

- Manpower proposal.

| PART C | COMPANY PROFILE |
| --- | --- |

- COMPANY OVERVIEW:

As per certificate of incorporation shared by the client/company, M/s Somptueux Stays Private Limited was incorporated on 26th May 2023 under the Company’s Act, 2013 as per the certificate of incorporation shared by the client to carry on the business of business of hotels and motels, inns, and resorts providing short-term lodging facilities includes accommodation in houseboats. Below table shows the incorporation details of the company:

| Incorporation Details of the Company |  |
| --- | --- |
| Particular | Description |
| Company / LLP Name | M/s Somptueux Stays Private Limited |
| Date of Incorporation | 26th May 2023 |
| CIN | U55101UP2023PTC182818 |
| Company Category | Unlisted Company limited by Share |
| Company Subcategory | Non-govt. company |
| ROC | Uttar Pradesh |
| Registered Address | C/o Raj Kumar Agrawal, Jaisingpura, Kalyan Karoti, Mathura, Uttar Pradesh - 281001 |
| Authorized Capital | INR 1,00,00,000/- |
| Paid up Capital | INR 10,00,000/- |

Source: Ministry of Corporate Affairs website

The promoters of the company are Mr. Raj Kumar Agarwal (DIN: 00462522), Mr. Harsh Agarwal (DIN: 10178212) and Mrs. Ragini Agarwal (DIN: 10178217) who are also appointed as directors of the Company.  As per the data/information provided by the client, current shareholding pattern is as below:

| Name of Shareholder | No. of shares held | % of holding |
| --- | --- | --- |
| Mr. Raj Kumar Agarwal | 24,000 | 24% |
| Mrs. Ragini Agarwal | 51,000 | 51% |
| Mr. Harsh Agarwal | 25,000 | 25% |

Source: Data/ Information provided by the company

- KEY PROMOTER’S/DIRECTORS PROFILE:

Mr. Raj Kumar Agarwal, Mr. Harsh Agarwal and Mrs. Ragini Agarwal are the promoters and directors of M/s Somptueux Stays Private Limited.

| - Directors/Promoters Details |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name | DIN | Age | Address | Designation | Contact Details |
| Mr. Raj Kumar Agarwal | 00462522 | 48 | 24, Jai Shri Colony, Shah Gunj Darwaja, Mathura, Uttar Pradesh - 281001 | Director | krishnapackagig1510@gmail.com |
| Mr. Harsh Agarwal | 10178212 | 23 |  | Director | harshag1210@gmail.com |
| Mrs. Ragini Agarwal | 10178217 | 46 |  | Director | ragini25061979@gmail.com |
| - Education & Experience |  |  |  |  |  |
| Mr. Raj Kumar Agarwal | - Appointed As Director on 26th May 2023. - As per data/information shared by the client, Mr. Raj Kumar Agarwal is a well-known Businessman in Mathura. He is doing business since 1990s. - He is a partner in R.C.M.C Packers, a well-known Supari Manufacturing firm which manufactures "Raju Supari". He was also a director in a hotel company named "Geet Sangeet Inn and Travels Pvt Ltd" and is having work experience of 8 years in hotel industry. |  |  |  |  |
| Mr. Harsh Agarwal | - Appointed As Director on 26th May 2023. - As per data/information shared by the client, Mr. Harsh Agarwal is a Businessman in Mathura City. - He passed out his Bachelors in Hotel Management from Manipal University, Jaipur. - He is having two years of experience through internships at The Leela Hotel, Goa, India and at Chateau da la Dame Blanche, France. |  |  |  |  |
| Mrs. Ragini Agarwal | - Appointed As Director on 26th May 2023. - As per data/information shared by the client, Mrs. Ragini Agrawal belongs to a well reputed business family owning ‘R.C.M.C. Packers’. |  |  |  |  |

Source: Data/ Information provided by the company and extracted from MCA website

Below tables shows the information of the companies with which each Director is associated to give a basic background detail of the promoters as found on public domain in general/ tertiary category research.

MR. RAJ KUMAR AGARWAL

| S. No | Company Name | Designation | Original Date of Appointment | Date Of Appointment at Current Designation | Date Of Cessation (If Applicable) |
| --- | --- | --- | --- | --- | --- |
| 1 | Somptueux Stays Private Limited (CIN: U55101UP2023PTC182818) | Director | 26th May, 2023 | 26th May, 2023 | NA |
| 2 | Geet Sangeet Inn and Travels Private LIMITED (CIN: U17100UP1998PTC023975) | Director | NA | 07th December 2001 | 14th February 2009 |

Source: Information extracted from MCA website & public domain

MR. HARSH AGARWAL

| S. No | Company Name | Designation | Original Date of Appointment | Date Of Appointment at Current Designation | Date Of Cessation (If Applicable) |
| --- | --- | --- | --- | --- | --- |
| 1 | Somptueux Stays Private Limited (CIN: U55101UP2023PTC182818) | Director | 26th May, 2023 | 26th May, 2023 | NA |

Source: Information extracted from MCA website & public domain

MS. RAGINI AGARWAL

| S. No | Company Name | Designation | Original Date of Appointment | Date Of Appointment at Current Designation | Date Of Cessation (If Applicable) |
| --- | --- | --- | --- | --- | --- |
| 1 | Somptueux Stays Private Limited (CIN: U55101UP2023PTC182818) | Director | 26th May, 2023 | 26th May, 2023 | NA |

Source: Information extracted from MCA website & public domain

| PART D | PROPOSED INFRASTRUCTURE DETAILS |
| --- | --- |

- PROPOSED LOCATION:

The proposed Three-Star Category Hotel will be set up by M/s Somptueux Stays Private Limited at Khasra No.3, Mauja Allehpur, Chhatikara, Mathura, Uttar Pradesh – 281001. The site is situated on the National Highway - 19 between Mathura and Vrindavan.

| Connectivity | Details |
| --- | --- |
| Airport | Noida International Airport ~ 98 kms far away from the site |
| Railway station | Mathura railway station ~ 7 kms far away from the site |
| Highway | National Highway – 19 (Mathura Vrindavan Road) |

Source: Google Map

LOCATION MAP:

- Google Map Location: The proposed Hotel will be set up at Khasra No.3, Mauja Allehpur, Chhatikara, Mathura, Uttar Pradesh - 281001 with GPS coordinates 27°33'19.3" North and 77°37'57.7" East as per the Google map attached below:

- Google Map Layout: Demarcation of the land with approximate measurement on the Google map is attached in the below picture:

- LAND & BUILDING DETAILS:

The Company has executed lease agreement on 06th June 2023 for the land situated at Khasra No.3, Mauja Allehpur, Chhatikara, Mathura, Uttar Pradesh – 281001 for next 30 years (from 01st June 2023 to 31st May 2053) on the monthly rent of Rs. 50,000. Total area of the land is 2369.94 Sq. Meter as per Approved Map.

During the site visit on 29th August 2024, we found that basement work has been completed we found that the basement work has been completed and ground floor work is set to begin.

LAYOUT PLAN: As per the data/information provided by the client/Company, the layout plan has been prepared by M/s Pratap EPC Services Private Limited. For reference, the approved layout plan has been attached below:

- SITE PICTURES: Site pictures were captured during the site survey on 29th August 2024, for reference few of the pictures are attached below:

- CIVIL WORKS FOR THE PROPOSED BUILDING:

The proposed Hotel shall be constructed as per the layout plan prepared by M/s Pratap EPC Services Private Limited. The proposed hotel will have construction area of 4476.38 Sq. Meter consisting of six floors including basement and ground floor. It will have capacity of total 42 rooms with one banquet hall, one restaurant, one bar & disco & three multi-purpose halls.

The projected cost for setting up hotel including building, guard room, sanitary works, electrical installations, furniture, other interior work, lift elevators, infrastructure, MGPS system, fire fighting works, kitchen equipment & utensils, etc has been estimated at INR 1,499.02 lakhs including GST.

However, as a TEV consultant the cost of major building & civil works has been verified by us independently, which we found reasonable & in the permissible range although the cost may change as per specifications & brand.

- UTILITIES: Details of Water, Electricity and other utilities are described as below:

- ELECTRICITY:

As per Pollution Report prepared by Dass Rasaynik Services shared with us by the client, the proposed power load is 386 KVA. Company will apply for the proposed power load in due course.

- WATER:

As per the data/information provided by the client, the proposed project will require water facility for cleaning of hotel rooms, canteen, drinking water, etc. which is easily available. The proposed project will have enough storage capacity of fresh water. The Company has already installed boring facility at the site. The company will also apply for water supply from Nagar Nigam Mathura Vrindavan.

Thus as per the overall analysis of the proposed project “THE AIRAN PARADISE”, the estimated total project cost of the proposed 3 star segment hotel is INR 14.99 Crores, which comes out as INR 0.36 Crore per key as per the proposed plan, which seems to be in the line with the Indian Hospitality industry trends and benchmark prevailing in the market at present. As per the Hotel Development Cost Survey 2023, India done by Hotelivate, Budget/economy hotels necessitate an investment of INR 0.37 Cr. per key.

| PART E | PROJECT TECHNICAL DETAILS |
| --- | --- |

- CAPACITY OF THE PROPOSED HOTEL:

The proposed Hotel shall be constructed as per the layout plan prepared by M/s Pratap EPC Services Private Limited. The proposed hotel will have construction area of 4476.38 Sq. Meter consisting of six floors including basement and ground floor. It will have capacity of total 42 rooms with one banquet hall, one restaurant, one bar & disco & three multi-purpose halls.

- TECHNICAL SPECIFICATIONS OF THE PROPOSED CRO UNIT:

As per data provided by the client representative; the basic details of the building is as follows:

As per data provided by the client representative; the basic facilities and utilities provided in the subject property is as follows:

As per the Building Plan approved by Mathura-Vrindavan Development Authority, the floor wise built-up area and permissible usage of the subject premises is as under:

- MANPOWER:

As per information shared by the client/company, The proposed project will require approximately 50-60 employees which include Chefs, Inventory Manager, HR and Finance Staff, Admin Staff and General Helpers and Cleaning staff. The said Man power is easily available from the local and nearby areas.

As per a report published by Minsitry of Tourism, approx. 152 employees per 100 rooms in the 1 – 3 star hotels are employed on average which means an average of 1.52 employees per key. In the proposed project, the average manpower per key is ~1.43 employees per key which seems to be in the line with the Indian Hospitality industry trends.

| PART F | HOTEL SERVICES PROFILE |
| --- | --- |

- INTRODUCTION:

Company has planned to start a Hotel in Mathura district of UP equivalent to 03 star category. Company has obtained a property situated at Khasra No.3, Mauja Alhaipur, District Mathura, UP and developing the hotel under the Brand name of "THE AIRAN PARADISE".

Hotel will have 42 Rooms (2 standard rooms, 34 Deluxe rooms and 6 executive suites) along with a restaurant, 3 Multi purpose Hall and 1 indoor banquet areas. All rooms would be air conditioned, shall have 24 hour running hot and cold water, connected to round the clock entertainment and other channels plus high-speed Wi-Fi.

- SERVICES CATEGORY:

Brief details of the services proposed to be offered by M/s Somptueux Stays Private Limited are set forth below:

- Room Booking: Hotel will have 42 rooms and Company has taken rent of INR 3000/- to INR 5000/- per room depending on room variant per day which is in line with other hotels in the same area.

- Food and Beverages with Room Booking: Company will charge for Foods& Beverages related to Lunch and Dinner.

- Banquet: Hotel will have 1 indoor Banquet. Total capacity of the indoor Banquets will be about 300 peoples.

- Restaurant: Hotel will also have a dedicated restaurant area with the capacity of more than 100 sitting at a time.

- Multi Purpose Hall: There will be 3 multi purpose Halls in the Hotel with the average gathering capacity of 200 peoples.

- Bar & Disco: Company is also proposed Bar& Disco in the Hotel with the gathering capacity of around 100 peoples.

- MARKETING PLAN:

As per the details shared by the client containing the information of marketing & selling strategy of M/s Somptueux Stays Private Limited, the hotel is situated on the National Highway - 19 between Mathura and Vrindavan. Government of Uttar Pradesh and India are promoting our rich heritage and a large number of tourists visit Braj.

Vrindavan stands as a prominent religious centre in Braj Bhoomi and attracts devotees with its rich history. Krishna Janmashtami is grandly celebrated every year in Mathura. Every year 3 to 3.5 million devotees celebrate Janmashtami in Mathura. In 2022-2023, Mathura-Vrindavan hosted nearly 6 crore tourists, second only to Varanasi.

Also the traffic density on the NH road is very high. People normally halt for rest, food, and to use the restrooms while travelling. At times, there is heavy rain or fog or heatwave due to which many travellers stop for giving gap in the journey for their safety.

Company also plans to target tourists and local people for marriage purpose.

| PART G | HOTEL INDUSTRY OVERVIEW |
| --- | --- |

- INTRODUCTION:

The market size of the hospitality industry in India is projected to be approximately US$ 24.61 billion in 2024 and is anticipated to reach US$ 31.01 billion by 2029. The projected growth is anticipated to occur at a compound annual growth rate (CAGR) of 4.73% throughout the forecast period of 2024-29. Travel industry was one of the most affected industries during 2020-21 due to pandemic induced restrictions.

Source: Mordor Intelligence

Key performance indicators such as revenue per available room (RevPAR), occupancy rate, and average daily rate (ADR) declined from 2019 to 2021. The industry bounced back in 2022 with ADR and RevPAR surpassing pre pandemic levels and occupancy rates showing substantial improvement. The positive trend continues into 2023, with further growth in ADR, RevPAR, and occupancy rates, indicating a resilient rebound of the hospitality sector.

Source: STR

Note: ADR - RevPAR - Revenue per Available Room, Average Daily Rate

Source: STR

Source: STR

The average revenue per user (ARPU) in the hospitality industry, as depicted from 2017 to projected figures in 2028, shows a consistent upwards trajectory. Starting at US$ 163.6 in 2017, ARPU remained stable over the next few years, before experiencing incremental growth. The year 2023 witnessed a notable increase to US$ 166.5, followed by further anticipated growth in the forecast years. By 2028, ARPU is expected to reach US$ 174.1, indicating a steady rise in revenue generation per user over the span of a decade. Several factors can be attributed to this growth trajectory, particularly driven by economic expansion, rising per capita income and the growing middle class, which collectively fuel increased spending on leisure and hospitality services.

- GROWTH DRIVERS:

- Rising Disposable Income: With a growing middle class and increasing disposable income, more people in India can afford domestic and international travel, leading to higher demand for hotel accommodations.

- Infrastructure Development: Ongoing infrastructure development, including the	expansion of airports, highways and other transportation networks, improves accessibility to	various tourist destinations and boosts hotel occupancy rates.

- Growing MICE Tourism: MICE tourism is observing growth in India, supported by corporate events, international conferences and trade shows, leading to increased demand for hotel facilities.

- Cultural and Heritage Tourism: India's rich cultural heritage and diverse tourist attractions continue to draw domestic and international tourists, stimulating demand for hotels resorts, and boutique accommodations across the country.

- Rise of Budget Hotels and Homestays: With the emergence of budget hotels, homestays and alternative accommodation options, the diverse needs and preferences of travellers are being catered to, encouraging competition and innovation within the industry.

- GOVERNMENT INITIATIVES:

  - Capital Investment Subsidy to Eligible Tourism Units by Uttar Pradesh Government – All eligible tourism units are eligible for capital subsidy as per given quantum under Uttar Pradesh Tourism Policy 2022. 100% of the capital investment subsidy amount shall be granted post the successful start of commercial operations of the eligible tourism unit.

  - Skill Development Programmes: Under its Capacity Building for Service Provider (CBSP) scheme, the Ministry of Tourism has introduced a 150-hour homestay course to address skill gaps identified by the sector.

  - Swadesh Darshan Scheme: The Ministry of Tourism launched its flagship scheme, Swadesh Darshan, in 2014-15. The project offered financial aid to both union territory administrations and state governments, as well as to central agencies, to implement tourism infrastructure at various locations.

  - PRASAD Scheme: The Government of India launched the Pilgrimage Rejuvenation and Spiritual Augmentation Drive (PRASAD) scheme in 2014-15 under the Ministry of Tourism's supervision. This one-off scheme is designed to improving experience for 11 religious tourists by way of selecting and developing the most important pilgrimage sites distributed across the country.

- OPPORTUNITIES

  - Emerging markets: With rapid urbanisation, economic growth and rising disposable incomes, tier-II and tier-III cities in India are witnessing increased demand for quality accommodation options. There is considerable opportunity for hotel developers to tap into these emerging markets and establish branded hotels to cater to the growing demand from business and leisure travellers.

  - Luxury segment: The luxury hotel industry in India is seeing strong growth due to the rising demand for high-quality hospitality experiences from wealthy domestic and international tourists. Luxury resort, boutique hotel, urban property, which provide exclusive services, specialized events and first-class amenities are now the top choice of the high-end consumers.

  - Mid-scale and budget segments: While the luxury segment is thriving, there is also considerable potential in the mid-scale and budget segments of the market. Increasingly budget-conscious travellers, particularly the millennial segment, and budget business travellers, are also driving this trend, as this customer segment looks for value-for-money propositions.

  - Technology integration: Adopting technology and digital innovations presents opportunities for hotels to enhance operational efficiency, improve guest experiences and drive revenue growth. This includes adopting cloud-based property management systems and mobile apps for integrated room bookings and guest services and Smart Rooms powered by IoT and data analytics for customized marketing and revenue management.

  - Health and wellness tourism: As people become more conscious of health and wellness, the popularity of spa resorts, wellness retreats and holistic wellness experiences in India is on the rise. Hotels could take advantage of the growing trend by incorporating wellness facilities, creating special wellness programmes, and collaborating with health and wellness professionals to appeal to wellness-oriented travellers.

- CHALLENGES

- Regulatory environment: Understanding and adhering to the complex regulatory landscape in India can be challenging for hoteliers due to the various regulations at national, state, and local levels. Compliance with licensing, taxation, labour laws and safety standards can be time consuming and demanding for hoteliers.

- Competition: The hotel industry is highly competitive, with international and domestic hotel chains operating in the market. To stay at the top of the hotels market, hotels must make constant investments for improving their accommodation, services, and marketing. To stand out in the crowded hotel market, hoteliers can compete effectively by catering to niche markets or adopting unique selling points.

- Talent management: Recruiting and retaining skilled employees can be a challenge for hotels, particularly in key tourist destinations. The hospitality sector often faces high staff turnover rates, which can affect service quality and operational efficiency.

- Technology adoption: While there has been significant progress in adopting technology within the hospitality industry, some hotels in India still lag in implementing modern systems for reservations, guest services and revenue management. Technology can be adopted to raise efficiency and give a superior guest experience.

- Price sensitivity: Price sensitivity is a challenge in the Indian market, with many consumers seeking value for money. Hotels must strike a balance between offering competitive prices and maintaining profitability. Hotels adopt dynamic pricing strategies and offer value-added packages to attract price-conscious travellers.

- Environmental sustainability: With increasing awareness of environmental issues, hotels in India face pressure to adopt sustainable practices. This includes reducing energy consumption, minimising waste, and implementing eco-friendly initiatives, which may require heavy investment.

- CONCLUSION:

The Indian hotel industry is on the verge of exponential growth, with projections indicating a 7-9% revenue increase in FY2025. This surge is driven by the surging demand for domestic leisure travel, along with a rise in events like weddings and business travel. ICRA anticipates occupancy rates will reach their highest in a decade, fuelled by growing interest in tier-II cities and spiritual tourism destinations. Premium hotel occupancy rates are predicted to hover at 70-72% in FY24 and FY25, with average room rates expected to reach between US$ 94.06 and US$ 96.47 (Rs. 7,800-8,000) in FY25. While certain segments may surpass pre-COVID achievements, the industry is on track to match its 2008 peak by FY25, underpinned by developments in infrastructure, improved air connectivity and the proliferation of large-scale MICE events, complemented by the opening of new convention centres.

| PART H | SWOT ANALYSIS |
| --- | --- |

| SWOT ANALYSIS |  |
| --- | --- |
| STRENGTHS | - Track record: The promoters are highly experienced with proven track record in the hospitality sector which is a big strength of the Company. - Location: The Construction site is situated at the prime location between Mathura and Vrindavan on NH-19. In 2022-2023, Mathura-Vrindavan hosted nearly 6 crore tourists, second only to Varanasi. |
| WEAKNESSES | - Not a recognized brand: the hotel will operate as a budget standalone hotel which may find it difficult to pull customers owing to lack of brand recognition. - Price sensitive: The Hotel market is price sensitive and very competitive owing to multiple players offering various categories of rooms in Mathura. - Unavailability of skilled and professional manpower: Dearth of unavailability of skilled and professional manpower in the hospitality sector. |
| OPPORTUNITIES | - Rising demand: Rising demand for tourism among the foreign/Local tourists as Mathura District is a Holy city. - Government initiatives like Clean India, Smart Cities, better management of Historical Monuments etc. - National Tourism Policy by the Govt. will significantly improve the fundamentals of Hotel Industry. - Many States are coming with State specific Tourism Policy to boost the tourism in their respective States like Uttar Pradesh Tourism Policy 2022. |
| THREATS | - Competition: Cheaper & more robust Hospitality services like Airbnb is big threat. - Technology adoption: While there has been significant progress in adopting technology within the hospitality industry, some hotels in India still lag in implementing modern systems for reservations, guest services and revenue management. |

| PART I | PROJECT COST AND MEANS OF FINANCE |
| --- | --- |

As per data/information shared by the client, the proposed Hotel project is proposed to be commissioned by making an investment of INR 1,608.36 lakhs as shown in the below table along with Means of finance:

| Total Project Cost |  |  |
| --- | --- | --- |
| S. No. | Capital Cost Head | Amount (INR) |
| 1 | Land and Land Development Expenses (Leased Land) | ₹ 19,02,000 |
| 2 | Construction of Building, Guard room, Sanitary Works | ₹ 8,00,00,000 |
| 3 | Electrical Installations (Including AC Ducting HT–LT Panel Works, UPS Connection, etc.) | ₹ 3,00,00,000 |
| 4 | Kitchen Equipment & Utensils | ₹ 14,00,000 |
| 5 | Cost of Furniture, Other Interior Work, Lift Elevators | ₹ 3,40,00,000 |
| 6 | Other Costs such as Infrastructure, MGPS System, Fire Fighting Works, contingency, GST etc. | ₹ 25,00,000 |
| 7 | Computer | ₹ 1,00,000 |
| 8 | Interest During Construction (IDC) | ₹ 1,06,83,917 |
| 9 | Pre-Operative Expenses | ₹ 2,50,000 |
|  | TOTAL | ₹ 16,08,35,917 |
| Means of Finance |  |  |
| S. No. | Particular | Amount (INR) |
| 1 | Promoters' Equity | ₹ 1,00,00,000 |
| 2 | Unsecured Loan from Promoters | ₹ 5,18,35,917 |
| 3 | Loan from Banks | ₹ 9,90,00,000 |
|  | TOTAL | ₹ 16,08,35,917 |
|  | Total Loan | ₹ 9,90,00,000 |

Source: Data/Information provided by the company.

Notes:

- It is to be noted that the estimation/vetting of the project cost is out of scope of this TEV report, and we have relied upon the data/information provided by the client regarding Total Project cost such as quotations, etc. However, as a TEV consultant, the cost of major equipment and building & civil works has been verified by us independently, which we found reasonable & in the permissible range although the cost may change as per brand & specifications.

- As per the lease deed shared by the client/company executed on 06th June 2023, promoters have taken land on lease Khasra No.3, Mauja Allehpur, Chhatikara, Mathura, Uttar Pradesh - 281001 for next 30 years (from 01st June 2023 to 31st May 2053) on the monthly rent of Rs. 50,000. Total area of the land is 2369.94 Sq. Meter as per Approved Map.

- Cost of land has been estimated by the Management at INR 0.19 Cr which represent lease rental paid from date of commencement of lease till date of commencement of commercial operations.

- Cost of Building & Civil Works including lifts, interior work and furniture & fixtures has been estimated by the Management at INR 14.65 Cr on the basis of detailed project report prepared by M/s Pratap EPC Services Private Limited in 2023.

- Cost of Kitchen Equipment & Utensils has been estimated by the Management at INR 0.14 Cr based on the expected requirement for a three-star category hotel.

- Cost of computer has been estimated by the Management at INR 0.01 Cr.

- Preliminary & Pre-Operative Expenses has been taken as lump sum basis, based on the time period of civil works, estimate of company’s resources involvement during this time in supervision & monitoring of the civil works and other estimated regulatory expenses as INR 0.03 Cr.

- The project is proposed to be funded through a term loan of INR 9.90 crores, promoter’s equity of INR 1.00 crore and unsecured loan from promoters of INR 5.18 crores.

| PART J | PROJECT IMPLEMENTETION SCHEDULE |
| --- | --- |

The proposed Hotel is expected to achieve its C.O.D by 1st April 2026, as per the proposed implementation schedule shown in the table below:

| S. No. | Particulars | Activity | Expected completion date | Status |
| --- | --- | --- | --- | --- |
|  | Sanction of Rupee Term Loan | Sanction of Rupee Term Loan | September 2024 | Pending |
|  | Building & Civil Works | Building Plan Preparation | June 2023 | Completed |
|  |  | Building & Civil Works completion | December 2025 | Pending |
|  | Equipments | Installation of Equipments | January 2026 | Pending |
|  |  | Utility Installation | January 2026 | Pending |
|  | Statutory Approvals, registrations & NOCs | From the respective authorities | September 2024 | Pending |
|  | Finishing & Trial Run | Informed by client | March 2026 | Pending |
|  | Commercial Operation Date | Informed by client | 1st April 2026 | Pending |

Notes:

- Schedule has been made as per feasibility to achieve different milestones.

- Achievement of Milestone will depend on sanction of term loan as per proposed timeline.

- For current status of statutory approvals, kindly refer the “Section K” of this report.

- As per this timeline, the expected C.O.D will be 1st April 2026.

| PART K | STATUTORY APPROVALS ¦ LICENCES ¦ NOC |
| --- | --- |

As shown in the below table along with current status, following major approvals are required. However, the list is not exhaustive, and State/District Authorities may be approached for further clearances required (if any):

| S. No. | REQUIRED APPROVALS | DATE REFERENCE NO. | STATUS (Approved/ Applied For/ Pending) |
| --- | --- | --- | --- |
|  | Certificate of Incorporation Ministry of Corporate Affairs, Government of India | 26th May 2023 CIN: U55101UP2023PTC182818 | Approved |
|  | Registration Certificate Department of Tourism | 07th July 2023 Reg No: MAT/03/TP008/2023 | Approved |
|  | Labour Licence Registration & grant of license under The Factories Act, 1948 Department of Labour, Uttar Pradesh | - | Pending |
|  | Fire & Safety Uttar Pradesh Fire Service Department | 24th August 2023 UID No: UPFS/2023/93399/MTH/MATHURA/2434/CFO | Approved |
|  | Consent to Establish (NOC) Uttar Pradesh Pollution Control Board | 07th December 2023 Ref No. - 191106/UPPCB/Mathura(UPPCBRO)/CTE/MATHURA/2023 | Approved |
|  | Nagar Nigam NOC Office of Municipal Corporation Mathura-Vrindavan, Mathura | 04th November 2023 Letter No.: 184/N.N.A./N.V./N.N.M.Vru., (Vrindavan Zone)/2023-24 | Approved |
|  | Tehsil NOC | 22nd September 2023 | Approved |
|  | Memorandum of Understanding Govt. of Uttar Pradesh | 01st August 2023 MoU Number: 23/TOUR/0000024420 | Approved |

Observation Notes:

- Above is the only illustration of the major approvals sought or to be sought by the company. It should not be construed as the exhaustive list and in case any approval is missed to be mentioned then it is the sole responsibility of the company to keep the unit compliant with the necessary statutory approvals/ NOCs.

| PART L | COMPANY’S FINANCIAL FEASIBILITY |
| --- | --- |

- PROJECTIONS OF THE FIRM:

The financial projections of the project are prepared from FY 2024-25 to FY 2036-37 based on the expected COD and loan tenor as per the best practice in industry to assess the financial feasibility of the project are elaborated below:

- PROJECTED PROFIT & LOSS ACCOUNT:

(INR Lakhs)

| Financial Year | FY 2027 | FY 2028 | FY 2029 | FY 2030 | FY 2031 | FY 2032 |
| --- | --- | --- | --- | --- | --- | --- |
| Months | 12 | 12 | 12 | 12 | 12 | 12 |
| Rooms Revenue | 279.0 | 301.3 | 325.4 | 351.5 | 379.6 | 409.9 |
| Food & Beverage | 350.7 | 378.8 | 409.1 | 441.8 | 477.2 | 515.3 |
| Banquet & Multipurpose Hall Revenue | 187.2 | 202.2 | 218.4 | 235.8 | 254.7 | 275.1 |
| Gross Annual Revenue | 816.9 | 882.3 | 952.9 | 1029.1 | 1111.4 | 1200.3 |
| 1. Cost of Food & Beverages | 163.4 | 176.5 | 190.6 | 205.8 | 222.3 | 240.1 |
| 2. Electricity / Power | 81.7 | 88.2 | 95.3 | 102.9 | 111.1 | 120.0 |
| 3. Repair & Maintenance | 32.1 | 34.7 | 37.5 | 40.5 | 43.7 | 47.2 |
| Total Variable Expenses | 277.2 | 299.4 | 323.3 | 349.2 | 377.1 | 407.3 |
| 1. Salary & Wages | 155.2 | 167.6 | 181.0 | 195.5 | 211.2 | 228.1 |
| 2. Selling & Marketing | 65.4 | 70.6 | 76.2 | 82.3 | 88.9 | 96.0 |
| 3. Lease expense | 6.0 | 6.0 | 6.0 | 6.0 | 6.0 | 6.0 |
| 4. Misc. expenses | 5.0 | 5.4 | 5.8 | 6.3 | 6.8 | 7.3 |
| Total Fixed Expenses | 231.6 | 249.6 | 269.1 | 290.2 | 312.9 | 337.4 |
| Total Expenses | 508.8 | 549.0 | 592.4 | 639.3 | 690.0 | 744.7 |
| EBIDTA | 308.2 | 333.3 | 360.4 | 389.8 | 421.4 | 455.6 |
| Interest on Term Loan | 100.6 | 95.9 | 89.7 | 82.2 | 73.5 | 63.5 |
| Interest on Unsecured Loan | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Depreciation | 160.8 | 144.4 | 129.7 | 116.5 | 104.7 | 94.0 |
| Preliminary Expenses | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.0 |
| PBT | 46.2 | 92.4 | 140.5 | 190.5 | 242.8 | 298.0 |
| Less: Taxation | 11.6 | 23.3 | 35.4 | 48.0 | 61.1 | 75.0 |
| PAT | 34.6 | 69.2 | 105.2 | 142.6 | 181.7 | 223.0 |

(Continued)

| Financial Year | FY 2033 | FY 2034 | FY 2035 | FY 2036 | FY 2037 |
| --- | --- | --- | --- | --- | --- |
| Months | 12 | 12 | 12 | 12 | 12 |
| Rooms Revenue | 442.7 | 478.2 | 516.4 | 557.7 | 602.3 |
| Food & Beverage | 556.6 | 601.1 | 649.2 | 701.1 | 757.2 |
| Banquet & Multipurpose Hall Revenue | 297.1 | 320.8 | 346.5 | 374.2 | 404.2 |
| Gross Annual Revenue | 1296.4 | 1400.1 | 1512.1 | 1633.0 | 1763.7 |
| 1. Cost of Food & Beverages | 259.3 | 280.0 | 302.4 | 326.6 | 352.7 |
| 2. Electricity / Power | 129.6 | 140.0 | 151.2 | 163.3 | 176.4 |
| 3. Repair & Maintenance | 51.0 | 55.0 | 59.4 | 64.2 | 69.3 |
| Total Variable Expenses | 439.9 | 475.1 | 513.1 | 554.1 | 598.4 |
| 1. Salary & Wages | 246.3 | 266.0 | 287.3 | 310.3 | 335.1 |
| 2. Selling & Marketing | 103.7 | 112.0 | 121.0 | 130.6 | 141.1 |
| 3. Lease expense | 6.0 | 6.0 | 6.0 | 6.0 | 6.0 |
| 4. Misc. expenses | 7.9 | 8.6 | 9.3 | 10.0 | 10.8 |
| Total Fixed Expenses | 364.0 | 392.6 | 423.5 | 456.9 | 493.0 |
| Total Expenses | 803.8 | 867.6 | 936.6 | 1011.0 | 1091.4 |
| EBIDTA | 492.5 | 532.4 | 575.5 | 622.0 | 672.2 |
| Interest on Term Loan | 52.4 | 39.5 | 25.9 | 12.4 | 1.2 |
| Interest on Unsecured Loan | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Depreciation | 84.5 | 75.9 | 68.2 | 61.3 | 55.1 |
| Preliminary Expenses | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| PBT | 355.7 | 417.0 | 481.3 | 548.3 | 616.0 |
| Less: Taxation | 89.5 | 105.0 | 121.1 | 138.0 | 155.0 |
| PAT | 266.2 | 312.1 | 360.2 | 410.3 | 460.9 |

- PROJECTED BALANCE SHEET:

Below table shows the Projected Balance Sheet of the proposed Hotel project from the period FY 2024-25 to FY 2036-37. FY 2027 would be the implementation period of the project:

(INR Lakhs)

| Financial Year | FY 2025 | FY 2026 | FY 2027 | FY 2028 | FY 2029 | FY 2030 | FY 2031 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Months | Constr. | Constr. | 12 M | 12 M | 12 M | 12 M | 12 M |
| Equity | 100.0 | 100.0 | 100.0 | 100.0 | 100.0 | 100.0 | 100.0 |
| Reserve & Surplus | 0.0 | 0.0 | 34.6 | 103.7 | 208.9 | 351.5 | 533.2 |
| Secured Loan | 490.0 | 962.0 | 907.0 | 840.0 | 761.0 | 670.0 | 567.0 |
| Unsecured loan | 144.5 | 518.4 | 518.4 | 518.4 | 518.4 | 518.4 | 518.4 |
| Trade Payables | 0.0 | 0.0 | 39.2 | 42.3 | 45.6 | 49.2 | 53.1 |
| Term liabilities payable within one year | 0.0 | 28.0 | 55.0 | 67.0 | 79.0 | 91.0 | 103.0 |
| Total Equity & Liabilities | 734.5 | 1608.4 | 1654.1 | 1671.4 | 1712.9 | 1780.1 | 1874.6 |
| Land | 13.0 | 19.0 | 19.0 | 19.0 | 19.0 | 19.0 | 19.0 |
| Civil Works | 717.9 | 1163.6 | 1163.6 | 1163.6 | 1163.6 | 1163.6 | 1163.6 |
| Plant & Machinery | 1.0 | 44.5 | 44.5 | 44.5 | 44.5 | 44.5 | 44.5 |
| Furniture & Fixtures | 0.0 | 378.8 | 378.8 | 378.8 | 378.8 | 378.8 | 378.8 |
| Total Gross Block | 732.0 | 1605.9 | 1605.9 | 1605.9 | 1605.9 | 1605.9 | 1605.9 |
| Depreciation | 0.0 | 0.0 | 160.8 | 305.3 | 435.0 | 551.5 | 656.1 |
| Net Block | 732.0 | 1605.9 | 1445.0 | 1300.6 | 1170.9 | 1054.4 | 949.7 |
| Trade Receivables | 0.0 | 0.0 | 22.4 | 24.2 | 26.1 | 28.2 | 30.4 |
| Inventories | 0.0 | 0.0 | 13.4 | 14.5 | 15.7 | 16.9 | 18.3 |
| Cash & Bank | 0.0 | 0.0 | 171.3 | 330.6 | 499.2 | 680.1 | 876.2 |
| Current Assets | 0.0 | 0.0 | 207.1 | 369.3 | 541.0 | 725.2 | 924.9 |
| Preliminary Expenses W/off | 2.5 | 2.5 | 2.0 | 1.5 | 1.0 | 0.5 | 0.0 |
| Total Assets | 734.5 | 1608.4 | 1654.1 | 1671.4 | 1712.9 | 1780.1 | 1874.6 |

(Continued)

| Financial Year | FY 2032 | FY 2033 | FY 2034 | FY 2035 | FY 2036 | FY 2037 |
| --- | --- | --- | --- | --- | --- | --- |
| Particulars | 12 M | 12 M | 12 M | 12 M | 12 M | 12 M |
| Equity | 100.0 | 100.0 | 100.0 | 100.0 | 100.0 | 100.0 |
| Reserve & Surplus | 756.2 | 1022.4 | 1334.4 | 1694.6 | 2104.9 | 2565.9 |
| Secured Loan | 451.0 | 319.0 | 187.0 | 55.0 | 0.0 | 0.0 |
| Unsecured loan | 518.4 | 518.4 | 518.4 | 518.4 | 518.4 | 518.4 |
| Trade Payables | 57.3 | 61.9 | 66.8 | 72.1 | 77.8 | 84.0 |
| Term liabilities payable within one year | 116.0 | 132.0 | 132.0 | 132.0 | 55.0 | 0.0 |
| Total Equity & Liabilities | 1998.9 | 2153.6 | 2338.6 | 2572.1 | 2856.1 | 3268.3 |
| Land | 19.0 | 19.0 | 19.0 | 19.0 | 19.0 | 19.0 |
| Civil Works | 1163.6 | 1163.6 | 1163.6 | 1163.6 | 1163.6 | 1163.6 |
| Plant & Machinery | 44.5 | 44.5 | 44.5 | 44.5 | 44.5 | 44.5 |
| Furniture & Fixtures | 378.8 | 378.8 | 378.8 | 378.8 | 378.8 | 378.8 |
| Total Gross Block | 1605.9 | 1605.9 | 1605.9 | 1605.9 | 1605.9 | 1605.9 |
| Depreciation | 750.1 | 834.6 | 910.5 | 978.7 | 1040.1 | 1095.2 |
| Net Block | 855.7 | 771.2 | 695.3 | 627.1 | 565.8 | 510.7 |
| Trade Receivables | 32.9 | 35.5 | 38.4 | 41.4 | 44.7 | 48.3 |
| Inventories | 19.7 | 21.3 | 23.0 | 24.9 | 26.8 | 29.0 |
| Cash & Bank | 1090.6 | 1325.5 | 1581.9 | 1878.7 | 2218.7 | 2680.2 |
| Current Assets | 1143.2 | 1382.4 | 1643.3 | 1945.0 | 2290.3 | 2757.6 |
| Preliminary Expenses W/off | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Total Assets | 1998.9 | 2153.6 | 2338.6 | 2572.1 | 2856.1 | 3268.3 |

- PROJECTED CASH FLOW STATEMENT:

(INR Lakhs)

| Financial Year | FY 2025 | FY 2026 | FY 2027 | FY 2028 | FY 2029 | FY 2030 | FY 2031 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Particulars | Constr. | Constr. | 12 M | 12 M | 12 M | 12 M | 12 M |
| Net Profit | 0.0 | 0.0 | 34.6 | 69.2 | 105.2 | 142.6 | 181.7 |
| Increase in Equity / Share Capital | 100.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Increase in TL | 490.0 | 500.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Increase in Unsecured Loan | 144.5 | 373.9 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Depreciation | 0.0 | 0.0 | 160.8 | 144.4 | 129.7 | 116.5 | 104.7 |
| Preliminary Expenses w/off | 0.0 | 0.0 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 |
| Trade payables | 0.0 | 0.0 | 39.2 | 3.1 | 3.3 | 3.6 | 3.9 |
| TOTAL | 734.5 | 873.9 | 235.1 | 217.2 | 238.7 | 263.2 | 290.7 |
| Capital Expenses | 732.0 | 873.9 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Decrease in Term Loan | 0.0 | 0.0 | 28.0 | 55.0 | 67.0 | 79.0 | 91.0 |
| Decrease in Unsecured Loan | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Trade Receivable | 0.0 | 0.0 | 22.4 | 1.8 | 1.9 | 2.1 | 2.3 |
| Inventory | 0.0 | 0.0 | 13.4 | 1.1 | 1.2 | 1.3 | 1.4 |
| Preliminary Expense | 2.5 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| TOTAL | 734.5 | 873.9 | 63.8 | 57.9 | 70.1 | 82.3 | 94.6 |
| Opening Balance | 0.0 | 0.0 | 0.0 | 171.3 | 330.6 | 499.2 | 680.1 |
| Net Surplus/ Deficit | 0.0 | 0.0 | 171.3 | 159.3 | 168.6 | 180.9 | 196.1 |
| Cumulative Balance | 0.0 | 0.0 | 171.3 | 330.6 | 499.2 | 680.1 | 876.2 |

(Continued)

| Financial Year | FY 2032 | FY 2033 | FY 2034 | FY 2035 | FY 2036 | FY 2037 |
| --- | --- | --- | --- | --- | --- | --- |
| Particulars | 12 M | 12 M | 12 M | 12 M | 12 M | 12 M |
| Net Profit | 223.0 | 266.2 | 312.1 | 360.2 | 410.3 | 460.9 |
| Increase in Equity / Share Capital | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Increase in TL | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Increase in Unsecured Loan | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Depreciation | 94.0 | 84.5 | 75.9 | 68.2 | 61.3 | 55.1 |
| Preliminary Expenses w/off | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Trade payables | 4.2 | 4.5 | 4.9 | 5.3 | 5.7 | 6.2 |
| TOTAL | 321.3 | 355.2 | 392.9 | 433.7 | 477.3 | 522.2 |
| Capital Expenses | 0.0 | 0.0 | 400.0 | 0.0 | 0.0 | 0.0 |
| Decrease in Term Loan | 103.0 | 116.0 | 132.0 | 132.0 | 132.0 | 55.0 |
| Decrease in Unsecured Loan | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Trade Receivable | 2.4 | 2.6 | 2.8 | 3.1 | 3.3 | 3.6 |
| Inventory | 1.5 | 1.6 | 1.7 | 1.8 | 2.0 | 2.1 |
| Preliminary Expense | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| TOTAL | 106.9 | 120.2 | 136.5 | 136.9 | 137.3 | 60.7 |
| Opening Balance | 876.2 | 1090.6 | 1325.5 | 1581.9 | 1878.7 | 2218.7 |
| Net Surplus/ Deficit | 214.4 | 235.0 | 256.4 | 296.8 | 340.0 | 461.5 |
| Cumulative Balance | 1090.6 | 1325.5 | 1581.9 | 1878.7 | 2218.7 | 2680.2 |

- KEY FINANCIAL RATIO:

| YEAR | FY 2027 | FY 2028 | FY 2029 | FY 2030 | FY 2031 | FY 2032 | FY 2033 | FY 2034 | FY 2035 | FY 2036 | FY 2037 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| EBITDA Margin % | 37.7% | 37.8% | 37.8% | 37.9% | 37.9% | 38.0% | 38.0% | 38.0% | 38.1% | 38.1% | 38.1% |
| EBIT Margin % | 18.0% | 21.4% | 24.2% | 26.6% | 28.5% | 30.1% | 31.5% | 32.6% | 33.5% | 34.3% | 35.0% |
| PAT Margin % | 4.2 % | 7.8 % | 11.0% | 13.9% | 16.3% | 18.6% | 20.5% | 22.3% | 23.8% | 25.1% | 26.1% |
| Revenue Growth % |  | 8.0 % | 8.0 % | 8.0 % | 8.0 % | 8.0 % | 8.0 % | 8.0 % | 8.0 % | 8.0 % | 8.0 % |

- GRAPHICAL REPRESENTATION OF KEY RATIOS:

- ESTIMATED KEY FINANCIAL METRICS:

DEBT SERVICE COVERAGE RATIO (DSCR)

| Particular | FY 2027 | FY 2028 | FY 2029 | FY 2030 | FY 2031 | FY 2032 |
| --- | --- | --- | --- | --- | --- | --- |
| PAT (Profit After Tax) | 34.6 | 69.2 | 105.2 | 142.6 | 181.7 | 223.0 |
| Depreciation | 160.8 | 144.4 | 129.7 | 116.5 | 104.7 | 94.0 |
| Preliminary Expenses | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.0 |
| Interest on term loan | 100.6 | 95.9 | 89.7 | 82.2 | 73.5 | 63.5 |
| Subtotal | 296.5 | 310.0 | 325.1 | 341.8 | 360.3 | 380.6 |
| Interest on term loan | 100.6 | 95.9 | 89.7 | 82.2 | 73.5 | 63.5 |
| Loan Repayment | 28.0 | 55.0 | 67.0 | 79.0 | 91.0 | 103.0 |
| Subtotal | 128.6 | 150.9 | 156.7 | 161.2 | 164.5 | 166.5 |
| DSCR | 2.3 | 2.1 | 2.1 | 2.1 | 2.2 | 2.3 |

(Continued)

| Particular | FY 2033 | FY 2034 | FY 2035 | FY 2036 | FY 2037 |
| --- | --- | --- | --- | --- | --- |
| PAT (Profit After Tax) | 266.2 | 312.1 | 360.2 | 410.3 | 460.9 |
| Depreciation | 84.5 | 75.9 | 68.2 | 61.3 | 55.1 |
| Preliminary Expenses | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Interest on term loan | 52.4 | 39.5 | 25.9 | 12.4 | 1.2 |
| Subtotal | 403.0 | 427.5 | 454.3 | 484.0 | 517.2 |
| Interest on term loan | 52.4 | 39.5 | 25.9 | 12.4 | 1.2 |
| Loan Repayment | 116.0 | 132.0 | 132.0 | 132.0 | 55.0 |
| Subtotal | 168.4 | 171.5 | 157.9 | 144.4 | 56.2 |
| DSCR | 2.4 | 2.5 | 2.9 | 3.4 | 9.2 |
| Average D.S.C.R | 2.64 |  |  |  |  |
| Max. D.S.C.R | 9.21 |  |  |  |  |

- SENSITIVITY ANALYSIS OF D.S.C.R:

The proposed project is found comparatively more sensitive with respect to the revenue, variable cost and any surge in the interest rate. Sensitivity analysis of the project with respect to 10% decrease in the revenue, 10% increase in the variable cost and 2% increment in the proposed interest rate has been shown in the below table:

| Sensitivity Analysis of D.S.CR |  |  |  |
| --- | --- | --- | --- |
| S. No. | Particular | Average D.S.C.R | Max. D.S.C.R |
|  | If the projected revenue decreased by 10% | 2.37 | 8.20 |
|  | If the projected variable cost increased by 10% | 2.43 | 8.41 |
|  | If interest rate is increased by 2% | 2.47 | 9.16 |

- NPV,IRR AND PAYBACK PERIOD OF THE PROJECT:

(INR Lakhs)

| Free Cash Flow for the project |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Particulars | FY 2025 | FY 2026 | FY 2027 | FY 2028 | FY 2029 | FY 2030 | FY 2031 |
| Period (Months) | 0.0 | 0.0 | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 |
| EBIT | 0.0 | 0.0 | 146.8 | 188.4 | 230.2 | 272.7 | 316.3 |
| Less: Taxes | 0.0 | 0.0 | 11.6 | 23.3 | 35.4 | 48.0 | 61.1 |
| Add: Depreciation & Amortisation | 0.0 | 0.0 | 160.8 | 144.4 | 129.7 | 116.5 | 104.7 |
| NOPAT | 0.0 | 0.0 | 296.0 | 309.5 | 324.6 | 341.3 | 359.8 |
| +/- WCC | 0.0 | 0.0 | -3.4 | -0.2 | -0.2 | -0.3 | -0.3 |
| Capex | 732.0 | 873.9 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Free Cash Flow to Firm (FCFF) | -732.0 | -873.9 | 299.4 | 309.8 | 324.8 | 341.6 | 360.1 |
| Discount Period | 0.6 | 1.6 | 2.6 | 3.6 | 4.6 | 5.6 | 6.6 |
| Discount Factor | 0.93 | 0.82 | 0.72 | 0.63 | 0.55 | 0.49 | 0.43 |
| PV Of FCFF | (679.0) | (712.6) | 214.6 | 195.2 | 180.0 | 166.4 | 154.2 |
| TV | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| PV Of TV | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| PV(FCFF+TV) | -679.0 | -712.6 | 214.6 | 195.2 | 180.0 | 166.4 | 154.2 |

(Continued)

| Particulars | FY 2032 | FY 2033 | FY 2034 | FY 2035 | FY 2036 | FY 2037 |
| --- | --- | --- | --- | --- | --- | --- |
| Period (Months) | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 | 12.0 |
| EBIT | 361.6 | 408.1 | 456.5 | 507.3 | 560.7 | 617.1 |
| Less: Taxes | 75.0 | 89.5 | 105.0 | 121.1 | 138.0 | 155.0 |
| Add: Depreciation & Amortisation | 94.0 | 84.5 | 75.9 | 68.2 | 61.3 | 55.1 |
| NOPAT | 380.6 | 403.0 | 427.5 | 454.3 | 484.0 | 517.2 |
| +/- WCC | -0.3 | -0.3 | -0.4 | -0.4 | -0.4 | -0.5 |
| Capex | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Free Cash Flow to Firm (FCFF) | 380.9 | 403.4 | 427.8 | 454.7 | 484.4 | 517.7 |
| Discount Period | 7.6 | 8.6 | 9.6 | 10.6 | 11.6 | 12.6 |
| Discount Factor | 0.38 | 0.33 | 0.29 | 0.26 | 0.22 | 0.20 |
| PV Of FCFF | 143.4 | 133.5 | 124.5 | 116.3 | 108.9 | 102.3 |
| TV | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 5551.0 |
| PV Of TV | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 1097.3 |
| PV(FCFF+TV) | 143.4 | 133.5 | 124.5 | 116.3 | 108.9 | 1199.6 |

| Key Input for NPV & IRR |  |  |
| --- | --- | --- |
| S. No. | Key Input | Description |
|  | Market Risk Premium | 6.80% (Damodaran ERP India July 2024) |
|  | Company Specific Risk Premium | 2% |
|  | Discount Rate | 13.75% |
|  | Perpetual Growth Rate | 5.0% |
| NPV |  | INR 1,344.97 Lakhs |
| IRR |  | 24.62% |

| Payback Period of the Project |  |  |
| --- | --- | --- |
| Financial Year | Cash Accrual | Accumulated Cash Accrual |
| 2027 | 195.40 | 195.40 |
| 2028 | 213.59 | 408.99 |
| 2029 | 234.88 | 643.87 |
| 2030 | 259.09 | 902.97 |
| 2031 | 286.32 | 1189.29 |
| 2032 | 317.05 | 1506.34 |
| 2033 | 350.65 | 1856.98 |
| 2034 | 387.99 | 2244.98 |
| 2035 | 428.41 | 2673.39 |
| 2036 | 471.61 | 3145.00 |
| 2037 | 516.05 | 3661.05 |
| Total | 3661.05 |  |
| TPC | INR 1608.36 lakhs |  |
| Payback Period | 6.29 Years |  |

Thus, the project will be having a payback period of 6.29 years and NPV & IRR of the project as on COD will INR 1,344.97 Lakhs & 24.62% respectively, which indicates worthiness of the project.

- OTHER FINANCIAL RATIOS:

| Financial Year | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Return On Revenue (%) | 4% | 8% | 11% | 14% | 16% | 19% | 21% | 22% | 24% | 25% | 26% |
| Return On Capital (%) | 9% | 12% | 14% | 17% | 18% | 20% | 21% | 21% | 21% | 21% | 19% |
| Return On Investment | 3% | 7% | 12% | 19% | 27% | 40% | 64% | 109% | 232% | 410% | 461% |
| Return On Net Worth | 26% | 34% | 34% | 32% | 29% | 26% | 24% | 22% | 20% | 19% | 17% |
| Fixed Assets Coverage | 1.6 | 1.5 | 1.5 | 1.6 | 1.7 | 1.9 | 2.4 | 3.7 | 11.4 | - | - |
| Interest Coverage Ratio | 3.1 | 3.5 | 4.0 | 4.7 | 5.7 | 7.2 | 9.4 | 13.5 | 22.2 | 50.2 | 572.4 |
| Current Ratio | 2.2 | 3.4 | 4.3 | 5.2 | 5.9 | 6.6 | 7.1 | 8.3 | 9.5 | 17.2 | 32.8 |
| TOL / TNW | 1.5 | 1.3 | 1.1 | 0.8 | 0.6 | 0.5 | 0.3 | 0.2 | 0.1 | 0.0 | 0.0 |
| Debt - Equity Ratio | 9.6 | 9.1 | 8.4 | 7.6 | 6.7 | 5.7 | 4.5 | 3.2 | 1.9 | 0.6 | 0.0 |

- BREAK-EVEN ANALYSIS:

(INR lakhs)

| Financial Year | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Revenue | 816.9 | 882.3 | 952.9 | 1029.1 | 1111.4 | 1200.3 | 1296.4 | 1400.1 | 1512.1 | 1633.0 | 1763.7 |
| Variable Expenses | 277.2 | 299.4 | 323.3 | 349.2 | 377.1 | 407.3 | 439.9 | 475.1 | 513.1 | 554.1 | 598.4 |
| Contribution | 539.7 | 582.9 | 629.5 | 679.9 | 734.3 | 793.0 | 856.5 | 925.0 | 999.0 | 1078.9 | 1165.2 |
| Fixed Expenses | 493.0 | 490.0 | 488.5 | 488.9 | 491.0 | 495.0 | 500.8 | 508.0 | 517.7 | 530.6 | 549.3 |
| Profit / PBT | 46.7 | 92.9 | 141.0 | 191.0 | 243.3 | 298.0 | 355.7 | 417.0 | 481.3 | 548.3 | 616.0 |
| PV RATIO | 66.1% | 66.1% | 66.1% | 66.1% | 66.1% | 66.1% | 66.1% | 66.1% | 66.1% | 66.1% | 66.1% |
| BEP Revenue | 746.2 | 741.6 | 739.4 | 739.9 | 743.2 | 749.2 | 758.0 | 768.8 | 783.5 | 803.1 | 831.4 |
| BEP% | 91.3% | 84.1% | 77.6% | 71.9% | 66.9% | 62.4% | 58.5% | 54.9% | 51.8% | 49.2% | 47.1% |

- TERM LOAN INPUTS:

| Term Loan Repayment Inputs |  |
| --- | --- |
| Total loan amount | INR 990.00 lakhs |
| Rate of Interest | 10.25% |
| 1st Disbursement | Sep-24 |
| IDC Start & End Month | Sep-24 to Mar-26 |
| IDC Period (construction period) | 19 Months |
| Commencement /Operation Start | Apr-26 |
| Moratorium Start & End Month (only interest to pay) | Sep-24 to Aug-26 |
| Moratorium Period after COD | 5 Months |
| Repayment Start | Sep-26 |
| Repayment End | Aug-36 |
| Repayment Period | 120 Months |

| Financial Year (FY) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Op. Bal | 0.0 | 490.0 | 990.0 | 962.0 | 907.0 | 840.0 | 761.0 |
| Disbursement | 490.0 | 500.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Rep. | 0.0 | 0.0 | 28.0 | 55.0 | 67.0 | 79.0 | 91.0 |
| Closing balance | 490.0 | 990.0 | 962.0 | 907.0 | 840.0 | 761.0 | 670.0 |
| Interest | 17.9 | 88.9 | 100.6 | 95.9 | 89.7 | 82.2 | 73.5 |
| IDC | 17.9 | 88.9 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| TL Interest | 0.0 | 0.0 | 100.6 | 95.9 | 89.7 | 82.2 | 73.5 |

| Financial Year (FY) | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 |
| --- | --- | --- | --- | --- | --- | --- |
| Op. Bal | 670.0 | 567.0 | 451.0 | 319.0 | 187.0 | 55.0 |
| Disbursement | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| Rep. | 103.0 | 116.0 | 132.0 | 132.0 | 132.0 | 55.0 |
| Closing balance | 567.0 | 451.0 | 319.0 | 187.0 | 55.0 | 0.0 |
| Interest | 63.5 | 52.4 | 39.5 | 25.9 | 12.4 | 1.2 |
| IDC | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 |
| TL Interest | 63.5 | 52.4 | 39.5 | 25.9 | 12.4 | 1.2 |

- DEPRECIATION SCHEDULE (WRITTEN DOWN VALUE METHOD):

(INR lakhs)

| Depreciation Schedule |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Financial Year (FY) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 |
| Building | 1,179.4 | 1,061.5 | 955.3 | 859.8 | 773.8 | 696.4 | 626.8 | 564.1 | 507.7 | 456.9 | 411.2 |
| Depreciation -Building | 117.9 | 106.1 | 95.5 | 86.0 | 77.4 | 69.6 | 62.7 | 56.4 | 50.8 | 45.7 | 41.1 |
| Furniture & Fittings | 364.5 | 328.1 | 295.3 | 265.8 | 239.2 | 215.3 | 193.7 | 174.4 | 156.9 | 141.2 | 127.1 |
| Depreciation - Furniture & Fittings | 36.5 | 32.8 | 29.5 | 26.6 | 23.9 | 21.5 | 19.4 | 17.4 | 15.7 | 14.1 | 12.7 |
| Plant & Machinery | 42.9 | 36.5 | 31.0 | 26.3 | 22.4 | 19.0 | 16.2 | 13.7 | 11.7 | 9.9 | 8.4 |
| Depreciation - P&M | 6.4 | 5.5 | 4.6 | 4.0 | 3.4 | 2.9 | 2.4 | 2.1 | 1.8 | 1.5 | 1.3 |
| Total WDV Depreciation | 160.8 | 144.4 | 129.7 | 116.5 | 104.7 | 94.0 | 84.5 | 75.9 | 68.2 | 61.3 | 55.1 |

- WORKING CAPITAL REQUIREMENT:

(INR lakhs)

| Financial Year (FY) | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Net Working Capital | -3.4 | -0.2 | -0.2 | -0.3 | -0.3 | -0.3 | -0.3 | -0.4 | -0.4 | -0.4 | -0.5 |

- KEY ASSUMPTIONS & BASIS:

| S. No. | Item | Assumptions and Basis |
| --- | --- | --- |
|  | General | - The projections of the firm are done for the period from FY 2025 to FY 2037, ~13 years, to cover the term loan period as per the industry best practices. It is assumed that the unit will be achieving COD on 1st April 2026. - August 2024 to March 2026 would be implementation period of the project. - We have considered both Revenue & cost-based model (top to bottom approach) while making the future financial projections. |
|  | Revenue Build up & Pricing | - Total income for the financial years during the forecasted period will be generating from room revenue, food & beverages and banquets & multipurpose halls revenue. - Room Revenue: Hotel will have 42 rooms and Company has taken Average Room Rent (ARR) of INR 3000/- to INR 5000/- per room depending on room variant per day which is reasonable as compared to similar hotels in the same area. Some comparison details are as follows: Hotel Name; Standard Room Rent; Suite Rent. Wingston A Treehouse; INR 3,777 per day; INR 5099 per day. Nidhivan Sarovar Portico; INR 4,203 per day; INR 6,000 per day. Hoel Brijwasi Land Inn; INR 3,387 per day; INR 4,800 per day. Aryavilas; INR 2,861 per day; INR 6,000 per day. Considering the peak and non-peak season both, Company has considered only 50% occupancy of the rooms for calculation of revenue which seems reasonable considering the fact that number of tourists is increasing year on year. In 2022-2023, Mathura-Vrindavan hosted nearly 6 crore tourists, second only to Varanasi. As per this annual revenue will be INR 2.79 Cr (42 Rooms * INR 3000 to Rs. 5000 per day rent * 360 Days * 50% occupancy). - Food & Beverages: - Food and Beverages with Room Booking: Company will charge for Foods & Beverages related to Lunch and Dinner. Company has taken average amount of INR 1000 for each room booking. Therefore, Company has considered revenue of INR 0.76 Crs (42 Rooms * INR 1000 per day rent * 360 Days * 50% occupancy) through this activity during first financial year. - Restaurant: Hotel will also have a dedicated restaurant area with the capacity of more than 100 sitting at a time. However, Company has taken only 150 meals per day (including breakfast, lunch & dinner) and average cost per meal is INR 250 per person. Therefore, Company has considered revenue of INR 1.35 Cr (150 Meals*INR 250 per meal * 360 Days) during first financial year. - Bar & Disco: Company is also proposed Bar & Disco in the Hotel with the gathering capacity of around 100 peoples. Company has conservatively considered 50 person per days with the average earing of INR 900 per person. therefore, it is estimated that company will earn INR 1.40 Cr from Bar & Disco during FY 2026-27. - Banquet & Multipurpose Hall Revenue: - Banquet: Hotel will have 1 indoor Banquet. Total capacity of the indoor Banquets will be about 300 people. Company has considered that Banquet remains occupied for average 04 days in a month after considering peak & non-peak season for entire year, with the average gathering of 200 peoples. Therefore, total gathering per month will be about 800 peoples. Company has taken amount of per plate as INR 1200, which is reasonable. Therefore, through Banquet booking, Company has estimated annual sale of INR 1.15 Cr (INR 1200 per plate* 800 person per month * 12months) during first financial year. - Multi Purpose Hall: There will be 3 multi purpose Halls in the Hotel with the average gathering capacity of 200 people. Company has considered only 12 parties every month averagely after considering peak & non-peak season for entire year i.e. 04 parties per hall, which is also justifiable in view of Marriage season, Birthday Parties, Official Parties & Conclaves and other regular parties with the average gathering of 100 peoples per party. Company has taken amount per plate as INR 500 with average party size of 100 persons for Hall. Therefore, it is estimated that through multi purpose Halls, Company will revenue of INR 0.72 Cr during first financial year (INR 500 per plate * 1200 persons * 12 parties per month). - Thus, the company is generating INR 8.17 Crores in the initial year. Further it has increased up to INR 17.64 Crores till FY 2036-35. - Company has estimated 8% growth in revenue from FY2027 to FY2035 to account for increase in occupancy rates and average price per room & other services which is reasonable considering the growth rate of industry and expected increase in average room rent. - Therefore, the company is achieving a revenue growth rate Y-o-Y basis, which is also in the line with industrial & economic trends and on conservative side. |
|  | Capital Expenditure | - Cost of land has been estimated by the Management at INR 0.19 Cr which represent lease rental paid from date of commencement of lease till date of commencement of commercial operations. - Cost of Building & Civil Works including lifts, interior work and furniture & fixtures has been estimated by the Management at INR 14.65 Cr on the basis of detailed project report prepared by M/s Pratap EPC Services Private Limited in 2023. - Cost of Kitchen Equipment & Utensils has been estimated by the Management at INR 0.14 Cr based on the expected requirement for a three-star category hotel. - Cost of computer has been estimated by the Management at INR 0.01 Cr. - Estimated cost of Pre-Operative Expenses has been estimated at INR 0.03 crores, based on the time period of construction and estimate of company’s resources involvement during this time in supervision & monitoring of the construction and other regulatory expenses. - Thus, as per the overall analysis of the proposed project “THE AIRAN PARADISE”, the estimated total project cost of the proposed 3 star segment hotel is INR 14.99 Crores, which comes out as INR 0.36 Crore per key as per the proposed plan, which seems to be in the line with the Indian Hospitality industry trends and benchmark prevailing in the market at present. As per the Hotel Development Cost Survey 2023, India done by Hotelivate, Budget/economy hotels necessitate an investment of INR 0.37 Cr. per key - The estimation/vetting of Total Project Cost or its component is out of scope of this TEV report, and we have relied upon the data/information provided by the client in this regard as quotations and other estimates has been shared by the client. However, as a TEV consultant, we have verified the cost of major building & civil works independently which we found in the permissible range although the cost may change as per brand & specifications. |
|  | Expenses | - Major expenses include cost of food & beverages, power, employee benefit expenses, lease Rental, repair & maintenance etc. - Variable expenses have been considered as a % of revenue and are growing with the company’s revenue as it is growing Y-o-Y basis, which is also in the line with industrial & economic trends and on conservative side. - As per our tertiary research and limited data available in public domain, cost of food & beverages, electricity, salary & wages & selling expenses have been considered at 20%, 10%, 19% & 8% of revenue respectively. - Lease expenses have been considered at INR 0.06 crores for the forecast period which is as per the agreement. - Repair & maintenance expense has been estimated at INR 0.32 crores in the base year. - Misc expenses have been estimated at INR 0.05 crores in the base year. - A 8% escalation rate has been considered during the forecasted period, on the repair and maintenance and misc expenses. - Company is expected to have a similar EBITDA as compared to industry trends and peer’s scales. |
|  | Partial Loan | - The project is proposed to be funded through a term loan of INR 9.90 crore, promoter’s equity of INR 1.00 crore and unsecured loan of INR 5.18 crores. - The tenure of the loan will be 12 years from September 2024 to August 2036. First disbursement shall be in September 2024 and the next 24 months will be considered as moratorium period. As per discussion with bank, Interest rate has been considered as 10.25% p.a. |

Key Findings:

      - Average DSCR, EBIDTA margin, EBIT margin is 2.64, 37.9%, and 28.7% respectively during the estimated period.

      - The company is having a positive NPV and IRR as on COD, of INR 1,344.97 lakhs and 24.62% respectively at the base cases while it may vary with changes in the assumptions & micro and macro-economic trends considered as on date.

      - The proposed project is having a payback period of 6.29 years.

      - Based on the above key financial ratios of the proposed Project during the forecasted period shows that the project appears financially viable if the promoters of the project are able to maintain assumed capacity utilization, revenue and can contain cost as assumed above in the calculation.

| PART M | CONCLUSION |
| --- | --- |

Based on the technological, economic and market analysis done above, various assumptions of sectoral trends taken, product pricing to be adopted by the company, the Project appears to be Techno-commercially viable subject to the risks, threats, weaknesses, limitations of the product as detailed previously.

As per financial projections for the estimated period, Average DSCR, EBITDA Margin and EBIT Margin of the project are 2.64, 37.9%, and 28.7% respectively, where higher DSCR is the indicator of the project capability to pay out its outstanding debt and EBITDA margin shows the capability of the project to generate the operating profits over the forecasted period. Also, the project is having the payback period of 6.29 Years in the line with sectoral trends.

The proposed Hotel is having a positive NPV and IRR as INR 1,344.97 lakhs and 24.62% respectively as the industry is expectedly growing at a CAGR of 4.73% during the forecasted period. While it is not avoidable that the future projections may change in the upcoming years due to various factors impacting the operation, managerial, financial efficiency and economies of scale of the project.

While it would be depending on the management’s capability in future that how efficiently company adopts marketing and advertisement strategy, supply chain and carry out inventory & resource management to achieve higher profitability. After considering the foreseen demand of the  bioavailability and bioequivalence studies domestically and globally, various initiatives taken by the government, financial analysis of the project based on the assumptions taken over the projected period, it appears reasonable to comment that the proposed project is “Technically and Economically” Viable subject to current assumptions considered and occurring the same in the upcoming years same as the forecasted period which is dependent on the sincerity and efforts of the management and various micro and macroeconomic & industry situation.

We have tried our level best to analyse the Project techno-economic feasibility of the Project based on the Industry research, Project information and various futuristic assumption taken within the limitations and challenges came in front of us. However, achieving the financial milestones depends on the ability, sincerity and efforts of the company, promoters and its key management to maintain the projected revenue level Y-o-Y basis.

| Declaration | - The undersigned does not have any direct/indirect interest in the above property/project/Company. - The information furnished herein is true and correct to the best of our knowledge, logical and scientific assumptions. - This TEV Report is carried out by our Financial Analyst team on the request from SBI SME Branch, Industrial Estate, Mathura - 281001. - Meeting of Financial projections will be subject to the market & economy stability factors, judicious business operations and proper & timely implementation of the project and putting proper plan for achieving high productivity, efficiency and achieving cost saving benefits to increase profitability. - We have submitted TEV report to the SBI SME Branch, Industrial Estate, Mathura. |
| --- | --- |
| Number of Pages in the Report | 67 |
| Enclosed Documents | Disclaimer & Remarks 58-61 |
| Place | Noida |
| Date | 04th September 2024 |

| FOR ON BEHALF OF M/S. R.K. ASSOCIATES VALUER & TECHNO ENGINEERING CONSULTANTS PVT. LTD. |  |  |
| --- | --- | --- |
| SURVEYED BY | PREPARED BY | REVIEWED BY |
| Mr. Nischay Gautam | Mr. Aneesh Mallick | Mr. Gaurav Kumar |

| PART N | DISCLAIMER ¦ REMARKS |
| --- | --- |

      - No employee or member of R.K Associates has any direct/ indirect interest in the Project.

      - This report is prepared based on the copies of the documents/ information which the Bank/ Company has provided to us out of the standard checklist of documents sought from them and further based on our assumptions and limiting conditions. The client/owner and its management/representatives warranted to us that the information they supplied was complete, accurate and true and correct to the best of their knowledge. All such information provided to us has been relied upon in good faith and we have assumed that it is true and correct in all respect. I/We shall not be liable for any loss, damages, cost or expenses arising from fraudulent acts, misrepresentations, or wilful default on part of the owner, company, its directors, employee, representative or agents. Verification or cross checking of the documents provided to us from the originals or from any Govt. departments/ Record of Registrar has not been done at our end since this is beyond the scope of our work. If at any time in future, it is found or came to our knowledge that misrepresentation of facts or incomplete or distorted information has been provided to us then this report shall automatically become null & void.

      - Legal aspects for e.g. investigation of title, ownership rights, lien, charge, mortgage, lease, sanctioned maps, verification of documents, etc. have not been done at our end and same has to be taken care by legal expert/ Advocate. It is assumed that the concerned Lender/ Financial Institution has satisfied them with the authenticity of the documents, information given to us and for which the legal verification has been already taken and cleared by the competent Advocate before requesting for this report. I/ We assume no responsibility for the legal matters including, but not limited to, legal or title concerns.

      - This report is a general analysis of the project based on the scope mentioned in the report. This is not an Audit report, Design document, DPR or Techno feasibility study. All the information gathered is based on the facts seen on the site during survey, verbal discussion & documentary evidence provided by the client and is believed that information given by the company is true best of their knowledge.

      - This Techno Economic-Viability study is prepared based on certain futuristic assumption which are intra dependent on economic, market and sectorial growth condition in future and socio-economic, socio-political condition at macro and micro level.

      - Meeting of assumption and financial ratio will entirely depend on the sincerity and efforts of the company, promoters and its key managerial performance.

      - All observations mentioned in the report is only based on the visual observation and the documents/ data/ information provided by the client. No mechanical/ technical tests, measurements or any design review have been performed or carried out from our side during Project assessment.

      - This report has been diligently prepared by our techno-financial team to the best of their ability. However, it's important to note that the recommendations provided in this Total Economic Viability (TEV) assessment do not imply an endorsement, validation, or certification of the accuracy or completeness of the disclosed information by the involved stakeholders. Furthermore, we do not claim or endorse that the opinions presented herein are the sole best course of action for decision-makers to follow. There may exist additional approaches and inputs that have not been covered within this report or fall outside the scope of this report.

      - Bank/FII should ONLY take this report as an Advisory document from the Financial/ Chartered Engineering firm and its specifically advised to the creditor to cross verifies the original documents for the facts mentioned in the report which can be availed from the borrowing company directly.

      - In case of any default in loans or the credit facility extended to the borrowing company, R.K Associates shall not be held responsible for whatsoever reason may be and any request for seeking any explanation from the employee/s of R.K Associates will not be entertained at any instance or situation.

      - The documents, information, data provided to us during the course of this assessment by the client are reviewed only up to the extent required in relation to the scope of the work. No document has been reviewed beyond the scope of the work.

      - This report only contains general assessment & opinion as per the scope of work evaluated as per the information given in the copy of documents, information, data provided to us and/ and confirmed by the owner/ owner representative to us at site which has been relied upon in good faith. It doesn’t contain any other recommendations of any sort including but not limited to express of any opinion on the suitability or otherwise of entering into any transaction with the borrower.

      - We have relied on data from third party, external sources & information available on public domain also to conclude this report. These sources are believed to be reliable and therefore, we assume no liability for the truth or accuracy of any data, opinions or estimates furnished by others that have been used in this analysis. Where we have relied on data, opinions or estimates from external sources, reasonable care has been taken to ensure that such data has been correctly extracted from those sources and /or reproduced in its proper form and context, however still we can’t vouch its authenticity, correctness or accuracy.

      - This Report is prepared by our competent technical team which includes Engineers and financial experts & analysts.

      - This is just an opinion report and doesn’t hold any binding on anyone. It is requested from the concerned Financial Institution which is using this report for taking financial decision on the project that they should consider all the different associated relevant & related factors also before taking any business decision based on the content of this report.

      - All Pages of the report including annexure are signed and stamped from our office. In case any paper in the report is without stamp & signature then this should not be considered a valid paper issued from this office.

      - Though adequate care has been taken while preparing this report as per its scope, but still we can’t rule out typing, human errors, over sightedness of any information or any other mistakes. Therefore, the concerned organization is advised to satisfy themselves that the report is complete & satisfactory in all respect. Intimation regarding any discrepancy shall be brought into our notice immediately. If no intimation is received within 15 (Fifteen) days in writing from the date of issuance of the report, to rectify these timely, then it shall be considered that the report is complete in all respect and has been accepted by the client up to their satisfaction & use and further to which R.K Associates shall not be held responsible in any manner.

      - Defect Liability Period is 15 DAYS. We request the concerned authorized reader of this report to check the contents, data and calculations in the report within this period and intimate us in writing if any corrections are required or in case of any other concern with the contents or opinion mentioned in the report. Corrections only related to typographical, calculation, spelling mistakes, incorrect data/ figures/ statement will be entertained within the defect liability period. Any new changes for any additional information in already approved report will be regarded as additional work for which additional fees may be charged. No request for any illegitimate change in regard to any facts & figures will be entertained.

      - R.K Associates encourages its customers to give feedback or inform concerns over its services through proper channel at valuers@rkassociates.org in writing within 15 days of report delivery. After this period no concern/ complaint/ proceedings in connection with the Techno- Economic Viability Study Services will be entertained due to possible change in situation and condition of the subject Project.

      - Our Data retention policy is of ONE YEAR. After this period, we remove all the concerned records related to the assignment from our repository. No clarification or query can be answered after this period due to unavailability of the data.

      - This Techno Economic Viability Study report is governed by our (1) Internal Policies, Processes & Standard Operating Procedures, (2) Information/ Data/ Inputs given to us by the client and (3) Information/ Data/ Facts given to us by our field/ office technical team. Management of R.K Associates never gives acceptance to any unethical or unprofessional practice which may affect fair, correct & impartial assessment and which is against any prevailing law. In case of any indication of any negligence, default, incorrect, misleading, misrepresentation or distortion of facts in the report then it is the responsibility of the user of this report to immediately or at least within the defect liability period bring all such act into notice of R.K Associates management so that corrective measures can be taken instantly.

      - R.K Associates never releases any report doing alterations or modifications from pen. In case any information/ figure of this report is found altered with pen then this report will automatically become null & void.

      - If this report is prepared for the matter under litigation in any Indian court, no official or employee of R.K Associates will be under any obligation to give in person appearance in the court as a testimony. For any explanation or clarification, only written reply can be submitted on payment of charges by the plaintiff or respondent which will be 10% of the original fees charged where minimum charges will be Rs. 15,000/.

EXTRACTS OF IMPORTANT STATUTORY APPROVALS PROVIDED BY THE CLIENT