## EXIM
|  | TOTAL | 84 | 61599817.4118
Section | Finalized Source | ITEM DESCRIPTION | QTY | Value
Shock & Vibration | Spectral Dynamics | Shock & Vibration | 1 | 24472039
HALT & HASS | JOST Engg | HALT & HASS | 1 | 15576000
Rain Chamber | C K INSTO | Rain Test Equipments | 1 | 2871036
SAFETY | Onsys Technologies | Programmable - AC source+F6+F5:F68+F6+F5:F68+F+F5:F68 | 1 | 2360000
Rain Chamber Room | CHANDI CREATIVES | Vibration Room construction | 1 | 1918080
SAFETY | Rohde & Schwarz India Pvt.Ltd | Oscilloscope -6 GHz | 1 | 1121054.937
SAFETY | AARJAY INTERNATIONAL | Programmable - AC source ( CVCF) 5 KVA | 1 | 1109200.4
SAFETY | CONVERGENT | Digital Storage Oscilloscope..500MHz | 1 | 998480
SAFETY | AARJAY INTERNATIONAL | DC Power Supply ( Reversible ) | 1 | 944000
SAFETY | Keith Electronics | Safety Analyzer | 1 | 699740
SAFETY | TEKIKNOW | Ferrite tile | 1 | 678500
SAFETY | AVM INSUSTRIES | HFG | 1 | 584100.4
SAFETY | COMPLUS | Calibration Adapters for EFT. | 1 | 554600
SAFETY | SCR | Surge generator | 1 | 505040
Rain Chamber | APS CRANE | EOT Crane | 1 | 490500
SAFETY | SCR | Impulse generator | 1 | 466100
SAFETY | SCR | Impulse generator | 1 | 436600
HALT & HASS | INDUS VACUUM AND CRYOJENIC | LN2 Pipe line | 1 | 416319
Flooring & Misc | Raghuveer Enterprises | Partiotion Work | 1 | 397434
SAFETY | AARJAY INTERNATIONAL | LCR METER- LAB | 1 | 371700
SAFETY | AARJAY INTERNATIONAL | Data Logger - Multichannel | 1 | 365800
DROP | C K INSTO | DROP Test | 1 | 353115
SAFETY | AARJAY INTERNATIONAL | Digital Power Meter- 3P | 1 | 348100
SAFETY | C K INSTO | Comparative Tracking Index Test | 1 | 313285.28
SAFETY | CONET | CDN M5 for CS TEST | 1 | 233750
SAFETY | C K INSTO | Glow Wire Tester | 1 | 223775.2
SAFETY | C K INSTO | Cord Anchorage Test | 1 | 206992.06
Rain Chamber | BHAKTHI ENTERPRISES | Tile work | 1 | 200536
SAFETY | C K INSTO | Inclined Plane (Stability) | 1 | 167560
SAFETY | C K INSTO | Pendulum Impact Test Apparatus(Ground Mount) | 1 | 165592.94
SAFETY | ANALITICAL ELECTRONIC SERVICES | Differential PROBE | 1 | 163784
SAFETY | C K INSTO | Abrasion resistance test | 1 | 156642.64
SAFETY | AVM INSUSTRIES | Differential PROBE DP-16K | 1 | 144550
SAFETY | C K INSTO | Spring Hammer | 1 | 140981.68
SAFETY | CONVERGENT | TRUE RMS Multimeter 6-1/2 Digital Bench | 1 | 138060
SAFETY | TEKLAB | DC electronic load | 2 | 135782.6
SAFETY | C K INSTO | Needle Flame | 1 | 123076.36
SAFETY | C K INSTO | Black test corner | 1 | 106293.22
SAFETY | TEKLAB | DC electronic load | 1 | 82408.25
SAFETY | JK Powertronix | Resistive load 30 KVA | 1 | 81000
SAFETY | T.SAIFUDDIN & CO | DIAL HEIGHT GAUGE | 1 | 80809.232
SAFETY | C K INSTO | Dead Weights set | 1 | 66080
SAFETY | SAPHIRE | CLAMP METER | 1 | 53993.614
SAFETY | SAPHIRE | Digital Multi Meter | 3 | 31914.87
SAFETY | SAPHIRE | Digital Tachometer | 1 | 26186.56
SAFETY | T.SAIFUDDIN & CO | Digital dial - indicator -4 | 1 | 26012.3448
SAFETY | T.SAIFUDDIN & CO | Digital dial - indicator -3 | 1 | 25094.7178
SAFETY | C K INSTO | Articulated Test Finger | 1 | 24614.8
SAFETY | C K INSTO | Wedge Probe UL 60950 | 1 | 24614.8
SAFETY | T.SAIFUDDIN & CO | Digimatic Vernier caliper | 1 | 24063.858
SAFETY | C K INSTO | Sharp edge Test Corner | 1 | 22936.84
SAFETY | T.SAIFUDDIN & CO | Digital dial - indicator - 2 | 1 | 21549.7736
SAFETY | JK Powertronix | Resistive load 5 KVA | 1 | 21000
SAFETY | C K INSTO | Digital Push-Pull Gauge | 1 | 20705.46
SAFETY | T.SAIFUDDIN & CO | Digital dial - indicator -1 | 1 | 20011.5846
SAFETY | C K INSTO | Socket Gauge/Plug Gauge | 1 | 16783.14
SAFETY | C K INSTO | IP 2X Probe (Jointed Test Finger) (Test Probe B) | 1 | 15104
SAFETY | C K INSTO | TEST PROBE 18 | 1 | 15104
SAFETY | C K INSTO | TEST PROBE 19 | 1 | 15104
SAFETY | C K INSTO | Test Finger Nail Probe | 1 | 15104
SAFETY | C K INSTO | Low Voltage Panel | 1 | 14750
SAFETY | SAPHIRE | CLAMP METER | 1 | 12318.02
SAFETY | C K INSTO | TEST PROBE 31 (Ground Probe) | 1 | 11748.08
SAFETY | C K INSTO | 75mm test probe | 1 | 11746.9
SAFETY | C K INSTO | Antenna Coaxial socket test piug | 1 | 11210
SAFETY | SAPHIRE | SOUND LEVEL METER | 1 | 10896.71
SAFETY | C K INSTO | TEST PROBE 43 | 1 | 10070.12
SAFETY | JK Powertronix | Resistive load 2.5 KVA | 1 | 9750
SAFETY | C K INSTO | Rigid Test Sphere Probe (IP1X Probe) | 1 | 8950.3
SAFETY | C K INSTO | IP 3X Probe | 1 | 8950.3
SAFETY | C K INSTO | IP 4X Probe | 1 | 8950.3
SAFETY | C K INSTO | Test Probe 11 | 1 | 8950.3
SAFETY | C K INSTO | TEST PROBE 32, Dia. 25 mm (AUTO 32) | 1 | 8950.3
SAFETY | C K INSTO | TEST PROBE 41 ( TEST THORN PROBE ) | 1 | 8950.3
SAFETY | C K INSTO | UL 507 PA160B Test Probe | 1 | 8950.3
SAFETY | C K INSTO | Digital protector | 1 | 7274.7
SAFETY | C K INSTO | RIGID SPHERE DIA. 12.5 | 1 | 6713.02
SAFETY | C K INSTO | LONG TEST PIN DIA (TEST PROBE 12) | 1 | 6713.02
SAFETY | C K INSTO | TEST PROBE 13 | 1 | 6713.02
SAFETY | C K INSTO | GAUGE FOR CHECKING NON-ACCESSIBILITY OF LIVE PARTS (TEST PROBE 14) | 1 | 6713.02
SAFETY | C K INSTO | TEST PROBE 17 | 1 | 6713.02
SAFETY | C K INSTO | Ball Pressure Test | 1 | 6490
SAFETY | C K INSTO | TEST SPHERE ( STEEL SPHERE) | 1 | 4474.56
SAFETY | C K INSTO | TEST SPHERE DIA. 50, 0.51 kg (With Hook) | 1 | 4474.56

## Compatibility Report
Compatibility Report for Equipment purchased through EXIM Loan.xls
Run on 06-11-2024 6.25
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when opening this workbook in an earlier version of Excel or if you save this workbook in an earlier file format.
Minor loss of fidelity | # of occurrences | Version
Some cells or styles in this workbook contain formatting that is not supported by the selected file format. These formats will be converted to the closest format available. | 16 | Excel 97-2003