File No.: VIS (2024-25)-PL586-Q055-524-772		       	                      Dated: 20.01.2025

TECHNO-ECONOMIC VIABILITY

STUDY REPORT

OF

M/S CRPL INFRA PRIVATE LIMITED

(COLD STORES AT PUNE, AHAMDABAD & NOIDA)

SETUP BY

M/S CRPL INFRA PRIVATE LIMITED

REPORT PREPARED FOR

M/S CRPL INFRA PRIVATE LIMITED

121, CHITTARANJAN AVENUE, GROUND FLOOR, KOLKATA, WEST BENGAL, INDIA, 700073

**Important - In case of any query/ issue or escalation you may please contact Incident Manager Valuers@rkassociates.org. We will appreciate your feedback in order to improve our services.

NOTE: As per IBA Guidelines please provide your feedback on the report within 15 days of its submission after which report will be considered to be correct.

IMPORTANT NOTICE

COPYRIGHT FORMAT: This report is prepared on the copyright format of R. K. Associates Valuers & Techno Engineering Consultants (P) Ltd. (R. K. Associates) to serve our clients with the best possible information and analysis to facilitate them to take rational business decisions. Legally no one can copy or distribute this format without prior approval from R. K. Associates. It is meant only for the advisory/ reference purpose for the organization/s as mentioned on the cover page of this report. Distribution or use of this format or report or any of its content/ information/ data by any organization or individual other than R.K Associates will be seen as an unlawful act and necessary legal action can be taken against the defaulters.

This report is intended for the sole use of the intended recipient/s and contains material that is STRICTLY CONFIDENTIAL AND PRIVATE.

DEFECT LIABILITY PERIOD: In case of any query/ issue or escalation you may please contact Incident Manager at valuers@rkassociates.org. Though adequate care has been taken while preparing this report as per its scope, but still we can’t rule out typing, human errors, over sightedness of any information or any other mistakes. Therefore, the concerned organization is advised to satisfy themselves that the report is complete & satisfactory in all respect. Intimation regarding any discrepancy shall be brought into our notice immediately. If no intimation is received within 15 (Fifteen) days in writing from the date of issuance of the report, to rectify these timely, then it will be considered that the report is complete in all respect and has been accepted by the client up to their satisfaction & use and further to which R.K Associates shall not be held responsible in any manner.

Part O: R. K. Associates Important Disclaimer and Remarks are integral part of this report and Feasibility assessment is subject to this section. Reader of the report is advised to read all the points mentioned in these sections carefully.

| TABLE OF CONTENTS |  |  |
| --- | --- | --- |
| SECTIONS | PARTICULARS | PAGE NO. |
| Part A | Report Summary | 4 |
| Part B | INTRODUCTION |  |
|  | - About the Report | 6 |
|  | - Executive summary | 6 |
|  | - Purpose of the Report | 11 |
|  | - Scope of the Report | 11 |
|  | - Methodology/ Model Adopted | 12 |
|  | - Data Information received from | 12 |
|  | - Documents/ Data Referred | 12 |
| Part C | Company Profile |  |
|  | - Company Overview | 13 |
|  | - Proposed Shareholding Pattern | 14 |
|  | - Promoters/Directors Profile | 15 |
| Part D | Proposed Unit’s Infrastructure Details |  |
|  | - Proposed Plant Location | 22 |
|  | - Google Map Location | 22 |
|  | - Schematic Layout Plan | 24 |
|  | - Land Details | 24 |
|  | - Site pictures | 27 |
|  | - Building & Civil Works | 29 |
|  | - Plant and Machinery/ Equipment details | 29 |
|  | - Utilities | 31 |
| Part E | Project Technical details |  |
|  | - Capacity of Proposed Hybrid Power Plant | 32 |
|  | - Project Implementation | 32 |
|  | - Commercial Agreement Details | 32 |
|  | - EPC Details | 36 |
|  | - Technical Specification of proposed Power Plant | 41 |
|  | - Technological Assessment | 52 |
|  | - Manpower | 52 |
| Part F | Industry Overview & Analysis | 53 |
| Part G | SWOT Analysis | 61 |
| Part H | Project Cost and Means of Finance | 64 |
| Part I | Project Implementation Schedule | 67 |
| Part J | Statutory Approvals ¦ Licences ¦ NOC | 69 |
| Part K | Company’s Financial Feasibility | 71 |
| Part L | Conclusion | 97 |
| Part M | Disclaimer ¦ Remarks | 99 |

| PART A | REPORT SUMMARY |
| --- | --- |

| S. No. | PARTICULAR | DESCRIPTION |
| --- | --- | --- |
|  | Name of the Company: | M/s CRPL Infra Private Limited |
|  | Registered Address: | 121, Chittaranjan Avenue, Ground Floor, Kolkata, West Bengal, India, 700073 |
|  | Project Name | Cold Storage/Warehouse solution on Built-to-suit (BTS) mode |
|  | Project Location: | Noida, Pune, Ahmadabad (Kheda), Ahmadabad (Detroj) |
|  | Project Type: | Cold Storage/Warehouse solution on Built-to-suit (BTS) mode |
|  | Project Industry: | Cold Storage/Warehouse |
|  | Product Type / Deliverables: | Cold Storage/Warehouse solution on Built-to-suit (BTS) mode |
|  | Report Prepared for Organization: | M/s. CRPL Infra Private Limited |
|  | TEV Consultant Firm: | M/s. R.K Associates Valuers & Techno Engineering Consultants (P) Ltd. |
|  | Report type: | Techno-Economic Viability Report |
|  | Purpose of the Report: | To assess Technical & Economic Viability for the purpose of seeking external financial assistance to setup 4 new Cold Storage/Warehouse at different locations in India. |
|  | Scope of the Report: | To assess, evaluate & comment on Technical, Economical & Commercial Viability of the Project as per data information provided by the client, independent Industry research and data/ information available on public domain. |
|  | Date of Report: | 20th January 2025 |
|  | Documents referred for the Project: | - PROJECT INITIATION DOCUMENTS: - Information Memorandum - Financial Projections of the Project - Project proposed Schedule - Statutory Approval Details - Layout and Master Plan - PROCUREMENT DOCUMENTS: - LOI with property owners - Commercial Agreement with e-commerce companies - List of Plant & Machinery along with acquisition costs & supplier for the same - Sanction/proposed map of the sites - Lease/Sale deeds of the Land - STATUTORY APPROVALS, LICENCES & NOCs - Certificate of Incorporation - MSME UDYAM Registration Certificate - Fire NOC - NOC/Application for Ground water |
|  | Means of Finance: | Equity & Debt (D/E Ratio 2.97 Combined) |
|  | Key Financial Indicators (Combined): | Key Indicators; Value. Average DSCR; 1.51. Average EBITDA Margin; 42.33%. Avg. PAT Margin; 18.79%. NPV & IRR; INR 49.69 Cr. & 22.80%. Payback Period; 6.55 years. |

Note: Above financial indicators are based on the financial projections of the proposed project provided by the firm and assessment and analysis of the same done by us.

| PART B | INTRODUCTION |
| --- | --- |

- ABOUT THE REPORT:

This is a Techno-Economic Viability Study Report of the proposed Cold Storage/Warehouse projects at Noida, Pune, Ahmadabad (Kheda) & Ahmadabad (Detroj) set up CRPL Infra Private limited.

- EXECUTIVE SUMMARY:

This executive summary outlines the development of multiple Cold Storage/Warehouse solution on Built-to-suit (BTS) model to players like Zepto, Blinkit, Swiggy Instamart, BB, Falcon etc. by M/s CRPL Infra Private Limited (CRPL).

M/s. CRPL Infra Private Limited (CRPL), a Crystal Group company, was incorporated on 12th October 1998 by Shri Murali Lal Agarwal with strategy to venture into cold chain logistics. The Company was incorporated in the name of Crystal Roadways Pvt Ltd, which was later renamed to CRPL Infra Pvt Ltd in October 2017.The Company provides complete logistics services (primary logistics, warehousing, and secondary logistics) to its customers.

Its parent, Crystal Logistic (Cool Chain) Ltd (CLCCL), provides inland logistics or transportation solutions across India and is the major shareholder of the company with 99.99% shareholding in CRPL. CLCCL is predominantly into cold chain logistics, while as a subsidiary, CRPL’s focus is on cold storage warehousing. The overall affairs of the Company are being managed by Mr. Rajesh Agarwal, Mr. Naresh Agarwal and Mr. Akash Agarwal as a director and promoter of the company.

As per the data/information provided by client, Company has existing warehouse facilities of ~12,000 Pallet capacity at Sudharas Food Park, Sankrail, Howrah and ~6,000 Pallet Capacity at Seafood Park in Bhubaneshwar, Odisha. The company has addition ~2,000 Pallet Capacity O&M facility at Seafood Park in Bhubaneshwar, Odisha.  The company also has an ice factory in Bhubaneswar.

The green field cold storage facility at Howrah was commissioned in 2015 with capacity of 3000 pallet. The capacity was later increased to 6000 pallets in 2017. The facility became fully Operational with 12,000 Pallet capacity in FY 2020. The warehouse facility in Bhubaneshwar became partially operational in March 2022 and remaining in October 2022. The O&M facility in Bhubaneshwar became operational in FY 2022.

| Total Facilities | Total Capacity | Number of Customer | Number of Fleet |
| --- | --- | --- | --- |
| 3 Strategically Located Warehouses | ~ 20,000 Pallet ~ 600+ No. of TEU | 100 plus Key clients across sector | ~ 50 plus Reefer trucks |

Source: Data/information provided by the client.

As per the audited financials shared by client, historical financial position of the company is shown in the below table as on from 31st March 2022 to 31st March 2024:

| Particular | As on 31st March 2022 (Lakhs) | As on 31st March 2023 (Lakhs) | As on 31st March 2024 (Lakhs) |
| --- | --- | --- | --- |
| Total Assets | 9386.36 | 9565.83 | 8815.29 |
| Long term borrowings | 4786.57 | 5052.92 | 4118.61 |
| Short term borrowings | 448.34 | 163.75 | 409.37 |
| Turnover | 1961.36 | 2789.07 | 2560.90 |
| PAT | 153.50 | 254.19 | 242.71 |
| Cash flow at the end | 45.76 | 61.51 | 14.82 |

To tap the opportunity of growing demand of Cold Storage/Warehouse led by strong dark-store additions by the e-commerce players. CRPL Infra is exploring this business opportunity with large sized e-commerce players like Zepto, Swiggy Instamart, Blinkit (Zomato), Big Basket etc. to develop Cold Storage/Warehouse solution on Built-to-suit (BTS) model for these players.

Based on its expansion strategy, CRPL Infra is offering Built-to-suit solutions for all e-commerce, quick-Commerce, logistics, FMCG, industrial companies, and other major businesses who are looking for warehouses/Cold storages solutions with very specific needs and qualities but are not keen to spend capex, time and manpower on the same as it is not part of their business plan but a cost item.

To begin, the Company is focussing on delivering around 20 Cold Storage/Warehouse solution on Built-to-suit (BTS) model to Zepto and a couple of Cold Storage/Warehouse solution to Falcon in a phased manner as informed by client.

As a part of expansion, company has planned to set up 4 Greenfield Cold Storage/Warehouse at Noida, Pune, Ahmadabad (Kheda) and Ahmadabad (Detroj) as shown in the below table:

| Particular | Location | Area (Sq. Ft.) | Client name |
| --- | --- | --- | --- |
| Noida | Virinder Engineering & Chemicals Pvt. Ltd., Dhoom, Manikpur, Uttar Pradesh | 68,000 Sq. Ft. | Zepto |
| Pune | Dreambig Infraspace, Gate No. 998(P), Perne Phata, Pune Nagar Road, Village:Perne- Tal Haveli, Dist: Pune, Maharastra - 412216 | 27,800 Sq. Ft. | Zepto |
| Ahmadabad (Kheda) | Prime Industrial Complex, Kheda, Ahemdabad | 26,132 Sq. Ft. | Zepto |
| Ahmadabad (Detroj) | Falcon Agri Friz Foods Pvt. Ltd., 804, Zion Zi, Near Avlon Hotel, Off sindhu Bhavan Road, Ahemdabad- 380054 | 33,000 Sq. Ft. | Falcon |

CRPL has signed LOI for leasing an industrial shed/warehouse premises 27,800 Sq. Ft. at Pune dated 27th Nov 2024, 68,000 Sq. Ft. at Noida dated 9th Dec 2024, 26,132 Sq. Ft. Industrial/Warehouse at Kheda, Ahamdabad and 33,000 Sq. Ft. Industrial/Warehouse at Detroj, Ahamdabad. Out of 4 units, 3 cold storage/warehouses (Noida, Pune and Kheda, Ahamdabad) will be developed as per the commercial agreement with Zepto based on the reimbursement business model and cold storage at Detroj, Ahamdabad will be developed as per the commercial agreement with Q-commerce player Falcon for non-reimbursement model.

As per the commercial agreement with Zepto, CRPL has agreed to provide minimum 965 (+/- 10% variance basis final layout) Nos Pellets with 15 work station at Pune location, 689 (+/- 10% variance basis final layout) Nos Pellets with 15 work station at Kheda, Ahamdabad location, 2730 (+/- 10% variance basis final layout) Nos Pellets with 30 work station at Noida location. Similarly, as per the commercial agreement with Falcon Agrifriz Foods Pvt Ltd, a minimum guarantee of 3500 Pellets is promised by CRPL.

As per data/information Schematic layout plan has been prepared and shared by the client for all 4 locations, which can be change during implementation period as informed by the management. The company is in the process to obtain the required Statutory Approvals/NOC’s. (Refer the section Statutory Approval in the later part of the report).

During the site visit, we found that the proposed premises are industrial tin shed/warehouse. As per informed by client, development work will start post financial closure in March 2025. (Kindly refer the site pictures captured during the survey attached in the later section of the report).

As per the location wise project cost shred by client, the proposed 4 cold storage/warehouses will be setting up with an initial investment of INR 59.03 Crore including, IDC, Contingencies & Preliminary & Pre-operative expenses, which is proposed to be funded through a term loan of INR 44.27 Crore and promoter’s equity of INR 14.75 Crore.

At present, the company is in discussion with Financial Institutions to fund the project through a term loan of INR 34.68 Crore. In this regard M/s CRPL Infra Private Limited has appointed R.K. associates to assess the Techno-Economic Viability of the proposed expansion of storage/warehouses.

- PURPOSE OF THE REPORT: To assess Project’s Technical and Financial Feasibility for Client’s requirement.

- SCOPE OF THE REPORT: To only assess, evaluate & comment on Technical & Financial Feasibility of the proposed expansion of Cold storage/ warehouses being set up by M/s CRPL Infra Private Limited as per the data/information provided by the company.

NOTES:

- Project status is taken as per the Site inspection carried out by our survey team dated xxxx.

- Scrutiny about the company, background check, and credibility, credit worthiness of the company or its promoters is out-of-scope of this report.

- Any verification of the documents/ information from originals/ source is out-of-scope of this report.

- This report is only an opinion in respect to Technical and Financial Feasibility of the project as per the future Projections provided by the firm and independent analysis done by us and doesn’t contains any recommendations including taking decision on the loan or any other financial exposure.

- This is not an audit activity of any kind. We have relied upon the data/ information shared by the company in good faith.

- Any review of the existing business of the promoters is out of scope of this report.

- Detailed cost estimation or detailed cost vetting is out of scope of the project.

- This is not a Detailed Project Report or a detailed design or architecture document. Land and property details mentioned in the report is only for illustration purpose as per the information provided to us by the client. The same doesn’t tantamount for taking any responsibility regarding its legality, ownership and conforming to statutory norms.

- METHODOLOGY/ MODEL ADOPTED:

- Data/ Information collection.

- Review of Data/ Information collected related to TEV study.

- Independent review & assessment of technology used and financial projections provided by the company.

- Projections of Revenue, P&L, Balance Sheet, Working Capital Schedule, Depreciation Schedule, Loan Schedule as per the inputs given by the company and assessed by us

- Calculation of key financial indicators and ratio analysis including DSCR, NPV & IRR and payback period of the project.

- Report compilation and Final conclusion.

- DATA/ INFORMATION RECEIVED FROM: All the data/Information has been received from M/s CRPL Infra Private Limited and the required details about them shown in the below table:

| Particulars | Details |
| --- | --- |
| Company | M/s Sai Infinium Limited |
| Contact Person | Mr. Pankaj Arora |
| Email Address | pankaj.arora@crystalgroup.in |
| Contact No. | +91-9163583261 |

- DOCUMENTS / DATA REFFERED:

- Detailed Project Report and Promoters Profile

- Financial Projections.

- LOI with property owners

- Commercial agreement with Zepto & Falcon.

- Civil work estimates.

- List of plant & Machinery along with quotations of vendors

- Schematic Layout Plant

- Certificates of Statutory approvals/NOC’s.

- Survey Report.

| PART C | COMPANY PROFILE |
| --- | --- |

- INCORPORATION DETAILS:

M/s. CRPL Infra Private Limited (CRPL), a Crystal Group company, was incorporated on 12th October 1998 by Shri Murali Lal Agarwal with strategy to venture into cold chain logistics. The Company was incorporated in the name of Crystal Roadways Pvt Ltd, which was later renamed to CRPL Infra Pvt Ltd in October 2017. Below table shows the incorporation details of the company:

| Incorporation Details of the Company |  |
| --- | --- |
| Particular | Description |
| Company Name | M/s CRPL Infra Private Limited |
| CIN | U63090WB1998PTC088100 |
| Date of Incorporation | 12/10/1998 |
| Registration Number | 088100 |
| ROC Name | ROC Kolkata |
| Company Category | Company limited by shares |
| Company Subcategory | Non-government company |
| Class of Company | Private |
| Registered Address | 121, Chittaranjan Avenue, Ground Floor, Kolkata, West Bengal, India, 700073 |
| Authorized Capital | INR 8,00,00,000 |
| Paid up Capital | INR 7,55,88,680 |
| Date of last AGM | 30/09/2024 |
| Date of Balance Sheet | 31/03/2024 |
| Company Status | Active |

Source: Information extracted from MCA website & public domain

As per the amended Memorandum of Association (MoA) shared by the client, the company was incorporated to undertake and carry on the business of trading, cartage and haulage, contractors, garage proprietors, carriers of goods and passengers by land, air or water, tour operator and travel agent, wharfingers, packers, warehouseman and storekeepers and to maintain, equip and wore public transport vehicles, automobiles, ships and vessels and air craft of any class.

The company is categorised as medium enterprise with Udyam Registration Number UDYAM-WB-10-0003653 dated 16th Sep 2020. In this company, the promoters have proposed to set up the proposed to develop multiple cold storage/warehouse at multiple locations.

- COMPANY OVERVIEW:

CRPL Infra Pvt Ltd (Warehouse Business)

Quatre Agro Enterprises Pvt Ltd

(Container Business)

99.99%

99.99%

Promoters

100%

Crystal Logistics Cool Chain Limited

(Transportation Business)

Origin of the Group dates back to 1962 when the foundation of business was laid by Late Shri Murari Lal Agarwal under the name of M/s Haryana Transport Company. The Group entered into cold storage & warehousing operations in 2001 has a legacy of more than two decade in the integrated cold chain management -logistics/transportation, warehousing and leasable refrigerated container and vehicles. The Group operates in three business lines:

- Cold Chain Warehousing

- Portable temperature-controlled Container Business

- Cold Chain Transportation (Reefer Trucks).

CLCCL is predominantly into cold chain logistics, while as a subsidiary, CRPL’s focus is on cold storage warehousing. SBICAP Ventures Neev Fund invested private equity into CLCCL in 2017.

As per the data/information provided by client, Company has existing warehouse facilities of ~12,000 Pallet capacity at Sudharas Food Park, Sankrail, Howrah and ~6,000 Pallet Capacity at Seafood Park in Bhubaneshwar, Odisha. The company has addition ~2,000 Pallet Capacity O&M facility at Seafood Park in Bhubaneshwar, Odisha.  The company also has an ice factory in Bhubaneswar.

The green field cold storage facility at Howrah was commissioned in 2015 with capacity of 3000 pallet. The capacity was later increased to 6000 pallets in 2017. The facility became fully Operational with 12,000 Pallet capacity in FY 2020. The warehouse facility in Bhubaneshwar became partially operational in March 2022 and remaining in October 2022. The O&M facility in Bhubaneshwar became operational in FY 2022.

| Total Facilities | Total Capacity | Number of Customer | Number of Fleet |
| --- | --- | --- | --- |
| 3 Strategically Located Warehouses | ~ 20,000 Pallet ~ 600+ No. of TEU | 100 plus Key clients across sector | ~ 50 plus Reefer trucks |

Source: Data/information provided by the client.

- PROPOSED SHAREHOLDING PATTERN:

As per the data/information provided by the client, Shareholding of promoters dated 30th September 2023 is as follows:

| Nature of Shareholders | No. of Shares | Amount (Rs.) | % Holding |
| --- | --- | --- | --- |
| Crystal Logistic (Cool Chain) Ltd | 75,58,867 | 7,55,88,670 | 99.99% |
| Rajesh Agarwal | 1 | 10 | 0.01% |
| TOTAL | 75,58,868 | 7,55,88,680 | 100% |

Source: Data/Information provided by the client.

- KEY PROMOTER’S/DIRECTORS PROFILE:

As per data/information provided by the client about the promoters & directors, below table illustrate the educational & professional experience of the promoters along with the Address, DIN and contact details as on 20th Jan 2025:

| Name/ D.O.B | Designation/DIN | Address & Contact Details | Appointment Date | Qualifications/Experience |
| --- | --- | --- | --- | --- |
| Mr. Rajesh Agarwal (xxx) | Whole-time Director DIN: 00447047 | xxx +91-9372888750 ra@crystalgroup.in | 10/04/2015 | Mr. Rajesh Agarwal is a commerce graduate and he has 25 years‟ experience in logistic industry. He looks after the finance function of the group |
| Mrs. Naresh Agarwal (DoB: 18/11/1971) | Whole-time Director DIN: 00601105 | xxx +91-xxx (xxxxx) | 03/09/2013 | Mr. Naresh Agarwal is a commerce graduate. He has 23 years’ experience in logistic industry. He supports various CSR activities through his partnerships & presence in multiple associations. |
| Mr. Akash Agarwal (DoB: 04/01/1974) | Whole-time Director DIN: 00601047 | xxxx +91-xxx (xxxxxx) | 10/04/2025 | Mr. Akash Agarwal completed Programme in Family Managed Business from NMIMS. He is CEO of Crystal & led JV set up with TITAN Containers A/S, Denmark. He gained approximately 17 years‟ experience in logistic industry. |

Source: Data/Information provided by the client and data extracted from MCA

Below tables shows the information of the companies/LLPs with which each Director is associated with to give a basic background detail of the promoters as found on public domain in general/ tertiary category research.

(MR. RAJESH AGARWAL DIN: 00447047)

| S. No | Company Name (CIN/FCRN) | Designation | Original Date of Appointment | Date Of Appointment at Current Designation |
| --- | --- | --- | --- | --- |
| 1 | CRPL Infra Private Limited (U63090WB1998PTC088100) | Whole-time director | 01/07/2020 | 01/04/2022 |
| 2 | Freshlight Food Chain Private Limited (U01403MH2014PTC252089) | Director | 15/01/2014 | 15/01/2014 |
| 3 | Fitzgerald Enterprises Private Limited (U01403WB2013PTC198247) | Director | 07/11/2013 | 07/11/2013 |
| 4 | Dynamic Land & Developers Private Limited (U45200WB2007PTC113785) | Director | 01/03/2007 | 01/03/2007 |
| 5 | Panchkoti Complex Private Limited (U45400WB2012PTC183005) | Director | 12/04/2013 | 12/04/2013 |
| 6 | Crystal Logistic ( Cool Chain ) Limited (U60210WB2007PLC113305) | Director | 01/07/2020 | 31/12/2020 |
| 7 | Mansource Agriculture Private Limited (U01400MH2013PTC251496) | Director | 30/12/2013 | 30/12/2013 |
| 8 | Happyshop Horticulture Private Limited (U01403WB2013PTC198248) | Director | 07/11/2013 | 07/11/2013 |
| 9 | CRPL Infra Private Limited (U63090WB1998PTC088100) | Director | - | 31/12/2020 |
| 10 | Crystal Logistic ( Cool Chain ) Limited (U60210WB2007PLC113305) | Director | - | 12/02/2007 |

Source: Information extracted from MCA website & public domain

(MRS. NARESH AGARWAL DIN: 00601105)

| S. No | Company Name (CIN/FCRN) | Designation | Original Date of Appointment | Date Of Appointment at Current Designation |
| --- | --- | --- | --- | --- |
| 1 | CRPL Infra Private Limited (U63090WB1998PTC088100) | Whole-time director | 03/09/2013 | 31/05/2022 |
| 2 | Fitzgerald Enterprises Private Limited (U01403WB2013PTC198247) | Director | 07/11/2013 | 07/11/2013 |
| 3 | Quatre Agro Enterprises Private Limited (U01500MH2014PTC252008) | Director | 13/01/2014 | 13/01/2014 |
| 4 | Sidhimangal Shoppers Private Limited (U51909WB2012PTC184659) | Director | 19/03/2013 | 19/03/2013 |
| 5 | Crystal Logistic ( Cool Chain ) Limited (U60210WB2007PLC113305) | Director | 16/12/2014 | 30/09/2015 |
| 6 | CRPL Visakhapatnam Cold Logistics Private Limited (U63000WB2019PTC234328) | Director | 14/10/2019 | 14/10/2019 |
| 7 | Crystal Titan Containers Private Limited (U71210MH2015PTC266640) | Director | 14/07/2015 | 14/07/2015 |
| 8 | Sparrow Logistic Private Limited (U74900WB2013PTC198249) | Director | 07/11/2013 | 07/11/2013 |
| 9 | Freshlight Food Chain Private Limited (U01403MH2014PTC252089) | Director | 15/01/2014 | 15/01/2014 |
| 10 | CRPL Visakhapatnam Cold Chain Private Limited (U63000WB2019PTC234073) | Director | 24/09/2019 | 24/09/2019 |

Source: Information extracted from MCA website & public domain

(MRS. AKASH AGARWAL DIN: 10810751)

| S. No | Company Name (CIN/FCRN) | Designation | Original Date of Appointment | Date Of Appointment at Current Designation |
| --- | --- | --- | --- | --- |
| 1 | CRPL Infra Private Limited (U63090WB1998PTC088100) | Whole-time director | 10/04/2015 | 31/05/2022 |
| 2 | Quatre Agro Enterprises Private Limited (U01500MH2014PTC252008) | Director | 13/01/2014 | 13/01/2014 |
| 3 | Crystal Logistic ( Cool Chain ) Limited (U60210WB2007PLC113305) | Director | 16/12/2014 | 30/09/2015 |
| 4 | CRPL Visakhapatnam Cold Chain Private Limited (U63000WB2019PTC234073) | Director | 24/09/2019 | 24/09/2019 |
| 5 | Happyshop Horticulture Private Limited (U01403WB2013PTC198248) | Director | 07/11/2013 | 07/11/2013 |
| 6 | Mansource Agriculture Private Limited (U01400MH2013PTC251496) | Director | 30/12/2013 | 30/12/2013 |
| 7 | Sparrow Logistic Private Limited (U74900WB2013PTC198249) | Director | 07/11/2013 | 07/11/2013 |
| 8 | Crpl Visakhapatnam Cold Logistics Private Limited (U63000WB2019PTC234328) | Director | 14/10/2019 | 14/10/2019 |
| 9 | Crystal Titan Containers Private Limited (U71210MH2015PTC266640) | Director | 14/07/2015 | 14/07/2015 |
| 10 | CRPL Infra Private Limited (U63090WB1998PTC088100) | Director | - | 30/09/2015 |
| List of Associated LLPs |  |  |  |  |
| 1 | Merlin Capital Technologies LLP (AAD-2061) | Partner | - | 25/01/2022 |
| 2 | Kennis Ai Solutions LLP (AAE-3245) | Partner | - | 09/01/2020 |
| 3 | Kkd Advisors LLP (AAE-1346) | Partner | - | 30/03/2019 |
| 4 | Kennis Mobility Advisors LLP (AAC-8916) | Partner | - | 24/10/2017 |
| 5 | Invenio Advisors LLP (AAP-6287) | Partner | - | 14/04/2020 |

Source: Information extracted from MCA website & public domain

| PART D | PROPOSED INFRASTRUCTURE DETAILS |
| --- | --- |

- PROPOSED LOCATION:

As per the shared LOI, CRPL has leased out 68,000 Sq. Ft. industrial ready to use tin shed premises at Dhoom, Manikpur U.P, 27,800 Sq. Ft. industrial/warehouse premises at Pune, 26,132 Sq. Ft. at Kheda (Ahmadabad) and 35,000 Sq. Ft. at Detroj (Ahmadabad). Hence, cost of land and land development will be Nil for the proposed project.

During the site visit dated xxx, we found that CRPL has leased out ready to use industrial premises at Noida Pune and Ahmadabad (Kheda & Detroj). (Kindly refer the site pictures captured during the survey attached in the later section of the report).

Table: 1 is showing the details of the adjoining properties of the land for proposed hybrid power plant and Table: 2 is showing the Connectivity Details of the Proposed Location:

| Table: 1 Adjoining Property Details |  |
| --- | --- |
| Location | Details |
| East |  |
| West |  |
| North |  |
| South |  |

| Table: 2 Connectivity Details of the Proposed Location |  |
| --- | --- |
| Connectivity | Details |
| Road |  |
| Rail |  |
| Airport |  |

- LOCATION MAP:

- GOOGLE MAP LOCATION:

The hybrid power plant is proposed to be commissioned at  at Village: Sardharka Taluka: Wankaner Morbi District, State of Gujrat 363621 with GPS coordinates 22°38'54.9" North and 71°01'46.3" East  as per the Google map attached below:

- GOOGLE MAP LAYOUT:

Demarcation of the land with approximate measurement on the Google map is attached in the below picture:

- SCHEMATIC/PROPOSED LAYOUT PLAN:

As per the data/information provided by the client/Company, Schematic layout plan layout plan is attached below for reference:

NOIDA

PUNE:

AHAMDABAD (KHEDA)

AHAMDABAD (DETROJ)

Note: As informed by the client, the schematic layout plan is subject to change as per the actual implementation plan.

- LAND DETAILS:

As per the EPC agreement, M/s Opera Energy Private Limited has acquired ~126.45 Acre leasehold land at Village: Sardharka Taluka: Wankaner Morbi District, State of Gujrat 363621 for 63.30 MW Hybrid power project through its wholly owned subsidiary Opera Engitech Private Limited and will be sub-lease to Sai Infinium Limited. Grid Connectivity approval from GETCO for 30 MW Wind Solar hybrid power plant at 66KV Gangiyavadar substation of GETCO has been taken by Opera Engitech Private Limited (wholly owned subsidiary of Opera Energy Pvt. Ltd.) dated 13th Jan 2024. According to the commercial offer given by EPC, procuring the required Private land on lease for Wind & private land for Solar on Lease basis as below:

| Procuring of Land |  |
| --- | --- |
| Type of Land | Private |
| For Wind | On lease basis (With Mortgageable lease rights). Note: Per WTG 1 acre with NA & balance 1.5 acre without NA with agreement of easmentary rights |
| For Solar | On Lease basis with NA. With considering 2.5 acre per MW DC |

In private free hold land, the registered lease deed shall be executed in favour of the customer before the commissioning of the project. Lease shall be 3.0 lacs per WTG per year with 7% escalation on every 3rd year basis start from 2nd year on wards and for solar 50k/ Acre/ Year with 7% escalation on every 3rd year basis start from 2nd year onwards. Balance all other documents like 7/12 extracts, NA Permissions, etc. shall be obtained after the commissioning of the project as per the government procedures and guidelines.

As per data/information provided by the client, sub-lease agreement will signed between the parties according to the financial and payment related milestone decided mutually. Below table shows the detail of procured leasehold land to set up the proposed Wind Solar Hybrid Power Plant:

| Village: Sardharka Taluka: Wankaner Morbi District |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| S. No. | Survey No | Farmer Name | Area(Hectare) | Area(Acre) | Lease Status |
| 1 | 531 P1 | Zala Navubha Punjabhai | 1.3152 | 3.25 | Done |
| 2 | 497 | Zala Balubha Bahadursinh | 3.3488 | 8.28 | Done |
| 3 | 523 | Zala Jitubha Narubha | 2.9947 | 7.40 | Done |
| 4 | 524p1 | Zala Narubha Jashubha | 1.7099 | 4.23 | Done |
|  | Total |  | 51.17 | 126.45 |  |

During the site visit dated 15th January 2025, we found that the proposed land is a vacant agricultural land which is not demarcated and work on the Project has not been started yet. As per informed by client, land development work will start soon. (Kindly refer the site pictures captured during the survey attached in the later section of the report).

EPC needs to obtain Change of land use (CLU) as it seems an agricultural land. Any kind of sale/lease deed is not shared with us by the client due to confidentiality and Sub-lease is subject to payment milestones as per informed by client. We recommend the financial institution to suggest the client to submit the lease/sub-lease deed along with the current status of land use before disbursement. It is to be noted here that procured land by EPC is in the name of its wholly owned subsidiary Opera Engitech Private Limited at present.

- SITE PICTURES:

Site pictures were captured during the site visit on XXX, for reference few of the pictures are attached below:

NOIDA:

PUNE: (21/09/2025)

AHAMDABAD (KHEDA) (21ST JAN 2025)

- BUILDING & CIVIL WORKS:

The proposed wind solar hybrid power plant will not be having major building and civil works. Only land development and foundation work will be there as per the requirement of WTG and PV modules. Out of total EPC cost of INR 438.81 Cr., ~5% i.e. INR 21.94 Cr. will be the cost of Civil work, which seems to be reasonable after considering the infrastructure of the plant. However, we have relied upon the data/information and EPC agreement of Opera Energy Private Limited shared with us by the client in this regard.

- PLANT & MACHINERY/ EQUIPMENTS DETAILS:

As per EPC agreement, the estimated cost the plant will be ~INR 416.87 Crore including the procurement and installation of plant & machinery. We have relied upon the data/information provided to us by the client for the estimated cost of the Plant & Machinery as per EPC agreement. It is to be noted here that the detailed cost vetting is out of scope of this TEV report.

- UTILITIES: Details of Water, Electricity and other utilities are describes as below:

- WATER:

As per the data/information provided by the client, there are two canals nearby the site and drinking water can also be arranged through local municipality supply.

- ELECTRICITY:

Not required as it is a power generating hybrid power plant itself.

| PART E | PROJECT TECHNICAL DETAILS |
| --- | --- |

- CAPACITY OF THE PROPOSED WIND SOLAR HYBRID POWER PLANT:

It is a 63.30 MW Captive hybrid power plant (36 MW DC Solar + 27.30 MW Wind), so whatever the plant will generate here, Gujarat Energy Transmission Corporation Limited (GETCO), power transmission company in the state of Gujarat, India will provide same units credit to the company’s electricity bill unit to unit basis as illustrated in the below table:

| Capacity of the proposed Power plant |  |
| --- | --- |
| Particular | Capacity |
| Solar Power Plant | 36 MW (~62062 nos. of Solar Panel) 580Wp of BiN-08-580 from Waaree Energies Limited |
| Wind Power Plant | 27.30 MW Suzlon S 120 – (2.1 X 13) |

Source: Data/information provided by the client.

- PROJECT IMPLEMENTATION:

M/s Sai Infinium Limited has executed an EPC/Techno-Commercial contract with Opera Energy Private Limited for Captive hybrid power plant for 27.30 MW WTG with 36.96% PLF & 36 MW DC Solar 18.55% PLF.

Opera Energy Private Limited, is a prominent Gujarat based solar and hybrid power generating company has been appointed an EPC through entering into a legal agreement dated 7th January 2025 who will be the solution provider for the proposed 63.30 MW hybrid project to implement on turnkey basis within 12 months of zero date for design, develop, transfer and maintain the solar and wind hybrid power plant on behalf of M/s Sai Infinium Limited as an industrial customer.

- COMMERCIAL AGREEMENT DETAILS:

Techno-Commercial Contract is signed on 7th January 2025 by both the parties for design, develop, transfer and maintain the solar and wind hybrid power plant on behalf of M/s Sai Infinium Limited as an industrial customer. As per Scope of supply, estimated generated unit from the hybrid project would be 1469 lakhs kWh per year as shown in the below table:

| Estimated Generation: |  |
| --- | --- |
| Wind: | Approx. 68 Lac/ WTG/ Year |
| Solar: | Approx. 16.25 Lac/ MW DC |
| Estimated Hybrid Generation: | Approx. 53.8 Lac KWh/ MW/ Year |
|  | Wind: 13 nos of WTG x 68 Lacs KWh = 884 Lacs KWh/Year Solar: 36 MW DC x 16.25 Lac KWh = 585 Lacs KWh/Year Total Hybrid Generation: 1469 Lacs KWh/ Year |

Source: EPC Agreement shared by client.

COMMERCIAL DETAILS OF AGREEMENT

- PROPOSED PLANT & MACHINERY/EQUIPMENT DETAILS:

- TECHNICAL SPECIFICATIONS OF THE PROPOSED POWER PLANT:

As per the data/information provided by the client, below table shows the technical specification of the proposed Power plant:

- TECHNOLOGICAL ASSESSMENT:

Thus as per the above technical assessment, it seems to be reasonable to comment that the proposed wind solar hybrid power plant is technically viable as the company is implementing the plant through EPC and both Tier-1 solar PV modules & WTG are standard make of Waree Energies Limited and Suzlon S 120 (2.1 X 13) MW respectively.

The plant will feature high-efficiency solar panels with a combined capacity of 36 MW DC Solar (~62062 nos. of Solar Panel) 580Wp of BiN-08-580 type Solar module from ALLLM approved Waaree Energies Limited, Suzlon S 120 – (2.1 X 13) 27.30 MW Wind turbine generator (WTG) and 89 Nos. Sungrow make SG320HX-20 300 kWAC 1500 Vdc Inverter System, which is a high yield, Grid-Friendly and Safety proven system. It will utilize advanced photovoltaic (PV) technology and include a state-of-the-art monitoring system to optimize performance and maintenance.

Further, EPC has guaranteed for generation of 1469 lakhs kWh on annual basis on the WRA and PVSyst reports. Thus, it seems reasonable to comment that the plant will be running smoothly. Technology & specification of the plant are matching with the need to run the power plant to achieve the economies of scale.

- MANPOWER:

As per the EPC agreement, Opera will be responsible to operate the plant on behalf of Sai Infinium Limited and there would be no additional manpower required to operate since the cost of manpower is already adjusted in the O & M expenses.

| PART F | QUICK-COMMERCE INDUSTRY OVERVIEW |
| --- | --- |

- INTRODUCTION:

A larger part of physical retailers has either gone or are going to go online. Direct item delivery to the end-shopper requires a different approach. It requires more advanced logistical technologies compared to deliveries to large stores. Flipkart and Amazon are pioneers of this trend in India. India is experiencing rapid growth in e-commerce, which is significantly impacting the warehouse and industrial market.

The impact has led to new developments in the form of distribution and fulfilment centres, cross-docks, and small well-equipped warehouses. These developments cater to last-mile deliveries.  While consumers benefit from faster and more convenient shopping options Quick commerce companies such as Zepto and Blinkit offer ultra-fast delivery services, often within 10 to 30 minutes, for a wide range of products including groceries, electronics, clothing, and beauty items. Currently, these services are primarily concentrated in urban pockets, providing consumers with a convenient and swift shopping experience.

- INDIAN QUICK-COMMERCE LANDSCAPE:

India's quick commerce industry has seen significant growth, with sales increasing by over 280 per cent in the last two years. The Gross Merchandise Value rose from USD 0.5 billion in FY22 to USD 3.3 billion in FY24. This sector is growing faster than traditional e-commerce, highlighting a shift towards rapid delivery services.

Quick commerce, which refers to the rapid delivery of small orders within a short time frame, is growing at a much faster pace than traditional e-commerce. India's e-commerce sector is registering an annual growth rate of 14 per cent, wherein quick commerce has expanded at an impressive 73 per cent annual growth rate during FY 2023-24. This highlights the significant shift in consumer behaviour towards faster and more convenient delivery options.

Furthermore, the tech infrastructure of quick commerce platforms is designed to ensure continuous improvements in operational processes, enhancing agility and speed across the value chain. These innovations are helping quick commerce platforms to deliver faster and more efficiently, meeting the growing demand for instant deliveries in India.

- GROWTH OPPORTUINITY:

The quick commerce market in India is currently valued at USD 3.34 billion in 2024 and is projected to reach USD 9.95 billion by 2029, growing at a compound annual growth rate (CAGR) of more than 4.5 per cent over the forecast period (2024-2029). Despite this rapid growth, the sector remains relatively untapped, with a penetration rate of only 7 per cent of the total addressable market, which is valued at USD 45 billion. This indicates a significant opportunity for further expansion, with quick commerce already surpassing the market size of food delivery.  As the industry continues to evolve, experts predict that quick commerce will play an increasingly important role in India's retail landscape.

- CONCLUSION:

Quick commerce which started as a grocery delivery business — has expanded fast in several categories during the course of the year where platforms are carrying at least 10,000 items or stock keeping units (SKUs). During the festive season, they are bulking up further with an aim to hit 20,000-25,000 SKUs to be available for quick deliveries.

As per the industry experts over the last eight quarters, the selection available to customers had increased four-five times, while in some neighbourhoods it offers as many as 25,000 SKUs. Elara Capital said in a note that quick commerce may account for 40-50% of ecommerce (in some categories) over the next three years as per its checks from the current levels of 10-15% of the total ecommerce segment. According to a recent Nomura report, the quick-commerce space is expected to clock 100-110% year-on-year growth in gross order value during FY26, led by strong dark-store additions by the players.

| PART G | SWOT ANALYSIS |
| --- | --- |

| SWOT ANALYSIS |  |
| --- | --- |
| STRENGTHS | - Experienced Promoters: Promoters of the company are having rich experience in the same industry, which will give synergies to the expansion in the form of effective operations management. - Government Incentives: The Indian government has fostered the growth of quick commerce (Q-commerce) through initiatives like "Digital India" to improve digital infrastructure, "Start-up India" to encourage new ventures, "Skill India" for workforce training, promoting digital payments through UPI and RuPay, enhancing broadband access with BharatNet, and creating the Open Network for Digital Commerce (ONDC) to integrate smaller vendors into the online marketplace, thereby enabling wider reach for Q-commerce platforms; all contributing to a favourable environment for the sector to flourish. - Location: CRPL has planned to open all the cold storage at fastest growing Indian cities such as Noida, Pune, and Ahmadabad, which will give a better connectivity and easy outreach for the clientele of its customers. - Reimbursement Business Model: As per the Commercial agreement with Zepto, CRPL has entered into reimbursement model which will be a risk-free avenue of revenue generation for the proposed project. |
| WEAKNESSES | - High Initial Capital Investment: INR 58.92 Crore required for the initial setup of 4 new proposed Cold Storage Warehouse might strain CRPL Infra Pvt Limited’s capital, affecting short-term financial stability. - Long Payback Period: With an estimated payback period of 7-8 years, CRPL Infra Private Limited might face challenges in demonstrating short-term returns to stakeholders. |
| OPPORTUNITIES | - Growing Industry: According to recent reports, the Q-commerce industry in India is expected to grow at a Compound Annual Growth Rate (CAGR) of over 4.5%. This translates to a projected market size of around $9.95 billion by 2029, from its current valuation of approximately $3.34 billion. - Regulatory Support: Government support in the form of Digitalization and infrastructure. - Expansion Potential: The quick-commerce space is expected to clock 100-110% year-on-year growth in gross order value during FY26, led by strong dark-store additions by the players. This gives huge scope for players like CRPL to tap the opportunity and develop multiple Cold Storage/Warehouse solution on Built-to-suit (BTS) model to players like Zepto, Blinkit, Swiggy Instamart, BB etc. |
| THREATS | - Regulatory Risks: Changes in government policies or reductions in subsidies could impact the financial viability of the Cold Storage/Warehouse project, affecting Sai Infinium Limited’s profitability. - Market Competition: Increased competition from other player’s with the options of different business models might affect the market share and bargaining power of CRPL Infra Pvt Limited with its potential Q-commerce clients. - Technological Risks: Rapid changes in technology or issues with the reliability of the installed equipment could pose risks to the project’s performance and financial returns. - Economic Fluctuations: Economic downturns could affect investment availability and delay project implementation or expansion plans. |

| PART H | PROJECT COST AND MEANS OF FINANCE |
| --- | --- |

As per data/information shared by the client, the proposed 4 cold storages/warehouses are proposed to be commissioned by making an investment of INR 59.03 Crore as shown in the below location wise tables along with Means of finance:

NOIDA LOCATION:

| Total Project Cost |  |
| --- | --- |
| Particular | Amount INR Crore |
| Land Acquisition Cost | 0.00 |
| Land Development Cost | 0.00 |
| Building & Civil Works | 1.77 |
| Plant & Machinery | 11.75 |
| Misc. Fix Assets | 0.00 |
| GST on Capital Goods | 2.12 |
| Security Deposit to landlord | 0.85 |
| Interest During Construction (IDC) | 0.74 |
| Sub Total | 17.22 |
| Preliminary and Pre-Operative Expenses | 0.94 |
| Contingencies | 0.14 |
| Sub Total | 18.30 |
| Working Capital Margins | 0.23 |
| Sub Total | 18.53 |
| Means of Finance |  |
| Particular | Amount INR Crore |
| Equity (25%) | 4.63 |
| Debt (75%) | 13.89 |
| Sub Total | 18.53 |

Source: Data/Information provided by the company.

PUNE LOCATION:

| Total Project Cost |  |
| --- | --- |
| Particular | Amount INR Crore |
| Land Acquisition Cost | 0.00 |
| Land Development Cost | 0.00 |
| Building & Civil Works | 1.00 |
| Plant & Machinery | 7.65 |
| Misc. Fix Assets | 0.00 |
| GST on Capital Goods | 1.38 |
| Security Deposit to landlord | 0.38 |
| Interest During Construction (IDC) | 0.44 |
| Sub Total | 10.86 |
| Preliminary and Pre-Operative Expenses | 0.05 |
| Contingencies | 0.09 |
| Sub Total | 10.99 |
| Working Capital Margins | 0.10 |
| Sub Total | 11.10 |
| Means of Finance |  |
| Particular | Amount INR Crore |
| Equity (25%) | 2.77 |
| Debt (75%) | 8.32 |
| Sub Total | 11.10 |

Source: Data/Information provided by the company.

AHAMDABAD (KHEDA) LOCATION:

| Total Project Cost |  |
| --- | --- |
| Particular | Amount INR Crore |
| Land Acquisition Cost | 0.00 |
| Land Development Cost | 0.00 |
| Building & Civil Works | 1.00 |
| Plant & Machinery | 7.65 |
| Misc. Fix Assets | 0.00 |
| GST on Capital Goods | 1.38 |
| Security Deposit to landlord | 0.40 |
| Interest During Construction (IDC) | 0.44 |
| Sub Total | 10.87 |
| Preliminary and Pre-Operative Expenses | 0.05 |
| Contingencies | 0.09 |
| Sub Total | 11.01 |
| Working Capital Margins | 0.09 |
| Sub Total | 11.09 |
| Means of Finance |  |
| Particular | Amount INR Crore |
| Equity (25%) | 2.77 |
| Debt (75%) | 8.32 |
| Sub Total | 11.10 |

Source: Data/Information provided by the company.

AHAMDABAD (DETROJ) LOCATION:

| Total Project Cost |  |
| --- | --- |
| Particular | Amount INR Crore |
| Land Acquisition Cost | 0.00 |
| Land Development Cost | 0.00 |
| Building & Civil Works | 1.77 |
| Plant & Machinery | 13.25 |
| Misc. Fix Assets | 0.00 |
| GST on Capital Goods | 2.39 |
| Security Deposit to landlord | 0.16 |
| Interest During Construction (IDC) | 0.75 |
| Sub Total | 18.31 |
| Preliminary and Pre-Operative Expenses | 0.16 |
| Contingencies | 0.15 |
| Sub Total | 18.62 |
| Working Capital Margins | 0.15 |
| Sub Total | 18.77 |
| Means of Finance |  |
| Particular | Amount INR Crore |
| Equity (25%) | 4.69 |
| Debt (75%) | 14.07 |
| Sub Total | 18.77 |

Source: Data/Information provided by the company.

Notes:

- It is to be noted that the detailed vetting of the project cost is out of scope of this TEV report and we have relied upon the data/information provided by the client regarding Total Project cost in good faith, however as a TEV consultant we have cross verified the cost of the major components of TPC independently wherever required for the purpose of TEV only.

- As per the shared LOI, CRPL has leased out 68,000 Sq. Ft. industrial ready to use tin shed premises at Dhoom, Manikpur U.P, 27,800 Sq. Ft. industrial/warehouse premises at Pune, 26,132 Sq. Ft. at Kheda (Ahmadabad) and 35,000 Sq. Ft. at Detroj (Ahmadabad). Hence, cost of land and land development will be Nil for the proposed project.

- As per data/information provided by the client, Cost of civil works would be ~5.54 Crore for all the 4 cold storages on combined basis including 18% applicable G.S.T.

- As per the detailed cost estimates based on quotations of various vendors shared by client, Cost of proposed Plant & Machinery would be ~40.30 Cr. for all the 4 cold storages on combined basis excluding 18% applicable G.S.T.

- As per the data/information provided by the client, applicable Interest during Construction (IDC) is 8.50%. Thus the company is required to pay INR 2.37 Crore as IDC from January 2025 to January 2026 as per the location wise proposed Loan repayment schedule.

- Preliminary & Pre-Operative Expenses has been considered based on the estimate of company’s resources involvement as INR 1.2 Crore. However, Company did not provide us any invoices/bills against these tentative costs considered. We recommend that the bank/financial institutions advice the company to submit actual cost based on the final quotations/invoices/bills. This will help validate the assertion of different costs considered by the client.

- Contingency cost of INR 0.47 Crore has been considered based on general assumption and professional experience (~1% of Hard Cost of the Project).

- Out of total project cost of INR 59.03 Cr., the project is proposed to be funded through a term loan of INR 44.28 crores and promoter’s Equity of INR 14.75 crores.

- Thus, ~INR xxx Crore per unit is the expected CAPEX for the proposed 1,56,932 Sq. Ft. cold storage/warehouse as shown in the below table:

xxxx

| PART I | PROJECT IMPLEMENTETION SCHEDULE |
| --- | --- |

Below tables represents the location wise proposed implementation schedule:

NOIDA LOCATION

| S. No. | Particulars | Activity | Expected completion date | Status |
| --- | --- | --- | --- | --- |
|  | Land | Land Procurement | NA | NA |
|  |  | Land Development | NA | NA |
|  | Sanction of Rupee Term Loan | Sanction of Rupee Term Loan | 1st March 2025 | Scheduled |
|  | Building & Civil Works | Appointment of Architect | NA | NA |
|  |  | Building/Layout Plan Preparation | NA | NA |
|  |  | Building Plan Sanction | NA | NA |
|  |  | Appointment of Civil contractor/ developer | NA | NA |
|  |  | Building & Civil Works completion | May 2025 | Scheduled |
|  | Plant & Machinery | Finalization of P&M suppliers | Jan 2025 | Completed |
|  |  | Orders to P&M suppliers | March 2025 | Scheduled |
|  |  | Arrival of P&M | May 2025 | Scheduled |
|  |  | Installation of P&M | August 2025 | Scheduled |
|  |  | Utility Installation | October 2026 | Scheduled |
|  | Statutory Approvals, registrations & NOCs | From the respective authorities | November, 2025 | Pending except the approval obtained as per “Section L” |
|  | Finishing & Trail Run | Informed by client | November, 2025 | Scheduled |
|  | Commercial Operation Date | Informed by client | 1st December 2025 | Scheduled |

PUNE LOCATION

| S. No. | Particulars | Activity | Expected completion date | Status |
| --- | --- | --- | --- | --- |
|  | Land | Land Procurement | NA | NA |
|  |  | Land Development | NA | NA |
|  | Sanction of Rupee Term Loan | Sanction of Rupee Term Loan | January 2025 | Scheduled |
|  | Building & Civil Works | Appointment of Architect | NA | NA |
|  |  | Building/Layout Plan Preparation | NA | NA |
|  |  | Building Plan Sanction | NA | NA |
|  |  | Appointment of Civil contractor/ developer | NA | NA |
|  |  | Building & Civil Works completion | March 2025 | Scheduled |
|  | Plant & Machinery | Finalization of P&M suppliers | January 2025 | Completed |
|  |  | Orders to P&M suppliers | Feb 2025 | Scheduled |
|  |  | Arrival of P&M | April 2025 | Scheduled |
|  |  | Installation of P&M | July 2025 | Scheduled |
|  |  | Utility Installation | September 2025 | Scheduled |
|  | Statutory Approvals, registrations & NOCs | From the respective authorities | September, 2025 | Pending except the approval obtained as per “Section L” |
|  | Finishing & Trail Run | Informed by client | September, 2025 | Scheduled |
|  | Commercial Operation Date | Informed by client | 1st October 2025 | Scheduled |

AHAMDABAD (KHEDA) LOCATION

| S. No. | Particulars | Activity | Expected completion date | Status |
| --- | --- | --- | --- | --- |
|  | Land | Land Procurement | NA | NA |
|  |  | Land Development | NA | NA |
|  | Sanction of Rupee Term Loan | Sanction of Rupee Term Loan | February 2025 | Scheduled |
|  | Building & Civil Works | Appointment of Architect | NA | NA |
|  |  | Building/Layout Plan Preparation | NA | NA |
|  |  | Building Plan Sanction | NA | NA |
|  |  | Appointment of Civil contractor/ developer | NA | NA |
|  |  | Building & Civil Works completion | April 2025 | Scheduled |
|  | Plant & Machinery | Finalization of P&M suppliers | February 2025 | Completed |
|  |  | Orders to P&M suppliers | March 2025 | Scheduled |
|  |  | Arrival of P&M | May 2025 | Scheduled |
|  |  | Installation of P&M | August 2025 | Scheduled |
|  |  | Utility Installation | October 2025 | Scheduled |
|  | Statutory Approvals, registrations & NOCs | From the respective authorities | October, 2025 | Pending except the approval obtained as per “Section L” |
|  | Finishing & Trail Run | Informed by client | October, 2025 | Scheduled |
|  | Commercial Operation Date | Informed by client | 1st November 2025 | Scheduled |

AHAMDABAD (DETROJ) LOCATION

| S. No. | Particulars | Activity | Expected completion date | Status |
| --- | --- | --- | --- | --- |
|  | Land | Land Procurement | NA | NA |
|  |  | Land Development | NA | NA |
|  | Sanction of Rupee Term Loan | Sanction of Rupee Term Loan | April 2025 | Scheduled |
|  | Building & Civil Works | Appointment of Architect | NA | NA |
|  |  | Building/Layout Plan Preparation | NA | NA |
|  |  | Building Plan Sanction | NA | NA |
|  |  | Appointment of Civil contractor/ developer | NA | NA |
|  |  | Building & Civil Works completion | June 2025 | Scheduled |
|  | Plant & Machinery | Finalization of P&M suppliers | April 2025 | Completed |
|  |  | Orders to P&M suppliers | May 2025 | Scheduled |
|  |  | Arrival of P&M | July 2025 | Scheduled |
|  |  | Installation of P&M | October 2025 | Scheduled |
|  |  | Utility Installation | December 2025 | Scheduled |
|  | Statutory Approvals, registrations & NOCs | From the respective authorities | December, 2025 | Pending except the approval obtained as per “Section L” |
|  | Finishing & Trail Run | Informed by client | December, 2025 | Scheduled |
|  | Commercial Operation Date | Informed by client | 1st January 2026 | Scheduled |

Notes:

- Schedule has been made as per feasibility to achieve different milestones.

- Achievement of Milestone will depend on sanction of term loan as per proposed timeline.

- For current status of statutory approvals, kindly refer the “Section L” of this report.

| PART J | STATUTORY APPROVALS ¦ LICENCES ¦ NOC |
| --- | --- |

As shown in the below table along with current status, following major approvals are required, However the list is not exhaustive and State/District Authorities may be approached for further clearances required (if any):

NOIDA LOCATION

| S. No. | REQUIRED APPROVALS | DATE REFERENCE NO. | STATUS (Approved/ Applied For/ Pending) |
| --- | --- | --- | --- |
|  | Consent to Establish (CTE) under air & water Act Uttar Pradesh Pollution Control Board (UPPCB) | - | Pending |
|  | Land conversion to Industrial/Non agriculture Sub Divisional Magistrate, Noida, UP. | - | Done |
|  | FSSAI License The Food Safety and Standards Authority of India (FSSAI) | - | Pending |
|  | Electricity Regulatory Compliance Uttar Pradesh Power Corporation Limited | - | Pending |
|  | Building and civil works Plan Sanction Approval Concerned local development authority | - | Pending |
|  | Pre-establishment fire NOC Uttar Pradesh Fire and Emergency Services, Government Of Uttar Pradesh | - | Apply in due course |
|  | Fire NOC (on completion) Uttar Pradesh Fire and Emergency Services, Government Of Uttar Pradesh | - | Will be Applied post C.O.D |

PUNE LOCATION

| S. No. | REQUIRED APPROVALS | DATE REFERENCE NO. | STATUS (Approved/ Applied For/ Pending) |
| --- | --- | --- | --- |
|  | Consent to Establish (CTE) under air & water Act Maharashtra Pollution Control Board (MPCB) | - | Pending |
|  | Land conversion to Industrial/Non agriculture Sub Divisional Magistrate, Pune, Maharastra. | - | Done |
|  | FSSAI License The Food Safety and Standards Authority of India (FSSAI) | - | Pending |
|  | Electricity Regulatory Compliance Maharashtra State Electricity Distribution Company Limited (MSEDCL) | - | Pending |
|  | Building and civil works Plan Sanction Approval Concerned local development authority | - | Pending |
|  | Pre-establishment fire NOC The fire department of the Pune Municipal Corporation (PMC) | - | Apply in due course |
|  | Fire NOC (on completion) The fire department of the Pune Municipal Corporation (PMC) | - | Will be Applied post C.O.D |

AHAMDABAD (KHEDA) LOCATION

| S. No. | REQUIRED APPROVALS | DATE REFERENCE NO. | STATUS (Approved/ Applied For/ Pending) |
| --- | --- | --- | --- |
|  | Consent to Establish (CTE) under air & water Act Gujrat Pollution Control Board (GPCB) | - | Pending |
|  | Land conversion to Industrial/Non agriculture Sub Divisional Magistrate, Ahamdabad, Gujrat. | - | Done |
|  | FSSAI License The Food Safety and Standards Authority of India (FSSAI) | - | Pending |
|  | Electricity Connection Gujarat Electricity Regulatory Commission (GERC) | NA | Pending |
|  | Building and civil works Plan Sanction Approval Concerned local development authority | - | Pending |
|  | Pre-establishment fire NOC The Fire and Emergency Services (FES) department of the Ahmedabad Municipal Corporation (AMC) | - | Apply in due course |
|  | Fire NOC (on completion) The Fire and Emergency Services (FES) department of the Ahmedabad Municipal Corporation (AMC) | - | Will be Applied post C.O.D |

AHAMDABAD (DETROJ) LOCATION

| S. No. | REQUIRED APPROVALS | DATE REFERENCE NO. | STATUS (Approved/ Applied For/ Pending) |
| --- | --- | --- | --- |
|  | Consent to Establish (CTE) under air & water Act Gujrat Pollution Control Board (GPCB) | - | Pending |
|  | Land conversion to Industrial/Non agriculture Sub Divisional Magistrate, Ahamdabad, Gujrat. | NA | Done |
|  | FSSAI License The Food Safety and Standards Authority of India (FSSAI) | - | Pending |
|  | Gujarat Electricity Regulatory Commission (GERC) | NA | Pending |
|  | Building and civil works Plan Sanction Approval Concerned local development authority | - | Pending |
|  | Pre-establishment fire NOC The Fire and Emergency Services (FES) department of the Ahmedabad Municipal Corporation (AMC) | - | Apply in due course |
|  | Fire NOC (on completion) The Fire and Emergency Services (FES) department of the Ahmedabad Municipal Corporation (AMC) | - | Will be Applied post C.O.D |

Observation Note:

- As per the data/information provided by client, CRPL will apply for Consent to establish to the respective Pollution control board authorities.

- As per the LOI with property owners shared by client, CRPL has taken Industrial premises at Dhoom, Manikpur, (U.P.), Pune, Kheda & Detroj (Ahmadabad) for developing cold storage/warehouses as a part of expansion. Hence Company does not require to apply for any CLU.

- As per the data/information provided by the client, FASSAI certificates will be obtained by the clients of CRPL (Zepto & Falcon) on or before C.O.D. as it is out of scope of M/s CRPL.

- As per the LOI with property owners shared by client, Electricity connections with electric supply point will be provided by respective property owners as per the scope of work mentioned. Accordingly, power supply of 400Kva at Dhoom Manikpur, (UP), 300Kva at Pune, 300Kva at Kheda (Ahamdabad), 500Kva at Detroj (Ahamdabad) will be available for proposed cold storage/warehouses and CRPL does not required to apply for new electricity connections.

- CRPL is in the process to apply for Pre-establishment fire NOC and Fire NOC (on completion) will be applied post C.O.D by the company to the respective Fire department authorities.

- Above is the only illustration of the major approvals sought or to be sought by the company. It should not be construed as the exhaustive list and in case any approval is missed to be mentioned then it is the sole responsibility of the company to keep the unit compliant with the necessary statutory approvals/ NOCs.

| PART K | PROJECT’S FINANCIAL FEASIBILITY |
| --- | --- |

- PROJECTIONS OF THE PROJECT:

The financial projections of the proposed Cold Store project are prepared from FY 2025 to FY 2035 based on the expected COD and loan tenure as per the best practice in industry to assess the financial feasibility of the project:

LOCATION 1: NOIDA COLD STORE

- PROJECTED PROFIT & LOSS ACCOUNT:

(INR Crore)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 4 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Revenue |  |  |  |  |  |  |  |  |  |  |
| Revenue | 3.72 | 11.32 | 11.69 | 12.18 | 12.61 | 13.06 | 13.65 | 14.17 | 14.72 | 15.43 |
| Cost of Sales |  |  |  |  |  |  |  |  |  |  |
| Rental Expenses | 0.68 | 2.04 | 2.04 | 2.14 | 2.14 | 2.14 | 2.25 | 2.25 | 2.25 | 2.36 |
| Cost of Manpower Supply | 1.02 | 3.29 | 3.54 | 3.80 | 4.09 | 4.39 | 4.72 | 5.08 | 5.46 | 5.87 |
| Repair & Maintenance | 0.00 | 0.00 | 0.20 | 0.21 | 0.22 | 0.23 | 0.25 | 0.26 | 0.27 | 0.29 |
| Electricity Expenses | 0.40 | 1.25 | 1.30 | 1.35 | 1.41 | 1.46 | 1.53 | 1.59 | 1.66 | 1.73 |
| Selling, General & Administrative Expenses | 0.06 | 0.17 | 0.18 | 0.18 | 0.19 | 0.20 | 0.20 | 0.21 | 0.22 | 0.23 |
| Operating Expenses | 2.15 | 6.74 | 7.25 | 7.69 | 8.05 | 8.43 | 8.95 | 9.39 | 9.86 | 10.48 |
| EBITDA | 1.57 | 4.57 | 4.44 | 4.50 | 4.56 | 4.63 | 4.70 | 4.78 | 4.86 | 4.96 |
| Depreciation | 0.30 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 |
| EBIT | 1.26 | 3.67 | 3.53 | 3.59 | 3.65 | 3.72 | 3.79 | 3.87 | 3.96 | 4.05 |
| Interest expenses |  |  |  |  |  |  |  |  |  |  |
| Interest on term loan | 0.39 | 1.11 | 0.99 | 0.86 | 0.70 | 0.53 | 0.32 | 0.09 | 0.00 | 0.00 |
| Interest on working capital | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 |
| Total Interest Expenses | 0.44 | 1.15 | 1.04 | 0.91 | 0.75 | 0.57 | 0.36 | 0.13 | 0.04 | 0.04 |
| Profit before Taxes (PBT) | 0.83 | 2.51 | 2.49 | 2.68 | 2.90 | 3.15 | 3.43 | 3.74 | 3.91 | 4.01 |
| Current Tax | 0.00 | 0.43 | 0.43 | 0.46 | 0.50 | 0.62 | 0.88 | 0.98 | 1.05 | 1.10 |
| Deferred Tax | -0.48 | -0.24 | -0.18 | -0.12 | -0.07 | -0.02 | 0.01 | 0.04 | 0.07 | 0.09 |
| Applicable taxes | 0.48 | 0.68 | 0.60 | 0.58 | 0.57 | 0.65 | 0.86 | 0.94 | 0.99 | 1.01 |
| Profit after Taxes (PAT) | 0.35 | 1.84 | 1.89 | 2.10 | 2.34 | 2.50 | 2.57 | 2.80 | 2.93 | 3.00 |

- PROFORMA BALANCE SHEET:

Below table shows the Projected Balance Sheet of the proposed Noida location cold store project from the period FY 2025 to FY 2035. From 1st March 2025 to 30th November 2025 would be the implementation period of the project:

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Nov-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 1 | 8 | 4 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Liabilities |  |  |  |  |  |  |  |  |  |  |  |  |
| Equity | 4.40 | 4.40 | 4.63 | 4.63 | 4.63 | 4.63 | 4.63 | 4.63 | 4.63 | 4.63 | 4.63 | 4.63 |
| Reserve & Surplus |  |  | 0.35 | 2.19 | 4.08 | 6.18 | 8.52 | 11.02 | 13.59 | 16.39 | 19.32 | 22.32 |
| Secured Loan | 3.47 | 13.78 | 12.39 | 11.00 | 9.33 | 7.25 | 5.16 | 2.39 | 0.00 | 0.00 | 0.00 | 0.00 |
| Current Liabilities |  |  |  |  |  |  |  |  |  |  |  |  |
| Trade Payables |  |  | 0.01 | 0.02 | 0.05 | 0.05 | 0.05 | 0.05 | 0.06 | 0.06 | 0.06 | 0.06 |
| Term Liabilities Payable Within One Year | 0.00 | 0.12 | 1.39 | 1.39 | 1.67 | 2.08 | 2.08 | 2.78 | 2.39 | 0.00 | 0.00 | 0.00 |
| Cc Limit |  |  | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 |
| Total | 7.88 | 18.30 | 19.27 | 19.73 | 20.25 | 20.69 | 20.95 | 21.37 | 21.16 | 21.58 | 24.51 | 27.51 |
| Gross Assets |  |  |  |  |  |  |  |  |  |  |  |  |
| Land Acquisition Cost | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Land Development Cost | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Civil Work / Construction | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 |
| Plant & Machinery | 5.02 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 |
| Misc. Fix Assets | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total Gross Block | 7.03 | 15.33 | 15.33 | 15.33 | 15.33 | 15.33 | 15.33 | 15.33 | 15.33 | 15.33 | 15.33 | 15.33 |
| Depreciation |  |  | 0.30 | 1.21 | 2.12 | 3.02 | 3.93 | 4.84 | 5.75 | 6.65 | 7.56 | 8.47 |
| Net Block | 7.03 | 15.33 | 15.03 | 14.12 | 13.22 | 12.31 | 11.40 | 10.50 | 9.59 | 8.68 | 7.77 | 6.87 |
| Differed Tax Asset | 0.00 | 0.00 | -0.48 | -0.72 | -0.90 | -1.02 | -1.08 | -1.11 | -1.10 | -1.05 | -0.98 | -0.89 |
| Balance With Gov. Authorities | 0.00 | 2.12 | 1.83 | 1.01 | 0.21 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Mat Credit Entitlement |  |  | 0.00 | 0.43 | 0.41 | 0.31 | 0.15 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Security Deposit To Landlord | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 |
| Current Assets |  |  |  |  |  |  |  |  |  |  |  |  |
| Trade Receivables |  |  | 0.31 | 0.93 | 0.96 | 1.00 | 1.04 | 1.07 | 1.12 | 1.16 | 1.21 | 1.27 |
| Cash & Bank | 0.00 | 0.00 | 1.73 | 3.11 | 5.51 | 7.24 | 8.60 | 10.06 | 10.70 | 11.93 | 15.66 | 19.42 |
| Preliminary Expenses W/Off |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total | 7.88 | 18.30 | 19.27 | 19.73 | 20.25 | 20.69 | 20.95 | 21.37 | 21.16 | 21.58 | 24.51 | 27.51 |

- PROJECTED CASH FLOW STATEMENT:

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Nov-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 1 | 8 | 4 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Cash Flow from Operating Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Profit before Tax | 0.00 | 0.00 | 0.83 | 2.51 | 2.49 | 2.68 | 2.90 | 3.15 | 3.43 | 3.74 | 3.91 | 4.01 |
| Add: Non-Cash Expenses/ Non-Operating Expenses/(Non-Operating Income) | 0.00 | 0.00 | 0.00 | 0.30 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 |
| Add: Interest Expense | 0.00 | 0.00 | 0.44 | 1.15 | 1.04 | 0.91 | 0.75 | 0.57 | 0.36 | 0.13 | 0.04 | 0.04 |
| Increase in Sundry Debtors | 0.00 | 0.00 | -0.31 | -0.62 | -0.03 | -0.04 | -0.03 | -0.04 | -0.05 | -0.04 | -0.05 | -0.06 |
| NET GST ASSET | 0.00 | -2.12 | 0.28 | 0.82 | 0.80 | 0.81 | 0.82 | 0.83 | 0.85 | 0.86 | 0.88 | 0.89 |
| Change in MAT | 0.00 | 0.00 | 0.00 | -0.43 | 0.02 | 0.10 | 0.17 | 0.15 | 0.00 | 0.00 | 0.00 | 0.00 |
| Increase in Sundry Creditors | 0.00 | 0.00 | 0.01 | 0.01 | 0.03 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Cash Generated from Operations | 0.00 | -2.12 | 1.55 | 4.36 | 5.25 | 5.36 | 5.51 | 5.57 | 5.50 | 5.60 | 5.70 | 5.79 |
| GST Paid | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.60 | 0.82 | 0.83 | 0.85 | 0.86 | 0.88 | 0.89 |
| Income Taxes paid | 0.00 | 0.00 | 0.00 | 0.43 | 0.43 | 0.46 | 0.50 | 0.62 | 0.88 | 0.98 | 1.05 | 1.10 |
| Net Cash from Operating Activities | 0.00 | -2.12 | 1.55 | 3.93 | 4.83 | 4.31 | 4.19 | 4.11 | 3.78 | 3.75 | 3.77 | 3.80 |
| Cash Flow from Investing Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Purchase of Fixed Assets | -7.03 | -8.31 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Security Deposit | -0.85 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Net Cash from Investing Activities | -7.88 | -8.31 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Cash Flow from Financing Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Increase in Equity / Share Capital/USL | 4.40 | 0.00 | 0.23 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Increase in TL | 3.47 | 10.42 | -0.12 | -1.39 | -1.39 | -1.67 | -2.08 | -2.08 | -2.78 | -2.39 | 0.00 | 0.00 |
| Increase in CC Limit | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Interest Paid | 0.00 | 0.00 | -0.44 | -1.15 | -1.04 | -0.91 | -0.75 | -0.57 | -0.36 | -0.13 | -0.04 | -0.04 |
| Net Cash from Financing Activities | 7.88 | 10.42 | 0.18 | -2.54 | -2.43 | -2.57 | -2.83 | -2.65 | -3.14 | -2.51 | -0.04 | -0.04 |
| Net increase in cash and cash equivalents | 0.00 | 0.00 | 1.73 | 1.38 | 2.40 | 1.73 | 1.36 | 1.46 | 0.64 | 1.24 | 3.72 | 3.76 |
| Cash and cash equivalents at beginning of period | 0.00 | 0.00 | 0.00 | 1.73 | 3.11 | 5.51 | 7.24 | 8.60 | 10.06 | 10.70 | 11.93 | 15.66 |
| Cash and cash equivalents at end of period | 0.00 | 0.00 | 1.73 | 3.11 | 5.51 | 7.24 | 8.60 | 10.06 | 10.70 | 11.93 | 15.66 | 19.42 |

- KEY FINANCIAL RATIO:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 4 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| EBITDA Margin % | 42.10% | 40.42% | 37.96% | 36.90% | 36.16% | 35.43% | 34.44% | 33.73% | 33.03% | 32.12% |
| Average | 36.23% |  |  |  |  |  |  |  |  |  |
| EBIT Margin % | 33.97% | 32.40% | 30.19% | 29.45% | 28.96% | 28.48% | 27.79% | 27.33% | 26.87% | 26.24% |
| Average | 29.17% |  |  |  |  |  |  |  |  |  |
| PAT Margin % | 9.43% | 16.23% | 16.16% | 17.27% | 18.55% | 19.16% | 18.80% | 19.77% | 19.89% | 19.43% |
| Average | 17.47% |  |  |  |  |  |  |  |  |  |
| Revenue growth rate Y-o-Y (%) |  | 204.17% | 3.24% | 4.27% | 3.45% | 3.58% | 4.55% | 3.79% | 3.92% | 4.83% |
| Average | 26.20% |  |  |  |  |  |  |  |  |  |

Note: The proposed Noida cold storage project is having an average revenue growth rate of 26.20% during the forecasted period. Average EBITDA Margin & EBIT Margin of the project are 36.23% & 29.17% respectively.  The project will be operational from 1st March 2025 and as per the trends analysis above, PAT margin is growing from 9.43% in FY 2026 to 19.43% in FY 2035 due to the lower interest cost on borrowings in the later projected years.

- ESTIMATED KEY FINANCIAL METRICS: DEBT SERVICE COVERAGE RATIO (D.S.C.R)

(INR Crore except D.S.C.R)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 4 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Cash accrual | 1.13 | 2.99 | 2.97 | 3.13 | 3.31 | 3.43 | 3.46 | 3.66 | 3.77 | 3.81 |
| Interest on term loan | 0.39 | 1.11 | 0.99 | 0.86 | 0.70 | 0.53 | 0.32 | 0.09 | 0.00 | 0.00 |
| Interest on WC | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 |
| Subtotal | 1.57 | 4.14 | 4.01 | 4.04 | 4.06 | 4.00 | 3.83 | 3.79 | 3.81 | 3.86 |
| Interest on term loan | 0.39 | 1.11 | 0.99 | 0.86 | 0.70 | 0.53 | 0.32 | 0.09 | 0.00 | 0.00 |
| Interest on WC | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 |
| Loan Repayment | 0.12 | 1.39 | 1.39 | 1.67 | 2.08 | 2.08 | 2.78 | 2.39 | 0.00 | 0.00 |
| Subtotal | 0.55 | 2.54 | 2.43 | 2.57 | 2.83 | 2.65 | 3.14 | 2.51 | 0.04 | 0.04 |
| DSCR | 2.84 | 1.63 | 1.65 | 1.57 | 1.43 | 1.51 | 1.22 | 1.51 |  |  |
| Average DSCR | 1.67 |  |  |  |  |  |  |  |  |  |
| Maximum DSCR | 2.84 |  |  |  |  |  |  |  |  |  |

Note: D.S.C.R has been calculated for loan repayment period from FY 2026 to FY 2033. The proposed Noida Cold storage project is having a D.S.C.R of more than 1 during the projected loan repayment period.

- NPV,IRR AND PAYBACK PERIOD OF THE PROJECT:

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Nov-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 1 | 8 | 4 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| EBIT | 0.00 | 0.00 | 1.26 | 3.67 | 3.53 | 3.59 | 3.65 | 3.72 | 3.79 | 3.87 | 3.96 | 4.05 |
| Less: Taxes | 0.00 | 0.00 | 0.32 | 0.92 | 0.89 | 0.90 | 0.92 | 0.94 | 0.95 | 0.97 | 1.00 | 1.02 |
| Add: Depreciation & Amortisation | 0.00 | 0.00 | 0.30 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 |
| NOPAT | 0.00 | 0.00 | 1.25 | 3.65 | 3.55 | 3.59 | 3.64 | 3.69 | 3.75 | 3.80 | 3.87 | 3.94 |
| Increase/(Decrease) in working capital | 0.00 | 0.00 | 0.30 | 0.61 | 0.00 | 0.04 | 0.03 | 0.03 | 0.05 | 0.04 | 0.04 | 0.06 |
| Capex | 7.03 | 8.31 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Free Cash Flow to Firm (FCFF) | -7.03 | -8.31 | 0.95 | 3.04 | 3.54 | 3.55 | 3.61 | 3.65 | 3.70 | 3.76 | 3.82 | 3.88 |
| Discount Period | 0.08 | 0.75 | 1.08 | 2.08 | 3.08 | 4.08 | 5.08 | 6.08 | 7.08 | 8.08 | 9.08 | 10.08 |
| Discount Factor | 0.99 | 0.93 | 0.90 | 0.82 | 0.75 | 0.68 | 0.62 | 0.56 | 0.51 | 0.47 | 0.43 | 0.39 |
| PV of FCFF | -6.97 | -7.74 | 0.86 | 2.50 | 2.65 | 2.42 | 2.23 | 2.06 | 1.90 | 1.76 | 1.63 | 1.50 |
| Terminal Value of the project |  |  |  |  |  |  |  |  |  |  |  | 41.62 |
| PV of Terminal Value |  |  |  |  |  |  |  |  |  |  |  | 16.10 |
| FCFF+TV | -7.03 | -8.31 | 0.95 | 3.04 | 3.54 | 3.55 | 3.61 | 3.65 | 3.70 | 3.76 | 3.82 | 45.50 |
| PV of FCF+ PV of Terminal Value | -6.97 | -7.74 | 0.86 | 2.50 | 2.65 | 2.42 | 2.23 | 2.06 | 1.90 | 1.76 | 1.63 | 17.60 |
| NPV | INR 20.73 Crore |  |  |  |  |  |  |  |  |  |  |  |
| IRR | 26.09% |  |  |  |  |  |  |  |  |  |  |  |

| Key Input for NPV & IRR |  |
| --- | --- |
| Weight of Debt Wd | 75% |
| Cost of Debt Kd | 8.50% |
| Tax | 25.17% |
| Post tax Kd | 6.36% |
| Weight of Equity We | 25% |
| Cost of Equity Ke | 12.42% |
| WACC | 7.88% |
| Project Risk Premium | 2.00% |
| Discount rate | 9.88% |
| Expected growth rate(Terminal) | 0.50% |

| Payback Period of the project |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 4 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| No. Of Years | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Cash Accrual | 1.13 | 2.99 | 2.97 | 3.13 | 3.31 | 3.43 | 3.46 | 3.66 | 3.77 | 3.81 |
| Accumulated Cash Accrual | 1.13 | 4.12 | 7.09 | 10.22 | 13.53 | 16.97 | 20.43 | 24.09 | 27.86 | 31.67 |
| TPC | INR 18.30 Cr. |  |  |  |  |  |  |  |  |  |
| Payback Period | 6.38 Years |  |  |  |  |  |  |  |  |  |

Thus, the Noida cold storage project will be having a payback period of 6.38 years and NPV & IRR of the project is INR 20.73 Crore & 26.09% respectively from C.O.D to loan repayment period, which indicates worthiness of the project.

- SENSITIVITY ANALYSIS:

Sensitivity analysis of the project with respect to various expected variables has been shown in the below table:

| Sensitivity Analysis | Average DSCR | NPV | IRR | Payback Period |
| --- | --- | --- | --- | --- |
| As a base case | 1.67 | INR 20.73 Crore | 26.09% | 6.38 years |
| If Sales is decreased by 5% | 1.48 | INR 15.79 Crore | 22.96% | 7.23 years |
| If sales is decreased by 10% | 1.28 | INR 10.85 Crore | 19.50% | 8.45 years |
| If operating expenses is increased by 5% | 1.56 | INR 17.44 Crore | 24.06% | 6.87 years |
| If operating expenses is increased by 10% | 1.43 | INR 14.15 Crore | 21.90% | 7.51 years |
| If interest rate increased by 0.5% | 1.63 | INR 19.58 Crore | 25.84% | 6.47 years |
| If interest rate increased by 1% | 1.60 | INR 18.50 Crore | 25.60% | 6.55 years |
| If Repairs & Maintenance Expenses increased by 1% | 1.64 | INR 19.65 Crore | 25.51% | 6.53 years |
| If Administrative Expenses increased by 1% | 1.63 | INR 19.75 Crore | 25.49% | 6.55 years |

Observation: The proposed project is found comparatively higher sensitive with respect to the downside variation in the projected revenue, than the upside variation in the projected operational expenses and any surge in the interest rate.

- OTHER FINANCIAL RATIOS:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 4 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Return on Capital employed (%) | 7.28% | 20.58% | 19.56% | 19.87% | 19.94% | 20.62% | 20.82% | 18.42% | 16.52% | 15.03% |
| Average | 17.86% |  |  |  |  |  |  |  |  |  |
| Return on Investment (%) | 1.91% | 10.79% | 12.08% | 15.07% | 19.68% | 25.54% | 36.58% | 60.47% | 63.24% | 64.76% |
| Average | 31.01% |  |  |  |  |  |  |  |  |  |
| Return on Net Worth | 7.05% | 26.94% | 21.68% | 19.46% | 17.78% | 15.98% | 14.09% | 13.32% | 12.23% | 11.13% |
| Average | 15.97% |  |  |  |  |  |  |  |  |  |
| DSCR | 2.84 | 1.63 | 1.65 | 1.57 | 1.43 | 1.51 | 1.22 | 1.51 | 0.00 | 0.00 |
| Average | 1.67 |  |  |  |  |  |  |  |  |  |
| ISCR | 3.60 | 3.96 | 4.28 | 4.96 | 6.10 | 8.11 | 12.94 | 36.85 | 114.44 | 116.65 |
| Average | 31.19 |  |  |  |  |  |  |  |  |  |
| Fixed Asset Coverage Ratio | 1.21 | 1.28 | 1.42 | 1.70 | 2.21 | 4.40 |  |  |  |  |
| Average | 2.04 |  |  |  |  |  |  |  |  |  |
| Current Ratio | 44.44 | 44.44 | 20.61 | 20.53 | 20.36 | 20.21 | 20.17 | 20.04 | 19.92 | 19.91 |
| Average | 25.06 |  |  |  |  |  |  |  |  |  |
| TOL/TNW | 2.87 | 1.89 | 1.33 | 0.91 | 0.59 | 0.37 | 0.16 | 0.03 | 0.02 | 0.02 |
| Average | 0.82 |  |  |  |  |  |  |  |  |  |
| Debt to Equity Ratio | 2.98 | 2.68 | 2.38 | 2.02 | 1.57 | 1.12 | 0.52 | 0.00 | 0.00 | 0.00 |
| Average | 1.32 |  |  |  |  |  |  |  |  |  |

- BREAK-EVEN ANALYSIS:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 4 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Sales | 3.72 | 11.32 | 11.69 | 12.18 | 12.61 | 13.06 | 13.65 | 14.17 | 14.72 | 15.43 |
| Variable Expenses | 0.06 | 0.17 | 0.18 | 0.18 | 0.19 | 0.20 | 0.20 | 0.21 | 0.22 | 0.23 |
| Contribution | 3.67 | 11.15 | 11.51 | 12.00 | 12.42 | 12.86 | 13.45 | 13.96 | 14.50 | 15.20 |
| Fixed Expenses | 2.10 | 6.57 | 7.08 | 7.51 | 7.86 | 8.23 | 8.74 | 9.18 | 9.64 | 10.25 |
| Profit / PBT | 1.57 | 4.57 | 4.44 | 4.50 | 4.56 | 4.63 | 4.70 | 4.78 | 4.86 | 4.96 |
| PV RATIO (Contr. / Sales) | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% |
| BEP Sales (Fix Exps. / Contr. * Sales) | 2.13 | 6.67 | 7.18 | 7.62 | 7.98 | 8.36 | 8.88 | 9.32 | 9.79 | 10.40 |
| BEP% (BEP Sales / sales) | 57.26% | 58.97% | 61.47% | 62.54% | 63.29% | 64.03% | 65.04% | 65.75% | 66.46% | 67.39% |

- TERM LOAN INPUTS:

| Term Loan Repayment Inputs |  |
| --- | --- |
| Total loan amount | INR 13.89 Crore |
| Rate of Interest | 8.50% |
| 1st Disbursement | March-25 |
| IDC Start & End Month | March-25 to Nov-25 |
| IDC Period (construction period) | 9 Month |
| Commencement /Operation Start | 1st December 2025 |
| Moratorium Start & End Month (only interest to pay) | March 2025 to Feb 2026 |
| Moratorium Period after COD | 03 Month |
| Repayment Start | March-2026 |
| Repayment End | Feb-2033 |
| Repayment Period | 07 Years |

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Nov-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 1 | 8 | 4 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Opening Bal | 0.00 | 3.47 | 13.89 | 13.78 | 12.39 | 11.00 | 9.33 | 7.25 | 5.16 | 2.39 | 0.00 | 0.00 |
| Disbursement | 3.47 | 10.42 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Repayment | 0.00 | 0.00 | 0.12 | 1.39 | 1.39 | 1.67 | 2.08 | 2.08 | 2.78 | 2.39 | 0.00 | 0.00 |
| Closing Principal o/s | 3.47 | 13.89 | 13.78 | 12.39 | 11.00 | 9.33 | 7.25 | 5.16 | 2.39 | 0.00 | 0.00 | 0.00 |
| Interest | 0.02 | 0.71 | 0.39 | 1.11 | 0.99 | 0.86 | 0.70 | 0.53 | 0.32 | 0.09 | 0.00 | 0.00 |
| IDC | 0.02 | 0.71 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| TL Interest | 0.00 | 0.00 | 0.39 | 1.11 | 0.99 | 0.86 | 0.70 | 0.53 | 0.32 | 0.09 | 0.00 | 0.00 |

- DEPRECIATION SCHEDULE (STRAIGHT  LINE METHOD):

(INR Crore)

| Depreciation Schedule as per Company's Act, 2013 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Particular | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| Building & Civil Works | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 | 2.01 |
| Less : SLM Depreciation | 0.02 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 |
| Carrying Value Building & Civil Works | 1.99 | 1.92 | 1.86 | 1.80 | 1.73 | 1.67 | 1.60 | 1.54 | 1.48 | 1.41 |
| Plant & Machinery | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 | 13.33 |
| Less : SLM Depreciation | 0.28 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 |
| Carrying Value of Plant & Machinery | 13.04 | 12.20 | 11.36 | 10.51 | 9.67 | 8.83 | 7.98 | 7.14 | 6.30 | 5.45 |
| Misc. Fix Assets | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Less : SLM Depreciation | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Carrying Value of Misc. Fixed Asset | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total SLM Depreciation | 0.30 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 | 0.91 |

- WORKING CAPITAL ASSESSMENT:

(INR Crore)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Current Assets | 0.31 | 0.93 | 0.96 | 1.00 | 1.04 | 1.07 | 1.12 | 1.16 | 1.21 | 1.27 |
| Current Liabilities | 0.01 | 0.02 | 0.05 | 0.05 | 0.05 | 0.05 | 0.06 | 0.06 | 0.06 | 0.06 |
| Working Capital | 0.30 | 0.91 | 0.91 | 0.95 | 0.99 | 1.02 | 1.07 | 1.11 | 1.15 | 1.20 |
| Working Capital Margin @25% | 0.07 | 0.23 | 0.23 | 0.24 | 0.25 | 0.26 | 0.27 | 0.28 | 0.29 | 0.30 |
| Working Capital gap | 0.22 | 0.68 | 0.69 | 0.71 | 0.74 | 0.77 | 0.80 | 0.83 | 0.86 | 0.90 |
| Working Capital Requirement | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 | 0.50 |
| Interest on working capital loan | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 |

LOCATION 2: PUNE COLD STORAGE

- PROJECTED PROFIT & LOSS ACCOUNT:

(INR Crore)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Revenue |  |  |  |  |  |  |  |  |  |  |
| Revenue | 2.53 | 5.16 | 5.30 | 5.50 | 5.67 | 5.84 | 6.07 | 6.28 | 6.49 | 6.77 |
| Cost of Sales |  |  |  |  |  |  |  |  |  |  |
| Rental Expenses | 0.38 | 0.77 | 0.77 | 0.81 | 0.81 | 0.81 | 0.85 | 0.85 | 0.85 | 0.89 |
| Cost of Manpower Supply | 0.51 | 1.10 | 1.18 | 1.27 | 1.36 | 1.46 | 1.57 | 1.69 | 1.82 | 1.96 |
| Repair & Maintenance | 0.00 | 0.00 | 0.13 | 0.14 | 0.14 | 0.15 | 0.16 | 0.17 | 0.17 | 0.18 |
| Electricity Expenses | 0.47 | 0.98 | 1.02 | 1.06 | 1.10 | 1.15 | 1.19 | 1.25 | 1.30 | 1.35 |
| Selling, General & Administrative Expenses | 0.04 | 0.08 | 0.08 | 0.08 | 0.08 | 0.09 | 0.09 | 0.09 | 0.10 | 0.10 |
| Operating Expenses | 1.40 | 2.92 | 3.17 | 3.35 | 3.50 | 3.65 | 3.86 | 4.04 | 4.23 | 4.48 |
| EBITDA | 1.13 | 2.24 | 2.13 | 2.15 | 2.17 | 2.19 | 2.21 | 2.23 | 2.26 | 2.29 |
| Depreciation | 0.28 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 |
| EBIT | 0.86 | 1.69 | 1.58 | 1.60 | 1.62 | 1.64 | 1.66 | 1.68 | 1.71 | 1.74 |
| Interest expenses |  |  |  |  |  |  |  |  |  |  |
| Interest on term loan | 0.35 | 0.65 | 0.58 | 0.51 | 0.41 | 0.30 | 0.18 | 0.04 | 0.00 | 0.00 |
| Interest on working capital | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |
| Total Interest Expenses | 0.38 | 0.68 | 0.61 | 0.53 | 0.44 | 0.33 | 0.21 | 0.07 | 0.03 | 0.03 |
| Profit before Taxes (PBT) | 0.48 | 1.01 | 0.97 | 1.07 | 1.18 | 1.31 | 1.45 | 1.62 | 1.68 | 1.71 |
| Current Tax | 0.00 | 0.15 | 0.17 | 0.18 | 0.20 | 0.22 | 0.25 | 0.40 | 0.47 | 0.49 |
| Deferred Tax | -0.27 | -0.15 | -0.11 | -0.07 | -0.04 | -0.01 | 0.01 | 0.03 | 0.04 | 0.06 |
| Applicable taxes | 0.27 | 0.29 | 0.27 | 0.25 | 0.24 | 0.24 | 0.24 | 0.38 | 0.42 | 0.43 |
| Profit after Taxes (PAT) | 0.21 | 0.72 | 0.70 | 0.81 | 0.94 | 1.07 | 1.21 | 1.24 | 1.26 | 1.28 |

- PROFORMA BALANCE SHEET:

Below table shows the Projected Balance Sheet of the proposed Pune location cold storage project from the period FY 2025 to FY 2035. From 1st January 2025 to 30th September 2025 would be the implementation period of the project:

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Sep-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 6 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Liabilities |  |  |  |  |  |  |  |  |  |  |  |  |
| Equity | 2.67 | 2.67 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 |
| Reserve & Surplus |  |  | 0.21 | 0.93 | 1.63 | 2.44 | 3.38 | 4.45 | 5.66 | 6.90 | 8.16 | 9.44 |
| Secured Loan | 6.24 | 8.11 | 7.28 | 6.45 | 5.45 | 4.20 | 2.95 | 1.29 | 0.00 | 0.00 | 0.00 | 0.00 |
| Current Liabilities |  |  |  |  |  |  |  |  |  |  |  |  |
| Trade Payables |  |  | 0.00 | 0.01 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.04 |
| Term Liabilities Payable Within One Year | 0.00 | 0.21 | 0.83 | 0.83 | 1.00 | 1.25 | 1.25 | 1.66 | 1.29 | 0.00 | 0.00 | 0.00 |
| Cc Limit |  |  | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 |
| Total | 8.91 | 10.99 | 11.41 | 11.29 | 11.18 | 11.00 | 10.69 | 10.51 | 10.06 | 10.01 | 11.27 | 12.55 |
| Gross Assets |  |  |  |  |  |  |  |  |  |  |  |  |
| Land Acquisition Cost | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Land Development Cost | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Civil Work / Construction | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 |
| Plant & Machinery | 7.46 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 |
| Misc. Fix Assets | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total Gross Block | 8.53 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 |
| Depreciation |  |  | 0.28 | 0.83 | 1.38 | 1.93 | 2.48 | 3.03 | 3.58 | 4.13 | 4.68 | 5.23 |
| Net Block | 8.53 | 9.23 | 8.96 | 8.41 | 7.86 | 7.30 | 6.75 | 6.20 | 5.65 | 5.10 | 4.55 | 4.00 |
| Differed Tax Asset | 0.00 | 0.00 | -0.27 | -0.41 | -0.52 | -0.59 | -0.63 | -0.64 | -0.64 | -0.61 | -0.57 | -0.51 |
| Balance With Gov. Authorities | 0.00 | 1.38 | 1.17 | 0.77 | 0.39 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Mat Credit Entitlement |  |  | 0.00 | 0.15 | 0.31 | 0.30 | 0.24 | 0.15 | 0.03 | 0.00 | 0.00 | 0.00 |
| Security Deposit To Landlord | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 |
| Current Assets |  |  |  |  |  |  |  |  |  |  |  |  |
| Trade Receivables |  |  | 0.21 | 0.42 | 0.44 | 0.45 | 0.47 | 0.48 | 0.50 | 0.52 | 0.53 | 0.56 |
| Cash & Bank | 0.00 | 0.00 | 0.95 | 1.58 | 2.32 | 3.15 | 3.47 | 3.93 | 4.13 | 4.61 | 6.36 | 8.12 |
| Preliminary Expenses W/Off |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total | 8.91 | 10.99 | 11.41 | 11.29 | 11.18 | 11.00 | 10.69 | 10.51 | 10.06 | 10.01 | 11.27 | 12.55 |

- PROJECTED CASH FLOW STATEMENT:

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Sep-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 6 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Cash Flow from Operating Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Profit before Tax | 0.00 | 0.00 | 0.48 | 1.01 | 0.97 | 1.07 | 1.18 | 1.31 | 1.45 | 1.62 | 1.68 | 1.71 |
| Add: Non-Cash Expenses/ Non-Operating Expenses/(Non-Operating Income) | 0.00 | 0.00 | 0.28 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 |
| Add: Interest Expense | 0.00 | 0.00 | 0.38 | 0.68 | 0.61 | 0.53 | 0.44 | 0.33 | 0.21 | 0.07 | 0.03 | 0.03 |
| Increase in Sundry Debtors | 0.00 | 0.00 | -0.21 | -0.22 | -0.01 | -0.02 | -0.01 | -0.01 | -0.02 | -0.02 | -0.02 | -0.02 |
| NET GST ASSET | 0.00 | -1.38 | 0.20 | 0.40 | 0.38 | 0.39 | 0.39 | 0.39 | 0.40 | 0.40 | 0.41 | 0.41 |
| Change in MAT | 0.00 | 0.00 | 0.00 | -0.15 | -0.17 | 0.02 | 0.05 | 0.09 | 0.12 | 0.03 | 0.00 | 0.00 |
| Increase in Sundry Creditors | 0.00 | 0.00 | 0.00 | 0.00 | 0.02 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Cash Generated from Operations | 0.00 | -1.38 | 1.13 | 2.29 | 2.35 | 2.54 | 2.60 | 2.66 | 2.71 | 2.65 | 2.65 | 2.68 |
| GST Paid | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.39 | 0.39 | 0.40 | 0.40 | 0.41 | 0.41 |
| Income Taxes paid | 0.00 | 0.00 | 0.00 | 0.15 | 0.17 | 0.18 | 0.20 | 0.22 | 0.25 | 0.40 | 0.47 | 0.49 |
| Net Cash from Operating Activities | 0.00 | -1.38 | 1.13 | 2.14 | 2.19 | 2.35 | 2.01 | 2.04 | 2.07 | 1.84 | 1.78 | 1.78 |
| Cash Flow from Investing Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Purchase of Fixed Assets | -8.53 | -0.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Security Deposit | -0.38 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Net Cash from Investing Activities | -8.91 | -0.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Cash Flow from Financing Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Increase in Equity / Share Capital/USL | 2.67 | 0.00 | 0.10 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Increase in TL | 6.24 | 2.08 | -0.21 | -0.83 | -0.83 | -1.00 | -1.25 | -1.25 | -1.66 | -1.29 | 0.00 | 0.00 |
| Increase in CC Limit | 0.00 | 0.00 | 0.30 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Interest Paid | 0.00 | 0.00 | -0.38 | -0.68 | -0.61 | -0.53 | -0.44 | -0.33 | -0.21 | -0.07 | -0.03 | -0.03 |
| Net Cash from Financing Activities | 8.91 | 2.08 | -0.18 | -1.51 | -1.44 | -1.53 | -1.68 | -1.58 | -1.87 | -1.36 | -0.03 | -0.03 |
| Net increase in cash and cash equivalents | 0.00 | 0.00 | 0.95 | 0.63 | 0.75 | 0.82 | 0.32 | 0.46 | 0.20 | 0.48 | 1.75 | 1.75 |
| Cash and cash equivalents at beginning of period | 0.00 | 0.00 | 0.00 | 0.95 | 1.58 | 2.32 | 3.15 | 3.47 | 3.93 | 4.13 | 4.61 | 6.36 |
| Cash and cash equivalents at end of period | 0.00 | 0.00 | 0.95 | 1.58 | 2.32 | 3.15 | 3.47 | 3.93 | 4.13 | 4.61 | 6.36 | 8.12 |

- KEY FINANCIAL RATIO:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| EBITDA Margin % | 44.67% | 43.44% | 40.21% | 39.10% | 38.27% | 37.45% | 36.39% | 35.58% | 34.78% | 33.78% |
| Average | 38.37% |  |  |  |  |  |  |  |  |  |
| EBIT Margin % | 33.80% | 32.76% | 29.83% | 29.09% | 28.56% | 28.03% | 27.32% | 26.81% | 26.30% | 25.65% |
| Average | 28.81% |  |  |  |  |  |  |  |  |  |
| PAT Margin % | 8.41% | 13.87% | 13.20% | 14.82% | 16.58% | 18.30% | 19.96% | 19.72% | 19.39% | 18.91% |
| Average | 16.32% |  |  |  |  |  |  |  |  |  |
| Revenue growth rate Y-o-Y (%) |  | 103.72% | 2.82% | 3.68% | 3.02% | 3.13% | 3.96% | 3.33% | 3.45% | 4.24% |
| Average | 14.59% |  |  |  |  |  |  |  |  |  |

Note: The proposed Pune cold storage project is having an average revenue growth rate of 14.59% during the forecasted period. Average EBITDA Margin & EBIT Margin of the project are 38.37% & 28.81% respectively.  The project will be operational from 1st October 2025 and as per the trends analysis above, PAT margin is growing from 9.41% in FY 2026 to 18.91% in FY 2035 due to the lower interest cost on borrowings in the later projected years.

- ESTIMATED KEY FINANCIAL METRICS: DEBT SERVICE COVERAGE RATIO (D.S.C.R)

(INR Crore except D.S.C.R)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Cash accrual | 0.75 | 1.41 | 1.36 | 1.44 | 1.53 | 1.63 | 1.75 | 1.76 | 1.77 | 1.77 |
| Interest on term loan | 0.35 | 0.65 | 0.58 | 0.51 | 0.41 | 0.30 | 0.18 | 0.04 | 0.00 | 0.00 |
| Interest on WC | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |
| Subtotal | 1.13 | 2.09 | 1.97 | 1.97 | 1.97 | 1.96 | 1.96 | 1.83 | 1.79 | 1.80 |
| Interest on term loan | 0.35 | 0.65 | 0.58 | 0.51 | 0.41 | 0.30 | 0.18 | 0.04 | 0.00 | 0.00 |
| Interest on WC | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |
| Loan Repayment | 0.21 | 0.83 | 0.83 | 1.00 | 1.25 | 1.25 | 1.66 | 1.29 | 0.00 | 0.00 |
| Subtotal | 0.59 | 1.51 | 1.44 | 1.53 | 1.68 | 1.58 | 1.87 | 1.36 | 0.03 | 0.03 |
| DSCR | 1.93 | 1.38 | 1.36 | 1.29 | 1.17 | 1.24 | 1.05 | 1.35 |  |  |
| Average DSCR | 1.35 |  |  |  |  |  |  |  |  |  |
| Maximum DSCR | 1.93 |  |  |  |  |  |  |  |  |  |

Note: D.S.C.R has been calculated for loan repayment period from FY 2026 to FY 2033. The proposed Pune Cold storage project is having a D.S.C.R of more than 1 during the projected loan repayment period.

- NPV,IRR AND PAYBACK PERIOD OF THE PROJECT:

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Sep-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 6 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| EBIT | 0.00 | 0.00 | 0.86 | 1.69 | 1.58 | 1.60 | 1.62 | 1.64 | 1.66 | 1.68 | 1.71 | 1.74 |
| Less: Taxes | 0.00 | 0.00 | 0.22 | 0.43 | 0.40 | 0.40 | 0.41 | 0.41 | 0.42 | 0.42 | 0.43 | 0.44 |
| Add: Depreciation & Amortisation | 0.00 | 0.00 | 0.28 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 |
| NOPAT | 0.00 | 0.00 | 0.92 | 1.82 | 1.73 | 1.75 | 1.76 | 1.78 | 1.79 | 1.81 | 1.83 | 1.85 |
| Increase/(Decrease) in working capital | 0.00 | 0.00 | 0.20 | 0.21 | 0.00 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 |
| Capex | 8.53 | 0.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Free Cash Flow to Firm (FCFF) | -8.53 | -0.70 | 0.71 | 1.60 | 1.74 | 1.73 | 1.75 | 1.76 | 1.77 | 1.79 | 1.81 | 1.83 |
| Discount Period | 0.25 | 0.75 | 1.25 | 2.25 | 3.25 | 4.25 | 5.25 | 6.25 | 7.25 | 8.25 | 9.25 | 10.25 |
| Discount Factor | 0.98 | 0.93 | 0.89 | 0.81 | 0.74 | 0.67 | 0.61 | 0.56 | 0.51 | 0.46 | 0.42 | 0.38 |
| PV of FCFF | -8.33 | -0.66 | 0.63 | 1.30 | 1.28 | 1.16 | 1.07 | 0.98 | 0.90 | 0.83 | 0.76 | 0.70 |
| Terminal Value of the project |  |  |  |  |  |  |  |  |  |  |  | 19.60 |
| PV of Terminal Value |  |  |  |  |  |  |  |  |  |  |  | 7.46 |
| FCFF+TV | -8.53 | -0.70 | 0.71 | 1.60 | 1.74 | 1.73 | 1.75 | 1.76 | 1.77 | 1.79 | 1.81 | 21.43 |
| PV of FCF+ PV of Terminal Value | -8.33 | -0.66 | 0.63 | 1.30 | 1.28 | 1.16 | 1.07 | 0.98 | 0.90 | 0.83 | 0.76 | 8.16 |
| NPV | INR 8.13 Crore |  |  |  |  |  |  |  |  |  |  |  |
| IRR | 20.80% |  |  |  |  |  |  |  |  |  |  |  |

| Key Input for NPV & IRR |  |
| --- | --- |
| Weight of Debt Wd | 75% |
| Cost of Debt Kd | 8.50% |
| Tax | 25.17% |
| Post tax Kd | 6.36% |
| Weight of Equity We | 25% |
| Cost of Equity Ke | 12.42% |
| WACC | 7.88% |
| Project Risk Premium | 2.00% |
| Discount rate | 9.88% |
| Expected growth rate(Terminal) | 0.50% |

| Payback Period of the project |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| No. Of Years | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Cash Accrual | 0.75 | 1.41 | 1.36 | 1.44 | 1.53 | 1.63 | 1.75 | 1.76 | 1.77 | 1.77 |
| Accumulated Cash Accrual | 0.75 | 2.17 | 3.52 | 4.96 | 6.49 | 8.12 | 9.88 | 11.64 | 13.41 | 15.18 |
| TPC | INR 10.99 Cr. |  |  |  |  |  |  |  |  |  |
| Payback Period | 7.63 Years |  |  |  |  |  |  |  |  |  |

Thus, the Pune cold storage project will be having a payback period of 7.63 years and NPV & IRR of the project is INR 8.13 Crore & 20.80% respectively from C.O.D to loan repayment period, which indicates worthiness of the project.

- SENSITIVITY ANALYSIS:

Sensitivity analysis of the project with respect to various expected variables has been shown in the below table:

| Sensitivity Analysis | Average DSCR | NPV | IRR | Payback Period |
| --- | --- | --- | --- | --- |
| As a base case | 1.35 | INR 8.13 Crore | 20.80% | 7.63 years |
| If Sales is decreased by 5% | 1.20 | INR 5.91 Crore | 18.25% | 8.63 years |
| If sales is decreased by 10% | 1.06 | INR 3.69 Crore | 15.44% | 9.84 years |
| If operating expenses is increased by 5% | 1.25 | INR 6.70 Crore | 19.20% | 8.26 years |
| If operating expenses is increased by 10% | 1.17 | INR 5.27 Crore | 17.50% | 8.94 years |
| If interest rate increased by 0.5% | 1.32 | INR 7.58 Crore | 20.56% | 7.74 years |
| If interest rate increased by 1% | 1.30 | INR 7.06 Crore | 20.34% | 7.84 years |
| If Repairs & Maintenance Expenses increased by 1% | 1.31 | INR 7.44 Crore | 20.09% | 7.89 years |
| If Administrative Expenses increased by 1% | 1.32 | INR 7.69 Crore | 20.31% | 7.82 years |

Observation: The proposed project is found comparatively higher sensitive with respect to the downside variation in the projected revenue, than the upside variation in the projected operational expenses and any surge in the interest rate.

- OTHER FINANCIAL RATIOS:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Return on Capital employed (%) | 8.33% | 16.65% | 16.05% | 16.98% | 17.76% | 19.23% | 19.67% | 17.39% | 15.62% | 14.21% |
| Average | 16.19% |  |  |  |  |  |  |  |  |  |
| Return on Investment (%) | 1.96% | 7.12% | 7.59% | 9.91% | 13.46% | 18.67% | 29.83% | 44.61% | 45.38% | 46.14% |
| Average | 22.47% |  |  |  |  |  |  |  |  |  |
| Return on Net Worth | 7.13% | 19.33% | 15.90% | 15.62% | 15.26% | 14.80% | 14.37% | 12.79% | 11.51% | 10.48% |
| Average | 13.72% |  |  |  |  |  |  |  |  |  |
| DSCR | 1.93 | 1.38 | 1.36 | 1.29 | 1.17 | 1.24 | 1.05 | 1.35 | 0.00 | 0.00 |
| Average | 1.35 |  |  |  |  |  |  |  |  |  |
| ISCR | 3.00 | 3.30 | 3.50 | 4.05 | 4.98 | 6.64 | 10.74 | 32.94 | 88.56 | 89.66 |
| Average | 24.74 |  |  |  |  |  |  |  |  |  |
| Fixed Asset Coverage Ratio | 1.23 | 1.30 | 1.44 | 1.74 | 2.29 | 4.81 |  |  |  |  |
| Average | 2.13 |  |  |  |  |  |  |  |  |  |
| Current Ratio | 44.44 | 44.44 | 16.89 | 16.76 | 16.56 | 16.37 | 16.27 | 16.11 | 15.95 | 15.88 |
| Average | 21.97 |  |  |  |  |  |  |  |  |  |
| TOL/TNW | 2.82 | 2.05 | 1.54 | 1.11 | 0.74 | 0.45 | 0.19 | 0.03 | 0.03 | 0.03 |
| Average | 0.90 |  |  |  |  |  |  |  |  |  |
| Debt to Equity Ratio | 2.93 | 2.63 | 2.33 | 1.97 | 1.52 | 1.07 | 0.47 | 0.00 | 0.00 | 0.00 |
| Average | 1.29 |  |  |  |  |  |  |  |  |  |

- BREAK-EVEN ANALYSIS:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Sales | 2.53 | 5.16 | 5.30 | 5.50 | 5.67 | 5.84 | 6.07 | 6.28 | 6.49 | 6.77 |
| Variable Expenses | 0.04 | 0.08 | 0.08 | 0.08 | 0.08 | 0.09 | 0.09 | 0.09 | 0.10 | 0.10 |
| Contribution | 2.49 | 5.08 | 5.22 | 5.42 | 5.58 | 5.76 | 5.98 | 6.18 | 6.40 | 6.67 |
| Fixed Expenses | 1.36 | 2.84 | 3.09 | 3.27 | 3.41 | 3.57 | 3.77 | 3.95 | 4.14 | 4.38 |
| Profit / PBT | 1.13 | 2.24 | 2.13 | 2.15 | 2.17 | 2.19 | 2.21 | 2.23 | 2.26 | 2.29 |
| PV RATIO (Contr. / Sales) | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% |
| BEP Sales | 1.38 | 2.88 | 3.14 | 3.32 | 3.46 | 3.62 | 3.83 | 4.01 | 4.20 | 4.45 |
| BEP% (BEP Sales / sales) | 54.65% | 55.90% | 59.18% | 60.30% | 61.14% | 61.98% | 63.06% | 63.88% | 64.69% | 65.71% |

- TERM LOAN INPUTS:

| Term Loan Repayment Inputs |  |
| --- | --- |
| Total loan amount | INR 8.32 Crore |
| Rate of Interest | 8.50% |
| 1st Disbursement | Jan-25 |
| IDC Start & End Month | Jan 25 to Sep-25 |
| IDC Period (construction period) | 9 Month |
| Commencement /Operation Start | 1st October 2025 |
| Moratorium Start & End Month (only interest to pay) | Jan 2025 to Jan 2026 |
| Moratorium Period after COD | 03 Month |
| Repayment Start | Jan-2026 |
| Repayment End | Dec-2032 |
| Repayment Period | 07 Years |

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Sep-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 6 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Opening Bal | 0.00 | 6.24 | 8.32 | 8.11 | 7.28 | 6.45 | 5.45 | 4.20 | 2.95 | 1.29 | 0.00 | 0.00 |
| Disbursement | 6.24 | 2.08 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Repayment | 0.00 | 0.00 | 0.21 | 0.83 | 0.83 | 1.00 | 1.25 | 1.25 | 1.66 | 1.29 | 0.00 | 0.00 |
| Closing Principal o/s | 6.24 | 8.32 | 8.11 | 7.28 | 6.45 | 5.45 | 4.20 | 2.95 | 1.29 | 0.00 | 0.00 | 0.00 |
| Interest | 0.09 | 0.35 | 0.35 | 0.65 | 0.58 | 0.51 | 0.41 | 0.30 | 0.18 | 0.04 | 0.00 | 0.00 |
| IDC | 0.09 | 0.35 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| TL Interest | 0.00 | 0.00 | 0.35 | 0.65 | 0.58 | 0.51 | 0.41 | 0.30 | 0.18 | 0.04 | 0.00 | 0.00 |

- DEPRECIATION SCHEDULE (STRAIGHT  LINE METHOD):

(INR Crore)

| Depreciation Schedule as per Company's Act, 2013 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Particular | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| Building & Civil Works | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 |
| Less : SLM Depreciation | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |
| Carrying Value Building & Civil Works | 1.05 | 1.02 | 0.99 | 0.95 | 0.92 | 0.88 | 0.85 | 0.82 | 0.78 | 0.75 |
| Plant & Machinery | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 |
| Less : SLM Depreciation | 0.26 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 |
| Carrying Value of Plant & Machinery | 7.90 | 7.39 | 6.87 | 6.35 | 5.84 | 5.32 | 4.80 | 4.29 | 3.77 | 3.25 |
| Misc. Fix Assets | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Less : SLM Depreciation | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Carrying Value of Misc. Fixed Asset | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total SLM Depreciation | 0.28 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 |

- WORKING CAPITAL ASSESSMENT:

(INR Crore)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Current Assets | 0.21 | 0.42 | 0.44 | 0.45 | 0.47 | 0.48 | 0.50 | 0.52 | 0.53 | 0.56 |
| Current Liabilities | 0.00 | 0.01 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.04 |
| Working Capital | 0.20 | 0.41 | 0.41 | 0.43 | 0.44 | 0.45 | 0.47 | 0.48 | 0.50 | 0.52 |
| Working Capital Margin @25% | 0.05 | 0.10 | 0.10 | 0.11 | 0.11 | 0.11 | 0.12 | 0.12 | 0.13 | 0.13 |
| Working Capital gap | 0.15 | 0.31 | 0.31 | 0.32 | 0.33 | 0.34 | 0.35 | 0.36 | 0.38 | 0.39 |
| Working Capital Requirement | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 | 0.30 |
| Interest on working capital loan | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |

LOCATION 3: AHAMDABAD-1 (ZEPTO) COLD STORAGE

- PROJECTED PROFIT & LOSS ACCOUNT:

(INR Crore)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Revenue |  |  |  |  |  |  |  |  |  |  |
| Revenue | 1.76 | 4.29 | 4.41 | 4.63 | 4.77 | 4.92 | 5.18 | 5.36 | 5.54 | 5.86 |
| Cost of Sales |  |  |  |  |  |  |  |  |  |  |
| Rental Expenses | 0.23 | 0.55 | 0.55 | 0.63 | 0.63 | 0.63 | 0.73 | 0.73 | 0.73 | 0.83 |
| Cost of Manpower Supply | 0.41 | 1.06 | 1.14 | 1.23 | 1.32 | 1.42 | 1.53 | 1.64 | 1.77 | 1.90 |
| Repair & Maintenance | 0.00 | 0.00 | 0.13 | 0.14 | 0.14 | 0.15 | 0.16 | 0.17 | 0.17 | 0.18 |
| Electricity Expenses | 0.17 | 0.43 | 0.45 | 0.47 | 0.49 | 0.51 | 0.53 | 0.56 | 0.58 | 0.61 |
| Selling, General & Administrative Expenses | 0.03 | 0.06 | 0.07 | 0.07 | 0.07 | 0.07 | 0.08 | 0.08 | 0.08 | 0.09 |
| Operating Expenses | 0.84 | 2.11 | 2.34 | 2.54 | 2.66 | 2.79 | 3.02 | 3.17 | 3.33 | 3.61 |
| EBITDA | 0.92 | 2.17 | 2.07 | 2.09 | 2.11 | 2.13 | 2.16 | 2.18 | 2.21 | 2.24 |
| Depreciation | 0.23 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 |
| EBIT | 0.69 | 1.62 | 1.52 | 1.54 | 1.56 | 1.58 | 1.61 | 1.63 | 1.66 | 1.69 |
| Interest expenses |  |  |  |  |  |  |  |  |  |  |
| Interest on term loan | 0.29 | 0.66 | 0.59 | 0.51 | 0.42 | 0.31 | 0.19 | 0.05 | 0.00 | 0.00 |
| Interest on working capital | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 |
| Total Interest Expenses | 0.31 | 0.68 | 0.61 | 0.53 | 0.43 | 0.33 | 0.20 | 0.06 | 0.02 | 0.02 |
| Profit before Taxes (PBT) | 0.38 | 0.95 | 0.91 | 1.01 | 1.13 | 1.25 | 1.40 | 1.57 | 1.64 | 1.68 |
| Current Tax | 0.00 | 0.10 | 0.16 | 0.17 | 0.19 | 0.22 | 0.25 | 0.42 | 0.46 | 0.48 |
| Deferred Tax | -0.28 | -0.15 | -0.11 | -0.07 | -0.04 | -0.01 | 0.01 | 0.03 | 0.04 | 0.06 |
| Applicable taxes | 0.28 | 0.25 | 0.26 | 0.24 | 0.23 | 0.23 | 0.24 | 0.39 | 0.41 | 0.42 |
| Profit after Taxes (PAT) | 0.10 | 0.70 | 0.65 | 0.77 | 0.89 | 1.03 | 1.16 | 1.17 | 1.23 | 1.26 |

- PROFORMA BALANCE SHEET:

Below table shows the Projected Balance Sheet of the proposed Ahamdabad-1 location cold storage project from the period FY 2025 to FY 2035. From 1st February 2025 to 31st October 2025 would be the implementation period of the project:

(INR Crore)

| Year Ending | 31-Mar-25 | 31-Oct-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 2 | 7 | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Liabilities |  |  |  |  |  |  |  |  |  |  |  |  |
| Equity | 2.69 | 2.69 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 |
| Reserve & Surplus |  |  | 0.10 | 0.80 | 1.45 | 2.22 | 3.11 | 4.14 | 5.30 | 6.47 | 7.70 | 8.96 |
| Secured Loan | 4.16 | 8.18 | 7.35 | 6.52 | 5.52 | 4.27 | 3.02 | 1.36 | 0.00 | 0.00 | 0.00 | 0.00 |
| Current Liabilities |  |  |  |  |  |  |  |  |  |  |  |  |
| Trade Payables |  |  | 0.00 | 0.01 | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |
| Term Liabilities Payable Within One Year | 0.00 | 0.14 | 0.83 | 0.83 | 1.00 | 1.25 | 1.25 | 1.66 | 1.36 | 0.00 | 0.00 | 0.00 |
| Cc Limit |  |  | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 |
| Total | 6.85 | 11.01 | 11.26 | 11.13 | 10.97 | 10.74 | 10.38 | 10.16 | 9.66 | 9.48 | 10.71 | 11.97 |
| Gross Assets |  |  |  |  |  |  |  |  |  |  |  |  |
| Land Acquisition Cost | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Land Development Cost | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Civil Work / Construction | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 |
| Plant & Machinery | 5.38 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 |
| Misc. Fix Assets | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total Gross Block | 6.45 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 | 9.23 |
| Depreciation |  |  | 0.23 | 0.78 | 1.33 | 1.88 | 2.43 | 2.98 | 3.53 | 4.08 | 4.63 | 5.18 |
| Net Block | 6.45 | 9.23 | 9.00 | 8.45 | 7.90 | 7.35 | 6.80 | 6.25 | 5.70 | 5.15 | 4.60 | 4.05 |
| Deferred Tax Asset | 0.00 | 0.00 | -0.28 | -0.42 | -0.53 | -0.60 | -0.64 | -0.66 | -0.65 | -0.62 | -0.58 | -0.52 |
| Balance With Gov. Authorities | 0.00 | 1.38 | 1.21 | 0.82 | 0.45 | 0.07 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Mat Credit Entitlement |  |  | 0.00 | 0.10 | 0.26 | 0.25 | 0.20 | 0.11 | 0.00 | 0.00 | 0.00 | 0.00 |
| Security Deposit To Landlord | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 |
| Current Assets |  |  |  |  |  |  |  |  |  |  |  |  |
| Trade Receivables |  |  | 0.14 | 0.35 | 0.36 | 0.38 | 0.39 | 0.40 | 0.43 | 0.44 | 0.46 | 0.48 |
| Cash & Bank | 0.00 | 0.00 | 0.78 | 1.44 | 2.13 | 2.89 | 3.24 | 3.65 | 3.78 | 4.11 | 5.84 | 7.56 |
| Preliminary Expenses W/Off |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total | 6.85 | 11.01 | 11.26 | 11.13 | 10.97 | 10.74 | 10.38 | 10.16 | 9.66 | 9.48 | 10.71 | 11.97 |

- PROJECTED CASH FLOW STATEMENT:

(INR Crore)

| Year Ending | 31-Mar-25 | 31-Oct-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 2 | 7 | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Cash Flow from Operating Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Profit before Tax | 0.00 | 0.00 | 0.38 | 0.95 | 0.91 | 1.01 | 1.13 | 1.25 | 1.40 | 1.57 | 1.64 | 1.68 |
| Add: Non-Cash Expenses/ Non-Operating Expenses/(Non-Operating Income) | 0.00 | 0.00 | 0.23 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 |
| Add: Interest Expense | 0.00 | 0.00 | 0.31 | 0.68 | 0.61 | 0.53 | 0.43 | 0.33 | 0.20 | 0.06 | 0.02 | 0.02 |
| Increase in Sundry Debtors | 0.00 | 0.00 | -0.14 | -0.21 | -0.01 | -0.02 | -0.01 | -0.01 | -0.02 | -0.01 | -0.02 | -0.03 |
| NET GST ASSET | 0.00 | -1.38 | 0.17 | 0.39 | 0.37 | 0.38 | 0.38 | 0.38 | 0.39 | 0.39 | 0.40 | 0.40 |
| Change in MAT | 0.00 | 0.00 | 0.00 | -0.10 | -0.16 | 0.01 | 0.05 | 0.09 | 0.11 | 0.00 | 0.00 | 0.00 |
| Increase in Sundry Creditors | 0.00 | 0.00 | 0.00 | 0.00 | 0.02 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Cash Generated from Operations | 0.00 | -1.38 | 0.95 | 2.26 | 2.29 | 2.46 | 2.53 | 2.59 | 2.64 | 2.56 | 2.60 | 2.62 |
| GST Paid | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.31 | 0.38 | 0.39 | 0.39 | 0.40 | 0.40 |
| Income Taxes paid | 0.00 | 0.00 | 0.00 | 0.10 | 0.16 | 0.17 | 0.19 | 0.22 | 0.25 | 0.42 | 0.46 | 0.48 |
| Net Cash from Operating Activities | 0.00 | -1.38 | 0.95 | 2.16 | 2.13 | 2.29 | 2.03 | 1.99 | 2.00 | 1.75 | 1.74 | 1.74 |
| Cash Flow from Investing Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Purchase of Fixed Assets | -6.45 | -2.78 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Security Deposit | -0.40 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Net Cash from Investing Activities | -6.85 | -2.78 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Cash Flow from Financing Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Increase in Equity / Share Capital/USL | 2.69 | 0.00 | 0.09 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Increase in TL | 4.16 | 4.16 | -0.14 | -0.83 | -0.83 | -1.00 | -1.25 | -1.25 | -1.66 | -1.36 | 0.00 | 0.00 |
| Increase in CC Limit | 0.00 | 0.00 | 0.20 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Interest Paid | 0.00 | 0.00 | -0.31 | -0.68 | -0.61 | -0.53 | -0.43 | -0.33 | -0.20 | -0.06 | -0.02 | -0.02 |
| Net Cash from Financing Activities | 6.85 | 4.16 | -0.16 | -1.51 | -1.44 | -1.53 | -1.68 | -1.57 | -1.87 | -1.42 | -0.02 | -0.02 |
| Net increase in cash and cash equivalents | 0.00 | 0.00 | 0.78 | 0.65 | 0.70 | 0.76 | 0.35 | 0.42 | 0.13 | 0.33 | 1.72 | 1.72 |
| Cash and cash equivalents at beginning of period | 0.00 | 0.00 | 0.00 | 0.78 | 1.44 | 2.13 | 2.89 | 3.24 | 3.65 | 3.78 | 4.11 | 5.84 |
| Cash and cash equivalents at end of period | 0.00 | 0.00 | 0.78 | 1.44 | 2.13 | 2.89 | 3.24 | 3.65 | 3.78 | 4.11 | 5.84 | 7.56 |

- KEY FINANCIAL RATIO:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| EBITDA Margin % | 52.29% | 50.74% | 46.91% | 45.15% | 44.24% | 43.33% | 41.65% | 40.78% | 39.91% | 38.34% |
| Average | 44.34% |  |  |  |  |  |  |  |  |  |
| EBIT Margin % | 39.29% | 37.90% | 34.43% | 33.26% | 32.70% | 32.14% | 31.03% | 30.50% | 29.98% | 28.94% |
| Average | 33.01% |  |  |  |  |  |  |  |  |  |
| PAT Margin % | 5.95% | 16.30% | 14.73% | 16.57% | 18.73% | 20.83% | 22.41% | 21.93% | 22.20% | 21.44% |
| Average | 18.11% |  |  |  |  |  |  |  |  |  |
| Revenue growth rate Y-o-Y (%) |  | 143.06% | 2.88% | 4.94% | 3.06% | 3.18% | 5.30% | 3.36% | 3.48% | 5.65% |
| Average | 19.43% |  |  |  |  |  |  |  |  |  |

Note: The proposed Ahmadabad (Kheda) cold storage project is having an average revenue growth rate of 19.43% during the forecasted period. Average EBITDA Margin & EBIT Margin of the project are 44.34% & 33.01% respectively.  The project will be operational from 1st October 2025 and as per the trends analysis above, PAT margin is growing from 5.95% in FY 2026 to 21.44% in FY 2035 due to the lower interest cost on borrowings in the later projected years.

- ESTIMATED KEY FINANCIAL METRICS: DEBT SERVICE COVERAGE RATIO (D.S.C.R)

(INR Crore except D.S.C.R)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Cash accrual | 0.61 | 1.40 | 1.31 | 1.39 | 1.48 | 1.59 | 1.70 | 1.70 | 1.74 | 1.75 |
| Interest on term loan | 0.29 | 0.66 | 0.59 | 0.51 | 0.42 | 0.31 | 0.19 | 0.05 | 0.00 | 0.00 |
| Interest on WC | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 |
| Subtotal | 0.92 | 2.07 | 1.91 | 1.92 | 1.92 | 1.92 | 1.91 | 1.76 | 1.76 | 1.77 |
| Interest on term loan | 0.29 | 0.66 | 0.59 | 0.51 | 0.42 | 0.31 | 0.19 | 0.05 | 0.00 | 0.00 |
| Interest on WC | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 |
| Loan Repayment | 0.14 | 0.83 | 0.83 | 1.00 | 1.25 | 1.25 | 1.66 | 1.36 | 0.00 | 0.00 |
| Subtotal | 0.45 | 1.51 | 1.44 | 1.53 | 1.68 | 1.57 | 1.87 | 1.42 | 0.02 | 0.02 |
| DSCR | 2.05 | 1.37 | 1.33 | 1.26 | 1.14 | 1.22 | 1.02 | 1.24 |  |  |
| Average DSCR | 1.33 |  |  |  |  |  |  |  |  |  |
| Maximum DSCR | 2.05 |  |  |  |  |  |  |  |  |  |

Note: D.S.C.R has been calculated for loan repayment period from FY 2026 to FY 2033. The proposed Ahamdabad (Kheda) Cold storage project is having a D.S.C.R of more than 1 during the projected loan repayment period.

- NPV,IRR AND PAYBACK PERIOD OF THE PROJECT:

(INR Crore)

| Year Ending |  | 31-Mar-25 | 31-Oct-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 |  | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 |  | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter |  | 0 | 0 | 1 | 2 | 3 |  | 4 | 5 | 6 |  | 7 | 8 | 9 | 10 |
| Months Counter |  | 2 | 7 | 5 | 12 | 12 |  | 12 | 12 | 12 |  | 12 | 12 | 12 | 12 |
| EBIT |  | 0.00 | 0.00 | 0.69 | 1.62 | 1.52 |  | 1.54 | 1.56 | 1.58 |  | 1.61 | 1.63 | 1.66 | 1.69 |
| Less: Taxes |  | 0.00 | 0.00 | 0.17 | 0.41 | 0.38 |  | 0.39 | 0.39 | 0.40 |  | 0.40 | 0.41 | 0.42 | 0.43 |
| Add: Depreciation & Amortisation |  | 0.00 | 0.00 | 0.23 | 0.55 | 0.55 |  | 0.55 | 0.55 | 0.55 |  | 0.55 | 0.55 | 0.55 | 0.55 |
| NOPAT |  | 0.00 | 0.00 | 0.75 | 1.77 | 1.69 |  | 1.70 | 1.72 | 1.73 |  | 1.75 | 1.77 | 1.79 | 1.82 |
| Increase/(Decrease) in working capital |  | 0.00 | 0.00 | 0.14 | 0.20 | -0.01 |  | 0.02 | 0.01 | 0.01 |  | 0.02 | 0.01 | 0.01 | 0.02 |
| Capex |  | 6.45 | 2.78 | 0.00 | 0.00 | 0.00 |  | 0.00 | 0.00 | 0.00 |  | 0.00 | 0.00 | 0.00 | 0.00 |
| Free Cash Flow to Firm (FCFF) |  | -6.45 | -2.78 | 0.61 | 1.56 | 1.69 |  | 1.69 | 1.71 | 1.72 |  | 1.73 | 1.76 | 1.78 | 1.79 |
| Discount Period |  | 0.17 | 0.75 | 1.17 | 2.17 | 3.17 |  | 4.17 | 5.17 | 6.17 |  | 7.17 | 8.17 | 9.17 | 10.17 |
| Discount Factor |  | 0.98 | 0.93 | 0.90 | 0.82 | 0.74 |  | 0.68 | 0.61 | 0.56 |  | 0.51 | 0.46 | 0.42 | 0.38 |
| PV of FCFF |  | -6.35 | -2.59 | 0.54 | 1.27 | 1.26 |  | 1.14 | 1.05 | 0.96 |  | 0.88 | 0.82 | 0.75 | 0.69 |
| Terminal Value of the project |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 19.23 |
| PV of Terminal Value |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 7.38 |
| FCFF+TV |  | -6.45 | -2.78 | 0.61 | 1.56 | 1.69 |  | 1.69 | 1.71 | 1.72 |  | 1.73 | 1.76 | 1.78 | 21.03 |
| PV of FCF+ PV of Terminal Value |  | -6.35 | -2.59 | 0.54 | 1.27 | 1.26 |  | 1.14 | 1.05 | 0.96 |  | 0.88 | 0.82 | 0.75 | 8.07 |
| NPV |  | INR 7.80 Crore |  |  |  |  |  |  |  |  |  |  |  |  |  |
| IRR |  | 20.69% |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Key Input for NPV & IRR |  |  |  |  |  |  |  |  |  |
| Weight of Debt Wd |  |  |  |  |  | 75% |  |  |  |
| Cost of Debt Kd |  |  |  |  |  | 8.50% |  |  |  |
| Tax |  |  |  |  |  | 25.17% |  |  |  |
| Post tax Kd |  |  |  |  |  | 6.36% |  |  |  |
| Weight of Equity We |  |  |  |  |  | 25% |  |  |  |
| Cost of Equity Ke |  |  |  |  |  | 12.42% |  |  |  |
| WACC |  |  |  |  |  | 7.88% |  |  |  |
| Project Risk Premium |  |  |  |  |  | 2.00% |  |  |  |
| Discount rate |  |  |  |  |  | 9.88% |  |  |  |
| Expected growth rate(Terminal) |  |  |  |  |  | 0.50% |  |  |  |

| Payback Period of the project |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| No. Of Years | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Cash Accrual | 0.61 | 1.40 | 1.31 | 1.39 | 1.48 | 1.59 | 1.70 | 1.70 | 1.74 | 1.75 |
| Accumulated Cash Accrual | 0.61 | 2.01 | 3.31 | 4.70 | 6.19 | 7.78 | 9.48 | 11.18 | 12.91 | 14.66 |
| TPC | INR 11.01 Cr. |  |  |  |  |  |  |  |  |  |
| Payback Period | 7.90 Years |  |  |  |  |  |  |  |  |  |

Thus, the Ahamdabad-1 cold storage project will be having a payback period of 7.90 years and NPV & IRR of the project is INR 7.80 Crore & 20.69% respectively from C.O.D to loan repayment period, which indicates worthiness of the project.

- SENSITIVITY ANALYSIS:

Sensitivity analysis of the project with respect to various expected variables has been shown in the below table:

| Sensitivity Analysis | Average DSCR | NPV | IRR | Payback Period |
| --- | --- | --- | --- | --- |
| As a base case | 1.33 | INR 7.80 Crore | 20.69% | 7.90 years |
| If Sales is decreased by 5% | 1.21 | INR 5.92 Crore | 18.47% | 8.75 years |
| If sales is decreased by 10% | 1.08 | INR 4.04 Crore | 16.06% | 9.89 years |
| If operating expenses is increased by 5% | 1.27 | INR 6.69 Crore | 19.42% | 8.29 years |
| If operating expenses is increased by 10% | 1.20 | INR 5.57 Crore | 18.09% | 8.87 years |
| If interest rate increased by 0.5% | 1.30 | INR 7.26 Crore | 20.45% | 8.01 years |
| If interest rate increased by 1% | 1.29 | INR 6.75 Crore | 20.22% | 8.02 years |
| If Repairs & Maintenance Expenses increased by 1% | 1.29 | INR 7.11 Crore | 19.96% | 8.18 years |
| If Administrative Expenses increased by 1% | 1.30 | INR 7.43 Crore | 20.26% | 8.07 years |

Observation: The proposed project is found comparatively higher sensitive with respect to the downside variation in the projected revenue, than the upside variation in the projected operational expenses and any surge in the interest rate.

- OTHER FINANCIAL RATIOS:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Return on Capital employed (%) | 6.77% | 16.09% | 15.58% | 16.61% | 17.50% | 19.12% | 19.91% | 17.67% | 15.86% | 14.44% |
| Average | 15.96% |  |  |  |  |  |  |  |  |  |
| Return on Investment (%) | 0.96% | 6.90% | 6.99% | 9.25% | 12.68% | 17.69% | 28.10% | 42.35% | 44.38% | 45.26% |
| Average | 21.46% |  |  |  |  |  |  |  |  |  |
| Return on Net Worth | 3.64% | 19.54% | 15.37% | 15.36% | 15.17% | 14.83% | 14.38% | 12.70% | 11.74% | 10.70% |
| Average | 13.34% |  |  |  |  |  |  |  |  |  |
| DSCR | 2.05 | 1.37 | 1.33 | 1.26 | 1.14 | 1.22 | 1.02 | 1.24 | 0.00 | 0.00 |
| Average | 1.33 |  |  |  |  |  |  |  |  |  |
| ISCR | 2.97 | 3.21 | 3.41 | 3.95 | 4.87 | 6.52 | 10.62 | 34.00 | 130.11 | 132.05 |
| Average | 33.17 |  |  |  |  |  |  |  |  |  |
| Fixed Asset Coverage Ratio | 1.23 | 1.30 | 1.43 | 1.72 | 2.25 | 4.60 |  |  |  |  |
| Average | 2.09 |  |  |  |  |  |  |  |  |  |
| Current Ratio | 44.44 | 44.44 | 15.00 | 15.00 | 14.81 | 14.64 | 14.67 | 14.51 | 14.37 | 14.43 |
| Average | 20.63 |  |  |  |  |  |  |  |  |  |
| TOL/TNW | 2.91 | 2.11 | 1.59 | 1.15 | 0.76 | 0.47 | 0.20 | 0.02 | 0.02 | 0.02 |
| Average | 0.93 |  |  |  |  |  |  |  |  |  |
| Debt to Equity Ratio | 2.95 | 2.65 | 2.35 | 1.99 | 1.54 | 1.09 | 0.49 | 0.00 | 0.00 | 0.00 |
| Average | 1.31 |  |  |  |  |  |  |  |  |  |

- BREAK-EVEN ANALYSIS:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Sales | 1.76 | 4.29 | 4.41 | 4.63 | 4.77 | 4.92 | 5.18 | 5.36 | 5.54 | 5.86 |
| Variable Expenses | 0.03 | 0.06 | 0.07 | 0.07 | 0.07 | 0.07 | 0.08 | 0.08 | 0.08 | 0.09 |
| Contribution | 1.74 | 4.22 | 4.34 | 4.56 | 4.70 | 4.85 | 5.10 | 5.28 | 5.46 | 5.77 |
| Fixed Expenses | 0.81 | 2.05 | 2.27 | 2.47 | 2.59 | 2.71 | 2.95 | 3.09 | 3.25 | 3.52 |
| Profit / PBT | 0.92 | 2.17 | 2.07 | 2.09 | 2.11 | 2.13 | 2.16 | 2.18 | 2.21 | 2.24 |
| PV RATIO (Contr. / Sales) | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% |
| BEP Sales | 0.83 | 2.08 | 2.31 | 2.51 | 2.63 | 2.76 | 2.99 | 3.14 | 3.30 | 3.58 |
| BEP% (BEP Sales / sales) | 46.91% | 48.49% | 52.37% | 54.16% | 55.08% | 56.01% | 57.71% | 58.60% | 59.48% | 61.08% |

- TERM LOAN INPUTS:

| Term Loan Repayment Inputs |  |
| --- | --- |
| Total loan amount | INR 8.32 Crore |
| Rate of Interest | 8.50% |
| 1st Disbursement | Feb-25 |
| IDC Start & End Month | Feb 25 to October-25 |
| IDC Period (construction period) | 9 Month |
| Commencement /Operation Start | 1st November 2025 |
| Moratorium Start & End Month (only interest to pay) | Feb 2025 to Jan 2026 |
| Moratorium Period after COD | 03 Month |
| Repayment Start | Feb-2026 |
| Repayment End | Jan-2033 |
| Repayment Period | 07 Years |

(INR Crore)

| Year Ending | 31-Mar-25 | 31-Oct-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 2 | 7 | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Opening Bal | 0.00 | 4.16 | 8.32 | 8.18 | 7.35 | 6.52 | 5.52 | 4.27 | 3.02 | 1.36 | 0.00 | 0.00 |
| Disbursement | 4.16 | 4.16 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Repayment | 0.00 | 0.00 | 0.14 | 0.83 | 0.83 | 1.00 | 1.25 | 1.25 | 1.66 | 1.36 | 0.00 | 0.00 |
| Closing Principal o/s | 4.16 | 8.32 | 8.18 | 7.35 | 6.52 | 5.52 | 4.27 | 3.02 | 1.36 | 0.00 | 0.00 | 0.00 |
| Interest | 0.04 | 0.40 | 0.29 | 0.66 | 0.59 | 0.51 | 0.42 | 0.31 | 0.19 | 0.05 | 0.00 | 0.00 |
| IDC | 0.04 | 0.40 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| TL Interest | 0.00 | 0.00 | 0.29 | 0.66 | 0.59 | 0.51 | 0.42 | 0.31 | 0.19 | 0.05 | 0.00 | 0.00 |

- DEPRECIATION SCHEDULE (STRAIGHT  LINE METHOD):

(INR Crore)

| Depreciation Schedule as per Company's Act, 2013 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Particular | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| Building & Civil Works | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 | 1.07 |
| Less : SLM Depreciation | 0.01 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |
| Carrying Value Building & Civil Works | 1.06 | 1.02 | 0.99 | 0.95 | 0.92 | 0.89 | 0.85 | 0.82 | 0.78 | 0.75 |
| Plant & Machinery | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 | 8.16 |
| Less : SLM Depreciation | 0.22 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 |
| Carrying Value of Plant & Machinery | 7.95 | 7.43 | 6.91 | 6.40 | 5.88 | 5.36 | 4.85 | 4.33 | 3.81 | 3.30 |
| Misc. Fix Assets | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Less : SLM Depreciation | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Carrying Value of Misc. Fixed Asset | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total SLM Depreciation | 0.23 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 |

- WORKING CAPITAL ASSESSMENT:

(INR Crore)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Current Assets | 0.14 | 0.35 | 0.36 | 0.38 | 0.39 | 0.40 | 0.43 | 0.44 | 0.46 | 0.48 |
| Current Liabilities | 0.00 | 0.01 | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |
| Working Capital | 0.14 | 0.34 | 0.34 | 0.35 | 0.37 | 0.38 | 0.40 | 0.41 | 0.42 | 0.45 |
| Working Capital Margin @25% | 0.04 | 0.09 | 0.08 | 0.09 | 0.09 | 0.09 | 0.10 | 0.10 | 0.11 | 0.11 |
| Working Capital gap | 0.11 | 0.26 | 0.25 | 0.27 | 0.27 | 0.28 | 0.30 | 0.31 | 0.32 | 0.34 |
| Working Capital Requirement | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 | 0.20 |
| Interest on working capital loan | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 |

LOCATION 4: AHAMDABAD-2 (FALCON) COLD STORAGE

- PROJECTED PROFIT & LOSS ACCOUNT:

(INR Crore)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Revenue |  |  |  |  |  |  |  |  |  |  |
| Revenue | 1.84 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 |
| Cost of Sales |  |  |  |  |  |  |  |  |  |  |
| Rental Expenses | 0.13 | 0.50 | 0.50 | 0.58 | 0.58 | 0.58 | 0.67 | 0.67 | 0.67 | 0.77 |
| Cost of Manpower Supply | 0.10 | 0.44 | 0.47 | 0.51 | 0.54 | 0.59 | 0.63 | 0.68 | 0.73 | 0.78 |
| Repair & Maintenance | 0.00 | 0.00 | 0.23 | 0.24 | 0.25 | 0.26 | 0.27 | 0.29 | 0.30 | 0.32 |
| Electricity Expenses | 0.36 | 1.52 | 1.59 | 1.66 | 1.74 | 1.82 | 1.91 | 2.00 | 2.09 | 2.19 |
| Selling, General & Administrative Expenses | 0.03 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 |
| Operating Expenses | 0.62 | 2.57 | 2.90 | 3.09 | 3.22 | 3.36 | 3.59 | 3.74 | 3.90 | 4.16 |
| EBITDA | 1.22 | 4.78 | 4.45 | 4.26 | 4.13 | 3.99 | 3.76 | 3.61 | 3.45 | 3.19 |
| Depreciation | 0.24 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 |
| EBIT | 0.98 | 3.82 | 3.49 | 3.30 | 3.17 | 3.04 | 2.81 | 2.66 | 2.50 | 2.23 |
| Interest expenses |  |  |  |  |  |  |  |  |  |  |
| Interest on term loan | 0.30 | 1.15 | 1.04 | 0.91 | 0.75 | 0.57 | 0.36 | 0.12 | 0.00 | 0.00 |
| Interest on working capital | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |
| Total Interest Expenses | 0.33 | 1.18 | 1.07 | 0.94 | 0.78 | 0.60 | 0.39 | 0.15 | 0.03 | 0.03 |
| Profit before Taxes (PBT) | 0.65 | 2.64 | 2.42 | 2.35 | 2.39 | 2.43 | 2.41 | 2.50 | 2.46 | 2.19 |
| Current Tax | 0.00 | 0.45 | 0.42 | 0.40 | 0.41 | 0.42 | 0.54 | 0.68 | 0.69 | 0.65 |
| Deferred Tax | -0.52 | -0.26 | -0.18 | -0.12 | -0.07 | -0.02 | 0.01 | 0.05 | 0.07 | 0.10 |
| Applicable taxes | 0.52 | 0.71 | 0.60 | 0.53 | 0.48 | 0.44 | 0.52 | 0.63 | 0.62 | 0.55 |
| Profit after Taxes (PAT) | 0.12 | 1.93 | 1.82 | 1.83 | 1.91 | 1.99 | 1.89 | 1.87 | 1.84 | 1.64 |

- PROFORMA BALANCE SHEET:

Below table shows the Projected Balance Sheet of the proposed Ahamdabad-2 location cold storage project from the period FY 2025 to FY 2035. From 1st April 2025 to 31st December 2025 would be the implementation period of the project:

(INR Crore)

| Year Ending | 31-Mar-25 | 31-Dec-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 0 | 9 | 3 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Liabilities |  |  |  |  |  |  |  |  |  |  |  |  |
| Equity |  | 4.54 | 4.69 | 4.69 | 4.69 | 4.69 | 4.69 | 4.69 | 4.69 | 4.69 | 4.69 | 4.69 |
| Reserve & Surplus |  |  | 0.12 | 2.05 | 3.87 | 5.70 | 7.61 | 9.60 | 11.50 | 13.37 | 15.21 | 16.85 |
| Secured Loan |  | 14.08 | 12.95 | 11.54 | 9.85 | 7.74 | 5.63 | 2.82 | 0.00 | 0.00 | 0.00 | 0.00 |
| Current Liabilities |  |  |  |  |  |  |  |  |  |  |  |  |
| Trade Payables |  |  | 0.00 | 0.01 | 0.04 | 0.04 | 0.04 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 |
| Term Liabilities Payable Within One Year |  | 0.00 | 1.13 | 1.41 | 1.69 | 2.11 | 2.11 | 2.82 | 2.82 | 0.00 | 0.00 | 0.00 |
| Cc Limit |  |  | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 |
| Total |  | 18.62 | 19.30 | 20.11 | 20.55 | 20.69 | 20.49 | 20.37 | 19.45 | 18.51 | 20.35 | 22.00 |
| Gross Assets |  |  |  |  |  |  |  |  |  |  |  |  |
| Land Acquisition Cost |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Land Development Cost |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Civil Work / Construction |  | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 |
| Plant & Machinery |  | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 |
| Misc. Fix Assets |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total Gross Block |  | 16.08 | 16.08 | 16.08 | 16.08 | 16.08 | 16.08 | 16.08 | 16.08 | 16.08 | 16.08 | 16.08 |
| Depreciation |  |  | 0.24 | 1.20 | 2.15 | 3.11 | 4.07 | 5.03 | 5.99 | 6.94 | 7.90 | 8.86 |
| Net Block |  | 16.08 | 15.84 | 14.88 | 13.92 | 12.96 | 12.01 | 11.05 | 10.09 | 9.13 | 8.17 | 7.22 |
| Deferred Tax Asset |  | 0.00 | -0.52 | -0.78 | -0.96 | -1.09 | -1.16 | -1.18 | -1.17 | -1.12 | -1.05 | -0.95 |
| Balance With Gov. Authorities |  | 2.39 | 2.17 | 1.30 | 0.50 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Mat Credit Entitlement |  |  | 0.00 | 0.45 | 0.44 | 0.38 | 0.26 | 0.09 | 0.00 | 0.00 | 0.00 | 0.00 |
| Security Deposit To Landlord |  | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 | 0.16 |
| Current Assets |  |  |  |  |  |  |  |  |  |  |  |  |
| Trade Receivables |  |  | 0.15 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 |
| Cash & Bank |  | 0.00 | 1.51 | 3.49 | 5.88 | 7.67 | 8.62 | 9.66 | 9.76 | 9.73 | 12.46 | 14.96 |
| Preliminary Expenses W/Off |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total |  | 18.62 | 19.30 | 20.11 | 20.55 | 20.69 | 20.49 | 20.37 | 19.45 | 18.51 | 20.35 | 22.00 |

- PROJECTED CASH FLOW STATEMENT:

(INR Crore)

| Year Ending | 31-Mar-25 | 31-Dec-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 0 | 9 | 3 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Cash Flow from Operating Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Profit before Tax |  | 0.00 | 0.65 | 2.64 | 2.42 | 2.35 | 2.39 | 2.43 | 2.41 | 2.50 | 2.46 | 2.19 |
| Add: Non-Cash Expenses/ Non-Operating Expenses/(Non-Operating Income) |  | 0.00 | 0.24 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 |
| Add: Interest Expense |  | 0.00 | 0.33 | 1.18 | 1.07 | 0.94 | 0.78 | 0.60 | 0.39 | 0.15 | 0.03 | 0.03 |
| Increase in Sundry Debtors |  | 0.00 | -0.15 | -0.45 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| NET GST ASSET |  | -2.39 | 0.22 | 0.86 | 0.80 | 0.77 | 0.74 | 0.72 | 0.68 | 0.65 | 0.62 | 0.57 |
| Change in MAT |  | 0.00 | 0.00 | -0.45 | 0.01 | 0.07 | 0.12 | 0.17 | 0.09 | 0.00 | 0.00 | 0.00 |
| Increase in Sundry Creditors |  | 0.00 | 0.00 | 0.01 | 0.03 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Cash Generated from Operations |  | -2.39 | 1.29 | 4.75 | 5.29 | 5.09 | 4.99 | 4.88 | 4.53 | 4.27 | 4.08 | 3.76 |
| GST Paid |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.26 | 0.74 | 0.72 | 0.68 | 0.65 | 0.62 | 0.57 |
| Income Taxes paid |  | 0.00 | 0.00 | 0.45 | 0.42 | 0.40 | 0.41 | 0.42 | 0.54 | 0.68 | 0.69 | 0.65 |
| Net Cash from Operating Activities |  | -2.39 | 1.29 | 4.29 | 4.88 | 4.42 | 3.84 | 3.75 | 3.32 | 2.94 | 2.76 | 2.54 |
| Cash Flow from Investing Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Purchase of Fixed Assets |  | -16.08 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Security Deposit |  | -0.16 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Net Cash from Investing Activities |  | -16.23 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Cash Flow from Financing Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Increase in Equity / Share Capital/USL |  | 4.54 | 0.15 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Increase in TL |  | 14.08 | 0.00 | -1.13 | -1.41 | -1.69 | -2.11 | -2.11 | -2.82 | -2.82 | 0.00 | 0.00 |
| Increase in CC Limit |  | 0.00 | 0.40 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Interest Paid |  | 0.00 | -0.33 | -1.18 | -1.07 | -0.94 | -0.78 | -0.60 | -0.39 | -0.15 | -0.03 | -0.03 |
| Net Cash from Financing Activities |  | 18.62 | 0.21 | -2.31 | -2.48 | -2.63 | -2.89 | -2.71 | -3.21 | -2.97 | -0.03 | -0.03 |
| Net increase in cash and cash equivalents |  | 0.00 | 1.51 | 1.98 | 2.39 | 1.79 | 0.95 | 1.03 | 0.11 | -0.03 | 2.73 | 2.50 |
| Cash and cash equivalents at beginning of period |  | 0.00 | 0.00 | 1.51 | 3.49 | 5.88 | 7.67 | 8.62 | 9.66 | 9.76 | 9.73 | 12.46 |
| Cash and cash equivalents at end of period |  | 0.00 | 1.51 | 3.49 | 5.88 | 7.67 | 8.62 | 9.66 | 9.76 | 9.73 | 12.46 | 14.96 |

- KEY FINANCIAL RATIO:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| EBITDA Margin % | 66.37% | 65.04% | 60.57% | 57.90% | 56.17% | 54.34% | 51.21% | 49.16% | 46.99% | 43.33% |
| Average | 55.11% |  |  |  |  |  |  |  |  |  |
| EBIT Margin % | 53.34% | 52.01% | 47.54% | 44.87% | 43.14% | 41.30% | 38.18% | 36.13% | 33.96% | 30.30% |
| Average | 42.08% |  |  |  |  |  |  |  |  |  |
| PAT Margin % | 6.76% | 26.26% | 24.76% | 24.87% | 25.98% | 27.09% | 25.74% | 25.47% | 25.07% | 22.33% |
| Average | 24.43% |  |  |  |  |  |  |  |  |  |
| Revenue growth rate Y-o-Y (%) |  | 300.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% | 0.00% |
| Average | 33.33% |  |  |  |  |  |  |  |  |  |

Note: The proposed Ahmadabad (Detroj) cold storage project is having an average revenue growth rate of 33.33% during the forecasted period. Average EBITDA Margin & EBIT Margin of the project are 55.11% & 42.08% respectively.  The project will be operational from 1st Jan 2026 and as per the trends analysis above, PAT margin is growing from 6.76% in FY 2026 to 22.33% in FY 2035 due to the lower interest cost on borrowings in the later projected years.

- ESTIMATED KEY FINANCIAL METRICS: DEBT SERVICE COVERAGE RATIO (D.S.C.R)

(INR Crore except D.S.C.R)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Cash accrual | 0.89 | 3.15 | 2.96 | 2.91 | 2.94 | 2.97 | 2.84 | 2.78 | 2.73 | 2.50 |
| Interest on term loan | 0.30 | 1.15 | 1.04 | 0.91 | 0.75 | 0.57 | 0.36 | 0.12 | 0.00 | 0.00 |
| Interest on WC | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |
| Subtotal | 1.22 | 4.33 | 4.04 | 3.85 | 3.72 | 3.58 | 3.23 | 2.94 | 2.76 | 2.53 |
| Interest on term loan | 0.30 | 1.15 | 1.04 | 0.91 | 0.75 | 0.57 | 0.36 | 0.12 | 0.00 | 0.00 |
| Interest on WC | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |
| Loan Repayment | 0.00 | 1.13 | 1.41 | 1.69 | 2.11 | 2.11 | 2.82 | 2.82 | 0.00 | 0.00 |
| Subtotal | 0.33 | 2.31 | 2.48 | 2.63 | 2.89 | 2.71 | 3.21 | 2.97 | 0.03 | 0.03 |
| DSCR | 3.66 | 1.87 | 1.63 | 1.46 | 1.29 | 1.32 | 1.01 | 0.99 |  |  |
| Average DSCR | 1.65 |  |  |  |  |  |  |  |  |  |
| Maximum DSCR | 3.66 |  |  |  |  |  |  |  |  |  |

Note: D.S.C.R has been calculated for loan repayment period from FY 2026 to FY 2033. The proposed Ahamdabad (Detroj) Cold storage project is having a D.S.C.R of more than 1 during the projected loan repayment period.

- NPV,IRR AND PAYBACK PERIOD OF THE PROJECT:

(INR Crore)

| Year Ending | 31-Mar-25 | 31-Dec-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 0 | 9 | 3 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| EBIT | 0.00 | 0.00 | 0.98 | 3.82 | 3.49 | 3.30 | 3.17 | 3.04 | 2.81 | 2.66 | 2.50 | 2.23 |
| Less: Taxes | 0.00 | 0.00 | 0.25 | 0.96 | 0.88 | 0.83 | 0.80 | 0.76 | 0.71 | 0.67 | 0.63 | 0.56 |
| Add: Depreciation & Amortisation | 0.00 | 0.00 | 0.24 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 |
| NOPAT | 0.00 | 0.00 | 0.97 | 3.82 | 3.57 | 3.43 | 3.33 | 3.23 | 3.06 | 2.94 | 2.83 | 2.62 |
| Increase/(Decrease) in working capital | 0.00 | 0.00 | 0.15 | 0.44 | -0.03 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Capex | 0.00 | 16.08 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Free Cash Flow to Firm (FCFF) | 0.00 | -16.08 | 0.83 | 3.38 | 3.60 | 3.43 | 3.33 | 3.23 | 3.06 | 2.95 | 2.83 | 2.63 |
| Discount Period | 0.00 | 0.75 | 1.00 | 2.00 | 3.00 | 4.00 | 5.00 | 6.00 | 7.00 | 8.00 | 9.00 | 10.00 |
| Discount Factor | 1.00 | 0.93 | 0.91 | 0.83 | 0.75 | 0.69 | 0.62 | 0.57 | 0.52 | 0.47 | 0.43 | 0.39 |
| PV of FCFF | 0.00 | -14.98 | 0.75 | 2.80 | 2.71 | 2.35 | 2.08 | 1.84 | 1.58 | 1.39 | 1.21 | 1.02 |
| Terminal Value of the project |  |  |  |  |  |  |  |  |  |  |  | 28.15 |
| PV of Terminal Value |  |  |  |  |  |  |  |  |  |  |  | 10.98 |
| FCFF+TV | 0.00 | -16.08 | 0.83 | 3.38 | 3.60 | 3.43 | 3.33 | 3.23 | 3.06 | 2.95 | 2.83 | 30.78 |
| PV of FCF+ PV of Terminal Value | 0.00 | -14.98 | 0.75 | 2.80 | 2.71 | 2.35 | 2.08 | 1.84 | 1.58 | 1.39 | 1.21 | 12.00 |
| NPV | INR 13.73 Crore |  |  |  |  |  |  |  |  |  |  |  |
| IRR | 23.52% |  |  |  |  |  |  |  |  |  |  |  |

| Key Input for NPV & IRR |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weight of Debt Wd |  |  |  |  | 75% |  |  |  |
| Cost of Debt Kd |  |  |  |  | 8.50% |  |  |  |
| Tax |  |  |  |  | 25.17% |  |  |  |
| Post tax Kd |  |  |  |  | 6.36% |  |  |  |
| Weight of Equity We |  |  |  |  | 25% |  |  |  |
| Cost of Equity Ke |  |  |  |  | 12.42% |  |  |  |
| WACC |  |  |  |  | 7.88% |  |  |  |
| Project Risk Premium |  |  |  |  | 2.00% |  |  |  |
| Discount rate |  |  |  |  | 9.88% |  |  |  |
| Expected growth rate(Terminal) |  |  |  |  | 0.50% |  |  |  |
| Payback Period of the project |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Year Ending |  | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 |  | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 |  | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| Year Counter |  | 1 | 2 | 3 | 4 |  | 5 | 6 | 7 |  | 8 | 9 | 10 |
| Months Counter |  | 5 | 12 | 12 | 12 |  | 12 | 12 | 12 |  | 12 | 12 | 12 |
| No. Of Years |  | 1 | 2 | 3 | 4 |  | 5 | 6 | 7 |  | 8 | 9 | 10 |
| Cash Accrual |  | 0.89 | 3.15 | 2.96 | 2.91 |  | 2.94 | 2.97 | 2.84 |  | 2.78 | 2.73 | 2.50 |
| Accumulated Cash Accrual |  | 0.89 | 4.03 | 6.99 | 9.90 |  | 12.84 | 15.81 | 18.65 |  | 21.43 | 24.16 | 26.66 |
| TPC |  | INR 18.62 Cr. |  |  |  |  |  |  |  |  |  |  |  |
| Payback Period |  | 6.94 Years |  |  |  |  |  |  |  |  |  |  |  |

Thus, the Ahamdabad-2 cold storage project will be having a payback period of 6.94 years and NPV & IRR of the project is INR 13.73 Crore & 23.52% respectively from C.O.D to loan repayment period, which indicates worthiness of the project.

- SENSITIVITY ANALYSIS:

Sensitivity analysis of the project with respect to various expected variables has been shown in the below table:

| Sensitivity Analysis | Average DSCR | NPV | IRR | Payback Period |
| --- | --- | --- | --- | --- |
| As a base case | 1.65 | INR 13.73 Crore | 23.52% | 6.94 years |
| If Sales is decreased by 5% | 1.54 | INR 11.09 Crore | 21.28% | 7.64 years |
| If sales is decreased by 10% | 1.41 | INR 8.46 Crore | 18.92% | 8.50 years |
| If operating expenses is increased by 5% | 1.61 | INR 12.41 Crore | 22.47% | 7.22 years |
| If operating expenses is increased by 10% | 1.56 | INR 11.09 Crore | 21.39% | 7.52 years |
| If interest rate increased by 0.5% | 1.61 | INR 12.91 Crore | 23.27% | 7.05 years |
| If interest rate increased by 1% | 1.58 | INR 12.13 Crore | 23.03% | 7.16 years |
| If Repairs & Maintenance Expenses increased by 1% | 1.63 | INR 12.51 Crore | 22.62% | 7.18 years |
| If Administrative Expenses increased by 1% | 1.63 | INR 13.20 Crore | 23.08% | 7.07 years |

Observation: The proposed project is found comparatively higher sensitive with respect to the downside variation in the projected revenue, than the upside variation in the projected operational expenses and any surge in the interest rate.

- OTHER FINANCIAL RATIOS:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Return on Capital employed (%) | 5.42% | 20.59% | 18.72% | 17.98% | 17.53% | 17.65% | 17.27% | 14.64% | 12.47% | 10.25% |
| Average | 15.25% |  |  |  |  |  |  |  |  |  |
| Return on Investment (%) | 0.56% | 10.60% | 10.84% | 12.15% | 14.87% | 18.70% | 24.62% | 38.74% | 38.10% | 33.81% |
| Average | 20.30% |  |  |  |  |  |  |  |  |  |
| Return on Net Worth | 2.21% | 28.04% | 20.88% | 17.34% | 15.35% | 13.82% | 11.68% | 10.30% | 9.20% | 7.55% |
| Average | 13.64% |  |  |  |  |  |  |  |  |  |
| DSCR | 3.61 | 1.85 | 1.60 | 1.44 | 1.26 | 1.30 | 0.99 | 0.97 | 0.00 | 0.00 |
| Average | 1.63 |  |  |  |  |  |  |  |  |  |
| ISCR | 3.61 | 3.98 | 4.07 | 4.43 | 5.19 | 6.51 | 9.39 | 23.04 | 99.42 | 91.52 |
| Average | 25.12 |  |  |  |  |  |  |  |  |  |
| Fixed Asset Coverage Ratio | 1.22 | 1.29 | 1.41 | 1.67 | 2.13 | 3.93 |  |  |  |  |
| Average | 1.94 |  |  |  |  |  |  |  |  |  |
| Current Ratio | 26.67 | 26.67 | 11.98 | 11.66 | 11.34 | 11.02 | 10.71 | 10.40 | 10.09 | 9.78 |
| Average | 14.03 |  |  |  |  |  |  |  |  |  |
| TOL/TNW | 3.02 | 2.01 | 1.42 | 1.01 | 0.68 | 0.44 | 0.21 | 0.03 | 0.02 | 0.02 |
| Average | 0.89 |  |  |  |  |  |  |  |  |  |
| Debt to Equity Ratio | 3.00 | 2.76 | 2.46 | 2.10 | 1.65 | 1.20 | 0.60 | 0.00 | 0.00 | 0.00 |
| Average | 1.38 |  |  |  |  |  |  |  |  |  |

- BREAK-EVEN ANALYSIS:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Sales | 1.84 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 | 7.35 |
| Variable Expenses | 0.05 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 | 0.18 |
| Contribution | 1.79 | 7.17 | 7.17 | 7.17 | 7.17 | 7.17 | 7.17 | 7.17 | 7.17 | 7.17 |
| Fixed Expenses | 0.59 | 2.46 | 2.79 | 2.98 | 3.11 | 3.25 | 3.48 | 3.63 | 3.79 | 4.05 |
| Profit / PBT | 1.20 | 4.71 | 4.38 | 4.18 | 4.05 | 3.92 | 3.69 | 3.54 | 3.38 | 3.11 |
| PV RATIO (Contr. / Sales) | 97.50% | 97.50% | 97.50% | 97.50% | 97.50% | 97.50% | 97.50% | 97.50% | 97.50% | 97.50% |
| BEP Sales | 0.61 | 2.52 | 2.86 | 3.06 | 3.19 | 3.33 | 3.56 | 3.72 | 3.88 | 4.16 |
| BEP% (BEP Sales / sales) | 32.95% | 34.31% | 38.90% | 41.64% | 43.42% | 45.30% | 48.50% | 50.60% | 52.83% | 56.58% |

- TERM LOAN INPUTS:

| Term Loan Repayment Inputs |  |
| --- | --- |
| Total loan amount | INR 14.07 Crore |
| Rate of Interest | 8.50% |
| 1st Disbursement | April-25 |
| IDC Start & End Month | April 25 to December-25 |
| IDC Period (construction period) | 9 Month |
| Commencement /Operation Start | 1st Jan 2026 |
| Moratorium Start & End Month (only interest to pay) | April 2025 to March 2026 |
| Moratorium Period after COD | 03 Month |
| Repayment Start | April-2026 |
| Repayment End | March-2033 |
| Repayment Period | 07 Years |

(INR Crore)

| Year Ending | 31-Mar-25 | 31-Dec-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 0 | 9 | 3 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Opening Bal | 0.00 | 0.00 | 14.07 | 14.07 | 12.95 | 11.54 | 9.85 | 7.74 | 5.63 | 2.81 | 0.00 | 0.00 |
| Disbursement | 0.00 | 14.07 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Repayment | 0.00 | 0.00 | 0.00 | 1.13 | 1.41 | 1.69 | 2.11 | 2.11 | 2.81 | 2.81 | 0.00 | 0.00 |
| Closing Principal o/s | 0.00 | 14.07 | 14.07 | 12.95 | 11.54 | 9.85 | 7.74 | 5.63 | 2.81 | 0.00 | 0.00 | 0.00 |
| Interest | 0.00 | 0.75 | 0.30 | 1.15 | 1.04 | 0.91 | 0.75 | 0.57 | 0.36 | 0.12 | 0.00 | 0.00 |
| IDC | 0.00 | 0.75 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| TL Interest | 0.00 | 0.00 | 0.30 | 1.15 | 1.04 | 0.91 | 0.75 | 0.57 | 0.36 | 0.12 | 0.00 | 0.00 |

- DEPRECIATION SCHEDULE (STRAIGHT  LINE METHOD):

(INR Crore)

| Depreciation Schedule as per Company's Act, 2013 |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Particular | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| Building & Civil Works | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 | 1.89 |
| Less : SLM Depreciation | 0.02 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 | 0.06 |
| Carrying Value Building & Civil Works | 1.88 | 1.82 | 1.76 | 1.70 | 1.64 | 1.58 | 1.52 | 1.46 | 1.40 | 1.34 |
| Plant & Machinery | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 | 14.18 |
| Less : SLM Depreciation | 0.22 | 0.90 | 0.90 | 0.90 | 0.90 | 0.90 | 0.90 | 0.90 | 0.90 | 0.90 |
| Carrying Value of Plant & Machinery | 13.96 | 13.06 | 12.16 | 11.26 | 10.37 | 9.47 | 8.57 | 7.67 | 6.78 | 5.88 |
| Misc. Fix Assets | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Less : SLM Depreciation | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Carrying Value of Misc. Fixed Asset | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total SLM Depreciation | 0.24 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 |

- WORKING CAPITAL ASSESSMENT:

(INR Crore)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Current Assets | 0.15 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 |
| Current Liabilities | 0.01 | 0.02 | 0.05 | 0.05 | 0.05 | 0.05 | 0.06 | 0.06 | 0.06 | 0.06 |
| Working Capital | 0.15 | 0.58 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.54 | 0.54 |
| Working Capital Margin @25% | 0.04 | 0.15 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 | 0.14 |
| Working Capital gap | 0.11 | 0.44 | 0.42 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 |
| Working Capital Requirement | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 |
| Interest on working capital loan | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 |

COMBINED FINANCIALS CRPL INFRA PVT LTD.

- PROJECTED COMBINED PROFIT & LOSS ACCOUNT:

(INR Crore)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Revenue |  |  |  |  |  |  |  |  |  |  |
| Revenue | 9.85 | 28.11 | 28.75 | 29.66 | 30.39 | 31.17 | 32.26 | 33.15 | 34.11 | 35.41 |
| Cost of Sales |  |  |  |  |  |  |  |  |  |  |
| Rental Expenses | 1.42 | 3.86 | 3.86 | 4.16 | 4.16 | 4.16 | 4.49 | 4.49 | 4.49 | 4.85 |
| Cost of Manpower Supply | 2.04 | 5.89 | 6.33 | 6.81 | 7.32 | 7.86 | 8.45 | 9.09 | 9.77 | 10.50 |
| Repair & Maintenance | 0.00 | 0.00 | 0.69 | 0.72 | 0.76 | 0.80 | 0.84 | 0.88 | 0.92 | 0.97 |
| Electricity Expenses | 1.40 | 4.17 | 4.35 | 4.54 | 4.74 | 4.94 | 5.16 | 5.39 | 5.63 | 5.88 |
| Selling, General & Administrative Expenses | 0.15 | 0.42 | 0.43 | 0.44 | 0.46 | 0.47 | 0.48 | 0.50 | 0.51 | 0.53 |
| Operating Expenses | 5.01 | 14.34 | 15.66 | 16.67 | 17.42 | 18.23 | 19.42 | 20.34 | 21.32 | 22.73 |
| EBITDA | 4.84 | 13.77 | 13.09 | 12.99 | 12.96 | 12.94 | 12.83 | 12.81 | 12.79 | 12.67 |
| Depreciation | 1.05 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 |
| EBIT | 3.79 | 10.81 | 10.12 | 10.03 | 10.00 | 9.97 | 9.87 | 9.84 | 9.82 | 9.71 |
| Interest expenses |  |  |  |  |  |  |  |  |  |  |
| Interest on term loan | 1.34 | 3.57 | 3.21 | 2.79 | 2.28 | 1.71 | 1.05 | 0.30 | 0.00 | 0.00 |
| Interest on working capital | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 |
| Total Interest Expenses | 1.46 | 3.69 | 3.33 | 2.91 | 2.40 | 1.83 | 1.17 | 0.42 | 0.12 | 0.12 |
| Profit before Taxes (PBT) | 2.34 | 7.11 | 6.80 | 7.12 | 7.60 | 8.14 | 8.70 | 9.43 | 9.70 | 9.59 |
| Current Tax | 0.00 | 1.13 | 1.17 | 1.22 | 1.30 | 1.48 | 1.91 | 2.49 | 2.67 | 2.72 |
| Deferred Tax | -1.54 | -0.80 | -0.57 | -0.38 | -0.22 | -0.08 | 0.04 | 0.14 | 0.23 | 0.30 |
| Applicable taxes | 1.54 | 1.93 | 1.74 | 1.60 | 1.52 | 1.56 | 1.87 | 2.34 | 2.44 | 2.41 |
| Profit after Taxes (PAT) | 0.79 | 5.18 | 5.06 | 5.51 | 6.08 | 6.59 | 6.83 | 7.08 | 7.26 | 7.18 |

- PROFORMA BALANCE SHEET:

Below table shows the Projected Combined Balance Sheet of the CRPL from the period FY 2025 to FY 2035. From 1st Jan 2025 to 31st December 2025 would be the implementation period of the project:

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Sep-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 6 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Liabilities |  |  |  |  |  |  |  |  |  |  |  |  |
| Equity | 9.76 | 14.31 | 14.87 | 14.87 | 14.87 | 14.87 | 14.87 | 14.87 | 14.87 | 14.87 | 14.87 | 14.87 |
| Reserve & Surplus |  |  | 0.79 | 5.98 | 11.03 | 16.55 | 22.63 | 29.21 | 36.05 | 43.13 | 50.39 | 57.57 |
| Secured Loan | 13.87 | 44.15 | 39.97 | 35.51 | 30.15 | 23.46 | 16.77 | 7.85 | 0.00 | 0.00 | 0.00 | 0.00 |
| Current Liabilities |  |  |  |  |  |  |  |  |  |  |  |  |
| Trade Payables | 0.00 | 0.00 | 0.02 | 0.05 | 0.14 | 0.14 | 0.15 | 0.16 | 0.16 | 0.17 | 0.18 | 0.18 |
| Term Liabilities Payable Within One Year | 0.00 | 0.46 | 4.18 | 4.46 | 5.35 | 6.69 | 6.69 | 8.92 | 7.85 | 0.00 | 0.00 | 0.00 |
| Cc Limit | 0.00 | 0.00 | 1.40 | 1.40 | 1.40 | 1.40 | 1.40 | 1.40 | 1.40 | 1.40 | 1.40 | 1.40 |
| Total | 23.64 | 58.92 | 61.23 | 62.27 | 62.95 | 63.12 | 62.51 | 62.41 | 60.33 | 59.57 | 66.84 | 74.02 |
| Gross Assets |  |  |  |  |  |  |  |  |  |  |  |  |
| Land Acquisition Cost | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Land Development Cost | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Civil Work / Construction | 4.15 | 6.04 | 6.04 | 6.04 | 6.04 | 6.04 | 6.04 | 6.04 | 6.04 | 6.04 | 6.04 | 6.04 |
| Plant & Machinery | 17.86 | 43.83 | 43.83 | 43.83 | 43.83 | 43.83 | 43.83 | 43.83 | 43.83 | 43.83 | 43.83 | 43.83 |
| Misc. Fix Assets | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total Gross Block | 22.00 | 49.87 | 49.87 | 49.87 | 49.87 | 49.87 | 49.87 | 49.87 | 49.87 | 49.87 | 49.87 | 49.87 |
| Depreciation |  |  | 1.05 | 4.01 | 6.98 | 9.94 | 12.91 | 15.88 | 18.84 | 21.81 | 24.77 | 27.74 |
| Net Block | 22.00 | 49.87 | 48.83 | 45.86 | 42.89 | 39.93 | 36.96 | 34.00 | 31.03 | 28.06 | 25.10 | 22.13 |
| Deferred Tax Asset | 0.00 | 0.00 | -1.54 | -2.34 | -2.91 | -3.29 | -3.51 | -3.59 | -3.55 | -3.40 | -3.17 | -2.87 |
| Balance With Gov. Authorities | 0.00 | 7.25 | 6.38 | 3.90 | 1.55 | 0.07 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Mat Credit Entitlement |  |  | 0.00 | 1.13 | 1.42 | 1.23 | 0.84 | 0.35 | 0.03 | 0.00 | 0.00 | 0.00 |
| Security Deposit To Landlord | 1.63 | 1.79 | 1.79 | 1.79 | 1.79 | 1.79 | 1.79 | 1.79 | 1.79 | 1.79 | 1.79 | 1.79 |
| Current Assets |  |  |  |  |  |  |  |  |  |  |  |  |
| Trade Receivables |  |  | 0.81 | 2.31 | 2.36 | 2.44 | 2.50 | 2.56 | 2.65 | 2.72 | 2.80 | 2.91 |
| Cash & Bank | 0.00 | 0.00 | 4.96 | 9.61 | 15.84 | 20.95 | 23.93 | 27.30 | 28.37 | 30.39 | 40.32 | 50.06 |
| Preliminary Expenses W/Off |  | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Total | 23.64 | 58.92 | 61.23 | 62.27 | 62.95 | 63.12 | 62.51 | 62.41 | 60.33 | 59.57 | 66.84 | 74.02 |

- PROJECTED COMBINED CASH FLOW STATEMENT:

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Sep-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 6 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Cash Flow from Operating Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Profit before Tax | 0.00 | 0.00 | 2.34 | 7.11 | 6.80 | 7.12 | 7.60 | 8.14 | 8.70 | 9.43 | 9.70 | 9.59 |
| Add: Non-Cash Expenses/ Non-Operating Expenses/(Non-Operating Income) | 0.00 | 0.00 | 1.05 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 |
| Add: Interest Expense | 0.00 | 0.00 | 1.46 | 3.69 | 3.33 | 2.91 | 2.40 | 1.83 | 1.17 | 0.42 | 0.12 | 0.12 |
| Increase in Sundry Debtors | 0.00 | 0.00 | -0.81 | -1.50 | -0.05 | -0.07 | -0.06 | -0.06 | -0.09 | -0.07 | -0.08 | -0.11 |
| NET GST ASSET | 0.00 | -7.25 | 0.87 | 2.48 | 2.36 | 2.34 | 2.33 | 2.33 | 2.31 | 2.31 | 2.30 | 2.28 |
| Change in MAT | 0.00 | 0.00 | 0.00 | -1.13 | -0.29 | 0.19 | 0.39 | 0.49 | 0.32 | 0.03 | 0.00 | 0.00 |
| Increase in Sundry Creditors | 0.00 | 0.00 | 0.02 | 0.03 | 0.09 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 |
| Cash Generated from Operations | 0.00 | -7.25 | 4.92 | 13.65 | 15.19 | 15.45 | 15.64 | 15.70 | 15.38 | 15.08 | 15.02 | 14.86 |
| GST Paid | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.86 | 2.26 | 2.33 | 2.31 | 2.31 | 2.30 | 2.28 |
| Income Taxes paid | 0.00 | 0.00 | 0.00 | 1.13 | 1.17 | 1.22 | 1.30 | 1.48 | 1.91 | 2.49 | 2.67 | 2.72 |
| Net Cash from Operating Activities | 0.00 | -7.25 | 4.92 | 12.52 | 14.02 | 13.37 | 12.07 | 11.89 | 11.16 | 10.28 | 10.04 | 9.86 |
| Cash Flow from Investing Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Purchase of Fixed Assets | -22.00 | -27.87 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Security Deposit | -1.63 | -0.16 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Net Cash from Investing Activities | -23.64 | -28.03 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Cash Flow from Financing Activities |  |  |  |  |  |  |  |  |  |  |  |  |
| Increase in Equity / Share Capital/USL | 9.76 | 4.54 | 0.56 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Increase in TL | 13.87 | 30.74 | -0.46 | -4.18 | -4.46 | -5.35 | -6.69 | -6.69 | -8.92 | -7.85 | 0.00 | 0.00 |
| Increase in CC Limit | 0.00 | 0.00 | 1.40 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Interest Paid | 0.00 | 0.00 | -1.46 | -3.69 | -3.33 | -2.91 | -2.40 | -1.83 | -1.17 | -0.42 | -0.12 | -0.12 |
| Net Cash from Financing Activities | 23.64 | 35.28 | 0.05 | -7.87 | -7.79 | -8.26 | -9.09 | -8.52 | -10.09 | -8.26 | -0.12 | -0.12 |
| Net increase in cash and cash equivalents | 0.00 | 0.00 | 4.96 | 4.64 | 6.23 | 5.10 | 2.98 | 3.37 | 1.07 | 2.02 | 9.93 | 9.74 |
| Cash and cash equivalents at beginning of period | 0.00 | 0.00 | 0.00 | 4.96 | 9.61 | 15.84 | 20.95 | 23.93 | 27.30 | 28.37 | 30.39 | 40.32 |
| Cash and cash equivalents at end of period | 0.00 | 0.00 | 4.96 | 9.61 | 15.84 | 20.95 | 23.93 | 27.30 | 28.37 | 30.39 | 40.32 | 50.06 |

- KEY FINANCIAL RATIO:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| EBITDA Margin % | 49.11% | 48.98% | 45.53% | 43.80% | 42.66% | 41.51% | 39.79% | 38.64% | 37.49% | 35.79% |
| Average | 42.33% |  |  |  |  |  |  |  |  |  |
| EBIT Margin % | 38.49% | 38.43% | 35.21% | 33.80% | 32.90% | 32.00% | 30.59% | 29.69% | 28.80% | 27.42% |
| Average | 32.73% |  |  |  |  |  |  |  |  |  |
| PAT Margin % | 8.05% | 18.43% | 17.59% | 18.59% | 20.01% | 21.13% | 21.18% | 21.37% | 21.29% | 20.26% |
| Average | 18.79% |  |  |  |  |  |  |  |  |  |
| Revenue growth rate Y-o-Y (%) |  | 185.29% | 2.26% | 3.17% | 2.46% | 2.57% | 3.49% | 2.77% | 2.89% | 3.81% |
| Average | 23.19% |  |  |  |  |  |  |  |  |  |

Note: The Cold storage projects of CRPL are having an average revenue growth rate of 23.19% during the forecasted period. Average EBITDA Margin & EBIT Margin of the combined projects are 42.33% & 32.73% respectively.  The project will be operational from 1st Jan 2025 and as per the trends analysis above, PAT margin is growing from 8.05% in FY 2026 to 20.26% in FY 2035 due to the lower interest cost on borrowings in the later projected years.

- ESTIMATED KEY FINANCIAL METRICS: DEBT SERVICE COVERAGE RATIO (D.S.C.R)

(INR Crore except D.S.C.R)

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Cash accrual | 3.38 | 8.94 | 8.60 | 8.86 | 9.26 | 9.63 | 9.76 | 9.91 | 10.00 | 9.84 |
| Interest on term loan | 1.34 | 3.57 | 3.21 | 2.79 | 2.28 | 1.71 | 1.05 | 0.30 | 0.00 | 0.00 |
| Interest on WC | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 |
| Subtotal | 4.84 | 12.64 | 11.92 | 11.77 | 11.66 | 11.46 | 10.92 | 10.32 | 10.12 | 9.96 |
| Interest on term loan | 1.34 | 3.57 | 3.21 | 2.79 | 2.28 | 1.71 | 1.05 | 0.30 | 0.00 | 0.00 |
| Interest on WC | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 | 0.12 |
| Loan Repayment | 0.46 | 4.18 | 4.46 | 5.35 | 6.69 | 6.69 | 8.92 | 7.85 | 0.00 | 0.00 |
| Subtotal | 1.92 | 7.87 | 7.79 | 8.26 | 9.09 | 8.52 | 10.09 | 8.26 | 0.12 | 0.12 |
| DSCR | 2.52 | 1.61 | 1.53 | 1.42 | 1.28 | 1.34 | 1.08 | 1.25 |  |  |
| Average DSCR | 1.51 |  |  |  |  |  |  |  |  |  |
| Maximum DSCR | 2.52 |  |  |  |  |  |  |  |  |  |

Note: D.S.C.R has been calculated for loan repayment period from FY 2026 to FY 2033. The Cold storage project (combined) is having a D.S.C.R of more than 1 during the projected loan repayment period.

- NPV,IRR AND PAYBACK PERIOD OF THE PROJECT:

(INR Crore)

| Year Ending | 31-Mar-25 | 30-Sep-25 | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 3 | 6 | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| EBIT | 0.00 | 0.00 | 3.79 | 10.81 | 10.12 | 10.03 | 10.00 | 9.97 | 9.87 | 9.84 | 9.82 | 9.71 |
| Less: Taxes | 0.00 | 0.00 | 0.95 | 2.72 | 2.55 | 2.52 | 2.52 | 2.51 | 2.48 | 2.48 | 2.47 | 2.44 |
| Add: Depreciation & Amortisation | 0.00 | 0.00 | 1.05 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 | 2.97 |
| NOPAT | 0.00 | 0.00 | 3.88 | 11.05 | 10.54 | 10.47 | 10.45 | 10.43 | 10.35 | 10.33 | 10.32 | 10.23 |
| Increase/(Decrease) in working capital | 0.00 | 0.00 | 0.79 | 1.47 | -0.03 | 0.07 | 0.05 | 0.06 | 0.08 | 0.07 | 0.07 | 0.10 |
| Capex | 22.00 | 27.87 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| Free Cash Flow to Firm (FCFF) | -22.00 | -27.87 | 3.09 | 9.58 | 10.57 | 10.40 | 10.39 | 10.37 | 10.27 | 10.27 | 10.24 | 10.13 |
| Discount Period | 0.25 | 0.75 | 1.25 | 2.25 | 3.25 | 4.25 | 5.25 | 6.25 | 7.25 | 8.25 | 9.25 | 10.25 |
| Discount Factor | 0.98 | 0.93 | 0.89 | 0.81 | 0.74 | 0.67 | 0.61 | 0.56 | 0.51 | 0.46 | 0.42 | 0.38 |
| PV of FCFF | -21.49 | -25.97 | 2.75 | 7.75 | 7.79 | 6.97 | 6.34 | 5.76 | 5.19 | 4.72 | 4.29 | 3.86 |
| Terminal Value of the project |  |  |  |  |  |  |  |  |  |  |  | 108.61 |
| PV of Terminal Value |  |  |  |  |  |  |  |  |  |  |  | 41.36 |
| FCFF+TV | -22.00 | -27.87 | 3.09 | 9.58 | 10.57 | 10.40 | 10.39 | 10.37 | 10.27 | 10.27 | 10.24 | 118.74 |
| PV of FCF+ PV of Terminal Value | -21.49 | -25.97 | 2.75 | 7.75 | 7.79 | 6.97 | 6.34 | 5.76 | 5.19 | 4.72 | 4.29 | 45.22 |
| NPV | INR 49.69 Crore |  |  |  |  |  |  |  |  |  |  |  |
| IRR | 22.80% |  |  |  |  |  |  |  |  |  |  |  |

| Key Input for NPV & IRR |  |
| --- | --- |
| Weight of Debt Wd | 75% |
| Cost of Debt Kd | 8.50% |
| Tax | 25.17% |
| Post tax Kd | 6.36% |
| Weight of Equity We | 25% |
| Cost of Equity Ke | 12.42% |
| WACC | 7.88% |
| Project Risk Premium | 2.00% |
| Discount rate | 9.88% |
| Expected growth rate(Terminal) | 0.50% |

| Payback Period of the project (Combined) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| No. Of Years | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Cash Accrual | 3.38 | 8.94 | 8.60 | 8.86 | 9.26 | 9.63 | 9.76 | 9.91 | 10.00 | 9.84 |
| Accumulated Cash Accrual | 3.38 | 12.33 | 20.92 | 29.78 | 39.05 | 48.68 | 58.43 | 68.34 | 78.34 | 88.18 |
| TPC | INR 58.92 Cr. |  |  |  |  |  |  |  |  |  |
| Payback Period | 6.55 Years |  |  |  |  |  |  |  |  |  |

Thus, the combined cold storage project will be having a payback period of 6.5 years and NPV & IRR of the project is INR 49.69 Crore & 22.80% respectively from C.O.D to loan repayment period, which indicates worthiness of the project.

- OTHER FINANCIAL RATIOS:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Return on Capital employed (%) | 6.82% | 19.17% | 18.06% | 18.27% | 18.42% | 19.20% | 19.38% | 16.97% | 15.05% | 13.40% |
| Average | 16.47% |  |  |  |  |  |  |  |  |  |
| Return on Investment (%) | 1.34% | 9.45% | 10.04% | 12.25% | 15.86% | 20.82% | 30.07% | 47.64% | 48.83% | 48.25% |
| Average | 24.46% |  |  |  |  |  |  |  |  |  |
| Return on Net Worth | 5.06% | 24.86% | 19.52% | 17.55% | 16.21% | 14.94% | 13.42% | 12.21% | 11.13% | 9.91% |
| Average | 14.48% |  |  |  |  |  |  |  |  |  |
| DSCR | 2.52 | 1.61 | 1.53 | 1.42 | 1.28 | 1.34 | 1.08 | 1.25 | 0.00 | 0.00 |
| Average | 1.51 |  |  |  |  |  |  |  |  |  |
| ISCR | 3.32 | 3.73 | 3.93 | 4.46 | 5.41 | 7.07 | 11.01 | 30.84 | 107.46 | 106.50 |
| Average | 28.37 |  |  |  |  |  |  |  |  |  |
| Fixed Asset Coverage Ratio | 1.22 | 1.29 | 1.42 | 1.70 | 2.20 | 4.33 |  |  |  |  |
| Average | 2.03 |  |  |  |  |  |  |  |  |  |
| Current Ratio | 44.44 | 44.44 | 17.13 | 16.94 | 16.69 | 16.44 | 16.29 | 16.07 | 15.87 | 15.75 |
| Average | 22.01 |  |  |  |  |  |  |  |  |  |
| TOL/TNW | 2.91 | 1.99 | 1.43 | 1.01 | 0.67 | 0.42 | 0.18 | 0.03 | 0.02 | 0.02 |
| Average | 0.87 |  |  |  |  |  |  |  |  |  |
| Debt to Equity Ratio | 2.97 | 2.69 | 2.39 | 2.03 | 1.58 | 1.13 | 0.53 | 0.00 | 0.00 | 0.00 |
| Average | 1.33 |  |  |  |  |  |  |  |  |  |

- BREAK-EVEN ANALYSIS:

| Year Ending | 31-Mar-26 | 31-Mar-27 | 31-Mar-28 | 31-Mar-29 | 31-Mar-30 | 31-Mar-31 | 31-Mar-32 | 31-Mar-33 | 31-Mar-34 | 31-Mar-35 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Year Counter | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Months Counter | 6 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |
| Sales | 9.85 | 28.11 | 28.75 | 29.66 | 30.39 | 31.17 | 32.26 | 33.15 | 34.11 | 35.41 |
| Variable Expenses | 0.15 | 0.42 | 0.43 | 0.44 | 0.46 | 0.47 | 0.48 | 0.50 | 0.51 | 0.53 |
| Contribution | 9.71 | 27.69 | 28.32 | 29.22 | 29.93 | 30.70 | 31.77 | 32.65 | 33.60 | 34.88 |
| Fixed Expenses | 4.87 | 13.92 | 15.23 | 16.22 | 16.97 | 17.76 | 18.94 | 19.84 | 20.81 | 22.20 |
| Profit / PBT | 4.84 | 13.77 | 13.09 | 12.99 | 12.96 | 12.94 | 12.83 | 12.81 | 12.79 | 12.67 |
| PV RATIO (Contr. / Sales) | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% | 98.50% |
| BEP Sales | 4.94 | 14.13 | 15.46 | 16.47 | 17.23 | 18.03 | 19.23 | 20.15 | 21.13 | 22.54 |
| BEP% (BEP Sales / sales) | 50.14% | 50.27% | 53.78% | 55.53% | 56.69% | 57.86% | 59.61% | 60.77% | 61.94% | 63.66% |

- KEY ASSUMPTIONS & BASIS:

| S. No. | Item | Assumptions and Basis |
| --- | --- | --- |
|  | General | - The projections of the proposed captive hybrid wind-solar power plant are done for the period from FY 2025 to FY 2052, ~27 years, to cover the term loan period as per the industry best practices. It is assumed that the plant will be achieving COD on 1st April 2026. - We have considered both Revenue & cost based model (top to bottom approach) while making the future financial projections. - Revenue modelling has been done based on the net unit generated annually as defined in the EPC agreement with Opera Energy Private Limited and applicable tariff in the state of Gujrat for Industrial/Commercial Electricity. - Expense modelling has been done based on the terms & conditions mutually agreed by EPC & Company regarding Fixed and variable charges. - The proposed hybrid power plant is assumed to be operational for 360 days for 24 hours annually. |
|  | Revenue Build up | - Company will be generating the revenue in the form of saving from the electricity generation from 36 MW Solar and 27.30 MW Wind Power Plant. - Plant load factor for Solar and Wind are considered as 18.55% and 36.96% respectively as per the EPC agreement. - Degradation factors are considered as 0.55% from 2nd year onwards as per the EPC agreement. Similarly transmission losses are considered as 6.34% including 2.5% of windfarm internal losses. - After multiplying these factors with installed capacity, No. of units Production (Yearly) are determined. After adjusted with transmission losses, Net units Exported annually are determined. - Net units are multiplied by applicable tariff rate of INR 8.75 per unit as per the currently prevailing tariff and Net Revenue is calculated. - Thus the company is expected to generate INR 120.39 Crore annual revenue in FY 2027, which is expected to increase up to INR 134.87 Crore till FY 2052. - Escalation of 1% is considered in applicable tariff rate as informed by client during the projected period. |
|  | Pricing (Average Price Per Unit) | - Applicable tariff rate is considered as INR 8.75 per unit as per the currently prevailing industrial commercial tariff rate per unit in the state of Gujrat. - Escalation of 1% is considered in applicable tariff rate as informed by client during the projected period. |
|  | Capacity Utilization | - The proposed Wind Solar Hybrid power plant will be installed with a combined capacity of 63.30 MW (36 MW DC Solar (~62062 nos. of Solar PV Module) 580Wp of BiN-08-580 type Solar module from Waaree Energies Limited and Suzlon S 120 – (2.1 X 13) 27.30 MW Wind turbine generator (WTG)). - Plant load factor of 18.55% for Solar and 36.96% for wind are considered in the initial operating year and degradation factor of 0.5% y-o-y basis from 2nd year onwards is taken as per the EPC agreement. |
|  | Capital Expenditure | - M/s Sai Infinium Limited has executed an EPC/Techno-Commercial contract with Opera Energy Private Limited for Captive hybrid power plant for 27.30 (13 x 2.1) WTG with 36.96% PLF & 36 MW DC Solar 18.55% PLF. - Company has appointed Opera as an EPC through entering into a legal agreement dated 7th Jan 2025, who will be the solution provider for the proposed 63.30 MW hybrid project to implement on turnkey basis within 13 months of zero and design, develop, transfer and maintain the solar and wind hybrid power plant on behalf of M/s Sai Infinium Limited as an industrial customer. - The proposed wind solar hybrid power plant will not be having major building and civil works. Only land development and foundation work will be there as per the requirement of WTG and PV modules. Out of total EPC cost of INR 438.81 Cr., ~5% i.e. INR 21.94 Cr. will be the cost of Civil work, and rest 95% i.e. INR 416 .87 Cr. will the cost for proposed plant & machinery, which seems to be reasonable after considering the infrastructure of the plant. However we are relied upon the data/information and EPC agreement shared with us by the client in this regard. - As per the data/information provided by the client, applicable Interest during Construction (IDC) is 11%. As per the proposed Loan repayment schedule, company is required to pay INR 25.22 Crore as IDC from March 2025 to 31st March 2026 (12 months). - Preliminary & Pre-Operative Expenses has been considered based on the estimate of company’s resources involvement as INR 4.39 Crore, which is 1% of hard cost of the project. However, Company did not provide us any invoices/bills against these tentative costs considered. We recommend that the bank/financial institutions advice the company to submit actual cost based on the final quotations/invoices/bills. This will help validate the assertion of different costs considered by the client. - Contingency cost of INR 2.19 Crore has been considered based on general assumption and professional experience (~0.5 of Hard Cost of the Project). - As per the EPC agreement, the proposed captive hybrid power plant will be setting up with an initial investment of INR 467.91 Crore including EPC, IDC, and Contingencies & Preliminary & Pre-operative expenses. - Thus, ~INR 7.39 Crore per MW is the expected CAPEX for the proposed 63.30 MW Wind Solar Hybrid power plant, which seems to be reasonable and in the line with industrial benchmark. - Per MW cost of Solar and Wind power plants are in the line with market trends. The cost of a 1 MW solar power plant in India is typically between ₹4 and ₹5 crores. The cost depends on several factors, including: Solar panels, Land, Balance of system (BOS) components, Installation challenges, Batteries. For reference Amplus Solar (https://amplussolar.com/blogs/1mw-solar-power-plant) and Waree (https://waaree.com/blog/5-mw-solar-power-energy-plant-in-india-profit-cost-land-requirement/) are known name in this field. Similarly, According to a report by the Ministry of New and Renewable Energy in India, the capital cost of wind power projects in India ranges from INR 5.5 crore per MW to INR 6.5 crore per MW (approximately USD 750,000 to USD 880,000 per MW) for onshore wind projects, and from INR 8.5 crore per MW to INR 12 crore per MW (approximately USD 1.2 million to USD 1.6 million per MW) for offshore wind project. (https://www.linkedin.com/pulse/india-wind-energy-potential-quesrow#:~:text=According%20to%20a%20report%20by,INR%2012%20crore%20per%20MW%20). |
|  | Expenses | - O&M Expenses are considered as INR 1,26,00,000 and INR 3,00,84,600 yearly for Solar and Wind Plant respectively as per the EPC agreement. As per EPC, 2 years of O&M will be free. An escalation of 5% in O&M are considered for Solar and Wind Plant respectively both as per the terms & conditions defined in EPC agreement. - Banking Charges and Multi-Wheeling Charges are considered as 0.20 per unit as defined in the EPC agreement. - State Load Despatch Centre (SLDC) are considered as INR 614.45 per day as per the government policy and terms & conditions mentioned in EPC agreement. - Transmission charges are considered as INR 4400 per MW Per day as per the government policy and terms & conditions mentioned in EPC agreement. - Forecasting & Scheduling, GEDA Certification Charges and GETCO Feeder Bay Maintenance Charges are considered as INR 1500 per MW per month, INR 12000 per MW per year and INR 60000 per MW per year respectively as per EPC agreement. - Lease rental for land are INR 0.50 lakhs per acre and INR 3 lakhs per acre for solar and wind respectively as per the EPC agreement. An escalation of 7% every 3 year is considered as per EPC terms & condition. - Insurance expenses are considered as 0.10 of WDV net block y-o-y basis. |
|  | Term Loan | - The project is proposed to be funded through a term loan of INR 350.93 crores and promoter’s margin of INR 116.98 crores. - Interest rate has been considered as 11% on the term loan. - Moratorium period will be from 1st March 2025 to 31st March 2027 i.e. for 25 months. - Loan repayment period will be for 20 years as per informed by bank/client/financial Institution. |

Key Findings:

      - Average DSCR, EBIDTA margin, EBIT margin is 2.68, 87.52%, and 73.66% respectively during the estimated period.

      - D.S.C.R of the proposed Wind Solar Hybrid Power plant is found highly sensitive with respect to any downside fluctuation in the projected revenue.

      - The company is having a positive NPV and IRR of INR 243 Crore and 16.98% respectively from C.O.D to loan repayment period while it may vary with changes in the assumptions & micro and macro-economic trends considered as on date.

      - The proposed project is having a payback period of 7.06 years.

      - Based on the above key financial ratios of the proposed Project during the forecasted period shows that the project appears financially viable if the promoters of the project are able to maintain assumed capacity utilization, revenue and can contain cost as assumed above in the calculation.

| PART L | CONCLUSION |
| --- | --- |

Based on the technological, economical and market analysis done above, various assumptions of sectoral trends taken, product pricing to be adopted by the company, the Project appears to be Techno-commercially viable subject to the risks, threats, weaknesses, limitations of the product as detailed previously.

As per financial projections for the estimated period, Average DSCR, EBITDA Margin and EBIT Margin of the project are 2.68, 87.52% and 73.66% respectively, where higher DSCR is the indicator of the project capability to pay out its outstanding debt and EBITDA margin shows the capability of the project to generate the operating profits over the forecasted period. Also the project is having the payback period of 7.06 Years in the line with sectoral trends.

The proposed Wind Solar Hybrid project is having a positive NPV and IRR as INR 243 Crore and 16.98% respectively from C.O.D till loan repayment period as the industry is expectedly growing at a CAGR of 8.77% during the forecasted period (2023-32). While it is not avoidable that the future projections may change in the upcoming years due to various factors impacting the operation, managerial, financial efficiency and economies of scale of the project.

While it would be depending on the management’s capability in future that how efficiently company adopts marketing and advertisement strategy, supply chain and carry out inventory & resource management to achieve higher profitability. After considering the foreseen demand of the Power sector domestically and globally, various initiatives taken by the government, financial analysis of the project based on the assumptions taken over the projected period, it appears reasonable to comment that the proposed project is “Technically and Economically” Viable subject to current assumptions considered and occurring the same in the upcoming years same as considered during the forecasted period which is dependent on the sincerity and efforts of the management and various micro and macroeconomic factors & industry situation.

We have tried our level best to analyse the Project techno-economic feasibility of the Project based on the Industry research, Project information and various futuristic assumption taken within the limitations and challenges came in front of us. However achieving the financial milestones depends on the ability, sincerity and efforts of the company, promoters and its key management to maintain the projected revenue level Y-o-Y basis keeping the fact in mind that the project is found sensitive with respect to the down side fluctuation in the revenue.

| Declaration | - The undersigned does not have any direct/indirect interest in the above property/project/Company. - The information furnished herein is true and correct to the best of our knowledge, logical and scientific assumptions. - This TEV Report is carried out by our Financial Analyst team on the request from M/s Sai Infinium Limited. - Meeting of Financial projections will be subject to the market & economy stability factors, judicious business operations and proper & timely implementation of the project and putting proper plan for achieving high productivity, efficiency and achieving cost saving benefits to increase profitability. - We have submitted TEV report to M/s Sai Infinium Limited. |
| --- | --- |
| Number of Pages in the Report | 104 |
| Enclosed Documents | Disclaimer & Remarks 99-102 |
| Place | Noida |
| Date | 10th January 2025 |

| FOR ON BEHALF OF M/S. R.K. ASSOCIATES VALUER & TECHNO ENGINEERING CONSULTANTS PVT. LTD. |  |  |
| --- | --- | --- |
| SURVEYED BY | PREPARED BY | REVIEWED BY |
| Mr. Mohd. Shahid | Mr. Gaurav Kumar | Mr. Rachit Gupta |

| PART M | DISCLAIMER ¦ REMARKS |
| --- | --- |

      - No employee or member of R.K Associates has any direct/ indirect interest in the Project.

      - This report is prepared based on the copies of the documents/ information which the Bank/ Company has provided to us out of the standard checklist of documents sought from them and further based on our assumptions and limiting conditions. The client/owner and its management/representatives warranted to us that the information they supplied was complete, accurate and true and correct to the best of their knowledge. All such information provided to us has been relied upon in good faith and we have assumed that it is true and correct in all respect. I/We shall not be liable for any loss, damages, cost or expenses arising from fraudulent acts, misrepresentations, or wilful default on part of the owner, company, its directors, employee, representative or agents. Verification or cross checking of the documents provided to us from the originals or from any Govt. departments/ Record of Registrar has not been done at our end since this is beyond the scope of our work. If at any time in future, it is found or came to our knowledge that misrepresentation of facts or incomplete or distorted information has been provided to us then this report shall automatically become null & void.

      - Legal aspects for e.g. investigation of title, ownership rights, lien, charge, mortgage, lease, sanctioned maps, verification of documents, etc. have not been done at our end and same has to be taken care by legal expert/ Advocate. It is assumed that the concerned Lender/ Financial Institution has satisfied them with the authenticity of the documents, information given to us and for which the legal verification has been already taken and cleared by the competent Advocate before requesting for this report. I/ We assume no responsibility for the legal matters including, but not limited to, legal or title concerns.

      - This report is a general analysis of the project based on the scope mentioned in the report. This is not an Audit report, Design document, DPR or Techno feasibility study. All the information gathered is based on the facts seen on the site during survey, verbal discussion & documentary evidence provided by the client and is believed that information given by the company is true best of their knowledge.

      - This Techno Economic-Viability study is prepared based on certain futuristic assumption which are intra dependent on economic, market and sectorial growth condition in future and socio-economic, socio-political condition at macro and micro level.

      - Meeting of assumption and financial ratio will entirely depend on the sincerity and efforts of the company, promoters and its key managerial performance.

      - All observations mentioned in the report is only based on the visual observation and the documents/ data/ information provided by the client. No mechanical/ technical tests, measurements or any design review have been performed or carried out from our side during Project assessment.

      - This report has been diligently prepared by our techno-financial team to the best of their ability. However, it's important to note that the recommendations provided in this Total Economic Viability (TEV) assessment do not imply an endorsement, validation, or certification of the accuracy or completeness of the disclosed information by the involved stakeholders. Furthermore, we do not claim or endorse that the opinions presented herein are the sole best course of action for decision-makers to follow. There may exist additional approaches and inputs that have not been covered within this report or fall outside the scope of this report.

      - Bank/FII should ONLY take this report as an Advisory document from the Financial/ Chartered Engineering firm and its specifically advised to the creditor to cross verifies the original documents for the facts mentioned in the report which can be availed from the borrowing company directly.

      - In case of any default in loans or the credit facility extended to the borrowing company, R.K Associates shall not be held responsible for whatsoever reason may be and any request for seeking any explanation from the employee/s of R.K Associates will not be entertained at any instance or situation.

      - The documents, information, data provided to us during the course of this assessment by the client are reviewed only up to the extent required in relation to the scope of the work. No document has been reviewed beyond the scope of the work.

      - This report only contains general assessment & opinion as per the scope of work evaluated as per the information given in the copy of documents, information, data provided to us and/ and confirmed by the owner/ owner representative to us at site which has been relied upon in good faith. It doesn’t contain any other recommendations of any sort including but not limited to express of any opinion on the suitability or otherwise of entering into any transaction with the borrower.

      - We have relied on data from third party, external sources & information available on public domain also to conclude this report. These sources are believed to be reliable and therefore, we assume no liability for the truth or accuracy of any data, opinions or estimates furnished by others that have been used in this analysis. Where we have relied on data, opinions or estimates from external sources, reasonable care has been taken to ensure that such data has been correctly extracted from those sources and /or reproduced in its proper form and context, however still we can’t vouch its authenticity, correctness or accuracy.

      - This Report is prepared by our competent technical team which includes Engineers and financial experts & analysts.

      - This is just an opinion report and doesn’t hold any binding on anyone. It is requested from the concerned Financial Institution which is using this report for taking financial decision on the project that they should consider all the different associated relevant & related factors also before taking any business decision based on the content of this report.

      - All Pages of the report including annexure are signed and stamped from our office. In case any paper in the report is without stamp & signature then this should not be considered a valid paper issued from this office.

      - Though adequate care has been taken while preparing this report as per its scope, but still we can’t rule out typing, human errors, over sightedness of any information or any other mistakes. Therefore, the concerned organization is advised to satisfy themselves that the report is complete & satisfactory in all respect. Intimation regarding any discrepancy shall be brought into our notice immediately. If no intimation is received within 15 (Fifteen) days in writing from the date of issuance of the report, to rectify these timely, then it shall be considered that the report is complete in all respect and has been accepted by the client up to their satisfaction & use and further to which R.K Associates shall not be held responsible in any manner.

      - Defect Liability Period is 15 DAYS. We request the concerned authorized reader of this report to check the contents, data and calculations in the report within this period and intimate us in writing if any corrections are required or in case of any other concern with the contents or opinion mentioned in the report. Corrections only related to typographical, calculation, spelling mistakes, incorrect data/ figures/ statement will be entertained within the defect liability period. Any new changes for any additional information in already approved report will be regarded as additional work for which additional fees may be charged. No request for any illegitimate change in regard to any facts & figures will be entertained.

      - R.K Associates encourages its customers to give feedback or inform concerns over its services through proper channel at valuers@rkassociates.org in writing within 15 days of report delivery. After this period no concern/ complaint/ proceedings in connection with the Techno- Economic Viability Study Services will be entertained due to possible change in situation and condition of the subject Project.

      - Our Data retention policy is of ONE YEAR. After this period, we remove all the concerned records related to the assignment from our repository. No clarification or query can be answered after this period due to unavailability of the data.

      - This Techno Economic Viability Study report is governed by our (1) Internal Policies, Processes & Standard Operating Procedures, (2) Information/ Data/ Inputs given to us by the client and (3) Information/ Data/ Facts given to us by our field/ office technical team. Management of R.K Associates never gives acceptance to any unethical or unprofessional practice which may affect fair, correct & impartial assessment and which is against any prevailing law. In case of any indication of any negligence, default, incorrect, misleading, misrepresentation or distortion of facts in the report then it is the responsibility of the user of this report to immediately or at least within the defect liability period bring all such act into notice of R.K Associates management so that corrective measures can be taken instantly.

      - R.K Associates never releases any report doing alterations or modifications from pen. In case any information/ figure of this report is found altered with pen then this report will automatically become null & void.

      - If this report is prepared for the matter under litigation in any Indian court, no official or employee of R.K Associates will be under any obligation to give in person appearance in the court as a testimony. For any explanation or clarification, only written reply can be submitted on payment of charges by the plaintiff or respondent which will be 10% of the original fees charged where minimum charges will be Rs. 15,000/.

EXTRACTS OF IMPORTANT STATUTORY APPROVALS PROVIDED BY THE CLIENT