## Sheet2
RADISSON BLU KAUSHAMBI DELHI NCR
PLANT & MACHINERY ASSETS
S.No |  | Description | Make | Model | Capacity | QTY. | Make/ Model /Capacity | Sum Insured ( INR) | Break-up of Sum Insured ( INR ) | Serial No | Year of Mfg
1 | CHILLER PLANT ROOM | Chiller Plants A-150/B-150 (Carrier No-1) |  |  |  |  | CARRIER/30XW1152P/300TR | 23500000 | 5500000 | 5.0028e+17 | 2018-04-01
2 |  | Chiller Plants A-150/B-150 (Carrier No-2) |  |  |  |  | CARRIER/30XW1152P/300TR |  | 5500000 | 5.0028e+17 | 2019-04-24
3 |  | Chiller Plant Trane |  |  |  |  | TRANE /RTHDD1D1E1V / 300 TR |  | 7000000 | 3T0423-HD0071 | 2023-04-01
4 |  | Condenser Pump 1 | GRUNDFOS | MMG180M-4-48FF300-E2 | KW. - 18.5, Hz.50, 380-415V., AMP. - 36, pump: A96125214P110110002. pre.222m3/hr | 3 | GRUNDFOS/MMG180M-4-48FF300-E2/18.5KW |  | 350000 | 90247 | 2009
5 |  | Condenser Pump 2 |  |  |  |  | GRUNDFOS/MMG180M-4-48FF300-E2/18.5KW |  | 350000 | 90246 | 2009
6 |  | Condenser Pump 3 |  |  |  |  | GRUNDFOS/MMG180M-4-48FF300-E2/18.5KW |  | 350000 | 90237 | 2009
7 |  | AC Cooling Tower No.1 ( WITH DUAL FAN ) |  |  |  |  | BELL/350TR |  | 450000 |  | 2010
8 |  | AC Cooling Tower No.2 ( WITH DUAL FAN ) |  |  |  |  | BELL/350TR |  | 450000 |  | 2010
9 |  | AC Cooling Tower No.3 ( WITH DUAL FAN ) |  |  |  |  | BELL/350TR |  | 450000 |  | 2010
10 |  | VFD 1 |  |  |  |  | ABB/ACS550-01-059A-4/22KW |  | 400000 | 9100300354 | 2010
11 |  | VFD 2 |  |  |  |  | ABB/ACS550-01-059A-4/22KW |  | 400000 | 9100300448 | 2010
12 |  | VFD 3 |  |  |  |  | ABB/ACS550-01-059A-4/22KW |  | 400000 | 9100100172 | 2010
13 |  | Chilled Water circulation Pump 1 | GRUNDFOS | MMG200L-4-55FF350-E2 | KW. - 30, Hz. - 50, 380-415V, AMP.-53.5, pump: A96695371P110110001, Pre: 178m3/hr | 3 | GRUNDFOS/MMG200L-4-55FF350-E2/30KW |  | 380000 | 90368 | 2009
14 |  | Chilled Water circulation Pump 2 |  |  |  |  | GRUNDFOS/MMG200L-4-55FF350-E2/30KW |  | 380000 | 90367 | 2009
15 |  | Chilled Water circulation Pump 3 |  |  |  |  | GRUNDFOS/MMG200L-4-55FF350-E2/30KW |  | 380000 | 90331 | 2009
16 |  | Hot Water Circulation Pump 1 (Space Heating ) | GRUNDFOS | MMG132M-4-38FF265-E2 | KW. - 7.5, Hz.50, 380-415V., AMP.-15.6, pump: A963009P110130001, Pre:71.5m3/hr | 2 | GRUNDFOS/MMG132M-4-38FF265-E2/30KW |  | 380000 | 90354 | 2009
17 |  | Hot Water Circulation Pump 2 (Space Heating ) |  |  |  |  | GRUNDFOS/MMG132M-4-38FF265-E2/30KW |  | 380000 | 90357 | 2009
23500000
1 | BOILER ROOM | Hot Water Boiler 1 | AQUAMATIC THERMAX | AMW02/368 | YEAR -2010,OUTPUT – 200000KCAL/Hr | 2 | AQUAMATIC THERMAX/AMW02/368/20LAC KCAL/HR | 20000000 | 3500000 |  | 2010
2 |  | Hot Water Boiler 2 |  |  |  |  | AQUAMATIC THERMAX/AMW02/367/20LAC KCAL/HR |  | 3500000 |  | 2010
3 |  | Steam Boiler 1 | REVOMAX THERMAX | RXA1-05/10.54/19 | EVAPORATION -500KG/H , WPR -10.34BAR , OUTPUT -0.313MW | 2 | THERMAX/RXA1-05/10.54/19/500KG/HR |  | 3750000 |  | 2012
4 |  | Steam Boiler 2 |  |  |  |  | THERMAX/RXA1-05/10.54/18/500KG/HR |  | 3750000 |  | 2012
5 |  | Hot Water Low zone Return Pump 1 | LOWARA | CEA 120/5/A | Pump: 02921,50hz,Motor:SM71BG/305 | 2 | LOWARA/CEA120/5/A/.9KW |  | 800000 |  | 2010
6 |  | Hot Water Low zone Return Pump 2 |  |  |  |  | LOWARA/CEA120/5/A/.9KW |  | 800000 |  | 2010
7 |  | Hot water High zone Return Pump 1 | LOWARA | CEA 70/3/A | Pump: 0233550hz,Motor:SM63BG/304 | 2 | LOWARA/CEA120/3/A/.55KW |  | 600000 |  | 2010
8 |  | Hot water High zone Return Pump 2 |  |  |  |  | LOWARA/CEA120/3/A/.55KW |  | 600000 |  | 2010
9 |  | PHE circulation 1 Low Zone |  |  |  |  | GEA ECOFLEX INDIA /VT04CD16 |  | 600000 |  | 2010
10 |  | PHE circulation 2 Common |  |  |  |  | GEA ECOFLEX INDIA /VT04CD16 |  | 600000 |  | 2010
11 |  | PHE circulation 3 High Zone |  |  |  |  | GEA ECOFLEX INDIA /VT04CD16 |  | 600000 |  | 2010
12 |  | Condensate Transfer Pump 1 |  |  |  |  | LOWARA/CEA70/3/A/.37KW |  | 450000 |  | 2010
13 |  | Condensate Transfer Pump 2 |  |  |  |  | LOWARA/CEA70/3/A/.37KW |  | 450000 |  | 2010
20000000
1 | WTP | Hydro pneumatic Panel |  |  |  |  | WILO | 7600000 | 1000000 |  | 2010
2 |  | Hydrophenumatic Pump-I |  |  |  |  | WILO/MOT3-QSFA132M2A-42H/12HP |  | 950000 |  | 2010
3 |  | Hydrophenumatic Pump-II |  |  |  |  | WILO/MOT3-QSFA132M2A-42H/12HP |  | 950000 |  | 2010
4 |  | Hydrophenumatic Pump-III | WILO | MOT3-QSFA132M2A-42H | 9kw , amp.17 , 400V , 50HZ. PF. – 0.88 | 1 | WILO/MOT3-QSFA132M2A-42H/12HP |  | 950000 |  | 2010
5 |  | MGF |  |  |  |  | 6LPM |  | 1250000 |  | 2010
6 |  | ACF |  |  |  |  | 6LPM |  | 1250000 |  | 2010
7 |  | Softener |  |  |  |  | 6LPM |  | 1250000 |  | 2010
8 |  | Pipeline Condition
7600000
1 | DG ROOM | Diesel Generators 1 (Engine) | CUMMINS | KTA-38-G5 | ENGINE SPEED;- 1500, BATTERY VOLT;- 24VDC, MFD. 2010 | 2 | CUMMINS/KTA-38-G5/ | 40000000 | 8500000 | 37160 | 2010
2 |  | Diesel Generators 2 (Engine) | STAMFORD | HCI634Y2 | AVR – NONE , KVA – 1010 , HZ.50 , RPM – 1500 , PF. .8 |  | CUMMINS/KTA-38-G5/ |  | 8500000 | 37191 | 2010
3 |  | Alternator-1 |  |  |  |  | STAMFORD/HCI634Y2/1010 KVA |  | 6225000 | N10F10889 | 2010
4 |  | Alternator-2 |  |  |  |  | STAMFORD/HCI634Y2/1010 KVA |  | 6225000 | N10G11673 | 2010
5 |  | DG Cooling Tower 1 |  |  |  |  | BELL/300TR |  | 4000000 |  | 2010
6 |  | DG Cooling Tower 2 |  |  |  |  | BELL/300TR |  | 4000000 |  | 2010
7 |  | DG Cooling tower Pump 1 |  |  |  |  | KIRLOSKAR/KDS-830++/7.5HP |  | 850000 |  | 2010
8 |  | DG Cooling tower Pump 2 |  |  |  |  | KIRLOSKAR/KDS-830++/7.5HP |  | 850000 |  | 2010
9 |  | DG Cooling tower Pump 3 |  |  |  |  | KIRLOSKAR/KDS-830++/7.5HP |  | 850000 |  | 2010
40000000
1 | HT & LT PANEL | Transformers 1 | VOLTAMP | DRY TYPE | RATING - 1010KVA, Model:11/0.415 Dyn11AN | 2 | VOLTAMP/DRY TYPE/1000KVA | 19700000 | 3350000 | JNC-18549/2 | 2010
2 |  | Transformers 2 |  |  |  |  | VOLTAMP/DRY TYPE/1000KVA |  | 3350000 | JNC-18549/1 | 2010
3 |  | VCB (Vacuum Circuit Breakers) Near HT Meter | ABB | VMAX TPEDO | 630 AMP. | 4 | ABB/Vmax 12.8.20/630A |  | 1275000 |  | 2010
4 |  | VCB main Incomer |  |  |  |  | ABB/Vmax 12.8.20/630A |  | 1275000 |  | 2010
5 |  | VCB Tr 1 Outgoing |  |  |  |  | ABB/Vmax 12.8.20/630A |  | 1275000 |  | 2010
6 |  | VCB Tr 2 Outgoing |  |  |  |  | ABB/Vmax 12.8.20/630A |  | 1275000 |  | 2010
7 |  | ACB-Incomer Sub LT from LT-2 |  |  |  |  | L&T/1250A UN-1-12-N/1250A |  | 450000 | ET427979U | 2010
8 |  | ACB-AC Panel-3 |  |  |  |  | L&T/800A UN-1-08-N/800A |  | 250000 | CT423349U | 2010
9 |  | ACB-Sub LT |  |  |  |  | L&T/1250A UN-1-12-S/1250A |  | 450000 | FT432478U | 2010
10 |  | ACB-Sub LT T/F-1 |  |  |  |  | L&T/1250A UN-1-12-N/1250A |  | 450000 | AT427980U | 2010
11 |  | ACB-Sub LT Bus coupler |  |  |  |  | L&T/1250A UN-1-12-N/1250A |  | 450000 | CT423142U | 2010
12 |  | ACB-Bus coupler (Main) |  |  |  |  | L&T/1600A UW-1-16-S/1600A |  | 550000 | JU815240U | 2022
13 |  | ACB-DG Incomer-1 |  |  |  |  | L&T/1600A /UW-1-16N/1600A |  | 550000 | GW905967U | 2024
14 |  | ACB-Sub LT-1 |  |  |  |  | L&T/1250A UN-1-12-S/1250A |  | 450000 | FT431765U | 2010
15 |  | ACB-AC Panel-1 |  |  |  |  | L&T/1250A UN-1-12-S/1250A |  | 450000 | FT431766U | 2010
16 |  | ACB-T/F-2 Incomer |  |  |  |  | L&T/1600A UW-1-16-N/1600A |  | 550000 | KX589056U
17 |  | ACB-DG Incomer-2 |  |  |  |  | L&T/1600A UW-1-16N/1600A |  | 550000 | MW934531U | 2024
18 |  | ACB-T/F-1 Incomer |  |  |  |  | L&T/1600A UW-1-16-S/1600A |  | 450000 | MY624658U
19 |  | ACB -AC Panel No-2 |  |  |  |  | L&T/800A UN-1-08-N/800A |  | 250000 | CT423350U | 2010
20 |  | ACB -I/C LT TR-1 ( AC-1 ) |  |  |  |  | L&T/800A |  | 250000 | KT 443913U | 2010
21 |  | ACB -I/C LT TR-2 ( AC-2 ) |  |  |  |  | L&T/800A |  | 250000 | HT438636U | 2010
22 |  | ACB -I/C LT TR-2 ( AC-3 ) |  |  |  |  | L&T/1250A |  | 450000 | FT432480U | 2010
23 |  | ISOLATOR ACB -01 |  |  |  |  | L&T OMEGA 1600 AMP UW-1-16-N |  | 550000 | HT776140U | 2018
24 |  | ISOLATOR ACB -02 |  |  |  |  | L&T OMEGA 1600 AMP UW-1-16-N |  | 550000 | LR717584U | 2019
25 |  | L.T Panel complete ( MAIN /SUB LT1 /SUB LT2 ) | Tricolite |  | TEIL/SO/11-12/0137/D-1128 | 1 |  |  |  |  | 2010
| Fire pump | [7 empty] | 19700000
1 |  | Hydrant Jockey Pump | KIRLOSKAR BROTHER | 40IL14 | 6kg/cm2, Details NA | 1 | KIRLOSKAR/40IL14/7.5HP | 9500000 | 800000 |  | 2010
2 |  | Hydrant Main Pump | KIRLOSKAR ELECTRC | FRAME –SC280M | REF. IS :325 , OUTPUT – 90 KW,RPM – 2960 , 415V. 50HZ. | 1 | KIRLOSKAR/CPHM 100/32/120HP /120M HEAD |  | 1450000 | U7AA-101-104 E4 | 2010
3 |  | Sprinkler Jockey Pump | KIRLOSKAR BROTHER | 40IL14 | 6kg/cm2, Details NA | 1 | KIRLOSKAR/40IL14/7.5HP |  | 800000 |  | 2010
4 |  | Sprinkler Main Pump | KIRLOSKAR ELECTRC | FRAME –SC280M | REF. IS :325 , OUTPUT – 90 KW,RPM – 2960 , 415V. 50HZ. | 1 | KIRLOSKAR/CPHM 100/32/120HP /120M HEAD |  | 1450000 | U7AA-101-104 E5 | 2010
5 |  | Diesel Engine Pump | KIRLOSKAR OIL ENGINE | 6R1080T | KW/HP – 98/133 , RPM-1800, GOVERNING CLASS –M2 | 1 | KIRLOSKAR/6R1080T/HP-133/120M HEAD |  | 2500000 |  | 2010
|  | FIRE ALARM PANEL WITH REPEATER & PA system |  |  |  |  | EST3 |  | 2500000 |  | 2010
|  |  | KIRLOSKAR | CPHM 125/45 | TOTAL HEAD -120M. , SIZE -125x150 |  |  |  | 9500000
1 | UPS | UPS Lighting 30KVA NEXUS |  |  |  |  | NEXUS/HFL/30KVA | 6035000 | 550000 | NA | 2010
2 |  | UPS Power 40KVA NEXUS |  |  |  |  | NEXUS/HFL/40KVA |  | 650000 | NA | 2010
3 |  | UPS Server Room 10 KVA-I APC |  |  |  |  | APC/SURT10000XLI/10KVA |  | 350000 | NA | 2010
4 |  | UPS Server Room 10 KVA-II APC |  |  |  |  | APC/SURT10000XLI/10KVA |  | 350000 | NA | 2010
5 |  | UPS Service Lift-2 |  |  |  |  | NEXUS/HFL/30KVA |  | 550000 | 14110664 | 2017
6 |  | UPS Guest Lift-1 |  |  |  |  | NEXUS/HFL/30KVA |  | 550000 | 14090514 | 2017
7 |  | UPS Guest Lift-2 |  |  |  |  | NEXUS/HFL/30KVA |  | 550000 | 14090512 | 2017
8 |  | UPS Guest Lift-3 |  |  |  |  | NEXUS/HFL/30KVA |  | 550000 | 14090513 | 2017
9 |  | UPS luggage Lift |  |  |  |  | NEXUS/HFL/30KVA |  | 550000 | 14110665 | 2017
10 |  | UPS Baggage scanner NEXUS |  |  |  |  | NEXUS /3KVA |  | 70000 | NA
11 |  | UPS Amber 3 - 30 KVA 3M |  |  |  |  | 3EM/HOP/30KVA |  | 550000 | 470316 | 2016
12 |  | UPS LT room |  |  |  |  | NEXUS /3KVA |  | 70000 | 15030954
13 |  | UPS PR |  |  |  |  | NEXUS/HLH/5KVA |  | 95000 | 17-09-214
14 |  | UPS 30KVA NEXUS |  |  |  |  | NEXUS /H12T /30KVA |  | 600000 | 22-03-803 | 2022
6035000
1 | SWIMMING POOL | Swimming Pool Circulation Pump 1 |  |  |  |  | ASTRAL/SPLASH/2HP/HEAD-10M | 1000000 | 66500 | 3158-10 | 2010
2 |  | Swimming Pool Circulation Pump 2 |  |  |  |  | CROMPTON/SPM32/3HP/HEAD-10M |  | 66500 | 3158-10 | 2019
3 |  | Swimming Pool Circulation Pump 3 |  |  |  |  | ASTRAL/SPLASH/2HP/HEAD-10M |  | 66500 | 3159-10 | 2010
4 |  | MGF 1 30 qubic meter/H |  |  |  |  | ASTRAL/50CUBE METER/HR |  | 400500 |  | 2010
5 |  | MGF 2 30 qubic meter/H |  |  |  |  | 50CUBE METER/HR |  | 400000 |  | 2024
1000000
1 | RO | Reverse Osmosis Plant (RO) 1 (500 lph) | IONEXCHANGE |  | 500 - (1000 LTR.Model: Indromatic40s) | 2 | ION EXCHANGE/500LPH | 950000 | 150000 |  | 2010
2 |  | Reverse Osmosis Plant (RO) 2 (1000 lph) |  |  |  |  | ION EXCHANGE/INDORMATIC405/1000LPH |  | 300000 |  | 2016
3 |  | RO Hydro pneumatic pumps /Panel / Tank |  |  |  |  | WILLO/MV13203-3/25/E/3/-400-50-2/ |  | 500000 |  | 2010
950000
1 | STP/ETP | Air Blowers 1 | Twin Type Rotary, 250 m3/hr, .6kg/cm2, TEFC motor, 415V, 50hz, Everest/Beeta |  |  | 3 | EVEREST/EB6HPM/250- SQMTR/HR | 9600000 | 1000000 | EB10091411 | 2010
2 |  | Air Blowers 2 |  |  |  |  | EVEREST/EB6HPM/250- SQMTR/HR |  | 1000000 | EB10091506 | 2010
3 |  | Air Blowers 3 |  |  |  |  | EVEREST/EB6HPM/250- SQMTR/HR |  | 1000000 | EB10091410 | 2010
4 |  | Soft Water Transfer Pump 1 | 7 LPS, 75 mtr. Head, 2900rpm, Kirloskar |  |  | 2 | KIRLOSKAR /TYPE - KDT -1580+/15HP |  | 750000 | AOLDUC0089 | 2010
5 |  | Soft Water Transfer Pump 2 |  |  |  |  | KIRLOSKAR /TYPE - KDT -1580+/15HP |  | 750000 | AOLDUC0086 | 2010
6 |  | Flushing Water Transfer Pump 1 |  |  |  |  | KIRLOSKAR/TYPE - KDT -1388+/12HP |  | 650000 | AOLDEA0060 | 2010
7 |  | Flushing Water Transfer Pump 2 | 4.5 LPS, 75 mtr. Head, 2900rpm, Kirloskar |  |  | 2 | KIRLOSKAR/TYPE - KDT -1388+/12HP |  | 650000 | AOLDEA0061 | 2010
8 |  | Irrigation Pumps 1 | 2 LPS, 30 mtr. Head, 2900rpm, Kirloskar |  |  | 2 | KIRLOSKAR/TYPE - KDS - 538+/5HP |  | 450000 | A1AIYF0601 | 2010
9 |  | Irrigation Pumps 2 |  |  |  |  | KIRLOSKAR/TYPE - KDS - 538+/5HP |  | 450000 | AOHIYC1842 | 2010
10 |  | Dual Media Filter | 5 LPS, filtration rate-20000L/sqm/hr., 5.5kg/sqcm test pressure, Fontus |  |  | 1 | 6LPM |  | 500000 |  | 2010
11 |  | Activated Carbon Filter | 5 LPS, filtration rate-14000L/sqm/hr., 5.5kg/sqcm test pressure, Fontus |  |  | 1 | 6LPM |  | 800000 |  | 2010
12 |  | softener |  |  |  |  | 6LPM |  | 800000 |  | 2010
|  | Mocrobrewery ETP ( Enhance Ecotech) |  |  |  |  | 5KLD |  | 800000 |  | 2022
9600000
1 | Terrace | Solar Panel 120 |  |  |  |  | 1200 LPD ( Inter Solar system Pvt Ltd ) | 5000000 | 5000000 |  | 2015
1 | LAUNDRY EQUIPMENTS | WASHER EXTRACTOR -01 |  |  |  |  | IPSO/HF575PC/57KG | 17255000 | 1800000 | 10060580067 | 2010
2 |  | WASHER EXTRACTOR -02 |  |  |  |  | IPSO/HF455PC/57KG |  | 1500000 | 10060440081 | 2010
3 |  | WASHER EXTRACTOR -03 |  |  |  |  | IPSO/HF455PC/57KG |  | 1500000 | 10060440082 | 2010
4 |  | DRIER -01 |  |  |  |  | IPSO/BU075SRM2KW01/75KG |  | 1300000 | 1006005313 | 2010
5 |  | DRIER -02 |  |  |  |  | IPSO/BU075SRM2KW01/75KG |  | 1300000 | 1006005312 | 2010
6 |  | CALENDER |  |  |  |  | IPSO/TYPE- C13250/500/80KG/HR |  | 2100000 | 10060S50008 | 2010
7 |  | UTILITY PRESS |  |  |  |  | PONY/BP-U |  | 850000 | 229791 | 2010
8 |  | FOAM FINISHER | [6 empty] | 850000 |  | 2010
9 |  | COAT FORMER |  |  |  |  | PONY/MG |  | 750000 |  | 2010
10 |  | DRY CLEAN MACHINE |  |  |  |  | UNION/XL8010E/10KG |  | 2100000 | 698FO 0456 | 2010
11 |  | AIR-COMPRESSOR |  |  |  |  | INGERSOLLRENT/10CFM |  | 950000 |  | 2010
12 |  | WASHER EXTRACTOR 60 kg |  |  |  |  | STEFAB AXS 60 |  | 900000 | 16712 | 2022
13 |  | DRYING TUMBLER 60 KG |  |  |  |  | STEFAB DRS 60 |  | 800000 | 16882 | 2022
|  | MARKING MACHINE | THERMOSEAL | Y-151 |  |  | THERMOSEAL Y-151 |  | 500000 |  | 2010
|  | Air Drier | TRIDENT COLDSPELL |  |  |  | TRIDENT COLDSPELL |  | 55000 |  | 2022
17255000
| WASTE | OWC |  |  |  |  | ALFA -THERM/COMPOST/200-250KG | 700000 | 700000 | 2021-86 | 2021
700000
1 | ELEVATORS | GUEST ELEVATOR-1 |  |  |  |  | 1000KG/1.75MPS/8-9STOP/MC2/G.LESS | 15000000 | 2000000 | 2-07-S3883 | 2010
2 |  | GUEST ELEVATOR-2 |  |  |  |  | 1000KG/1.75MPS/8-9STOP/MC2/G.LESS |  | 2000000 | 2-07-S4079 | 2010
3 |  | GUEST ELEVATOR-3 |  |  |  |  | 1000KG/1.75MPS/8-9STOP/MC2/G.LESS |  | 2000000 | 2-07-S4252 | 2010
4 |  | GUEST LUGGAGE LIFT |  |  |  |  | 800KG/1.75MPS/10STOP/MC2/G.LESS |  | 1600000 | 2-07-S4049 | 2010
5 |  | MRL |  |  |  |  | 13 PASSENGER/1.75MPS/2STOP/MC2/MRL |  | 800000 | 2-07-S3833 | 2010
6 |  | SERVICE LIFT-1 |  |  |  |  | 1600KG/1.75MPS/10STOP/MC2/G.LESS |  | 2200000 | 2-07-S4148 | 2010
7 |  | SERVICE LIFT-2 |  |  |  |  | 1600KG/1.75MPS/10STOP/MC2/G.LESS |  | 2200000 | 2-07-S4253 | 2010
8 |  | HOTEL BLOCK (LAVANYA) |  |  |  |  | 1000KG/1.75MPS/10STOP/MC2/G.LESS |  | 2200000 | 2-07-S6804 | 2010
15000000
1 | Baggage scanner | Guest Luggage scanner DETEK |  |  |  |  | DETEC XJ5030 | 2500000 | 500000 | XJ5030 | 2015
2 |  | GUEST LUGGAGE SCANNER MACHINE |  |  |  |  | RAPISCAN/627XR |  | 2000000 | C91030226 | 2010
2500000
1 | VRV | VRV OUT DOOR-1 |  |  |  |  | DAIKIN/RXYQ18TRY6/15.4KW | 1500000 | 500000 | 000 1388 | 2016
2 |  | VRV OUT DOOR-2 |  |  |  |  | DAIKIN/RXYQ18TRY6/15.4KW |  | 500000 | 000 1373 | 2016
3 |  | VRV OUT DOOR-3 |  |  |  |  | DAIKIN/RXYQ18TRY6/15.4KW |  | 500000 | 000 7385 | 2018
1500000
1 | GYM EQUIPMENT | TREADMILL -1 |  |  |  |  | CYBEX/625T | 8000000 | 1200000 | L0415-625TX026N | 2010
2 |  | TREADMILL -2 |  |  |  |  | CYBEX/625T |  | 1200000 | L0415-625TX030N | 2010
3 |  | TREADMILL -3 |  |  |  |  | CYBEX/625T |  | 1200000 | L0415-625TX031N | 2010
4 |  | BICYCLE -1 |  |  |  |  | CYBEX/750C/1.8AMP |  | 700000 | F1020750C003N | 2010
5 |  | BICYCLE -2 |  |  |  |  | CYBEX/750C/1.8AMP |  | 700000 | F1020750R016N | 2010
6 |  | CYBEX CROSS /ARC TRAINER | CYBEX/425A |  |  |  | CYBEX/425A |  | 900000 | F11010425A114N | 2010
7 |  | CYBEX CROSS/ARC TRAINER | CYBEX/425A |  |  |  | CYBEX/425A |  | 900000 | F11010425A113N | 2010
8 |  | VR1 Leg Extension / Leg Curl- | [6 empty] | 250000 | F1027132609088N | 2010
9 |  | VR1 Duals Lat/Row- | [6 empty] | 200000 | F1103132509077N | 2010
10 |  | VR1 Abdominal- | [6 empty] | 150000 | F1027132009081N | 2010
11 |  | Cybex VR1 Bicep Tricep | [6 empty] | 250000 | F111013230064N | 2010
12 |  | Cybex VR1 Multi Press | [6 empty] | 350000 | F1103132409056N | 2010
8000000
| Microbrewery | Main Control panel ( 1& 2 ) & Steam generator complete plant with all tanks & chilling units |  |  |  |  | AMBICON | 8000000 | 8000000 |  | 2022
8000000
| IT | Voice -Data - COMPUTERS & SERVER | Voice -Data - COMPUTERS & SERVER |  |  |  |  | 12500000 | 12500000 |  | 12500000
[7 empty] | TOTAL SUM INSURED (INR) |  | 210840000