## Sheet1
Particular | Hours | Units per month | INR/Unit | Monthly | Yearly Expense
Expense
Current Running Hours | 8 | 6000000 | 5.85 | 35100000 | 421200000
Proposed Hours | 24 | 18000000 | 8.75 | 157500000 | 1890000000
Hybrid Installation | 24 | 3195863.0137 | 3.4009 | 10868721.0981 | 1684859036.7393
(Captive)
|  | 14804136.9863 | 8.75 | 129536198.6301
|  | (Industrial) |  |  |  | 62133417.3504
Net-off (Savings) |  |  |  |  | 205140963.2607 | 10.85%
658000000
66200
9939.577
0.91888
9.15
|  |  | 132600000 | 3.4009 | 5.7491
38990000
27.49%
30000
21753.5545
32.5
1.8678

## Sheet2
Commercial Details of EPC Agreement
Sr. No. | Division | Particular | UOM | Amount per Unit | GST (%) | Total Amount
1 | Wind | Supply of 25.20 MW (2.1 Suzlon, 140 Mt.) including logistics of WTG supply from ex-works to wind farm storage yard and supply of package substation. Special lifting tools, stub, template and required accessories, hardware, supervision & service, PSS, included | WTG | 150000000 | -12% | 168000000
18000000
2 |  | Balance of plant (Land, Foundation, Approach Road, Substation installation, WTG Erection and commissioning) | WTG | 58000000 | 18% | 68440000
10440000
Amount per WTG |  |  |  | 208000000 | 13.8% | 236440000
28440000
A | Total Amount for 12 WTG Nos for 25.20 MW |  |  | 2496000000 | 13.8% | 2837280000
341280000
1 | Solar | Supply of Solar Panel and construction of solar park with supply of PV panels Tier-1 Top Con, Inverter, all required inverter duty transformer, AUX, Transfer, LTDB, MMS, HT Cable, LT Cable, DC Cable, Earthing Cable, HDPE Pipe, Cable Accessories, Eathing Strips, Metering, Balance of plant (Land, Permits, approvals, land fencing, approach road, internal line, commissioning) fix tilt | MW | 32000000 | 13.8% | 36416000
4416000
B | Total amount for 41 MW Solar DC |  |  | 1312000000 | 13.8% | 1493056000
181056000
C | Total Hybrid Project Amount |  |  | 3808000000 | 522336000 | 4330336000
Cost Bifurcation of 41 MW (DC) SOLAR POWER PROJECT
| Division | Particular | Cost/MW | Total MW (DC) | Total Amount | GST | Total Amount
| Solar Amount per MW (DC) | Supply of Solar panel and Construction of Solar Park with supply of PV panel Tier-1 Top Con, Inverter, all required, Inverter duty transformer, Aux. transformer, LTDB, MMS, HT cable, LT cable, DC cable, Earthing cable, HDPE pipe, cable accessories, Earthing strip, Metering. Balance of Plant (Land, Permits, Approvals, Land Fencing, Approach Road, Internal Line, Commissioning) (Auto Tracker) | 32000000 | 41 | 1312000000 | 13.8%
|  | Total Amount for 41 MW Solar (DC) | 32000000 | 41 | 1312000000 | 181056000 | 1493056000
Cost Bifurcation of 25.2 MW WIND POWER PROJECT (2.1 MW* 12 nos. WTGs)
| Description | Particular | Basic | GST @12% | Total
| Supply | WOEG | 144286161 | 17314339.32 | 161600500.32
|  | Stub | 1697320 | 203678.4 | 1900998.4
|  | Stub Hardware | 101929 | 12231.48 | 114160.48
|  | Packaged SS | 3914590 | 469750.8 | 4384340.8
|  | Total | 150000000 | 18000000 | 168000000
BOP (Balance of Plant) Cost
| Description | Particular | Basic | GST @18% | Total
| Balance of Plant (BoP) | Road Development | 5084746 | 915254.28 | 6000000.28
|  | Civil works for Foundation | 12711864 | 2288135.52 | 14999999.52
|  | USS Material | 10084746 | 1815254.28 | 11900000.28
|  | 33 KV Line Material | 12661017 | 2278983.06 | 14940000.06
|  | Erection | 8135593 | 1464406.74 | 9599999.74
|  | Commissioning | 4237288 | 762711.84 | 4999999.84
|  | Storage , Security & Insurance | 5084746 | 915254.28 | 6000000.28
|  | Total | 58000000 | 10440000 | 68440000
|  | Grand Total | 208000000 | 28440000 | 236440000
|  | Total amount for 12 WTGs Nos. 25.20 MW | 2496000000 | 341280000 | 2837280000
4330336000