## Overall
Scope | Cost |  | GST
EPC | 35.08 |  | 4.841 |  | (Works)
Sauter | 10.2225 |  | 1.2267 |  | (Parts)
Others | 3.3265 |  | 0.59877 |  | (Services)
Contingency (5%) | 2.4315
TOTAL | 51.0605 | + | 6.6665 | = | 57.727
Effective GST |  |  | 11.55%
[5 empty] | 40.4089 | Loan
[5 empty] | 17.3181 | Equity
7.13
Breakdown into machinery and services
EPC | 23.53 |  | Machinery
EPC | 7.6 |  | Civil
EPC | 3.95 |  | Services
Sauter | 10.2225 |  | Machinery
Others | 3.3265 |  | Services
Contingency (5%) | 2.4315 |  | Contingency
66.1% | 33.7525 |  | Machinery |  | 3.9709
14.88% | 7.6 |  | Civil |  | 0.89412
14.25% | 7.2765 |  | Services |  | 0.85606
4.762% | 2.4315 |  | Contingency |  | 0.28605
100% | 51.0605 |  |  |  | 6.0071
| 5.872 |  | GST |  | 0.69082

## EPC
Cost (in Crs)
Pre-Treatment System (Pre-Mix+Solid Dosing Unit) | 2 | Machinery
Double Membrane Gas holder (Ballons) | 1.5 | Machinery
Automation System (Installation) - DCS | 0.1 | Machinery
Biomass + Gas Piping System and valves | 0.85 | Machinery
Digester Tanks (Reactors Only) | 5.6 | Machinery
Boiler/Water heater system | 0.5 | Machinery
Gas Upgrading system | 5.4 | Machinery
Electrical system | 1.5 | Machinery
DG / Emergency Backup system | 0.6 | Machinery
Fire Fighting Systems | 0.5 | Machinery
Civil Packages (Office Building + Road+Sheds) | 7.6 | Civil
Site Handling, Erection & Commissioning | 2.5 | Services
Gas flare system | 0.3 | Machinery
Bio gas decompression and chromatography | 0.5 | Machinery
Structure, pipe rack, staircase, handrail | 0.7 | Machinery
Insulation for digestor tanks (Rockwool) | 0.48 | Machinery
Remaining Items | 3 | Machinery
Price for services | 1.45 | Services
Total | 35.08
67.08% | 23.53 | Machinery
21.66% | 7.6 | Civil
11.26% | 3.95 | Services

## Sauter
| Price (euro) | Price (INR Cr)
Sauter | 1135835 | 10.2225 | (exempted from Customs)

## Others
Cost (INR)
C.A.R. insurance | 0.22651
Freight DE to IN | 0.15
Security | 0.3
Construction Mgmt | 0.4
Salaries | 0.6
RGR Cell | 0.4
Permits | 0.5
Temp transformer | 0.25
Cabling | 0.1
Fin. Brokerage | 0.4
Sub-total | 3.3265