## Table 1
| ANNEXURE B3 - Maharaja Suheldev Autonomous State Medical College Bahraich Medical Hosp. Bahraich 772.56 |  | DC Solar Capacity (kWp) 772.56
S.NO | COMPONENTS | MAKE'S | Qty | UOM | Unit Rate |  |  |  |  | Amount
MODULE
1 | MODULE-580 WP, N-TYPE BIFACIAL MODULE | PANASONIC/JAKSON | 1332 | NO'S | ₹ 9,287 | ₹ | 12370617 |  |  | 12370617 | 12556000 | 24926617
| INVERTER | [5 empty] | 2036633 |  | 14407250
2 | STRING INVERTER 20 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹ 99,775 | ₹ | 93678 |  | 3900569
6 | STRING INVERTER 50 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹1,70,622 | ₹ | 341244 |  | 18307819
7 | STRING INVERTER 60 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹1,78,989 | ₹ | 357978 |  | 795266
9 | STRING INVERTER 80 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 5 | NO'S | ₹2,48,747 | ₹ | 1243733
| STEEL STRUCTURE | [5 empty] | 3900569
13 | MS HDGI Module mounting structure Struture with minimum 80 micron coating | JAKSON/REPUTED | 35538 | KG | ₹ | ₹ | 3553776
15 | J BOLT/Anchor | JAKSON/REPUTED | 2664 | No | ₹ | ₹ | 346793
FASTNERS
17 | Fastners, Washers & Others (Anti-theft bolt) | REPUTED | 773 | KWp | ₹ | ₹ | 2,85,847
BOS
DC CABLE
18 | CABLE 1CX4 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 11988 | METERS | ₹ | ₹ | 5,17,825
AC CABLE COPPER FRLS
20 | 2C x 2.5 SQMM XLPE INSULATED FLEXIABLE CABLE | KEI/POLYCAB | 700 | METERS | ₹ | ₹ | 49580
| AC CABLE ALUMINIUM FRLS OUTER SHEATH | [5 empty] | 196109
22 | 3.5C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 110 | METERS | ₹ | ₹ | 26293
24 | 3.5C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 205 | METERS | ₹ | ₹ | 89371
26 | 3.5C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 105 | METERS | ₹ | ₹ | 71604
32 | 4C x 16SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 55 | METERS | ₹ | ₹ | 8841
| EARTHING CABLE | [5 empty] | 55435
44 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB | 550 | METERS | ₹ | ₹ | 24200
46 | 1C x 25 SQMM CU PVC INSULATED | KEI/POLYCAB | 30 | METERS | ₹ | ₹ | 10711
48 | 1C x 50 SQMM CU PVC INSULATED | KEI/POLYCAB | 30 | METERS | ₹ | ₹ | 20524
| COMMUNICATION CABLE | [5 empty] | 49704
50 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN | 300 | METERS | ₹ | ₹ | 49704
| PANEL | [5 empty] | 795266
51 | ACDB PANEL 20 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | ₹ | 70414
56 | ACDB PANEL 60 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 2 | NO'S | ₹ | ₹ | 153846
58 | ACDB PANEL 80 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 3 | NO'S | ₹ | ₹ | 239645
67 | ACDB PANEL 140 KW (60+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED | 2 | NO'S | ₹1,65,680 | ₹ | 331361
| REMOTE MONORTING SYSTEM | [5 empty] | 84496
| REMOTE MONORTING SYSTEM | Power AMR/Equivalent
76 | 4G based Plug and Play - RTU, Smart data logger with antenna to connect upto 4 inverters/ MFM/ Sensors on modbus RS485 RTU • modbus RS485 RTU- 1 port • 2 digital / analog ports ( 0 to 5 V) • 1 analog port (4 -20 m amp) • Built in memory help store and send data in case of network failure | E Track 4G Lite | 2 | NO'S | ₹ | ₹ | 33136
77 | RS485 Communication SPD citel make (optional) | Citel -DLA-06-D3 | 2 | NO'S | ₹ | ₹ | 4260
78 | Line SPD citel make (optional) | Citel- DS-240-320 | 2 | NO'S | ₹ | ₹ | 6627
79 | IP67 enclosure box along with SMPS power supply, glands and fitment in one unit to house the data logge | Boxomatic/ ERD | 1 | NO'S | ₹ | ₹ | 3550
80 | Access to Web portal- per MW per annum Data frequency – 10 minute Key Components • Interactive Dashboard • Single Line Diagram • PR analysis • Solar radiation & weather data • Graphs and Reports • Generation Analysis • Log Reporting • String/ MPPT Monitoring • Plant/ Inverter Performance • Superuser Dashboard for Centralized monitoring • Mobile app on android | PowerAMR | 1 | NO'S | ₹ | ₹ | 15621
81 | Solar Radiation Sensor with mounting kit | Pyra300 | 1 | NO'S | ₹ | ₹ | 15385
86 | Installation and Commissioning | KEI/POLYCAB | 1 | Job | ₹ | ₹ | 5917
| CABLE TRAY | [5 empty] | 1,73,149
87 | 50X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 470 | METERS | ₹ | ₹ | 1,73,149
| LIGHTING PROTECTION | [5 empty] | 86627
100 | ESE TYPE LA RADIUS 107 m | REPUTED | 2 | NO'S | ₹ | ₹ | 62959
101 | 5 METER MAST | REPUTED | 2 | NO'S | ₹ | ₹ | 11834
102 | LIGHTENING STRIKE COUNTER | REPUTED | 2 | NO'S | ₹ | ₹ | 11834
| EARTHING | [5 empty] | 384580
103 | EARTH ROD CONSISTING OF HIGH TENSILE LOW CARBON STEEL WITH ELECTROLYTIC GRADE 250ΜM COPPER COATING. ROD DIA 17.2MM | REPUTED | 34 | NO'S | ₹ | ₹ | 64379
104 | EARTH ENHANCE COMPOUND | REPUTED | 34 | SET | ₹ | ₹ | 20118
105 | EARTHING PIT CHAMBER PRE CAST | REPUTED | 34 | SET | ₹ | ₹ | 20118
106 | 25X3 G.I STRIP GALVANISED | REPUTED | 1700 | METERS | ₹ | ₹ | 110651
107 | 25X6 G.I STRIP GALVANISED | REPUTED | 1550 | METERS | ₹ | ₹ | 150414
108 | 50X3 G.I STRIP GALVANISED | REPUTED |  | METERS | ₹ | ₹ | -
109 | 50X6 G.I STRIP GALVANISED | REPUTED |  | METERS | ₹ | ₹ | -
110 | INSULATOR FOR GI STRIP | REPUTED | 750 | NO'S | ₹ | ₹ | 9000
111 | M8 X 25 with nut & washer | REPUTED | 1100 | NO'S | ₹ | ₹ | 9900
C CLASS
| GLANDS | [5 empty] | 31004
112 | 4CX16SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
113 | 4CX25 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
114 | 4CX35 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | ₹ | 1981
115 | 4CX50 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 10 | NO'S | ₹ | ₹ | 7278
116 | 4CX70 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | ₹ | 3518
117 | 4CX95SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | ₹ | 4214
118 | 4CX120 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 8428
120 | 4CX185SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | ₹ | 5585
| LUGS | [5 empty] | 49209
125 | LUGS RING TYPE 4 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 2890 | NO'S | ₹ | ₹ | 15562
127 | LUGS RING TYPE 1X25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 30 | NO'S | ₹ | ₹ | 791
128 | LUGS RING TYPE 1X50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 10 | NO'S | ₹ | ₹ | 340
130 | LUGS RING TYPE 4CX35 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | ₹ | 507
131 | LUGS RING TYPE 4CX50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 40 | NO'S | ₹ | ₹ | 1909
132 | LUGS RING TYPE 4CX70 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | ₹ | 299
133 | LUGS RING TYPE 4CX95 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | ₹ | 1493
134 | LUGS RING LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | ₹ | 4343
135 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
136 | LUGS RING LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | ₹ | 3446
137 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
138 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
139 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
140 | M4X20 with two plain waser and nut | DOWEL/COMMET | 2890 | NO'S | ₹ | ₹ | 20519
| CONNECTORS | [5 empty] | 29822
141 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (FEMALE) | MC/BIZILINK/SABULI/ELCOM | 300 | NO'S | ₹ | ₹ | 14911
142 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (MALE) | MC/BIZILINK/SABULI/ELCOM | 300 | NO'S | ₹ | ₹ | 14911
| CONDUIT | [5 empty] | 103574
143 | G.I NILON COAT FLEXIBLE CONDUIT 32 MM DIA | SUPREME |  | METERS | ₹ | ₹ | -
144 | HDPE | SUPREME |  | METERS | ₹ | ₹ | -
145 | UPVC | SUPREME | 650 | METERS | ₹ | ₹ | 15385
146 | UPVC | SUPREME | 1350 | METERS | ₹ | ₹ | 63905
147 | CLAMP | SUPREME | 1710 | Nos | ₹ | ₹ | 24284
| PLUMBING SYSTEM FOR SOLAR PLANT | [5 empty] | 223794
148 | uPVC PIPE 25MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 700 | METERS | ₹ | ₹ | 97503
149 | uPVC PIPE 20MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 140 | METERS | ₹ | ₹ | 14124
150 | uPVC ELBOW 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 703
151 | uPVC END CAP 20MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 371
152 | uPVC TEE 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 937
153 | uPVC UNION 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 1523
154 | uPVC COUPLER 25 MM SCH40 | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 469
155 | REDUCING TEE 2X25XX20 SH40 | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 937
156 | HOSE FOR MODULE CLEANING WITH SPRAY GUN | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 3027
157 | BALL VALVE 20MM BRASS | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 5975
158 | Telescopic Wiper | REPUTED | 1 | METERS | ₹ | ₹ | 5917
159 | WATER TANK OF 1KL | REPUTED | 1 | METERS | ₹ | ₹ | 11834
160 | WATER METER (0-100LPM) ANALOG TYPE | REPUTED | 8 | METERS | ₹ | ₹ | 23669
161 | MONOBLOCK 1 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 8 | NO'S | ₹ | ₹ | 56805
162 | MONOBLOCK 1.5 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 0 | NO'S | ₹ | ₹ | -
| FIRE PROTECTION | [5 empty] | 164498
163 | ABC FIRE PROTECTION 4.5 KG | REPUTED | 10 | NO'S | ₹ | ₹ | 27219
164 | CO2 FIRE PROTECTION 4.5 KG | REPUTED | 10 | NO'S | ₹ | ₹ | 59172
165 | FIRE SAND BUCKETS WITH 2 BUCKET EACH WITH STAND | REPUTED | 10 | NO'S | ₹ | ₹ | 18935
166 | FIRST AID BOX AS PER BOCW ACT | REPUTED | 10 | NO'S | ₹ | ₹ | 59172
| CABLE TIE | [5 empty] | 24852
167 | CABLE TIE 100 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 60 | PACKET | ₹ | ₹ | 10651
168 | CABLE TIE 200 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 60 | PACKET | ₹ | ₹ | 14201
| SAFETY TAGS | [5 empty] | 59170
169 | SHOCK TREATMENT CHART, SAFETY CHARTS | REPUTED | 10 | NO'S | ₹ | ₹ | 5917
170 | DO'S & DON'TS CHARTS | REPUTED | 10 | NO'S | ₹ | ₹ | 3550
171 | HEAT SHRINKABLE SLEEVE (AS PER CABLE SIZE COLUR) | REPUTED | 10 | NO'S | ₹ | ₹ | 3550
172 | CAUTION DANGER BOARD | REPUTED | 10 | NO'S | ₹ | ₹ | 5917
173 | RUBBER MAT FOR INVERTER & ACDB | REPUTED | 10 | NO'S | ₹ | ₹ | 17751
174 | SOLAR CABLE FERULES WITH AL TAG | REPUTED | 10 | NO'S | ₹ | ₹ | 5917
175 | AC CABLE FERULES WITH AL TAG | REPUTED | 10 | NO'S | ₹ | ₹ | 5917
176 | INSULATION TAP | REPUTED | 10 | NO'S | ₹ | ₹ | 592
177 | PLANT DISPLAY BOARD | REPUTED | 1 | NO'S | ₹ | ₹ | 10059
| INSTALLATION WORK | [5 empty] | 507692
178 | MS STAND FOR INVERTER MOUNTING | LOCAL | 10 | SET | ₹ | ₹ | 35503
179 | MS STAND FOR ACDB MOUNTING | LOCAL | 8 | SET | ₹ | ₹ | 28402
180 | ACCESS LADDER | LOCAL | 6 | SET | ₹ | ₹ | 213018
181 | DOOR & LOCK REPAIR | LOCAL | 6 | SET | ₹ | ₹ | 17751
182 | INV & ACDB CAGE | LOCAL | 18 | SET | ₹ | ₹ | 213018
[6 empty] | ₹ | 22180057 | 22180052
| INSTALLATION & COMMISSIONING | [5 empty] | 3067214
1 | INSTALLATION & COMMISSIONING OF RCC ROOF |  | 773 | KWp | ₹ | ₹ | 2085912
2 | M25 GRADE RCC FOUNDATION FOR RCC ROOF
3 | M25 GRADE RCC FOUNDATION FOR RCC ROOF (Raised structure) |  | 722 | NO'S | ₹ | ₹ | 854438
4 | CIVIL FOR BLAST TYPE |  |  | NO'S | ₹ | ₹ | -
5 | NitoBond |  | 80.22 | LTR | ₹ | ₹ | 85444
6 | Other Services |  | 1 | LTR | ₹ | ₹ | 41420
| APPROVALS_LT SIDE | [5 empty] | 706272
1 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (=<500 kWp) | [7 empty] | 26050210
2 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (500 - 900 kWp) |  | 773 | KWp |  | ₹ | 264852
3 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (>=900 kWp) |  |  | KWp
4 | NET METERING- METER HARDWARE (<500 kWp)
5 | NET METERING- METER HARDWARE (500 - 900 kWp) |  | 773 | KWp |  | ₹ | 441420
6 | NET METERING- METER HARDWARE (> 900 kWp)
| Total | [5 empty] | 26050210
| ANNEXURE B3 - Maharaja Suheldev Autonomous State Medical College Bahraich Distt. Hosp. Bahraich 793.44 |  | DC Solar Capacity (kWp) 793.44
S.NO | COMPONENTS | MAKE'S | Qty | UOM | Unit Rate | Amount
| MODULE | [5 empty] | 12704958
1 | MODULE-580 WP, N-TYPE BIFACIAL MODULE | PANASONIC/JAKSON | 1368 | NO'S | ₹ 9,287 | ₹ | 12704958
| INVERTER | [5 empty] | 2061084
2 | STRING INVERTER 20 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ 99,775 | ₹ | -
3 | STRING INVERTER 25 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹1,03,038 | ₹ | -
4 | STRING INVERTER 30 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹1,31,502 | ₹ | 131502
5 | STRING INVERTER 40 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹1,56,247 | ₹ | 312493
6 | STRING INVERTER 50 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹1,70,622 | ₹ | -
7 | STRING INVERTER 60 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 4 | NO'S | ₹1,78,989 | ₹ | 715956
8 | STRING INVERTER 70 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹2,42,737 | ₹ | -
9 | STRING INVERTER 80 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹2,48,747 | ₹ | -
10 | STRING INVERTER 100 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹2,94,466 | ₹ | 294466
11 | STRING INVERTER 110 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹3,03,333 | ₹ | 606667
12 | STRING INVERTER 125 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹3,14,740 | ₹ | -
| STEEL STRUCTURE | [5 empty] | 2974518
13 | MS HDGI Module mounting structure Struture with minimum 80 micron coating | JAKSON/REPUTED | 26184 | KG | ₹ | ₹ | 2618352
14 | J BOLT | JAKSON/REPUTED | 0 | No | ₹ | ₹ | -
15 | J BOLT/Anchor | JAKSON/REPUTED | 2736 | No | ₹ | ₹ | 356166
16 | Blast Type Structure | JAKSON/REPUTED | 0 | KG | ₹ | ₹ | -
| FASTNERS | [5 empty] | 293573
17 | Fastners, Washers & Others (Anti-theft bolt) | REPUTED | 793 | KWp | ₹ | ₹ | 293573
BOS
| DC CABLE | [5 empty] | 531820
18 | CABLE 1CX4 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 12312 | METERS | ₹ | ₹ | 531820
19 | CABLE 1CX 6 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 0 | METERS | ₹ | ₹ | -
| AC CABLE COPPER FRLS | [5 empty] | 63746
20 | 2C x 2.5 SQMM XLPE INSULATED FLEXIABLE CABLE | KEI/POLYCAB | 900 | METERS | ₹ | ₹ | 63746
| AC CABLE ALUMINIUM FRLS OUTER SHEATH | [5 empty] | 524442
21 | 3.5C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 25 | METERS | ₹ | ₹ | 4723
22 | 3.5C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 100 | METERS | ₹ | ₹ | 23903
23 | 3.5C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 235 | METERS | ₹ | ₹ | 76040
24 | 3.5C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 25 | METERS | ₹ | ₹ | 10899
25 | 3.5C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 40 | METERS | ₹ | ₹ | 21780
26 | 3.5C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 155 | METERS | ₹ | ₹ | 105701
28 | 3.5C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 275 | METERS | ₹ | ₹ | 281396
| EARTHING CABLE | [5 empty] | 74928
44 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB | 547 | METERS | ₹ | ₹ | 24077
45 | 1C x 6 SQMM CU PVC INSULATED | KEI/POLYCAB | 0 | METERS | ₹ | ₹ | -
46 | 1C x 25 SQMM CU PVC INSULATED | KEI/POLYCAB | 0 | METERS | ₹ | ₹ | -
47 | 1C x 35 SQMM CU PVC INSULATED | KEI/POLYCAB | 20 | METERS | ₹ | ₹ | 9803
48 | 1C x 50 SQMM CU PVC INSULATED | KEI/POLYCAB | 60 | METERS | ₹ | ₹ | 41048
49 | 1C x 70 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
| COMMUNICATION CABLE | [5 empty] | 132544
50 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN | 800 | METERS | ₹ | ₹ | 132544
| PANEL | [5 empty] | 670769
54 | ACDB PANEL 40 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 2 | NO'S | ₹ | ₹ | 140828
65 | ACDB PANEL 120 KW (30+60) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹1,46,982 | ₹ | 146982
74 | ACDB PANEL 450 KW (100+100+100+50+50+50) 415 V (6 in 1 Out) (Indoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹3,82,959 | ₹ | 382959
| REMOTE MONORTING SYSTEM | [5 empty] | 84496
| REMOTE MONORTING SYSTEM | Power AMR/Equivalent
76 | 4G based Plug and Play - RTU, Smart data logger with antenna to connect upto 4 inverters/ MFM/ Sensors on modbus RS485 RTU • modbus RS485 RTU- 1 port • 2 digital / analog ports ( 0 to 5 V) • 1 analog port (4 -20 m amp) • Built in memory help store and send data in case of network failure | E Track 4G Lite | 2 | NO'S | ₹ | ₹ | 33136
77 | RS485 Communication SPD citel make (optional) | Citel -DLA-06-D3 | 2 | NO'S | ₹ | ₹ | 4260
78 | Line SPD citel make (optional) | Citel- DS-240-320 | 2 | NO'S | ₹ | ₹ | 6627
79 | IP67 enclosure box along with SMPS power supply, glands and fitment in one unit to house the data logge | Boxomatic/ ERD | 1 | NO'S | ₹ | ₹ | 3550
80 | Access to Web portal- per MW per annum Data frequency – 10 minute Key Components • Interactive Dashboard • Single Line Diagram • PR analysis • Solar radiation & weather data • Graphs and Reports • Generation Analysis • Log Reporting • String/ MPPT Monitoring • Plant/ Inverter Performance • Superuser Dashboard for Centralized monitoring • Mobile app on android | PowerAMR | 1 | NO'S | ₹ | ₹ | 15621
81 | Solar Radiation Sensor with mounting kit | Pyra300 | 1 | NO'S | ₹ | ₹ | 15385
86 | Installation and Commissioning | KEI/POLYCAB | 1 | Job | ₹ | ₹ | 5917
| CABLE TRAY | [5 empty] | 699678
88 | 75X75X 1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 160 | METERS | ₹ | ₹ | 87479
91 | 150X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 330 | METERS | ₹ | ₹ | 195462
92 | 150X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 510 | METERS | ₹ | ₹ | 350542
93 | 200X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 90 | METERS | ₹ | ₹ | 66195
| LIGHTING PROTECTION | [5 empty] | 86627
100 | ESE TYPE LA RADIUS 107 m | REPUTED | 2 | NO'S | ₹ | ₹ | 62959
101 | 5 METER MAST | REPUTED | 2 | NO'S | ₹ | ₹ | 11834
102 | LIGHTENING STRIKE COUNTER | REPUTED | 2 | NO'S | ₹ | ₹ | 11834
| EARTHING | [5 empty] | 263308
103 | EARTH ROD CONSISTING OF HIGH TENSILE LOW CARBON STEEL WITH ELECTROLYTIC GRADE 250ΜM COPPER COATING. ROD DIA 17.2MM | REPUTED | 30 | NO'S | ₹ | ₹ | 56805
104 | EARTH ENHANCE COMPOUND | REPUTED | 30 | SET | ₹ | ₹ | 17751
105 | EARTHING PIT CHAMBER PRE CAST | REPUTED | 30 | SET | ₹ | ₹ | 17751
106 | 25X3 G.I STRIP GALVANISED | REPUTED | 950 | METERS | ₹ | ₹ | 61834
107 | 25X6 G.I STRIP GALVANISED | REPUTED | 750 | METERS | ₹ | ₹ | 72781
109 | 50X6 G.I STRIP GALVANISED | REPUTED | 100 | METERS | ₹ | ₹ | 26036
110 | INSULATOR FOR GI STRIP | REPUTED | 450 | NO'S | ₹ | ₹ | 5400
111 | M8 X 25 with nut & washer | REPUTED | 550 | NO'S | ₹ | ₹ | 4950
C CLASS
| GLANDS | [5 empty] | 23706
113 | 4CX25 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 2 | NO'S | 408.284 | ₹ | 817
114 | 4CX35 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | ₹ | 1981
115 | 4CX50 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 5822
116 | 4CX70 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 2 | NO'S | ₹ | ₹ | 1759
117 | 4CX95SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 2 | NO'S | ₹ | ₹ | 2107
118 | 4CX120 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 8428
120 | 4CX185SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 2 | NO'S | ₹ | ₹ | 2792
| LUGS | [5 empty] | 44815
125 | LUGS RING TYPE 4 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 2820 | NO'S | ₹ | ₹ | 15185
127 | LUGS RING TYPE 1X25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 10 | NO'S | ₹ | ₹ | 264
128 | LUGS RING TYPE 1X50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 4 | NO'S | ₹ | ₹ | 136
129 | LUGS RING TYPE 4CX25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 211
130 | LUGS RING TYPE 4CX35 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | ₹ | 507
131 | LUGS RING TYPE 4CX50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | ₹ | 1527
132 | LUGS RING TYPE 4CX70 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 150
133 | LUGS RING TYPE 4CX95 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 747
134 | LUGS RING LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | ₹ | 4343
136 | LUGS RING LUGS | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 1723
140 | M4X20 with two plain waser and nut | DOWEL/COMMET | 2820 | NO'S | ₹ | ₹ | 20022
| CONNECTORS | [5 empty] | 37776
141 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (FEMALE) | MC/BIZILINK/SABULI/ELCOM | 380 | NO'S | ₹ | ₹ | 18888
142 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (MALE) | MC/BIZILINK/SABULI/ELCOM | 380 | NO'S | ₹ | ₹ | 18888
| CONDUIT | [5 empty] | 98197
145 | UPVC | SUPREME | 900 | METERS | ₹ | ₹ | 21302
146 | UPVC | SUPREME | 1100 | METERS | ₹ | ₹ | 52071
147 | CLAMP | SUPREME | 1748 | Nos | ₹ | ₹ | 24824
| PLUMBING SYSTEM FOR SOLAR PLANT | [5 empty] | 215880
148 | uPVC PIPE 25MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 500 | METERS | ₹ | ₹ | 69645
149 | uPVC PIPE 20MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 120 | METERS | ₹ | ₹ | 12107
150 | uPVC ELBOW 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 50 | METERS | ₹ | ₹ | 1172
151 | uPVC END CAP 20MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 40 | METERS | ₹ | ₹ | 495
152 | uPVC TEE 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 50 | METERS | ₹ | ₹ | 1562
153 | uPVC UNION 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 40 | METERS | ₹ | ₹ | 2031
154 | uPVC COUPLER 25 MM SCH40 | PRINCE/ASTRA/PLASTO/SUP REME | 50 | METERS | ₹ | ₹ | 781
155 | REDUCING TEE 2X25XX20 SH40 | PRINCE/ASTRA/PLASTO/SUP REME | 40 | METERS | ₹ | ₹ | 1250
156 | HOSE FOR MODULE CLEANING WITH SPRAY GUN | PRINCE/ASTRA/PLASTO/SUP REME | 50 | METERS | ₹ | ₹ | 5044
157 | BALL VALVE 20MM BRASS | PRINCE/ASTRA/PLASTO/SUP REME | 50 | METERS | ₹ | ₹ | 9959
158 | Telescopic Wiper | REPUTED | 5 | METERS | ₹ | ₹ | 29586
159 | WATER TANK OF 1KL | REPUTED | 1 | METERS | ₹ | ₹ | 11834
160 | WATER METER (0-100LPM) ANALOG TYPE | REPUTED | 7 | METERS | ₹ | ₹ | 20710
161 | MONOBLOCK 1 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 7 | NO'S | ₹ | ₹ | 49704
| FIRE PROTECTION | [5 empty] | 115147
163 | ABC FIRE PROTECTION 4.5 KG | REPUTED | 7 | NO'S | ₹ | ₹ | 19053
164 | CO2 FIRE PROTECTION 4.5 KG | REPUTED | 7 | NO'S | ₹ | ₹ | 41420
165 | FIRE SAND BUCKETS WITH 2 BUCKET EACH WITH STAND | REPUTED | 7 | NO'S | ₹ | ₹ | 13254
166 | FIRST AID BOX AS PER BOCW ACT | REPUTED | 7 | NO'S | ₹ | ₹ | 41420
| CABLE TIE | [5 empty] | 24852
167 | CABLE TIE 100 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 60 | PACKET | ₹ | ₹ | 10651
168 | CABLE TIE 200 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 60 | PACKET | ₹ | ₹ | 14201
| SAFETY TAGS | [5 empty] | 48343
169 | SHOCK TREATMENT CHART, SAFETY CHARTS | REPUTED | 7 | NO'S | ₹ | ₹ | 4142
170 | DO'S & DON'TS CHARTS | REPUTED | 7 | NO'S | ₹ | ₹ | 2485
171 | HEAT SHRINKABLE SLEEVE (AS PER CABLE SIZE COLUR) | REPUTED | 7 | NO'S | ₹ | ₹ | 2485
172 | CAUTION DANGER BOARD | REPUTED | 7 | NO'S | ₹ | ₹ | 4142
173 | RUBBER MAT FOR INVERTER & ACDB | REPUTED | 12 | NO'S | ₹ | ₹ | 21302
174 | SOLAR CABLE FERULES WITH AL TAG | REPUTED | 3 | NO'S | ₹ | ₹ | 1775
175 | AC CABLE FERULES WITH AL TAG | REPUTED | 3 | NO'S | ₹ | ₹ | 1775
176 | INSULATION TAP | REPUTED | 3 | NO'S | ₹ | ₹ | 178
177 | PLANT DISPLAY BOARD | REPUTED | 1 | NO'S | ₹ | ₹ | 10059
| INSTALLATION WORK | [5 empty] | 300000
178 | MS STAND FOR INVERTER MOUNTING | LOCAL | 7 | SET | ₹ | ₹ | 24852
179 | MS STAND FOR ACDB MOUNTING | LOCAL | 5 | SET | ₹ | ₹ | 17751
180 | ACCESS LADDER | LOCAL | 3 | SET | ₹ | ₹ | 106509
181 | DOOR & LOCK REPAIR | LOCAL | 3 | SET | ₹ | ₹ | 8876
182 | INV & ACDB CAGE | LOCAL | 12 | SET | ₹ | ₹ | 142012
[6 empty] | ₹ | 22075207 | 22075206 | -1
| INSTALLATION & COMMISSIONING | [5 empty] | 3532347
1 | INSTALLATION & COMMISSIONING OF RCC ROOF |  | 793 | KWp | ₹ | ₹ | 2142288
2 | M25 GRADE RCC FOUNDATION FOR RCC ROOF |  |  |  | ₹ | ₹ | -
3 | M25 GRADE RCC FOUNDATION FOR RCC ROOF (Raised structure) |  | 1036 | NO'S | ₹ | ₹ | 1226035
4 | CIVIL FOR BLAST TYPE |  |  | NO'S | ₹ | ₹ | -
5 | NitoBond |  | 115.11 | LTR | ₹ | ₹ | 122604
6 | Other Services |  | 1 | LTR | ₹ | ₹ | 41420
| TOTAL OF I&C |  |  |  |  | ₹ | 3532347
| APPROVALS_LT SIDE | [5 empty] | 706272
1 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (=<500 kWp)
2 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (500 - 900 kWp) |  | 793 | KWp |  | ₹ | 264852
3 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (>=900 kWp)
4 | NET METERING- METER HARDWARE (<500 kWp)
5 | NET METERING- METER HARDWARE (500 - 900 kWp) |  | 793 | KWp |  | ₹ | 441420
6 | NET METERING- METER HARDWARE (> 900 kWp)
| TOTAL OF APPROVAL |  |  |  |  | ₹ | 706272
OPTIONAL ITEM
1 | Spreader / Modification charges in existing panel | REPUTED |  | NO'S | As per Actual Cost
2 | UPS 500 VA WITH 30 MINS BACKUP WITH BATTERY | REPUTED |  | NO'S | ₹ 2,604
3 | MFM SCHNIEDER EM6400 NG | REPUTED |  | NO'S | ₹ 8,796
4 | DG Synch Controller | REPUTED |  | NO'S | As per Actual Cost
5 | Any other Item as may be required by OMC |  |  | NO'S | As per Actual Cost
1 | Transportation |  |  |  |  | 96667
₹ 2,64,10,492
26050210
52460702