## Table 1
| ANNEXURE B3 - Maharaishi Vashishtha Autonomous State Medical College, Basti Basti 373.52 |  | DC Solar Capacity (kWp) 373.52
S.NO | COMPONENTS | MAKE'S | Qty | UOM | Unit Rate |  | Amount
| MODULE | [6 empty] | 5980989
1 | MODULE-580 WP, N-TYPE BIFACIAL MODULE | PANASONIC/JAKSON | 644 | NO'S | ₹ | 9287 | ₹ | 59,80,989
| INVERTER | [6 empty] | 1069456
2 | STRING INVERTER 20 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 99775 | ₹ | -
3 | STRING INVERTER 25 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,03,038 | ₹ | -
4 | STRING INVERTER 30 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,31,502 | ₹ | -
5 | STRING INVERTER 40 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹ | 1,56,247 | ₹ | 156247
6 | STRING INVERTER 50 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,70,622 | ₹ | -
7 | STRING INVERTER 60 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹ | 1,78,989 | ₹ | 178989
8 | STRING INVERTER 70 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹ | 2,42,737 | ₹ | 485473
9 | STRING INVERTER 80 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹ | 2,48,747 | ₹ | 248747
10 | STRING INVERTER 100 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 2,94,466 | ₹ | -
11 | STRING INVERTER 110 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 3,03,333 | ₹ | -
12 | STRING INVERTER 125 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 3,14,740 | ₹ | -
| STEEL STRUCTURE | [6 empty] | 995274
13 | MS HDGI Module mounting structure Struture with minimum 80 micron coating for 500 mm clearance. | JAKSON/REPUTED | 8778 | KG | ₹ | 100 | ₹ | 877772
14 | J BOLT | JAKSON/REPUTED | 1526 | No | ₹ | 77 | ₹ | 117502
15 | J BOLT/Anchor | JAKSON/REPUTED | 0 | No | ₹ | 130 | ₹ | -
16 | Blast Type Structure | JAKSON/REPUTED | 0 | KG | ₹ | 3550 | ₹ | -
| FASTNERS | [6 empty] | 138202
17 | Fastners, Washers & Others (Anti-theft bolt) | REPUTED | 374 | KWp | ₹ | 370 | ₹ | 138202
BOS
| DC CABLE | [6 empty] | 250360
18 | CABLE 1CX4 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 5796 | METERS | ₹ | 43 | ₹ | 250360
19 | CABLE 1CX 6 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 0 | METERS | ₹ | 69 | ₹ | -
| AC CABLE COPPER FRLS | [6 empty] | 203674
20 | 2C x 2.5 SQMM XLPE INSULATED FLEXIBLE CABLE | KEI/POLYCAB | 320 | METERS | ₹ | 71 | ₹ | 22665
AC CABLE ALUMINIUM FRLS OUTER SHEATH
21 | 3.5C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 65 | METERS | ₹ | 189 | ₹ | 12280
22 | 3.5C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 239 | ₹ | -
23 | 3.5C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 90 | METERS | ₹ | 324 | ₹ | 29122
24 | 3.5C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 125 | METERS | ₹ | 436 | ₹ | 54494
25 | 3.5C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 125 | METERS | ₹ | 545 | ₹ | 68064
26 | 3.5C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 25 | METERS | ₹ | 682 | ₹ | 17049
27 | 3.5C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 808 | ₹ | -
28 | 3.5C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1023 | ₹ | -
29 | 3.5C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1285 | ₹ | -
30 | 3.5C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1581 | ₹ | -
31 | 3.5C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 2020 | ₹ | -
32 | 4C x 16SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 161 | ₹ | -
33 | 4C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 202 | ₹ | -
34 | 4 C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 272 | ₹ | -
35 | 4C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 364 | ₹ | -
36 | 4C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 494 | ₹ | -
37 | 4C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 617 | ₹ | -
38 | 4C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 752 | ₹ | -
39 | 4C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 924 | ₹ | -
40 | 4C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1137 | ₹ | -
41 | 4C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1468 | ₹ | -
42 | 4C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1810 | ₹ | -
43 | 4C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 2327 | ₹ | -
| EARTHING CABLE | [6 empty] | 36194
44 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB | 275 | METERS | ₹ | 44 | ₹ | 12100
45 | 1C x 6 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | 65 | ₹ | -
46 | 1C x 25 SQMM CU PVC INSULATED | KEI/POLYCAB | 10 | METERS | ₹ | 357 | ₹ | 3570
47 | 1C x 35 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | 490 | ₹ | -
48 | 1C x 50 SQMM CU PVC INSULATED | KEI/POLYCAB | 30 | METERS | ₹ | 684 | ₹ | 20524
49 | 1C x 70 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | 940 | ₹ | -
| COMMUNICATION CABLE | [6 empty] | 49704
50 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN | 300 | METERS | ₹ | 166 | ₹ | 49704
| PANEL | [6 empty] | 395857
51 | ACDB PANEL 20 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 70414 | ₹ | -
52 | ACDB PANEL 25 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 70414 | ₹ | -
53 | ACDB PANEL 30 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 70414 | ₹ | -
54 | ACDB PANEL 40 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | 70414 | ₹ | 70414
55 | ACDB PANEL 50 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 59172 | ₹ | -
56 | ACDB PANEL 60 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 76923 | ₹ | -
57 | ACDB PANEL 70 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 2 | NO'S | ₹ | 79882 | ₹ | 159763
58 | ACDB PANEL 80 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 79882 | ₹ | -
59 | ACDB PANEL 100 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 86509 | ₹ | -
60 | ACDB PANEL 110 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 89586 | ₹ | -
61 | ACDB PANEL 125 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 89586 | ₹ | -
62 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,70,296 | ₹ | -
63 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,70,296 | ₹ | -
64 | ACDB PANEL 120 KW (40+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,46,982 | ₹ | -
65 | ACDB PANEL 120 KW (30+60) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,46,982 | ₹ | -
66 | ACDB PANEL 110 KW (60+50) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,46,982 | ₹ | -
67 | ACDB PANEL 140 KW (60+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | 1,65,680 | ₹ | 165680
68 | ACDB PANEL 150 KW (70+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,67,811 | ₹ | -
69 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | ₹ | -
70 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | ₹ | -
71 | ACDB PANEL 225 KW (125+50+80) 415 V (3 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | ₹ | -
72 | ACDB PANEL 220 KW (50+50+80+40) 415 V (4 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | ₹ | -
73 | ACDB PANEL 80 KW (40+40) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,27,101 | ₹ | -
74 | ACDB PANEL 80 KW (40+40) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,27,101 | ₹ | -
75 | ACDB PANEL 285 KW (100+50+40+25+70+80) 415 V (5 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | 3,82,959 |  | ₹ | -
76 | ENERGY METER( Premier 300, Class 0.5) | REPUTED |  | NO'S | ₹ | 29586 | ₹ | -
77 | ACDB PANEL 4 in 1 out (50+50+100+40)KW | REPUTED |  | NO'S | ₹ | 2,18,935 | ₹ | -
| REMOTE MONORTING SYSTEM | [6 empty] | 84496
| REMOTE MONORTING SYSTEM | Power AMR/Equivalent
76 | 4G based Plug and Play - RTU, Smart data logger with antenna to connect upto 4 inverters/ MFM/ Sensors on modbus RS485 RTU • modbus RS485 RTU- 1 port • 2 digital / analog ports ( 0 to 5 V) • 1 analog port (4 -20 m amp) • Built in memory help store and send data in case of network failure | E Track 4G Lite | 2 | NO'S | ₹ | 16568 | ₹ | 33136
77 | RS485 Communication SPD citel make (optional) | Citel -DLA-06-D3 | 2 | NO'S | ₹ | 2130 | ₹ | 4260
78 | Line SPD citel make (optional) | Citel- DS-240-320 | 2 | NO'S | ₹ | 3314 | ₹ | 6627
79 | IP67 enclosure box along with SMPS power supply, glands and fitment in one unit to house the data logge | Boxomatic/ ERD | 1 | NO'S | ₹ | 3550 | ₹ | 3550
80 | Access to Web portal- per MW per annum Data frequency – 10 minute Key Components • Interactive Dashboard • Single Line Diagram • PR analysis • Solar radiation & weather data • Graphs and Reports • Generation Analysis • Log Reporting • String/ MPPT Monitoring • Plant/ Inverter Performance • Superuser Dashboard for Centralized monitoring • Mobile app on android | PowerAMR | 1 | NO'S | ₹ | 15621 | ₹ | 15621
81 | Solar Radiation Sensor with mounting kit | Pyra300 | 1 | NO'S | ₹ | 15385 | ₹ | 15385
82 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN |  | RM | ₹ | 185 | ₹ | -
83 | UPVC CONDUIT FOR CABLE 20 MM DIA | SUPREME |  | RM | ₹ | 112 | ₹ | -
84 | 2C x 2.5 SQMM XLPE INSULATED FLEXIBLE CABLE with lugs | KEI/POLYCAB |  | RM | ₹ | 41 | ₹ | -
85 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB |  | RM | ₹ | 21 | ₹ | -
86 | Installation and Commissioning | KEI/POLYCAB | 1 | Job | ₹ | 5917 | ₹ | 5917
| CABLE TRAY | [6 empty] | 152770
87 | 50X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 385 | METERS | ₹ | 368 | ₹ | 141835
88 | 75X75X 1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 20 | METERS | ₹ | 547 | ₹ | 10935
89 | 100X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 449 | ₹ | -
90 | 100X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 531 | ₹ | -
91 | 150X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 592 | ₹ | -
92 | 150X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 687 | ₹ | -
93 | 200X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 736 | ₹ | -
94 | 200X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 950 | ₹ | -
95 | 300X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 1287 | ₹ | -
96 | 300X100X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 1390 | ₹ | -
| LIGHTING PROTECTION | [6 empty] | 86627
97 | ESE TYPE LA RADIUS 50 m | REPUTED |  | NO'S | ₹ | 29231 | ₹ | -
98 | ESE TYPE LA RADIUS 70 m | REPUTED |  | NO'S | ₹ | 29793 | ₹ | -
99 | ESE TYPE LA RADIUS 90 m | REPUTED |  | NO'S | ₹ | 30355 | ₹ | -
100 | ESE TYPE LA RADIUS 107 m | REPUTED | 2 | NO'S | ₹ | 31479 | ₹ | 62959
101 | 5 METER MAST | REPUTED | 2 | NO'S | ₹ | 5917 | ₹ | 11834
102 | LIGHTENING STRIKE COUNTER | REPUTED | 2 | NO'S | ₹ | 5917 | ₹ | 11834
| EARTHING | [6 empty] | 198589
103 | EARTH ROD CONSISTING OF HIGH TENSILE LOW CARBON STEEL WITH ELECTROLYTIC GRADE 250ΜM COPPER COATING. ROD DIA 17.2MM | REPUTED | 24 | NO'S | ₹ | 1893 | ₹ | 45444
104 | EARTH ENHANCE COMPOUND | REPUTED | 24 | SET | ₹ | 592 | ₹ | 14201
105 | EARTHING PIT CHAMBER PRE CAST | REPUTED | 24 | SET | ₹ | 592 | ₹ | 14201
106 | 25X3 G.I STRIP GALVANISED | REPUTED | 900 | METERS | ₹ | 65 | ₹ | 58580
107 | 25X6 G.I STRIP GALVANISED | REPUTED | 600 | METERS | ₹ | 97 | ₹ | 58225
108 | 50X3 G.I STRIP GALVANISED | REPUTED | 0 | METERS | ₹ | 97 | ₹ | -
109 | 50X6 G.I STRIP GALVANISED | REPUTED | 0 | METERS | ₹ | 260 | ₹ | -
110 | INSULATOR FOR GI STRIP | REPUTED | 294 | NO'S | ₹ | 12 | ₹ | 3528
111 | M8 X 25 with nut & washer | REPUTED | 490 | NO'S | ₹ | 9 | ₹ | 4410
C CLASS
| GLANDS | [6 empty] | 20452
112 | 4CX16SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 408 | ₹ | -
113 | 4CX25 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 408 | ₹ | 1633
114 | 4CX35 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | 495 | ₹ | 3962
115 | 4CX50 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 728 | ₹ | 2911
116 | 4CX70 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 880 | ₹ | 3518
117 | 4CX95SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 1054 | ₹ | 4214
118 | 4CX120 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 1054 | ₹ | 4214
119 | 4CX150SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | 1243 | ₹ | -
120 | 4CX185SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | 1396 | ₹ | -
121 | 4CX240SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | 2106 | ₹ | -
122 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | 2446 | ₹ | -
123 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | 2446 | ₹ | -
124 | 4CX 400SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | 2663 | ₹ | -
| LUGS | [6 empty] | 15120
125 | LUGS RING TYPE 4 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 1327 | NO'S | ₹ | 5.4 | ₹ | 7145
126 | LUGS RING TYPE 4CX16 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 19 | ₹ | -
127 | LUGS RING TYPE 1X25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 30 | NO'S | ₹ | 26 | ₹ | 791
128 | LUGS RING | DOWEL/COMMET | 30 | NO'S | ₹ | 34 | ₹ | 1020
129 | LUGS RING TYPE 4CX25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 26 | ₹ | 422
130 | LUGS RING TYPE 4CX35 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | 32 | ₹ | 1014
131 | LUGS RING TYPE 4CX50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 48 | ₹ | 764
132 | LUGS RING TYPE 4CX70 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 19 | ₹ | 299
133 | LUGS RING TYPE 4CX95 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 93 | ₹ | 1493
134 | LUGS RING LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 136 | ₹ | 2172
135 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 170 | ₹ | -
136 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 215 | ₹ | -
137 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 338 | ₹ | -
138 | LUGS RING LUGS | DOWEL/COMMET | 0 |  | ₹ | 431 | ₹ | -
139 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 500 | ₹ | -
140 | M4X20 with two plain waser and nut | DOWEL/COMMET | 1327 | NO'S | ₹ | 7 | ₹ | 9422
| CONNECTORS | [6 empty] | 10736
141 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (FEMALE) | MC/BIZILINK/SABULI/ELCOM | 108 | NO'S | ₹ | 50 | ₹ | 5368
142 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (MALE) | MC/BIZILINK/SABULI/ELCOM | 108 | NO'S | ₹ | 50 | ₹ | 5368
| CONDUIT | [6 empty] | 36492
143 | G.I NILON COAT FLEXIBLE CONDUIT 32 MM DIA | SUPREME |  | METERS | ₹ | 36 | ₹ | -
144 | HDPE | SUPREME |  | METERS | ₹ | 30 | ₹ | -
145 | UPVC | SUPREME | 650 | METERS | ₹ | 112 | ₹ | 15385
146 | UPVC | SUPREME | 250 | METERS | ₹ | 47 | ₹ | 11834
147 | CLAMP | SUPREME | 653 | Nos | ₹ | 14 | ₹ | 9273
| PLUMBING SYSTEM FOR SOLAR PLANT | [6 empty] | 164674
148 | uPVC PIPE 25MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 550 | METERS | ₹ | 139 | ₹ | 76609
149 | uPVC PIPE 20MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 75 | METERS | ₹ | 101 | ₹ | 7567
150 | uPVC ELBOW 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 32 | METERS | ₹ | 23 | ₹ | 750
151 | uPVC END CAP 20MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 32 | METERS | ₹ | 12 | ₹ | 396
152 | uPVC TEE 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 32 | METERS | ₹ | 31 | ₹ | 1000
153 | uPVC UNION 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 32 | METERS | ₹ | 51 | ₹ | 1625
154 | uPVC COUPLER 25 MM SCH40 | PRINCE/ASTRA/PLASTO/SUP REME | 32 | METERS | ₹ | 16 | ₹ | 500
155 | REDUCING TEE 2X25XX20 SH40 | PRINCE/ASTRA/PLASTO/SUP REME | 32 | METERS | ₹ | 31 | ₹ | 1000
156 | HOSE FOR MODULE CLEANING WITH SPRAY GUN | PRINCE/ASTRA/PLASTO/SUP REME | 8 | METERS | ₹ | 101 | ₹ | 807
157 | BALL VALVE 20MM BRASS | PRINCE/ASTRA/PLASTO/SUP REME | 32 | METERS | ₹ | 199 | ₹ | 6373
158 | Telescopic Wiper | REPUTED | 1 | METERS | ₹ | 5917 | ₹ | 5917
159 | WATER TANK OF 1KL | REPUTED | 1 | METERS | ₹ | 11834 | ₹ | 11834
160 | WATER METER (0-100LPM) ANALOG TYPE | REPUTED | 5 | METERS | ₹ | 2959 | ₹ | 14793
161 | MONOBLOCK 1 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 5 | NO'S | ₹ | 7101 | ₹ | 35503
162 | MONOBLOCK 1.5 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 0 | NO'S | ₹ | 10059 | ₹ | -
| FIRE PROTECTION | [6 empty] | 70413
163 | ABC FIRE PROTECTION 4.5 KG | REPUTED | 5 | NO'S | ₹ | 2722 | ₹ | 13609
164 | CO2 FIRE PROTECTION 4.5 KG | REPUTED | 5 | NO'S | ₹ | 5917 | ₹ | 29586
165 | FIRE SAND BUCKETS WITH 2 BUCKET EACH WITH STAND | REPUTED | 5 | NO'S | ₹ | 1893 | ₹ | 9467
166 | FIRST AID BOX AS PER BOCW ACT | REPUTED | 3 | NO'S | ₹ | 5917 | ₹ | 17751
| CABLE TIE | [6 empty] | 10355
167 | CABLE TIE 100 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 25 | PACKET | ₹ | 178 | ₹ | 4438
168 | CABLE TIE 200 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 25 | PACKET | ₹ | 237 | ₹ | 5917
| SAFETY TAGS | [6 empty] | 46451
169 | SHOCK TREATMENT CHART, SAFETY CHARTS | REPUTED | 5 | NO'S | ₹ | 592 | ₹ | 2959
170 | DO'S & DON'TS CHARTS | REPUTED | 5 | NO'S | ₹ | 355 | ₹ | 1775
171 | HEAT SHRINKABLE SLEEVE (AS PER CABLE SIZE COLUR) | REPUTED | 5 | NO'S | ₹ | 355 | ₹ | 1775
172 | CAUTION DANGER BOARD | REPUTED | 5 | NO'S | ₹ | 592 | ₹ | 2959
173 | RUBBER MAT FOR INVERTER & ACDB | REPUTED | 5 | NO'S | ₹ | 1775 | ₹ | 8876
174 | SOLAR CABLE FERULES WITH AL TAG | REPUTED | 5 | NO'S | ₹ | 592 | ₹ | 2959
175 | AC CABLE FERULES WITH AL TAG | REPUTED | 25 | NO'S | ₹ | 592 | ₹ | 14793
176 | INSULATION TAP | REPUTED | 5 | NO'S | ₹ | 59 | ₹ | 296
177 | PLANT DISPLAY BOARD | REPUTED | 1 | NO'S | ₹ | 10059 | ₹ | 10059
| INSTALLATION WORK | [6 empty] | 239644
178 | MS STAND FOR INVERTER MOUNTING | LOCAL | 5 | SET | ₹ | 3550 | ₹ | 17751
179 | MS STAND FOR ACDB MOUNTING | LOCAL | 5 | SET | ₹ | 3550 | ₹ | 17751
180 | ACCESS LADDER | LOCAL | 2 | SET | ₹ | 35503 | ₹ | 71006
181 | DOOR & LOCK REPAIR | LOCAL | 5 | SET | ₹ | 2959 | ₹ | 14793
182 | INV & ACDB CAGE | LOCAL | 10 | SET | ₹ | 11834 | ₹ | 118343
[7 empty] | ₹ | 10265955
| INSTALLATION & COMMISSIONING | [6 empty] | 1431670
1 | INSTALLATION & COMMISSIONING OF RCC ROOF |  | 374 | KWp | ₹ | 2700 | ₹ | 1008504
2 | M25 GRADE RCC FOUNDATION FOR RCC ROOF |  | 374 | NO'S | ₹ | 888 | ₹ | 331953
3
4 | CIVIL FOR BLAST TYPE |  | - | NO'S | ₹ | 1300 | ₹ | -
5 | NitoBond |  | 46.75 | LTR | ₹ | 1065 | ₹ | 49793
6 | Other Services |  | 1 | LTR | ₹ | 41420 | ₹ | 41420
| TOTAL OF I&C | [5 empty] | ₹ | 1431670
| APPROVALS_LT SIDE | [6 empty] | 473373
1 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (=<500 kWp) |  | 1 | KWp |  |  | ₹ | 177515
2 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (500 - 900 kWp)
3 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (>=900 kWp)
4 | NET METERING- METER HARDWARE (<500 kWp) |  | 1 | KWp |  |  | ₹ | 295858
5 | NET METERING- METER HARDWARE (500 - 900 kWp)
6 | NET METERING- METER HARDWARE (> 900 kWp)
| TOTAL OF APPROVAL | [5 empty] | ₹ | 473373
OPTIONAL ITEM
1 | Spreader / Modification charges in existing panel | REPUTED |  | NO'S | As per Actual Cost
2 | UPS 500 VA WITH 30 MINS BACKUP WITH BATTERY | REPUTED |  | NO'S | ₹ 2,604
3 | MFM SCHNIEDER EM6400 NG | REPUTED |  | NO'S | ₹ 8,796
4 | DG Synch Controller | REPUTED |  | NO'S | As per Actual Cost
5 | Any other Item as may be required by OMC |  |  | NO'S | As per Actual Cost
1 | Transportation | [5 empty] | 1,33,333
₹ 1,23,04,331
| ANNEXURE B3 - Maharaishi Vashishtha Autonomous State Medical College, Basti Kaili Basti 726.16 |  | DC Solar Capacity (kWp) 726.16
S.NO | COMPONENTS | MAKE'S | Qty | UOM | Unit Rate |  | Amount
MODULE
1 | MODULE-580 WP, N-TYPE BIFACIAL MODULE | PANASONIC/JAKSON | 1252 | NO'S | ₹ | 9287 | ₹ | 11627637
INVERTER
2 | STRING INVERTER 20 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 99775 | ₹ | -
3 | STRING INVERTER 25 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,03,038 | ₹ | -
4 | STRING INVERTER 30 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,31,502 | ₹ | -
5 | STRING INVERTER 40 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,56,247 | ₹ | -
6 | STRING INVERTER 50 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 4 | NO'S | ₹ | 1,70,622 | ₹ | 682489
7 | STRING INVERTER 60 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,78,989 | ₹ | -
8 | STRING INVERTER 70 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹ | 2,42,737 | ₹ | 242737
9 | STRING INVERTER 80 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹ | 2,48,747 | ₹ | 497493
10 | STRING INVERTER 100 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹ | 2,94,466 | ₹ | 588931
11 | STRING INVERTER 110 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 3,03,333 | ₹ | -
12 | STRING INVERTER 125 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 3,14,740 | ₹ | -
STEEL STRUCTURE
13 | MS HDGI Module mounting structure Struture with minimum 80 micron coating for 500 mm clearance. | JAKSON/REPUTED | 17072 | KG | ₹ | 100 | ₹ | 1707202
14 | J BOLT | JAKSON/REPUTED | 2865 | No | 76.92 |  | ₹ | 220605
15 | J BOLT/Anchor | JAKSON/REPUTED | 0 | No | ₹ | 130 | ₹ | -
16 | Blast Type Structure | JAKSON/REPUTED | 0 | KG | ₹ | 3550 | ₹ | -
FASTNERS
17 | Fastners, Washers & Others (Anti-theft bolt) | REPUTED | 726 | KWp | ₹ | 370 | ₹ | 268679
BOS
DC CABLE
18 | CABLE 1CX4 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 11268 | METERS | ₹ | 43 | ₹ | 486724
19 | CABLE 1CX 6 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 0 | METERS | ₹ | 69 | ₹ | -
AC CABLE COPPER FRLS
20 | 2C x 2.5 SQMM XLPE INSULATED FLEXIABLE CABLE | KEI/POLYCAB | 330 | METERS | ₹ | 71 | ₹ | 23373
AC CABLE ALUMINIUM FRLS OUTER SHEATH
21 | 3.5C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 189 | ₹ | -
22 | 3.5C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 239 | ₹ | -
23 | 3.5C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 324 | ₹ | -
24 | 3.5C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 255 | METERS | ₹ | 436 | ₹ | 111169
25 | 3.5C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 85 | METERS | ₹ | 545 | ₹ | 46283
26 | 3.5C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 115 | METERS | ₹ | 682 | ₹ | 78423
27 | 3.5C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 195 | METERS | ₹ | 808 | ₹ | 157607
28 | 3.5C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1023 | ₹ | -
29 | 3.5C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1285 | ₹ | -
30 | 3.5C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1581 | ₹ | -
31 | 3.5C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 2020 | ₹ | -
32 | 4C x 16SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 161 | ₹ | -
33 | 4C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 202 | ₹ | -
34 | 4 C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 272 | ₹ | -
35 | 4C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 364 | ₹ | -
36 | 4C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 494 | ₹ | -
37 | 4C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 617 | ₹ | -
38 | 4C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 752 | ₹ | -
39 | 4C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 924 | ₹ | -
40 | 4C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1137 | ₹ | -
41 | 4C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1468 | ₹ | -
42 | 4C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1810 | ₹ | -
43 | 4C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 2327 | ₹ | -
EARTHING CABLE
44 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB | 513 | METERS | ₹ | 44 | ₹ | 22572
45 | 1C x 6 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | 65 | ₹ | -
46 | 1C x 25 SQMM CU PVC INSULATED | KEI/POLYCAB | 12 | METERS | ₹ | 357 | ₹ | 4285
47 | 1C x 35 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | 490 | ₹ | -
48 | 1C x 50 SQMM CU PVC INSULATED | KEI/POLYCAB | 23 | METERS | ₹ | 684 | ₹ | 15735
49 | 1C x 70 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | 940 | ₹ | -
COMMUNICATION CABLE
50 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN | 450 | METERS | ₹ | 166 | ₹ | 74556
PANEL
51 | ENERGY METER( Premier 300, Class 0.5) | REPUTED |  | NO'S | ₹ | 70414 | ₹ | -
52 | ACDB PANEL 25 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 70414 | ₹ | -
53 | ACDB PANEL 30 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 70414 | ₹ | -
54 | ACDB PANEL 40 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 70414 | ₹ | -
55 | ACDB PANEL 50 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 4 | NO'S | ₹ | 70414 | ₹ | 281656
56 | ACDB PANEL 60 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 76923 | ₹ | -
57 | ACDB PANEL 70 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | 79882 | ₹ | 79882
58 | ACDB PANEL 80 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 2 | NO'S | ₹ | 79882 | ₹ | 159763
59 | ACDB PANEL 100 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 2 | NO'S | ₹ | 86509 | ₹ | 173018
60 | ACDB PANEL 110 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 89586 | ₹ | -
61 | ACDB PANEL 125 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 89586 | ₹ | -
62 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,70,296 | ₹ | -
63 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,70,296 | ₹ | -
64 | ACDB PANEL 120 KW (40+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,46,982 | ₹ | -
65 | ACDB PANEL 120 KW (30+60) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,46,982 | ₹ | -
66 | ACDB PANEL 110 KW (60+50) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,46,982 | ₹ | -
67 | ACDB PANEL 140 KW (60+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,65,680 | ₹ | -
68 | ACDB PANEL 150 KW (70+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,67,811 | ₹ | -
69 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | ₹ | -
70 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | ₹ | -
71 | ACDB PANEL 225 KW (125+50+80) 415 V (3 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | ₹ | -
72 | ACDB PANEL 220 KW (50+50+80+40) 415 V (4 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | ₹ | -
73 | ACDB PANEL 80 KW (40+40) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,27,101 | ₹ | -
74 | ACDB PANEL 80 KW (40+40) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,27,101 | ₹ | -
75 | ACDB PANEL 285 KW (100+50+40+25+70+80) 415 V (5 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | 3,82,959 |  | ₹ | -
76 | ENERGY METER( Premier 300, Class 0.2) | REPUTED | 0 | NO'S | ₹ | 29586 | ₹ | -
77 | ACDB PANEL 4 in 1 out (50+50+100+40)KW | REPUTED |  | NO'S | ₹ | 2,18,935 | ₹ | -
REMOTE MONORTING SYSTEM
| REMOTE MONORTING SYSTEM | Power AMR/Equivalent
76 | 4G based Plug and Play - RTU, Smart data logger with antenna to connect upto 4 inverters/ MFM/ Sensors on modbus RS485 RTU • modbus RS485 RTU- 1 port • 2 digital / analog ports ( 0 to 5 V) • 1 analog port (4 -20 m amp) • Built in memory help store and send data in case of network failure | E Track 4G Lite | 2 | NO'S | ₹ | 16568 | ₹ | 33136
77 | RS485 Communication SPD citel make (optional) | Citel -DLA-06-D3 | 2 | NO'S | ₹ | 2130 | ₹ | 4260
78 | Line SPD citel make (optional) | Citel- DS-240-320 | 2 | NO'S | ₹ | 3314 | ₹ | 6627
79 | IP67 enclosure box along with SMPS power supply, glands and fitment in one unit to house the data logge | Boxomatic/ ERD | 1 | NO'S | ₹ | 3550 | ₹ | 3550
80 | Access to Web portal- per MW per annum Data frequency – 10 minute Key Components • Interactive Dashboard • Single Line Diagram • PR analysis • Solar radiation & weather data • Graphs and Reports • Generation Analysis • Log Reporting • String/ MPPT Monitoring • Plant/ Inverter Performance • Superuser Dashboard for Centralized monitoring • Mobile app on android | PowerAMR | 1 | NO'S | ₹ | 15621 | ₹ | 15621
81 | Solar Radiation Sensor with mounting kit | Pyra300 | 1 | NO'S | ₹ | 15385 | ₹ | 15385
82 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN |  | RM | ₹ | 185 | ₹ | -
83 | UPVC CONDUIT FOR CABLE 20 MM DIA | SUPREME |  | RM | ₹ | 112 | ₹ | -
84 | 2C x 2.5 SQMM XLPE INSULATED FLEXIBLE CABLE with lugs | KEI/POLYCAB |  | RM | ₹ | 41 | ₹ | -
85 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB |  | RM | ₹ | 21 | ₹ | -
86 | Installation and Commissioning | KEI/POLYCAB | 1 | Job | ₹ | 5917 | ₹ | 5917
CABLE TRAY
87 | 50X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 375 | METERS | ₹ | 368 | ₹ | 138151
88 | 75X75X 1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 270 | METERS | ₹ | 547 | ₹ | 147621
89 | 100X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 449 | ₹ | -
90 | 100X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 531 | ₹ | -
91 | 150X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 592 | ₹ | -
92 | 150X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 687 | ₹ | -
93 | 200X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 736 | ₹ | -
94 | 200X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 950 | ₹ | -
95 | 300X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 1287 | ₹ | -
96 | 300X100X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 1390 | ₹ | -
LIGHTING PROTECTION
97 | ESE TYPE LA RADIUS 50 m | REPUTED |  | NO'S | ₹ | 29231 | ₹ | -
98 | ESE TYPE LA RADIUS 70 m | REPUTED |  | NO'S | ₹ | 29793 | ₹ | -
99 | ESE TYPE LA RADIUS 90 m | REPUTED |  | NO'S | ₹ | 30355 | ₹ | -
100 | ESE TYPE LA RADIUS 107 m | REPUTED | 2 | NO'S | ₹ | 31479 | ₹ | 62959
101 | 5 METER MAST | REPUTED | 2 | NO'S | ₹ | 5917 | ₹ | 11834
102 | LIGHTENING STRIKE COUNTER | REPUTED | 2 | NO'S | ₹ | 5917 | ₹ | 11834
EARTHING
103 | EARTH ROD CONSISTING OF HIGH TENSILE LOW CARBON STEEL WITH ELECTROLYTIC GRADE 250ΜM COPPER COATING. ROD DIA 17.2MM | REPUTED | 36 | NO'S | ₹ | 1893 | ₹ | 68166
104 | EARTH ENHANCE COMPOUND | REPUTED | 36 | SET | ₹ | 592 | ₹ | 21302
105 | EARTHING PIT CHAMBER PRE CAST | REPUTED | 36 | SET | ₹ | 592 | ₹ | 21302
106 | 25X3 G.I STRIP GALVANISED | REPUTED | 1270 | METERS | ₹ | 65 | ₹ | 82663
107 | 25X6 G.I STRIP GALVANISED | REPUTED | 935 | METERS | ₹ | 97 | ₹ | 90734
108 | 50X3 G.I STRIP GALVANISED | REPUTED |  | METERS | ₹ | 97 | ₹ | -
109 | 50X6 G.I STRIP GALVANISED | REPUTED |  | METERS | ₹ | 260 | ₹ | -
110 | INSULATOR FOR GI STRIP | REPUTED | 441 | NO'S | ₹ | 12 | ₹ | 5292
111 | M8 X 25 with nut & washer | REPUTED | 735 | NO'S | ₹ | 9 | ₹ | 6615
C CLASS
GLANDS
112 | 4CX16SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 408 | ₹ | -
113 | 4CX25 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 408 | ₹ | -
114 | 4CX35 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 495 | ₹ | -
115 | 4CX50 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 728 | ₹ | -
116 | 4CX70 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 20 | NO'S | ₹ | 880 | ₹ | 17592
117 | 4CX95SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 5 | NO'S | ₹ | 1054 | ₹ | 5268
118 | 4CX120 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 10 | NO'S | ₹ | 1054 | ₹ | 10536
119 | 4CX150SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 10 | NO'S | ₹ | 1243 | ₹ | 12435
120 | 4CX185SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 1396 | ₹ | -
121 | 4CX240SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 2106 | ₹ | -
122 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 2446 | ₹ | -
123 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 2446 | ₹ | -
124 | 4CX 400SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | 2663 | ₹ | -
LUGS
125 | LUGS RING TYPE 4 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 2892 | NO'S | ₹ | 5.4 | ₹ | 15572
126 | LUGS RING TYPE 4CX16 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 19 | ₹ | -
127 | LUGS RING TYPE 1X25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 12 | NO'S | ₹ | 26 | ₹ | 316
128 | LUGS RING TYPE 1X50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 15 | NO'S | ₹ | 34 | ₹ | 510
129 | LUGS RING TYPE 4CX25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 26 | ₹ | -
130 | LUGS RING TYPE 4CX35 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 32 | ₹ | -
131 | LUGS RING TYPE 4CX50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 48 | ₹ | -
132 | LUGS RING TYPE 4CX70 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 92 | NO'S | ₹ | 19 | ₹ | 1721
133 | LUGS RING TYPE 4CX95 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 24 | NO'S | ₹ | 93 | ₹ | 2240
134 | LUGS RING LUGS | DOWEL/COMMET | 48 | NO'S | ₹ | 136 | ₹ | 6515
135 | LUGS RING LUGS | DOWEL/COMMET | 48 | NO'S | ₹ | 170 | ₹ | 8138
136 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 215 | ₹ | -
137 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 338 | ₹ | -
138 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 431 | ₹ | -
139 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 500 | ₹ | -
140 | M4X20 with two plain waser and nut | DOWEL/COMMET | 2892 | NO'S | 7.1 |  | ₹ | 20533
CONNECTORS
141 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (FEMALE) | MC/BIZILINK/SABULI/ELCOM | 350 | NO'S | ₹ | 50 | ₹ | 17396
142 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (MALE) | MC/BIZILINK/SABULI/ELCOM | 350 | NO'S | ₹ | 50 | ₹ | 17396
CONDUIT
143 | G.I NILON COAT FLEXIBLE CONDUIT 32 MM DIA | SUPREME |  | METERS | ₹ | 36 | ₹ | -
144 | HDPE | SUPREME |  | METERS | ₹ | 30 | ₹ | -
145 | UPVC | SUPREME | 470 | METERS | ₹ | 112 | ₹ | 11124
146 | UPVC | SUPREME | 390 | METERS | ₹ | 47 | ₹ | 18462
147 | CLAMP | SUPREME | 710 | Nos | ₹ | 14 | ₹ | 10083
PLUMBING SYSTEM FOR SOLAR PLANT
148 | uPVC PIPE 25MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 1010 | METERS | ₹ | 139 | ₹ | 140683
149 | uPVC PIPE 20MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 150 | METERS | ₹ | 101 | ₹ | 15133
150 | uPVC ELBOW 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 23 | ₹ | 844
151 | uPVC END CAP 20MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 12 | ₹ | 445
152 | uPVC TEE 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 31 | ₹ | 1125
153 | uPVC UNION 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 51 | ₹ | 1828
154 | uPVC COUPLER 25 MM SCH40 | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 16 | ₹ | 562
155 | REDUCING TEE 2X25XX20 SH40 | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 31 | ₹ | 1125
156 | HOSE FOR MODULE CLEANING WITH SPRAY GUN | PRINCE/ASTRA/PLASTO/SUP REME | 9 | METERS | ₹ | 101 | ₹ | 908
157 | BALL VALVE 20MM BRASS | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 199 | ₹ | 7170
158 | Telescopic Wiper | REPUTED | 2 | METERS | ₹ | 5917 | ₹ | 11834
159 | WATER TANK OF 1KL | REPUTED | 1 | METERS | ₹ | 11834 | ₹ | 11834
160 | WATER METER (0-100LPM) ANALOG TYPE | REPUTED | 12 | METERS | ₹ | 2959 | ₹ | 35503
161 | MONOBLOCK 1 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 12 | NO'S | ₹ | 7101 | ₹ | 85207
162 | MONOBLOCK 1.5 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 0 | NO'S | ₹ | 10059 | ₹ | -
FIRE PROTECTION
163 | ABC FIRE PROTECTION 4.5 KG | REPUTED | 10 | NO'S | ₹ | 2722 | ₹ | 27219
164 | CO2 FIRE PROTECTION 4.5 KG | REPUTED | 10 | NO'S | ₹ | 5917 | ₹ | 59172
165 | FIRE SAND BUCKETS WITH 2 BUCKET EACH WITH STAND | REPUTED | 9 | NO'S | ₹ | 1893 | ₹ | 17041
166 | FIRST AID BOX AS PER BOCW ACT | REPUTED | 4 | NO'S | ₹ | 5917 | ₹ | 23669
CABLE TIE
167 | CABLE TIE 100 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 25 | PACKET | ₹ | 178 | ₹ | 4438
168 | CABLE TIE 200 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 25 | PACKET | ₹ | 237 | ₹ | 5917
SAFETY TAGS
169 | SHOCK TREATMENT CHART, SAFETY CHARTS | REPUTED | 10 | NO'S | ₹ | 592 | ₹ | 5917
170 | DO'S & DON'TS CHARTS | REPUTED | 10 | NO'S | ₹ | 355 | ₹ | 3550
171 | HEAT SHRINKABLE SLEEVE (AS PER CABLE SIZE COLUR) | REPUTED | 9 | NO'S | ₹ | 355 | ₹ | 3195
172 | CAUTION DANGER BOARD | REPUTED | 10 | NO'S | ₹ | 592 | ₹ | 5917
173 | RUBBER MAT FOR INVERTER & ACDB | REPUTED | 10 | NO'S | ₹ | 1775 | ₹ | 17751
174 | SOLAR CABLE FERULES WITH AL TAG | REPUTED | 10 | NO'S | ₹ | 592 | ₹ | 5917
175 | AC CABLE FERULES WITH AL TAG | REPUTED | 20 | NO'S | ₹ | 592 | ₹ | 11834
176 | INSULATION TAP | REPUTED | 10 | NO'S | ₹ | 59 | ₹ | 592
177 | PLANT DISPLAY BOARD | REPUTED | 1 | NO'S | ₹ | 10059 | ₹ | 10059
INSTALLATION WORK
178 | MS STAND FOR INVERTER MOUNTING | LOCAL | 9 | SET | ₹ | 3550 | ₹ | 31953
179 | MS STAND FOR ACDB MOUNTING | LOCAL | 9 | SET | ₹ | 3550 | ₹ | 31953
180 | ACCESS LADDER | LOCAL | 2 | SET | ₹ | 35503 | ₹ | 71006
181 | DOOR & LOCK REPAIR | LOCAL | 5 | SET | ₹ | 2959 | ₹ | 14793
182 | INV & ACDB CAGE | LOCAL | 18 | SET | ₹ | 11834 | ₹ | 213018
[7 empty] | ₹ | 19358737
INSTALLATION & COMMISSIONING
1 | INSTALLATION & COMMISSIONING OF RCC ROOF |  | 726 | KWp | ₹ | 2700 | ₹ | 1960632
2 | M25 GRADE RCC FOUNDATION FOR RCC ROOF |  | 702 | NO'S | ₹ | 888 | ₹ | 623077
3
4 | CIVIL FOR BLAST TYPE |  | - | NO'S | ₹ | 1300 | ₹ | -
5 | NitoBond |  | 80.68 | LTR | ₹ | 1065 | ₹ | 85931
6 | Other Services |  | 1 | LTR | ₹ | 41420 | ₹ | 41420
| TOTAL OF I&C | [5 empty] | ₹ | 2711060
APPROVALS_LT SIDE
1 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (=<500 kWp)
2 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (500 - 900 kWp) |  | 1 | KWp |  |  | ₹ | 264852
3 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (>=900 kWp)
4 | NET METERING- METER HARDWARE (<500 kWp)
5 | NET METERING- METER HARDWARE (500 - 900 kWp) |  | 1 | KWp |  |  | ₹ | 441420
6 | NET METERING- METER HARDWARE (> 900 kWp)
| TOTAL OF APPROVAL | [5 empty] | ₹ | 7,06,272
OPTIONAL ITEM
1 | Spreader / Modification charges in existing panel | REPUTED |  | NO'S | As per Actual Cost
2 | UPS 500 VA WITH 30 MINS BACKUP WITH BATTERY | REPUTED |  | NO'S | ₹ 2,604
3 | MFM SCHNIEDER EM6400 NG | REPUTED |  | NO'S | ₹ 8,796
4 | DG Synch Controller | REPUTED |  | NO'S | As per Actual Cost
5 | Any other Item as may be required by OMC |  |  | NO'S | As per Actual Cost
1 | Transportation | [5 empty] | 2,00,000
₹ 2,29,76,070

## Sheet1
| ANNEXURE B3 - Maharaishi Vashishtha Autonomous State Medical College, Basti Kaili Basti 726.16 |  | DC Solar Capacity (kWp) 726.16
S.NO | COMPONENTS | MAKE'S | Qty | UOM | Unit Rate |  | Amount
MODULE
1 | MODULE | PANASONIC/JAKSON | 1252 | NO'S | ₹ | 9287 | 11627637
| MODULE Total | [5 empty] | 11627637
INVERTER
2 | INVERTER | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 99775 | -
3 | INVERTER | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,03,038 | -
4 | INVERTER | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,31,502 | -
5 | INVERTER | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,56,247 | -
6 | INVERTER | GROWATT/SOLIS/HITACHI | 4 | NO'S | ₹ | 1,70,622 | 682489
7 | INVERTER | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,78,989 | -
8 | INVERTER | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹ | 2,42,737 | 242737
9 | INVERTER | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹ | 2,48,747 | 497493
10 | INVERTER | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹ | 2,94,466 | 588931
11 | INVERTER | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 3,03,333 | -
12 | INVERTER | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 3,14,740 | -
| INVERTER Total | [5 empty] | 2011650
STEEL STRUCTURE
13 | STEEL STRUCTURE | JAKSON/REPUTED | 17072 | KG | ₹ | 100 | 1707202
14 | STEEL STRUCTURE | JAKSON/REPUTED | 2865 | No | 76.92 |  | 220605
15 | STEEL STRUCTURE | JAKSON/REPUTED | 0 | No | ₹ | 130 | -
16 | STEEL STRUCTURE | JAKSON/REPUTED | 0 | KG | ₹ | 3550 | -
| STEEL STRUCTURE Total | [5 empty] | 1927807
FASTNERS
17 | FASTNERS | REPUTED | 726 | KWp | ₹ | 370 | 268679
| FASTNERS Total | [5 empty] | 268679
BOS
| BOS Total | [5 empty] | 0
DC CABLE
18 | DC CABLE | POLYCAB/KEI/APAR | 11268 | METERS | ₹ | 43 | 486724
19 | DC CABLE | POLYCAB/KEI/APAR | 0 | METERS | ₹ | 69 | -
| DC CABLE Total | [5 empty] | 486724
AC CABLE COPPER FRLS
20 | AC CABLE COPPER FRLS | KEI/POLYCAB | 330 | METERS | ₹ | 71 | 23373
| AC CABLE COPPER FRLS Total | [5 empty] | 23373
AC CABLE ALUMINIUM FRLS OUTER SHEATH
21 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 189 | -
22 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 239 | -
23 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 324 | -
24 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB | 255 | METERS | ₹ | 436 | 111169
25 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB | 85 | METERS | ₹ | 545 | 46283
26 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB | 115 | METERS | ₹ | 682 | 78423
27 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB | 195 | METERS | ₹ | 808 | 157607
28 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 1023 | -
29 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 1285 | -
30 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 1581 | -
31 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 2020 | -
32 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 161 | -
33 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 202 | -
34 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 272 | -
35 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 364 | -
36 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 494 | -
37 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 617 | -
38 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 752 | -
39 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 924 | -
40 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 1137 | -
41 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 1468 | -
42 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 1810 | -
43 | AC CABLE ALUMINIUM FRLS OUTER SHEATH | KEI/POLYCAB |  | METERS | ₹ | 2327 | -
| AC CABLE ALUMINIUM FRLS OUTER SHEATH Total | [5 empty] | 393482
EARTHING CABLE
44 | EARTHING CABLE | KEI/POLYCAB | 513 | METERS | ₹ | 44 | 22572
45 | EARTHING CABLE | KEI/POLYCAB |  | METERS | ₹ | 65 | -
46 | EARTHING CABLE | KEI/POLYCAB | 12 | METERS | ₹ | 357 | 4285
47 | EARTHING CABLE | KEI/POLYCAB |  | METERS | ₹ | 490 | -
48 | EARTHING CABLE | KEI/POLYCAB | 23 | METERS | ₹ | 684 | 15735
49 | EARTHING CABLE | KEI/POLYCAB |  | METERS | ₹ | 940 | -
| EARTHING CABLE Total | [5 empty] | 42592
COMMUNICATION CABLE
50 | COMMUNICATION CABLE | POLYCAB/BELDEN | 450 | METERS | ₹ | 166 | 74556
| COMMUNICATION CABLE Total | [5 empty] | 74556
PANEL
51 | PANEL | REPUTED |  | NO'S | ₹ | 70414 | -
52 | PANEL | REPUTED |  | NO'S | ₹ | 70414 | -
53 | PANEL | REPUTED |  | NO'S | ₹ | 70414 | -
54 | PANEL | REPUTED |  | NO'S | ₹ | 70414 | -
55 | PANEL | REPUTED | 4 | NO'S | ₹ | 70414 | 281656
56 | PANEL | REPUTED |  | NO'S | ₹ | 76923 | -
57 | PANEL | REPUTED | 1 | NO'S | ₹ | 79882 | 79882
58 | PANEL | REPUTED | 2 | NO'S | ₹ | 79882 | 159763
59 | PANEL | REPUTED | 2 | NO'S | ₹ | 86509 | 173018
60 | PANEL | REPUTED |  | NO'S | ₹ | 89586 | -
61 | PANEL | REPUTED |  | NO'S | ₹ | 89586 | -
62 | PANEL | REPUTED |  | NO'S | ₹ | 1,70,296 | -
63 | PANEL | REPUTED |  | NO'S | ₹ | 1,70,296 | -
64 | PANEL | REPUTED |  | NO'S | ₹ | 1,46,982 | -
65 | PANEL | REPUTED |  | NO'S | ₹ | 1,46,982 | -
66 | PANEL | REPUTED |  | NO'S | ₹ | 1,46,982 | -
67 | PANEL | REPUTED |  | NO'S | ₹ | 1,65,680 | -
68 | PANEL | REPUTED |  | NO'S | ₹ | 1,67,811 | -
69 | PANEL | REPUTED |  | NO'S | ₹ | 2,17,278 | -
70 | PANEL | REPUTED |  | NO'S | ₹ | 2,17,278 | -
71 | PANEL | REPUTED |  | NO'S | ₹ | 2,17,278 | -
72 | PANEL | REPUTED |  | NO'S | ₹ | 2,17,278 | -
73 | PANEL | REPUTED |  | NO'S | ₹ | 1,27,101 | -
74 | PANEL | REPUTED |  | NO'S | ₹ | 1,27,101 | -
75 | PANEL | REPUTED |  | NO'S | 3,82,959 |  | -
76 | PANEL | REPUTED | 0 | NO'S | ₹ | 29586 | -
77 | PANEL | REPUTED |  | NO'S | ₹ | 2,18,935 | -
| PANEL Total | [5 empty] | 694319
REMOTE MONORTING SYSTEM
76 | REMOTE MONORTING SYSTEM | E Track 4G Lite | 2 | NO'S | ₹ | 16568 | 33136
77 | REMOTE MONORTING SYSTEM | Citel -DLA-06-D3 | 2 | NO'S | ₹ | 2130 | 4260
78 | REMOTE MONORTING SYSTEM | Citel- DS-240-320 | 2 | NO'S | ₹ | 3314 | 6627
79 | REMOTE MONORTING SYSTEM | Boxomatic/ ERD | 1 | NO'S | ₹ | 3550 | 3550
80 | REMOTE MONORTING SYSTEM | PowerAMR | 1 | NO'S | ₹ | 15621 | 15621
81 | REMOTE MONORTING SYSTEM | Pyra300 | 1 | NO'S | ₹ | 15385 | 15385
82 | REMOTE MONORTING SYSTEM | POLYCAB/BELDEN |  | RM | ₹ | 185 | -
83 | REMOTE MONORTING SYSTEM | SUPREME |  | RM | ₹ | 112 | -
84 | REMOTE MONORTING SYSTEM | KEI/POLYCAB |  | RM | ₹ | 41 | -
85 | REMOTE MONORTING SYSTEM | KEI/POLYCAB |  | RM | ₹ | 21 | -
86 | REMOTE MONORTING SYSTEM | KEI/POLYCAB | 1 | Job | ₹ | 5917 | 5917
| REMOTE MONORTING SYSTEM Total | [5 empty] | 84496
CABLE TRAY
87 | CABLE TRAY | REPUTED | 375 | METERS | ₹ | 368 | 138151
88 | CABLE TRAY | REPUTED | 270 | METERS | ₹ | 547 | 147621
89 | CABLE TRAY | REPUTED |  | METERS | ₹ | 449 | -
90 | CABLE TRAY | REPUTED |  | METERS | ₹ | 531 | -
91 | CABLE TRAY | REPUTED |  | METERS | ₹ | 592 | -
92 | CABLE TRAY | REPUTED |  | METERS | ₹ | 687 | -
93 | CABLE TRAY | REPUTED |  | METERS | ₹ | 736 | -
94 | CABLE TRAY | REPUTED |  | METERS | ₹ | 950 | -
95 | CABLE TRAY | REPUTED |  | METERS | ₹ | 1287 | -
96 | CABLE TRAY | REPUTED |  | METERS | ₹ | 1390 | -
| CABLE TRAY Total | [5 empty] | 285772
LIGHTING PROTECTION
97 | LIGHTING PROTECTION | REPUTED |  | NO'S | ₹ | 29231 | -
98 | LIGHTING PROTECTION | REPUTED |  | NO'S | ₹ | 29793 | -
99 | LIGHTING PROTECTION | REPUTED |  | NO'S | ₹ | 30355 | -
100 | LIGHTING PROTECTION | REPUTED | 2 | NO'S | ₹ | 31479 | 62959
101 | LIGHTING PROTECTION | REPUTED | 2 | NO'S | ₹ | 5917 | 11834
102 | LIGHTING PROTECTION | REPUTED | 2 | NO'S | ₹ | 5917 | 11834
| LIGHTING PROTECTION Total | [5 empty] | 86627
EARTHING
103 | EARTHING | REPUTED | 36 | NO'S | ₹ | 1893 | 68166
104 | EARTHING | REPUTED | 36 | SET | ₹ | 592 | 21302
105 | EARTHING | REPUTED | 36 | SET | ₹ | 592 | 21302
106 | EARTHING | REPUTED | 1270 | METERS | ₹ | 65 | 82663
107 | EARTHING | REPUTED | 935 | METERS | ₹ | 97 | 90734
108 | EARTHING | REPUTED |  | METERS | ₹ | 97 | -
109 | EARTHING | REPUTED |  | METERS | ₹ | 260 | -
110 | EARTHING | REPUTED | 441 | NO'S | ₹ | 12 | 5292
111 | EARTHING | REPUTED | 735 | NO'S | ₹ | 9 | 6615
| EARTHING Total | [5 empty] | 296074
GLANDS
112 | GLANDS | DOWEL/COMMET |  | NO'S | ₹ | 408 | -
113 | GLANDS | DOWEL/COMMET |  | NO'S | ₹ | 408 | -
114 | GLANDS | DOWEL/COMMET |  | NO'S | ₹ | 495 | -
115 | GLANDS | DOWEL/COMMET |  | NO'S | ₹ | 728 | -
116 | GLANDS | DOWEL/COMMET | 20 | NO'S | ₹ | 880 | 17592
117 | GLANDS | DOWEL/COMMET | 5 | NO'S | ₹ | 1054 | 5268
118 | GLANDS | DOWEL/COMMET | 10 | NO'S | ₹ | 1054 | 10536
119 | GLANDS | DOWEL/COMMET | 10 | NO'S | ₹ | 1243 | 12435
120 | GLANDS | DOWEL/COMMET |  | NO'S | ₹ | 1396 | -
121 | GLANDS | DOWEL/COMMET |  | NO'S | ₹ | 2106 | -
122 | GLANDS | DOWEL/COMMET |  | NO'S | ₹ | 2446 | -
123 | GLANDS | DOWEL/COMMET |  | NO'S | ₹ | 2446 | -
124 | GLANDS | DOWEL/COMMET | 0 | NO'S | ₹ | 2663 | -
| GLANDS Total | [5 empty] | 45831
LUGS
125 | LUGS | DOWEL/COMMET | 2892 | NO'S | ₹ | 5.4 | 15572
126 | LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 19 | -
127 | LUGS | DOWEL/COMMET | 12 | NO'S | ₹ | 26 | 316
128 | LUGS | DOWEL/COMMET | 15 | NO'S | ₹ | 34 | 510
129 | LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 26 | -
130 | LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 32 | -
131 | LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 48 | -
132 | LUGS | DOWEL/COMMET | 92 | NO'S | ₹ | 19 | 1721
133 | LUGS | DOWEL/COMMET | 24 | NO'S | ₹ | 93 | 2240
134 | LUGS | DOWEL/COMMET | 48 | NO'S | ₹ | 136 | 6515
135 | LUGS | DOWEL/COMMET | 48 | NO'S | ₹ | 170 | 8138
136 | LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 215 | -
137 | LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 338 | -
138 | LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 431 | -
139 | LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 500 | -
140 | LUGS | DOWEL/COMMET | 2892 | NO'S | 7.1 |  | 20533
| LUGS Total | [5 empty] | 55545
CONNECTORS
141 | CONNECTORS | MC/BIZILINK/SABULI/ELCOM | 350 | NO'S | ₹ | 50 | 17396
142 | CONNECTORS | MC/BIZILINK/SABULI/ELCOM | 350 | NO'S | ₹ | 50 | 17396
| CONNECTORS Total | [5 empty] | 34792
CONDUIT
143 | CONDUIT | SUPREME |  | METERS | ₹ | 36 | -
144 | CONDUIT | SUPREME |  | METERS | ₹ | 30 | -
145 | CONDUIT | SUPREME | 470 | METERS | ₹ | 112 | 11124
146 | CONDUIT | SUPREME | 390 | METERS | ₹ | 47 | 18462
147 | CONDUIT | SUPREME | 710 | Nos | ₹ | 14 | 10083
| CONDUIT Total | [5 empty] | 39669
PLUMBING SYSTEM FOR SOLAR PLANT
148 | PLUMBING SYSTEM FOR SOLAR PLANT | PRINCE/ASTRA/PLASTO/SUP REME | 1010 | METERS | ₹ | 139 | 140683
149 | PLUMBING SYSTEM FOR SOLAR PLANT | PRINCE/ASTRA/PLASTO/SUP REME | 150 | METERS | ₹ | 101 | 15133
150 | PLUMBING SYSTEM FOR SOLAR PLANT | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 23 | 844
151 | PLUMBING SYSTEM FOR SOLAR PLANT | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 12 | 445
152 | PLUMBING SYSTEM FOR SOLAR PLANT | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 31 | 1125
153 | PLUMBING SYSTEM FOR SOLAR PLANT | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 51 | 1828
154 | PLUMBING SYSTEM FOR SOLAR PLANT | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 16 | 562
155 | PLUMBING SYSTEM FOR SOLAR PLANT | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 31 | 1125
156 | PLUMBING SYSTEM FOR SOLAR PLANT | PRINCE/ASTRA/PLASTO/SUP REME | 9 | METERS | ₹ | 101 | 908
157 | PLUMBING SYSTEM FOR SOLAR PLANT | PRINCE/ASTRA/PLASTO/SUP REME | 36 | METERS | ₹ | 199 | 7170
158 | PLUMBING SYSTEM FOR SOLAR PLANT | REPUTED | 2 | METERS | ₹ | 5917 | 11834
159 | PLUMBING SYSTEM FOR SOLAR PLANT | REPUTED | 1 | METERS | ₹ | 11834 | 11834
160 | PLUMBING SYSTEM FOR SOLAR PLANT | REPUTED | 12 | METERS | ₹ | 2959 | 35503
161 | PLUMBING SYSTEM FOR SOLAR PLANT | SHAKTI/Kirloskar | 12 | NO'S | ₹ | 7101 | 85207
162 | PLUMBING SYSTEM FOR SOLAR PLANT | SHAKTI/Kirloskar | 0 | NO'S | ₹ | 10059 | -
| PLUMBING SYSTEM FOR SOLAR PLANT Total | [5 empty] | 314201
FIRE PROTECTION
163 | FIRE PROTECTION | REPUTED | 10 | NO'S | ₹ | 2722 | 27219
164 | FIRE PROTECTION | REPUTED | 10 | NO'S | ₹ | 5917 | 59172
165 | FIRE PROTECTION | REPUTED | 9 | NO'S | ₹ | 1893 | 17041
166 | FIRE PROTECTION | REPUTED | 4 | NO'S | ₹ | 5917 | 23669
| FIRE PROTECTION Total | [5 empty] | 127101
CABLE TIE
167 | CABLE TIE | KSS/SUPERFLEX | 25 | PACKET | ₹ | 178 | 4438
168 | CABLE TIE | KSS/SUPERFLEX | 25 | PACKET | ₹ | 237 | 5917
| CABLE TIE Total | [5 empty] | 10355
SAFETY TAGS
169 | SAFETY TAGS | REPUTED | 10 | NO'S | ₹ | 592 | 5917
170 | SAFETY TAGS | REPUTED | 10 | NO'S | ₹ | 355 | 3550
171 | SAFETY TAGS | REPUTED | 9 | NO'S | ₹ | 355 | 3195
172 | SAFETY TAGS | REPUTED | 10 | NO'S | ₹ | 592 | 5917
173 | SAFETY TAGS | REPUTED | 10 | NO'S | ₹ | 1775 | 17751
174 | SAFETY TAGS | REPUTED | 10 | NO'S | ₹ | 592 | 5917
175 | SAFETY TAGS | REPUTED | 20 | NO'S | ₹ | 592 | 11834
176 | SAFETY TAGS | REPUTED | 10 | NO'S | ₹ | 59 | 592
177 | SAFETY TAGS | REPUTED | 1 | NO'S | ₹ | 10059 | 10059
| SAFETY TAGS Total | [5 empty] | 64732
INSTALLATION WORK
178 | INSTALLATION WORK | LOCAL | 9 | SET | ₹ | 3550 | 31953
179 | INSTALLATION WORK | LOCAL | 9 | SET | ₹ | 3550 | 31953
180 | INSTALLATION WORK | LOCAL | 2 | SET | ₹ | 35503 | 71006
181 | INSTALLATION WORK | LOCAL | 5 | SET | ₹ | 2959 | 14793
182 | INSTALLATION WORK | LOCAL | 18 | SET | ₹ | 11834 | 213018
| INSTALLATION WORK Total | [5 empty] | 362723
INSTALLATION & COMMISSIONING
1 | INSTALLATION & COMMISSIONING |  | 726 | KWp | ₹ | 2700 | 1960632
2 | INSTALLATION & COMMISSIONING |  | 702 | NO'S | ₹ | 888 | 623077
4 | INSTALLATION & COMMISSIONING |  | - | NO'S | ₹ | 1300 | -
5 | INSTALLATION & COMMISSIONING |  | 80.68 | LTR | ₹ | 1065 | 85931
6 | INSTALLATION & COMMISSIONING |  | 1 | LTR | ₹ | 41420 | 41420
| INSTALLATION & COMMISSIONING Total | [5 empty] | 2711060
APPROVALS_LT SIDE
1 | APPROVALS_LT SIDE
2 | APPROVALS_LT SIDE |  | 1 | KWp |  |  | 264852
3 | APPROVALS_LT SIDE
4 | APPROVALS_LT SIDE
5 | APPROVALS_LT SIDE |  | 1 | KWp |  |  | 441420
6 | APPROVALS_LT SIDE
| APPROVALS_LT SIDE Total | [5 empty] | 706272
| Grand Total | [5 empty] | 22776069
TOTAL OF APPROVAL