## Table 1
| ANNEXURE B3 - Lok Bandhu Shri Raj Narayan Combined Hospital, Lucknow Lok Bandu Lucknow 502.28 |  | DC Solar Capacity (kWp) 502.28
S.NO | COMPONENTS | MAKE'S | Qty | UOM | Unit Rate
| MODULE |  |  |  |  | 8042759
1 | MODULE-580 WP, N-TYPE BIFACIAL MODULE | PANASONIC/JAKSON | 866 | NO'S | ₹ 9,287 | 8042759
| INVERTER |  |  |  |  | 1237752
2 | STRING INVERTER 20 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ 99,775 | -
3 | STRING INVERTER 25 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹1,03,038 | 96741
4 | STRING INVERTER 30 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹1,31,502 | -
5 | STRING INVERTER 40 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹1,56,247 | -
6 | STRING INVERTER 50 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹1,70,622 | -
7 | STRING INVERTER 60 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹1,78,989 | -
8 | STRING INVERTER 70 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹2,42,737 | -
9 | STRING INVERTER 80 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹2,48,747 | 248747
10 | STRING INVERTER 100 KW, 400 V GRID CONNECTED | GROWATT/SOLIS | 2 | NO'S | ₹2,94,466 | 588931
11 | STRING INVERTER 110 KW, 400V GRID CONNECTED | GROWATT/SOLIS | 1 | NO'S | ₹3,03,333 | 303333
12 | STRING INVERTER 125 KW, 400V GRID CONNECTED | GROWATT/SOLIS |  | NO'S | ₹3,14,740 | -
| STEEL STRUCTURE |  |  |  |  | 2664036
13 | MS HDGI Module mounting structure Struture with minimum 80 micron coating for 500 mm clearance. | JAKSON/REPUTED | 24386 | KG | ₹ | 2438569
14 | J BOLT | JAKSON/REPUTED | 0 | No | ₹ | -
15 | J BOLT/Anchor | JAKSON/REPUTED | 1732 | No | ₹ | 225467
16 | Blast Type Structure | JAKSON/REPUTED | 0 | KG | ₹ | -
| FASTNERS |  |  |  |  | 185844
17 | Fastners, Washers & Others (Anti-theft bolt) | REPUTED | 502 | KWp | ₹ | 185844
BOS
| DC CABLE |  |  |  |  | 336664
18 | CABLE 1CX4 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 7794 | METERS | ₹ | 336664
19 | CABLE 1CX 6 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 0 | METERS | ₹ | -
| AC CABLE COPPER FRLS |  |  |  |  | 21249
20 | 2C x 2.5 SQMM XLPE INSULATED FLEXIABLE CABLE | KEI/POLYCAB | 300 | METERS | ₹ | 21249
| AC CABLE ALUMINIUM FRLS OUTER SHEATH |  |  |  |  | 188353
21 | 3.5C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 40 | METERS | ₹ | 7557
22 | 3.5C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
23 | 3.5C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
24 | 3.5C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 95 | METERS | ₹ | 41416
25 | 3.5C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 150 | METERS | ₹ | 81676
26 | 3.5C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
27 | 3.5C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
28 | 3.5C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 25 | METERS | ₹ | 25581
29 | 3.5C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 25 | METERS | ₹ | 32123
30 | 3.5C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
31 | 3.5C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
32 | 4C x 16SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
33 | 4C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
34 | 4 C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
35 | 4C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
36 | 4C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
37 | 4C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
38 | 4C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
39 | 4C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
40 | 4C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
41 | 4C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
42 | 4C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
43 | 4C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | -
| EARTHING CABLE |  |  |  |  | 54216
44 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB | 360 | METERS | ₹ | 15840
45 | 1C x 6 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | -
46 | 1C x 25 SQMM CU PVC INSULATED | KEI/POLYCAB | 50 | METERS | ₹ | 17852
47 | 1C x 35 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | -
48 | 1C x 50 SQMM CU PVC INSULATED | KEI/POLYCAB | 30 | METERS | ₹ | 20524
49 | 1C x 70 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | -
| COMMUNICATION CABLE |  |  |  |  | 48047
50 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN | 290 | METERS | ₹ | 48047
| PANEL |  |  |  |  | 411006
51 | ACDB PANEL 20 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | -
52 | ACDB PANEL 25 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | 70414
53 | ACDB PANEL 30 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | -
54 | ACDB PANEL 40 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | -
55 | ACDB PANEL 50 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | -
56 | ACDB PANEL 60 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | -
57 | ACDB PANEL 70 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | -
58 | ACDB PANEL 80 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | -
59 | ACDB PANEL 100 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | -
60 | ACDB PANEL 110 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | -
61 | ACDB PANEL 125 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | -
62 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹1,70,296 | 170296
63 | ACDB PANEL 190 KW (110+80) 415 V (2 in 1 Out) (Indoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹1,70,296 | 170296
64 | ACDB PANEL 120 KW (40+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,46,982 | -
65 | ACDB PANEL 120 KW (30+60) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,46,982 | -
66 | ACDB PANEL 120 KW (40+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,46,982 | -
67 | ACDB PANEL 140 KW (60+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,65,680 | -
68 | ACDB PANEL 150 KW (70+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,67,811 | -
69 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | -
70 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | -
71 | ACDB PANEL 225 KW (125+50+80) 415 V (3 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | -
72 | ACDB PANEL 220 KW (50+50+80+40) 415 V (4 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | -
73 | ENERGY METER( Premier 300, Class 0.5) | REPUTED |  | NO'S | ₹1,27,101 | -
74 | ENERGY METER( Premier 300, Class 0.5) | REPUTED |  | NO'S | ₹1,27,101 | -
75 | ACDB PANEL 285 KW (100+50+40+25+70+80) 415 V (5 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | 3,82,959 | -
76 | ENERGY METER( Premier 300, Class 0.5) | REPUTED |  | NO'S | ₹ | -
77 | ACDB PANEL 4 in 1 out (50+50+100+40)KW | REPUTED |  | NO'S | ₹2,18,935 | -
| REMOTE MONORTING SYSTEM |  |  |  |  | 84496
| REMOTE MONORTING SYSTEM | Power AMR/Equivalent
76 | 4G based Plug and Play - RTU, Smart data logger with antenna to connect upto 4 inverters/ MFM/ Sensors on modbus RS485 RTU • modbus RS485 RTU- 1 port • 2 digital / analog ports ( 0 to 5 V) • 1 analog port (4 -20 m amp) • Built in memory help store and send data in case of network failure | E Track 4G Lite | 2 | NO'S | ₹ | 33136
77 | RS485 Communication SPD citel make (optional) | Citel -DLA-06-D3 | 2 | NO'S | ₹ | 4260
78 | Line SPD citel make (optional) | Citel- DS-240-320 | 2 | NO'S | ₹ | 6627
79 | IP67 enclosure box along with SMPS power supply, glands and fitment in one unit to house the data logge | Boxomatic/ ERD | 1 | NO'S | ₹ | 3550
80 | Access to Web portal- per MW per annum Data frequency – 10 minute Key Components • Interactive Dashboard • Single Line Diagram • PR analysis • Solar radiation & weather data • Graphs and Reports • Generation Analysis • Log Reporting • String/ MPPT Monitoring • Plant/ Inverter Performance • Superuser Dashboard for Centralized monitoring • Mobile app on android | PowerAMR | 1 | NO'S | ₹ | 15621
81 | Solar Radiation Sensor with mounting kit | Pyra300 | 1 | NO'S | ₹ | 15385
82 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN |  | RM | ₹ | -
83 | UPVC CONDUIT FOR CABLE 20 MM DIA | SUPREME |  | RM | ₹ | -
84 | 2C x 2.5 SQMM XLPE INSULATED FLEXIBLE CABLE with lugs | KEI/POLYCAB |  | RM | ₹ | -
85 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB |  | RM | ₹ | -
86 | Installation and Commissioning | KEI/POLYCAB | 1 | Job | ₹ | 5917
| CABLE TRAY |  |  |  |  | 109662
87 | 50X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 240 | METERS | ₹ | 88417
88 | 75X75X 1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED |  | METERS | ₹ | -
89 | 100X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | -
90 | 100X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 40 | METERS | ₹ | 21245
91 | 150X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | -
92 | 150X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | -
93 | 200X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | -
94 | 200X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | -
95 | 300X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | -
96 | 300X100X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | -
| LIGHTING PROTECTION |  |  |  |  | 43313
97 | ESE TYPE LA RADIUS 50 m | REPUTED |  | NO'S | ₹ | -
98 | ESE TYPE LA RADIUS 70 m | REPUTED |  | NO'S | ₹ | -
99 | ESE TYPE LA RADIUS 90 m | REPUTED |  | NO'S | ₹ | -
100 | ESE TYPE LA RADIUS 107 m | REPUTED | 1 | NO'S | ₹ | 31479
101 | 5 METER MAST | REPUTED | 1 | NO'S | ₹ | 5917
102 | LIGHTENING STRIKE COUNTER | REPUTED | 1 | NO'S | ₹ | 5917
| EARTHING |  |  |  |  | 185242
103 | EARTH ROD CONSISTING OF HIGH TENSILE LOW CARBON STEEL WITH ELECTROLYTIC GRADE 250ΜM COPPER COATING. ROD DIA 17.2MM | REPUTED | 16 | NO'S | ₹ | 30296
104 | EARTH ENHANCE COMPOUND | REPUTED | 16 | SET | ₹ | 9467
105 | EARTHING PIT CHAMBER PRE CAST | REPUTED | 16 | SET | ₹ | 9467
106 | 25X3 G.I STRIP GALVANISED | REPUTED | 1140 | METERS | ₹ | 74201
107 | 25X6 G.I STRIP GALVANISED | REPUTED | 500 | METERS | ₹ | 48521
108 | 50X3 G.I STRIP GALVANISED | REPUTED |  | METERS | ₹ | -
109 | 50X6 G.I STRIP GALVANISED | REPUTED |  | METERS | ₹ | -
110 | INSULATOR FOR GI STRIP | REPUTED | 740 | NO'S | ₹ | 8880
111 | M8 X 25 with nut & washer | REPUTED | 490 | NO'S | ₹ | 4410
C CLASS
| GLANDS |  |  |  |  | 23375
112 | 4CX16SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | -
113 | 4CX25 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 1633
114 | 4CX35 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | -
115 | 4CX50 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | -
116 | 4CX70 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 3518
117 | 4CX95SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 4214
118 | 4CX120 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | -
119 | 4CX150SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | -
120 | 4CX185SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 5585
121 | 4CX240SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 8425
122 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | -
123 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | -
124 | 4CX 400SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | -
| LUGS |  |  |  |  | 34026
125 | LUGS RING TYPE 4 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 1790 | NO'S | ₹ | 9638
126 | LUGS RING TYPE 4CX16 SQMM CU. RING TYPE LUGS | DOWEL/COMMET |  | NO'S | ₹ | -
127 | LUGS RING TYPE 1X25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 10 | NO'S | 26.3692 | 264
128 | LUGS RING TYPE 1X50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 10 | NO'S | 33.8462 | 340
129 | LUGS RING TYPE 4CX25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 422
130 | LUGS RING TYPE 4CX35 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | -
131 | LUGS RING TYPE 4CX50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | -
132 | LUGS RING TYPE 4CX70 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 299
133 | LUGS RING TYPE 4CX95 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 1493
134 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | -
135 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | -
136 | LUGS RING LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 3446
137 | LUGS RING LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 5415
138 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | -
139 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | -
140 | M4X20 with two plain waser and nut | DOWEL/COMMET | 1790 | NO'S | ₹ | 12709
| CONNECTORS |  |  |  |  | 17894
141 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (FEMALE) | MC/BIZILINK/SABULI/ELCOM | 180 | NO'S | ₹ | 8947
142 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (MALE) | MC/BIZILINK/SABULI/ELCOM | 180 | NO'S | ₹ | 8947
| CONDUIT |  |  |  |  | 68166
143 | G.I NILON COAT FLEXIBLE CONDUIT 32 MM DIA | SUPREME |  | METERS | ₹ | -
144 | HDPE | SUPREME |  | METERS | ₹ | -
145 | UPVC | SUPREME | 500 | METERS | ₹ | 11834
146 | UPVC | SUPREME | 800 | METERS | ₹ | 37870
147 | CLAMP | SUPREME | 1300 | Nos | ₹ | 18462
| PLUMBING SYSTEM FOR SOLAR PLANT |  |  |  |  | 127185
148 | uPVC PIPE 25MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 500 | METERS | ₹ | 69645
149 | uPVC PIPE 20MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 45 | METERS | ₹ | 4540
150 | uPVC ELBOW 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 12 | METERS | ₹ | 281
151 | uPVC END CAP 20MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 12 | METERS | ₹ | 148
152 | uPVC TEE 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 12 | METERS | ₹ | 375
153 | uPVC UNION 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 12 | METERS | ₹ | 609
154 | uPVC COUPLER 25 MM SCH40 | PRINCE/ASTRA/PLASTO/SUP REME | 12 | METERS | ₹ | 187
155 | REDUCING TEE 2X25XX20 SH40 | PRINCE/ASTRA/PLASTO/SUP REME | 12 | METERS | ₹ | 375
156 | HOSE FOR MODULE CLEANING WITH SPRAY GUN | PRINCE/ASTRA/PLASTO/SUP REME | 7 | METERS | ₹ | 706
157 | BALL VALVE 20MM BRASS | PRINCE/ASTRA/PLASTO/SUP REME | 12 | METERS | ₹ | 2390
158 | Telescopic Wiper | REPUTED | 1 | METERS | ₹ | 5917
159 | WATER TANK OF 1KL | REPUTED | 1 | METERS | ₹ | 11834
160 | WATER METER (0-100LPM) ANALOG TYPE | REPUTED | 3 | METERS | ₹ | 8876
161 | MONOBLOCK 1 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 3 | NO'S | ₹ | 21302
162 | MONOBLOCK 1.5 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 0 | NO'S | ₹ | -
| FIRE PROTECTION |  |  |  |  | 82248
163 | ABC FIRE PROTECTION 4.5 KG | REPUTED | 5 | NO'S | ₹ | 13609
164 | CO2 FIRE PROTECTION 4.5 KG | REPUTED | 5 | NO'S | ₹ | 29586
165 | FIRE SAND BUCKETS WITH 2 BUCKET EACH WITH STAND | REPUTED | 5 | NO'S | ₹ | 9467
166 | FIRST AID BOX AS PER BOCW ACT | REPUTED | 5 | NO'S | ₹ | 29586
| CABLE TIE |  |  |  |  | 16568
167 | CABLE TIE 100 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 40 | PACKET | ₹ | 7101
168 | CABLE TIE 200 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 40 | PACKET | ₹ | 9467
| SAFETY TAGS |  |  |  |  | 34617
169 | SHOCK TREATMENT CHART, SAFETY CHARTS | REPUTED | 5 | NO'S | ₹ | 2959
170 | DO'S & DON'TS CHARTS | REPUTED | 5 | NO'S | ₹ | 1775
171 | HEAT SHRINKABLE SLEEVE (AS PER CABLE SIZE COLUR) | REPUTED | 5 | NO'S | ₹ | 1775
172 | CAUTION DANGER BOARD | REPUTED | 5 | NO'S | ₹ | 2959
173 | RUBBER MAT FOR INVERTER & ACDB | REPUTED | 5 | NO'S | ₹ | 8876
174 | SOLAR CABLE FERULES WITH AL TAG | REPUTED | 5 | NO'S | ₹ | 2959
175 | AC CABLE FERULES WITH AL TAG | REPUTED | 5 | NO'S | ₹ | 2959
176 | INSULATION TAP | REPUTED | 5 | NO'S | ₹ | 296
177 | PLANT DISPLAY BOARD | REPUTED | 1 | NO'S | ₹ | 10059
| INSTALLATION WORK |  |  |  |  | 202959
178 | MS STAND FOR INVERTER MOUNTING | LOCAL | 5 | SET | ₹ | 17751
179 | MS STAND FOR ACDB MOUNTING | LOCAL | 3 | SET | ₹ | 10651
180 | ACCESS LADDER | LOCAL | 2 | SET | ₹ | 71006
181 | DOOR & LOCK REPAIR | LOCAL | 3 | SET | ₹ | 8876
182 | INV & ACDB CAGE | LOCAL | 8 | SET | ₹ | 94675
1,42,19,679
| INSTALLATION & COMMISSIONING |  |  |  |  | 2090091
1 | INSTALLATION & COMMISSIONING OF RCC ROOF |  | 502 | KWp | ₹ | 1356156
2 | M25 GRADE RCC FOUNDATION FOR RCC ROOF |  |  |  |  | -
3 | M25 GRADE RCC FOUNDATION FOR RCC ROOF (Raised structure) |  | 526 | NO'S | ₹ | 622485
4 | CIVIL FOR BLAST TYPE |  |  | NO'S | ₹ | -
5 | NitoBond |  | 65.75 | LTR | ₹ | 70030
6 | Other Services |  | 1 | Set | ₹ | 41420
| TOTAL OF I&C | [5 empty] | 2090091
| APPROVALS_LT SIDE |  |  |  |  | 706272
1 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (=<500 kWp)
2 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (500 - 900 kWp) |  | 502 | KWp |  | 264852
3 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (>=900 kWp)
4 | NET METERING- METER HARDWARE (<500 kWp)
5 | NET METERING- METER HARDWARE (500 - 900 kWp) |  | 502 | KWp |  | 441420
6 | NET METERING- METER HARDWARE (> 900 kWp) | [5 empty] | 706272
TOTAL OF APPROVAL
₹ 1,71,04,931
OPTIONAL ITEM
1 | Spreader / Modification charges in existing panel | REPUTED |  | NO'S | As per Actual Cost
2 | UPS 500 VA WITH 30 MINS BACKUP WITH BATTERY | REPUTED |  | NO'S | ₹ 2,604
3 | MFM SCHNIEDER EM6400 NG | REPUTED |  | NO'S | ₹ 8,796
4 | DG Synch Controller | REPUTED |  | NO'S | As per Actual Cost
5 | Any other Item as may be required by OMC |  |  | NO'S | As per Actual Cost
1 | Transportation