## Table 1
| ANNEXURE B3 - Balrampur Hospital, Lucknow Balrampur 693.1 |  | DC Solar Capacity (kWp) 693.1
S.NO | COMPONENTS | MAKE'S | Qty | UOM | Unit Rate | Amount
| MODULE | [5 empty] | 11098264
1 | MODULE-580 WP, N-TYPE BIFACIAL MODULE | PANASONIC/JAKSON | 1195 | NO'S | ₹ 9,287 | ₹ | 11098264
| INVERTER | [5 empty] | 1974187
2 | STRING INVERTER 20 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹ 99,775 | ₹ | 187356
3 | STRING INVERTER 25 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹1,03,038 | ₹ | -
4 | STRING INVERTER 30 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹1,31,502 | ₹ | -
5 | STRING INVERTER 40 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 4 | NO'S | ₹1,56,247 | ₹ | 624987
6 | STRING INVERTER 50 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹1,70,622 | ₹ | 170622
7 | STRING INVERTER 60 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹1,78,989 | ₹ | 178989
8 | STRING INVERTER 70 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹2,42,737 | ₹ | -
9 | STRING INVERTER 80 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹2,48,747 | ₹ | 497493
10 | STRING INVERTER 100 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹2,94,466 | ₹ | -
11 | STRING INVERTER 110 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹3,03,333 | ₹ | -
12 | STRING INVERTER 125 KW, 400V GRID CONNECTED | GROWATT/SOLIS | 1 | NO'S | ₹3,14,740 | ₹ | 314740
| STEEL STRUCTURE | [5 empty] | 3360764
13 | MS HDGI Module mounting structure Struture with minimum 80 micron coating | JAKSON/REPUTED | 30496 | KG | ₹ | ₹ | 3049640
14 | J BOLT | JAKSON/REPUTED | 0 | No | ₹ | ₹ | -
15 | J BOLT/Anchor | JAKSON/REPUTED | 2390 | No | ₹ | ₹ | 311124
16 | Blast Type Structure | JAKSON/REPUTED |  | Wp | ₹ | ₹ | -
| FASTNERS | [5 empty] | 256447
17 | Fastners, Washers & Others | REPUTED | 693 | KWp | ₹ | ₹ | 256447
BOS
| DC CABLE | [5 empty] | 464565
18 | CABLE 1CX4 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 10755 | METERS | ₹ | ₹ | 464565
19 | CABLE 1CX 6 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 0 | METERS | ₹ | ₹ | -
| AC CABLE COPPER FRLS | [5 empty] | 21249
20 | 2C x 2.5 SQMM XLPE INSULATED FLEXIABLE CABLE | KEI/POLYCAB | 300 | METERS | ₹ | ₹ | 21249
| AC CABLE ALUMINIUM FRLS OUTER SHEATH | [5 empty] | 294118
21 | 3.5C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
22 | 3.5C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 200 | METERS | ₹ | ₹ | 47805
23 | 3.5C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 110 | METERS | ₹ | ₹ | 35593
24 | 3.5C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 250 | METERS | ₹ | ₹ | 108989
25 | 3.5C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
26 | 3.5C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 115 | METERS | ₹ | ₹ | 78423
27 | 3.5C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
28 | 3.5C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
29 | 3.5C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
30 | 3.5C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
31 | 3.5C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
32 | 4C x 16SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 145 | METERS | ₹ | ₹ | 23308
33 | 4C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
34 | 4 C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
35 | 4C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
36 | 4C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
37 | 4C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
38 | 4C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
39 | 4C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
40 | 4C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
41 | 4C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
42 | 4C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
43 | 4C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
| EARTHING CABLE | [5 empty] | 58017
44 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB | 460 | METERS | ₹ | ₹ | 20240
45 | 1C x 6 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
46 | 1C x 25 SQMM CU PVC INSULATED | KEI/POLYCAB | 10 | METERS | ₹ | ₹ | 3570
47 | 1C x 35 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
48 | 1C x 50 SQMM CU PVC INSULATED | KEI/POLYCAB | 50 | METERS | ₹ | ₹ | 34207
49 | 1C x 70 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
| COMMUNICATION CABLE | [5 empty] | 149112
50 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN | 900 | METERS | ₹ | ₹ | 149112
| PANEL | [5 empty] | 914437
51 | ACDB PANEL 20 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 2 | NO'S | ₹ | ₹ | 140828
52 | ACDB PANEL 25 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
53 | ACDB PANEL 30 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
54 | ACDB PANEL 40 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 4 | NO'S | ₹ | ₹ | 281657
55 | ACDB PANEL 50 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
56 | ACDB PANEL 60 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | ₹ | 76923
57 | ENERGY METER( Premier 300, Class 0.5) | REPUTED |  | NO'S | ₹ | ₹ | -
58 | ACDB PANEL 80 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 2 | NO'S | ₹ | ₹ | 159763
59 | ACDB PANEL 100 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
60 | ACDB PANEL 110 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
61 | ACDB PANEL 125 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | ₹ | 89586
62 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,70,296 | ₹ | -
63 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,70,296 | ₹ | -
64 | ACDB PANEL 120 KW (40+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,46,982 | ₹ | -
65 | ACDB PANEL 120 KW (30+60) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,46,982 | ₹ | -
66 | ACDB PANEL 110 KW (60+50) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,46,982 | ₹ | -
67 | ACDB PANEL 140 KW (60+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹1,65,680 | ₹ | 165680
68 | ACDB PANEL 150 KW (70+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,67,811 | ₹ | -
69 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | ₹ | -
70 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | ₹ | -
71 | ACDB PANEL 225 KW (125+50+80) 415 V (3 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | ₹ | -
72 | ACDB PANEL 220 KW (50+50+80+40) 415 V (4 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | ₹ | -
73 | ACDB PANEL 80 KW (40+40) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,27,101 | ₹ | -
74 | ACDB PANEL 80 KW (40+40) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,27,101 | ₹ | -
75 | ACDB PANEL 285 KW (100+50+40+25+70+80) 415 V (5 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | 3,82,959 | ₹ | -
76 | ENERGY METER( Premier 300, Class 0.5) | REPUTED |  | NO'S | ₹ | ₹ | -
77 | ACDB PANEL 4 in 1 out (50+50+100+40)KW | REPUTED |  | NO'S | ₹2,18,935 | ₹ | -
| REMOTE MONORTING SYSTEM | [5 empty] | 84496
| REMOTE MONORTING SYSTEM | Power AMR/Equivalent
76 | 4G based Plug and Play - RTU, Smart data logger with antenna to connect upto 4 inverters/ MFM/ Sensors on modbus RS485 RTU • modbus RS485 RTU- 1 port • 2 digital / analog ports ( 0 to 5 V) • 1 analog port (4 -20 m amp) • Built in memory help store and send data in case of network failure | E Track 4G Lite | 2 | NO'S | ₹ | ₹ | 33136
77 | RS485 Communication SPD citel make (optional) | Citel -DLA-06-D3 | 2 | NO'S | ₹ | ₹ | 4260
78 | Line SPD citel make (optional) | Citel- DS-240-320 | 2 | NO'S | ₹ | ₹ | 6627
79 | IP67 enclosure box along with SMPS power supply, glands and fitment in one unit to house the data logge | Boxomatic/ ERD | 1 | NO'S | ₹ | ₹ | 3550
80 | Access to Web portal- per MW per annum Data frequency – 10 minute Key Components • Interactive Dashboard • Single Line Diagram • PR analysis • Solar radiation & weather data • Graphs and Reports • Generation Analysis • Log Reporting • String/ MPPT Monitoring • Plant/ Inverter Performance • Superuser Dashboard for Centralized monitoring • Mobile app on android | PowerAMR | 1 | NO'S | ₹ | ₹ | 15621
81 | Solar Radiation Sensor with mounting kit | Pyra300 | 1 | NO'S | ₹ | ₹ | 15385
82 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN |  | RM | ₹ | ₹ | -
83 | UPVC CONDUIT FOR CABLE 20 MM DIA | SUPREME |  | RM | ₹ | ₹ | -
84 | 2C x 2.5 SQMM XLPE INSULATED FLEXIBLE CABLE with lugs | KEI/POLYCAB |  | RM | ₹ | ₹ | -
85 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB |  | RM | ₹ | ₹ | -
86 | Installation and Commissioning | KEI/POLYCAB | 1 | Job | ₹ | ₹ | 5917
| CABLE TRAY | [5 empty] | 331562
87 | 50X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 900 | METERS | ₹ | ₹ | 331562
88 | 75X75X 1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
89 | 100X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
90 | 100X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
91 | 150X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
92 | 150X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
93 | 200X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
94 | 200X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
95 | 300X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
96 | 300X100X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
| LIGHTING PROTECTION | [5 empty] | 86627
97 | ESE TYPE LA RADIUS 50 m | REPUTED |  | NO'S | ₹ | ₹ | -
98 | ESE TYPE LA RADIUS 70 m | REPUTED |  | NO'S | ₹ | ₹ | -
99 | ESE TYPE LA RADIUS 90 m | REPUTED |  | NO'S | ₹ | ₹ | -
100 | ESE TYPE LA RADIUS 107 m | REPUTED | 2 | NO'S | ₹ | ₹ | 62959
101 | 5 METER MAST | REPUTED | 2 | NO'S | ₹ | ₹ | 11834
102 | LIGHTENING STRIKE COUNTER | REPUTED | 2 | NO'S | ₹ | ₹ | 11834
| EARTHING | [5 empty] | 363374
103 | EARTH ROD CONSISTING OF HIGH TENSILE LOW CARBON STEEL WITH ELECTROLYTIC GRADE 250ΜM COPPER COATING. ROD DIA 17.2MM | REPUTED | 38 | NO'S | ₹ | ₹ | 71953
104 | EARTH ENHANCE COMPOUND | REPUTED | 38 | SET | ₹ | ₹ | 22485
105 | EARTHING PIT CHAMBER PRE CAST | REPUTED | 38 | SET | ₹ | ₹ | 22485
106 | 25X3 G.I STRIP GALVANISED | REPUTED | 1360 | METERS | ₹ | ₹ | 88521
107 | 25X6 G.I STRIP GALVANISED | REPUTED | 1470 | METERS | ₹ | ₹ | 142651
108 | 50X3 G.I STRIP GALVANISED | REPUTED | 0 | METERS | ₹ | ₹ | -
109 | 50X6 G.I STRIP GALVANISED | REPUTED | 0 | METERS | ₹ | ₹ | -
110 | INSULATOR FOR GI STRIP | REPUTED | 566 | NO'S | ₹ | ₹ | 6792
111 | M8 X 25 with nut & washer | REPUTED | 943 | NO'S | ₹ | ₹ | 8487
C CLASS
| GLANDS | [5 empty] | 28515
112 | 4CX16SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 3266
113 | 4CX25 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | ₹ | -
114 | 4CX35 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 3962
115 | 4CX50 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 5822
116 | 4CX70 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 7037
117 | 4CX95SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | ₹ | -
118 | 4CX120 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 8428
119 | 4CX150SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
120 | 4CX185SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | ₹ | -
121 | 4CX240SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | ₹ | -
122 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
123 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | ₹ | -
124 | 4CX 400SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
| LUGS | [5 empty] | 42489
125 | LUGS RING TYPE 4 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 2703 | NO'S | ₹ | ₹ | 14555
126 | LUGS RING TYPE 4CX16 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | ₹ | 615
127 | LUGS RING TYPE 1X25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 9 | NO'S | ₹ | ₹ | 237
128 | LUGS RING TYPE 1X50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 12 | NO'S | ₹ | ₹ | 408
129 | LUGS RING TYPE 4CX25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
130 | LUGS RING TYPE 4CX35 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | ₹ | 1014
131 | LUGS RING TYPE 4CX50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | ₹ | 1527
132 | LUGS RING TYPE 4CX70 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | ₹ | 599
133 | LUGS RING TYPE 4CX95 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
134 | LUGS RING LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | ₹ | 4343
135 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
136 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
137 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
138 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
139 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
140 | M4X20 with two plain waser and nut | DOWEL/COMMET | 2703 | NO'S | ₹ | ₹ | 19191
| CONNECTORS | [5 empty] | 28828
141 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (FEMALE) | MC/BIZILINK/SABULI/ELCOM | 290 | NO'S | ₹ | ₹ | 14414
142 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (MALE) | MC/BIZILINK/SABULI/ELCOM | 290 | NO'S | ₹ | ₹ | 14414
| CONDUIT | [5 empty] | 94414
143 | G.I NILON COAT FLEXIBLE CONDUIT 32 MM DIA | SUPREME | 0 | METERS | ₹ | ₹ | -
144 | HDPE | SUPREME | 0 | METERS | ₹ | ₹ | -
145 | UPVC | SUPREME | 500 | METERS | ₹ | ₹ | 11834
146 | UPVC | SUPREME | 1260 | METERS | ₹ | ₹ | 59645
147 | CLAMP | SUPREME | 1615 | Nos | ₹ | ₹ | 22935
| PLUMBING SYSTEM FOR SOLAR PLANT | [5 empty] | 264961
148 | uPVC PIPE 25MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 580 | METERS | ₹ | ₹ | 80788
149 | uPVC PIPE 20MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 180 | METERS | ₹ | ₹ | 18160
150 | uPVC ELBOW 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 703
151 | uPVC END CAP 20MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 371
152 | uPVC TEE 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 937
153 | uPVC UNION 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 1523
154 | uPVC COUPLER 25 MM SCH40 | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 469
155 | REDUCING TEE 2X25XX20 SH40 | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 937
156 | HOSE FOR MODULE CLEANING WITH SPRAY GUN | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 3027
157 | BALL VALVE 20MM BRASS | PRINCE/ASTRA/PLASTO/SUP REME | 30 | METERS | ₹ | ₹ | 5975
158 | Telescopic Wiper | REPUTED | 5 | METERS | ₹ | ₹ | 29586
159 | WATER TANK OF 1KL | REPUTED | 1 | METERS | ₹ | ₹ | 11834
160 | WATER METER (0-100LPM) ANALOG TYPE | REPUTED | 11 | METERS | ₹ | ₹ | 32544
161 | MONOBLOCK 1 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 11 | NO'S | ₹ | ₹ | 78107
162 | MONOBLOCK 1.5 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 0 | NO'S | ₹ | ₹ | -
| FIRE PROTECTION | [5 empty] | 175030
163 | ABC FIRE PROTECTION 4.5 KG | REPUTED | 11 | NO'S | ₹ | ₹ | 29941
164 | CO2 FIRE PROTECTION 4.5 KG | REPUTED | 11 | NO'S | ₹ | ₹ | 65089
165 | FIRE SAND BUCKETS WITH 2 BUCKET EACH WITH STAND | REPUTED | 11 | NO'S | ₹ | ₹ | 20828
166 | FIRST AID BOX AS PER BOCW ACT | REPUTED | 10 | NO'S | ₹ | ₹ | 59172
| CABLE TIE | [5 empty] | 24852
167 | CABLE TIE 100 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 60 | PACKET | ₹ | ₹ | 10651
168 | CABLE TIE 200 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 60 | PACKET | ₹ | ₹ | 14201
| SAFETY TAGS | [5 empty] | 64083
169 | SHOCK TREATMENT CHART, SAFETY CHARTS | REPUTED | 11 | NO'S | ₹ | ₹ | 6509
170 | DO'S & DON'TS CHARTS | REPUTED | 11 | NO'S | ₹ | ₹ | 3905
171 | HEAT SHRINKABLE SLEEVE (AS PER CABLE SIZE COLUR) | REPUTED | 11 | NO'S | ₹ | ₹ | 3905
172 | CAUTION DANGER BOARD | REPUTED | 11 | NO'S | ₹ | ₹ | 6509
173 | RUBBER MAT FOR INVERTER & ACDB | REPUTED | 11 | NO'S | ₹ | ₹ | 19527
174 | SOLAR CABLE FERULES WITH AL TAG | REPUTED | 11 | NO'S | ₹ | ₹ | 6509
175 | AC CABLE FERULES WITH AL TAG | REPUTED | 11 | NO'S | ₹ | ₹ | 6509
176 | INSULATION TAP | REPUTED | 11 | NO'S | ₹ | ₹ | 651
177 | PLANT DISPLAY BOARD | REPUTED | 1 | NO'S | ₹ | ₹ | 10059
| INSTALLATION WORK | [5 empty] | 418343
178 | MS STAND FOR INVERTER MOUNTING | LOCAL | 11 | SET | ₹ | ₹ | 39053
179 | MS STAND FOR ACDB MOUNTING | LOCAL | 11 | SET | ₹ | ₹ | 39053
180 | ACCESS LADDER | LOCAL | 2 | SET | ₹ | ₹ | 71006
181 | DOOR & LOCK REPAIR | LOCAL | 3 | SET | ₹ | ₹ | 8876
182 | INV & ACDB CAGE | LOCAL | 22 | SET | ₹ | ₹ | 260355
[8 empty] | ₹ | 20598739
| INSTALLATION & COMMISSIONING | [5 empty] | 3104275
1 | INSTALLATION & COMMISSIONING OF RCC ROOF |  | 693 | KWp | ₹ | ₹ | 1871370
2 | M25 GRADE RCC FOUNDATION FOR RCC ROOF |  |  |  | ₹ | ₹ | -
3 | M25 GRADE RCC FOUNDATION FOR RCC ROOF (Raised structure) |  | 826 | NO'S | ₹ | ₹ | 977515
4 | CIVIL FOR BLAST TYPE |  | 80 | NO'S | ₹ | ₹ | 104000
5 | NitoBond |  | 103 | LTR | ₹ | ₹ | 109970
6 | Other Services |  | 1 | LTR | ₹ | ₹ | 41420
| TOTAL OF I&C | [6 empty] | ₹ | 3104275
| APPROVALS_LT SIDE | [5 empty] | 706272
1 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (=<500 kWp)
2 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (500 - 900 kWp) |  | 693 | KWp |  | ₹ | 264852
3 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (>=900 kWp)
4 | NET METERING- METER HARDWARE (<500 kWp)
5 | NET METERING- METER HARDWARE (500 - 900 kWp) |  | 693 | KWp |  | ₹ | 441420
6 | NET METERING- METER HARDWARE (> 900 kWp)
| TOTAL OF APPROVAL | [6 empty] | ₹ | 706272
OPTIONAL ITEM
1 | Spreader / Modification charges in existing panel | REPUTED |  | NO'S | As per Actual Cost
2 | UPS 500 VA WITH 30 MINS BACKUP WITH BATTERY | REPUTED |  | NO'S | ₹ 2,604
3 | MFM SCHNIEDER EM6400 NG | REPUTED |  | NO'S | ₹ 8,796
4 | DG Synch Controller | REPUTED |  | NO'S | As per Actual Cost
5 | Any other Item as may be required by OMC |  |  | NO'S | As per Actual Cost
1 | Transportation |  |  |  |  | 200000
₹ 2,46,09,286