## Table 1
| ANNEXURE B3 - District Hospital, Basti Basti 328.28 |  | DC Solar Capacity (kWp) 328.28
S.NO | COMPONENTS | MAKE'S | Qty | UOM | Unit Rate
| MODULE | [5 empty] | 5256584
1 | MODULE-580 WP, N-TYPE BIFACIAL MODULE | PANASONIC/JAKSON | 566 | NO'S | ₹ | 9287 | 5256584
| INVERTER | [5 empty] | 933593
2 | STRING INVERTER 20 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 99775 | -
3 | STRING INVERTER 25 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,03,038 | -
4 | STRING INVERTER 30 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,31,502 | -
5 | STRING INVERTER 40 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 1,56,247 | -
6 | STRING INVERTER 50 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 3 | NO'S | ₹ | 1,70,622 | 511867
7 | STRING INVERTER 60 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹ | 1,78,989 | 178989
8 | STRING INVERTER 70 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹ | 2,42,737 | 242737
9 | STRING INVERTER 80 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 2,48,747 | -
10 | STRING INVERTER 100 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 2,94,466 | -
11 | STRING INVERTER 110 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ | 3,03,333 | -
12 | STRING INVERTER 125 KW, 400V GRID CONNECTED | GROWATT/SOLIS |  | NO'S | ₹ | 3,14,740 | -
| STEEL STRUCTURE | [5 empty] | 891450
13 | MS HDGI Module mounting structure Struture with minimum 80 micron coating for 500 mm clearance. | JAKSON/REPUTED | 8043 | KG | ₹ | 100 | 804286
14 | J BOLT | JAKSON/REPUTED | 1132 | No | ₹ | 77 | 87164
15 | J BOLT/Anchor | JAKSON/REPUTED | 0 | No | ₹ | 130 | -
16 | Blast Type Structure | JAKSON/REPUTED | 0 | KG | ₹ | 3550 | -
| FASTNERS | [5 empty] | 121464
17 | Fastners, Washers & Others (Anti-theft bolt) | REPUTED | 328 | KWp | ₹ | 370 | 121464
BOS
| DC CABLE | [5 empty] | 220037
18 | CABLE 1CX4 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 5094 | METERS | ₹ | 43 | 220037
19 | CABLE 1CX 6 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 0 | METERS | ₹ | 69 | -
| AC CABLE COPPER FRLS | [5 empty] | 21249
20 | 2C x 2.5 SQMM XLPE INSULATED FLEXIABLE CABLE | KEI/POLYCAB | 300 | METERS | ₹ | 71 | 21249
| AC CABLE ALUMINIUM FRLS OUTER SHEATH | [5 empty] | 89806
21 | 3.5C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 189 | -
22 | 3.5C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 120 | METERS | ₹ | 239 | 28683
23 | 3.5C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 130 | METERS | ₹ | 324 | 42065
24 | 3.5C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 436 | -
25 | 3.5C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 35 | METERS | ₹ | 545 | 19058
26 | 3.5C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 682 | -
27 | 3.5C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 808 | -
28 | 3.5C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1023 | -
29 | 3.5C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1285 | -
30 | 3.5C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1581 | -
31 | 3.5C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 2020 | -
32 | 4C x 16SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 161 | -
33 | 4C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 202 | -
34 | 4 C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 272 | -
35 | 4C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 364 | -
36 | 4C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 494 | -
37 | 4C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 617 | -
38 | 4C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 752 | -
39 | 4C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 924 | -
40 | 4C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1137 | -
41 | 4C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1468 | -
42 | 4C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 1810 | -
43 | 4C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | 2327 | -
| EARTHING CABLE | [5 empty] | 66581
44 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB | 418 | METERS | ₹ | 43.61 | 18392
45 | 1C x 6 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | 65 | -
46 | 1C x 25 SQMM CU PVC INSULATED | KEI/POLYCAB | 20 | METERS | ₹ | 357 | 7141
47 | 1C x 35 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | 490 | -
48 | 1C x 50 SQMM CU PVC INSULATED | KEI/POLYCAB | 60 | METERS | ₹ | 684 | 41048
49 | 1C x 70 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | 940 | -
| COMMUNICATION CABLE | [5 empty] | 66272
50 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN | 400 | METERS | ₹ | 166 | 66272
| PANEL | [5 empty] | 367692
51 | ACDB PANEL 20 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 70414 | -
52 | ACDB PANEL 25 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 70414 | -
53 | ACDB PANEL 30 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 70414 | -
54 | ACDB PANEL 40 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 70414 | -
55 | ACDB PANEL 50 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 2 | NO'S | ₹ | 59172 | 140828
56 | ACDB PANEL 60 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 76923 | -
57 | ACDB PANEL 70 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | 79882 | 79882
58 | ACDB PANEL 80 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 79882 | -
59 | ACDB PANEL 100 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 86509 | -
60 | ACDB PANEL 110 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 89586 | -
61 | ACDB PANEL 125 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 89586 | -
62 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,70,296 | -
63 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,70,296 | -
64 | ACDB PANEL 120 KW (40+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,46,982 | -
65 | ACDB PANEL 120 KW (30+60) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,46,982 | -
66 | ACDB PANEL 110 KW (60+50) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | 1,46,982 | 146982
67 | ACDB PANEL 140 KW (60+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,65,680 | -
68 | ACDB PANEL 150 KW (70+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,67,811 | -
69 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | -
70 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | -
71 | ACDB PANEL 225 KW (125+50+80) 415 V (3 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | -
72 | ACDB PANEL 220 KW (50+50+80+40) 415 V (4 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 2,17,278 | -
73 | ACDB PANEL 80 KW (40+40) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,27,101 | -
74 | ACDB PANEL 80 KW (40+40) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | 1,27,101 | -
75 | ACDB PANEL 285 KW (100+50+40+25+70+80) 415 V (5 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | 3,82,959 |  | -
76 | ENERGY METER( Premier 300, Class 0.5) | REPUTED |  | NO'S | ₹ | 29586 | -
77 | ACDB PANEL 4 in 1 out (50+50+100+40)KW | REPUTED |  | NO'S | ₹ | 2,18,935 | -
| REMOTE MONORTING SYSTEM | [5 empty] | 84496
| REMOTE MONORTING SYSTEM | Power AMR/Equivalent
76 | 4G based Plug and Play - RTU, Smart data logger with antenna to connect upto 4 inverters/ MFM/ Sensors on modbus RS485 RTU • modbus RS485 RTU- 1 port • 2 digital / analog ports ( 0 to 5 V) • 1 analog port (4 -20 m amp) • Built in memory help store and send data in case of network failure | E Track 4G Lite | 2 | NO'S | ₹ | 16568 | 33136
77 | RS485 Communication SPD citel make (optional) | Citel -DLA-06-D3 | 2 | NO'S | ₹ | 2130 | 4260
78 | Line SPD citel make (optional) | Citel- DS-240-320 | 2 | NO'S | ₹ | 3314 | 6627
79 | IP67 enclosure box along with SMPS power supply, glands and fitment in one unit to house the data logge | Boxomatic/ ERD | 1 | NO'S | ₹ | 3550 | 3550
80 | Access to Web portal- per MW per annum Data frequency – 10 minute Key Components • Interactive Dashboard • Single Line Diagram • PR analysis • Solar radiation & weather data • Graphs and Reports • Generation Analysis • Log Reporting • String/ MPPT Monitoring • Plant/ Inverter Performance • Superuser Dashboard for Centralized monitoring • Mobile app on android | PowerAMR | 1 | NO'S | ₹ | 15621 | 15621
81 | Solar Radiation Sensor with mounting kit | Pyra300 | 1 | NO'S | ₹ | 15385 | 15385
82 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN |  | RM | ₹ | 185 | -
83 | UPVC CONDUIT FOR CABLE 20 MM DIA | SUPREME |  | RM | ₹ | 112 | -
84 | 2C x 2.5 SQMM XLPE INSULATED FLEXIBLE CABLE with lugs | KEI/POLYCAB |  | RM | ₹ | 41 | -
85 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB |  | RM | ₹ | 21 | -
86 | Installation and Commissioning | KEI/POLYCAB | 1 | Job | ₹ | 5917 | 5917
| CABLE TRAY | [5 empty] | 174113
87 | 50X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 250 | METERS | ₹ | 368 | 92101
88 | 75X75X 1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 150 | METERS | ₹ | 547 | 82012
89 | 100X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED |  | METERS | ₹ | 449 | -
90 | 100X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | 531 | -
91 | 150X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | 592 | -
92 | 150X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | 687 | -
93 | 200X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | 736 | -
94 | 200X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | 950 | -
95 | 300X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | 1287 | -
96 | 300X100X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | 1390 | -
| LIGHTING PROTECTION | [5 empty] | 86627
97 | ESE TYPE LA RADIUS 50 m | REPUTED |  | NO'S | ₹ | 29231 | -
98 | ESE TYPE LA RADIUS 70 m | REPUTED |  | NO'S | ₹ | 29793 | -
99 | ESE TYPE LA RADIUS 90 m | REPUTED |  | NO'S | ₹ | 30355 | -
100 | ESE TYPE LA RADIUS 107 m | REPUTED | 2 | NO'S | ₹ | 31479 | 62959
101 | 5 METER MAST | REPUTED | 2 | NO'S | ₹ | 5917 | 11834
102 | LIGHTENING STRIKE COUNTER | REPUTED | 2 | NO'S | ₹ | 5917 | 11834
| EARTHING | [5 empty] | 201800
103 | EARTH ROD CONSISTING OF HIGH TENSILE LOW CARBON STEEL WITH ELECTROLYTIC GRADE 250ΜM COPPER COATING. ROD DIA 17.2MM | REPUTED | 24 | NO'S | ₹ | 1893 | 45444
104 | EARTH ENHANCE COMPOUND | REPUTED | 24 | SET | ₹ | 592 | 14201
105 | EARTHING PIT CHAMBER PRE CAST | REPUTED | 24 | SET | ₹ | 592 | 14201
106 | 25X3 G.I STRIP GALVANISED | REPUTED | 870 | METERS | ₹ | 65 | 56627
107 | 25X6 G.I STRIP GALVANISED | REPUTED | 650 | METERS | ₹ | 97 | 63077
108 | 50X3 G.I STRIP GALVANISED | REPUTED |  | METERS | ₹ | 97 | -
109 | 50X6 G.I STRIP GALVANISED | REPUTED |  | METERS | ₹ | 260 | -
110 | INSULATOR FOR GI STRIP | REPUTED | 320 | NO'S | ₹ | 12 | 3840
111 | M8 X 25 with nut & washer | REPUTED | 490 | NO'S | ₹ | 9 | 4410
C CLASS
| GLANDS | [5 empty] | 23268
112 | 4CX16SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 408 | -
113 | 4CX25 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 408 | -
114 | 4CX35 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | 495 | 1981
115 | 4CX50 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | 728 | 5822
116 | 4CX70 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | 880 | 7037
117 | 4CX95SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | 1054 | 8428
118 | 4CX120 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 1054 | -
119 | 4CX150SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 1243 | -
120 | 4CX185SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 1396 | -
121 | 4CX240SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 2106 | -
122 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 2446 | -
123 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | 2446 | -
124 | 4CX 400SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | 2663 | -
| LUGS | [5 empty] | 21536
125 | LUGS RING TYPE 4 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 1200 | NO'S | ₹ | 5.4 | 6462
126 | LUGS RING TYPE 4CX16 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 19 | -
127 | LUGS RING TYPE 1X25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 20 | NO'S | ₹ | 26 | 527
128 | LUGS RING TYPE 1X50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 12 | NO'S | ₹ | 34 | 408
129 | LUGS RING TYPE 4CX25 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 26 | -
130 | LUGS RING TYPE 4CX35 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | 32 | 507
131 | LUGS RING TYPE 4CX50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | 48 | 1527
132 | LUGS RING TYPE 4CX70 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | 19 | 599
133 | LUGS RING TYPE 4CX95 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | 93 | 2986
134 | LUGS RING LUGS | DOWEL/COMMET |  | NO'S | ₹ | 136 | -
135 | LUGS RING LUGS | DOWEL/COMMET |  | NO'S | ₹ | 170 | -
136 | LUGS RING LUGS | DOWEL/COMMET |  | NO'S | ₹ | 215 | -
137 | LUGS RING LUGS | DOWEL/COMMET |  | NO'S | ₹ | 338 | -
138 | LUGS RING LUGS | DOWEL/COMMET |  | NO'S | ₹ | 431 | -
139 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | 500 | -
140 | M4X20 with two plain waser and nut | DOWEL/COMMET | 1200 | NO'S | ₹ | 9 | 8520
| CONNECTORS | [5 empty] | 14912
141 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (FEMALE) | MC/BIZILINK/SABULI/ELCOM | 150 | NO'S | ₹ | 50 | 7456
142 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (MALE) | MC/BIZILINK/SABULI/ELCOM | 150 | NO'S | ₹ | 50 | 7456
| CONDUIT | [5 empty] | 42410
143 | G.I NILON COAT FLEXIBLE CONDUIT 32 MM DIA | SUPREME |  | METERS | ₹ | 36 | -
144 | HDPE | SUPREME |  | METERS | ₹ | 30 | -
145 | UPVC | SUPREME | 300 | METERS | ₹ | 112 | 7101
146 | UPVC | SUPREME | 550 | METERS | ₹ | 47 | 26036
147 | CLAMP | SUPREME | 653 | Nos | ₹ | 14 | 9273
| PLUMBING SYSTEM FOR SOLAR PLANT | [5 empty] | 139575
148 | uPVC PIPE 25MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 350 | METERS | ₹ | 139 | 48751
149 | uPVC PIPE 20MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 90 | METERS | ₹ | 101 | 9080
150 | uPVC ELBOW 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 20 | METERS | ₹ | 23 | 469
151 | uPVC END CAP 20MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 20 | METERS | ₹ | 12 | 247
152 | uPVC TEE 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 20 | METERS | ₹ | 31 | 625
153 | uPVC UNION 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 20 | METERS | ₹ | 51 | 1015
154 | uPVC COUPLER 25 MM SCH40 | PRINCE/ASTRA/PLASTO/SUP REME | 20 | METERS | ₹ | 16 | 312
155 | REDUCING TEE 2X25XX20 SH40 | PRINCE/ASTRA/PLASTO/SUP REME | 20 | METERS | ₹ | 31 | 625
156 | HOSE FOR MODULE CLEANING WITH SPRAY GUN | PRINCE/ASTRA/PLASTO/SUP REME | 5 | METERS | ₹ | 101 | 504
157 | BALL VALVE 20MM BRASS | PRINCE/ASTRA/PLASTO/SUP REME | 20 | METERS | ₹ | 199 | 3983
158 | Telescopic Wiper | REPUTED | 2 | METERS | ₹ | 5917 | 11834
159 | WATER TANK OF 1KL | REPUTED | 1 | METERS | ₹ | 11834 | 11834
160 | WATER METER (0-100LPM) ANALOG TYPE | REPUTED | 5 | METERS | ₹ | 2959 | 14793
161 | MONOBLOCK 1 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 5 | NO'S | ₹ | 7101 | 35503
162 | MONOBLOCK 1.5 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 0 | NO'S | ₹ | 10059 | -
| FIRE PROTECTION | [5 empty] | 82248
163 | ABC FIRE PROTECTION 4.5 KG | REPUTED | 5 | NO'S | ₹ | 2722 | 13609
164 | CO2 FIRE PROTECTION 4.5 KG | REPUTED | 5 | NO'S | ₹ | 5917 | 29586
165 | FIRE SAND BUCKETS WITH 2 BUCKET EACH WITH STAND | REPUTED | 5 | NO'S | ₹ | 1893 | 9467
166 | FIRST AID BOX AS PER BOCW ACT | REPUTED | 5 | NO'S | ₹ | 5917 | 29586
| CABLE TIE | [5 empty] | 10355
167 | CABLE TIE 100 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 25 | PACKET | ₹ | 178 | 4438
168 | CABLE TIE 200 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 25 | PACKET | ₹ | 237 | 5917
| SAFETY TAGS | [5 empty] | 34617
169 | SHOCK TREATMENT CHART, SAFETY CHARTS | REPUTED | 5 | NO'S | ₹ | 592 | 2959
170 | DO'S & DON'TS CHARTS | REPUTED | 5 | NO'S | ₹ | 355 | 1775
171 | HEAT SHRINKABLE SLEEVE (AS PER CABLE SIZE COLUR) | REPUTED | 5 | NO'S | ₹ | 355 | 1775
172 | CAUTION DANGER BOARD | REPUTED | 5 | NO'S | ₹ | 592 | 2959
173 | RUBBER MAT FOR INVERTER & ACDB | REPUTED | 5 | NO'S | ₹ | 1775 | 8876
174 | SOLAR CABLE FERULES WITH AL TAG | REPUTED | 5 | NO'S | ₹ | 592 | 2959
175 | AC CABLE FERULES WITH AL TAG | REPUTED | 5 | NO'S | ₹ | 592 | 2959
176 | INSULATION TAP | REPUTED | 5 | NO'S | ₹ | 59 | 296
177 | PLANT DISPLAY BOARD | REPUTED | 1 | NO'S | ₹ | 10059 | 10059
| INSTALLATION WORK | [5 empty] | 239644
178 | MS STAND FOR INVERTER MOUNTING | LOCAL | 5 | SET | ₹ | 3550 | 17751
179 | MS STAND FOR ACDB MOUNTING | LOCAL | 5 | SET | ₹ | 3550 | 17751
180 | ACCESS LADDER | LOCAL | 2 | SET | ₹ | 35503 | 71006
181 | DOOR & LOCK REPAIR | LOCAL | 5 | SET | ₹ | 2959 | 14793
182 | INV & ACDB CAGE | LOCAL | 10 | SET | ₹ | 11834 | 118343
9190329
| INSTALLATION & COMMISSIONING | [5 empty] | 1289107
1 | INSTALLATION & COMMISSIONING OF RCC ROOF |  | 328 | KWp | ₹ | 2700 | 886356
2 | M25 GRADE RCC FOUNDATION FOR RCC ROOF |  | 354 | NO'S | ₹ | 888 | 314201
3
4 | CIVIL FOR BLAST TYPE |  | - | NO'S | ₹ | 1300 | -
5 | NitoBond |  | 44.25 | LTR | ₹ | 1065 | 47130
6 | Other Services |  | 1 | LTR | ₹ | 41420 | 41420
| TOTAL OF I&C | [6 empty] | 1289107
| APPROVALS_LT SIDE | [5 empty] | 473373
1 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (=<500 kWp) |  | 328 | KWp |  |  | 177515
2 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (500 - 900 kWp)
3 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (>=900 kWp)
4 | NET METERING- METER HARDWARE (<500 kWp) |  | 328 | KWp |  |  | 295858
5 | NET METERING- METER HARDWARE (500 - 900 kWp)
6 | NET METERING- METER HARDWARE (> 900 kWp)
| TOTAL OF APPROVAL | [6 empty] | 473373
OPTIONAL ITEM
1 | Spreader / Modification charges in existing panel | REPUTED |  | NO'S | As per Actual Cost
2 | UPS 500 VA WITH 30 MINS BACKUP WITH BATTERY | REPUTED |  | NO'S | ₹ 2,604
3 | MFM SCHNIEDER EM6400 NG | REPUTED |  | NO'S | ₹ 8,796
4 | DG Synch Controller | REPUTED |  | NO'S | As per Actual Cost
5 | Any other Item as may be required by OMC |  |  | NO'S | As per Actual Cost
1 | Transportation