## Table 1
| ANNEXURE B3 - Pt. Din Dayal Upadhyay Combined Hospital, Moradabad Moradabad 693.1 |  | DC Solar Capacity (kWp) 693.1
S.NO | COMPONENTS | MAKE'S | Qty | UOM | Unit Rate | Amount
| MODULE | [5 empty] | 11098264
1 | MODULE-580 WP, N-TYPE BIFACIAL MODULE | PANASONIC/JAKSON | 1195 | NO'S | ₹ 9,287 | ₹ | 11098264
| INVERTER | [5 empty] | 1778708
2 | STRING INVERTER 20 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹ 99,775 | ₹ | -
3 | STRING INVERTER 25 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹1,03,038 | ₹ | -
4 | STRING INVERTER 30 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹1,31,502 | ₹ | 131502
5 | STRING INVERTER 40 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹1,56,247 | ₹ | -
6 | STRING INVERTER 50 KW 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹1,70,622 | ₹ | 341244
7 | STRING INVERTER 60 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 1 | NO'S | ₹1,78,989 | ₹ | 178989
8 | STRING INVERTER 70 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹2,42,737 | ₹ | -
9 | STRING INVERTER 80 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI | 2 | NO'S | ₹2,48,747 | ₹ | 497493
10 | STRING INVERTER 100 KW, 400 V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹2,94,466 | ₹ | -
11 | STRING INVERTER 110 KW, 400V GRID CONNECTED | GROWATT/SOLIS/HITACHI |  | NO'S | ₹3,03,333 | ₹ | -
12 | STRING INVERTER 125 KW, 400V GRID CONNECTED | GROWATT/SOLIS | 2 | NO'S | ₹3,14,740 | ₹ | 629480
| STEEL STRUCTURE | [5 empty] | 3430074
13 | MS HDGI Module mounting structure Struture with minimum 80 micron coating | JAKSON/REPUTED | 31190 | KG | ₹ | ₹ | 3118950
14 | J BOLT | JAKSON/REPUTED | 0 | No | ₹ | ₹ | -
15 | J BOLT/Anchor | JAKSON/REPUTED | 2390 | No | ₹ | ₹ | 311124
16 | Blast Type Structure | JAKSON/REPUTED | 0 | KG | ₹ | ₹ | -
| FASTNERS | [5 empty] | 256447
17 | Fastners, Washers & Others (Anti-theft bolt) | REPUTED | 693 | KWp | ₹ | ₹ | 256447
BOS
| DC CABLE | [5 empty] | 464565
18 | CABLE 1CX4 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 10755 | METERS | ₹ | ₹ | 464565
19 | CABLE 1CX 6 SQMM CU. XLPO/XLPE | POLYCAB/KEI/APAR | 0 | METERS | ₹ | ₹ | -
| AC CABLE COPPER FRLS | [5 empty] | 63746
20 | 2C x 2.5 SQMM XLPE INSULATED FLEXIABLE CABLE | KEI/POLYCAB | 900 | METERS | ₹ | ₹ | 63746
| AC CABLE ALUMINIUM FRLS OUTER SHEATH | [5 empty] | 271000
21 | 3.5C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
22 | 3.5C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 80 | METERS | ₹ | ₹ | 19122
23 | 3.5C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 75 | METERS | ₹ | ₹ | 24268
24 | 3.5C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 75 | METERS | ₹ | ₹ | 32697
25 | 3.5C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 75 | METERS | ₹ | ₹ | 40838
26 | 3.5C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 60 | METERS | ₹ | ₹ | 40916
27 | 3.5C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
28 | 3.5C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
29 | 3.5C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
30 | 3.5C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 67 | METERS | ₹ | ₹ | 105926
31 | 3.5C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
32 | 4C x 16SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB | 45 | METERS | ₹ | ₹ | 7233
33 | 4C x 25 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
34 | 4 C x 35 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
35 | 4C x 50 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
36 | 4C x 70 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
37 | 4C x 95 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
38 | 4C x 120 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
39 | 4C x 150 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
40 | 4C x 185 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
41 | 4C x 240 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
42 | 4C x 300 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
43 | 4C x 400 SQMM XLPE INSULATED ARMORD , 1.1 KV POWER CABLE | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
| EARTHING CABLE | [5 empty] | 70849
44 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB | 515 | METERS | ₹ | ₹ | 22660
45 | 1C x 6 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
46 | 1C x 25 SQMM CU PVC INSULATED | KEI/POLYCAB | 20 | METERS | ₹ | ₹ | 7141
47 | 1C x 35 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
48 | 1C x 50 SQMM CU PVC INSULATED | KEI/POLYCAB | 60 | METERS | ₹ | ₹ | 41048
49 | 1C x 70 SQMM CU PVC INSULATED | KEI/POLYCAB |  | METERS | ₹ | ₹ | -
| COMMUNICATION CABLE | [5 empty] | 149112
50 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN | 900 | METERS | ₹ | ₹ | 149112
| PANEL | [5 empty] | 604497
51 | ACDB PANEL 20 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
52 | ACDB PANEL 25 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
53 | ACDB PANEL 30 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | ₹ | 70414
54 | ACDB PANEL 40 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
55 | ACDB PANEL 50 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | ₹ | 70414
56 | ACDB PANEL 60 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | ₹ | 76923
57 | ACDB PANEL 70 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
58 | ACDB PANEL 80 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | ₹ | 79882
59 | ACDB PANEL 100 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
60 | ACDB PANEL 110 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹ | ₹ | -
61 | ACDB PANEL 125 KW 415 V 1 in 1 Out (Indoor/Outdoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹ | ₹ | 89586
62 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,70,296 | ₹ | -
63 | ACDB PANEL 200 KW (100+100) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,70,296 | ₹ | -
64 | ACDB PANEL 120 KW (40+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,46,982 | ₹ | -
65 | ACDB PANEL 120 KW (30+60) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,46,982 | ₹ | -
66 | ACDB PANEL 120 KW (40+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,46,982 | ₹ | -
67 | ACDB PANEL 140 KW (60+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,65,680 | ₹ | -
68 | ACDB PANEL 150 KW (70+80) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,67,811 | ₹ | -
69 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | ₹ | -
70 | ACDB PANEL 220 KW (70+70+80) 415 V (3 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | ₹ | -
71 | ACDB PANEL 225 KW (125+50+80) 415 V (3 in 1 Out) (Indoor Type, Non TTA) | REPUTED | 1 | NO'S | ₹2,17,278 | ₹ | 217278
72 | ACDB PANEL 220 KW (50+50+80+40) 415 V (4 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹2,17,278 | ₹ | -
73 | ACDB PANEL 80 KW (40+40) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,27,101 | ₹ | -
74 | ACDB PANEL 80 KW (40+40) 415 V (2 in 1 Out) (Indoor/Outdoor Type, Non TTA) | REPUTED |  | NO'S | ₹1,27,101 | ₹ | -
75 | ACDB PANEL 285 KW (100+50+40+25+70+80) 415 V (5 in 1 Out) (Indoor Type, Non TTA) | REPUTED |  | NO'S | 3,82,959 | ₹ | -
76 | ENERGY METER( Premier 300, Class 0.5) | REPUTED |  | NO'S | ₹ | ₹ | -
77 | ACDB PANEL 4 in 1 out (50+50+100+40)KW | REPUTED |  | NO'S | ₹2,18,935 | ₹ | -
| REMOTE MONORTING SYSTEM | [5 empty] | 84496
| REMOTE MONORTING SYSTEM | Power AMR/Equivalent
76 | 4G based Plug and Play - RTU, Smart data logger with antenna to connect upto 4 inverters/ MFM/ Sensors on modbus RS485 RTU • modbus RS485 RTU- 1 port • 2 digital / analog ports ( 0 to 5 V) • 1 analog port (4 -20 m amp) • Built in memory help store and send data in case of network failure | E Track 4G Lite | 2 | NO'S | ₹ | ₹ | 33136
77 | RS485 Communication SPD citel make (optional) | Citel -DLA-06-D3 | 2 | NO'S | ₹ | ₹ | 4260
78 | Line SPD citel make (optional) | Citel- DS-240-320 | 2 | NO'S | ₹ | ₹ | 6627
79 | IP67 enclosure box along with SMPS power supply, glands and fitment in one unit to house the data logge | Boxomatic/ ERD | 1 | NO'S | ₹ | ₹ | 3550
80 | Access to Web portal- per MW per annum Data frequency – 10 minute Key Components • Interactive Dashboard • Single Line Diagram • PR analysis • Solar radiation & weather data • Graphs and Reports • Generation Analysis • Log Reporting • String/ MPPT Monitoring • Plant/ Inverter Performance • Superuser Dashboard for Centralized monitoring • Mobile app on android | PowerAMR | 1 | NO'S | ₹ | ₹ | 15621
81 | Solar Radiation Sensor with mounting kit | Pyra300 | 1 | NO'S | ₹ | ₹ | 15385
82 | RS 485 CABLE 0.75 MM ,ANNEALED TIN COPPER 2 CORE TWISTED | POLYCAB/BELDEN |  | RM | ₹ | ₹ | -
83 | UPVC CONDUIT FOR CABLE 20 MM DIA | SUPREME |  | RM | ₹ | ₹ | -
84 | 2C x 2.5 SQMM XLPE INSULATED FLEXIBLE CABLE with lugs | KEI/POLYCAB |  | RM | ₹ | ₹ | -
85 | 1C x 4 SQMM CU PVC INSULATED | KEI/POLYCAB |  | RM | ₹ | ₹ | -
86 | Installation and Commissioning | KEI/POLYCAB | 1 | Job | ₹ | ₹ | 5917
| CABLE TRAY | [5 empty] | 200473
87 | 50X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED | 400 | METERS | ₹ | ₹ | 147361
88 | 75X75X 1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & CLAMP | REPUTED |  | METERS | ₹ | ₹ | -
89 | 100X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
90 | 100X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 100 | METERS | ₹ | ₹ | 53112
91 | 150X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
92 | 150X75X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
93 | 200X50X1.6 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
94 | 200X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
95 | 300X75X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
96 | 300X100X2 mm PERFORATED TYPE CABLE TRAY WITH COVER & OMEGA CLAMP | REPUTED | 0 | METERS | ₹ | ₹ | -
| LIGHTING PROTECTION | [5 empty] | 129940
97 | ESE TYPE LA RADIUS 50 m | REPUTED |  | NO'S | ₹ | ₹ | -
98 | ESE TYPE LA RADIUS 70 m | REPUTED |  | NO'S | ₹ | ₹ | -
99 | ESE TYPE LA RADIUS 90 m | REPUTED |  | NO'S | ₹ | ₹ | -
100 | ESE TYPE LA RADIUS 107 m | REPUTED | 3 | NO'S | ₹ | ₹ | 94438
101 | 5 METER MAST | REPUTED | 3 | NO'S | ₹ | ₹ | 17751
102 | LIGHTENING STRIKE COUNTER | REPUTED | 3 | NO'S | ₹ | ₹ | 17751
| EARTHING | [5 empty] | 326480
103 | EARTH ROD CONSISTING OF HIGH TENSILE LOW CARBON STEEL WITH ELECTROLYTIC GRADE 250ΜM COPPER COATING. ROD DIA 17.2MM | REPUTED | 44 | NO'S | ₹ | ₹ | 83314
104 | EARTH ENHANCE COMPOUND | REPUTED | 44 | SET | ₹ | ₹ | 26036
105 | EARTHING PIT CHAMBER PRE CAST | REPUTED | 44 | SET | ₹ | ₹ | 26036
106 | 25X3 G.I STRIP GALVANISED | REPUTED | 1100 | METERS | ₹ | ₹ | 71598
107 | 25X6 G.I STRIP GALVANISED | REPUTED | 1100 | METERS | ₹ | ₹ | 106746
108 | 50X3 G.I STRIP GALVANISED | REPUTED |  | METERS | ₹ | ₹ | -
109 | 50X6 G.I STRIP GALVANISED | REPUTED |  | METERS | ₹ | ₹ | -
110 | INSULATOR FOR GI STRIP | REPUTED | 500 | NO'S | ₹ | ₹ | 6000
111 | M8 X 25 with nut & washer | REPUTED | 750 | NO'S | ₹ | ₹ | 6750
C CLASS
| GLANDS | [5 empty] | 33454
112 |  |  |  |  | ₹ | ₹ | -
113 |  |  |  |  | ₹ | ₹ | -
114 | 4CX35 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | ₹ | 1981
115 | 4CX50 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 6 | NO'S | ₹ | ₹ | 4367
116 | 4CX70 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 6 | NO'S | ₹ | ₹ | 5278
117 | 4CX95SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 8428
118 | 4CX120 SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | ₹ | 4214
119 | 4CX150SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 4 | NO'S | ₹ | ₹ | 4974
120 | 4CX185SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
121 | 4CX240SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 2 | NO'S | ₹ | ₹ | 4212
122 |  |  |  |  | ₹ | ₹ | -
123 | 4CX 300SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET |  | NO'S | ₹ | ₹ | -
124 | 4CX 400SQMM BRASS NICKEL PLATED DOUBLE COMPRESSION | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
| LUGS | [5 empty] | 47138
125 | LUGS RING TYPE 4 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 2760 | NO'S | ₹ | ₹ | 14862
126 | LUGS RING TYPE 4CX16 SQMM CU. RING TYPE LUGS |  |  | NO'S | ₹ | ₹ | -
127 | LUGS RING TYPE 1X25 SQMM CU. RING TYPE LUGS |  |  | NO'S | ₹ | ₹ | -
128 | LUGS RING TYPE 1X50 SQMM CU. RING TYPE LUGS |  |  | NO'S | ₹ | ₹ | -
129 | LUGS RING TYPE 4CX25 SQMM CU. RING TYPE LUGS |  |  | NO'S | ₹ | ₹ | -
130 | LUGS RING TYPE 4CX35 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | ₹ | 507
131 | LUGS RING TYPE 4CX50 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 24 | NO'S | ₹ | ₹ | 1145
132 | LUGS RING TYPE 4CX70 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 24 | NO'S | ₹ | ₹ | 449
133 | LUGS RING TYPE 4CX95 SQMM CU. RING TYPE LUGS | DOWEL/COMMET | 32 | NO'S | ₹ | ₹ | 2986
134 | LUGS RING LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | ₹ | 2172
135 | LUGS RING LUGS | DOWEL/COMMET | 16 | NO'S | ₹ | ₹ | 2713
136 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
137 | LUGS RING LUGS | DOWEL/COMMET | 8 | NO'S | ₹ | ₹ | 2708
138 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
139 | LUGS RING LUGS | DOWEL/COMMET | 0 | NO'S | ₹ | ₹ | -
140 | M4X20 with two plain waser and nut | DOWEL/COMMET | 2760 | NO'S | ₹ | ₹ | 19596
| CONNECTORS | [5 empty] | 29822
141 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (FEMALE) | MC/BIZILINK/SABULI/ELCOM | 300 | NO'S | ₹ | ₹ | 14911
142 | MULTICONTACT MC4 CONNECTOR FOR 4 MM2 (MALE) | MC/BIZILINK/SABULI/ELCOM | 300 | NO'S | ₹ | ₹ | 14911
| CONDUIT | [5 empty] | 85823
143 | G.I NILON COAT FLEXIBLE CONDUIT 32 MM DIA | SUPREME |  | METERS | ₹ | ₹ | -
144 | HDPE | SUPREME | 1200 | METERS | ₹ | ₹ | 35503
145 | UPVC | SUPREME | 700 | METERS | ₹ | ₹ | 16568
146 | UPVC | SUPREME | 500 | METERS | ₹ | ₹ | 23669
147 | CLAMP | SUPREME | 710 | Nos | ₹ | ₹ | 10083
| PLUMBING SYSTEM FOR SOLAR PLANT | [5 empty] | 251944
148 | uPVC PIPE 25MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 600 | METERS | ₹ | ₹ | 83574
149 | uPVC PIPE 20MM SCH80 | PRINCE/ASTRA/PLASTO/SUP REME | 140 | METERS | ₹ | ₹ | 14124
150 | uPVC ELBOW 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 50 | METERS | ₹ | ₹ | 1172
151 | uPVC END CAP 20MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 40 | METERS | ₹ | ₹ | 495
152 | uPVC TEE 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 50 | METERS | ₹ | ₹ | 1562
153 | uPVC UNION 25MM FOR SCH40 PIPE | PRINCE/ASTRA/PLASTO/SUP REME | 40 | METERS | ₹ | ₹ | 2031
154 | uPVC COUPLER 25 MM SCH40 | PRINCE/ASTRA/PLASTO/SUP REME | 50 | METERS | ₹ | ₹ | 781
155 | REDUCING TEE 2X25XX20 SH40 | PRINCE/ASTRA/PLASTO/SUP REME | 40 | METERS | ₹ | ₹ | 1250
156 | HOSE FOR MODULE CLEANING WITH SPRAY GUN | PRINCE/ASTRA/PLASTO/SUP REME | 50 | METERS | ₹ | ₹ | 5044
157 | BALL VALVE 20MM BRASS | PRINCE/ASTRA/PLASTO/SUP REME | 50 | METERS | ₹ | ₹ | 9959
158 | Telescopic Wiper | REPUTED | 5 | METERS | ₹ | ₹ | 29586
159 | WATER TANK OF 1KL | REPUTED | 1 | METERS | ₹ | ₹ | 11834
160 | WATER METER (0-100LPM) ANALOG TYPE | REPUTED | 9 | METERS | ₹ | ₹ | 26627
161 | MONOBLOCK 1 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 9 | NO'S | ₹ | ₹ | 63905
162 | MONOBLOCK 1.5 HP PUMP WITH FITTING AND WIRE | SHAKTI/Kirloskar | 0 | NO'S | ₹ | ₹ | -
| FIRE PROTECTION | [5 empty] | 148046
163 | ABC FIRE PROTECTION 4.5 KG | REPUTED | 9 | NO'S | ₹ | ₹ | 24497
164 | CO2 FIRE PROTECTION 4.5 KG | REPUTED | 9 | NO'S | ₹ | ₹ | 53254
165 | FIRE SAND BUCKETS WITH 2 BUCKET EACH WITH STAND | REPUTED | 9 | NO'S | ₹ | ₹ | 17041
166 | FIRST AID BOX AS PER BOCW ACT | REPUTED | 9 | NO'S | ₹ | ₹ | 53254
| CABLE TIE | [5 empty] | 24852
167 | CABLE TIE 100 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 60 | PACKET | ₹ | ₹ | 10651
168 | CABLE TIE 200 UV RESISTANT BLACK 100PCS PACKET | KSS/SUPERFLEX | 60 | PACKET | ₹ | ₹ | 14201
| SAFETY TAGS | [5 empty] | 48578
169 | SHOCK TREATMENT CHART, SAFETY CHARTS | REPUTED | 9 | NO'S | ₹ | ₹ | 5325
170 | DO'S & DON'TS CHARTS | REPUTED | 9 | NO'S | ₹ | ₹ | 3195
171 | HEAT SHRINKABLE SLEEVE (AS PER CABLE SIZE COLUR) | REPUTED | 9 | NO'S | ₹ | ₹ | 3195
172 | CAUTION DANGER BOARD | REPUTED | 9 | NO'S | ₹ | ₹ | 5325
173 | RUBBER MAT FOR INVERTER & ACDB | REPUTED | 10 | NO'S | ₹ | ₹ | 17751
174 | SOLAR CABLE FERULES WITH AL TAG | REPUTED | 3 | NO'S | ₹ | ₹ | 1775
175 | AC CABLE FERULES WITH AL TAG | REPUTED | 3 | NO'S | ₹ | ₹ | 1775
176 | INSULATION TAP | REPUTED | 3 | NO'S | ₹ | ₹ | 178
177 | PLANT DISPLAY BOARD | REPUTED | 1 | NO'S | ₹ | ₹ | 10059
| INSTALLATION WORK | [5 empty] | 556805
178 | MS STAND FOR INVERTER MOUNTING | LOCAL | 10 | SET | ₹ | ₹ | 35503
179 | MS STAND FOR ACDB MOUNTING | LOCAL | 6 | SET | ₹ | ₹ | 21302
180 | ACCESS LADDER | LOCAL | 8 | SET | ₹ | ₹ | 284024
181 | DOOR & LOCK REPAIR | LOCAL | 9 | SET | ₹ | ₹ | 26627
182 | INV & ACDB CAGE | LOCAL | 16 | SET | ₹ | ₹ | 189349
[8 empty] | ₹ | 20155117
| INSTALLATION & COMMISSIONING | [5 empty] | 2871339
1 | INSTALLATION & COMMISSIONING OF RCC ROOF |  | 693 | KWp | ₹ | ₹ | 1871370
2 | M25 GRADE RCC FOUNDATION FOR RCC ROOF |  |  |  | ₹ | ₹ | -
3 | M25 GRADE RCC FOUNDATION FOR RCC ROOF (Raised structure) |  | 732 | NO'S | ₹ | ₹ | 866272
4 | CIVIL FOR BLAST TYPE |  |  | NO'S | ₹ | ₹ | -
5 | NitoBond |  | 86.64 | LTR | ₹ | ₹ | 92277
6 | Other Services |  | 1 | LTR | ₹ | ₹ | 41420
| TOTAL OF I&C | [6 empty] | ₹ | 2871339
| APPROVALS_LT SIDE | [5 empty] | 706272
1 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (=<500 kWp)
2 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (500 - 900 kWp) |  | 693 | KWp |  | ₹ | 264852
3 | CEIG APPROVAL. INCLUSIVE OF DRAWING APPROVAL AND LIAISONING (>=900 kWp)
4 | NET METERING- METER HARDWARE (<500 kWp)
5 | NET METERING- METER HARDWARE (500 - 900 kWp) |  | 693 | KWp |  | ₹ | 441420
6 | NET METERING- METER HARDWARE (> 900 kWp)
| TOTAL OF APPROVAL | [6 empty] | ₹ | 706272
OPTIONAL ITEM
1 | Spreader / Modification charges in existing panel | REPUTED |  | NO'S | As per Actual Cost
2 | UPS 500 VA WITH 30 MINS BACKUP WITH BATTERY | REPUTED |  | NO'S | ₹ 2,604
3 | MFM SCHNIEDER EM6400 NG | REPUTED |  | NO'S | ₹ 8,796
4 | DG Synch Controller | REPUTED |  | NO'S | As per Actual Cost
5 | Any other Item as may be required by OMC |  |  | NO'S | As per Actual Cost
1 | Transportation | [6 empty] | 96667
₹ 2,38,29,395