1. Director/promoters details background details, experience and address contact details

Below mentioned details

|  |  |
| --- | --- |
| **Solar Power Plant** | |
| Produced Energy | 98037 MWh/year |
| Specific production | 1689 kWh/kWp/year |
| Performance Ratio (PR) | 85.72% |
| Solar Module capacity | 540Wp |
| type | Bi-facial N-type Dual Glass Framed |
| Make | Waaree Energies Ltd. |
| Panels Required | ~75926 qty |
| Invertor Make | Sungrow |
| Max. PV input voltage | 1500 V |
| AC output power | 352 kVA @ 30 ℃ / 320 kVA @ 40 ℃ / 300 kVA @ 51 ℃ / 301.8 kVA @ 50 ℃ |
| DC Input power |  |
| CUF |  |